## Ann. I (2) (hidden)
A N N E X U R E- I | [9 empty] | Component | Amt
Name of Work: SITC of HSCF Pumpset with Mechanical Accessories and Electrical Equipments etc with 60 months comprehensive operation & maintenance and security work complete. Under Fofal 1-2 Group Based WSS Work ,Taluka :- Jamkandorana Dist. :- Rajkot | [9 empty] | HSCF PUMP SETS & All Valves | #REF! | m | y
1 | ESTABLISHMENT- SEMI SKILLED CUM SECURITY MANPOWER (For operation of machinery, routine maintanance-repair, maintanance of ragister, house keeping, cleaning of all machineries/pump house, floor by using clining liquid & necessary material etc. complete | [8 empty] | #REF! | 426540 | m
Item No | HW | No. Manpower Per Day | Current Wages / Day | No. Of Days | Monthly amt. | Insurance provision @Rs. 42.80 / 1000 of Col.6 | Total Monthly Rs. |  |  | FLOW METER | 138297 | m
1 | CATEGARY:- Semi Skilled Man power cum security Person per shift/day | [10 empty] | m | y
a | Kapledhar HW | 3 | 332.2 | 30 | 29898 | 1279.6344 | 31177.63 |  |  | 1558.8815 |  |  |  | 374131.56 | 374131.56
b | For 2nd Year Base rate of first year | [5 empty] | 31177.63 |  |  | 3117.763 |  |  |  | 374131.56 | 374131.56
c | For 3rd Year Base rate of first year | [5 empty] | 31177.63 |  |  | 4676.6445 |  |  |  | 374131.56 | 374131.56
d | For 4th Year Base rate of first year | [5 empty] | 31177.63 |  |  | 6235.526 |  |  |  | 374131.56 | 374131.56
e | For 5th Year Base rate of first year | [5 empty] | 31177.63 | [6 empty] | 374131.56 | 374131.56
REPAIR PROVISION
Pumping Machinery & Accessories Purchase in Year
2 | Pumps, Valves, Flowmeters, piping, MCC Panels, Cable & Other item which is not specified anywhere Etc | Insurance Provision For New Pumping Machinery (For First Year) | [8 empty] | #REF!
Item No. | Head Works | Capital Cost | Repair Provision in % | Repair Provision (3X4) | Insurance provision @Rs. 1.95 / 1000 of Col.3 | Sub Total (5+6) | Total Rs. Monthly (7/12Month) | Remarks |  |  | #REF!
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 11
2.1 | Kapledhar HW. For All New SITC Machineries | #REF! | 0% | #REF! | #REF! | #REF! | #REF! | Monthly | 0 to 12 M |  | #REF! |  |  | #REF! | #REF!
2.2 | Flowmeter, Piping, MCC Panels, Cable, & Other item which is not specified anywhere Etc | Monthly Routine maintenance / preventive servicing & repair if required Major Overhauling Servicing Repairing & Repalacement of Damage Component provision @ 5.0% % of purchase cost for New Pumping Machinery( 2 nd to 5th Year) | [8 empty] | #REF!
2.2.1 | Kapledhar HW ( Transformers Two Pole Panel,Cable, Pipes & Other , FlowmeterPump & valves ) Accessories as Per Schedule-B ) | #REF! | 5% | #REF! | #REF! | #REF! | #REF! | Monthly |  |  | #REF! |  |  | #REF!
2.2.4 | Total Rs. | #REF! |  |  | #REF! | #REF! | #REF! | Monthly | 13 to 60 M | [5 empty] | #REF!
#REF!
| Recommonded for approval | [12 empty] | #REF!
Dy.Executive Engineer
P. H. Mech. Sub Division No.2.
| Executive Engineer |  |  |  |  | Rajkot.
P. H. Mechanical Division, Rajkot

## Sch-A
GUJARAT WATER SUPPLY AND SEW. BOARD
Tal.:- Dhoraji |  |  |  | Dist. Rajkot
Name of Work: Electrification and other Miscellaneous Work for WTP of Bhadar-2 RWSS Scheme.Under Bhadar-2 RWSS. Taluka : Dhoraji , Dist: Rajkot
SCHEDULE A
Schedule showing (approximately) the materials to be supplied to Agency of work to execute the work and the rates at which they are to be charged for
Sr.No. | Particulars | Approximate | Rate which the materials will be Charge to the contractor |  | Place of
|  | Quantity |  |  | Delivery
|  |  | unit | Rate in Rs.
NIL
Notes:
1 The contractor submitting the tender should see that the rates in the schedule A of the tender documents are filled up by the engineer in charge at the time of issue of tender .
2 Any additional quantity of materials to be supplied as per schedule A if found necessary at the time of execution will be supplied to the contractor .
3 Any materials other than those provided in the schedule A required for the item of work of schdue B will issued on request of the contractor provided the same is available with the department.
4 The rate change will be prevailing market rate or a department issued rate whichever is higher ,the decision whether the such materials should be issued or note to the contractor is left to the decision of the Executive Engineer.
Signature of the Contractor |  | Dy.Exe.Eng |  | Ex. Engineer
|  | P.H.S.Sub Div |  | P.H.Works Div
|  | Dhoraji |  | Jetpur

## Sch-B
Gujarat Water Supply and Sewerage Board
Public Health Sanitation Sub Divison - Dhoraji
Name of Work: Electrification and other Miscellaneous Work for WTP of Bhadar-2 RWSS Scheme.Under Bhadar-2 RWSS. Taluka : Dhoraji , Dist: Rajkot
Schedule - B
SOR : GWSSB Civil SOR 22/23, GWSSB electo-mech SOR-21-22 & Ele. SOR 2025-26 of R & B Department
Discription | Qty | Unit | Material Charge (A) | Labour Charge (B) | Rate | Amount
Item No.01 Main Filter House Panel Board LV POWER CONTROL CENTER (PCC) SITC of 125 A LV POWER CONTROL CENTER (PCC) SITC of LV Distribution Board (LVDB) totally enclosed, dust & vermin proof, indoor type, fabricated from CRCA sheet steel with minimum thickness of 3 mm for base frame/ channel/ gland plates, 2.0 mm for load bearing members/ doors & 1.6 mm for internal partitions, minimum degree of protection - IP 52 as per IS: 2147, suitable for operation on 3-Phase, 4 Wire, 415V, 50Hz, Neutral effectively grounded, with instrumentation compartments accomodating meters, aux / protective relays, LED type indicating lamps & control MCBs as per IS: 13947, current & voltage transformers as per IS: 2705, air insulated electrolitic grade Aluminum/ Copper busbar for three phase & neutral system, GI earth bus for entire length, power/ control wiring using 1100V grade, FRLS insulated copper conductor wires conforming to IS: 694 & 8130, equipment fittings, horizontally running busbar compartment height of minimum 300 mm, incoming & ougoing cable connections for 1100V grade, Aluminium/ Copper conductor XLPE/ PVC insulated & PVC sheathed armoured cable. LVDB shall have required incomming/ buscoupler/ outgoing modules of following type & ratings. (1) 01 Nos. of 125 A, 3 & 4 Pole, Air Break Fixed MCCB conforms to IS / IEC 60947-2 with trip free mechanism, current limiting type with Thermal-Magnetic / Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Incommer / Bus Coupler, shall have enclosure dimensions- 1800(H) x 600(W) x 600 (D) & following technical features: 4 pole, MDO with Microprocessor Release(01 Nos. for Incomer) | 1 | Nos. | 188463 | 0 | 188463 | 188463
Outgoing feeders :- (1) 32 Amp. - 8 No (For 1.5 KW Motor for Various WTP Work & 1 No. Feeder for Lighting Load) 4 Pole, MCCB with Breaking Capacity of Icu=25 KA at 415V (Ics =100% of Icu), TM release - conforms to IS/ IEC 60947-2 with trip free mechanism, current limiting type with Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Outgoing(s), shall have enclosure dimensions - Minimum 600 (D) 3P and 2P MCB shall be provided for spare
Item No.02 : Flash Mixer
Providing, installing & commissioning Flash mixer impeller with motor, gear arrangement & electrical cable, connections, control panels etc.(size as per design) 2.0 HP. | 1 | Each | 38685 | 0 | 38685 | 38685
Item No.03 : Clarifloculator Bridge Motor
Motors and Gearboxes : For clari Bridge Extra for 3 motors of requried RPM and 3 gear box assembiles with one slippering unit including wiring and installing switch and control panel as per requirement. | 1 | Set | 106385 | 0 | 106385 | 106385
Item No.04 : Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 2.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 4 sq.mm (with 2.5 sq.mm earth wire) | 225 | mtr | 105 | 6 | 111 | 24975 | 8406.72
Item No.05 :Providing following type of Modular type accessories mounted with PVC/ metallic box, single mounting base frame covered with textured/ metallic front plate, modules erected with necessary connection as desired by Engineer In charge 32A Dual Pole Modular MCB Switch, Cat. II | 5 | Each | 218 | 10 | 228 | 1140
Item No 06 : Point wiring Arrangement: Design, supply, erection, testing and commissioning of suitable general arrangement of point wiring for pump house. Point wiring for Light / Bell with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires upto 10 mtr length, in below type of pipe erected with 6A Modular types switch / bell push & accessories and earth continuity of following type, erected on PVC /Metallic /Wooden box, single mounting base frame covered with textured / metallic / white front plate module serected on / in wall / ceiling as per pipe erected, with necessary Lamp holder / ceiling rose / H.D. Connector as directed. (a)with medium class Rigid PVC pipe and accessories erected flushed on wall / ceiling complete | 90 | Pt. | 374 | 71 | 445 | 40050
Item No 07 : Switch Board :Providing & erecting Switch board for Computer or electric apparatus consisting of following items in single board erected on PVC / Metal/Wooden board concealed/open with 3 mm thick PC (Polycarbonate) / Acrylic sheet erected as directed For Modular Type Accessories Cat. III 1 no. 6A/16A universal plug-switch combined. 3 nos. 6A Switch 3 nos. 6A 5 pin Plug | 16 | Each | 1068 | 54 | 1122 | 17952
Item No 08 : Point Wiring
Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 1.5 sq.mm (with 2.5 sq.mm earth wire) | 275 | RMT | 56 | 6 | 62 | 17050
Item no.09 : Supplying and Erection of approved make self priming domestic monoblock water pump with 1.5 Hp motor suitable for operation on 230 volt 50c/s, AC supply with metalic flange and MS impeller delivery of following discharge (A) 44 LPM at 32mt head suitable for 25mm dia delivery, Cat-lll
For PAC Solution | 1 | No. | 9005 | 217 | 9222 | 9222
Item No. 10 : Starter Panel: DOL / Star Delta starter suitable for local & remote pump control application consisting of MPCB, overload relay and contactors as per Type II coordination including digital voltmeter, analogue ammeter with selector switch, run hour meter, required protective relays & control accessories.
Panel Board for motor At various place in WTP
D.O.L upto 7.5 HP (For Monoset (Backwash)Submersible pump of 5.5 HP-01 motor) | 1 | No. | 8383 | 0 | 8383 | 8383
D.O.L upto 3.0 HP(For Monoblock(PAC) pump of 1.5 HP-01 motor,CLR Bridge 03 Motor,flash mixer 01 motor, Alum Stirer 02 motor) | 5 | No. | 6924 | 0 | 6924 | 34620
Item No.11: Monoset sub. pump 3 phase 400/440 vott, 50 c/s. A.C. Supply & 2900 RPM , as per IS 14220 MOC : Casing: CI-FG260, Impeller : Bronze & Shaft : SS:41 (Rates exclusive of GST) For backwash tank filling pump Category: SM-2.2,5.5HP, Head-24 mt., Dis.-360 LPM
For Backwash tank filling | 1 | No | 15552 | 0 | 15552 | 15552
Item No.12:Chemical Dosing Pump: incl. Tank: Providing and installing chemical dosing metering pump model V-12 with PP head and flow of suitable size | 1 | No | 12090 | 0 | 12090 | 12090
Item No.13 :Loss of Head Indicator: Providing and fixing LOH Indicator of approved make | 2 | No | 4062 | 0 | 4062 | 8124
Item No.14 : Weighing Machine : [A] Providing Supplying 500 Kg capacity weighing machine at destination | 1 | No | 9623 | 0 | 9623 | 9623
Item No.15 : Laboratory Instruments: (Bhukhi & Pipaliya)
(A)Digital Ph Meter: Providing and supplying microprocessor based digital pocket PH tester. | 3 | No | 7217 | 0 | 7217 | 21651
(B)Digital TDS Meter: Providing and supplying microprocessor based digital pocket TDS tester. | 3 | No | 7506 | 0 | 7506 | 22518
[C]Chloroscope: Providing & supplying Chloroscope 0.2 ppm including testing materials. | 3 | No | 866 | 0 | 866 | 2598
(D)Fluoride Kit: Providing and supplying fluoride spot test kit | 3 | No | 2406 | 0 | 2406 | 7218
Item No.16: M.S Ladder(without safety cage)Provinding and fixing 50 cm wide M S Ladder fabricated from M S Flats 10 mm*75 mm with 20 mm dia steel bar steps in double rows @ 30 cm C/C. The include stays of 10 mm* 50 mm flats fixed at 3 meter C/C with welding anchoring and 3 coats anticorrosive paint. i)For WTP Backwash activity ii)For Clarifloculator and fIlter bed maintainance activity | 20 | Rmt |  |  | 2950 | 59000
Item No. 17 : Storage Tanks 5000 Litres with ISI Mark (With Outside Black Colour & Inside Lining) | 1 | No | 45096 | 0 | 45096 | 45096
for PAC Solution Arragement at Bhukhi HW
Item No.18 : Labour charges for repairing of Sluice valve/ Reflux valve including materials, labours and testing etc. complete
300 mm Dia
(1) Replacing of glan flange only | 8 | No | 123 | 0 | 123 | 984
(2) Replacing of glan packing only | 8 | No | 135 | 0 | 135 | 1080
(3) Replacing of S.S spindal only | 8 | No | 1937 |  | 1937 | 15496
Item No. 19 Welding in all position with required number runs for MS pipe internally and/or externally including gauging wherever necessary fixing appurtenances and other accessoried in connection with pipe laying work as per specifications. | 10 | Rmt | 681 | 0 | 681 | 6810 |  | 24.5862
(i) Various Valve Handle for Filter bed Operation and pipe line and other sections | [7 empty] | 107.388
Item No.20 Providing ,Installing , commisioning of only chain((01 T Manually Operated) block with triple gear arrangement, lifting hook, load chain & hand chain & locking device etc. As per In Charge Engineer Instruction. | 1 | No |  |  | 5760 | 5760
Item No.21 Painting two coats (excluding priming coat) on new steel andother metal surface with enamel paint, brushing, interior togive an even shade including cleaning the surface an evenshade including cleaning the surface of all dirt, dust andother foreign matter (ISMB 200*100*5 mm) (Area=32.30 Sqcm)(l=865cm) Removing Rust, Brushing, Providing Lubricant and colour to Chlorine room girder and Pully block As per In Charge Engineer Instruction. | 2.8 | Sq.Mt |  |  | 95.63 | 267.764
Item No.22
Labour Charges for cleaning of sump/GI cistern including cleaning and removing algaecalcinators, sludge, dirt deposition from bottom and as well as from wall of container, disinfection by bleaching powder with all necessary tools and plants. Labour and cost of disinfectant etc complete. (Simillar Item : Cleaning of Clarifloculator of Capacity of 17,00,000 Liter at Bhukhi HW) | 1 | No |  |  | 15932 | 15932
[5 empty] | Total | 736724.764
|  | Say |  |  |  | 736725
I/We am/are willing to carry out the work at______% above/below___________percentage (should be written in figure & words) above/below the estimated rates mentioned above/below amount of my/our tender worked out as under :-
Estimated Amount put to tender Estimated Amount put to tender.
Rs. Add. % Rs. Deduct %
Above Rs. Below Rs.
Total Rs. Total Rs.
(In words Rupees (In words Rupees
EXECUTIVE ENGINEER
|  |  |  | EXECUTIVE ENGINEER | P. H. W. Division
Signature of Contractor |  |  |  | P. H. W. Division | Jetpur

## Abstract (hidden)
Gujarat Water Supply and Sewerage Board
Public Health Sanitation Sub Divison - Dhoraji
Name of Work: Electrification and other Miscellaneous Work for WTP of Bhadar-2 RWSS Scheme.Under Bhadar-2 RWSS. Taluka : Dhoraji , Dist: Rajkot
Abstract
Discription | Qty | Unit | Material Charge (A) | Labour Charge (B) | Amount (A+B) | Tender Amount
Item No.01 Main Filter House Panel Board LV POWER CONTROL CENTER (PCC) SITC of 125 A LV POWER CONTROL CENTER (PCC) SITC of LV Distribution Board (LVDB) totally enclosed, dust & vermin proof, indoor type, fabricated from CRCA sheet steel with minimum thickness of 3 mm for base frame/ channel/ gland plates, 2.0 mm for load bearing members/ doors & 1.6 mm for internal partitions, minimum degree of protection - IP 52 as per IS: 2147, suitable for operation on 3-Phase, 4 Wire, 415V, 50Hz, Neutral effectively grounded, with instrumentation compartments accomodating meters, aux / protective relays, LED type indicating lamps & control MCBs as per IS: 13947, current & voltage transformers as per IS: 2705, air insulated electrolitic grade Aluminum/ Copper busbar for three phase & neutral system, GI earth bus for entire length, power/ control wiring using 1100V grade, FRLS insulated copper conductor wires conforming to IS: 694 & 8130, equipment fittings, horizontally running busbar compartment height of minimum 300 mm, incoming & ougoing cable connections for 1100V grade, Aluminium/ Copper conductor XLPE/ PVC insulated & PVC sheathed armoured cable. LVDB shall have required incomming/ buscoupler/ outgoing modules of following type & ratings. (1) 01 Nos. of 125 A, 3 & 4 Pole, Air Break Fixed MCCB conforms to IS / IEC 60947-2 with trip free mechanism, current limiting type with Thermal-Magnetic / Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Incommer / Bus Coupler, shall have enclosure dimensions- 1800(H) x 600(W) x 600 (D) & following technical features: 4 pole, MDO with Microprocessor Release (01 Nos. for Incomer)
Outgoing feeders :- (1) 32 Amp. - 8 No (For 1.5 KW Motor for Various WTP Work & 1 No. Feeder for Lighting Load) 4 Pole, MCCB with Breaking Capacity of Icu=25 KA at 415V (Ics =100% of Icu), TM release - conforms to IS/ IEC 60947-2 with trip free mechanism, current limiting type with Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Outgoing(s), shall have enclosure dimensions - Minimum 600 (D) 3P and 2P MCB shall be provided for spare (Mechanical SOR-2022-23 Section - E.Page NO- 79 to 85. Item No-45 - (1) for 125A incomer 1.13k Rs. 33511.00 x 1 = Rs. 33511.00 + (2) 32 A Outgoing .... 7 Nos - 1.16k Rs. 19369.00 x 8 Nos. = 1,54,952.00 i.e. Rs.33,511.00 + Rs. 1,54,952.00 = Rs. 1,88,463.00 | 1 | Nos. | 188463 | 0 | 188463 | 188463
Mech SOR - 2022-23, sec. E, Item No.1.13 , Pg. no.83 & I.No.1.16 Pg. No. 84 )
Item No.02 : Flash Mixer
Providing, installing & commissioning Flash mixer impeller with motor, gear arrangement & electrical cable, connections, control panels etc.(size as per design) 2.0 HP. | 1 | Each | 38685 | 0 | 38685 | 38685
( GWSSB Civil SOR 22/23, Pg.No : 61 Item No : 5.4)
Item No.03 : Clarifloculator Bridge Motor
Motors and Gearboxes : For clari Bridge Extra for 3 motors of requried RPM and 3 gear box assembiles with one slippering unit including wiring and installing switch and control panel as per requirement. | 1 | Set | 106385 | 0 | 106385 | 106385
( GWSSB Civil SOR 22/23, P.No : 62 Item No : 5.7)
Item No.04 : Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 2.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 4 sq.mm (with 2.5 sq.mm earth wire) | 225 | mtr | 105 | 6 | 111 | 24975 | 8406.72
(Ele. SoR 2025-26 of R & B Department, Sec-1.4 It. No. :1-4-2 A(a) , Page No.36)
Item No.05 :Providing following type of Modular type accessories mounted with PVC/ metallic box, single mounting base frame covered with textured/ metallic front plate, modules erected with necessary connection as desired by Engineer In charge 32A Dual Pole Modular MCB Switch, Cat. II | 5 | Each | 218 | 10 | 228 | 1140
(Ele. SoR 2025-26 of R & B Department, Sec-1.2 It. No. :1.2.6-15 , Page No.31)
Item No 06 : Point wiring Arrangement: Design, supply, erection, testing and commissioning of suitable general arrangement of point wiring for pump house. Point wiring for Light / Bell with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires upto 10 mtr length, in below type of pipe erected with 6A Modular types switch / bell push & accessories and earth continuity of following type, erected on PVC /Metallic /Wooden box, single mounting base frame covered with textured / metallic / white front plate module serected on / in wall / ceiling as per pipe erected, with necessary Lamp holder / ceiling rose / H.D. Connector as directed. (a)with medium class Rigid PVC pipe and accessories erected flushed on wall / ceiling complete | 90 | Pt. | 374 | 71 | 445 | 40050
For item (a) Rate as per R & B Electrical SOR 2025-26, Chapter 1, Item No.- 1.2.1-(a)- Cat. III, Pg. No. 22
Item No 07 : Switch Board :Providing & erecting Switch board for Computer or electric apparatus consisting of following items in single board erected on PVC / Metal/Wooden board concealed/open with 3 mm thick PC (Polycarbonate) / Acrylic sheet erected as directed For Modular Type Accessories Cat. III 1 no. 6A/16A universal plug-switch combined. 3 nos. 6A Switch 3 nos. 6A 5 pin Plug | 16 | Each | 1068 | 54 | 1122 | 17952
(Ele. SoR 2025-26 of R & B Department, Chapter-1 It. No. :1-6-2 (B)) Page No.41
Item No 08 : Point Wiring
Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 1.5 sq.mm (with 2.5 sq.mm earth wire) | 275 | RMT | 56 | 6 | 62 | 17050
(Ele. SoR 2025-26 of R & B Department, Sec-1.4 It. No. :1-4-1 A(a) , Page No.35)
Item no.09 : Supplying and Erection of approved make self priming domestic monoblock water pump with 1.5 Hp motor suitable for operation on 230 volt 50c/s, AC supply with metalic flange and MS impeller delivery of following discharge (A) 44 LPM at 32mt head suitable for 25mm dia delivery, Cat-lll
For PAC Solution | 1 | No. | 9005 | 217 | 9222 | 9222
(R & B Electrical SOR: 2025/26 Sec-9-3,P.g.No.241 ( Item No : 9.3.3))
Item No. 10 : Starter Panel: DOL / Star Delta starter suitable for local & remote pump control application consisting of MPCB, overload relay and contactors as per Type II coordination including digital voltmeter, analogue ammeter with selector switch, run hour meter, required protective relays & control accessories.
(GWSSB M&E SoR 2022-23, Sec-E, Page No-33, It. No.: 2, 2.1(A),( C )
Panel Board for motor At various place in WTP
D.O.L upto 7.5 HP (For Monoset (Backwash)Submersible pump of 5.5 HP-01 motor) | 1 | No. | 8383 | 0 | 8383 | 8383
D.O.L upto 3.0 HP(For Monoblock(PAC) pump of 1.5 HP-01 motor,CLR Bridge 03 Motor,flash mixer 01 motor, Alum Stirer 02 motor) | 5 | No. | 6924 | 0 | 6924 | 34620
Item No.11: Monoset sub. pump 3 phase 400/440 vott, 50 c/s. A.C. Supply & 2900 RPM , as per IS 14220 MOC : Casing: CI-FG260, Impeller : Bronze & Shaft : SS:41 (Rates exclusive of GST) For backwash tank filling pump Category: SM-2.2,5.5HP, Head-24 mt., Dis.-360 LPM
For Backwash tank filling | 1 | No | 15552 | 0 | 15552 | 15552
(GWSSB Mech SOR-22-23 Pg-35 Item No.5(2))
Item No.12:Chemical Dosing Pump: incl. Tank: Providing and installing chemical dosing metering pump model V-12 with PP head and flow of suitable size | 1 | No | 12090 | 0 | 12090 | 12090
(GWSSB SOR-22-23 Pg-63 Item No.5.16)
Item No.13 :Loss of Head Indicator: Providing and fixing LOH Indicator of approved make | 2 | No | 4062 | 0 | 4062 | 8124
(GWSSB SOR-22-23 Pg-62 Item No.5.13)
Item No.14 : Weighing Machine : [A] Providing Supplying 500 Kg capacity weighing machine at destination | 1 | No | 9623 | 0 | 9623 | 9623
Item No.15 : Laboratory Instruments: (Bhukhi & Pipaliya)
(A)Digital Ph Meter: Providing and supplying microprocessor based digital pocket PH tester.(GWSSB SOR-22-23 Pg-63 Item No.5.21.a) | 3 | No | 7217 | 0 | 7217 | 21651
(B)Digital TDS Meter: Providing and supplying microprocessor based digital pocket TDS tester.(GWSSB SOR-22-23 Pg-63 Item No.5.21.b) | 3 | No | 7506 | 0 | 7506 | 22518
[D]Chloroscope: Providing & supplying Chloroscope 0.2 ppm including testing materials.(GWSSB SOR-22-23 Pg-64 Item No.5.23.b) | 3 | No | 866 | 0 | 866 | 2598
(E)Fluoride Kit: Providing and supplying fluoride spot test kit (GWSSB SOR-22-23 Pg-63 Item No.5.21.c) | 3 | No | 2406 | 0 | 2406 | 7218
(GWSSB SOR-22-23 Pg-63 Item No.5.15)
Item No.16: M.S Ladder(without safety cage)Provinding and fixing 50 cm wide M S Ladder fabricated from M S Flats 10 mm*75 mm with 20 mm dia steel bar steps in double rows @ 30 cm C/C. The include stays of 10 mm* 50 mm flats fixed at 3 meter C/C with welding anchoring and 3 coats anticorrosive paint. i)For WTP Backwash activity ii)For Clarifloculator and fIlter bed maintainance activity | 20 | Rmt | 2950 | 0 | 2950 | 59000
(GWSSB SOR-22-23 Pg-45 Item No.14a)
Item No. 17 : Storage Tanks 5000 Litres with ISI Mark (With Outside Black Colour & Inside Lining) | 1 | No | 45096 | 0 | 45096 | 45096
for PAC Solution Arragement at Bhukhi HW
( GWSSB SOR-22/23 Sect-A Pg.No.29 It.No.20.1.A-12)
Item No.18 : Labour charges for repairing of Sluice valve/ Reflux valve including materials, labours and testing etc. complete
300 mm Dia
(1) Replacing of glan flange only
GWSSB SOR-22-23 Pg-79 Item No.12.A.1(9) | 8 | No | 123 | 0 | 123 | 984
(2) Replacing of glan packing only
GWSSB SOR-22-23 Pg-79 Item No.12.A.2(9) | 8 | No | 135 | 0 | 135 | 1080
(3) Replacing of S.S spindal only
GWSSB SOR-22-23 Pg-79 Item No.12.A.3(9) | 8 | No | 1937 | 0 | 1937 | 15496
Item No. 19 Welding in all position with required number runs for MS pipe internally and/or externally including gauging wherever necessary fixing appurtenances and other accessoried in connection with pipe laying work as per specifications. | 10 | Rmt | 681 | 0 | 681 | 6810 |  | 24.5862
(i) Various Valve Handle for Filter bed Operation and pipe line and other sections | [7 empty] | 107.388
(GWSSB Civil SOR 2022-23, P.No:67, Iterm no.7) | [7 empty] | 131.9742
Item No.20 | 1 | Set | 5760 | 0 | 5760 | 5760
Providing ,Installing , commisioning of only chain((01 T Manually Operated) block with triple gear arrangement, lifting hook, load chain & hand chain & locking device etc. As per In Charge Engineer Instruction.
Rate As Per Rate Analysis Statement
Item No.21 Painting two coats (excluding priming coat) on new steel and other metal surface with enamel paint, brushing, interior to give an even shade including cleaning the surface an even shade including cleaning the surface of all dirt, dust and other foreign matter (ISMB 200*100*5 mm) (Area=32.30 Sqcm)(l=865cm) | 2.8 | Sq.Mt | 95.63 | 0 | 95.63 | 267.764
Removing Rust, Brushing, Providing Lubricant and colour to Chlorine room girder and Pully block As per In Charge Engineer Instruction.
(R&B SOR 2024-2025, Page No. 143, Item Code: 19002)
Item No.22
Labour Charges for cleaning of sump/GI cistern including cleaning and removing algaecalcinators, sludge, dirt deposition from bottom and as well as from wall of container, disinfection by bleaching powder with all necessary tools and plants. Labour and cost of disinfectant etc complete. (Simillar Item : Cleaning of Clarifloculator of Capacity of 17,00,000 Liter at Bhukhi HW) | 1 | No | 15932 | 0 | 15932 | 15932
[5 empty] | Total | 736724.764
[5 empty] | GST (18%) | 132610.4575
[5 empty] | Total | 869335.2215
|  |  |  | Contigency (5%) |  | 43466.7611
912801.9826
|  |  |  | Work Charge (2%) |  | 18256.0397
[5 empty] | Total | 931058.0222
[5 empty] | Say | 931058
Deputy Executive Engineer
Public Health Sanitation Sub Divison
Dhoraji

## Measurement (hidden)
Gujarat Water Supply and Sewerage Board
Public Health Sanitation Sub Divison - Dhoraji
Name of Work: Electrification and other Miscellaneous Work for WTP of Bhadar-2 RWSS Scheme.Under Bhadar-2 RWSS. Taluka : Dhoraji , Dist: Rajkot
Measurement Sheet
Discription | Qty | Unit
Item No.01 Main Filter House Panel Board LV POWER CONTROL CENTER (PCC) SITC of 125 A LV POWER CONTROL CENTER (PCC) SITC of LV Distribution Board (LVDB) totally enclosed, dust & vermin proof, indoor type, fabricated from CRCA sheet steel with minimum thickness of 3 mm for base frame/ channel/ gland plates, 2.0 mm for load bearing members/ doors & 1.6 mm for internal partitions, minimum degree of protection - IP 52 as per IS: 2147, suitable for operation on 3-Phase, 4 Wire, 415V, 50Hz, Neutral effectively grounded, with instrumentation compartments accomodating meters, aux / protective relays, LED type indicating lamps & control MCBs as per IS: 13947, current & voltage transformers as per IS: 2705, air insulated electrolitic grade Aluminum/ Copper busbar for three phase & neutral system, GI earth bus for entire length, power/ control wiring using 1100V grade, FRLS insulated copper conductor wires conforming to IS: 694 & 8130, equipment fittings, horizontally running busbar compartment height of minimum 300 mm, incoming & ougoing cable connections for 1100V grade, Aluminium/ Copper conductor XLPE/ PVC insulated & PVC sheathed armoured cable. LVDB shall have required incomming/ buscoupler/ outgoing modules of following type & ratings. (1) 01 Nos. of 125 A, 3 & 4 Pole, Air Break Fixed MCCB conforms to IS / IEC 60947-2 with trip free mechanism, current limiting type with Thermal-Magnetic / Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Incommer / Bus Coupler, shall have enclosure dimensions- 1800(H) x 600(W) x 600 (D) & following technical features: 4 pole, MDO with Microprocessor Release (01 Nos. for Incomer)
Outgoing feeders :- (1) 32 Amp. - 8 No (For 1.5 KW Motor for Various WTP Work & 1 No. Feeder for Lighting Load) 4 Pole, MCCB with Breaking Capacity of Icu=25 KA at 415V (Ics =100% of Icu), TM release - conforms to IS/ IEC 60947-2 with trip free mechanism, current limiting type with Microprocessor release (O / C, S / C & E / F) with adjustable settings & having minimum 2NO+2NC potential free auxiliary contacts with all necessary Electro-Mechanical protections & interlocks etc. MCCB module, when used as Outgoing(s), shall have enclosure dimensions - Minimum 600 (D) 3P and 2P MCB shall be provided for spare (Mechanical SOR-2022-23 Section - E.Page NO- 79 to 85. Item No-45 - (1) for 125A incomer 1.13k Rs. 33511.00 x 1 = Rs. 33511.00 + (2) 32 A Outgoing .... 7 Nos - 1.16k Rs. 19369.00 x 8 Nos. = 1,54,952.00 i.e. Rs.33,511.00 + Rs. 1,54,952.00 = Rs. 1,88,463.00 | 1 | Nos.
Mech SOR - 2022-23, sec. E, Item No.1.13 , Pg. no.83 & I.No.1.16 Pg. No. 84 )
Item No.02 : Flash Mixer
Providing, installing & commissioning Flash mixer impeller with motor, gear arrangement & electrical cable, connections, control panels etc.(size as per design) 2.0 HP. | 1 | Each
( GWSSB Civil SOR 22/23, Pg.No : 61 Item No : 5.4)
Item No.03 : Clarifloculator Bridge Motor
Motors and Gearboxes : For clari Bridge Extra for 3 motors of requried RPM and 3 gear box assembiles with one slippering unit including wiring and installing switch and control panel as per requirement. | 1 | Set
( GWSSB Civil SOR 22/23, P.No : 62 Item No : 5.7)
Item No.04 : PVC insulated copper wire - 2.5 sq.mm
Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 2.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 4 sq.mm (with 2.5 sq.mm earth wire) | 225 | mtr | 8406.72
Clarifloculator / Stirer Mixing / Backwash Gallery
(Ele. SoR 2025-26 of R & B Department, Sec-1.4 It. No. :1-4-2 A(a) , Page No.36)
Item No.05 :Modular MCB Switch
Providing following type of Modular type accessories mounted with PVC/ metallic box, single mounting base frame covered with textured/ metallic front plate, modules erected with necessary connection as desired by Engineer In charge 32A Dual Pole Modular MCB Switch, Cat. II | 5 | Each
Bhukhi HW (Admin Building GF(01), 2nd Floor (01),Bed Area (01),Inside&Outside of Filter House (02)
(Ele. SoR 2025-26 of R & B Department, Sec-1.2 It. No. :1.2.6-15 , Page No.31)
Item No 06 : Point wiring Arrangement
Design, supply, erection, testing and commissioning of suitable general arrangement of point wiring for pump house. Point wiring for Light / Bell with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires upto 10 mtr length, in below type of pipe erected with 6A Modular types switch / bell push & accessories and earth continuity of following type, erected on PVC /Metallic /Wooden box, single mounting base frame covered with textured / metallic / white front plate module serected on / in wall / ceiling as per pipe erected, with necessary Lamp holder / ceiling rose / H.D. Connector as directed. (a)with medium class Rigid PVC pipe and accessories erected flushed on wall / ceiling complete | 90 | Pt.
Bhukhi HW (WTP Building ,Admin Building)
For item (a) Rate as per R & B Electrical SOR 2025-26, Chapter 1, Item No.- 1.2.1-(a)- Cat. III, Pg. No. 22
Item No 07 : Switch Board
Providing & erecting Switch board for Computer or electric apparatus consisting of following items in single board erected on PVC / Metal/Wooden board concealed/open with 3 mm thick PC (Polycarbonate) / Acrylic sheet erected as directed For Modular Type Accessories Cat. III 1 no. 6A/16A universal plug-switch combined. 3 nos. 6A Switch 3 nos. 6A 5 pin Plug | 16 | Each
Bhukhi HW (WTP Building , Admin Building)
(Ele. SoR 2025-26 of R & B Department, Chapter-1 It. No. :1-6-2 (B)) Page No.41
Item No 08 : PVC insulated copper wire - 1.5 sq.mm
Mains with 1.1kV grade FRLS PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected in/ on wall /ceiling with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size. With medium class Rigid PVC pipe and accessories a. 2 wire 1.5 sq.mm (with 2.5 sq.mm earth wire) | 275 | RMT
Bhukhi HW (WTP Building , Admin Building)
(Ele. SoR 2025-26 of R & B Department, Sec-1.4 It. No. :1-4-1 A(a) , Page No.35)
Item no.09 :1.5 HP motor with Monoblock water Pump
Supplying and Erection of approved make self priming domestic monoblock water pump with 1.5 Hp motor suitable for operation on 230 volt 50c/s, AC supply with metalic flange and MS impeller delivery of following discharge (A) 44 LPM at 32mt head suitable for 25mm dia delivery, Cat-lll
For PAC Solution | 1 | No.
(R & B Electrical SOR: 2025/26 Sec-9-3,P.g.No.241 ( Item No : 9.3.3))
Item No. 10 : Panel Board
Starter Panel: DOL / Star Delta starter suitable for local & remote pump control application consisting of MPCB, overload relay and contactors as per Type II coordination including digital voltmeter, analogue ammeter with selector switch, run hour meter, required protective relays & control accessories.
(GWSSB M&E SoR 2022-23, Sec-E, Page No-33, It. No.: 2, 2.1(A),( C )
Panel Board for motor At various place in WTP
D.O.L upto 7.5 HP (For Monoset (Backwash)Submersible pump of 5.5 HP-01 motor) | 1 | No.
D.O.L upto 3.0 HP(For Monoblock(PAC) pump of 1.5 HP-01 motor,CLR Bridge 03 Motor,flash mixer 01 motor) | 5 | No.
Item No.11: Monoset sub. pump 3 phase 400/440 vott, 50 c/s. A.C. Supply & 2900 RPM , as per IS 14220 MOC : Casing: CI-FG260, Impeller : Bronze & Shaft : SS:41 (Rates exclusive of GST) For backwash tank filling pump Category: SM-2.2,5.5HP, Head-24 mt., Dis.-360 LPM
For Backwash tank filling | 1 | No
(GWSSB Mech SOR-22-23 Pg-35 Item No.5(2))
Item No.12:Chemical Dosing Pump: incl. Tank: Providing and installing chemical dosing metering pump model V-12 with PP head and flow of suitable size | 1 | No
(GWSSB SOR-22-23 Pg-63 Item No.5.16)
Item No.13:Loss of Head Indicator: Providing and fixing LOH Indicator of approved make | 2 | No
(GWSSB SOR-22-23 Pg-62 Item No.5.13)
Item No.14: Weighing Machine : [A] Providing Supplying 500 Kg capacity weighing machine at destination | 1 | No
Item No.15: Laboratory Instruments: (Bhukhi & Pipaliya)
(A)Digital Ph Meter: Providing and supplying microprocessor based digital pocket PH tester.(GWSSB SOR-22-23 Pg-63 Item No.5.21.a) | 3 | No
(B)Digital TDS Meter: Providing and supplying microprocessor based digital pocket TDS tester.(GWSSB SOR-22-23 Pg-63 Item No.5.21.b) | 3 | No
[D]Chloroscope: Providing & supplying Chloroscope 0.2 ppm including testing materials.(GWSSB SOR-22-23 Pg-64 Item No.5.23.b) | 3 | No
(E)Fluoride Kit: Providing and supplying fluoride spot test kit (GWSSB SOR-22-23 Pg-63 Item No.5.21.c) | 3 | No
(GWSSB SOR-22-23 Pg-63 Item No.5.15)
Item No.16: M.S Ladder(without safety cage)
Provinding and fixing 50 cm wide M S Ladder fabricated from M S Flats 10 mm*75 mm with 20 mm dia steel bar steps in double rows @ 30 cm C/C. The include stays of 10 mm* 50 mm flats fixed at 3 meter C/C with welding anchoring and 3 coats anticorrosive paint. i)For WTP Backwash activity ii)For Clarifloculator and fIlter bed maintainance activity | 20 | Rmt
(GWSSB SOR-22-23 Pg-45 Item No.14a)
Item No. 17 : Storage Tanks 5000 Litres with ISI Mark (With Outside Black Colour & Inside Lining) | 1 | No
for PAC Solution Arragement at Bhukhi HW
( GWSSB SOR-22/23 Sect-A Pg.No.29 It.No.20.1.A-12)
Item No.18: Labour charges for repairing of Sluice valve/ Reflux valve including materials, labours and testing etc. complete
300 mm Dia
(1) Replacing of glan flange only
GWSSB SOR-22-23 Pg-79 Item No.12.A.1(9) | 8 | No
(2) Replacing of glan packing only
GWSSB SOR-22-23 Pg-79 Item No.12.A.2(9) | 8 | No
(3) Replacing of S.S spindal only
GWSSB SOR-22-23 Pg-79 Item No.12.A.3(9) | 8 | No
Item No. 19 Welding in all position with required number runs for MS pipe internally and/or externally including gauging wherever necessary fixing appurtenances and other accessoried in connection with pipe laying work as per specifications. | 10 | Rmt |  | 24.5862
(i) Various Valve Handle for Filter bed Operation and pipe line and other sections |  |  |  | 107.388
(GWSSB Civil SOR 2022-23, P.No:67, Iterm no.7) |  |  |  | 131.9742
Item No.20 | 1 | Set
Providing ,Installing , commisioning of only chain((01 T Manually Operated) block with triple gear arrangement, lifting hook, load chain & hand chain & locking device etc. As per In Charge Engineer Instruction.
Item No.21 Painting two coats (excluding priming coat) on new steel and other metal surface with enamel paint, brushing, interior to give an even shade including cleaning the surface an even shade including cleaning the surface of all dirt, dust and other foreign matter (ISMB 200*100*5 mm) (Area=32.30 Sqcm)(l=865cm) | 2.8 | Sq.Mt
Removing Rust, Brushing, Providing Lubricant and colour to Chlorine room girder and Pully block As per In Charge Engineer Instruction.
Item No:22
Labour Charges for cleaning of sump/GI cistern including cleaning and removing algaecalcinators, sludge, dirt deposition from bottom and as well as from wall of container, disinfection by bleaching powder with all necessary tools and plants. Labour and cost of disinfectant etc complete. (Simillar Item : Cleaning of Clarifloculator of Capacity of 17,00,000 Liter at Bhukhi HW) | 1 | No

## Rate Analysis (hidden)
Rate Analysis
Item No | Item Description | Unit | Qty | Rate | Amount
1 | Providing ,Installing , commisioning of only chain((01 T Manually Operated) block with triple gear arrangement, lifting hook, load chain & hand chain & locking device etc. As per In Charge Engineer Instruction. | No | 1 | 5760 | 5760
40 % OF (GWSSB E&M SOR 2022-23, P.No:71, Item no.39)

## MS Specials (hidden)
#REF!
#REF!
MS Special Calculation
Installed Pump (W + SB) = |  |  | #REF!
Weight of MS Pipeline :
Sr No | Pipe | Dia (ID) | Thickness | Weight / mt | Rmt | Weight of flange up to 300 mm dia | Weight of flange above 300 mm dia
|  | mm | mm | kg | m | kg | Kg
1 | Suction | 210.1 | 4.5 | 23.82 | 6 | 142.92 | 0
2 | Delivery | 210.1 | 4.5 | 23.82 | 9 | 214.38 | 0
3 | Header | 263 | 5 | 33.05 | 10 | 330.5 | 0
4 | Bypass (Delivery) | 50 | 4.5 | 6.05 | 10 | 60.5 | 0
5 | Bypass (Header) | 65 | 4.5 | 7.71 | 10 | 77.1 | 0
Total Weight of MS Pipelines (kg) | [5 empty] | 825.4 | 0
Weight of Flanges as per ISO 7005-1:: |  |  | PN10
Sr No | Perticulars | Diameter of pipe | Diameter of flange | No of Flange | Weight of Flange | Weight of flange up to 300 mm dia | Weight of flange above 300 mm dia
|  | mm | mm | No | Kg | Kg | Kg
1 | Suction Pipe | 210.1 | 200 | #REF! | 10.6135 | #REF! | 0 | 2 | 8
2 | Delivery Pipe | 210.1 | 200 | #REF! | 10.6135 | #REF! | 0
3 | Header Pipe | 263 | 250 | 10 | 14.061 | 140.6101 | 0
4 | Bypass (Delivery) | 50 | 50 | #REF! | 3.8235 | #REF! | 0
5 | Bypass (Header) | 65 | 65 | 2 | 3.8235 | 7.647 | 0
Total Weight of Flanges (Kg) = | [5 empty] | #REF! | 0
Total Weight of Specials (Pipes+Flanges) (Kg) = | [5 empty] | #REF! | 0
[5 empty] | Add 20% extra for nuts, bolts, gasket etc. (kg) = | #REF! | 0
Gross Weight of Specials (Kg) = | [5 empty] | #REF! | 0
SAY (Kg) = | [5 empty] | #REF! | 0
Note : Flanges considered as below | [7 empty] | Pipe Details | [5 empty] | Flange Kg (As per IS 6392 : Table-17)
Suction pipe = 2 BV + 2 EB | [7 empty] | OD | ID | Th | Weight Kg |  | Flange OD | Flange Th | Area | Volume | Weight
Delivery pipe = 2 BV + 2 EB + 2 DPCV | [7 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Header pipe = 2 BV + 2 EB + 2 DPCV + 2 FM + 2 AV + 1 BF + 1 RM Connection | [7 empty] | 47.9 | 40 | 3.2 | 3.56 | 110 | 150 | 16 | 0.016 | 0.000256 | 2.01
Bypass pipe = 2 SV | [7 empty] | 59.7 | 50 | 3.6 | 5.03 | 115 | 165 | 18 | 0.019 | 0.000342 | 2.68
[8 empty] | 75.3 | 65 | 3.6 | 6.42 | 120 | 185 | 18 | 0.024 | 0.000432 | 3.39
[8 empty] | 88 | 80 | 4 | 8.36 | 120 | 200 | 20 | 0.026 | 0.00052 | 4.08
[8 empty] | 113.1 | 100 | 4.5 | 12.2 | 120 | 220 | 20 | 0.03 | 0.0006 | 4.71
[8 empty] | 138.5 | 125 | 4.8 | 15.9 | 125 | 250 | 22 | 0.037 | 0.000814 | 6.39
[8 empty] | 163.9 | 150 | 4.8 | 18.9 | 135 | 285 | 22 | 0.046 | 0.001012 | 7.94
[8 empty] | 168.3 | 159.3 | 4.5 | 18.2 | 155.7 | 315 | 24 | 0.058 | 0.001392 | 10.93
[8 empty] | 219.1 | 210.1 | 4.5 | 23.8 | 129.9 | 340 | 24 | 0.056 | 0.001344 | 10.55
[8 empty] | 273 | 263 | 5 | 33 | 142 | 405 | 26 | 0.074 | 0.001924 | 15.1
[8 empty] | 323.9 | 312.7 | 5.6 | 44 | 147.3 | 460 | 28 | 0.089 | 0.002492 | 19.56
[8 empty] | 355.6 | 344.4 | 5.6 | 48.3 | 175.6 | 520 | 32 | 0.119 | 0.003808 | 29.89
[8 empty] | 406.4 | 393.8 | 6.3 | 62.2 | 186.2 | 580 | 36 | 0.142 | 0.005112 | 40.13
[8 empty] | 457 | 444.4 | 6.3 | 70 | 203.6 | 648 | 40 | 0.175 | 0.007 | 54.95
[8 empty] | 508 | 495.4 | 6.3 | 77.9 | 219.6 | 715 | 44 | 0.209 | 0.009196 | 72.19
[8 empty] | 610 | 597.4 | 6.3 | 93.8 | 242.6 | 840 | 52 | 0.274 | 0.014248 | 111.85
[8 empty] | 711 | 696.8 | 7.1 | 123 | 213.2 | 910 | 58 | 0.269 | 0.015602 | 122.48
[8 empty] | 813 | 798.8 | 7.1 | 141 | 226.2 | 1025 | 64 | 0.324 | 0.020736 | 162.78
[8 empty] | 914 | 898 | 8 | 179 | 227 | 1125 | 72 | 0.361 | 0.025992 | 204.04
[8 empty] | 1016 | 998.4 | 8.8 | 219 | 256.6 | 1255 | 78 | 0.454 | 0.035412 | 277.98
[8 empty] | 1067 | 1049.4 | 8.8 | 230 | 320.6 | 1370 | 94 | 0.609 | 0.057246 | 449.38
[8 empty] | 1219 | 1199 | 10 | 298 | 286 | 1485 | 94 | 0.603 | 0.056682 | 444.95
[8 empty] | 1422 | 1397 | 12.5 | 435 | 320 | 1805 | 94 | 1.026 | 0.096444 | 757.09
[8 empty] | 1626 | 1597.6 | 14.2 | 564 | 320 | 2125 | 106 | 1.542 | 0.16345 | 1283.1
[8 empty] | 1829 | 1797 | 16 | 715 | 340 | 2465 | 106 | 2.236 | 0.23702 | 1860.58
[8 empty] | 2032 | 2000 | 16 | 795 | 340 | 2805 | 106 | 3.038 | 0.32203 | 2527.92
[8 empty] | 2235 | 2200 | 17.5 | 957 | 380 | 3185 | 118 | 4.166 | 0.49159 | 3858.97
[8 empty] | 2540 | 2500 | 20 | 1243 | 380 | 3565 | 130 | 5.073 | 0.65949 | 5177
Installed Pump (W + SB) = |  |  | #REF!
Weight of MS Pipeline :
Sr No | Pipe | Dia (ID) | Thickness | Weight / mt | Rmt | Weight of flange up to 300 mm dia | Weight of flange above 300 mm dia
|  | mm | mm | kg | m | kg | Kg
1 | Suction | 150 | 4.8 | 18.32 | 6 | 109.92 | 0
2 | Delivery | 150 | 4.8 | 18.32 | 9 | 164.88 | 0
3 | Header | 210.1 | 5 | 26.52 | 10 | 265.2 | 0
4 | Bypass (Delivery) | 50 | 4.5 | 6.05 | 10 | 60.5 | 0
5 | Bypass (Header) | 50 | 4.5 | 6.05 | 10 | 60.5 | 0
Total Weight of MS Pipelines (kg) | [5 empty] | 661 | 0
Weight of Flanges as per ISO 7005-1:: |  |  | PN16
Sr No | Perticulars | Diameter of pipe | Diameter of flange | No of Flange | Weight of Flange | Weight of flange up to 300 mm dia | Weight of flange above 300 mm dia
|  | mm | mm | No | Kg | Kg | Kg
1 | Suction Pipe | 150 | 150 | #REF! | 8.1165 | #REF! | 0
2 | Delivery Pipe | 150 | 150 | #REF! | 8.1165 | #REF! | 0
3 | Header Pipe | 210.1 | 200 | 10 | 10.6135 | 106.1352 | 0
4 | Bypass (Delivery) | 50 | 50 | #REF! | 3.8235 | #REF! | 0
5 | Bypass (Header) | 50 | 50 | 2 | 3.8235 | 7.647 | 0
Total Weight of Flanges (Kg) = | [5 empty] | #REF! | 0
Total Weight of Specials (Pipes+Flanges) (Kg) = | [5 empty] | #REF! | 0
[5 empty] | Add 20% extra for nuts, bolts, gasket etc. (kg) = | #REF! | 0
Gross Weight of Specials (Kg) = | [5 empty] | #REF! | 0
SAY (Kg) = | [5 empty] | #REF! | 0
[5 empty] | TOTAL (KG) | #REF!

## Cable Calculation (hidden)
#REF!
#REF!
Cable Sizing
Perticulars | Load (KVA) | Load (KW) | Load (KVAR) | V | Eff. (%) | Power Factor | Load Current (A) | Cable Type | Starter | Starting current M.F. | Position of Cable | Rating factor related to temperature |  | Grouping of Cables |  | Total Derating Factor (K = K1 * K2) | Assume Cable Size |  |  | Current Carrying Capacity of Cable | Derated current carrying capacity | Length of Cable | Voltage Drop as per cat. (Mv / amp / meter) | Running Voltage Drop (%) - It shall be less than 5% |  | Starting Voltage Drop (%) - It shall be less than 15% |  | Short Circuit Capacity (For T = 1 Sec) |  | Check
[11 empty] | Ground /Air | Temp. | Factor (K1) | No of cable per rack | Factor (K2) |  | Run | Core | Size | [8 empty] | K factor as per IS 3043 (Table : 6C) | Fault Current (KA) | Cable Derating Current | Running Voltage Drop | Starting Voltage Drop | Fault Current
HT Side | [23 empty] | V | % | V | % |  |  | > FLC | <5% | <15% | >50 kA (415 V) >26.3 kA (1100 V) | 3300 | 11000 | 6600
(1) From GEB to DP Structure | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Ground | 35 | 0.96 | 1 | 1 | 0.96 | 1 | 3.5 | 300 | 367 | 352.32 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK | 50 | 26.3 | 50
OR
(1) From GEB to HT Panel (VCB) | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
(1A) From HT Panel (VCB) to DP Structure | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3.5 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
(2) From DP Structure to Transformer | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3.5 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 >= (7) | 22 | 23 | 24 | 25 | 26 | 27 |  |  | 28 | 29 | 30
(1) From GEB to MCCB to MCC Panel | - | 110 | - | 415 | 94.7 | 0.86 | 188 | XLPE | ATS | 4 | Air | 50 | 0.9 | 6 | 0.7 | 0.63 | 1 | 3.5 | 185 | 337 | 212.31 | 10 | 0.39 | 0.7332 | 0.1767% | 2.9328 | 0.7067% | 0.094 | 17.39 | OK | OK | OK | NOT OK
(2) From MCC Panel to Motor | - | 55 |  | 415 | 93.8 | 0.87 | 94 | XLPE | ATS | 4 | Air | 50 | 0.9 | 6 | 0.7 | 0.63 | 1 | 3 | 70 | 179 | 112.77 | 100 | 0.99 | 9.306 | 2.242% | 27.918 | 6.727% | 0.094 | 6.58 | OK | OK | OK | NOT OK
Polycab Rating factor related to variation in ambient temperature
[18 empty] | ATS | 4
[6 empty] | Temp | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 |  |  |  | DOL | 6
[6 empty] | Air |  |  | 1.14 | 1.1 | 1.04 | 1 | 0.95 | 0.9 |  |  |  | SD | 2
[6 empty] | Ground | 1.12 | 1.08 | 1.03 | 1 | 0.96 | 0.91 | [5 empty] | SOFT | 3.5
Cable Grouping Fator (No of Tray Factor)
[5 empty] | No of racks | No of cable per rack (PVC) | [5 empty] | No of cable per rack (XLPE)
[6 empty] | 1 | 2 | 3 | 6 | 9 | 1 | 2 | 3 | 6 | 9
[5 empty] | 1 | 1 | 0.98 | 0.96 | 0.93 | 0.92 | 1 | 0.84 | 0.8 | 0.75 | 0.73
[5 empty] | 2 | 1 | 0.95 | 0.93 | 0.9 | 0.89 | 1 | 0.8 | 0.76 | 0.71 | 0.69
[5 empty] | 3 | 1 | 0.94 | 0.92 | 0.89 | 0.88 | 1 | 0.78 | 0.74 | 0.7 | 0.68
[5 empty] | 6 | 1 | 0.93 | 0.9 | 0.87 | 0.86 | 1 | 0.76 | 0.72 | 0.65 | 0.66
Polycab - Cable Current Rating - 3 core, 3.5 core, 4 core Aluminium Conductor, XLPE Insulated.
[5 empty] | Cable Size | 3 core |  | 3.5 core |  | 4 core
[6 empty] | Ground | Air | Ground | Air | Ground | Air
[5 empty] | 4 | 34 | 31 | - | - | 34 | 31
[5 empty] | 6 | 43 | 50 | - | - | 43 | 50
[5 empty] | 10 | 57 | 67 | - | - | 57 | 67
[5 empty] | 16 | 73 | 70 | - | - | 73 | 70
[5 empty] | 25 | 94 | 96 | 94 | 96 | 94 | 96
[5 empty] | 35 | 113 | 117 | 113 | 117 | 113 | 117
[5 empty] | 50 | 133 | 142 | 133 | 142 | 133 | 142
[5 empty] | 70 | 164 | 179 | 164 | 179 | 164 | 179
[5 empty] | 95 | 196 | 221 | 196 | 221 | 196 | 221
[5 empty] | 120 | 223 | 257 | 223 | 257 | 223 | 257
[5 empty] | 150 | 249 | 292 | 249 | 292 | 249 | 292
[5 empty] | 185 | 282 | 337 | 282 | 337 | 282 | 337
[5 empty] | 240 | 326 | 399 | 326 | 399 | 326 | 399
[5 empty] | 300 | 367 | 455 | 367 | 455 | 367 | 455
[5 empty] | 400 | 418 | 530 | 418 | 530 | 418 | 530
[5 empty] | 500 | 470 | 612 | 470 | 612 | 470 | 612
[5 empty] | 630 | 529 | 707 | 529 | 707 | 529 | 707
[5 empty] | Polycab - Voltage Drop |  |  | Short Circuit
[5 empty] | 4 | 16.44 |  | 415 | 50 | kA
[5 empty] | 6 | 10.22 |  | 1100 | 26.3 | kA
[5 empty] | 10 | 6.82 |  | 3300 | 50 | kA
[5 empty] | 16 | 4.2 |  | 6600 | 26.3 | kA
[5 empty] | 25 | 2.7
[5 empty] | 35 | 1.9
[5 empty] | 50 | 1.4
[5 empty] | 70 | 0.99
[5 empty] | 95 | 0.72
[5 empty] | 120 | 0.58
[5 empty] | 150 | 0.48
[5 empty] | 185 | 0.39
[5 empty] | 240 | 0.31
[5 empty] | 300 | 0.26
[5 empty] | 400 | 0.21
[5 empty] | 500 | 0.2
[5 empty] | 630 | 0.18

## Cable Calculation (2) (hidden)
#REF!
#REF!
Cable Sizing
Perticulars | Load (KVA) | Load (KW) | Load (KVAR) | V | Eff. (%) | Power Factor | Load Current (A) | Cable Type | Starter | Starting current M.F. | Position of Cable | Rating factor related to temperature |  | Grouping of Cables |  | Total Derating Factor (K = K1 * K2) | Assume Cable Size |  |  | Current Carrying Capacity of Cable | Derated current carrying capacity | Length of Cable | Voltage Drop as per cat. (Mv / amp / meter) | Running Voltage Drop (%) - It shall be less than 5% |  | Starting Voltage Drop (%) - It shall be less than 15% |  | Short Circuit Capacity (For T = 1 Sec) |  | Check
[11 empty] | Ground /Air | Temp. | Factor (K1) | No of cable per rack | Factor (K2) |  | Run | Core | Size | [8 empty] | K factor as per IS 3043 (Table : 6C) | Fault Current (KA) | Cable Derating Current | Running Voltage Drop | Starting Voltage Drop | Fault Current
HT Side | [23 empty] | V | % | V | % |  |  | > FLC | <5% | <15% | >50 kA (415 V) >26.3 kA (1100 V) | 3300 | 11000 | 6600
(1) From GEB to DP Structure | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Ground | 35 | 0.96 | 1 | 1 | 0.96 | 1 | 3.5 | 300 | 367 | 352.32 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK | 50 | 26.3 | 50
OR
(1) From GEB to HT Panel (VCB) | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
(1A) From HT Panel (VCB) to DP Structure | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3.5 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
(2) From DP Structure to Transformer | 800 | - |  | 11000 | 97 | - | 43 | XLPE |  |  | Air | 50 | 0.9 | 1 | 1 | 0.9 | 1 | 3.5 | 300 | 455 | 409.5 | 200 | 0.26 | 2.236 | 0.02033% |  |  | 0.094 | 28.2 | OK | OK |  | OK
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 >= (7) | 22 | 23 | 24 | 25 | 26 | 27 |  |  | 28 | 29 | 30
(1) From GEB to MCCB to MCC Panel | - | 90 | - | 415 | 94.7 | 0.86 | 154 | XLPE | ATS | 4 | Air | 50 | 0.9 | 6 | 0.7 | 0.63 | 1 | 3.5 | 120 | 257 | 161.91 | 10 | 0.58 | 0.8932 | 0.2152% | 3.5728 | 0.8609% | 0.094 | 11.28 | OK | OK | OK | NOT OK
(2) From MCC Panel to Motor | - | 45 |  | 415 | 93.2 | 0.88 | 76 | XLPE | ATS | 4 | Air | 50 | 0.9 | 6 | 0.7 | 0.63 | 1 | 3 | 50 | 142 | 89.46 | 100 | 1.4 | 10.64 | 2.564% | 31.92 | 7.692% | 0.094 | 4.7 | OK | OK | OK | NOT OK
Polycab Rating factor related to variation in ambient temperature
[18 empty] | ATS | 4
[6 empty] | Temp | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 |  |  |  | DOL | 6
[6 empty] | Air |  |  | 1.14 | 1.1 | 1.04 | 1 | 0.95 | 0.9 |  |  |  | SD | 2
[6 empty] | Ground | 1.12 | 1.08 | 1.03 | 1 | 0.96 | 0.91 | [5 empty] | SOFT | 3.5
Cable Grouping Fator (No of Tray Factor)
[5 empty] | No of racks | No of cable per rack (PVC) | [5 empty] | No of cable per rack (XLPE)
[6 empty] | 1 | 2 | 3 | 6 | 9 | 1 | 2 | 3 | 6 | 9
[5 empty] | 1 | 1 | 0.98 | 0.96 | 0.93 | 0.92 | 1 | 0.84 | 0.8 | 0.75 | 0.73
[5 empty] | 2 | 1 | 0.95 | 0.93 | 0.9 | 0.89 | 1 | 0.8 | 0.76 | 0.71 | 0.69
[5 empty] | 3 | 1 | 0.94 | 0.92 | 0.89 | 0.88 | 1 | 0.78 | 0.74 | 0.7 | 0.68
[5 empty] | 6 | 1 | 0.93 | 0.9 | 0.87 | 0.86 | 1 | 0.76 | 0.72 | 0.65 | 0.66
Polycab - Cable Current Rating - 3 core, 3.5 core, 4 core Aluminium Conductor, XLPE Insulated.
[5 empty] | Cable Size | 3 core |  | 3.5 core |  | 4 core
[6 empty] | Ground | Air | Ground | Air | Ground | Air
[5 empty] | 4 | 34 | 31 | - | - | 34 | 31
[5 empty] | 6 | 43 | 50 | - | - | 43 | 50
[5 empty] | 10 | 57 | 67 | - | - | 57 | 67
[5 empty] | 16 | 73 | 70 | - | - | 73 | 70
[5 empty] | 25 | 94 | 96 | 94 | 96 | 94 | 96
[5 empty] | 35 | 113 | 117 | 113 | 117 | 113 | 117
[5 empty] | 50 | 133 | 142 | 133 | 142 | 133 | 142
[5 empty] | 70 | 164 | 179 | 164 | 179 | 164 | 179
[5 empty] | 95 | 196 | 221 | 196 | 221 | 196 | 221
[5 empty] | 120 | 223 | 257 | 223 | 257 | 223 | 257
[5 empty] | 150 | 249 | 292 | 249 | 292 | 249 | 292
[5 empty] | 185 | 282 | 337 | 282 | 337 | 282 | 337
[5 empty] | 240 | 326 | 399 | 326 | 399 | 326 | 399
[5 empty] | 300 | 367 | 455 | 367 | 455 | 367 | 455
[5 empty] | 400 | 418 | 530 | 418 | 530 | 418 | 530
[5 empty] | 500 | 470 | 612 | 470 | 612 | 470 | 612
[5 empty] | 630 | 529 | 707 | 529 | 707 | 529 | 707
[5 empty] | Polycab - Voltage Drop |  |  | Short Circuit
[5 empty] | 4 | 16.44 |  | 415 | 50 | kA
[5 empty] | 6 | 10.22 |  | 1100 | 26.3 | kA
[5 empty] | 10 | 6.82 |  | 3300 | 50 | kA
[5 empty] | 16 | 4.2 |  | 6600 | 26.3 | kA
[5 empty] | 25 | 2.7
[5 empty] | 35 | 1.9
[5 empty] | 50 | 1.4
[5 empty] | 70 | 0.99
[5 empty] | 95 | 0.72
[5 empty] | 120 | 0.58
[5 empty] | 150 | 0.48
[5 empty] | 185 | 0.39
[5 empty] | 240 | 0.31
[5 empty] | 300 | 0.26
[5 empty] | 400 | 0.21
[5 empty] | 500 | 0.2
[5 empty] | 630 | 0.18

## SITC cost sheet (hidden)
SITC COST OF MACHINERY
#REF!
#REF!
Duty Point : 313.2 m3/hr X 37.5 Mtr. Head
Item No. | Description of Items | Qty. | Unit | Rate (Rs.) |  | Amount (Rs.)
|  |  |  | Supply | Labour 10% or SOR
New Machinery
A | HSCF PUMP MOTOR SETS, ALL TYPES OF VALVES, FLOW METER (5%)
1 | Duty Point : 313.2 m3/hr X 37.5 Mtr. Head | #REF! | #REF! | #REF! | #REF! | #REF!
2 | Drain Pump | #REF! | #REF! | #REF! | #REF! | #REF!
2 | DPCV - 250mm Delivery | #REF! | #REF! | #REF! | #REF! | #REF!
3 | DPCV - 350mm Header | #REF! | #REF! | #REF! | #REF! | #REF!
4 | BFV - 250mm Delivery | #REF! | #REF! | #REF! | #REF! | #REF!
5 | BFV - 350mm Header | #REF! | #REF! | #REF! | #REF! | #REF!
6 | SV - 65 on bypass of delivery | #REF! | #REF! | #REF! | #REF! | #REF!
7 | SV - 80 on bypass of header | #REF! | #REF! | #REF! | #REF! | #REF!
8 | SV - 250 on suction | #REF! | #REF! | #REF! | #REF! | #REF!
8 | AV - 100mm | #REF! | #REF! | #REF! | #REF! | #REF!
9 | Flow Meter - 350mm | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Total Rs. | #REF!
B | Remaining Other Items (2.5%)
1 | Expansion Bellows - 250mm on delivery | #REF! | #REF! | #REF! | #REF! | #REF!
2 | Expansion Bellows - 350mm on header | #REF! | #REF! | #REF! | #REF! | #REF!
3 | Expansion Bellows - 250mm on header | #REF! | #REF! | #REF! | #REF! | #REF!
4 | MS Pipe & Specials - Up to 300 kg | #REF! | #REF! | #REF! | #REF! | #REF!
5 | MS Pipe & Specials - more than 300 kg | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Pressure gauge - 150mm | #REF! | #REF! | #REF! | #REF! | #REF!
7 | HOT Crane - 2 Ton | #REF! | #REF! | #REF! | #REF! | #REF!
8 | RCC Work | #REF! | #REF! | #REF! | #REF! | #REF!
9 | MCCB | #REF! | #REF! | #REF! | #REF! | #REF!
10 | MCC Panel | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 415 V Cable 3.5 C - 185 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 415 V Cable 3.0 C - 50 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
13 | Chemical Earthing | #REF! | #REF! | #REF! | #REF! | #REF!
14 | GI Earth Strip | #REF! | #REF! | #REF! | #REF! | #REF!
15 | Rubber Mat | #REF! | #REF! | #REF! | #REF! | #REF!
16 | Dangar Notice Board | #REF! | #REF! | #REF! | #REF! | #REF!
17 | Instruction Chart | #REF! | #REF! | #REF! | #REF! | #REF!
18 | First Aid Kit | #REF! | #REF! | #REF! | #REF! | #REF!
19 | Fire Bucket | #REF! | #REF! | #REF! | #REF! | #REF!
20 | Fire Bucket stand | #REF! | #REF! | #REF! | #REF! | #REF!
21 | Hand Gloves | #REF! | #REF! | #REF! | #REF! | #REF!
22 | Level Transmitter | #REF! | #REF! | #REF! | #REF! | #REF!
23 | Cable Gland - 3.5 C - 185 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
24 | Cable Gland - 3.0 C - 50 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
25 | Cable Lug - 3.5 C - 185 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
26 | Cable Lug - 3.0 C - 50 Sqmm | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Total Rs. | #REF!
[5 empty] | Gross Total (A to E) | #REF!
| Recommended for Approval |  |  | Dy. Executive Engineer
P. H. Mechanical Sub-Division Morbi
Executive Engineer
P.H.Mechanical Division Rajkot
453600
59780
13750
4800
531930
#REF!

## O&M Esti (hidden)
ESTIMATE - 2 Comprehensive O&M Work For 60 Month
#REF!
#REF!
A N N E X U R E
QTY. | UNIT | ITEM | RATE | AMOUNT
Item No.-1.1
OPERATOR CUM SECURITY PERSON
12 | Month | Providing 3 Nos Semi skilled manpower cum security person (For Operation of machineries, Routine maintenance, repairs, Maintain of Register, House keeping, Cleaning of all Machineries / pump House, Floor, Cleaning by using clining liqid & necessary materials etc complete.) Sara HW ( Rate as per Ann.-I , Item No.1.1 (a) For First Year 12 Months) | 29882.48 | 358589.76
12 | Month | For 2nd Year 12 Months (Ann. I, It. No. 1.1(b) | 31376.6 | 376519.2
12 | Month | For 3rd Year 12 Months (Ann. I, It. No. 1.1(c) | 32870.73 | 394448.76
12 | Month | For 4th Year 12 Months (Ann. I, It. No. 1.1(d) | 34364.85 | 412378.2
12 | Month | For 5th Year 12 Months (Ann. I, It. No. 1.1(e) | 35858.98 | 430307.76
Item No.-2
Pump -Motor Sets,Transformer, D.P. structer .Valves, piping ,Dewatering Pumps, MCC Panels, Cable, Lighting Arrangements & other all item as per annexure-II.
12 | Month | Comprehensive Operation and Maintenance of the Pumping Station Premises, Plant Machineries and Electrical Equipments Installed at Head Works by Engaging Necessary skilled man power cum security man and unskilled man power cum security man, as per tender Requirement with Providing & Utilizing Necessary Lubricants, Tool Kit and all other Running Consumbles as well as Routine Plant and Emergency Break down Maintenance and all Minor Preventive repairs to all Installed Plant Machineries / Equipments and Preparation, Maintenance and Preservation of Record for Pumping Machinery Utilization, Energy Consumption, Qty. of Water Pumped etc. and Submitted to Office in Prescribed Proforma Including Stationery Materials as per Instruction of Engineer In-Charge. 1. Sara HW (For First Twelve Month) | #REF! | #REF!
48 | Month | ....Do... 1. Sara HW For 2nd to 5th Year As per annexure - 3.1(A) and 3.2(A) | #REF! | #REF!
Total O&M Amount for 5 Years (Rs.) |  |  |  | #REF!
Add 5% For contingency (Rs.) |  |  |  | #REF!
Total Cost Including contingency (Rs.)(Net) |  |  |  | #REF!
Add 17.85 % E.T.P. Charges |  |  |  | #REF!
Total(Gross) |  |  |  | #REF!
Recommonded for Approval
Dy.Executive Engineer
P. H. Mech. Sub Division Morbi
Executive Engineer
P.H.Mechanical Division Rajkot

## O&M anne (hidden)
A N N E X U R E- I | [9 empty] | Component | Amt
#REF! | [9 empty] | HSCF PUMP MOTOR SETS | 2048000 | m | y
1.1 | ESTABLISHMENT- SEMI SKILLED CUM SECURITY MANPOWER (For operation of machinery, routine maintanance-repair, maintanance of ragister, house keeping, cleaning of all machineries/pump house, floor by using clining liquid & necessary material etc. complete | [8 empty] | DRAIN PUMP SET | 34000 | m
Item No | HW | Man | Current Wages / Day | No. Of Days | Monthly amt. | Insurance provision @Rs. 42.80 / 1000 of Col.6 | Total Monthly Rs. | Remarks |  | LIGHTING ARRANGEMENT | 69007 | m
| CATEGARY:- Semi Skilled Man power cum security Person per shift/day | [10 empty] | m | y
a | Sara HW | 3 | 318.4 | 30 | 28656 | 1226.4768 | 29882.48 |  |  | ALL TYPES OF VALVES | 300653.94
b | For 2nd Year Add 5% of Base rate of first year i.e. Rs. 29882.48 x 5% = 31376.60 | [5 empty] | 31376.6
c | For 3rd Year Add 10% of Base rate of first year i.e. Rs. 29882.48 x 10% = 32870.73 | [5 empty] | 32870.73 |  |  | Flow meter | 868020.56 | m
d | For 4th Year Add 15% of Base rate of first year i.e. Rs. 29882.48 x 15% = 34364.85 | [5 empty] | 34364.85
e | For 5th Year Add 20% of Base rate of first year i.e. Rs. 29882.48 x 20% = 35858.98 | [5 empty] | 35858.98 |  |  | Transformer | 392601.33 | m | y
REPAIR PROVISION
| Pumping Machinery & Accessories Purchase in Year | [8 empty] | Other Accessaries | 3075655.12 | m
Item No. | Head Works |  | Capital Cost | Repair Provision | Insurance provision @Rs. 1.95 / 1000 of Col.3 | Sub Total (4+5) | Total Rs. | Say Total Rs. | Remarks |  | 6787937.95
2.1 | Various types Pumps, Transformer, Flowmeters, valves, piping, Vacuum Pump, Dewatering Pumps, MCC Panels, Cable, DP structure, Lighting arrangements & Other item which is not specified anywhere Etc |  | Insurance Provision For New Pumping Machinery (For First Year) | [7 empty] | 144
Item No. | Head Works |  | Capital Cost | Repair Provision | Insurance provision @Rs. 1.95 / 1000 of Col.3 | Sub Total (4+5) | Total Rs. | Say Total Rs. | Remarks |  | 2958.4
(A) | Sara HW |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Monthly |  | 7003
3.1 | Various types of MCC Panels, Cable, MS Pipes and specials, Expansion bellows, thrust blocks, cable kit & Other item which is not specified anywhere Etc |  | Monthly Routine maintenance / preventive servicing & repair if required Major Overhauling Servicing Repairing & Repalacement of Damage Component provision @ 2.5 % of purchase cost for New Pumping Machinery | [7 empty] | 5652
(A) | Sara HW |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Monthly |  | 6108
6809803.35
3.2 | Pump & Motor Set including All types of valves and Flow meter |  | Monthly Routine maintenance / preventive servicing & repair if required Major Overhauling Servicing Repairing & Repalacement of Damage Component provision @ 5 % of purchase cost for New Pumping Machinery
(A) | Sara HW |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Monthly
|  | Recommonded for Approval |  |  |  |  | Dy.Executive Engineer
P. H. Mech. Sub Division Morbi
Executive Engineer
P.H.Mechanical Division Rajkot

## HT Estimate (hidden)
#REF!
#REF!
SITC of 11 kV Switchyard & allied Electrical Works
Sr. No. | Item No. | Discription | Qty | Unit | Material (A) | Labour (B) | Amount (A+B) (inclg. 1% Labour cess) | Tender Amount
(A) |  | 11 kV Switchyard with Transformers |  |  | Rs. | Rs. | Rs. | Rs.
1 | 1 | SITC of 11 kV Two Pole (D.P.) Structure (7.5 m above ground) made from required 6"x3" - ISMB 150 (150x80) - 9 m girders, 4"x2" - ISMC 100 x (100x50)-2.75 m channels, clamps, nuts, bolt etc.suitable for erection of the followings duly connected with necessary ACSR conductors & GRP Operating rod and as per drawing approved by the Engineer-incharge and in compliance with requirements of IEC (without earthing & Copper Plate) complete with following (a) 11 kV 200 A Drop out fuses with S.R.B.P. tubes carriers-Three nos. (b) 11 kV, 400 A G.O.A.B. Switch complete with insulators, operating handle with galvanized pipe, Sq. bar, etc., - One sets. (c) 11 kV lightning arrestor with clamp - 3 nos. (d) 11 kV Shackle insulator - 6 nos. (e) The above D.P structure should be earthed with 25 mm X 3 mm thick double copper earth strip run parallel from seprate copper plate earth electrode. | 2 | Set | 137390 | 0 | 137390 | 274780
(a) 11 kV 200 A Drop out fuses with S.R.B.P. tubes carriers-Three nos.
(b) 11 kV, 400 A G.O.A.B. Switch complete with insulators, operating handle with galvanized pipe, Sq. bar, etc., - One sets.
(c) 11 kV lightning arrestor with clamp - 3 nos.
(d) 11 kV Shackle insulator - 6 nos.
(e) The above D.P structure should be earthed with 25 mm X 3 mm thick double copper earth strip run parallel from seprate copper plate earth electrode.
GWSSB (Civil)-2014-15, Sec.-H-It.No.1, Page No. 159
2 | 2 | Wire fencing (For DP Structure & Transformer Yard): Providing and fixing 2.0 mtr. high Wire Fencing with 2.8 Mtr. long M.S. angle posts 40mm X 40mm X 6mm and oil painting 3 coats fixed at 2.5 Mtr. C/C with eight Horizontal line & two diagonals of galvanized steel barbed wire weighting 9.38 Kg./ 100 Mtr. strained including fixing the posts in ground with 0.5 Mtr. X 0.5 Mtr. X 0.5 Mtr. block in cement concrete 1:5:10 etc. including laying of gravels of suitable size in Switchyard. | 40 | m | 305 | 0 | 308.05 | 12322
Valsad R&B SoR 2015-16, Page No. 176, I. Code 220001, Ch. 22
3 | 3 | M.S. Gate (For DP Structure & Transformer Yard): Providing and fixing M.S. gate made from M.S. angles, channels and flats including all labour and material cost with painting and fixing at site of work including carting, loading, unloading etc. complete with M.S. Gate 1 Mtr. x 2 Mtr. in structural steel. | 360 | kg | 71 | 0 | 71.71 | 25815.6
GWSSB (Ele-Mech)-2012-13, Page No. 143, Sec.-E, It.3-D
4 | 4 | R. C. C. in M-30 to cast Platform of 1.5 m Wide x 1.5 m L x 1.5 m Height above GL & 2.0 m Wide x 2.0 m L x 1.0 m Height/ Depth (Below Ground) including escavation, etc., for Transformer | 7.5 | Cu. M. | 14170 | 0 | 14170 | 106275
GWSSB (Civil)-2014-15, Page No. 45, Sec.-C, It.-7-10 & 9.5
5 | 5 | Providing and laying best quality gravel inside the wire fencing coumpound as per requirement (Qty is tentative any may vary as per actual site requirement) | 24 | Cu. M. | 1642 | 0 | 1658.42 | 39802.08
GWSSB (Ele-Mech)-2012-13, Page No. 10, Sec.-A, It.4
6 | 6 | SITC of 1R x 3C x 120 mm2, 11 kV, HT XLPE insulated Screened Armoured cable with Aluminium conductor conforming to IS 7098, Part 2. The cable shall be laid in suitable size of pipes/ on cable trays/ in RCC trenches with RCC covers, etc ., complete (One run to be used from 11 kV D. P. to HV of T/C) | 100 | m | 1714 | 36 | 1767.5 | 176750
GWSSB (Ele-Mech)-2012-13, Sec.-E, I No 27, Page No. 136
7 | 7 | SITC of Outdoor type Heat shrinkable cable end termination kit for 1 x 3C x 120 mm2, 11 kV, HT XLPE, insulated Screened Armoured cable with Aluminium Conductor with weather proof double compression cable glands, crimping type lugs, joints supporting structure, etc. | 1 | No. | 14190 | 600 | 14937.9 | 14937.9
GWSSB (Ele-Mech)-2012-13, Sec.-E-30-E-b, Page No. 139
8 | 8 | SITC of Indoor type Heat shrinkable cable end termination kit for 1 x 3C x 120 mm2, 11 kV, HT XLPE, insulated Screened Armoured cable with Aluminium Conductor with weather proof double compression cable glands, crimping type lugs, joints supporting structure, etc. | 2 | No. | 7480 | 600 | 8160.8 | 16321.6
GWSSB (Ele-Mech)-2012-13, Sec.-E-30-E-b, Page No. 139
9 | 9 | Transformer: Designing, engineering, supplying, erection, testing & commissioning of approved make Outdoor Type Power Transformer (Energy Efficient) - 630 kVA, 11 kV / 0.433 kV, (1W+1S) (No Load Loss 0.65 kW @ 750 & Full Load Loss 3.5 kW @ 750 and Impedence - 4%), , Dyn 11, ONAN, OCTC with tap range +5 to -15%, tap step 1.25%.(Supply of distribution transformer(energy efficient)with no load voltage ratio 11/0.433 kV,continuously rated for 3 phase,50 Hz,outdoor/indoor type,ONAN cooled,copper double wound,core type,vector group Dyn 11,HT delta connected and LT star connected,oil immersed winding with temperature rise in oil/winding 50/55 deg.C above ambient temperature with netural brought out connected to provide seperate earthing including termianl arrangement bushing/cable box on HT side and cable box on LT side suitable to rating & numbers of cables or bus duct with above acceptable values of no load/ load losses @ 75 deg.C & impedance (without any tolerances) complete with first fill of oil along with following accessories including routine test @ factory (as per IS 1180 & its latest ammendments, level 2 and as per data sheet & detailed specifications) (1)Oil conservator with filling holes with cap/drain plug and prismatic oil sight gauge (2)Silica gel dehydrating breather charged with silica gel (3)Oil drain cum sampling valve with plug (4) Oil filter valve (5) Lifting eyes/hooks/lugs (6) Two earthing terminals (7) Rating plate and diagram (8) Air release plug (9) Explosion vent with diaphragm (10) Thermometer pocket (11) Four bidirectional plain roller with base channel with hauling holes (12) Fixed/detachable radiator banks (13) Off circuit externally operated tapping switch(for rating ≤ 1000 kVA) (14) 100 mm stem type oil temperature indicator ( for rating < 500 kVA) (15) Bucholtz relay with shut off valve (for rating > 500 kVA) (16) 150 mm dial type oil temperature indicator with Alarm /Trip contact (for rating ≥ 500 kVA) (17) 150 mm dial type winding temperature indicator with Alarm /Trip contact (for rating ≥ 500 kVA) (18) Marshalling box (for rating ≥ 500 kVA) (19) 150 mm dia magnatic type oil gauge (for rating ≥ 1600 kVA) (20) Inspection cover & Jacking lugs (for rating ≥ 1600 kVA) | 2 | No. | 948019 | 35000 | 992849.19 | 1985698.38
GWSSB (Civil)-2014-15, Sec.-H-It.No.2-B-1.1-d, Page No. 162
10 | 10 | LT CABLE (Power Cable for motor): SITC of XLPE (IS 7098) (I) - 88 ISI marked 1R x 3.5 C x 300 sq. mm armoured cable multistrand Aluminium conductor for 1100 V to be laid on wall with necessary clamps or in existing cable trench / PVC / pipe at road crossing or floor of following size cable with lT termination etc complete of suitable size.(one run to be used for LV of T/C) | 50 | m | 1179 | 29 | 1220.08 | 61004
GWSSB (Ele-Mech)-2012-13, Page No., Sec.-E-22-j,
11 | 11 | LT MVDB Panel: Designing, engineering, supplying, erection, testing & commissioning of LT MVDB Panel totally enclosed type as per IS 2147, operation on three phase, 415 V, 50 Hz, neutrally effectively grounded, IP 51 with instrument compartments accommodating LED type indicating lamps, control contactors as per IS 13947, CT of accuracy class I as per IS 2705, relays & control fuses, air insulated Alluminium bus bars for three phase & neutral system with air circuit breakers, air break draw out type MCCB with trip free mechanism, current limiting type MCB as per IS 8828, soft starters, smart load manager with RS 485 facility, motor on / off time & power failure time recording facility, digital type metering instruments, momentary contact type push buttons, equipment fittings, busbars, cable boxes, cable glands, incoming & outgoing cable connection for 1100 volts grade, Al/ Cu conductor PVC insulated & PVC sheathed armoured cable, 10% spare terminals, power wiring use of 660 / 1100 V grade, FRLS insulated copper conductor wires confirming to IS 694 & 8130, cable compartments of minimum 300 mm size, GI earth bus bar of entire length with 3 nos 630 A/ 800 A Microprocessor Based EDO TPN ACB (2 nos I/C from transformer & 1 nos Bus coupler) with U/V, O/L, Shunt release, etc., + 2 Nos. 400 A, TPN SFU (O/g feeder for pumpset of Head Works), 315 A, TPN SFU-2Nos., 200 A, TPN SFU-2 Nos. & 1 No. 100 A, TPN SFU as spare feeder & lighting as per SLD and detail technical specifications. | 1 | Set | 522900 | 0 | 528129 | 528129 | 560.0329
GWSSB (Ele-Mech)-2012-13, Page No.162, Sec.-E-48-c
|  | (A) TOTAL ELECTRICAL PART (Rs.) |  |  |  |  | Rs. | 3241835.56
|  | Amount (Rs.) |  |  |  |  | Rs. | 3241840
|  | Add 5% For contingency (Rs.) |  |  |  |  | Rs. | 162092
|  | Total Cost Including contingency (Rs.) |  |  |  |  | Rs. | 3403932
|  | Add 2% for W.C. Establishment (Rs.) |  |  |  |  | Rs. | 68078.64
|  | Total Cost Including W.C. Establishment (Rs.) |  |  |  |  | Rs. | 3472010.64
|  | Total Amount (Rs.) |  |  |  |  | Rs. | 3472020

## Transf or Amp Calculation (hidden)
#REF!
#REF! | [12 empty] | Bharat Bijlee Catalogue
Transformer and Cable Sizing Calculations | [12 empty] | 1500 RPM (4 Pole)
Sr No | Location | No of working unit | Load (KW) | Total Load (KW) | Eff (%) | Power Factor | KVA | [5 empty] | KW | HP | PF | Eff
1 | Pumping Machinery - 1 | 1 | 30 | 30 | 92 | 0.88 | 37.06 | [5 empty] | 0.37 | 0.5 | 0.76 | 70
0 | EXISTING Pumping Machinery - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.746 |  |  |  |  | 0.55 | 0.75 | 0.81 | 74
0 | EXISTING Pumping Machinery - 3 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0.75 | 1 | 0.78 | 77
0 | EXISTING Pumping Machinery - 4 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 1.1 | 1.5 | 0.8 | 78
0 | EXISTING Pumping Machinery - 5 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 1.5 | 2 | 0.8 | 80
2 | Lighting Load | 1 | 10 | 10 | 88.5 | 0.84 | 13.45 | [5 empty] | 2.2 | 3 | 0.82 | 82
0 | EXISTING WTP Load | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 3.7 | 5 | 0.83 | 85
0 | Crane Load | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 5.5 | 7.5 | 0.86 | 86.5
Grand total of loads = |  |  |  | 40 |  |  | 50.51 | [5 empty] | 7.5 | 10 | 0.87 | 87.5
[13 empty] | 9.3 | 12.5 | 0.84 | 88.5
HT Connection (Transformer) :- |  | HT Connection Not Required | [10 empty] | 11 | 15 | 0.84 | 89
Voltage = |  | 415 | V | [9 empty] | 15 | 20 | 0.84 | 90.2
[13 empty] | 18.5 | 25 | 0.85 | 91.2
(1) Transformer Sizing Calculation : | [12 empty] | 22 | 30 | 0.85 | 91.8
(A) As per Normal Load : | [12 empty] | 30 | 40 | 0.88 | 92
| Total KVA as per above calculations = |  |  | 0 | KVA |  |  |  | Star Delta | 2 |  |  | 37 | 50 | 0.87 | 93
| Total KVA incl. Trnsf. Loading (Normal Load) = |  |  | 0 | KVA | 80% |  |  | DOL | 6 |  |  | 45 | 60 | 0.88 | 93.2
| Total KVA as per Transformer Efficiency = |  |  | 0 |  | 97% |  |  | ATS | 4 |  |  | 55 | 75 | 0.87 | 93.8
| Say (Transformer Rating) = |  |  | 0 | KVA |  |  |  | Soft Starter | 3.5 |  |  | 75 | 100 | 0.86 | 94.2
[13 empty] | 90 | 120 | 0.86 | 94.7
(B) As per largest size motor transient load : | [8 empty] | Transformer Ratings as per SoR
| Largest size motor load = |  |  | 0 | KW |  |  |  | 160
| Largest Motor Starter = |  |  | ATS |  |  |  |  | 200
| Largest size motor KVA = |  |  | 0 | KVA |  |  |  | 250
| Full Load Current of largest rating motor = |  |  | 0 | Amp |  |  |  | 315
| Starting Current as per largest motor starter = |  |  | 4 X FLC | (As per CPHEEO, Pg 431) |  |  |  | 400
| Transient current of largest rating motor = |  |  | 0 | Amp |  |  |  | 500
630
| Total Base Load (Normal load - Largest motor KVA) = |  |  | 0 | KVA |  |  |  | 800
| Current at base load = |  |  | 0 | Amp |  |  |  | 1000
1250
| Total Current = |  |  | 0 | Amp |  |  |  | 1600
| Total KVA considering largest motor transient load = |  |  | 0 | KVA |  |  |  | 2000
2500
| Consider 50% of overloading of transformer = |  |  | 0 | KVA |  |  |  | 3150
| Hence, Provided Transformer Size = |  |  | 0 | KVA |  |  |  | 3500
4000
[13 empty] | 22 | 26 | 37 | 45 | 55
[11 empty] | Mat | 1W |  | 52000
[11 empty] | Lab | 1W |  | 8000
[11 empty] | Mat | 2W+1SB
[11 empty] | Lab | 2W+1SB
[11 empty] | Mat | 3W+2SB
[11 empty] | Lab | 3W+2SB
[11 empty] | Mat | 5W+2SB
[11 empty] | Lab | 5W+2SB