## BoQ
GARDANIBAG BUILDING DIVISION, BUILDING CONSTRUCTION DEPARTMENT, PATNA
BILL OF QUANTITY / ESTIMATE OF COST
Housekeeping, Operation & Maintenance Services for Type A & Type B Housing Premises, Patna
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate /Month | Amount /Month | Amount /Year
1 | Derived (Ann.I) | Housekeeping services for outdoor campus & common areas including supply of manpower, materials, equipments, consumables, uniform cost and all other related items complete as per technical specifications and direction of Engineer -in- Charge | sqft | 1159133 | 1.65 | 1912569.45 | 22950833.4
2 | Derived (Ann.II) | Comprehensive Operation and Maintenance of STP and WTP, all other related equipments & installations including all consumables materials, tools, spares etc. all complete as per technical specifications and direction of Engineer -in- Charge | no.s | 3 | 29437.78 | 88313.34 | 1059760.08
3 | Derived (Ann.III) | Deployment of personals for security services and front desk/ entry pass management including manpower, uniform cost, accessories and all other related items complete as per technical specifications and direction of Engineer -in- Charge | mandays /month | 1080 | 671.25 | 724950 | 8699400
4 | Derived (Ann.IV) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer -in- Charge | sqft | 66894.92 | 1.75 | 117066.11 | 1404793.32
5 | Derived (Ann.V) | Pest control services including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer -in- Charge | sqft | 311248.9248 | 0.22 | 68474.7635 | 821697.1615
6 | Lumpsum Rate | Operation and maintenance of fire fighting and fire alarm system, all related equipments & installations including all consumables materials, tools, spares, manpower etc. all complete as per technical specifications and direction of Engineer -in- Charge | job | 1 | 20000 | 20000 | 240000
7 | Labour Rate | Deployment of manpower for various operation & maintenance jobs as per direction of Engineer -in- Charge
|  | Manager (Overall In Charge) (highly skilled) | person | 1 | 29352.6 | 29352.6 | 352231.2
|  | Carpenter (skilled) | person | 1 | 24060.3 | 24060.3 | 288723.6
|  | Carpenter Helper (semi skilled) | person | 1 | 19746.3 | 19746.3 | 236955.6
|  | Plumber (skilled) | person | 1 | 24060.3 | 24060.3 | 288723.6
|  | Plumber Helper (semi skilled) | person | 1 | 19746.3 | 19746.3 | 236955.6
|  | Electrician (skilled) | person | 1 | 24060.3 | 24060.3 | 288723.6
|  | Electrician Helper (semi skilled) | person | 1 | 19746.3 | 19746.3 | 236955.6
|  | Total Amount for 1st Year |  |  |  | 3092146.0635 | 37105752.7615
|  | Total Amount for 2nd Year (5% increment) |  |  |  |  | 38961040.3995
|  | Total Amount for 3rd Year (5% increment) |  |  |  |  | 40909092.4195
|  | Total Amount for 4th Year (5% increment) |  |  |  |  | 42954547.0405
|  | Total Amount for 5th Year (5% increment) |  |  |  |  | 45102274.3925
|  | Total Amount for 5 Years |  |  |  |  | 205032707
[6 empty] | ELECTRICAL | 52967885
[6 empty] | TOTAL | 258000592

## Anx.I (hidden)
Annexure I
Detailed Analysis for Housekeeping for External Area
S.No | Particulars | Shift | No. | Qty. | Mandays | Rate | Amount
A | Manpower
1 | Housekeeping manpower for cleaning | 1 | 10 | 10 | 300 | 634.49 | 190347
2 | Housekeeping Supervisor | 1 | 1 | 1 | 30 | 802.01 | 24060.3
|  | Total wages per month |  |  |  |  | 214407.3
3 | Miscellaneous Cost (Uniform, Shoes etc.) (Including CP and GST) |  |  | 11 |  | 565.42 | 6219.62
|  | Total per month (A) |  |  |  |  | 220626.92
B | Housekeeping Accessories, Consumables (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 21440.73
|  | Total per month (B) |  |  |  |  | 21440.73
C | Housekeeping Machine and equipments (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 21440.73
|  | Total per month (C) |  |  |  |  | 21440.73
|  | Total (A+B+C) |  |  |  |  | 263508.38
D | Total Internal Area |  | sqft | 160000
Rate per sqft per month = {Total (A+B+C)} /Area | [6 empty] | 1.65

## Anx.II (hidden)
Annexure II
Detailed Analysis for Operation & Maintenance of STP/WTP
S.No | Particulars | Shift | No. | Qty. | Mandays | Rate | Amount
A | Manpower
1 | STP/WTP Operator | 1 | 1 | 1 | 30 | 802.01 | 24060.3
|  | Total wages per month |  |  |  |  | 24060.3
2 | Miscellaneous Cost (Uniform, Shoes etc.) (Including CP and GST) |  |  | 1 |  | 565.42 | 565.42
|  | Total per month (A) |  |  |  |  | 24625.72
B | Accessories and Consumables (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 2406.03
|  | Total per month (B) |  |  |  |  | 2406.03
C | Machine and equipments (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 2406.03
|  | Total per month (C) |  |  |  |  | 2406.03
|  | Total (A+B+C) |  |  |  |  | 29437.78
D | STP no.s |  |  | 1
Rate per plant per month = {Total (A+B+C)} /no.s | [6 empty] | 29437.78

## Anx.III (hidden)
Annexure III
Detailed Analysis for Security & Front Desk Management
S.No | Perticulars | Shift | No. | Qty. | Mandays | Rate | Amount
1 | Security Guard | 3 | 9 | 27 | 810 | 634.49 | 513936.9
2 | Supervisor | 3 | 1 | 3 | 90 | 802.01 | 72180.9
3 | Entry Pass Staff/ Reception | 2 | 3 | 6 | 180 | 658.21 | 118477.8
4 | Miscellaneous Cost (Uniform, Shoes etc.) |  | L.S. | 36 |  | 565.42 | 20355.12
| Total | [5 empty] | 724950.72
| Total mandays |  |  |  | 1080
| Rate per manday per month | [5 empty] | 671.25

## Anx.IV (hidden)
Annexure IV
Detailed Analysis for Maintenance of Horticulture
S.No | Particulars | Shift | No. | Qty. | Mandays | Rate | Amount
A | Manpower
1 | Gardener | 1 | 2 | 2 | 60 | 658.21 | 39492.6
2 | Helper | 1 | 2 | 2 | 60 | 634.49 | 38069.4
|  | Total wages per month |  |  |  |  | 77562
3 | Miscellaneous Cost (Uniform, Shoes etc.) (Including CP and GST) |  |  | 4 |  | 565.42 | 2261.68
|  | Total per month (A) |  |  |  |  | 79823.68
B | Tools, Plants, Manure, etc (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 7756.2
|  | Total per month (B) |  |  |  |  | 7756.2
|  | Total (A+B) |  |  |  |  | 87579.88
C | Total Green Area |  | sqft | 50000
Rate per sqft per month = {Total (A+B)} /Area | [6 empty] | 1.75

## Anx.V (hidden)
Annexure V
Detailed Analysis for Pest Control
S.No | Particulars | Shift | No. | Qty. | Mandays | Rate | Amount
A | Manpower
1 | Pest Exterminator | 1 | 1 | 1 | 30 | 658.21 | 19746.3
|  | Total wages per month |  |  |  |  | 19746.3
2 | Miscellaneous Cost (Uniform, Shoes etc.) (Including CP and GST) |  |  | 1 |  | 565.42 | 565.42
|  | Total per month(A) |  |  |  |  | 20311.72
B | Equipments & Consumables (Percent amount of manpower cost) | 10% |  |  |  | L.S. | 1974.63
|  | Total per month(B) |  |  |  |  | 1974.63
|  | Total (A+B) |  |  |  |  | 22286.35
C | Total Internal Area |  | sqft | 100000
Rate per sqft per month = {Total (A+B)} /Area | [6 empty] | 0.22

## ELECTRICAL
GARDANIBAGH BUILDING DIVISION, PATNA
BOQ
Name of Work - Comprehensive Housekeeping, Operation & Maintenance of Type-A and B flat at Gardanibagh, Patna
BILL OF QUANTITY
Name of Work:- | Comprehensive Maintenance & Operation of 2 X 1250 KVA 11 KV/0.433KV Transformer, 1 X 380 KVA DG set, 2 X 380 KVAR APFC Panel, LT main Panel internal & external lighting, cables installed in different building of newly constructed type-A, 432 Units in plot-B1. For Five Years. Comprehensive Maintenance & Operation of 4 X 1000 KVA and 2 X 315 KVA, 11 KV/0.433 KV Transformer, 2 x 400 KVA Generator, HT Panel, LT Panel, Capacitor panel, feeder pillor panel, Essential (comman area) panel, indoor floor panel, cables (HT & LT), internal & external wiring & lighting etc. installed in staff housing type-B (plot-H & plot-D) Under Gardanibagh Housing Development, Patna. For Five Years.
type-A
Part-A
S.No. | Description of work |  |  | Unit | Qty | Rate | Amount
1 | Operation
2 X 1250 KVA 11 KV/0.433KV Transformer, 1 X 380 KVA DG set, 2 X 380 KVAR APFC Panel, LT main Panel internal & external lighting, cables etc.
(a) | Skilled Worker 2 No./Shift in 3 Shift (6.00 AM to 2.00 PM, 2.00 PM to 10.00 PM, 10.00 PM to 6.00 AM) |  |  | P/Year | 6 | 271800 | 1630800
(b) | Semi Skilled Worker 2 No./Shift in 3 Shift (6.00 AM to 2.00 PM, 2.00 PM to 10.00 PM, 10.00 PM to 6.00 AM) |  |  | P/Year | 6 | 223116 | 1338696
|  |  |  | For 1st Year Total Rs. |  |  | 2969496
2 | Maintenance
2 X 1250 KVA 11 KV/0.433KV Transformer, 1 X 380 KVA DG set, 2 X 380 KVAR APFC Panel, LT main Panel, cables, internal wiring (Circuit, Submain, Main), DB's, MCB's, Light fittings, Fans etc & external lighting including fittings and wiring and cabling etc installed in different building of newly constructed type-A, 432 Units in plot-B1 Under Gardanibagh Housing Development, Patna.
(a) | 1% of total agreement value Rs. 12,38,32,247.60 | [5 empty] | 1238322.48 | 1238322.476
| For 1st Year | [5 empty] | 1238322.48
| Total Rs. | [5 empty] | 1238322.48
COST ABSTRACTS
| For 1st Year | [5 empty] | 4207818.48 | 4207818
| For 2nd Year add@ 5% of 1st year | [5 empty] | 4418208 | 210390.9
| For 3rd year add@ 5% of 2nd Year | [5 empty] | 4639119 | 4418208.9
| For 4th Year add@ 5% of 3rd year | [5 empty] | 4871075 | 220910.445
| For 5th Year add@ 5% of 4th year | [5 empty] | 5114629 | 4639119.345
| Part-A Total Rs. | [5 empty] | 23250849.48 | 231955.9673
4871075.3123
| Type-B | [6 empty] | 11597.7984
| Part-B | [6 empty] | 243553.7656
S.No. | Description of work |  |  | Unit | Qty | Rate | Amount | 5126226.8762
1 | Operation
4 X 1000 KVA and 2 X 315 KVA, 11 KV/0.433 KV Transformer, 2 x 400 KVA Generator, HT Panel, LT Panel, Capacitor panel, feeder pillor panel, Essential (comman area) panel, indoor floor panel, cables (HT & LT), internal & external wiring & lighting etc. For five Year.
(a) | Skilled Worker 2 No./Shift in 3 Shift 1 No. for (H) Plot & 1 No. for (D) Plot (6.00 AM to 2.00 PM, 2.00 PM to 10.00 PM, 10.00 PM to 6.00 AM) |  |  | P/Year | 6 | 271800 | 1630800
(b) | Semi Skilled Worker 2 No./Shift in 3 Shift 1 No. for (H) Plot & 1 No. for (D) Plot (6.00 AM to 2.00 PM, 2.00 PM to 10.00 PM, 10.00 PM to 6.00 AM) |  |  | P/Year | 6 | 223116 | 1338696
|  |  |  | Total Rs. |  |  | 2969496
2 | Maintenance
4 X 1000 KVA and 2 X 320 KVA, 11 KV/0.433 KV Transformer, 2 x 400 KVA Generator, HT Panel, LT Panel, Capacitor panel, feeder pillor panel, Essential (comman area) panel, indoor floor panel, cables (HT & LT), internal wiring(circuit, submain, main) DB's MCB's, Light fitting, fan etc & external lighting including fitting & wiring and cabling etc .installed in staff housing type-B (plot-H & plot-D) Under gardanibagh Housing development Patna Bihar.For five year.
(a) | 1% of total agreement value Rs. 24,08,53,995.14 | [5 empty] | 2408539 | 4817079.9028
COST ABSTRACT
|  |  |  | For 1st Year |  |  | 5378035 | #REF!
|  |  |  | For 2nd Year add@ 5% of 1st year |  |  | 5646936 | #REF!
|  |  |  | For 3rd year add@ 5% of 2nd Year |  |  | 5929283 | #REF!
|  |  |  | For 4th Year add@ 5% of 3rd year |  |  | 6225747 | #REF!
|  |  |  | For 5th Year add@ 5% of 4th year |  |  | 6537035 | #REF!
|  | Total Rs. |  |  |  |  | 29717036 | #REF!
#REF!
[6 empty] | Part-A | 23250849.48
[6 empty] | Part-B | 29717036
[6 empty] | Total Rs. | 52967885.48
|  |  |  | Say Rs. |  | 52967885
E.E
Gardanibagh Building Division
Estimate for Comprehensive Housekeeping, Operation & Maintenance of Newly Constructed O.P Sah Community Center at Malsalami Patna City, Patna
Housekeeping, Security, Horticulture, Pest Control, Operation Manpower.
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate | Amount/Month | Amount/Year
A |  | Estimate for First Year
I |  | Housekeeping, Security, Horticulture, Pest Control, Manpower for operation,
1 | Derived (Encl.1) | Comprehensive Housekeeping services for Internal Areas including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 214791 | 5.88 | 1262971 | 15155652
2 | Derived (Encl.2) | Comprehensive Housekeeping services for External Facades & outdoor campus including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 45000 | 3.21 | 144450 | 1733400
3 | Derived (Encl.3) | Deployment of Security Personals for Round the Clock (24X7) Comprehensive Security Management from Licenced & Experienced Agency for O.P Sah Community Center at malsalami Patna City including Trained Manpower, Uniform Cost, Security accessories and all other related items complete as per technical specifications and direction of Engineer - in - charge | mandays/month | 390 | 729.82 | 284630 | 3415560
4 | Derived (Encl.4) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 6675 | 8.34 | 55670 | 668040
5 | Approved NS Rate SACC | Comprehensive Pest Control services for Internal, External of buildings & whole campus etc. including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 110000 | 1.06 | 116600 | 1399200
6 | Derived (Encl.5) | Comprehensive Operation and Maintenance of STP Capacity 60 KLD, WTP Capacity 40 KLD, Fire fighting Installation (Internal & Extenal Hydrants, Wetriser / sprinkler system, Hosepipes, Hosereels, Fire Extinguishers, other fire fighting accessories) all other related equipments & installations including all consumables materials, tools, spares etc. complete as per technical specifications and direction of Engineer - in - charge | per month | 1 | 213080.68 | 213081 | 2556972
7 | Labour Rate w.e.f. 01.04.2025 | Deployment of Manpower for Operation & Maintenance O.P Sah Community Center at malsalami Patna City all complete as per technical specifications and direction of Engineer - in - charge |  |  |  |  | 0
7.1 |  | Facility Manager (Overall In Charge) (highly skilled) | per person per month | 1 | 29085.67 | 29086 | 349032
7.2 |  | Assistant Manager (Housekeeping) (highly skilled) | per person per month | 1 | 29085.67 | 29086 | 349032
7.3 |  | Receptionist (clerical) | per person per month | 1 | 17955.44 | 17955 | 215460
7.4 |  | Clerks (clerical) | per person per month | 1 | 17955.44 | 17955 | 215460
7.5 |  | Fire Operator (skilled) | per person per month | 3 | 23837.8 | 71513 | 858156
7.6 |  | Carpenter (skilled) | per person per month | 1 | 23837.8 | 23838 | 286056
7.7 |  | Plumber (skilled) | per person per month | 2 | 23837.8 | 47676 | 572112
8 |  | AMC & of Daily use Cleaning Machine, cutting Polishing, Repair and Maintinance of Building |  |  |  |  | 1000000
A |  | Total Amount Housekeeping, Security, Horticulture, Pest Control, Manpower for operation, |  |  |  | 2314511 | 28774132
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate | Amount/Month | Amount/Year
B |  | Estimate for Second Year
I |  | Housekeeping, Security, Horticulture, Pest Control, Manpower for operation,
1 | Derived (Encl.1) | Comprehensive Housekeeping services for Internal Areas including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 214791 | 6.174 | 1326120 | 15913440
2 | Derived (Encl.2) | Comprehensive Housekeeping services for External Facades & outdoor campus including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 45000 | 3.3705 | 151673 | 1820076
3 | Derived (Encl.3) | Deployment of Security Personals for Round the Clock (24X7) Comprehensive Security Management from Licenced & Experienced Agency for O.P Sah Community Center at malsalami Patna City including Trained Manpower, Uniform Cost, Security accessories and all other related items complete as per technical specifications and direction of Engineer - in - charge | mandays/month | 390 | 766.311 | 298861 | 3586332
4 | Derived (Encl.4) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 6675 | 8.757 | 58453 | 701436
5 | Approved NS Rate SACC | Comprehensive Pest Control services for Internal, External of buildings & whole campus etc. including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 110000 | 1.113 | 122430 | 1469160
6 | Derived (Encl.5) | Comprehensive Operation and Maintenance of STP Capacity 60 KLD, WTP Capacity 40 KLD, Fire fighting Installation (Internal & Extenal Hydrants, Wetriser / sprinkler system, Hosepipes, Hosereels, Fire Extinguishers, other fire fighting accessories) all other related equipments & installations including all consumables materials, tools, spares etc. complete as per technical specifications and direction of Engineer - in - charge | per month | 1 | 223734.714 | 223735 | 2684820
7 | Labour Rate w.e.f. 01.04.2025 | Deployment of Manpower for Operation & Maintenance O.P Sah Community Center at malsalami Patna City all complete as per technical specifications and direction of Engineer - in - charge |  |  | 0 |  | 0
7.1 |  | Facility Manager (Overall In Charge) (highly skilled) | per person per month | 1 | 30539.9535 | 30540 | 366480
7.2 |  | Assistant Manager (Housekeeping) (highly skilled) | per person per month | 1 | 30539.9535 | 30540 | 366480
7.3 |  | Receptionist (clerical) | per person per month | 1 | 18853.212 | 18853 | 226236
7.4 |  | Clerks (clerical) | per person per month | 1 | 18853.212 | 18853 | 226236
7.5 |  | Fire Operator (skilled) | per person per month | 3 | 25029.69 | 75089 | 901068
7.6 |  | Carpenter (skilled) | per person per month | 1 | 25029.69 | 25030 | 300360
7.7 |  | Plumber (skilled) | per person per month | 2 | 25029.69 | 50059 | 600708
8 |  | AMC & of Daily use Cleaning Machine, cutting Polishing, Repair and Maintinance of Building |  |  |  |  | 1050000
B |  | Total Amount Housekeeping, Security, Horticulture, Pest Control, Manpower for operation, |  |  |  | 2430236 | 30212832
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate | Amount/Month | Amount/Year
C |  | Estimate for Third Year
I |  | Housekeeping, Security, Horticulture, Pest Control, Manpower for operation,
1 | Derived (Encl.1) | Comprehensive Housekeeping services for Internal Areas including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 214791 | 6.4827 | 1392426 | 16709112
2 | Derived (Encl.2) | Comprehensive Housekeeping services for External Facades & outdoor campus including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 45000 | 3.539 | 159256 | 1911072
3 | Derived (Encl.3) | Deployment of Security Personals for Round the Clock (24X7) Comprehensive Security Management from Licenced & Experienced Agency for O.P Sah Community Center at malsalami Patna City including Trained Manpower, Uniform Cost, Security accessories and all other related items complete as per technical specifications and direction of Engineer - in - charge | mandays/month | 390 | 804.6266 | 313804 | 3765648
4 | Derived (Encl.4) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 6675 | 9.1949 | 61376 | 736512
5 | Approved NS Rate SACC | Comprehensive Pest Control services for Internal, External of buildings & whole campus etc. including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 110000 | 1.1687 | 128552 | 1542624
6 | Derived (Encl.5) | Comprehensive Operation and Maintenance of STP Capacity 60 KLD, WTP Capacity 40 KLD, Fire fighting Installation (Internal & Extenal Hydrants, Wetriser / sprinkler system, Hosepipes, Hosereels, Fire Extinguishers, other fire fighting accessories) all other related equipments & installations including all consumables materials, tools, spares etc. complete as per technical specifications and direction of Engineer - in - charge | per month | 1 | 234921.4497 | 234921 | 2819052
7 | Labour Rate w.e.f. 01.04.2025 | Deployment of Manpower for Operation & Maintenance O.P Sah Community Center at malsalami Patna City all complete as per technical specifications and direction of Engineer - in - charge |  |  | 0 |  | 0
7.1 |  | Facility Manager (Overall In Charge) (highly skilled) | per person per month | 1 | 32066.9512 | 32067 | 384804
7.2 |  | Assistant Manager (Housekeeping) (highly skilled) | per person per month | 1 | 32066.9512 | 32067 | 384804
7.3 |  | Receptionist (clerical) | per person per month | 1 | 19795.8726 | 19796 | 237552
7.4 |  | Clerks (clerical) | per person per month | 1 | 19795.8726 | 19796 | 237552
7.5 |  | Fire Operator (skilled) | per person per month | 3 | 26281.1745 | 78844 | 946128
7.6 |  | Carpenter (skilled) | per person per month | 1 | 26281.1745 | 26281 | 315372
7.7 |  | Plumber (skilled) | per person per month | 2 | 26281.1745 | 52562 | 630744
8 |  | AMC & of Daily use Cleaning Machine, cutting Polishing, Repair and Maintinance of Building |  |  |  |  | 1102500
C |  | Total Amount Housekeeping, Security, Horticulture, Pest Control, Manpower for operation, |  |  |  | 2551748 | 31723476
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate | Amount/Month | Amount/Year
C |  | Estimate for Fourth Year
I |  | Housekeeping, Security, Horticulture, Pest Control, Manpower for operation,
1 | Derived (Encl.1) | Comprehensive Housekeeping services for Internal Areas including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 214791 | 6.8068 | 1462047 | 17544564
2 | Derived (Encl.2) | Comprehensive Housekeeping services for External Facades & outdoor campus including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 45000 | 3.716 | 167219 | 2006628
3 | Derived (Encl.3) | Deployment of Security Personals for Round the Clock (24X7) Comprehensive Security Management from Licenced & Experienced Agency for O.P Sah Community Center at malsalami Patna City including Trained Manpower, Uniform Cost, Security accessories and all other related items complete as per technical specifications and direction of Engineer - in - charge | mandays/month | 390 | 844.8579 | 329495 | 3953940
4 | Derived (Encl.4) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 6675 | 9.6546 | 64444 | 773328
5 | Approved NS Rate SACC | Comprehensive Pest Control services for Internal, External of buildings & whole campus etc. including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 110000 | 1.2271 | 134979 | 1619748
6 | Derived (Encl.5) | Comprehensive Operation and Maintenance of STP Capacity 60 KLD, WTP Capacity 40 KLD, Fire fighting Installation (Internal & Extenal Hydrants, Wetriser / sprinkler system, Hosepipes, Hosereels, Fire Extinguishers, other fire fighting accessories) all other related equipments & installations including all consumables materials, tools, spares etc. complete as per technical specifications and direction of Engineer - in - charge | per month | 1 | 246667.5222 | 246668 | 2960016
7 | Labour Rate w.e.f. 01.04.2025 | Deployment of Manpower for Operation & Maintenance O.P Sah Community Center at malsalami Patna City all complete as per technical specifications and direction of Engineer - in - charge |  |  | 0 |  | 0
7.1 |  | Facility Manager (Overall In Charge) (highly skilled) | per person per month | 1 | 33670.2987 | 33670 | 404040
7.2 |  | Assistant Manager (Housekeeping) (highly skilled) | per person per month | 1 | 33670.2987 | 33670 | 404040
7.3 |  | Receptionist (clerical) | per person per month | 1 | 20785.6662 | 20786 | 249432
7.4 |  | Clerks (clerical) | per person per month | 1 | 20785.6662 | 20786 | 249432
7.5 |  | Fire Operator (skilled) | per person per month | 3 | 27595.2332 | 82786 | 993432
7.6 |  | Carpenter (skilled) | per person per month | 1 | 27595.2332 | 27595 | 331140
7.7 |  | Plumber (skilled) | per person per month | 2 | 27595.2332 | 55190 | 662280
8 |  | AMC & of Daily use Cleaning Machine, cutting Polishing, Repair and Maintinance of Building |  |  |  |  | 1157625
D |  | Total Amount Housekeeping, Security, Horticulture, Pest Control, Manpower for operation, |  |  |  | 2679335 | 33309645
Sl. No. | Item Code | Description of Work | Unit | Quantity | Rate | Amount/Month | Amount/Year
E |  | Estimate for Fifth Year
I |  | Housekeeping, Security, Horticulture, Pest Control, Manpower for operation,
1 | Derived (Encl.1) | Comprehensive Housekeeping services for Internal Areas including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 214791 | 7.1472 | 1535149 | 18421788
2 | Derived (Encl.2) | Comprehensive Housekeeping services for External Facades & outdoor campus including supply of manpower, materials, sanitary spares, equipments, consumables, toiletries and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 45000 | 3.9018 | 175580 | 2106960
3 | Derived (Encl.3) | Deployment of Security Personals for Round the Clock (24X7) Comprehensive Security Management from Licenced & Experienced Agency for O.P Sah Community Center at malsalami Patna City including Trained Manpower, Uniform Cost, Security accessories and all other related items complete as per technical specifications and direction of Engineer - in - charge | mandays/month | 390 | 887.1008 | 345969 | 4151628
4 | Derived (Encl.4) | Comprehensive Maintenance of Horticulture including Manpower, Tools, Seasonal Plantation, Composts, Pesticides and all related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 6675 | 10.1373 | 67667 | 812004
5 | Approved NS Rate SACC | Comprehensive Pest Control services for Internal, External of buildings & whole campus etc. including supply of manpower, materials, equipments, consumables and all other related items complete as per technical specifications and direction of Engineer - in - charge | sqft/ month | 110000 | 1.2884 | 141728 | 1700736
6 | Derived (Encl.5) | Comprehensive Operation and Maintenance of STP Capacity 60 KLD, WTP Capacity 40 KLD, Fire fighting Installation (Internal & Extenal Hydrants, Wetriser / sprinkler system, Hosepipes, Hosereels, Fire Extinguishers, other fire fighting accessories) all other related equipments & installations including all consumables materials, tools, spares etc. complete as per technical specifications and direction of Engineer - in - charge | per month | 1 | 259000.8983 | 259001 | 3108012
7 | Labour Rate w.e.f. 01.04.2025 | Deployment of Manpower for Operation & Maintenance O.P Sah Community Center at malsalami Patna City all complete as per technical specifications and direction of Engineer - in - charge |  |  | 0 |  | 0
7.1 |  | Facility Manager (Overall In Charge) (highly skilled) | per person per month | 1 | 35353.8137 | 35354 | 424248
7.2 |  | Assistant Manager (Housekeeping) (highly skilled) | per person per month | 1 | 35353.8137 | 35354 | 424248
7.3 |  | Receptionist (clerical) | per person per month | 1 | 21824.9495 | 21825 | 261900
7.4 |  | Clerks (clerical) | per person per month | 1 | 21824.9495 | 21825 | 261900
7.5 |  | Fire Operator (skilled) | per person per month | 3 | 28974.9949 | 86925 | 1043100
7.6 |  | Carpenter (skilled) | per person per month | 1 | 28974.9949 | 28975 | 347700
7.7 |  | Plumber (skilled) | per person per month | 2 | 28974.9949 | 57950 | 695400
8 |  | AMC & of Daily use Cleaning Machine, cutting Polishing, Repair and Maintinance of Building |  |  |  |  | 1215506.25
E |  | Total Amount Housekeeping, Security, Horticulture, Pest Control, Manpower for operation, |  |  |  | 2813302 | 34975130.25
|  | Constructed O.P Sah Community Center at Malsalami Patna City, Patna GRAND TOTAL COST FOR FIVE YEARS |  |  |  | Rs | 158995215.25
Comprehensive Housekeeping, Operation & Maintenance of Patna Sahib Bhawan Patna City, Patna ( FOR FIVE YEARS) |  |  |  |  | Estimate Amount Rs |  | 73259911.63
Constructed O.P Sah Community Center at Malsalami Patna City, Patna ( FOR FIVE YEARS) |  |  |  |  | Estimate Amount Rs |  | 158995215.25
Comprehensive Housekeeping, Operation & Maintenance of Patna Sahib Bhawan Patna City, Patna and O.P Sah Community Center at Malsalami Patna City, Patna (For Five Years) |  |  |  |  | Estimate Amount Rs |  | #REF!
| J.E | A.E |  |  |  | E.E
| Patna City Section (BCD) | Sub Division, Gulzarbagh |  |  |  | Patna City Building Division
Gulzarbagh, Patna