## Sh.B.
Name of work: |  | Construction of New Anganvadi Kendra No.11 at Village Gadhka,
Taluka :- |  | Kalyanpur |  |  | Dist :- | D.B.Dwarka
Memorandam showing the items of work to be carried out
Bill of Quantities
Item No | Quantities estimated but may be more or less. | Item of works | Estimated Rates |  | Unit | Total amount according to estimated quantities.
|  |  | In Figures Rs. Ps. | In words
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 21 | Excavation for foundation up to all depth including sorting out and stacking of useful materials and disposing of the excavated stuff up to all lead in Dense or Hard soil. | 99.88 | Rs. Ninety Nine and Paisa Eighty Eight Only. | Cu.M | 2097.48
2 | 12 | Excavation for foundation up to all depth including sorting out and stacking of useful materials and disposing of the excavated stuff up to all lead in Hard murrum. | 169.57 | Rs. One Hundred Sixty Nine and Paisa Fifty Seven Only. | Cu.M | 2034.84
3 | 8 | Providing and laying cement concrete 1 : 3 : 6 (1 cement : 3 coarse sand : 6hand broken stone aggregate 40 mm nominal size ) and curing complete excluding cost of form work in Foundation and plinth. | 2339.76 | Rs. Two Thousand Three Hundred Thirty Nine and Paisa Seventy Six Only. | Cu.M | 18718.08
4 | 32 | White Stone Bela mesonry block in course in Foundations and Plinth with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- course sand) including packing the joints etc. complete. | 4000.27 | Rs. Four Thousand and Paisa Twenty Seven Only. | Cu.M | 128008.64
5 | 17 | Filling available excavated earth (excluding rock in trenches plinth, sides of foundations etc. in layers not exceeding 20cm in depth consolidating eachbdeposited layer by ramming and watering) | 88.85 | Rs. Eighty Eight and Paisa Eighty Five Only. | Cu.M | 1510.45
6 | 2.2 | Providing and laying cement concrete 1:1.5:3 (1 Cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size) for reinforced concrete curing complete including cost of formwork for Coping. | 3926.47 | Rs. Three Thousand Nine Hundred Twenty Six and Paisa Forty Seven Only. | Cu.M | 8638.234
7 | 3 | Filling in plinth with sand under floor including watering ramming consolidating and dressing etc complete. | 339.7 | Rs. Three Hundred Thirty Nine and Paisa Seventy Only. | Cu.M | 1019.1
8 | 27 | White Stone Bela mesonry block in course in superstructure with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- course sand) including packing the joints etc. complete. | 4222.47 | Rs. Four Thousand Two Hundred Twenty Two and Paisa Forty Seven Only. | Cu.M | 114006.69
9 | 8 | White Stone Bela mesonry work in partition walls upto 15 cm thickness in cement Mortar 1:4 ( 1- Cement : 4- course sand) etc.Comp. | 448.38 | Rs. Four Hundred Forty Eight and Paisa Thirty Eight Only. | Sq.M | 3587.04
10 | 0.88 | Providing and laying cement concrete work 1:1.5:3 (1- Cement : 1.5- Coarse sand : 3- graded stone aggregates 20 mm nominal size) and curing complete excluding cost of formwork and reinforcement for reinforced concrete work in (A) Foundations, footings, Base or columns and Mass concrete etc. comp. | 3656.4 | Rs. Three Thousand Six Hundred Fifty Six and Paisa Forty Only. | Cu.M | 3217.632
11 | 0.21 | Providing and laying ordinary cement concrete 1:1.5:3 (1- Cement 1.5- coarse sand : 3- graded stone aggregates 20 mm nominal size) and finishing smooth with,curing etc. complete including the cost of formwork but excluding the cost of reinforcement for R.C.C work in (B) COLUMNS: (iii) Having cross-sectional area more than 0.12Sq.M and upto 0.18 Sq.M | 6225.03 | Rs. Six Thousand Two Hundred Twenty Five and Paisa Three Only. | Cu.M | 1307.2563
12 | 0.2 | Providing and laying ordinary cement concrete 1:1.5:3 (1- Cement 1.5 coarse sand : 4- graded stone aggregates 20 mm nominal size) for R.C.C lintel including finishing smooth with,curing etc. complete including the cost of formwork but excluding the cost of reinforcement. | 6943.85 | Rs. Six Thousand Nine Hundred Forty Three and Paisa Eighty Five Only. | Cu.M | 1388.77
13 | 0.7 | Providing and laying cement concrete 1:1.5:3 (1 Cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size) for reinforced concrete curing complete excluding cost of reinforcement but including cost of formwork for Vertical and Horizontal fin up to floor two level | 3656.4 | Rs. Three Thousand Six Hundred Fifty Six and Paisa Forty Only. | Cu.M | 2559.48
14 | 2.2 | Providing and laying ordinary cement concrete 1:1.5:3 (1- Cement 1.5- coarse sand : 3- graded stone aggregates 20 mm nominal size) and finishing smooth with,curing etc. complete including the cost of formwork but excluding the cost of reinforcement for R.C.C work in (A) BEAMS :(iii) Having cross-sectional area more than 0.12Sq.M and upto 0.18 Sq.M | 5445.11 | Rs. Five Thousand Four Hundred Forty Five and Paisa Eleven Only. | Cu.M | 11979.242
15 | 7.1 | Providing and Laying ordinary cement concrete 1:1.5:3 (1- Cement 1.5- coarse sand : 3- graded stone aggregates 20 mm nominal size) and finishing smooth with curing etc. complete including the cost of formwork but excluding the cost of reinforsement for R.C.C work in (iii) Slabs having more than 10 cm and upto 13 cm. thickness | 5495.1 | Rs. Five Thousand Four Hundred Ninety Five and Paisa Ten Only. | Cu.M | 39015.21
16 | 1210 | Providing HYSD bar reinforcement as per I S standard For R.C.C. work including bending, binding, and placing in position complete up to floor to level. | 58.67 | Rs. Fifty Eight and Paisa Sixty Seven Only. | Kg. | 70990.7
17 | 5.8 | Providing and fixing in positing M.S.Angle 40mm x 40mm x 6mm frame for doors of 25 x 25 x 5 mm angle for shutter frame and 16guage M.S.Sheet welded to shutter frame and as per the approved drawing and design and including 3 coats of oil paint including a primer coat of red oxide paint and all necessary fitting, fixture locking arrangements etc complete. | 2108.12 | Rs. Two Thousand One Hundred Eight and Paisa Twelve Only. | Sq.M | 12227.096
18 | 6.5 | Providing and fixing in positing M.S.Angle 35mm x 35mm x 6mm frame for windows and ventilators of 25 x 25 x 5 mm angle for shutter frame and 16guage M.S.Sheet welded to shutter frame and 6mm square bar for grill as per the approved drawing and design and including 3 coats of oil paint including a primer coat of red oxide paint and all necessary fitting, fixture locking arrangements etc complete. | 3031.03 | Rs. Three Thousand Thirty One and Paisa Three Only. | Sq.M | 19701.695
19 | 238 | Providing and fixing M.S. grills of required pattern to wooden frames of windows etc. with M.S. flats at required spacings and frame alround, square or round bars with round headed bolts and nuts or by screws (A) Plain Grill. | 69.25 | Rs. Sixty Nine and Paisa Twenty Five Only. | Kg. | 16481.5
20 | 41 | Providing and laying polished Kota stone slab flooring over 20mm (Average) thick base of cement mortar 1:6 (1-cement : 6-coarse sand) or L.M. 1.1.5 (1-Lime putty :1.5 - coarse sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of slab including rubbing and polishing etc. complete. (A) 25mm thick | 643.72 | Rs. Six Hundred Forty Three and Paisa Seventy Two Only. | Sq.M | 26392.52
21 | 20.5 | Providing and laying white glazed tiles 6mm thick in skirting risers of steps and dado on 10mm thick cement plaster 1:3 (1 cement : 3 coarse sand) and jointed with white cement slurry. | 737.04 | Rs. Seven Hundred Thirty Seven and Paisa Four Only. | Sq.M | 15109.32
22 | 152 | Providing 15mm thick cement plaster in single coat on brick / concrete wall for interior plastering up to floor two level finished even and smooth in(I) Cement mortar 1:3 (1 cement : 3 sand) Finishing with floatin coat of lime slurry and watering, curing etc. complete. | 129.14 | Rs. One Hundred Twenty Nine and Paisa Fourteen Only. | Sq.M | 19629.28
23 | 2 | Providing and fixing EZ-7 section door/window frame including welding and fixtures fastenings including 3 coats of approved enamel oil paint etc with sheet glass 5mm thick bedde in putty and fixed with wooden beadings of first class teak wood and necessary cuttings etc. comp. complete. | 2284.31 | Rs. Two Thousand Two Hundred Eighty Four and Paisa Thirty One Only. | Sq.M | 4568.62
24 | 190 | 20mm thick sand faced cement plaster on wall for all height 10meters above ground level consisting of 12mm thick backing coat of C.M. 1:3 (1 cement : 3 sand) and 8mm thick finishing coat of C.M. 1:1 (1 cement : 1 sand) etc. complete. | 200.43 | Rs. Two Hundred and Paisa Forty Three Only. | Sq.M | 38081.7
25 | 152 | Distempering with dry distemper of approved brand and manufacture (Three coats) and of required shade on wall surface to give and even shade, over and including a priming coat of whiting after thoroughly brooming the surface free from mortar dropping and other foreign matter. | 42.1 | Rs. Forty Two and Paisa Ten Only. | Sq.M | 6399.2
26 | 190 | Finishing wall with water proofing cement paint on wall surface (Three coats) approved brand and manufactures to give an even shade after thoroughly brushing the surface to remove all dirt and remains of loose powdered material. | 59.6 | Rs. Fifty Nine and Paisa Sixty Only. | Sq.M | 11324
27 | 10 | supplying and fixing in position double polished kota stone of 25 mm thick for cupboard etc. | 438.34 | Rs. Four Hundred Thirty Eight and Paisa Thirty Four Only. | Sq.M | 4383.4
28 | 38 | Providing cement vata (10cm x 10cm size) quarter round in cement mortar 1:1 including neat cement finishing watering etc. complete. | 18.66 | Rs. Eighteen and Paisa Sixty Six Only. | Rmt. | 709.08
29 | 6 | Providing and fixing G.I. Rain water spout of 50mm dia. and 30cm. length. | 106.05 | Rs. One Hundred Six and Paisa Five Only. | No. | 636.3
30 | 1 | Providing and fixing water closet squatting pan (Indian type W.C. pan) size 580mm inc providing and fixing 100mm p or s trap for water closed squatting pa including jointing the trap with pan and soil pipe in c.m. 1:3 including providing and fixing in 1:3 and pair of white vitrious china 250 mm X 130 mm x 30 mm foot rest for long pattern with CI inlet connection for flush pipe with WC pan and chromium plate brash half turn flush cock of approved quality 25mm dia. etc. comp. | 1246.62 | Rs. One Thousand Two Hundred Forty Six and Paisa Sixty Two Only. | No. | 1246.62
31 | 1 | Providing and fixing wash basin with single hole for pillar tape with C.I. of M.S. brackets painted white including cutting holes and makin good (VITREOUS CHINA IN WHITE COLOUR) & also providing and fixing fisherunion (32mm) C.P. brass waste for wash basin . | 1198.62 | Rs. One Thousand One Hundred Ninety Eight and Paisa Sixty Two Only. | No. | 1198.62
32 | 15 | Providing and fixing to wall ceiling and floor galvanized mild steel tubes (Medium grade) of the following nominal bore tube fitting and clamps including making good the wall, ceiling and floor(A) 25mm | 282.09 | Rs. Two Hundred Eighty Two and Paisa Nine Only. | Rmt. | 4231.35
33 | 15 | Providing and fixing to wall ceiling and floor galvanized mild steel tubes (Medium grade) of the following nominal bore tube fitting and clamps including making good the wall, ceiling and floor(A) 15mm | 163.31 | Rs. One Hundred Sixty Three and Paisa Thirty One Only. | Rmt. | 2449.65
34 | 1 | Providing and fixing cast iron spigot and socket soil, waste and ventilating pipes of the following nominal size.(B) 75mm dia. | 846.82 | Rs. Eight Hundred Forty Six and Paisa Eighty Two Only. | Rmt. | 846.82
35 | 1 | Providing and fixing S.W. gully trap with C.I. grating brick masonry chamber and water tight C.I. cover with frame of 300mm x 300mm size (inside) with standard weight.(i) Square mouth traps.(B) 150mm x 100mm size P or R type. | 1256.69 | Rs. One Thousand Two Hundred Fifty Six and Paisa Sixty Nine Only. | No. | 1256.69
36 | 3 | Providing and fixing cast iron (Spun) Nahni trap of the following nominal diameter of self cleaning design with C.I. screaed down or higned grating including cost of cutting and making good the walls and floor 100mm inlet and 50mm outlet.(C) 100mm dia. | 404.05 | Rs. Four Hundred Four and Paisa Five Only. | No. | 1212.15
37 | 1 | Providing and fixing Gun metal check or non-return fullway wheel valve.(C) 25mm dia. | 496.35 | Rs. Four Hundred Ninety Six and Paisa Thirty Five Only. | No. | 496.35
38 | 1 | Providing and fixing Gun metal check or non-return fullway wheel valve.(A) 15mm dia. | 220.47 | Rs. Two Hundred Twenty and Paisa Forty Seven Only. | No. | 220.47
39 | 3 | Providing and fixing screw down bib taps of following size.(A) Brass screw down bib tap polished bright. (i) 15mm dia. | 220.47 | Rs. Two Hundred Twenty and Paisa Forty Seven Only. | No. | 661.41
40 | 2000 | Providing erecting and fixing double coated ISI water tank of required capacity each with all necessary fittings and connection etc. complete on terrace. | 4.65 | Rs. Four and Paisa Sixty Five Only. | Ltr. | 9300
41 | 1 | (B) Providing sock pit of 5.00 Cu.M. Volume including excavating and filling brickbats with dry masonry work at top for 45cm. height including covering the top with stone including providing vatas in C.M. 1:3 with finishing curing etc. complete as directed. | 2475.2 | Rs. Two Thousand Four Hundred Seventy Five and Paisa Twenty Only. | No. | 2475.2
42 | 7 | Providing and laying (to level or slopes) and jointing with stiff mixture of Cement Mortar in proportion 1:1 Salt glazed stoneware pipes including testing of pipes and joints complete.(A) 100mm dia. | 171.8 | Rs. One Hundred Seventy One and Paisa Eighty Only. | Rmt. | 1202.6
43 | 4 | Providing and laying (to level or slopes) and jointing with stiff mixture of Cement Mortar in proportion 1:1 Salt glazed stoneware pipes including testing of pipes and joints complete.(B) 150mm dia. | 246.03 | Rs. Two Hundred Forty Six and Paisa Three Only. | Rmt. | 984.12
44 | 2 | Constructing brick masonry chamber for underground C.I. Inspection chamber and bends with bricks having crushing strength not less than 35Kg/Cm2 in C.M. 1:5 C.I. cover with frame (Light duty) 455mm x 610mm intenal dimensions total weight of cover with frame to be not less than 38Kg. (Wt. of cover 23 Kg.) and Wt. of frame 15Kg. ) (R.C.C. top slabe with 1:2:4 mix (1-cement :2- coarse sand :4-graded stone aggregate 20mm size) foundation concrete 1:5:10 inside plaster 15mm thick with cement mortar 1:3 finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete.(i) Inside dimensions 455mmx 610mm and 450mm deep for single pipe line. | 2691.54 | Rs. Two Thousand Six Hundred Ninety One and Paisa Fifty Four Only. | No. | 5383.08
45 | 12 | Applying priming coat over new steel and other metel surface after and including preparing the surface by throughly cleaning, oil,grease, dirt and other foreign matter and scoured with brushes fine steel wood, scrapers and sand paper with ready mixed priming paint brushing red lead and Painting two coats (excluding priming coat) on new steel and other metal surface with enamel paint, brushing, interior to give an even shade including cleaning the surface an even shade including cleanicn the surface of all dirt, dust and other foreign matter. | 81.65 | Rs. Eighty One and Paisa Sixty Five Only. | Sq.M | 979.8
46 | 2.1 | Constructing a cooking platform 60 cm. width and 70 cm high resting on B.B.Masonry walls 23 cm.thick in C.M.(1:6) with (i) Fixing or precast R.C.C.1:2:4) 8 cm. thick slab with marble chips set in C.M. (1:6) (6mm thick terrazo) with plastering on exposed faces walls in C.M. (1:4) etc complete. | 1846.33 | Rs. One Thousand Eight Hundred Forty Six and Paisa Thirty Three Only. | Rmt. | 3877.293
47 | 40 | Providing and laying broken chine mosaic flooring for terrace using 12 mm to 20 mm broken pieces of glazed tiles to be laid over cement mortar 1:3 to plain or slope and to be tempered to bring mortar creme out upto surface using white cement including rounding off junctions and extending them upto 15 cm along the wall,clearing with water and oxalic acid etc. as directed. | 499.49 | Rs. Four Hundred Ninety Nine and Paisa Forty Nine Only. | Sq.M | 19979.6
48 | 6 | Providing and laying brick on edge flooring laid dry grouted with c.M. 1:6 (1 - Cement : 6 - coarse sand) including finishing the joints flush curing etc. complete. | 363.75 | Rs. Three Hundred Sixty Three and Paisa Seventy Five Only. | Sq.M | 2182.5
49 | 2 | Providing and laying cement concrete flooring 1:2:4 (1-cement : 2-coarse sand : 4-graded stone aggregate 20mm nominal size) laid in one layer and finished with a floating coat of neat cement. (B) 50mm thick. | 215.28 | Rs. Two Hundred Fifteen and Paisa Twenty Eight Only. | Sq.M | 430.56
50 | 1 | Providing and fixing 20cm. x 15cm x 2.5 cm. thick year plate of marble stone set in C.M. 1:4 including finishing and engraving letters etc. complete. | 298 | Rs. Two Hundred Ninety Eight Only. | No. | 298
51 | 23.5 | Point wiring for Light / Bell with 2-1.0 sq.mm & earthwire of 1.50 Sq.mm (green) both are of ISI marked FR PVC insulated multistrand copper wires, in existing pipe duly erected, complete with 6A Tissino Type ISI marked flush type switch / bell push and accessories erected on Metal / PVC Box covered with 3mm thick PC (Polycarbonate) / Acrylic sheet with necessary Lamp holder / ceiling rose / H.D. Connector as directed.With medium class Rigid PVC pipe and accessories. | 330 | Rs. Three Hundred Thirty Only. | Rmt. | 7755 | 3.3571
52 | 23.5 | Point wiring for Independant PLUG with following size mains earthwire of 1.5 Sq.mm (green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multistrand copper wires, in following type of pipe to be erected concealed in flushed on wall / ceiling, complete with ISI marked 3/5 Pin socket and tissino type switch erected with earth continuously connection erected on Metal / PVC box covered with 3mm thick PC (Polycarbonet) / Acrylic sheet. (A) For 2-1.5 Sq.mm Cu.Mains (a) with medium class Rigid PVC pipe and accessoried. | 290 | Rs. Two Hundred Ninety Only. | Rmt. | 6815 | 3.3571
53 | 28 | Mains with 1.1 KV grade FRSL PVC insulated ISI marked stranded copper conductor wire in following type of pipe to be erected concealed in /flushed on wall/ceilling , with 1.5sq.mm copper conductor FRSL PVC insulayed stranded wire of green colour for earth continuity of following type 9a)with midium class Rigid PVC pipes and accesaries (a) 2 wire 1.5 Sq.mm. | 60 | Rs. Sixty Only. | Rmt. | 1680 | 4
54 | 5 | Approved make C.F.L. Retrofit of following size erected if required a) 35/36 watt | 350 | Rs.Five Hundred Fifty Only. | Pt | 1750 | 0.71429
55 | 20 | Providing and erecting ISI mark medium class RIGID PVC Pipes of following size comp. to be erected on/in wall or ceilling erected with necessary PVC fittings & junction boxes fixed with adhesive soutions & clamps with following dia. Of pipes in approved manner as directed (A) 20mm. | 23.23 | Rs. Twenty Three and Paisa Twenty Three Only. | Rmt. | 464.6 | 2.8571
56 | 2 | Providing and erecting Switch board for computer or electric apparatus consisting of following items in single board erected on PVC / Metal board with 3mm thick PC (Polycarbonate) / Acrylic sheet erected as directed 1 No.6A / 16A universal plug switch combined. 4 Nos.6A switch 4 Nos.6A 5 Pin Plug. (A) For Modular Type Accessories Cat. II. | 1151.4 | Rs. One Thousand One hundred Fifty One and Paisa Forty Only. | No. | 2302.8 | 0.28571
57 | 1 | Providing and erecting sheet steel powder coated MCB distribution board fklush/surface mounted fitted with bus bar, neutral link, earth bar and DIN rail, confirming to IS 13032 and BS 5486-1986 without MCB to house appropriate nos. of MCBs.(I) Three Phase 4 way single door for single phase outgoing horizontal box. | 1454.4 | Rs. One Thousand Four Hundred Fifty Four and Paisa Forty Only. | No. | 1454.4 | 0.14286
58 | 2 | Providing and erecting Approved make ceiling fan with with double ball bearing ISI mark with condenser A.C. 230V. 50 c/s.1200 mm sweep complete, canopy and 30cms. down rod erected on existing hook or clamp with 24 / 0.2, 3 core flexible wire with earthing (Make shall be approved by Engineer-in-charge) | 2090.7 | Rs. Two Thousand Ninety and Paisa Seventy Only. | No. | 4181.4 | 0.28571
59 | 2 | Suppliying and erecting fan hook box of 10 mm MS round bar bounded to the RCC bars up to 50mm length each side and pierced through a 16 guage MS box/Heavy duty PVC box comp. erected concealed in ceilling with necessary finishing. | 126.25 | Rs. One Hundred Two Sixty and Paisa Twenty Five Only. | No. | 252.5 | 0.28571
60 | 1 | Supplying & erecting approved make self-priming domestic monoblock water pump with 0.5 HP motor suitable for operation on 230 volts 50c/s AC supply with metalic flange delivery and discharge of 32 LPM at 10mtrs head Cat II | 4305 | Rs. One Hundred Two Sixty and Paisa Twenty Five Only. | No. | 4305 | 0.14286
[6 empty] | 677596.1383 |  | 31000 | 31000
In Word Rs. Six Lac Seventy Seven Thousand Five Hundred Ninety Six and Paisa Forteen Only. | [8 empty] | 7
217000
I/We am/are willing to carry out the work at …………………………………………………….% Above/Below Percent (should be written in figures and words ) of the estimated rates mentioned above. Amount of my/over tender works out as under. | [8 empty] | 677596.1383
-460596.1383
*Estimated Amount *Estimated Amount Put to Tender Rs…………………. Put to Tender Rs………………… Deduct :……% Below Rs…………………. Add……..% Above Rs………………… Net Rs…………………. Total Rs………………… In words……………………………………………….. In words…………………………………………… *(Please strike out whichever is not applicable).
0
Note 1 All works shall be carried out as per Public Works Department Handbook and other specifications of Division or as directed. નોંધ -૧ :- બધું જ કામ બાંધકામ વિભાગની પુસ્તિકા અને ડિવિઝનની બીજી ખાસ વિગત મુજબ અથવા સૂચના પ્રમાણે કરી આપવાનું રહેશે.
Note 2- All the columns is schedule should be filled in ink and the total of the entries in the last columns should be struck by the contractor under his signature. નોંધ ૨ :-અનુસૂચિમાં બધા ખાનાની વિગતો સહીથી ભરવી અને છેલ્લા ખાનાની નોંધોનો સરવાળો કરી કોન્ટ્રાક્ટરે પોતાની સહી કરવી.
Note-3 Rates quotes include clearance of site (prior commencement of work and at its close) in all respects and hold good for work under all conditions, site, moisture, weather etc. નોંધ -૩ :- ટાંકેલા દરમાં સ્થળની ( કામના આરંભે અને પૂરૂ થાય તે વખતે ) દરેક રીતે સાફસૂફી કરવાનો સમાવેશ થાય છે. અને તે દર તમામ પરિસ્થિતિ સ્થળ ભેજ હવામાન વગેરે હેઠળ કામ માટે અમલમાં રહેશે.
Note-4 To be continued on additional sheets, if found necessary. નોંધ :૪- જરૂર જણાંય વધારાના કાગળો જોડી ચાલુ રાખવું.
Executive Engineer Panchayat R&B Division D.B.Dwarka

## Ward
99.88 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
99 | 99 | 9 | 9 | Ninty | Nine | Seven | Seventy
0.88 | 88 | 8 | 8 | Eighty | Eight | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Ninty Nine | [5 empty] | Fourteen
Fifteen
and Paise Eighty Eight | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Ninty Nine and Paise Eighty Eight Only. | [5 empty] | Nineteen
169.57 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty | FI
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
100 | 1 | 1 | 0 | One |  | Six | Sixty
69 | 69 | 6 | 9 | Sixty | Nine | Seven | Seventy
0.57 | 57 | 5 | 7 | Fifty | Seven | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
One Hundred | [5 empty] | Thirteen
Sixty Nine | [5 empty] | Fourteen
Fifteen
and Paise Fifty Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.One Hundred Sixty Nine and Paise Fifty Seven Only. | [5 empty] | Nineteen
2339.76 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
2000 | 2 | 2 | 0 | Two |  | Five | Fifty
300 | 3 | 3 | 0 | Three |  | Six | Sixty
39 | 39 | 3 | 9 | Thirty | Nine | Seven | Seventy
0.76 | 76 | 7 | 6 | Seventy | Six | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Two Thousand | [5 empty] | Twelve
Three Hundred | [5 empty] | Thirteen
Thirty Nine | [5 empty] | Fourteen
Fifteen
and Paise Seventy Six | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Two Thousand Three Hundred Thirty Nine and Paise Seventy Six Only. | [5 empty] | Nineteen
4000.27 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
4000 | 4 | 4 | 0 | Four |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
0 | 0 | 0 | 0 |  |  | Seven | Seventy
0.27 | 27 | 2 | 7 | Twenty | Seven | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Four Thousand | [5 empty] | Twelve
Thirteen
Fourteen
Fifteen
and Paise Twenty Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Four Thousand and Paise Twenty Seven Only. | [5 empty] | Nineteen
88.85 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
88 | 88 | 8 | 8 | Eighty | Eight | Seven | Seventy
0.85 | 85 | 8 | 5 | Eighty | Five | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Eighty Eight | [5 empty] | Fourteen
Fifteen
and Paise Eighty Five | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Eighty Eight and Paise Eighty Five Only. | [5 empty] | Nineteen
3926.47 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
3000 | 3 | 3 | 0 | Three |  | Five | Fifty
900 | 9 | 9 | 0 | Nine |  | Six | Sixty
26 | 26 | 2 | 6 | Twenty | Six | Seven | Seventy
0.47 | 47 | 4 | 7 | Fourty | Seven | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Three Thousand | [5 empty] | Twelve
Nine Hundred | [5 empty] | Thirteen
Twenty Six | [5 empty] | Fourteen
Fifteen
and Paise Fourty Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Three Thousand Nine Hundred Twenty Six and Paise Fourty Seven Only. | [5 empty] | Nineteen
339.7 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
300 | 3 | 3 | 0 | Three |  | Six | Sixty
39 | 39 | 3 | 9 | Thirty | Nine | Seven | Seventy
0.7 | 70 | 7 | 0 | Seventy |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Three Hundred | [5 empty] | Thirteen
Thirty Nine | [5 empty] | Fourteen
Fifteen
and Paise Seventy | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Three Hundred Thirty Nine and Paise Seventy Only. | [5 empty] | Nineteen
4222.47 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
4000 | 4 | 4 | 0 | Four |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
22 | 22 | 2 | 2 | Twenty | Two | Seven | Seventy
0.47 | 47 | 4 | 7 | Fourty | Seven | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Four Thousand | [5 empty] | Twelve
Two Hundred | [5 empty] | Thirteen
Twenty Two | [5 empty] | Fourteen
Fifteen
and Paise Fourty Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Four Thousand Two Hundred Twenty Two and Paise Fourty Seven Only. | [5 empty] | Nineteen
448.38 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
48 | 48 | 4 | 8 | Fourty | Eight | Seven | Seventy
0.38 | 38 | 3 | 8 | Thirty | Eight | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Four Hundred | [5 empty] | Thirteen
Fourty Eight | [5 empty] | Fourteen
Fifteen
and Paise Thirty Eight | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Four Hundred Fourty Eight and Paise Thirty Eight Only. | [5 empty] | Nineteen
3656.4 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
3000 | 3 | 3 | 0 | Three |  | Five | Fifty
600 | 6 | 6 | 0 | Six |  | Six | Sixty
56 | 56 | 5 | 6 | Fifty | Six | Seven | Seventy
0.4 | 40 | 4 | 0 | Fourty |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Three Thousand | [5 empty] | Twelve
Six Hundred | [5 empty] | Thirteen
Fifty Six | [5 empty] | Fourteen
Fifteen
and Paise Fourty | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs. Three Thousand Six Hundred Fifty Six and Paise Fourty Only. | [5 empty] | Nineteen
6225.03 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
6000 | 6 | 6 | 0 | Six |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
25 | 25 | 2 | 5 | Twenty | Five | Seven | Seventy
0.03 | 3 | 3 | 0 | Three |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Six Thousand | [5 empty] | Twelve
Two Hundred | [5 empty] | Thirteen
Twenty Five | [5 empty] | Fourteen
Fifteen
and Paise Three | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Six Thousand Two Hundred Twenty Five and Paise Three Only. | [5 empty] | Nineteen
6943.85 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
6000 | 6 | 6 | 0 | Six |  | Five | Fifty
900 | 9 | 9 | 0 | Nine |  | Six | Sixty
43 | 43 | 4 | 3 | Fourty | Three | Seven | Seventy
0.85 | 85 | 8 | 5 | Eighty | Five | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Six Thousand | [5 empty] | Twelve
Nine Hundred | [5 empty] | Thirteen
Fourty Three | [5 empty] | Fourteen
Fifteen
and Paise Eighty Five | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Six Thousand Nine Hundred Fourty Three and Paise Eighty Five Only. | [5 empty] | Nineteen
3656.4 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
3000 | 3 | 3 | 0 | Three |  | Five | Fifty
600 | 6 | 6 | 0 | Six |  | Six | Sixty
56 | 56 | 5 | 6 | Fifty | Six | Seven | Seventy
0.4 | 40 | 4 | 0 | Fourty |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Three Thousand | [5 empty] | Twelve
Six Hundred | [5 empty] | Thirteen
Fifty Six | [5 empty] | Fourteen
Fifteen
and Paise Fourty | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Three Thousand Six Hundred Fifty Six and Paise Fourty Only. | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
5445.11 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
5000 | 5 | 5 | 0 | Five |  | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
45 | 45 | 4 | 5 | Fourty | Five | Seven | Seventy
0.11 | 11 | 11 | 0 | Eleven |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Five Thousand | [5 empty] | Twelve
Four Hundred | [5 empty] | Thirteen
Fourty Five | [5 empty] | Fourteen
Fifteen
and Paise Eleven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Five Thousand Four Hundred Fourty Five and Paise Eleven Only. | [5 empty] | Nineteen
5495.1 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
5000 | 5 | 5 | 0 | Five |  | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
95 | 95 | 9 | 5 | Ninty | Five | Seven | Seventy
0.1 | 10 | 10 | 0 | Ten |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Five Thousand | [5 empty] | Twelve
Four Hundred | [5 empty] | Thirteen
Ninty Five | [5 empty] | Fourteen
Fifteen
and Paise Ten | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Five Thousand Four Hundred Ninty Five and Paise Ten Only. | [5 empty] | Nineteen
58.67 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
58 | 58 | 5 | 8 | Fifty | Eight | Seven | Seventy
0.67 | 67 | 6 | 7 | Sixty | Seven | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Fifty Eight | [5 empty] | Fourteen
Fifteen
and Paise Sixty Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Fifty Eight and Paise Sixty Seven Only. | [5 empty] | Nineteen
2108.12 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
2000 | 2 | 2 | 0 | Two |  | Five | Fifty
100 | 1 | 1 | 0 | One |  | Six | Sixty
8 | 8 | 8 | 0 | Eight |  | Seven | Seventy
0.12 | 12 | 12 | 0 | Twelve |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Two Thousand | [5 empty] | Twelve
One Hundred | [5 empty] | Thirteen
Eight | [5 empty] | Fourteen
Fifteen
and Paise Twelve | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Two Thousand One Hundred Eight and Paise Twelve Only. | [5 empty] | Nineteen
3031.03 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
3000 | 3 | 3 | 0 | Three |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
31 | 31 | 3 | 1 | Thirty | One | Seven | Seventy
0.03 | 3 | 3 | 0 | Three |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Three Thousand | [5 empty] | Twelve
Thirteen
Thirty One | [5 empty] | Fourteen
Fifteen
and Paise Three | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Three Thousand Thirty One and Paise Three Only. | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
69.25 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
69 | 69 | 6 | 9 | Sixty | Nine | Seven | Seventy
0.25 | 25 | 2 | 5 | Twenty | Five | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Sixty Nine | [5 empty] | Fourteen
Fifteen
and Paise Twenty Five | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Sixty Nine and Paise Twenty Five Only. | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
129.14 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
100 | 1 | 1 | 0 | One |  | Six | Sixty
29 | 29 | 2 | 9 | Twenty | Nine | Seven | Seventy
0.14 | 14 | 14 | 0 | Fourteen |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
One Hundred | [5 empty] | Thirteen
Twenty Nine | [5 empty] | Fourteen
Fifteen
and Paise Fourteen | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.One Hundred Twenty Nine and Paise Fourteen Only. | [5 empty] | Nineteen
2284.31 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
2000 | 2 | 2 | 0 | Two |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
84 | 84 | 8 | 4 | Eighty | Four | Seven | Seventy
0.31 | 31 | 3 | 1 | Thirty | One | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Two Thousand | [5 empty] | Twelve
Two Hundred | [5 empty] | Thirteen
Eighty Four | [5 empty] | Fourteen
Fifteen
and Paise Thirty One | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Two Thousand Two Hundred Eighty Four and Paise Thirty One Only. | [5 empty] | Nineteen
200.43 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
0 | 0 | 0 | 0 |  |  | Seven | Seventy
0.43 | 43 | 4 | 3 | Fourty | Three | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Two Hundred | [5 empty] | Thirteen
Fourteen
Fifteen
and Paise Fourty Three | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Two Hundred and Paise Fourty Three Only. | [5 empty] | Nineteen
42.1 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
42 | 42 | 4 | 2 | Fourty | Two | Seven | Seventy
0.1 | 10 | 10 | 0 | Ten |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Fourty Two | [5 empty] | Fourteen
Fifteen
and Paise Ten | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Fourty Two and Paise Ten Only. | [5 empty] | Nineteen
59.6 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
0 | 0 | 0 | 0 |  |  | Six | Sixty
59 | 59 | 5 | 9 | Fifty | Nine | Seven | Seventy
0.6 | 60 | 6 | 0 | Sixty |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Thirteen
Fifty Nine | [5 empty] | Fourteen
Fifteen
and Paise Sixty | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Fifty Nine and Paise Sixty Only. | [5 empty] | Nineteen
438.34 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
38 | 38 | 3 | 8 | Thirty | Eight | Seven | Seventy
0.34 | 34 | 3 | 4 | Thirty | Four | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Four Hundred | [5 empty] | Thirteen
Thirty Eight | [5 empty] | Fourteen
Fifteen
and Paise Thirty Four | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Four Hundred Thirty Eight and Paise Thirty Four Only. | [5 empty] | Nineteen
38489.07 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
38000 | 38 | 3 | 8 | Thirty | Eight | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
89 | 89 | 8 | 9 | Eighty | Nine | Seven | Seventy
0.07 | 7 | 7 | 0 | Seven |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Thirty Eight Thousand | [5 empty] | Twelve
Four Hundred | [5 empty] | Thirteen
Eighty Nine | [5 empty] | Fourteen
Fifteen
and Paise Seven | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Thirty Eight Thousand Four Hundred Eighty Nine and Paise Seven Only. | [5 empty] | Nineteen
1198.62 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
1000 | 1 | 1 | 0 | One |  | Five | Fifty
100 | 1 | 1 | 0 | One |  | Six | Sixty
98 | 98 | 9 | 8 | Ninty | Eight | Seven | Seventy
0.62 | 62 | 6 | 2 | Sixty | Two | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
One Thousand | [5 empty] | Twelve
One Hundred | [5 empty] | Thirteen
Ninty Eight | [5 empty] | Fourteen
Fifteen
and Paise Sixty Two | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.One Thousand One Hundred Ninty Eight and Paise Sixty Two Only. | [5 empty] | Nineteen
282.09 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
82 | 82 | 8 | 2 | Eighty | Two | Seven | Seventy
0.09 | 9 | 9 | 0 | Nine |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Two Hundred | [5 empty] | Thirteen
Eighty Two | [5 empty] | Fourteen
Fifteen
and Paise Nine | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Two Hundred Eighty Two and Paise Nine Only. | [5 empty] | Nineteen
163.31 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
100 | 1 | 1 | 0 | One |  | Six | Sixty
63 | 63 | 6 | 3 | Sixty | Three | Seven | Seventy
0.31 | 31 | 3 | 1 | Thirty | One | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
One Hundred | [5 empty] | Thirteen
Sixty Three | [5 empty] | Fourteen
Fifteen
and Paise Thirty One | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.One Hundred Sixty Three and Paise Thirty One Only. | [5 empty] | Nineteen
846.82 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
800 | 8 | 8 | 0 | Eight |  | Six | Sixty
46 | 46 | 4 | 6 | Fourty | Six | Seven | Seventy
0.82 | 82 | 8 | 2 | Eighty | Two | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Eight Hundred | [5 empty] | Thirteen
Fourty Six | [5 empty] | Fourteen
Fifteen
and Paise Eighty Two | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Eight Hundred Fourty Six and Paise Eighty Two Only. | [5 empty] | Nineteen
1256.69 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
1000 | 1 | 1 | 0 | One |  | Five | Fifty
200 | 2 | 2 | 0 | Two |  | Six | Sixty
56 | 56 | 5 | 6 | Fifty | Six | Seven | Seventy
0.69 | 69 | 6 | 9 | Sixty | Nine | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
One Thousand | [5 empty] | Twelve
Two Hundred | [5 empty] | Thirteen
Fifty Six | [5 empty] | Fourteen
Fifteen
and Paise Sixty Nine | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.One Thousand Two Hundred Fifty Six and Paise Sixty Nine Only. | [5 empty] | Nineteen
404.05 | [5 empty] | One
[6 empty] | Two | Twenty
0 | 0 | 0 | 0 |  |  | Three | Thirty
0 | 0 | 0 | 0 |  |  | Four | Fourty
0 | 0 | 0 | 0 |  |  | Five | Fifty
400 | 4 | 4 | 0 | Four |  | Six | Sixty
4 | 4 | 4 | 0 | Four |  | Seven | Seventy
0.05 | 5 | 5 | 0 | Five |  | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
Ten
Eleven
Twelve
Four Hundred | [5 empty] | Thirteen
Four | [5 empty] | Fourteen
Fifteen
and Paise Five | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
Rs.Four Hundred Four and Paise Five Only. | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen
#REF! | [5 empty] | One
[6 empty] | Two | Twenty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Three | Thirty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Four | Fourty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Five | Fifty
#REF! | #REF! | #REF! | #REF! | #REF! |  | Six | Sixty
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Seven | Seventy
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Eight | Eighty
Rs. | [5 empty] | Nine | Ninty
#REF! | [5 empty] | Ten
#REF! | [5 empty] | Eleven
#REF! | [5 empty] | Twelve
#REF! | [5 empty] | Thirteen
#REF! | [5 empty] | Fourteen
Fifteen
#REF! | [5 empty] | Sixteen
Only. | [5 empty] | Seventeen
Eighteen
#REF! | [5 empty] | Nineteen

## Index Specification
Name of Work :- Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka.
Taluka :kalyanpur |  | Dist. :- | D.B.Dwarka.
INDEX FOR SPECIFICATION
Sr. No. | Brief Description of Item | Sr. No. of the applicable in enclosed specification | Page No.
1 | 2 | 3 | 4
1 | Excavation for foundation In Dense or Hard soil up to all depth including sorting out and stacking of useful materials and disposing off the excavated stuff . with all lead and lift. | 1
2 | Excavation for foundation in Hard Murrum upto all depth including sorting out and stacking of useful materials and disposing of the excavated stuff with all lead and lift. | 2
3 | Providing and laying cement concrete 1:4:8(1-Cement : 4 Coarse sand : 8 graded stone aggregate 40 mm nominal size) and curing complete excluding cost of formwork in Foundation and Plinth. | 3
4 | White Stone Bela masonry block in course in foundation and plinth with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- coarse sand) including racking the joints etc. complete. | 4
5 | Providing and laying ordinary cement concret 1:3:6 (1- cement :3 coarse sand :6 graded stoneaggregates 20 m.m. nominal size) and curing etc.complete including the cost of formwork in wall Caps/Coping. | 5
6 | Filling available excavated earth (excluding rock) in trenches, Plinth, sides of foundations etc. in layers not exceeding 20cm. in depth, consolidating each deposited layer by ramming and watering. | 6
7 | Providing and laying Controlled cement concrete M-150 exposed work with curing etc. complete including the cost of formwork but excluding the cost of reinforcement for R.C.C work in BEAMS for all Cross sectional Area | 7
8 | White Stone Bela mesonry block in course in superstructure with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- course sand) including packing the joints etc. complete. | 8
9 | Providing and laying ordinary cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) for R.C.C lintel including finishing smooth with,curing etc. complete including the cost of formwork but excluding the cost of reinforcement. | 9
10 | Providing and laying cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) for R.C.C Chhajjah not exceeding 10cm. thickness upto floor two level including finishing the exposed surface with cement mortar 1:3 to give a smooth and even surface centering and formwork and curing etc. complete excluding the cost of reinforcement. | 10
11 | Providing and Laying ordinary cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) exposed work with curing etc comp. including the cost of formwork but excluding the cost of reinforsement for R.C.C work in Slabs for all thickness. | 11
12 | Providing TMT Bar FE 500D reinforcement for R.C.C. work including bending, binding and placing in position complete upto floor two level. | 12
13 | Providing 15mm thick cement plaster in single coat on Rough (similar ) sides of single or half brick wall for interior plastering up to floor two level finished even and smooth in(I) Cement mortar 1:3 (1 cement : 3 sand) | 13
14 | P & L 24" x 24" vitrified 8 mm thick tile flooring over 20mm (average) base of cement mortar 1:6 ( 1 ement: 6 coarse sand) on new surface or fixing on existing flooring by adhesive material including dismentaling of existing flooring and jointed with color cement slurry including finised with flush pointing & cleaning the surface etc. complete for light shade | 14
15 | White Washing with lime on wall surface (two coats) to give an even shade including thoroughly brooming the surface to remove all dirt, dust, mortar drops and other foreign matter. | 15
16 | Wall panting (two coats) with plastic emulsion paint of approved brand and manufactures on undecorated wall surface to give an even shade including thoroughly brushing the surface free from mortar droppings and other foreign matters. | 16
17 | Provoding and fixing flush door shutters, solid core construction with frame of first class hardwood with cross board and face veneer or plywood face panels, including anodised alluminium butt hinges with necessary screws. (B) Non-decorative type and block board core anodised alluminium butt hinges in flush door shutters 35 mm thick. | 17
18 | Providing and fixing machine cut free edge machine polished Kotah stone slab 18mm thick ( single peace not more than 150cm ) for Doors/Windows sill and jambs cladding as per design including full moulded round edge and 1 cm noising and laid on 20 mm thick cement mortar 1:6 (1-cement:6-sand) jointed with grey cement slurry including rubbing and polishing etc. complete. | 18
19 | Providing and fixing Windows having extruded alluminium Colour anodised section frame main outer size 63.5mm x 38.1mm x 1.95mm ( of Jindal Section No. 4605, @ Wt. of 1.094 Kg./mt.) horizontal two Track member size 61.85mm x 31.75mm x 1.20mm ( of Jindal Section No. 8687, @ Wt. 0.695 Kg./mt.), Vertical member of size 61.85mm x 31.75mm x 1.30mm ( of Jindal Section No. 8758, @ Wt. 0.659 Kg./mt.) with Sliding shutters of Horizontal mamber size 40mm x 18mm x 1.29mm ( of Jindal Section No. 8949, @ Wt. of 0.456 Kg./mt.) Vertical member of size 40mm x 18mm x 1.29mm ( of Jindal Section No. 8948, @ Wt. of 0.457 Kg./mt.) with 5mm thick transparent bronze colour tinted float glass with powder coated alluminium fittings and fixtures and transparent silicon sealant Glass fixing to frame as per details etc. | 19
20 | Providing and laying broken china mosaic flooring for terrace using 12 mm to 20 mm broken pieces of glazed tiles to be laid over cement mortar 1:3 to plain or slope and to be tempered to bring mortar creme out upto surface using white cement including rounding off junctions and extending them upto 15 cm along the wall,clearing with water and oxalic acid etc. as directed. | 20
21 | Point wiring for Light / Bell with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires up to 10 mtr length , in below type of pipe erected with 6A Modular type switch / bell push & accessories and earth continuity of following type, erected on PVC / Metallic/Wooden box, single mounting base frame covered with textured/metallic/white front plate modules erected on / in wall / ceiling as per pipe erected, with necessary Lamp holder/ceiling rose / H.D.Connector as directed.(a) with medium class Rigid PVC pipe and accessories erected flushed on wall/ceiling complete Cat. II | 21
22 | Point wiring for FAN with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of .ISI marked 1.1 KV Grade FRLS PVC insulated multi strand copper wires up to 10 mtr length, in below type of pipe erected with 6A Modular type switch and hum free EME step type electronic fan regulator mounted and accessories with earth continuity of following type erected on PVC / Metallic/Wooden box, single mounting base frame covered with textured/metallic/white front plate modules erected on / in wall / ceiling as per pipe erected. with necessary ceiling rose / H.D.Connector as directed. (a) with medium class Rigid PVC pipe and accessories erected flushed on wall/ceiling complete Cat. II | 22
23 | Point wiring for Individual Plug with & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires up to 10 mtr length, in below type of pipe erected complete with Modular type switch & 5 pin Plug erected on PVC / Metallic/Wooden box covered with appropriate front plate modules erected on / in wall / ceiling as per pipe erected with following type of accessories. [I] For 6A Plug and 6 a switch with 2-1.5 sq.mm Cu. Wire from nearby switchboard/mcb db board (a) with medium class Rigid PVC pipe and accessories erected flushed on wall/ceiling complete Cat-II | 23
24 | Point wiring for on board Looped Plug with 6A Modular type switch & 5 pin socket erected on PVC / Metallic/Wooden box, single mounting base frame covered with textured / metallic/white front plate modules erected on / in wall / ceiling with following type accessories Cat. II | 24
25A | Providing following type of Modular Type Accessories mounted with PVC / metallic/Wooden box, single mounting base frame covered with textured / metallic/white front plate , modules erected with necessary connections as per site situation directed by Engineer In charge. (9) 16 Amp. SP one way switch Cat. II | 25
25B | (10) 6/16Amp. Universal socket Cat. II | 25B
26 | Providing and erecting ISI mark Medium class RIGID PVC PIPES of following size complete to be erected on/in wall or ceiling erected with necessary PVC fittings & Junction boxes fixed with adhesive solution & Clamps with following dia of pipes, in approved manner as directed (a)20 mm | 26
27 | Providing and erecting Mains with 1.1 KV grade FRLS PVC insulated ISI marked stranded Copper conductor wire in following type of pipe to be erected concealed in /flushed on wall/ceiling, with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size (A) With medium class Rigid PVC pipe and accessories (b) 2 wire 2.5 sq. mm | 27
28 | providing and erecting Mains with 1.1 KV grade FRLS PVC insulated ISI marked stranded Copper conductor wire in following type of pipe to be erected in / on wall / ceiling with 2.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size (A) with medium class Rigid PVC pipe and accessories (b) 2 wire 6 sq. mm | 28
29 | Providing & erecting Switch board for Computer or electric apparatus consisting of following modular type accessories mounted with PVC / Metallic concealed/open box with single mounting base frame covered with textured/metallic /white front plate,modules erected with necessary connections as directed 1 no. 6A/16A universal plug-switch combined. 3 nos. 6A Switch, 3 nos. 6A 5 pin Plug For Modular Type Accessories Cat-II | 29
30 | Call bell gong type suitable for 230 volts, 50 c/s. AC supply complete Erected | 30
31 | Supplying and erecting LED indoor fittings with LEDs of wattage 0.2 Watt to 0.5 Watt assembled on single MCPCB, with housing used as a heat sink shall be made of thick sheet Steel conforming to IS: 513/CRCA/ aluminium die cast powder coated and high U.V. & corrosion resistance with diffuser with company mark/name 160V to 270V, Power Factor more than 0.95, THD < 15%, CCT 3000 K to 6500K, Luminaire efficacy> 85 lumens/watt ,LED LED driver efficiency > 85 % ( fitting required LM-79 & LM-80 Certificates)(NOTE: Below description have shown ranges of Wattage capacity of LED fittings.The Engineer incharge may select any wattage capacity between the ranges shown.) (A) Tube Light with integral driver (iii) 18-20 Watts, Surge - 2KV,IP-20, conventional 4 feet Cat-II | 31
32 | Supplying and erecting led lamps with following wattage capacity of 220 to 240 voltage, minimum 15000 burning hours life, 500 V in built-surge protection,Polycarbonate diffuser, mounting suitable for E14 / E27 / B22 lamp holders, pf >= 0.5 (A) LED Lamps integral type, with PC diffuser suitable LAMP holder (ii) 5 to 8 watts Cat-II | 32
33 | providing and erecting Miniature circuit breaker single pole 6A to 25A suitable to operate on 240 V A.C. system and having breaking capacity 10 KA to be erected in existing box. confirming to IS 8828/1996 with ISI Mark Cat-II | 33
34 | Providing & erecting 240 V MCB double pole switch for lighting Load (B Curve) having 10 KA breaking capacity & confirms to IS : 8828 in existing box having following capacity (b)40 Amp. | 34
35 | Providing and erecting Sheet Steel powder coated MCB distribution board - flush / surface mounted fitted with busbar, neutral link, earth bar and DIN rail, Conforms to IS 8623-1 & 3, IEC 61439-1 & 3 without MCB to house appropriate nos. of MCBs.(The DBs should be used of same company of MCB to be used) suitable for (A) single phase incoming and horizontal single phase outgoing (b) sheet steel double door (IP-43) (iii)8 way | 35
36 | providing and erecting Approved make RCCBs conforming to IS: 12640 and having sensitivity of 30 mA and Short Circuit withstand capacity of 10 KA and suitable for operation on single phase 240 V,50Hz. having characteristic of quick action & tripping with all advance feature & do not incorporate any electronic component. for following Max. rating erected as directed (i) 25 Amps.DP Cat-II | 36
37 | Providing and erecting Pipe type earthing with 40 mm dia 2.5 mtr long 'B' grade G.I. pipe with necessary coupling buch buried in specially prepared earth pit & G.I. earth wire of 8 SWG erected & connected as directed (For panel) | 37
38 | For using salt and charcoal / coke as required for pipe type earthing. | 38
39 | Providing and erecting Approved make Ceiling fan with double ball bearing ISI mark with condenser A.C. 23OV.50 c/s.1200 mm. sweep complete, canopy erected on existing hook or clamp with earthing. [Make shall be approved by Engineer in charge] | 39
40 | Supplying & erecting fan hook box of 10 mm M.S. round bar bounded to the RCC bars up to 50mm length each side and pierced through a 16 Gauge M.S. box / Heavy Duty PVC box complete erected concealed in Ceiling with necessary finishing. | 40
41 | Providing Fan clamp of 30 x 5 mm flat of required length & 10 mm M.S. Bolt & Nuts erected with necessary hook of 10 mm M.S. Round Bar. | 41
42 | Providing 2.5mm.thick laminated acrylic sheet to cover the fan hook or Fan box. | 42
| Deputy Executive Engineer | Executive Engineer
| Pan.(R & B) Sub Division | Pan. (R&B) Division
| Dwarka | D.B. Dwarka

## Financial Statement
Name Of Work : Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka.
Ta. | Kalyanpur | Dist. | Devdhumi dwaraka
Financial Statement
Sr.No. | Name of Work | T.S. Authority | Letter no. | T.S. Amount
1 | 2 | 3 | 4 | 5
1 | Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka. | Dy. Executive Engineer, R&B (P), Sub-Division, Dwarka | No.PB/TS(13)/27/2025, Dt.: 03/10/2025. | 700000
| Total T. S. Amount Rs. |  |  | 700000 | 677596.1383 | -677596.1383
| 18% G.S.T. Charge |  |  | 104943.97
| 2% Q.C. Charge |  |  | 11660.44
| Rounding Figure |  |  | 373.55
| Arithmetic Error |  |  | 0.29
| Total Amount not put to tender Rs. |  |  | 116978.25
| Total Amount put to tender. |  |  | 583021.75
| TS Amount |  |  | 700000
Dy. Executive Engineer
Panchayat (R&B) Sub- Division
Dwarka

## Steel
Name of Work : |  | Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka.
STEEL CONSUMPTION
I. NO | ITEM | Qty | UNIT
12 | TMT Steel | 1212.73 | Kg | 42.278 | 4.35 | 2.718 | 0.114 | 8.045 | 1.2 | 58.705
| Deputy Executive Engineer |  | Executive Engineer
| Panchayat R.& B. Sub- Division |  | Panchayat R.& B. Division
| Dwarka |  | D.B.Dwarka

## Cem
Name of Work : |  | Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka.
: STATEMENT SHOWING CEMENT REQUIREMENT :
Sr. No. | Item No as per Sch.B | Item of Work | Quantity | Rate of cement Consumption in Kg. | Unit | Total Consumption in Kg.
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 3 | Providing and laying cement concrete 1:4:8(1-Cement : 4 Coarse sand : 8 graded stone aggregate 40 mm nominal size) and curing complete excluding cost of formwork in Foundation and Plinth. | 8.12 | 160 | Kg/Cum | 1299.2
2 | 4 | White Stone Bela mesonry block in course in Foundations and Plinth with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- course sand) including packing the joints etc. complete. | 11.27 | 65.1 | Kg/Cum | 733.677
3 | 5 | Providing and laying ordinary cement concret 1:3:6 (1- cement :3 coarse sand :6 graded stoneaggregates 20 m.m. nominal size) and curing etc.complete including the cost of formwork in wall Caps/Coping. | 2.99 | 220 | Kg/Cum | 657.8
4 | 7 | Providing and laying Controlled cement concrete M-150 exposed work with curing etc. complete including the cost of formwork but excluding the cost of reinforcement for R.C.C work in BEAMS for all Cross sectional Area | 5.62 | 290 | Kg/Cum | 1629.8
5 | 8 | White Stone Bela mesonry block in course in superstructure with stone of approved quality in Cement Mortar 1:5 (1-Cement :5- course sand) including packing the joints etc. complete. | 13.39 | 65.1 | Kg/Sqm | 871.689
6 | 9 | Providing and laying ordinary cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) for R.C.C lintel including finishing smooth with,curing etc. complete including the cost of formwork but excluding the cost of reinforcement. | 0.92 | 290 | Kg/Cum | 266.8
7 | 10 | Providing and laying cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) for R.C.C Chhajjah not exceeding 10cm. thickness upto floor two level including finishing the exposed surface with cement mortar 1:3 to give a smooth and even surface centering and formwork and curing etc. complete excluding the cost of reinforcement. | 0.56 | 290 | Kg/Cum | 162.4
8 | 11 | Providing and Laying ordinary cement concrete 1:2:4 (1- Cement : 2- Coarse sand : 4- graded stone aggregates 20 mm nominal size) exposed work with curing etc comp. including the cost of formwork but excluding the cost of reinforsement for R.C.C work in Slabs for all thickness. | 5.97 | 290 | Kg/Cum | 1731.3
9 | 13 | Providing 15mm thick cement plaster in single coat on Rough (similar ) sides of single or half brick wall for interior plastering up to floor two level finished even and smooth in(I) Cement mortar 1:3 (1 cement : 3 sand) | 188.58 | 8.42 | Kg/Sqm | 1587.8436
10 | 14 | P & L 24" x 24" vitrified 8 mm thick tile flooring over 20mm (average) base of cement mortar 1:6 ( 1 ement: 6 coarse sand) on new surface or fixing on existing flooring by adhesive material including dismentaling of existing flooring and jointed with color cement slurry including finised with flush pointing & cleaning the surface etc. complete for light shade | 39.78 | 10.44 | Kg/Sqm | 415.3032
11 | 18 | Providing and fixing machine cut free edge machine polished Kotah stone slab 18mm thick ( single peace not more than 150cm ) for Doors/Windows sill and jambs cladding as per design including full moulded round edge and 1 cm noising and laid on 20 mm thick cement mortar 1:6 (1-cement:6-sand) jointed with grey cement slurry including rubbing and polishing etc. complete. | 5.35 | 10.6 | Kg/Sqm | 56.71
12 | 20 | Providing and laying broken chine mosaic flooring for terrace using 12 mm to 20 mm broken pieces of glazed tiles to be laid over cement mortar 1:3 to plain or slope and to be tempered to bring mortar creme out upto surface using white cement including rounding off junctions and extending them upto 15 cm along the wall,clearing with water and oxalic acid etc. as directed. | 36.02 | 32.12 | Kg/Sqm | 1156.9624
|  |  |  | Total Consumption in kg |  | 10569.4852
KG
|  |  |  | Total |  | 10.57
MT
|  | Deputy Executive Engineer |  |  | Executive Engineer
|  | Panchayat ( R & B) Sub Division |  |  | Panchayat ( R & B) Division
|  | Dwarka |  |  | Devbhumi Dwarka

## Testing Schedule
Name Of Work : |  | Construction of School Room in Vadi Shala 3 at village Nandana Under 15th F.C. Ta. Kalyanpur. Dist. Devbhoomi Dwarka.
Sr.No. | Tender It. No. | Description of Item | Materials To Tested | Total Qty. | Name of Laboratory Test | Frequency of test | Total No.s of test required | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 |  | Crushed Metal For Concrete | 40mm | 6.65 | 1. Gradation | Upto 100 cmt 1 test | 1 Test
|  |  | 20mm | 13.96 | 2. Water Absorption | 101 to 500 Cmt 3 test | 1 Test
[5 empty] | 3. Impact Value | 501 to 1500 Cmt 5 Test
[5 empty] | 4. Abrasion | 1501 to 5000 Cmt 7 test
[5 empty] | 5. Specific Gravity | Beyond 5000 Cmt 1 test for every 5000 Cmt
6. Soundness
7.Flakiness and Elogation Index
8. Crushing Strength
2 |  | Sand for All Items | Sand | 21.63 | 1. Fineness Modulous | 1 Sample For Each Source per season | 1 Sample
2. Specific Gravity
3. Water absorbtion
4. Alkali reaction
5. Silt content
6. Gradatin
3 |  | Cement | Cement | 10.57 | 1. Consistency | One Sample of 15 kg per 50 MT | 1 Test
[5 empty] | 2. Setting time | 2 Sample per 100 MT
[5 empty] | 3. Compressive strength | 3 Sample per 200 MT
[5 empty] | 4. Soundness | 4 Sample per 300 MT
[5 empty] | 5. Specific Gravity | 5 Sample Per 600 MT
[5 empty] | 6. Fineness | 6 Sample Per 800 MT
7 Sample Per 1300 MT
4 |  | Steel | TMT | 1212.73 Kg. | 1. Yield Elongation test | 1 Test for Each Category | 1 Test fof each
2. Bent Test
5 |  | Water | Water |  | 1. Portability Test | 1 Test/Working Season or Change River/Bore | 1 Test
2. Chemical Analysis
3. Salinity
6 |  | White Stone Bela | White Stone | 1285 | 1. Water absorbtion | 1 Test/Working Season or Change Source | 1 Test
2. Compressive Strength
7 |  | C.C. Cube | Cube |  | 1. Compressive Strength | [6 empty] | Test
|  | C.C. 1:3:6 |  | 2.99 |  | 1 to 5 Cum - 1 no | 2 Test |  | 4 | -47.01 | -0.9402 | 4
|  | C.C. 1:1.5:3 |  | 13.07 |  | 6 to 15 Cum - 2 no | 2 Test |  | 4 | -36.93 | -0.7386 | 4
|  | C.C. 1:2:4 |  |  |  | 16 to 30 Cum - 3 No | 2 Test |  | 4 | -50 | -1 | 3
[6 empty] | 31 to 50 Cum - 4 No |  |  | 4 | -50 | -1 | 3
[6 empty] | 51 and above - 1 test for every 50 Cum |  |  | 3
8 |  | Tiles | Tiles |  | 1. Dimension Test | 1 Test for Each Category | 1 Test
2. Transverse Strength
3. Water Absorption
4. Abrasion Test
Note : - |  | (1) RCC Item where there is change in grade of mix or change in cement level as per actual mix design the different of cement consumption and above mentioned shall be added or deducted from the rate of original item of the rate of star rate maintained in.
(2 Tests as may be directed by engineer in charge irrespective of provisions shown above shall have tobe got conducted.
(3) The Testing charges to be paid to GERI shall be born by the Govt. and 1% of Estimated amount will be recovered from the bills of contractors towards testing charges.
|  | Signature Of Contractor |  |  | Deputy Executive Engineer |  | Executive Engineer
[5 empty] | Panchayat R&B Sub Division |  | Panchayat R&B Division
[5 empty] | Dwarka |  | D.B.Dwarka