MUNICIPAL CORPORATION BHILAI DISTT-DURG (C.G.)

E-Procurement Tender Notice

Main Portal: https://eproc.cgstate.gov.in

System No-193611		NIT NO: 39/zone4/pwd/bhilai/2026		Dated : 15.06.2026 (1st Call)

Online bids are invited for the following works of Items up to:

Start Date and Time 15.06.2026 (start date & time of bid preparation) at 17.31 hours. (IST) on wards.

Last Date and Time  Date 06.07.2026 (last date & time of bid preparation) at 17:00 hours.

Name of Work/Description of Item: वार्ड क्र. 44  गोकुल नगर सुलभ के पीछे से बापू नगर पुलिया तक का चैनेलाईजेशन कार्य।

| Amount of the Estimate | - | Rs. 88.98 lakhs |
| --- | --- | --- |

The details can be viewed and downloaded online directly from the Government of Chhattisgarh e-Procurement Portal https://eproc.cgstate.gov.infrom 15.06.2026_at 17:31___ Hours.(IST) on wards.physical submission of EmD Envelope A (by post& Courier)  Last Date 09.07.2026 at 17:30___ Hours.

For more details on the tender and bidding process you may please visit the above mentioned portal.

NOTE: -

- All eligible/interested contractors are mandated to get enrolled on e-Procurement portal (https://eproc.cgstate.gov.in)

- Contractors can contact Help Desk for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Mjunction Services Limited, HelpDesk Toll Free No.18004199140(From 9.00 AM to 11.00 PM) helpdesk.eproc@mjunction.in

Executive Engineer

MUNICIPAL CORPORATION BHILAI

Endt No.          Raipur, 							Dated: __________

- .......................................

- .......................................

- .......................................

- Notice Board.

Executive Engineer

MUNICIPAL CORPORATION BHILAI

MUNICIPAL CORPORATION BHILAI DISTT-DURG (C.G.)

Notice Inviting Tender

COMMISSIONER,  MUNICIPAL CORPORATION BHILAIDISTT-DURG (C.G.) invites Online Tenders for and on behalf  MUNICIPAL CORPORATION BHILAI DISTT-DURG (C.G.) for PWD Building SOR 01.01.2015 AND Amendment issues applicable up to date of issue of NIT and form "B, from ……D…… class and above contractors of registered in E-Registration (Single window registration applicable )  under Chhattisgarh Government for similar work on E-Procurement System https://eproc.cgstate.gov.inAs per Key Dates mentioned all other conditions for submission of tender and criteria for qualifications etc. have been mentioned in the tender documents.

Work Details:

Name of work:- : वार्ड क्र. 44  गोकुल नगर सुलभ के पीछे से बापू नगर पुलिया तक का चैनेलाईजेशन कार्य।

- Amount of the Estimate:- Rs. 88.98 lakhs

- Time allowed for completion:- 06 Months

- Earnest Money Deposit:- 67000.00 {EMD(FDR)}   in favour of Executive Engineer  Municipal corporation Bhilai)

- Tender Form Fees - Rs. 3000.00 (By DD)

- FDR of EMD, DD & Affidavit will be received through speed post or registered post. (Offline)

General Terms and Conditions: -

- In order to participate in the tenders floated using the e-Procurement System, all contractors/bidders are required to get enrolled on the e-Procurement portal (https://eproc.cgstate.gov.in)

- The bids submitted online should be signed electronically with a Digital Certificate to establish the identity of the bidder bidding online. The registered contractors may obtain information required to issuance of Digital Certificate from e-Procurement system Help Desk, for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Mjunction Services Limited, HelpDesk Toll Free No.18004199140 (From9.00AMto11.00PM)helpdesk.eproc@mjunction.in

- For submitting the bids online, the contractors/bidders are required to make online payment using the electronic payments gateway service Bid Hash Submission Fee as mentioned above The different modes of electronic payments accepted on the e-Procurement System is available and can be viewed online on the  E-Procurement Website (https://eproc.cgstate.gov.in).

- Tender Download, Submit Bid Hash online, Submission of Bids, EMD and other Documents and other activities will be governed by the time schedules given under “Key Dates”.

- Physical Submission of Tender Form Fees Rs. 3000.00 (By DD) & EMD(FDR) Earnest Money Deposit Fees Rs 67000.00 (FDR) And Municipal Corporation, Bhilai (C.G.) address of  Zone -04, Office Shivaji Nagar KhursiparBhilai, Front of Police Station Khursipar Panitanki 490011 (C.G.).

- Conditions related to e-Procurement are furnished in “Annexure–O” of tender document and will overrule other conditions wherever applicable/relevant.

- The Bidders has to submit (Upload Scan Copies/fill) his offer/credentials online as required in the tender in the online templates in relevant envelopes.

- Applicant must have minimum average yearly turn over & minimum experience in similar completed/ongoing works as per pre-qualification criteria mentioned in tender document.

- The Municipal Corporation reserves the right to reject any part of/whole tender without assigning any reason and to restrict the list of pre-qualified tendered to any number deemed fit by it.

- EMD & Tender Fee Envelop-A and Price Bid Envelop-C .

- If any pre-qualified tendered withdraws his offer before the validity period or makes/propose any modifications in the terms and conditions of the tender, the said earnest money shall stand forfeited.

- Before the deadline for submission of tender the Commissioner Municipal Corporation Bhilai may modify the tender document by issuing amendment.

- Any amendment thus issued shall be part of the tender and shall be published on web site.

- Commissioner Municipal Corporation will open the envelope containing pre qualification document received (except those received late) in the presence of the tenderer(s) /representatives who choose to attend at the time, date and place specified in the Notice inviting tender.

- The authorized committee consisting of the Commissioner Bhilai Municipal Corporation , concern Executive Engineer and the Account officer of the Bhilai&/or the designated officer will prepare minutes of the prequalification opening and shortlist/approve the qualified tenderers.

- Envelope containing Earnest money, other required documents of qualified tenderer shall be opened online on the prescribed date and time as per Notice Inviting Tender. After verification of proper and valid Earnest money and other required documents financial offers of such qualified bidders shall be opened online by the Commissioner, Bhilai Municipal Corporation in the presence of the tenderer (s)/ representative who choose to attend at that time.

- “Additional performance shall be deposited by the successful bidder at the time of signing of agreement when the bid amount is seriously unbalance. i.e. less than the estimated cost by more than 10% in such an event the, successful bidder will deposit the additional performance security to the extent of differential cost of bid amount and 90% of the estimated cost in shape of FDR of Nationalized Bank, post office saving bank account/National saving certificate/ Post Office time deposit account in favour of Commissioner Municipal Corporation Bhilai in Additional to MED failing which the tender in this favour shall be liable for Rejection.”

- All document and certificates notarized/Self Attested must be submitted in Online. Only EMD will be submitted Physically.

- Other Details can be seen in the tender documents.

- Cess @ 1% (One Percent) shall be deducted at source, from every bill of contractor under Building and other construction for workers welfare, Cess act – 1996

- Water charges will be charged as per rules of Municipal Corporation, Bhilai

- The Bidders may refer Help Manual available online to perform there online activities.

The bids of the contractors have to be digitally signed by the Digital Certificate of the Contractor before submitting the bids online. All the contractors are required to submit Envelope A physically containing the following :
1. The Earnest Money Deposit (EMD) as specified in the Tender-documents. 
2. Attested copy of Registration certificates. 
3. Attested copy of valid Solvency certificate or registration amendment certificate in respect of submission of  	interest bearing instrument as security. 
4. Attested copy of valid Commercial Tax Registration certificate in state of Chhattisgarh/valid Commercial Tax clearance certificate. The contractors shall also upload the scanned copy of EMD instrument along with other details (Pre-qualification document etc.) during Online Bidding submission Process.

- P.Q. document (as applicable for the work) in separate sealed cover B.Envelope-A should be submitted only through Registered Post/Speed Post in the Office of the Commissioner, Municipal Corporation,  Bhilai (C.G.)

- निविदा प्रपत्र का एवं संलग्न प्रपत्रों का उल्लेखित समस्त कंडिकाओं को लागू माना जावेगा। निविदा में किसी भी प्रकार का एक्सलेशन देय नहीं होगा।

- स्वीकृत मद में राशि उपलबधता के आधार पर भुगतान किया जावेगा।

COMMISSIONER, MUNICIPALCORPORATION BHILAI  DISTT-DURG (C.G.)
Note: - All eligible/interested contractors are mandated to get enrolled on the eProcurement portal ((https://eproc.cgstate.gov.in).in order to download the tender documents and participate in the subsequent bidding process. 
For any other queries regarding online registration on the above mentioned website and digital certificate, please contact to: 
M/s. Mjunction Services Limited, HelpDesk Toll Free No.1800 4199140 (From 9.00 AM to 11.00 PM) helpdesk.eproc@mjunction.in

Any query please Contact  :- Chandrakant Sahu (Sub Engg.) 8962811265

| MUNICIPAL CORPORATION BHILAI |  |  |  |  |
| --- | --- | --- | --- | --- |
| NIT |  |  |  |  |
| वार्ड क्र. 44 गोकुल नगर सुलभ के पीछे से बापू नगर पुलिया तक का चैनेलाईजेशन कार्य। |  |  |  |  |
| SN | REF | DISCRIPTION | Qty | UNIT |
| 1 | 16.3.3 | Demolishing brick masonry including arches, stacking of serviceable material disposal of unserviceable material within 50 metres lead. | 12.000 | cum |
| 2 | 16.5 | Demolishing stone rubble masonry including arches, stacking of serviceable material and disposal of unserviceable material within 50 Metres lead. | 60.000 | cum |
| 3 | 16.42 | Demolishing R.C.C. work including stacking of steel bars and disposal of unserviceable material within 50 metre lead. | 24.000 | cum |
| 4 | 1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. | 450.000 | cum |
| 5 | 1.7 | Extra rate for quantity of work executed in or under water and/ or liquid mud including pumping out water. | 450.000 | cum |
| 6 | 1.10 | Pumping out water caused by springs tidal or river seepage, broken water main or drains and like during Excavation or during Excavation and laying of base concrete (volume to be calculated taking height from water level to bottom of pit and to be measured and paid | 450.000 | cum |
| 7 | 1.17 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | 300.000 | cum |
| 8 | 1.18 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | 45.000 | cum |
| 9 | 1.26 | Carriage by mechanical transport upto 5 km lead: Earth | 246.000 | cum |
| 10 | 3.1 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | 45.000 | cum |
| 11 | 3.2 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 373.000 | cum |
| 12 | 3.10 | Extra for laying PCC/ RCC, in or under water or liquid mud including cost of pumping or bailing out of water and removing slush etc. complete: | 418.000 | cum |
| 13 | 3.12 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete: Thermo-Mechanically treated bars FE 415 Wt of steel @ 80 Kg/cum | 26110.000 | kg |
| 14 | 21.9 | Gravel packing in tube well construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge.1 weep hole @ 1.50 m c/c, two rows in 3m height, total nos. in 100/1.50 = 67 nos. x 2 rows x 2 sides = 268 nos. | 2.945 | cum |
| 15 | 18.76.2 | Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete.110 mm dia pipe. | 80.400 | metre |
| 16 | 2.1 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. | 320.000 | sqm |
|  | 2 | Wall of any thickness including attached pilasters, buttresses etc. in super structure. | 1280.000 | sqm |

Key Dates :-

| S. No | Description | Date & Time |
| --- | --- | --- |
| 1 | Tender Release:- | 15/06/2026 (10:30 AM) to 15/06/2026 (05:30PM) |
| 2 | Bid Due Date:- | 15/06/2026 (05:31 PM) to 06/07/2026 (05:00PM) |
| 3 | Physical Submission EMD End :- | 15/06/2026 (05:31 PM) to 09/07/2026 (05:30PM) |
| 4 | Bid Open Date Schedule:- | 10/07/2026 (10:30 AM) to Till Date |

Executive Engineer

MUNICIPAL CORPORATION BHILAI