## format
Bidder Name, Contact details and Adress
Annexure-I
Proposed Schedule of Item / Quantity / Rate for Digitisied Susbstation for Pilot substation at Gardani Bagh Power Substation
[5 empty] | Supply Price (in INR) |  | Design, Drwawing Supervision of Installation,Testing & Commissioning (ITC)Price (in INR) |  | MOU Price | Total(Supply+ITC)
Sr.No. | Substation Digitization and Automation at Gardani Bagh Substation | UOM | Proposed Quantity ( as per SLD of Gardani Bagh S/s) | Unit Price | Unit Price without GST | Total Price without GST | Unit Price without GST | Total Price without GST | MOU Total Price | Total Price without GST | GST @ 18% | Total Price including GST | GST In INR amount (as per actual) | Drawing Reference | Remark
1 | Numerical Bay Control & Protection ( Required if not covered in Switchgear Control Unit) on IEC104 Protocal for Outdoor application |  |  | 295000
1.1 | Digitalised Micro CRP for 33KV & 11KV Transformer Feeder Protection | Nos | 6
1.2 | Digitalised Micro CRP for O/G Feeder 11KV | Nos | 6
1.3 | Power Backup supply for RTU(Power Pack 24V DC Output for battery and Battery Charger& DCDB) | Nos | 1
1.4 | Cables Supply of 1.1 KV 4 C X 4 sq.mm. or as required | M | 600
1.5 | Cables Supply of 1.1 KV 4 C X 2.5 sq.mm.or as required | M | 2400
1.6 | Cables Supply of 1.1 KV 10 C X 1.5 sq.mm.or as required | M | 600
1.7 | Ethernet Switch 24 Ports or as required | Nos | 1
1.8 | Pipe (HDPE/DWC) | M | 500
1.9 | Printing Ferrulling, Glanding ,Tagging,Lugs,Cable | Nos | 13
2 | RTU Panel in the Indoor Application (IEC104 protocol) |  |  | 450000
2.1 | RTU & Data concetrator Panel | Nos | 1
2.2 | Modem | Nos | 1
3 | Multimedia Glass Fibre Optical Cord / Ethernet Cable in Conduit & Other Control cables | M | 1000
4 | HMI
4.1 | HMI in Desktop | Nos | 1 | 74260
4.2 | HMI of Touch Screen in RTU panel | Nos | 1 | 74260
5 | Installation Material Handling , control cable Laying, Optical fibrre laying & Furniture fixture
5.1 | Service for Laying and termination | LS | 13
6 | FMS Charges (including training) | year | 5 | 250000
7 | Integration with Scada System | LS | 12
Total
Note- This is not for L1 bidder selection while it is only for to know the rate of above items. The Bidder has put the rate in shaded part only. The total project cost is to be decide of column K(Supply+ITC)
1-