## Ward 62 15 (Samudayik Bhawan)
शहीद राजीव पाण्डेय वार्ड क्र 62 अंतर्गत इंदिरा नगर शौचालय के पास सामुदायिक भवन निर्माण कार्य।
[As per P.W.D BUILDING & SOR WITH EFFECT FROM 01.01.2015]
S.NO. | ITEM NO. | PARTICULAR OF ITEM | QUANTITY | UNIT | AMOUNT
1 | 1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits.
| 1.1 | In all types of soils. | 53.985 | Cum | 9987.225
2 | 3.1 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
| 1.2 | 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size). | 14.927 | Cum | 39690.893
3 | 3.2 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
| 2.1 | 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 61.0068 | Cum | 253971.488
4 | 3.12 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:
| 12.1 | Thermo-Mechanically treated bars FE 415 | 4882.6228 | Kg | 266102.9446
5 | 2.1 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for:
| 1.1 | Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. | 61.95 | Sqm | 8611.05
| 1.6 | Columns, beams & walls- circular or any other geometrical shape other than square and rectangular in all sizes | 39.53 | Sqm | 14072.68
| 1.7 | Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | 125.7408 | Sqm | 29549.088
| 1.13 | Weather shade, chhajja, Cornices and mouldings | 10.1952 | Sqm | 2997.3888
6 | 7.5 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in:
| 5.4 | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 73.2609 | Cum | 239050.2882
7 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 73.2609 | Cum | 8864.573
8 | 9.11 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rails of T-iron 40x40x6mm with 38mm steel pulleys complete with bolts, nuts, locking arrangement stoppers, handles including applying a priming coat of red oxide zinc chromate primer. | 7.3986 | Sqm | 24637.338
9 | 9.13 | Providing and fixing steel door/ window with M.S. sheet 1mm thick, frame of angle iron, diagonal braces of angle/ flat iron of suitable size, 3.00 mm M.S. gusset plates at junctions and corners, all necessary fittings complete including applying a priming coat of red oxide zinc chromate primer. | 330.4 | Kg | 24780
10 | 9.15 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | 236 | kg | 15930
11 | 11.1 | Providing and making 6mm thick cement plaster of mix:
| 1.2 | In Cement mortar 1:4 (1 cement : 4 fine sand) | 125.7408 | Sqm | 10939.4496
12 | 11.2 | Providing and making 12mm thick cement plaster of mix:
| 2.4 | In Cement Mortar 1:6 (1 cement : 6 fine sand) | 316.7475 | Sqm | 28982.393
13 | 11.3 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix:
| 3.4 | In Cement Mortar 1:6 (1 cement : 6 fine sand) | 281.548 | Sqm | 30125.636
14 | 12.45 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement.
| 45.2 | 40 mm thick | 168.5512 | Sqm | 37418.3664
15 | 14.12 | Applying one coat of cement primer on wall surface (applied @ 0.80 litrs/10 sqm) complete. | 724.0362 | Sqm | 16652.8326
16 | 14.13 | Providing and applying 2mm thick ready mix exterior grade approved make putty (like Birla wall care, Alltek Superfine W/R of (NCL), Asian, ICI, Nerolac, J.K. wall putty) on walls to make the surface smooth and even. | 651.6326 | Sqm | 61579.2794
17 | 14.16 | Painting exterior surface with PREMIUM ACRYLIC SMOOTH exterior paint of required shade as per manufacturer's specifications to give protective and decorative finish including cleaning washing of surface etc. complete with:
| 16.1 | On new work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) | 651.6326 | Sqm | 48546.6278
18 | 2.1 | Painting on new work (two or more coats) to give an even shade with:
| 1.1 | Satin synthetic enamel paint | 62.2332 | Sqm | 3422.826
19 |  | Providing and fixing water closet squatting pan (Indian type W.C. pan ), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required :
|  | White Long pattern W.C. pan of size 580 mm | 3.54 | Each | 8704.86
20 | 1.18 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | 94.3056 | cum | 34987.3776
21 | 12.12 | Providing and laying vitrified floor tiles with soluble salt printing, of size 600x600mm with water absorption less than 0.5% and conforming to IS : 15622 of approved make, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete. | 118.59 | cum | 114202.17
22 | 12.9 | Providing and laying ceramic glazed floor tiles conforming to IS : 15622 of approved size, make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc., complete.
| 9.1 | Size 300x300mm | 8.496 | Sqm | 5879.232
23 | 12.7 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete.
| 7.1 | Size upto 200x300mm | 251.4816 | Sqm | 147619.6992
24 | 16.36 | Dismantling terrazzo or mosaic or glazed vitreous or patent cement or tiled flooring or dado skirting of any thickness without sub base. | 0.785 | Sqm | 17.6625
25 | 16.43 | Demolishing cement concrete including disposal of material within 50 metre lead.
| 43.2 | 1:3:6 or richer mix | 0.0785 | Cum | 43.0965
26 | 1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits.
| 1.1 | In all types of soils. | 1.1775 | Cum | 217.8375
27 | 3.2 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
| 2.1 | 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 0.89804 | Cum | 3738.5405
28 |  | Extra for precast PCC/ RCC work of any mix including form work, hoisting and fixing in Cement Mortar. 1:2 (1 Cement : 2 coarse sand) and finishing with cement plaster in Cement Mortar 1:3 (1 Cement : 3 coarse sand) but excluding reinforcement. | 0.89804 | Cum | 421.1808
29 | 3.12 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:
| 12.1 | Cold twisted bar / Hot rolled deformed steel | 72 | Kg | 3852
30 | 21.14 | Supplying, filling, spreading & leveling stone boulders/ Gravels/ Coarse sand, in recharge pit, in the required layers and thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge. (excavation of pit will be paid separately).
| 14.1 | Stone boulders of size range 5 cm to 20 cm, in recharge pit | 0.628 | Cum | 541.964
31 | 14.2 | Gravels of size range 5 mm to 10 mm, over the existing layer of boulders | 0.0785 | Cum | 63.271
32 | 14.3 | Coarse sand of size range 1.5 mm to 2 mm over existing layer of gravel | 0.157 | Cum | 73.947
33 | 18.76 | Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete.
| 76.2 | 110 mm dia pipe. | 8.5 | Mtr | 2269.5
34 | 18.77 | Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.
| 77.1 | Tee/ Tee with door/ Bend 45°/ Bend 90°
| 1.2 | 110 mm | 5 | Each | 770
35 | 9.44 | Providing and fixing “NETLON insect screens” with 25mm wide Hook and loop tape all around to wooden/ aluminium/ steel windows, ventilators and the like complete. | 1.57 | Sqm | 35.325
36 | Non Sor | Coal | 10 | Kg | 450
37 | Non Sor | Alum | 2 | Kg | 180
TOTAL |  |  |  |  | 1499980.031
Say Rs. (In Lacs) |  |  |  |  | 14.9998
Sub Engineer Asst. Engineer Executive Engineer
Zone No. 06 Zone No. 06 Zone No. 06
Municipal Corporation Municipal Corporation Municipal Corporation
Raipur (C.G.) Raipur (C.G.) Raipur (C.G.)