DURG DISTRICT URBAN PUBLIC SERVICE SOCIETY

E-Procurement Tender Notice

Main Portal: https://eproc.cgstate.gov.in

System No-192945         NIT NO:     DDUPSS/ E-Bus /Bhilai/2026             Dated: 10.06.2026(First Call)

Online bids are invited for the following works of Items up to:

Start Date and Time     .      10.06.2026   (start date & time of bid Submission) at 17.30 hours. (IST) on wards Last Date and Time   01.07.2026    (last date & time of bid Submission) at 17:30 hours.

Name of Work/Description of Item: -  77 MLD प्लांट से निकलने वाले  Waste Water  का

Re – circulation में उपयोग हेतु पाइप लाइन एवं पंप स्थापना कार्य |

| Amount of the Estimate | - | Rs. 6443226.00 |
| --- | --- | --- |

The details can be viewed and downloaded online directly from the Government of Chhattisgarh e-Procurement Portal https://eproc.cgstate.gov.in  from     10.06.2026  at 17:30 Hours. (IST) on wards. physical submission of  EMD (FD)  & Annexure -13 (Affidavit) of  minimum Rs.100 non Judicial Stamp Envelope A (by post)  Last Date     .03.07.2026   at 17:30___ Hours.

NOTE: -

- All eligible/interested contractors are mandated to get enrolled on e-Procurement portal (https://eproc.cgstate.gov.in)

- Contractors can contact Help Desk for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Mjunction Services Limited, HelpDesk Toll Free No.18004199140 (From 9.00 AM to 11.00 PM) helpdesk.eproc@mjunction.in

Nodal Officer

Durg District Urban

Public Service Society

Endt No.          Bhilai, 							Dated: __________

- .......................................

- .......................................

- .......................................

- Notice Board.

Nodal Officer

Durg District Urban

Public Service Society

DURG DISTRICT URBAN PUBLIC  SERVICE SOCIETY

Notice Inviting Tender

SECREATARY, DURG DISTRICT URBAN PUBLIC  SERVICE SOCIETY (C.G.) for PWD Building SOR  20.04.2026 And  PHE SOR  Amendment  7/22-23  issues applicable up to date of issue of NIT and form "A, ABC" from ……D…… class and above contractors of registered in E-Registration (Single window registration applicable )  under Chhattisgarh Government for similar work on E-Procurement System https://eproc.cgstate.gov.in As per Key Dates mentioned all other conditions for submission of tender and criteria for qualifications etc. have been mentioned in the tender documents.

Tender Details:

- Name of work:-   77 MLD प्लांट से निकलने वाले  Waste Water  का

Re – circulation में उपयोग हेतु पाइप लाइन एवं पंप स्थापना कार्य |

- Amount of the Estimate:- Rs. 6443226.00

- Time allowed for completion:-   09 Months including  Raining season

- Earnest Money Deposit:-  48,500.00   ( Fourty Eight Thousand Five  Hundred Rupees Only)   (EMD (in form of FDR)   in favour of Secretary Durg District Urban public Service Society. FDR of EMD & Affidavit  (Rs. 100/- non Judicial Stamp  ) will be received through speed post or registered post. (Offline)

General Terms and Conditions: -

- In order to participate in the tenders floated using the e-Procurement System, all contractors/bidders are required to get enrolled on the e-Procurement portal (https://eproc.cgstate.gov.in)

- The bids submitted online should be signed electronically with a Digital Certificate to establish the identity of the bidder bidding online. The registered contractors may obtain information required to issuance of Digital Certificate from e-Procurement system Help Desk, for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Junction Services Limited, HelpDesk Toll Free No.18004199140 (From9.00AMto11.00PM) helpdesk.eproc@mjunction.in

- For submitting the bids online, the contractors/bidders are required to make online payment using the electronic payments gateway service Bid Hash Submission Fee as mentioned above The different modes of electronic payments accepted on the e-Procurement System is available and can be viewed online on the e-Procurement Website (https://eproc.cgstate.gov.in).

- Tender Download, Submit Bid Hash online, Submission of Bids, EMD and other Documents and other activities will be governed by the time schedules given under “Key Dates”.

- The Bidders has to submit (Upload clearScan Copies/file) his offer/credentials online as required in the tender in the online templates in relevant envelopes.

- Physical Submission of EMD(FD) Earnest Money Deposit Fees Rs 48,500.00 (FD) & Annexure-13 (Affidavit) of  minimum Rs. 100 non Judicial Stamp  Durg District Urban public Service Society. at Dated     03.07.2026 Time 5.30 PM. address of  of  Room No. 56, City Bus Office, Head Office Nagar Palik Nigam Bhilai (C.G.)

- Before the deadline for submission of tender the SECREATARY Durg District Urban public Service Society. may modify the tender document by issuing amendment.

- Any amendment thus issued shall be part of the tender and shall be published on web 
site.

- Envelope required documents of qualified tenderer shall be opened online on the prescribed date and time as per Notice Inviting Tender.  After online verification of proper and valid Earnest money and other required documents  financial offers of such qualified bidders shall be opened online in the presence of the tenderer (s)/ representative who choose to attend at that time.

- All documents and certificates must be self attested and submitted in Online.

- Other Details can be seen in the tender documents.

- The bids of the contractors have to be digitally signed by the Digital Certificate of the Contractor before submitting the bids online. All the contractors are required to submit Envelope A online containing the following :

- The Earnest Money Deposit (EMD) as specified in the Tender-documents.

Secretary Durg District Urban public Service Society.
Note: - All eligible/interested contractors are mandated to get enrolled on the eProcurement portal ((https://eproc.cgstate.gov.in).in order to download the tender documents and participate in the subsequent bidding process. 
For any other queries regarding online registration on the above mentioned website and digital certificate, please contact to: 
M/s. Mjunction Services Limited, HelpDesk Toll Free No.1800 4199140 (From 9.00 AM to 11.00 PM) helpdesk.eproc@mjunction.in
Any query please Contact  :-

| NIT Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sn | Code | Particulrs |  | Qty | Unit |
| 1 | 4.1 | Providing, laying and jointing including testing following socket & spigot centrifugally cast (Spun) Ductile Iron pressure pipes with inside cement mortar lining (class K-7) conforming to IS: 8329/ 2000 with suitable Rubber Gasket (Push on) joints as per IS:5382/2018 |  |  |  |
|  |  | 100mm Dia |  | 2800.00 | mtr |
| 2 | 1.1 | Excavation for all types and sizes of foundation, trenches and drains or for any other purpose incluidng disposal of excavated stuff upto 1.5m lift and lead upto 50m (at least 5m away from the excavated area) including dressing and levellings of piths |  | 1470 | cum |
| 3 | 3.3 | Providing and laying design mix reinforced cement concrete with crushed graded stone aggregate 20mm nominal size using batching plant, transit mixer and concrete pump, in all works upto plinth level excluding cost of form work |  | 294 | cum |
|  |  | M-20 Grade (Top concrete) |  |  |  |
|  |  | M-20 Grade (Base concrete) |  |  |  |
| 4 | 4.15 | Providing and Laying including testing Ductile Iron Double Socket 45° Bends conforming to IS: 9523/2000 having dimension as per table 16 of IS: 9523/2000 in the following nominal iameter/sizes with external bitumen coating and internal cement mortar lining. 100 mm Dia |  | 10 | nos. |
| 5 | 4.13 | Providing and Laying including testing Ductile Iron Double Socket 90° Bends conforming to IS: 9523/2000 having dimension as per table 15 of IS: 9523/2000 in the following nominal iameter/sizes with external bitumen coating and internal cement mortar lining. 100 mm Dia |  | 10 | each |
| 6 | 4.41 | Providing & fixing of following Ductile iron double flanged sluice valves as per IS 14846:2000 fitted with cap including jointing & testing with cost of jointing material such as bolts, nuts, rubber insertions etc. all complete 100 mm dia (CLASS PN10 ) |  | 5 | each |
| 7 | 4.17 | Providing and Laying including testing Ductile Iron Double Socket 22.5° Bends conforming to IS: 9523/2000 having dimension as per table 15 of IS: 9523/2000 in the following nominal iameter/sizes with external bitumen coating and internal cement mortar lining. 100 mm Dia |  | 3 | each |
| 8 | 4.19 | Providing and Laying including testing Ductile Iron Double Socket 11.5° Bends conforming to IS: 9523/2000 having dimension as per table 15 of IS: 9523/2000 in the following nominal iameter/sizes with external bitumen coating and internal cement mortar lining. 100 mm Dia |  | 3 | each |
| 9 | 4.11 | Providing and Laying including testing Ductile iron Mechanical joint collar with follower glands conforming to IS: 9523/2000 having dimension as per table 24 of IS: 9523/2000 in the following nominal diameter/sizes with external bitumen and internal cement mortar . 100 mm Diameter |  | 5 | each |
| 10 | PHE SOR 2020 18.30 | Demolishing R.C.C work manually/by mechnical means including stacking of steel bars and dis[psal of unserviceable material within 50 m lead as per direction of engineer-in-charge |  | 252 | cum |
| 11 | 18.2 | Filling available excavated earth in trenches plinth sidrs of foundation in layers not exceeding 20cm in depth including consolidation of each layer by ramming watering lead up to 50m and lift up to 1.5m in all kinds of soil |  | 1294.55 | cum |
| 12 |  | Electrical- work for providing power connection to sump pump at WTP. |  |  | LS |
| A. | RA RCC CHAMBER (80 TO 350 MM DIAMETER SIZE CLEAR INNER) |  |  |  |  |
|  | Earth work in excavation for pipe trench in ordinary soil areas including dressing, watering, ramming and disposal of excavated earth lead up to 50m and lift up to 1.5m,disposal earth to be levelled, neatly dressed. |  |  | 0.97 | Cum |
|  | (CG PHE SOR_2020 18.15/225) |  |  |  |  |
|  | 200 mm thick wall with 10 cm offset for RCC |  |  |  |  |
|  | Deduct Excavated Pipe trench |  |  |  |  |
|  | Providing & laying mechanically mixed R.C.C. excluding centering & shuttering and reinforcement in foundation/plinth (20mm graded metal) |  |  | 1.20 | Cum |
|  | (CG PHE SOR_2020 18.42.1/229) |  |  |  |  |
|  | RCC M-20 |  |  |  |  |
|  | Footing |  |  |  |  |
|  | Wall - Long |  |  |  |  |
|  | Wall - Short |  |  |  |  |
|  | RCC Cover |  |  |  |  |
|  | Providing & fixing form work i/c centering and shuttering including strutting, propping etc. and removal of form work |  |  | 11.27 | sqm |
|  | (CG PHE SOR_2020 18.64.1/233) |  |  |  |  |
|  | Footing |  |  |  |  |
|  | Wall - Outer |  |  |  |  |
|  | Wall - Inner |  |  |  |  |
|  | Slab Cover - Bottom |  |  |  |  |
|  | Slab Cover - Sides |  |  |  |  |
|  | Partitions |  |  |  |  |
|  | Providing and placing in position cold twisted steel and hot rolled deformed steel reinforcement for R.C.C. work i/c cutting, bending, binding etc. complete i/cost of binding wire and wastage |  |  |  |  |
|  | (CG PHE SOR_2020 18.44/230) |  |  |  |  |
|  | 80 kg/cum of concrete |  |  | 96.30 | kg |
|  | Filling available excavated earth in trenches, plinth sides of foundation in layers not exceeding 20cm. In depth including consolidation of each layer by ramming watering, lead up to 50m and lift up to 1.5m in all kinds of soils |  |  | 1.55 | cum |
|  | (CG PHE SOR_2020 18.22/227) |  |  |  |  |
|  | Total Volume Excavated |  |  |  |  |
|  | Deduct Volume of Footing |  |  |  |  |
|  | Deduct Volume of Chamber |  |  |  |  |
|  | above footing upto GL |  |  |  |  |
| PUMPING MACHINARY |  |  |  |  |  |
| 1 | ITEM No. 1 |  |  |  |  |
|  | Providing, erecting & giving test & trial of Centrifugal pumpset directly coupled motor with allied equipments as under |  |  | 10 | BHP |
| a | HSC pumps |  |  |  |  |
| b | with motor |  |  |  |  |
| c | Foundation |  |  |  |  |
| d | Pipes, with specials |  |  |  |  |
| e | Dismanteling joints |  |  |  |  |
| f | Sluice valve, reflux valve |  |  |  |  |
| g | Starter |  |  |  |  |
| h | L.T. Panel board incorporating ammeter |  |  |  |  |
| i | voltmeter, switches, starter, earth leakage |  |  |  |  |
| j | circuit brakers, single phasing preventer |  |  |  |  |
| k | water level guard, capacitor etc. |  |  |  |  |
| l | Cable |  |  |  |  |
| m | Earthing |  |  |  |  |
| n | Pressure gauging |  |  |  |  |
| o | Tools, Spares and lifting arrangement |  |  |  |  |
| p | Lighting in pump house |  |  |  |  |
|  | EOT Crane |  |  |  |  |
| 1 | Capacity of each Pump |  |  | 10 | BHP |
| 2 | Capacity of all pumps |  |  |  |  |
| 3 | No. of units |  |  |  |  |
| 4 | Discharge of each pump |  |  |  |  |
| 5 | Head of pump |  |  |  |  |
| 6 | ITEM No. 2 |  |  |  |  |
| 7 | Add 1% for third party inspection |  |  |  |  |
|  | "PUMPROOM" |  |  |  |  |
| 1 | Excavation for all types and sizes of foundations trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at teats 5m away from the excavatedarea),includingdressingandlevelingof pits. (SOR.ITEMNO.-1.1.1) SumpWell- C1 |  |  | 32.94 | cum |
| 2 | Extraforeveryadditionalliftof1.5Morpartthere of Alltypesoft soil (SORITEMNO.-1.6.1) C1- |  |  | 13.50 | cum |
| 3 | Providing and laying nominal mix cement concrete withcrushedstoneaggregateusingconcretemixer infoundation,plinthandatgroundlevelexcluding Costoffromwork. (SOR.ITEMNO.-3.1.3) |  |  | 3.19 | cum |
| 4 | Providing and laying nominal mix reinforcement cement concrete with crushed stone aggregate using concrete mixer in all works upto floor five level excluding cost of reinforcement and form work. (SOR.ITEMNO.-3.2.1) 1:1½:3(1cement:1½coarsesand:3 graded stone aggregate 20mm nominal size). SumpWellRaft- Wall-SumpWellSlab- Columnfooting C1- Trapezoida C1- C1- PlinthBeam LintelBeam SlabBeam Chhajjas- Main SlabColumnuptoFirstslab |  |  | 14.73 | cum |
| 5 | Providingandplacinginpositionreinforcementfor R.C.C. work including straightening, cutting bending binding etc. complete as per drawings including cost of binding wire all complete: (SORITEMNO.-3.12.3) |  |  | 1473.04 | kg |
| 6 | Providing and fixing formwork including centering, shuttering, strutting staging propping bracing etc. complete and including its removal at all levels for: a) Foundations, footings base of columns and plinth beam in any shape and size. (SORITEMNO.-2.1.1) C1- |  |  | 31.04 | sqm |
| 7 | Providing and fixing formworkincluding centering, shuttering,struttingstagingproppingbracingetc. complete and including its removal at all levels for: (SOR ITEM NO.-2.1.8) (i)Rectangularbeams,lintels,cantilevers&walls PlinthBeam LintelBeam SlabBeam Chhajjas- MainSlab |  |  | 46.40 | cum |
| 8 | Brick work with modular well burnt clay bricks of crushing strength not than 35kg/sqcm and water absorption not more than 20% in foundation and plinth in: (SOR.ITEMNO.-7.1.4) (d)CementMortar1:6(1cement:6sand) Addextraforbrickworkinsuperstructureabove plinthlevelforeveryfloor(TheHeightof Floorupto (SOR. ITEM NO.-5) Deduction- D- |  |  | 6.22 | cum |
| 9 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement :2 coarse sand : 4 graded crushed stone aggregate20mmnominalsize) includingformwork |  |  | 6.22 | cum |
| 10 | Applyingacoatofhotbitumen30/40using@ 1.7kg/ sqm on damp proof course after cleaningthe surface with brushes and finallywith a piece of cloth lightly soaked in kerosene oil. |  |  | 6.22 | cum |
| 11 | 12mmthickcementplasterofmix: (SOR.ITEMNO.-11.2.4) d)inCementMortar1:6(1cement:6sand) PumpHouse- Deduction- D |  |  | 33.84 | cum |
| 12 | 15mmthickcementplasterontheroughsideof single or half brick wall of mix: (SOR.ITEMNO.-11.3.4) d)inCementMortar1:6(1cement:6sand) Outerplaster PumpHouse- Deduction- w- |  |  | 33.93 | cum |
| 13 | 12mm thick plain cement mortar banda in cement mortar 1:4 ( 1 cement : 4 fine sand) per cm width. (SOR ITEM NO.11.31.2) b)SunkBands column- beam- |  |  | 455.00 | cum |
| 14 | Steelworkweldedinbuiltupsections/framedwork including cutting hoisting, fixing in position and Appling a priming coat of red oxide zinc chromate primer. (SOR.ITEMNO.-9.6.2) a)Ingratings,frames,guardbar, brackets,gatesandsimilarworks. ladder,railings D- w- |  |  | 74.25 | kg |
| 15 | Providing and fixing 35mm thick glazed shutter frames for windowsclerestorywindows,ventilators etc using glass panes including M.S. butt hinges with necessary screws but excluding glass panes. (Areaofshuttertobemeasuredwithoutdeducting Panelingarea). Binasal,Ben teak,khair,held D- w- (SOR.ITEMNO.-8.7.2) |  |  | 4.95 | sqm |
| 16 | Providing and laying cermic giazed floor tiles conforming to IS:15622 of approved size, make, colour, shade laid on 20 mm thick Cement Mortar 1:4(1cement: 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc. complete. a) Size 300 x 300mm (SOR.ITEMNO.-12.9.1) PumpHouse |  |  | 9.00 | sqm |
| 17 | Providing and applying plaster of paris putty over plastered wall surface including scaffolding complete. Upto 2 mm thickness to make surface even and smooth in line and level. (SOR.ITEM NO.-14.54.1) |  |  | 67.77 | sqm |
| 18 | Providing and applying Synthatic oil bound washable Distemper having VOC content less than 50gms/ lit. Minimum two coats up to final finish to give an even shade applied 1.25 kg / 10Sqm as per relevant I.S. Code 428:2000 (product such as Asian Tractor synthatic distemper , Berger Bison Lite , Dulux Magik , Birla Opus Style super smart) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work. (SOR.ITEMNO.-14.61) |  |  | 67.77 | sqm |

Key Dates :-

| S. No | Description | Date & Time |
| --- | --- | --- |
| 1 | Tender Release | 10.06.2026 (05:30PM) |
| 2 | Tender Download, Bid Preparation & Payment – | 10.06.2026 (10:30 AM) to 01.07.2026 (05:30PM) |
| 3 | Pre Bid Meeting at Room No. 48, City Bus Office, Head Office Nagar Palik Nigam Bhilai | 19.06.2026 at 11:30 am |
| 4 | Physical Submission of Required Documents with EMD fee – (By Speed Post Only) | 10.06.2026 (10:30 AM) to 03.07.2026 (05:30PM) |
| 5 | EMD Opening and Short listing – | From 06.07.2026 (10:30 AM) |

Nodal Officer

Durg District Urban

Public Service Society