PÀ£ÁðlPÀ «zÀÄåvï ¥Àæ¸ÀgÀt ¤UÀªÀÄ ¤AiÀÄ«ÄvÀ

KARNATAKA power transmission corporation limited

Corporate Identity Number (CIN): U40109KA1999SGC025521

Registered office of the Company: Corporate Office, Kaveri Bhavan,K.G.Road, Bengaluru-560 001.

Ph.No.	:08354 – 235692/235690 				Office of the

E-Mail		: mwz_kptclbgkt@rediffmail.com			Chief Engineer, Electricity,

mwzkptclbgkt@gmail.com			Transmission Operations  Zone, KPTCL,

Web site	: www.kptcl.com				Navanagar, Bagalkote-587103

# SECTION IV: SPECIAL CONDITIONS OF CONTRACT (SCC)

Tender for Design, Manufacture, Testing and Supply, installation and commissioning of  each cell 24 nos of each 2V ie 48V, 200AH  lead acid, Plante type to PLCC equipment,  Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading

Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/batteryset

TABLE OF CLAUSES

# Item No. Topic

- Definitions (GCC Clause 1)

- Inspection and Tests (GCC Clause 7)

- Delivery and Documents (GCC Clause 9)

- Transportation and Incidental Services (GCC Clause 12)

- Payment (GCC Clause 15)

- Settlement of Disputes (GCC Clause 27)

- Notices (GCC Clause 31)

- Progress of Supply

- Right to use defective equipment

- Supplier Integrity

- Supplier‟s Obligation

- Patent Rights

- Technical Documentation

- Taxes & Duties

- Completeness Of Equipment

- Training

# SECTION IV: SPECIAL CONDITIONS OF CONTRACT

The following Special Conditions of Contract shall supplement the General Conditions of Contract. Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract. The corresponding clause number of the General Conditions is indicated in parentheses.

# Definitions (GCC Clause 1)

  - In this Contract, the following terms shall be interpreted as indicated:

- “The Purchaser” means the organization purchasing the Goods. Karnataka Power Transmission Corporation Limited is the Purchaser and shall include their Legal Representatives, Successors and Assigns.

- “The Supplier/Successful Bidder/ Contractor” means the individual or firm supplying the Goods and Services under this Contract.

# Inspection and Tests (GCC Clause 7)

The	following	inspection	procedures	and	tests	are	required	by	the Purchaser:

  - The manufacturer shall arrange routine acceptance tests at his works in the presence of the inspection staff of the company.

    - The representatives of the Corporation (KPTCL) / authorized external agency shall be entitled at all reasonable times during manufacture to inspect, examine and test on the contractor‟s premises the materials and workmanship of all equipments to be supplied under this contract. Such inspection, examination and testing shall not release the contractor from his obligation under this contract. The supplier shall afford necessary facilities to the Corporation’s/KPTCL‟s representative to inspect the material ordered and conduct all routine tests on the material to be delivered to the Corporation in the presence of the Corporation’s/KPTCL‟s representative.

    - The requisition letter of “inspection call” from suppliers should be submitted to the office of the Chief Engineer, Elec., Tendering & Procurement, KPTCL.

    - The supplier shall give the inspection call duly intimating the programme of tests and the date and place at which the equipment will be ready for testing/inspection, fifteen days in advance in writing to arrange for deputing the Corporation’s (KPTCL‟s) representative to be present at the time of conducting the test. The supplier shall offer tendered quantity of materials for inspection.

    - Where the contract provide for tests on the premises of the Supplier, the supplier shall provide such assistance, labour materials, electricity, fuel and instruments as may be required or as may be reasonably demanded by the representative of KPTCL to carry out such test efficiently.

    - When the equipment passes the specified tests, the representative of the KPTCL, shall furnish a certificate to this effect in writing to the supplier. The supplier shall provide reasonable copies of the test certificates to KPTCL.

    - KPTCL shall carry 1st inspection of the equipment offered for inspection free of cost. However, if KPTCL officers are deputed for 2nd time for inspection of materials/equipments which are not ready for inspection on 1st visit or materials rejected during inspection on first visit, the manufacturer is liable to pay the re-inspection charges as follows:

The	manufacturer	offered	the	same	equipment	for	subsequent inspection, manufacturer liable to pay the re-inspection charges.

      - Rs. 15,000/- per man, per day + goods and service tax prevailing/ applicable on the date of inspection + any other tax as per statutory requirement.

PLUS

      - Actual To & Fro charges by Air/Train/Bus (as the case may be)

    - In case of inspections of equipments/materials are to be carried out outside the country by KPTCL, in such cases KPTCL will depute two Engineers from KPTCL for inspecting the equipments/materials. The Visa, to and fro travel expenses from the place of working of officials deputed for inspection, boarding charges, lodging charges and other incidental expenses of the inspecting Engineers for inspections to be carried out outside the country are to be borne by the Successful Tenderer/Supplier.

# Inspection and Testing before Dispatch:

The material will be inspected by Engineers of the KPTCL or its authorized representative before dispatch. All tests shall be conducted in the presence of the designated person. The approval for the tests or test certificate shall be obtained and also the dispatch instructions shall be obtained before dispatch of the goods. Any materials found not to be in conformity with the specification as detailed in the schedule will be rejected. In such cases, the supplier has to take back the rejected materials/equipment at his own cost. The supplier has to replace them by good ones immediately and the second time inspection at the Factory premises shall be at firms cost as per KPTCL norms. KPTCL may accept replacements conforming to the specification.

# Inspection after Receipt of Materials:

    - The material will be inspected on receipt at the store. Any material found not to be in conformity with the specification as detailed in the schedule will be rejected. In such cases, the supplier has to take back the rejected material at his own cost and again offer for inspection duly paying the re- inspection charges as per the norms.

    - ACCEPTANCE OF SUPPLIES

All or any articles supplied against this contract will be subject to the inspection approval of the officer in charge of stores, or any other officer deputed for the purpose. He shall be at liberty to reject any or the whole lot without assigning any reason and his decision in respect of such rejection will be final.

# Test Certificate

The Test certificates as per the relevant standards, amended up to date conducted at International accredited laboratory or CPRI/ERDA laboratory shall be forwarded well in advance, before the dispatch of materials, duly signed by responsible officer of the supplier‟s organization for the Corporation’s approval. The materials shall be dispatched only after receipt of approval of Test Report.

# Delivery of Materials and Dispatch Instructions

No materials shall be dispatched until test certificate wherever applicable, are approved and dispatch instructions have been given.

    - EQUIPMENT/MATERIAL TO CONFIRM TO SPECIFICATION

Specifications are basic essence of the product. It must be ensured that the offers must be strictly as per our specifications. At the same time it must be kept in mind that merely copying our specifications in the quotation shall not make the parties eligible for consideration of the quotation. A quotation has to be supported with the printed technical leaflet/literature of the quoted model of the item by the Tenderer and the specifications mentioned in the quotation must be reflected / supported by the printed technical leaflet/literature which shall be uploaded along with the techno commercial bid. Therefore the model quoted invariably be highlighted in the leaflet/literature uploaded with the techno commercial bid. Non-compliance of the above shall be treated as incomplete/ambiguous and the offer can be ignored without giving an opportunity for clarification /negotiation etc. to the bidder.

Deviations if any from the specifications given in Section-VI, which provides for improvement in the functioning of the equipment will be accepted. Such deviations and their advantages shall be clearly brought out in the tender.

# Delivery:

Delivery shall be as indicated in the delivery schedule (Section V of Schedule of Requirement and Desired Deliveries).

The actual delivery schedule will be intimated in the purchase order and the successful bidder shall adhere to the delivery schedule of the Purchase Order.

The delivery schedule shall be strictly adhered to by the successful Tenderer failing which KPTCL reserves the right to initiate action as per the terms and conditions of the tender.

Whatever may be the conditions of sale specified or indicated in the offer, it is only the conditions indicated in the Purchase order and tender specification that will be final and binding and if any tenderer likes to add any other terms/conditions, the same shall be clearly brought out in the Tender itself as “DEVIATIONS” which may be considered if acceptable to KPTCL.

In the event of the tender being accepted of the material in the tender, the successful tenderer hereinafter referred to “Supplier” shall execute all orders as per the delivery schedule stipulated in the Purchase Order.

# Delivery and Documents (GCC Clause 9)

Upon delivery of the Goods, the supplier shall notify the Purchaser/consignee and the insurance company by letter or email. The full details of the shipment including contract number, railway receipt number and date, description of goods, quantity, name of the consignee etc. The supplier shall furnish the following documents to the Purchaser/consignee with a copy to the insurance company:

- Four Copies of the Supplier invoice showing contract number, goods' description, quantity, unit price, total amount;

- Railway receipt/acknowledgment of receipt of goods from the consignee(s);

- Four Copies of packing list identifying the contents of each package;

- Insurance Certificate;

- Manufacturer's/Supplier's warranty certificate;

- Inspection Certificate issued by the nominated inspection agency, and the Supplier's factory inspection report; and

The above documents shall be received by the Purchaser/consignee before arrival of the Goods (except where the Goods have been delivered directly to the Consignee with all documents) and, if not received, the Supplier will be responsible for any consequent expenses.

# Transportation and Incidental Services (refer GCC Clause 11 & 12)

  - Transportation:

Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within India defined as Project site/Consignee, transport to such place of destination in India including insurance, as shall be specified in the Contract, shall be arranged by the Supplier, and the related cost shall be included in the Contract Price.

# Incidental Services:

The following services covered under GCC Clause 12 shall be furnished:

- Supervision of erection and commissioning, wherever applicable is in the scope of the Supplier/Bidder and shall be carried out free of cost.

- furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

- Training of the Purchaser's personnel, at the Supplier‟s plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

# Payment (refer GCC Clause 15)

  - GST: KPTCL is registered under GST acts.

  - KPTCL will arrange payment as under:

- KPTCL will arrange payment of 80% of the value of materials together with 100% taxes and duties against the bill, after receipt of “MAS” by the consignee division. Balance 20% will be paid after successful commissioning of the equipment or on the expiry of 90 days from the date of supply whichever is earlier. Payment will be made in Indian rupees only.

Payment will be made in Indian Rupees only.

  - For arranging payment, the following documents will have to be furnished by the Supplier.

- Invoice in quadruplicate, stamped and pre-receipted containing details such as purchase order number, Goods description, quantity, unit price and total amount.

- Copy of L.R. (4 copies)

- Packing list (6 copies)

- Delivery Challan duly acknowledged by consignee.

- Material Acknowledgment Statement (to be furnished by consignee).

- Supplier‟s warranty/guarantee certificate.

- Material Inspection report.

- Pre-dispatch clearance certificate

- Test certificate, wherever applicable

- Copy of Insurance Certificate.

- Literatures/operating manual etc.

# Settlement of Disputes (refer GCC Clause 27)

The dispute settlement mechanism to be applied pursuant to GCC Clause 27 shall be as follows:

- Any dispute or difference or claim arising out of or in connection with or relating to the present contract or the breach, termination or invadility thereof, shall be decided by a competent Court at Bagalkote

- Performance during Dispute Resolution:

Pending the submission of and/or decision on a Dispute and until the settlement of court proceedings; the Parties shall continue to perform their respective obligations under this Contract without prejudice to a final adjustment in accordance with such award.

# Notices (refer GCC Clause 31)

For the purpose of all notices, the following shall be the address of the Purchaser.

Purchaser: CHIEF ENGINEER ELECTY.,

Transmission(Operations)Zone, KPTCL

Bagalkote.

# Progress of Supply:

Supplier shall regularly intimate progress of supply, in writing, to the Purchaser as under:

- Quantity offered for inspection and date;

- Quantity accepted/rejected by inspecting agency and date;

- Quantity dispatched/delivered to consignees and date;

- Quantity	where	incidental	services	if any	have	been	satisfactorily completed with date;

- Quantity where rectification/repair/replacement effected/completed on receipt of any communication from consignee/Purchaser with date;

- Date of completion of entire Contract including incidental services, if any; and

- Date of receipt of entire payments under the Contract

(in case of stage-wise inspection, details required may also be specified).

# Right to use defective equipment:

If after delivery, acceptance and within the guarantee/warranty period, the operation  or  use  of  the  equipment  proves  to  be  unsatisfactory,  the Purchase shall have the right to continue to operate or use such equipment until rectifications of defects, errors or omissions by repair or by partial or complete replacement is made without interfering with the Purchaser’s operation.

# Supplier Integrity:

The Supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract using state-of-the-art methods and economic principles and exercising all means available to achieve the performance specified in the Contract.

# Supplier’s Obligations:

The Supplier is obliged to work closely with the Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The Supplier will abide by the job safety measures prevalent in India and will free the Purchaser from all demands or responsibilities arising from accidents or loss of life the cause of which is the Supplier‟s negligence. The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The Supplier is responsible for managing the activities of its personnel or sub-contracted personnel and will hold itself responsible for any misdemeanors.

The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Purchaser.

# Patent Rights:

In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of the Goods or any part thereof in the Purchaser’s country, the supplier shall act expeditiously to extinguish such claim. If the supplier fails to comply and the Purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses, court costs and lawyer fees. The Purchaser will give notice to the supplier of such claim, if it is made, without delay.

# Technical Documentation

The Technical Documentation involving detailed instruction for operation and maintenance is to be delivered with every unit of the equipment supplied. The language of the documentation should be English.

# Taxes & Duties

Tenderers shall quote all applicable statutory taxes and duties such as CGST,  SGST,  UTGST,  IGST,  Customs  duty,  Cess  if  any  and  taxes  and

duties as applicable on the date of bid submission and shall be shown separately in the Price bid (Prices shall be quoted in the Karnataka Public Procurement portal only). This shall be to the account of KPTCL against documentary evidence, unless otherwise mentioned in the Purchase Order. Any statutory variation (increase or decrease) in taxes/duties/levies or if any tax/duty/levy is newly introduced by the government with effect from the next day of the date of submission of the bid and up to the scheduled delivery period, these variations/additional taxes/duties/levies will be to the account of the owner. However, any decrease in taxes and duties up to or beyond contractual delivery period, the benefit shall be passed on to KPTCL. Any upward variation in statutory taxes and duties beyond the contractual delivery period will not be paid by KPTCL if the reasons of the delay are attributable to the vendor/supplier and the same shall be absorbed by the vendor/supplier.

In case the Tenderers indicate lesser rates of taxes & duties with reference to the prevailing rates of taxes & duties at the time of bidding, any variations in the taxes and duties would be paid/recovered keeping the rates of taxes & duties applicable as on last date of Techno-commercial Bid submission as notified (either original or extended) as the base and not the quoted rates of taxes & duties for payment/recovery of difference in the taxes and duties.

If the rates quoted for material cost, F&I charges, GST, Taxes is not clear & is ambiguous, the Purchaser reserves the right to overlook the offer.

# COMPLETENESS OF EQUIPMENT

Bill of quantities of 48V 220AH Battery sets are detailed in Annexure-A of NIT.

The equipments shall be supplied complete with all parts which are necessary for their efficient operation & such parts shall be deemed to be within the scope of supply whether specifically mentioned in the specification or not.

# Training:

Training should be imparted to our personnel with regard to operation, Maintenance & Service aspects of the equipment/ materials. The period and programme of the training shall be mutually discussed and finalized by the consignee divisions with the supplier.

-sd/-

Chief Engineer Electy.,

Transmission(Operation)Zone,

KPTCL, Bagalkote