PÀ£ÁðlPÀ «zÀÄåvï ¥Àæ¸ÀgÀt ¤UÀªÀÄ ¤AiÀÄ«ÄvÀ

KARNATAKA power transmission corporation limited

Corporate Identity Number (CIN): U40109KA1999SGC025521

Registered office of the Company: Corporate Office, Kaveri Bhavan,K.G.Road, Bengaluru-560 001.

Ph.No.	:08354 – 235692/235690 				Office of the

E-Mail		: mwz_kptclbgkt@rediffmail.com			Chief Engineer, Electricity,

mwzkptclbgkt@gmail.com			Transmission Operations  Zone, KPTCL,

Web site	: www.kptcl.com				Navanagar, Bagalkote-587103

# SECTION V: SCHEDULE OF REQUIREMENTS AND DESIRED DELIVERIES

Tender for Design, Manufacture, Testing and Supply, installation and commissioning of  each cell 24 nos of each 2V ie 48V, 200AH  lead acid, Plante type to PLCC equipment,  Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading

# Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/batteryset

| Sl No. | Material | Quantity | Delivery Schedule |
| --- | --- | --- | --- |
| 1 | Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equipment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading | Total 11 Nos. of 48V, 200AH lead acid, Plante type to PLCC equipment, Battery sets (Refer Annexure A of NIT for bill of quantity) | The delivery schedule of the Current Transformers shall be reckoned from the date of issue of LOI. Accordingly, the successful bidder shall supply the following quantities from the date of issue of Letter of Intent to Award. Delivery schedule; 110kV CT’s. Within Three Months from the date of LOI; 90. The successful bidder shall submit GTP, Drawings complete in all respects to KPTCL within 7 days from the date of issue of LOI. It is the responsibility of the successful Tenderer to get all the required approvals for various drawings/technical data etc., within the period of 90 days from the date of LOI and shall commence manufacturing activities soon after approvals. |

|  |  |  | It may be noted that the above period of delivery includes the period required for approval of GTP, drawings, technical data if any, offering the equipment in complete for inspection and receipt of equipment at designated stores/place etc. |
| --- | --- | --- | --- |

NOTE:

- The Delivery Schedule is as above. However early deliveries are preferred.

- Bids taking deviation to the above Delivery Schedule will be summarily rejected.

- The successful bidder shall submit GTP, Drawings and design calculations (if required) to KPTCL within 7 days from the date of issue of LOI and same shall be got approved within 90days from the date of issue of LOI and shall commence manufacturing activities soon after approvals. Any delay in submission of GTP, Drawings and design calculations(if any) to KPTCL and delay in obtaining of approvals to GTP, Drawings and design calculations(if any) will be to bidder’s account. Further, KPTCL will not consider request for condonation of delay/ extension of delivery schedule for the delays caused in approving of GTP, Drawings, for any of the reasons.

-sd/-

Chief Engineer Electy.

Transmission(Operation)Zone, KPTCL Bagalkote