PÀ£ÁðlPÀ «zÀÄåvï ¥Àæ¸ÀgÀt ¤UÀªÀÄ ¤AiÀÄ«ÄvÀ

KARNATAKA power transmission corporation limited

Corporate Identity Number (CIN): U40109KA1999SGC025521

Registered office of the Company: Corporate Office, Kaveri Bhavan,K.G.Road, Bengaluru-560 001.

Ph.No.	:08354 – 235692/235690 				Office of the

E-Mail		: mwz_kptclbgkt@rediffmail.com			Chief Engineer, Electricity,

mwzkptclbgkt@gmail.com			Transmission Operations  Zone, KPTCL,

Web site	: www.kptcl.com				Navanagar, Bagalkote-587103

SECTION VII: Qualification Criteria

Tender for Design, Manufacture, Testing and Supply, installation and commissioning of  each cell 24 nos of each 2V ie 48V, 200AH  lead acid, Plante type to PLCC equiment,  s under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading

Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/batteryset

SECTION VII : QUALIFICATION CRITERIA

1. The Tenderer should establish their competence and capacity based on the following qualification criteria (the “Qualification Criteria”).

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
| 1 | The Tenderer shall be individual Proprietorship firm or partnership firm or Company Registered under Companies Act 1956/2013. | Bidder shall upload Registration certificate/SSI Certificate/ Udyam certificate(MSME)/ Partnership Deed/licence issued by the Commerce & Industries Department or any other Government statutory Authority shall be uploaded. For Proprietorship firm, PAN and GST registration certificate shall be uploaded. |
| 2 | The Bidder should have Goods and Service Tax (GST) registration and shall upload the necessary supporting document to establish compliance for having GST registration. | GST registration certificate shall be uploaded. |
| A | Technical Criteria: The Tenderer should establish their experience (the “Technical Capacity”) as set out below: |  |
| 3 | The Tenderer shall be a Manufacturer and should have a minimum experience of 5 (Five) years in designing, manufacturing, testing and supply of 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher class as on the date of bid submission. | The supporting documents such as Purchase Order/ order completion certificates/performance certificates demonstrating experience of minimum 5 years as Manufacturer of material/equipment specified in the tender, shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
| 4 | The Tenderer should have manufactured and supplied at least 50% (25% in respect of Micro & small enterprises) i.e 6no’s (03 Nos. in respect of Micro & small enterprises) of 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher to State/Central owned Transmission Utilities/Generation Utilities. | Tenderers shall have to upload the supporting Documents such as Purchase order copies, order completion certificates/ performance certificates issued by State/Central owned Transmission Utilities/Generation Utilities. Micro & Small Enterprises shall upload valid MSME (UDYAM) registration certificate obtained from the competent authority certifying that tenderer is a Micro and Small Enterprises shall be uploded. |
| 5 | The Tenderer shall upload the performance certificates for at least 50% (25% in respect of Micro & small enterprises) i.e 6 no’s (3 Nos. in respect of Micro & small enterprises) of 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher. The performance certificate shall pertain only to the Battery setcommissioned in State/Central owned Transmission Utilities/Generation Utilities. The issuing officer of performance certificates shall not be below the rank of Executive Engineer or equivalent Division head. The performance certificate shall indicate all necessary details such as raring of the equipment, make, voltage, name of the substation where it is installed, date of commissioning etc., in order to show that the above Battery setwere in successful operation for atleast a minimum period of two years as on the date of bid submission. Tenderers shall have to upload the relevant performance certificates. | The Performance Certificate issued by an officer not below the rank of Executive Engineer or Equivalent Rank of the concerned State/Central owned Transmission Utilities/ Generation Utilities shall be uploaded. Micro and Small Enterprises shall upload valid MSME (UDYAM) registration certificate obtained from the competent authority certifying that tenderer is a Micro and Small Enterprises. |
| 6 | The Tenderer shall upload Guaranteed Technical Particulars of each rating of material/equipment specified in Annexure-A of the present enquiry in the prescribed format uploaded in Techno-commercial sheet, failing which the bid document is liable for rejection. | Guaranteed Technical Particulars of each rating of material/equipment specified in Annexure-A shall be uploaded |
| 7 | The Tenderer shall upload Test reports not older than Ten years as on the | Valid type test certificates and additional type tests issued from |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | date of bid submission for having conducted successful type tests and additional type tests as specified in tender technical specifications, on 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher as per the relevant IS/IEC standards at designated laboratories brought out below: - For 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher manufactured in India: - Type tests on indigenous equipment for which testing facility is available in India, should have been conducted in any independent laboratories approved by Government or accredited by National accreditation body of the country like Central Power Research Institute (CPRI), Electrical Research and Development Association (ERDA), etc., - Type tests on indigenous equipment, for which testing facility is not available in India, should have been conducted in a laboratory of foreign country accredited by National accreditation body of that country. - The type tests conducted in-house by manufacturers shall also be acceptable provided the lab(manufacturer's) is accredited by National accreditation body of the country and the tests have been witnessed by a representative of NABL accredited Independent laboratory/ Power utility. II For 48V, 200AH lead acid, Plante type to PLCC equiment, s or higher manufactured Abroad: - Type tests on imported equipment should have been conducted in an Indian Laboratory or foreign laboratory accredited by National accreditation body of respective country. - Type tests conducted in-house by manufacturers shall also be acceptable provided the laboratory is accredited by National | designated laboratories as stipulated in Qualification criteria not older than 10 years as on date of bid submission shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | accreditation body of the country and the tests have been witnessed by a representative of accreditation body/Power utility. The Tenderers shall have to upload the test reports for all the type tests & additional type tests as per technical specifications of the subject tender conducted as per the relevant IS/IEC standards. Note: - In case, type test reports of 48V, 200AH lead acid, Plante type to PLCC equiment, s of ratios other than those specified in the bid are uploaded, the same are acceptable for the ratios of CTs specified in the tender, subject to the condition that the Tenderer shall establish similarity in design and construction between type tested CTs and offered CTs in the event of an award. In case design and construction similarity between the type tested CTs and offered CTs are not established, then the Tenderer shall furnish the type test reports for the ratios of offered CTs at the time of inspection of CTs by KPTCL officers, without affecting the Delivery Schedule and at no extra cost to KPTCL. Bidder shall upload an Undertaking agreeing to this effect along with the bid. - In case, few of the type test reports and additional type test reports specified in KPTCL Technical specification are not available, the same are acceptable for tender evaluation purpose, subject to the condition that, the Tenderer shall upload an undertaking agreeing to submit all the type test reports and additional type test reports specified in KPTCL Technical specification for having conducted type tests at designated laboratories mentioned | Necessary undertaking if applicable shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | above for the highest rating of Battey set in each voltage class specified in the bid, at the time of inspection of Battery setby KPTCL officers, if the order is placed on the Tenderer without affecting the Delivery Schedule and at no extra cost to KPTCL. 3) In the event of an award, the delay in supplies of CTs due to the delay in establishing design similarity as per Sl. No. (1) or due to delay in submission of all type test reports & additional type test reports as per Sl. No. (2) will be to the account of Successful Tenderer and KPTCL shall have no liability whatsoever in this regard. |  |
| 8 | KPTCL at its discretion, may conduct type tests and/or additional type tests as per technical specifications of the subject tender conducted as per the relevant IS/IEC standards at its cost, on a randomly selected Current Transformer by KPTCL officials, at any point of time during the contract at CPRI Laboratory. In case KPTCL opts for conducting type tests and/or additional type tests at CPRI on the randomly selected Current Transformer, the same will be conducted at KPTCL’s cost. Applicable testing charges of CPRI shall be paid by the Current Transformer supplier upfront and the same is reimbursable by the KPTCL as per actual, on submission of bills along with proof of payment, on successful passing of tests. However, the transportation and insurance charges shall be borne by the supplier himself. In case of failure of Current Transformer during testing, the Current Transformer will not be accepted by KPTCL and KPTCL will not reimburse the testing charges of CPRI to the laboratory. Further, the order placed on the Firm will be cancelled and the performance Bank Guarantee will be forfeited and Tenderer | Undertaking agreeing to the criteria & to bear transportation & insurance charges shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | will be de-barred from participating in KPTCL tenders for a period of 1 year. For all the Battery set already supplied, the Tenderer shall furnish an additional two years guarantee and shall extend the validity of Performance Bank Guarantee accordingly. Tenderer shall upload an undertaking agreeing to above criteria and to bear transportation and insurance charges. |  |
| B | Financial Criteria: The Tenderer should have the following financial capacity (the “Financial Capacity”). |  |
| 9 | The Average annual Financial Turnover of the Tenderer for best three years out of last preceding five financial years( 2020-21, 2021-22, 2022-23 , 2023-24 and 2024-25) should not be less than the Amount put to tender i.e Rs. 37.94 Lakhs. However, it shall be Rs. 18.97 Lakhs in respect of Micro & Small Enterprises. | Audited Financial statements i.e., Balance sheets, P&L statements, Turnover certificates duly certified by a Chartered Accountant for the required FYs shall be uploaded. Micro & Small Enterprises shall upload valid MSME (UDYAM) registration certificate obtained from the competent authority certifying that tenderer is a Micro and Small Enterprises shall be uploaded. |
| 10 | The liquid Assets as on last date of previous month of tender inviting date or at a later date before submission of the bid consisting of Cash at Bank+Term deposits+availability of fund based credit facilities in any Nationalized/scheduled Bank shall not be less than 25% of the amount put to tender i.e Rs. 9.50 Lakhs. However it shall be Rs. 4.75 Lakhs in respect of Micro & small Enterprise. | The cash at bank, term deposits and availability of fund based credit facilities shall be supported by a certificate issued by Nationalized/ scheduled Bank shall be uploaded. If the Tenderer has banking with more than one Bank, then the available liquid assets mentioned above on a particular date i.e., as on last date of previous month of tender inviting date or any date before submission of tender shall be the same date for all the banks. In case of Fund based credit facility, the certificate issued by the Nationalized/ Scheduled Bank duly mentioning sanctioned limits, funds utilized so far and balance available as on last date of previous month of tender inviting date or at a later date, before submission of the bid shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
| C] | General Criteria |  |
| 11 | Any Tenderer/ Bidder from a country which shares a land with India will be eligible to bid in this tender only if the Tenderer is registered with the Competent Authority. A certificate for having read the clauses specified in Section-XVI of the tender documents under the heading “Eligibility clauses in respect of restrictions on procurement from a Tenderer/Bidder of a country which shares a land border with India” shall be uploaded by the Tenderer/Bidder in the following format: - “I have read the clause regarding restrictions on procurement from a Tenderer/Bidder of a country which shares a land border with India; I certify that this Tenderer/Bidder is not from such a country or, if from such a country, has been registered with the Competent Authority. I hereby certify that this Tenderer/Bidder, fulfills all requirements in this regard and is eligible to be considered”. (Where applicable, evidence of valid registration by the Competent Authority shall be attached/uploaded.) - “I have read the clause regarding restrictions on procurement from a Tenderer/vendor having Transfer of Technology (ToT) arrangement. I certify that this Tenderer/vendor does not have any ToT arrangement requiring registration with the competent authority". OR “I have read the clause regarding restrictions on procurement from a Tenderer/Bidder/vendor having Transfer of Technology (ToT) arrangement. I certify that this Tenderer/Bidder/ vendor has valid registration to participate in this procurement”. | Registration certificate issued by the competent authority shall be uploaded OR the Self-declaration in the prescribed format shall be uploaded. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | Self-declaration in the prescribed format shall be uploaded. |  |
| 12 | Record of poor performance: The Tenderer will be disqualified if they have a record of poor performance against KPTCL orders such as abandoning the contract, not properly completing the contract, inordinate delays in completion of contract, if the failure rate of the equipment/materials supplied to KPTCL (either through direct orders or through EPC Contractors) placed in the preceding 5 years is more than 10% of the quantities of Battery set supplied. Note: The disqualification applies to similar equipment/materials for which above mentioned poor performance is recorded/observed. | Details of performance of past supplies of Tenderer to KPTCL (either through direct orders or through EPC Contractors) shall be uploaded. |
| 13 | The Tenderer should not have been DEFAULTED in supplies against Purchase Orders placed by any State/Central Generating/ Transmission Utility/ESCOMs/Distribution companies or any Government Electrical Utilities/ PSUs. | The Self-declaration in the prescribed format shall be uploaded. |
| 14 | The Tenderer should not be under order of debarment/Blacklisting from participating in a Tender by any State/Central Generating/ Transmission Utility/ESCOMs/Distribution companies or any Government Electrical Utilities/ PSUs, as on the last date of submission of bids. | The Self-declaration in the prescribed format shall be uploaded. |
| 15 | Litigation History: The Tenderer should provide detailed information on any litigation or arbitration arising out of contracts completed or under execution by it over the preceding five years, A consistent history of awards involving litigation against the Tenderer or any partner may result in rejection of Bid. Self-declaration in this regard shall be uploaded. | The Self-declaration in this regard shall be uploaded. |
| 16 | The Tenderer shall upload the Power of Attorney in the prescribed format on Rs.500/- non-judicial stamp paper. | Power of Attorney in the prescribed format at Section VIII (Appendix C) shall be furnished. |

| Sl. No | Qualifying Requirements (QR) | Documentary evidence to be furnished by the Tenderer |
| --- | --- | --- |
|  | Further Power of Attorney shall be sent in original to Chief Engineer Electy., Transmission(Operation)Zone, Bagalkote so as to reach after the last submission date & on or before the date & time of opening Techno commercial Bids. Note: The offer of the Tenderer shall be rejected in the following cases ; - If the Power of Attorney is furnished on the stamp paper of value below Rs 500/- - In case the date of execution of Power of Attorney is not mentioned. - In case the date of execution of Power of Attorney is prior to the date of purchase of Stamp paper. - In case the Power of Attorney is submitted without the signature of the Power of Attorney holder and signature of the person who has authorized the Power of Attorney holder. - In case tender documents including techno commercial sheets are signed by the different person other than the Attorney holder or the person who has authorized the Attorney holder. |  |
| 17 | The offer of the Tenderers taking deviations in following clauses will be summarily rejected. - Validity of offer. - Earnest Money Deposit. - Contract performance security. - Payment terms. - Guarantee. - Penalty. - Stipulated Delivery Schedule. - Price Basis. - Type Tests. - Change in offered quantity against tendered quantity. | No deviation certificate shall be uploaded. |

Note:

- The Tenderer should fulfill all the criteria detailed in this Clause to qualify in the Technical Tender. If a Tenderer does not fulfill the minimum criteria prescribed herein, the Tenderer shall be disqualified. On such disqualification, the Financial

Tender of such Tenderer will not be opened & will not be considered for further evaluation.

- Though the Tenderer fulfills the above conditions, they are subject to be disqualified if they have made any misleading or false representation in the forms, statements, any attachments in proof of the requirements specified in the eligibility or qualification criteria.

- The Tenderer shall provide all the required information sought under this Tender Document. The Purchaser will evaluate only those Tenders that are received in the required formats and complete in all respects. Incomplete and/or conditional/ alternative Tenders shall be liable to rejection as non-responsive.

- Documents Establishing Goods' Eligibility and Conformity to Tender Documents:

  - The Tenderer shall furnish, as part of its tender, documents establishing the eligibility and conformity to the Tender Documents. The Goods proposes to supply by the Tenderer shall be conforming to technical specifications stipulated in the tender document.

  - The documentary evidence of conformity of the goods to the Tender Documents may be in the form of literature, drawings and data, and shall consist of:

    - A detailed description of the essential technical and performance characteristics of the goods;

    - An item-by-item commentary on the Purchaser’s Technical Specifications demonstrating substantial responsiveness of the goods to those specifications or a statement of deviations and exceptions to the provisions of the Technical Specifications.

- Willful misrepresentation of these facts will lead to the cancellation of the Contract without prejudice of other remedies that the Purchaser may take.

- For purposes of the commentary to be furnished pursuant to Clause 4.2(b) above, the Tenderer shall note that standards for workmanship, material and equipment, and references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications are intended to be descriptive only and not restrictive. The Tenderer may substitute alternative standards, brand names and/or catalogue numbers in its Tender, provided that it demonstrates to the Purchaser’s satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specification.

- In case the deviations and exceptions to the provisions of the Technical Specifications, tender conditions proposed by the tenderer are not agreeable to the purchaser, then the tenderer shall withdraw all such deviations unconditionally, else it may result in rejection of tender submitted by the tenderer.

- All the documents of the Tender should be uploaded on the Karnataka Public Procurement Portal https://kppp.karnataka.gov.in using digital signature with their valid Digital Signature Certificate (DSC) as issued under the Information’s Technology Act, 2000.

- In case the information furnished by the Tenderer/Tenderers is found to be false at any stage of tendering /execution, then KPTCL, at its discretion may take action

against such Tenderer/Tenderers. If false information is found at the Tendering stage, KPTCL may forfeit the EMD paid, disqualify the offer of such Tenderer and

/or Blacklist the Firm. If false information is found at execution stage then KPTCL may cancel the order, forfeit the Bank Guarantee furnished against the performance of the contract, Blacklist the Firm and recover excess money paid by KPTCL (if any).

- If part or full price bid or prices are exposed in the Techno-Commercial Sheets or Techno-Commercial Bid of the Tenderer then, the offer of the Tenderer will be rejected. Prices shall be quoted in Karnataka Public Procurement portal only.

- Notwithstanding anything stated above, KPTCL reserves the right to assess the Tenderer’s capability to perform the work, should the circumstances warrant such assessment in the overall interest of KPTCL.

- The Tenderer may please be noted that the prices are to be quoted in Indian Rupees only inclusive of all applicable custom duty, taxes, duties, freight and insurance.

- Documentary evidence wherever required shall be uploaded. No hard copies will be accepted, except Bank Guarantee for EMD (if applicable) and Power of Attorney as stated above.

-sd/-

Chief Engineer Electy.,

Transmission (Operation)Zone,

KPTCL Bagalkote