## Schedule-I
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
Schedule I: Guaranteed Technical Particulars (TECHNICAL DATA REQUIREMENTS )
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
Guaranteed Technical Particulars (TECHNICAL DATA REQUIREMENTS)
Please fill only in the light blue coloured cells.
Sl. No. | GUARANTEED TECHNICAL PARTICULARS | Units | 48V, 220AH lead acid, Plante type to PLCC equiment, Battery sets
1 | 2 | 3
1 | Type of Cell
2 | Plante/Grid Plate: Type reference:
3 | Nominal Voltage per cell | Volts
4 | Manufacture’s Name
5 | Standards to which battery is manufactured
6 | IS Nomenclature
7 | Number of cells in the battery bank
8 | Nominal Voltage of Battery | Volts
9 | Declared Capacity at 27 degree C upto 1.85 ecv
| i). Initial | AH
| ii). Rated | AH
| iii). End of Life | AH
10 | Rated Capacity at minimum ambient temperature | Ah
11 | Rated Capacity at maximum ambient temperature | Ah
12 | Capacity in AH at various end cell voltages and duration of discharge
E. C. V.
| 5 minutes | 1.62
| 15 minutes | 1.65
| 30minutes | 1.69
| 45 minutes | 1.71
| 1 hour | 1.75
| 2 hour | 1.78
| 3 hour | 1.8
| 4 hour | 1.81
| 5 hour | 1.82
| 6 hour | 1.83
| 7 hour | 1.83
| 8 hour | 1.84
| 9 hour | 1.84
| 10 hour | 1.85
13 | Open circuit voltage of each battery cell
a). Fully charged
b). Floating condition
c). When completely discharged at
i). 10hr. rate
ii). 5 hour rate
iii). 1 hour rate
iv). ½ hour rate
v). 1 Minute rate
vi). 1 second rate
14 | Maximum momentary current for 1 min till 1.60 e.c.v.
15 | Expected life of battery under normal operation & maintenance conditions | Years
16 | Internal Resistance of each cell (IR) | milli ohms
a). at Fully charged condition
b). at Fully discharged condition
c). at Floating condition
17 | Total Resistance of Battery including inter connectors between the cells | Ohms
18 | Loss in Capacity in 21 hours due to self discharge | %
19 | Recommended Charging rate for
a). Float charging
| i. Limit current | A
| ii. Voltage | V
b). Boost Charging
| i. Starting Current | A
| ii. Finishing current | A
| iii. Voltage | V
20 | Trickle Charging Rate
| i. Minimum | mA
| ii. Maximum | mA
21 | Equalizing Charge
| a). Voltage | V
| b). Current | A
| c). Duration | Hrs.
| d). Interval between successive equalizing charge | Months
22 | a). Time to full charge at finishing rate only | Sec
| b). Time to full charge at higher starting rate | sec
| c). Time for full charge to charge by two step charging at starting up and finishing rates | Sec
23 | Recommended Specific gravity of Electrolyte at 27deg. C
a). for first filling
b). at full charge
c). when Battery is discharged at 10 hours rate
24 | Permissible max. temperature of electrolyte
| a). During Initial Charging | deg C
| b). During Normal Charging | deg C
25 | a.Amount of electrolyte and Specific gravity at 27 deg. C
for first filling
b) Electrolyte conforms to Standard
26 | Overall dimensions
| i). Each cell L x W x H (tolerance of +/-2mm in each case) | mm
| ii). Complete Battery | mm
27 | Distance between cell centres | mm
28 | Quantity of Electrolyte per cell | litres
29 | Quantity of Electrolyte for battery (including 10% extra) | litres
30 | Weight (+/-5%)
| Each cell i). without acid | Kg
| ii). With acid | kg
31 | Complete Battery i). without acid | Kg
| ii). With acid | kg
32 | Weight per cell | Kg
| a) Active elements- positive | Kg
| b) Active elements- negative | Kg
c) Container
33 | Total shipping weight of Battery units | Kg
34 | Material and type of Plates
(i). Positive Plates
a). Material and Type
| b). Height of Positive Plate | mm
| c). Thickness of Positive Plate | mm
| d). Area of Positive Plate | Sq.m
e). No. of positive plates per cell
f). Whether positive plates of individual cells are interchangeable
(ii) Negative Plates
a). Material and Type
| b). Height of Negative Plate | mm
| c). Thickness of Negative Plate | mm
| d). Area of Negative Plate | Sq.m
e). No. of Negative plates per cell
f). Whether Negative plates of individual cells are interchangeable
35 | Material and type of Separators
a). Material and Type
| b). Thickness of separator | mm
36 | Clearance between bottom of the plate and the bottom of the container | mm
37 | Clearance between top of the plates and top of container | mm
38 | Clearance between edges of plates and inner surface of container | mm
39 | Sediment space (depth) | mm
40 | Whether explosion vents are offered
41 | Type of Vent and Filling Plugs
42 | Container
| a). Thickness of Container | mm
b). Material of Container & Type
c). Outside dimensions (L x B x H)
43 | Cover
a). Type of cover
b). Material of cover
44 | Connections
45 | Material of Inter-Cell Connectors
46 | Thickness of Inter-Cell Connections | mm
47 | Method of connection
48 | a). Inter-row, Inter-tier connectors and end take-offs furnished?
b). Description, Size, current rating, Type & Material
49 | Connection hardware with 5% extra furnished?
50 | Material of Bolt, Nut and Washer for inter-cell and Cable Connections
51 | Cell insulators provided. If yes, material of insulator | Yes/No
52 | Racks
a). Number of racks per battery
b). Number of cells per rack
c). Type of racks
d). Material of rack
e). Dimensions of the racks
f). Net weight
g). Shipping weight
53 | Racks provided with
a). Numbering tags for cells
b). Insulators
c).Whether anti acid coating is provided
54 | Insulator with 5% extra furnished for
a). Cell
b). Stand
55 | Ventilation requirements
56 | Cubic content of battery rooms | m3
57 | Gas generation per single cell per hour | Lit
58 | No. of air exchanges required per hour
59 | Standard Maintenance accessories provided | Yes/No
60 | Gasification Voltage per Cell | Volt
61 | Characteristic Curves (furnish curve numbers and attach separate sheet)
i). Charge Hours Vs Volts during Boost mode
ii). Discharge hours Vs AH in percent of 10 Hrs. Discharge rate (Capacities at various discharge rates).
iii). Capacity Vs Ambient temperature
iv). Discharge Rate Vs minimum Discharge Voltage
62 | Curves showing the relation between the specific gravity & amount of charge in the battery for both charging & discharging conditions(whether furnished) | Yes/No
63 | Curves showing the relation between cell voltage & charging current when charged at i) finishing rate(whether furnished) | Yes/No
| ii). High starting rate | Yes/No
| iii). Two step charging by starting & finishing rate | Yes/No
64 | Curve of internal resistance at the end of various discharge rates (Whether furnished) | Yes/No
65 | Recommended Max. period of cell storage before the first Charge (After Installation and filling of Electrolyte)
66 | Recommended Storage life of Battery (dry shelf life)
67 | Does the battery meet the required duty cycle curve | Yes/No
68 | Short circuit current at Battery terminals when
a). Float at 2.1 Volts/Cell
b). Boost charge to 2.75 Volts/Cell
69 | Time for which the Battery can withstand short circuit at terminals.
70 | Dimensioned layout drawings of the rack & battery to be attached with the tender. | Yes/No
Note:- Deviations if any from the specifications given here (Schedule-I), which provides for improvement in the functioning of the equipment will be accepted. Such deviations and their advantages shall be clearly brought out in Schedule-II of the tender.
Name
Designation
Name of the Company
Date
Place

## Schedule-II
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- II TECHNICAL DEVIATION
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Please key in the Sl.No., Volume , Section , Clause , Desc as given in Booklet and finally your Statement of Deviation/Variations.
This Sheet would be opened at the Techno-Commercial Opening.
For any further assistance for submitting your bids please call up KPTCL office. Please fill only in the blue coloured cells.
Please don’t insert your Bid values here or else your bid will not be considered for evaluation.
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
If you are not deviating from any of the clauses mentioned please key in as 'NO DEVIATION' in the space provided.
TO, THE CHIEF ENGINEER ELECTY., TRANSMISSION(OPERATIONS)ZONE, KPTCL, Bagalkote
Dear Sir,
I have read each of the Clauses mentioned in NIT, INVITATION FOR TENDERS, INSTRUCTION TO TENDERERS , GENERAL CONDITIONS OF CONTRACT, SPECIAL CONDITIONS OF CONTRACT, QUALIFICATION CRITERIA, SCHEDULE OF REQUIREMENTS, TECHNICAL SPECIFICATIONS with respect to Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/110KV CT/01
The following are the Technical Deviations and Variations from and exceptions to the Specifications and documents of Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/batteryset for Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equipment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading. These deviations and variations are exhaustive.Except these deviations and variations, the material shall be supplied as per specification and documents.
Sl. No. | SECTION | CLAUSE NO. | DESC. AS PER SPECIFICATION | STATEMENT OF DEVIATIONS/VARIATIONS
Note : Deviations specified elsewhere in the specification will not be considered.
Date |  |  | Name of the Firm, Address & GSTIN Number
Place

## Schedule-III
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- III COMMERCIAL DEVIATION
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
Please fill Only in the Light Blue Couloured Box
Please key in the SlNo., Volume , Section , Clause , Desc as given in Booklet and finally your Statement of Deviation/Variations.
This Sheet would be opened at the Techno-Commercial Opening.
For any further assistance for submitting your bids please call up KPTCL Office.
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
If you are not deviating from any of the clauses mentioned please key in as 'NO DEVIATION' in the space provided.
TO, THE Chief Engineer, Electy, Transmission Operations Zone KPTCL Bagalkote
Dear Sir,
I have read each of the Clauses mentioned in NIT, INVITATION FOR TENDERS, INSTRUCTION TO TENDERERS , GENERAL CONDITIONS OF CONTRACT, SPECIAL CONDITIONS OF CONTRACT, QUALIFICATION CRITERIA, SCHEDULE OF REQUIREMENTS with respect to Tender Enquiry No: KPTCL/BGKT/CEE/TZ/2026-27/batteryset for Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equipment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading.
The following are the Commercial Deviations and Variations from and exceptions to the Tender documents of Tender Enquiry No: KPTCL/2025-26/IND0191 for Tender for Design, Manufacture, Testing and supply of total quantity of 771 Nos. of 66kV class Current Transformers of various ratios i.e., 1000-600/1-1-1A, 200-100/1-1-1A, 1600-1000/1-1-1A, 800-400/1-1-1A, 1000-800/1-1-1A, 1200-800/1-1-1A, along with 86Nos. of Marshalling Box conforming to KPTCL technical specification, F.O.R.D at Store/Site basis, including insurance, transportation and unloading.
| SlNO. | SECTION | CLAUSE NO. | DESC. AS PER SPECIFICATION | STATEMENT OF DEVIATIONS/ VARIATIONS
Note : Deviations specified elsewhere in the specification will not be considered.
| Date |  | Name of the Firm, Address & GSTIN Number
Place

## Schedule-4A
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- IV QUALIFYING REQUIREMENT DATA
A) Details to demonstrate Manufacturing experience of 5 years
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
SHEET FOR TECHNO-COMMERCIAL OPENING
Please don’t insert your Bid values here or else your bid will not be considered for evaluation. |  |  |  | Please fill only in blue coloured cells.
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
Following (mentioned below) is the list of earlier orders to demonstrate Manufacturing experience of 5 years Complete in all respects executed by us,details of which are being furnished by us in the support of qualifying requirements of Tender Enquiry No. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
I) Details to demonstrate Manufacturing experience of 5 years
NOTE: Supporting documents to be uploaded
Sl. No. | Name of the Manufacturer | Name of the equipment | Qty. | Purchaser as specified in QR | P.O Ref and Date of Order | Date of Supply | Date of commissioning | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Date |  |  | Name of the Firm, Address & GSTIN Number
Place

## Schedule-4B
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- IV QUALIFYING REQUIREMENT DATA
(B) Details to demonstrate past supplies
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
Following (mentioned below) is the list of earlier orders to demonstrate past supply details Complete in all respects executed by us,details of which are being furnished by us in the support of qualifying requirements of Tender Enquiry No. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
NOTE: Supporting documents to be uploaded
Orders placed by (Full address of Purchaser) | Order No and Date | Description of Goods ordered | Quantity of Goods ordered | Value of Order | Date of Completion of Delivery |  | Remarks indicating reasons for late delivery, | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser)
if any
[5 empty] | As per contract | Actual
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Date |  |  | Name of the Tenderer, Address & GSTIN Number
Place

## Schedule-4C
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- IV QUALIFYING REQUIREMENT DATA
(C) Details to demonstrate satisfactory Performance of equipment for 2 years
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
Following (mentioned below) is the list of earlier orders to demonstrate satisfactory performance of the equipment for 2 years Complete in all respects executed by us,details of which are being furnished by us in the support of qualifying requirements of Tender Enquiry No. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
NOTE: Supporting documents to be uploaded
Orders placed by (Full address of Purchaser) | Order No and Date | Description of Goods ordered | Quantity of Goods ordered | Value of Order | Date of Completion of Delivery |  | Remarks indicating reasons for late delivery, | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser) | Period in years of satisfactory functioning of Goods from the date of commissioning
if any
[5 empty] | As per contract | Actual
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date |  |  | Name of the Tenderer, Address & GSTIN Number
Place

## Schedule-4D
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE- IV QUALIFYING REQUIREMENT DATA
(D) Details of Type test & additional type test reports
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
Following (mentioned below) is the list of type test & additional type test reports of the equipment, which are being furnished by us in the support of qualifying requirements of Tender Enquiry No. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
NOTE: Supporting documents to be uploaded
Name of the equipment | Name of the Laboratory at which Type tests are conducted | Date of Test report | Name of the Test | Test result | Remarks if any
1 | 2 | 3 | 4 | 5 | 6
Date |  | Name of the Tenderer, Address & GSTIN Number
Place

## Schedule-V
SCHEDULE V ASSESSEMENT OF FINANCIAL CAPABILITY OF THE BIDDER
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
1 | Name of the Tenderer
2 | Enquiry No
3 | Details of Material to be supplied
4 | Quantity tendered
Sl.No. | Particulars
1 | Annual Turnover for the last Five years | Sl No. | Year
1
2
3
4
5
2 | Liquid Assets as per Financial Criteria
3 | Capital assets for the last Five years
4 | Current Ratio for the last year
5 | Current Assets
6 | Current Liabilities
7 | Documents to be enclosed. | 1 | Audited Balance sheet for the last Five years
|  | 2 | Banker's /Financial Institutions endorsement for limit of Financial leading.
Date |  |  | Name of the Firm, Address & GSTIN Number
Place |  |  | Desgination

## Schedule-VI
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - VI
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
Sl. No. | Terms & Conditions | As per tender | As per Bidder
1 | 2 | 3 | 4
1 | Name of the Firm | To be furnished by the bidder
2 | Place of Manufacture | To be furnished by the bidder
3 | Scope of the proposal | Refer:SECTION II: A of Introduction of ITT, Scope of Tender
4 | Power of Auttorney for signing the Documents | To be Uploaded by the bidder
5 | Bid Form | To be uploaded
6 | Bid Security/EMD | As per Clause No 12 of NIT
7 | Bid Validity | 180 days from the last date of submission of bids
8 | Manufacturer /Supplier | As per SECTION VII : QUALIFICATION CRITERIA
9 | Experience | SECTION VII : QUALIFICATION CRITERIA
10 | Quantity Tendered / offered | SECTION V: SCHEDULE OF REQUIREMENTS AND DESIRED DELIVERIES
11 | Prices | The tenderer shall quote Firm Price only
12 | Taxes & Levies | as per tender condition
13 | Payment Terms | As per Clause 05 of SCC
14 | Warranty/Guarantee | As per Section III of GCC Cl.No.14
15 | Penalty for delay in supplies | As per Section III of GCC Cl.No.22
16 | Delivery/Completion Schedule | As per Section V of Schedule of requirement & desired deliveries
17 | Termination of contract | As per Section III of GCC Clause No.23
18 | Performance Security | As per Section III of GCC Cl.No.6
19 | Guaranteed Technical Particulars | To be furnished by the bidder as per Technical Specification
Date |  | Name of the Firm, Address & GSTIN Number
Place |  | Desgination

## Check list
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
Tender Enquiry NO. KPTCL/BGKT/CEE/TZ/2026-27/batteryset
Tender for Design, Manufacture, Testing and Supply, installation and commissioning of each cell 24 nos of each 2V ie 48V, 200AH lead acid, Plante type to PLCC equiment, Battery sets under Buy Back Scheme for Operations Division, coming under Transmission Operations Zone, KPTCL, Bagalkote conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading
CHECK LIST FOR QUALIFYING REQUIREMENT
Please make sure that the following supporting document are uploaded without which the tender is liable for rejection.
Sl. No. | Particular | Tenderer’s Compliance
I | Qualification Criteria stipulated in Section-VII | Whether Documentary supports enclosed or not Indicate Yes/NO | Type of documents uploaded
1 | QR regarding status of Tenderer/type of company
For details, refer Section-VII
2 | QR regarding GST registration
For details, refer Section-VII
A | Technical Criteria: The Tenderer should establish their experience (the “Technical Capacity”) as set out below:
3 | QR regarding manufacturing experience of 5 years.
For details, refer Section-VII
4 | QR regarding past supply details
For details, refer Section-VII
5 | QR regarding past performance of equipment
For details, refer Section-VII
6 | QR regarding Guaranteed Technical Particulars of of each rating of material/equipment specified in Annexure-A of the present enquiry in the prescribed format to be uploaded in Techno-commercial sheet.
For details, refer Section-VII
7 | QR regarding type test reports.
Type test reports and additional type test reports.
For details, refer Section-VII
8 | QR regarding repetition of type tests and additional tests in case KPTCL insists.
Relevant undertaking adhering to this QR.
For details, refer Section-VII
B | Financial Criteria: The Tenderer should have the following financial capacity (the “Financial Capacity”).
9 | QR regarding Annual Financial Turnover of the Tenderer
For details, refer Section-VII
10 | QR regarding Liquid Assets
For details, refer Section-VII
C | General Criteria
11 | Self-declaration in the prescribed format as per Section-XVI regarding “Eligibility clauses in respect of restrictions on procurement from a Tenderer/Bidder of a country which shares a land border with India”.
For details, refer Section-VII
12 | Details of performance of past supplies of Tenderer
For details, refer Section-VII
13 | Self-declaration in the prescribed format regarding DEFAULTED in supplies.
For details, refer Section-VII
14 | Self-declaration in the prescribed format regarding debarment/Blacklisting.
For details, refer Section-VII
15 | Litigation History: Self -declaration in the prescribed format regarding litigation history.
For details, refer Section-VII
16 | Power of Attorney in the prescribed format Section VIII (Appendix C) on Rs.500/- non-judicial stamp paper and shall be sent in original to Chief General Manager (Tech), KPTCL, Bangalore so as to reach after the last submission date & on or before the date & time of opening Techno commercial Bids.
For details, refer Section-VII
17 | No deviation certificate.
For details, refer Section-VII
II | Other Details | Whether uploaded or not | Type of documents uploaded
Yes/No
1 | Tender Form in the format prescribed at Section-VIII (Appendix A).
2 | Details of Tenderer in the format prescribed at Section-VIII (Appendix B) along with supporting documents;
3 | Power of Attorney for Signing of Proposal in the format prescribed at Section VIII (Appendix C)
4 | Checklist of documents uploaded by the Tenderer along with the Tender prescribed at Section VIII (Appendix D)
5 | Earnest Money Deposit in the manner and form at Section-IX as specified in Clause 13 of ITT
6 | Technical Capacity of the Tenderer in the format prescribed at Section-XII, along with supporting documents
7 | Equipment And Quality Control Employed By the Manufacturer in the format prescribed at Section-XIV
8 | Techno–Commercial sheets duly filled in, Data requirement sheets/GTP.
9 | All other relevant documents/ undertakings/declarations/details specified in the Tender document.
Date |  | Name of the Tenderer, Address & GSTIN Number
Place |  | Desgination