# Schedule B [Price Bid]

| IFB No / Tender Notice No |  | : BVNC/TECH-1/TN – 11/2026 |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Project |  | Tender for Labour work of Rectification Work, New Connection, service MMB replacement “F” meter repl. and consumer misc work for Various Feeder at DIAMOND CHOWK S.Dn, Under City Division -1, Bhavnagar |  |  |  |
| Sr. No | Item Description |  | Qty. | Unit |  |
| 1 | Labour charge for replacement / providing of meter and Meter Box |  |  |  |  |
| 1a | 1 Phase Conn |  |  | Number | 119.63 |
| 1b | 3 Phase Conn |  |  | Number | 156.10 |
| 2 | Replacement of meter / providing only |  |  | Number |  |
| 2a | 1 Phase Conn |  |  | Number | 46.68 |
| 2b | 3 Phase Conn |  |  | Number | 72.94 |
| 3 | Labour Charge For Installation Of 3 Phase Meter Box & 3 Phase Meter On T.C. Complete In All Respect Including Carting Of Materials From Respective Store As Per Instruction Of Engineer Incharge. |  |  |  |  |
| 3a | In City Area |  |  | Number | 492.86 |
| 4 | Single Phase Meter, SMC & Service Shifting Work |  |  | Number | 448.05 |
| 5 | Replacement of service lines with MMB and meters with all acceseries as under: |  |  |  |  |
| 5a | 1 Phase Conn. Replacement of service lines with Meter Box Et meters by using G.I. Wire No. 8/10, Real insulator at the distance of 1.0 Mtr., two nos of egg insulator, wall fast, service angle, PVC Service pipe etc.at equal vertical distance with giving connections of service. |  |  | Number | 447.87 |
| 5aa | -do-without meter box and meter |  |  | Number | 328.24 |
| 5b | 3 Phse Conn. Replacement of service lines with Meter Box & meters by using G.I. Wire No. 8/10, Real insulator at the distance of 1.0 Mtr., two nos of egg insulator, wall fast, service angle, PVC Service pipe etc.at equal vertical distance with giving connections of service. |  |  | Number | 529.56 |
| 5bb | --do-- without meter box and meter |  |  | Number | 374.92 |
| 6 | Labour charge for replacement of Meter Box without meter |  |  |  |  |
| 6a | 1 Phase Conn. |  |  | Number | 83.15 |
| 6b | 3 Phase Conn. |  |  | Number | 109.41 |
| 7 | PROVIDING SINGLE PHASE SERVICE CONNECTION (FOR SOLAR GENERATION METER, HIGH RISE BUILDING, COMPLEX ETC.)WITH PVC 2.5/4.0 MM2 TWIN CORE CABLE FROM COMMON BUS BAR TO METERING POINT INCLUDING FIXING OF METER & COMPLETE WORK AS PER STANDARD SPECIFICATION BUT EXCLUDING COST OF MATERIALS |  |  | Number | 119.48 |
| 8 |  |  |  |  |  |
|  | PROVIDING THREE PHASE 4 WIRE SERVICE CONNECTIONS (FOR SOLAR GENERATION METER, HIGH RISE BUILDING, COMPLEX ETC.) WITH PVC 4MM2/10MM2 FOUR CORE CABLE FROM BUS BAR TO METERING POINT INCLUDING FIXING OF METER & COMPLETE WORK AS PER STANDARD SPECIFICATION BUT EXCLUDING COST OF MATERIALS NOTE: 75% LABOUR CHARGE WILL BE DEDUCTED IF PAINTING IS NOT DONE. |  |  | Number | 156.52 |
| 9 | PROVIDING SINGLE PHASE SERVICE CONNECTION WITH PVC 2.5/4.0 MM2 TWIN CORE CABLE FROM TERMINAL POLE TO METERING POINT WITH METR EARTHING INCLUDING FIXING OF METER & COMPLETE WORK AS PER STANDARD SPECIFICATION BUT EXCLUDING COST OFMATERIALS BUT INCLUDING COST OF JUSTI KHILA. |  |  | Number | 338.19 |
| 10 | PROVIDING THREE PHASE 4 WIRE SERVICE CONNECTION WITHPVC 4MM2/10MM2 FOUR CORE CABLE FROM TERMINAL POLE TO METERING POINT INCLUDING FIXING OF METER &COMPLETE WORK AS PER STANDARD SPECIFICATION BUT EXCLUDING COST OF MATERIALS BUT INCLUDING COST OF JUSTI KHILLAS, NUTS Et BOLTS |  |  | Number | 465.51 |

|  | Executive Engineer PGVCL, City 1 Division Office, Bhavnagar |
| --- | --- |

General Terms and Conditions for Bidders

- The bidder shall carefully examine all tender documents, specifications, terms, and conditions before submitting the bid.

- Submission of a bid shall be deemed as acceptance of all terms and conditions of the tender.

- The bidder shall furnish all required information and documents as specified in the tender.

- Any bid found to be incomplete, conditional, misleading, or not complying with the tender requirements may be rejected.

- The bidder shall keep the bid valid for the period specified in the tender document.

- The successful bidder shall execute the work strictly in accordance with the contract conditions, specifications, and instructions issued by the competent authority.

- The bidder shall comply with all applicable laws, regulations, safety requirements, and statutory obligations.

- The undersigned reserves the right to accept or reject any bid, wholly or partly, and to annul the bidding process at any stage without assigning any reason thereof.

- The undersigned further reserves the right to accept or reject any or all bids received, and the decision of the undersigned shall be final and binding on all bidders.

- No claim, compensation, or correspondence shall be entertained from any bidder on account of such acceptance, rejection, or cancellation of the tender process.

- In case of any dispute regarding interpretation of the tender conditions, the decision of the undersigned shall be final and binding

Following documents are mandatory for the Bidders.

- Copy of All Tender copies duly signed and stamped on each page.( without tender copy bid will not be accepted)

- Attested Copy of successful work Completion of similar type catagory / Experience certificate.

- Vender registration

- Electrical contractors license

- Workman compensation

- No case pending affidavit

- Attested copy of PAN card in the name of bidder.

- Attested copy of GST

- Attested copy of document showing P.F. Number obtained by the bidder.

- Annexure ‘A”-All detail of Bidder ( name address, contact no, E mail add etc.)

- Relation with PGVCL Employee Declaration

- Attested copy of Memorandum of Association or partnership deed. (If applicable)

- Attested copy of power of attorney if any for signing the bid documents. (If applicable)

- RTGS / NEFT original transaction slip / Screenshot of tender fees should be uploaded with the bid online.

- RTGS / NEFT original transaction slip / Screenshot of EMD should be uploaded with the bid online.

Solvency certificate (20% of tender amount) issued by scheduled/nationalized band or    RBI dully attested

Executive Engineer

City 1 Divn Bhavnagar