MUNICIPAL CORPORATION RISALI DISTT-DURG (C.G.)

E-Procurement Tender Notice

Main Portal: https://eproc.cgstate.gov.in

System NO       193310          NIT NO   121   PWD/RISALI/2026                                                                  (1st Call)

Online bids are invited for the following works of Items up to:

Start Date and Time 17.06.2026 at 17.30hours. (IST) on wards.   Last Date and Time   Date  09.07.2026 at 17:30 hours.

Name of Work:-  CITY BEAUTIFICATION UNDER SOLID WASTE MANAGEMENT NEAR BAJRANGI BALI MANDIR SHANTI NAGARWARD NO;- 36 ,NEAR BODHI SAHU HOUSE , INDRA NAGAR NEAR CANAL , WARD NO;- 37 , RISALI NEAR DUMP CHOWK , WARD NO ;- 38 , NEAR HANUNAM MANDIR NSPCL GATE , WARD NO;- 39 , NEAR GOKUL CHOWK , WARD NO ;- 40 , RISALI ( C. G)

| Amount of the Estimate | - | Rs 47.36 LACS |
| --- | --- | --- |

The details can be viewed and downloaded online directly from the Government of Chhattisgarh                        e-Procurement Portal https://eproc.cgstate.gov.in  from 17.06.2026_at 17:31___ Hours. (IST) on wards. physical submission of EMD and affidavit Envelope A (by speed post) Last date 13.07.2026 at 17:30___ Hours.

For more details on the tender and bidding process you may please visit the above mentioned portal.

NOTE: -

- All eligible/interested contractors are mandated to get enrolled on e-Procurement portal (https://eproc.cgstate.gov.in)

- Contractors can contact Help Desk for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Mjunction Services Limited, HelpDesk Toll Free No.18002582502 (From 9.00 AM to 11.00 PM) helpdesk.eproc@cgswan.gov.in

Executive Engineer

MUNICIPAL CORPORATION RISALI

Endt No.          				                      				   	Dated: __________

- .......................................

- .......................................

- .......................................

- Notice Board.

Executive Engineer

MUNICIPAL CORPORATION RISALI

MUNICIPAL CORPORATION RISALI DISTT-DURG (C.G.)

Notice Inviting Tender

MUNICIPAL CORPORATION RISALI DISTT-DURG (C.G.) invites Online Tenders for and on behalf  MUNICIPAL CORPORATION RISALI DISTT-DURG (C.G.) for P.W.D. Building S.O.R 01.01.2015, Road S.O.R. 01.02.2025 and Electrical 01.06.2020 percentage rate and Non S.O.R. Item rate AND Amendment issues applicable up to date of issue of NIT and item rate in form ‘A and B from …… D…… class and above contractors of registered in E-Registration (Single window registration applicable) under Chhattisgarh Government for similar work on  E-Procurement System https://eproc.cgstate.gov.in .As per Key Dates mentioned all other conditions for submission of tender and criteria for qualifications etc. have been mentioned in the tender documents.

Work Details:- CITY BEAUTIFICATION UNDER SOLID WASTE MANAGEMENT NEAR BAJRANGI BALI MANDIR SHANTI NAGARWARD NO;- 36 ,NEAR BODHI SAHU HOUSE , INDRA NAGAR NEAR CANAL , WARD NO;- 37 , RISALI NEAR DUMP CHOWK , WARD NO ;- 38 , NEAR HANUNAM MANDIR NSPCL GATE , WARD NO;- 39 , NEAR GOKUL CHOWK , WARD NO ;- 40 , RISALI ( C. G)

Estimate:- Rs 47.33 LACS

- Time allowed for completion:- 06 MONTHS

- Earnest Money Deposit:-  Rs.35500- (EMD(FDR) Offline   in favor of  Executive  Engineer,  Municipal corporation Risali)

General Terms and Conditions: -

- In order to participate in the tenders floated using the e-Procurement System, all contractors/bidders are required to get enrolled on the e-Procurement portal (https://eproc.cgstate.gov.in)

- The bids submitted online should be signed electronically with a Digital Certificate to establish the identity of the bidder bidding online. The registered contractors may obtain information required to issuance of Digital Certificate from e-Procurement system Help Desk, for any clarification of their doubts regarding the process of Electronic Procurement System.  from M/s. Mjunction Services Limited, HelpDesk Toll Free No.18002582502 (From9.00AMto11.00PM)helpdesk.eproc@cgswan.gov.in.

- For submitting the bids online, the contractors/bidders are required to make online payment using the electronic payments gateway service Bid Hash Submission Fee as mentioned above The different modes of electronic payments accepted on the e-Procurement System is available and can be viewed online on the e-Procurement Website (https://eproc.cgstate.gov.in).

- Tender Download, Submit Bid Hash online, Submission of Bids, EMD and other Documents and other activities will be governed by the time schedules given under “Key Dates”.

- Physical Submission of EMD(FDR) and affidavit Municipal Corporation, Risali (C.G.) at Dated  13.07.2026 Time 5.30 PM. address of NAGAR PALIK NIGAM RISALI B.S.P SCHOOL NO. 35

- Conditions related to e-Procurement are furnished in “Annexure–O” of tender document and will overrule other conditions wherever applicable/relevant.

- The Bidders has to submit (Upload Scan Copies/fill) his offer/credentials online as required in the tender in the online templates in relevant envelopes.

- The Municipal Corporation reserves the right to reject any part of/whole tender 
without assigning any reason and to restrict the list of pre-qualified tendered to any 
number deemed fit by it.

- EMD and affidavit Envelop-A and other document online

- If any pre-qualified tendered withdraws his offer before the validity period or 
makes/propose any modifications in the terms and conditions of the tender, the said 
earnest money shall stand forfeited.

- Before the deadline for submission of tender the Commissioner Municipal Corporation Risali may modify the tender document by issuing amendment.

- Any amendment thus issued shall be part of the tender and shall be published on web 
site.

- Commissioner Municipal Corporation will open the envelope containing pre 
qualification document received (except those received late) in the presence of the 
tenderer(s) /representatives who choose to attend at the time, date and place specified 
in the Notice inviting tender.

- The authorized committee consisting of the Commissioner Risali Municipal 
Corporation , concern Executive Engineer and the Account officer of the Risali
&/or the designated officer will prepare minutes of the prequalification opening and 
shortlist/approve the qualified tenderers.

- Envelope containing Earnest money, other required documents of qualified tenderer 
shall be opened online on the prescribed date and time as per Notice Inviting Tender. 
After verification of proper and valid Earnest money and other required documents 
financial offers of such qualified bidders shall be opened online by the Commissioner, 
Risali Municipal Corporation in the presence of the tenderer (s)/ representative 
who choose to attend at that time.

- “Additional performance shall be deposited by the successful bidder at the time of 
signing of agreement when the bid amount is seriously unbalance. i.e. less than the 
estimated cost by more than 10% in such an event the, successful bidder will deposit 
the additional performance security to the extent of differential cost of bid amount and 
90% of the estimated cost in shape of FDR of Nationalized Bank, post office saving 
bank account/National saving certificate/ Post Office time deposit account in favour of 
Commissioner Municipal Corporation Risali in Additional to MED failing 
which the tender in this favour shall be liable for Rejection.”

- All document and certificates Seal and Signature Self Attested must be submitted in Online and physically

- Other Details can be seen in the tender documents.

- Cess @ 1% (One Percent) shall be deducted at source, from every bill of contractor under Building and other construction for workers welfare, Cess act – 1996

- Water charges will be charged as per rules of Municipal Corporation, Risali

- The Bidders may refer Help Manual available online to perform there online activities.

The bids of the contractors have to be digitally signed by the Digital Certificate of the Contractor before submitting the bids online. All the contractors are required to submit Envelope A physically containing the following :-

Envelope A (offline)
1. The Earnest Money Deposit (EMD) as specified in the Tender-documents.

2. NON BLACKLISTED AFFIDAVIT in 100Rs. Stamp Paper.

(online) Document
2.  Attested copy of Registration certificates.

- Attested copy OF PAN CARD, GST, ITR.Aadhar Card

- Attested copy of valid Solvency certificate (15% OF TENDER AMOUNT) or registration amendment certificate in respect of submission of interest bearing instrument as security.

COMMISSIONER,  MUNICIPAL CORPORATION RISALI DISTT-DURG (C.G.)
Note: - All eligible/interested contractors are mandated to get enrolled on the eProcurement portal ((https://eproc.cgstate.gov.in).in order to download the tender documents and participate in the subsequent bidding process. 
For any other queries regarding online registration on the above mentioned website and digital certificate, please contact to: 
M/s. Mjunction Services Limited, HelpDesk Toll Free No.1800 258 2502 (From 9.00 AM to 11.00 PM) helpdesk.eproc@cgswan.gov.in

NIT Detail

| S.NO | BOQ Desc | Quantity | UOM |
| --- | --- | --- | --- |
| 1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. | 269.47 | cum |
| 2 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | 45.36 | cum |
| 3 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size) | 59.41 | cum |
| 4 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 56.77 | cum |
| 5 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for:Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. | 467.13 | sqm |
| 6 | Column, Pillars, Piers and likes- rectangular or square in shape. | 187.68 | sqm |
| 7 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:Thermo-Mechanically treated bars FE 415 | 4203.20 | kg |
| 8 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 40 in foundation and plinth in:Cement Mortar 1:6 (1 cement : 6 coarse sand) | 167.13 | cum |
| 9 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix:In Cement Mortar 1:6 (1 cement : 6 fine sand) | 1558.40 | sqm |
| 10 | Providing and applying of Acrylic primer on all surface applied @0.80 litrs/10 sqm as per relevant I.S. code 15489:1974 ( Product such as Asian Spark/suprimo , J.K. Primer, Dulux Acrylic Primer) with all tools tackles andlabour etc. complete for the work. | 1232.00 | sqm |
| 11 | Providing and applying on exterior surface with ECONOMY Exterior Emulsion paint of required shades to give protective and water proof finish minimum three coats applied @ 1.43 lit / 10Sqm up to final finish as per relevant I.S, Code 15489:2013 Type -2 Class D,C (Glossy /Semi Glossy finish ) (Product such as Asian Ace,Dulux Promise Exterior Berger Wall Masta ,Nerolac Suraksha Plus , Nippon Shogun Opus, One Style Power Bright) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work (With 2 Year Warranty) | 1540.19 | sqm |
| 12 | Surface dressing of the ground including removing vegetation and making up undulations and in-equalities not exceeding 15 cms in depth/ height including disposal of rubbish upto 1.5 m lift and lead upto 50m (at least 5m away from the dressed area). | 102.00 | sqm |
| 13 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size). | 10.20 | cum |
| 14 | White washing/ Colour washing with lime to give an even Sqm shade in Three or more Coats for New surface as per relevant IS code 6278:1971 Consumption of lime 3.50kg /10 Sqm with all tools tackles and labour etc. complete for the work. | 326.40 | sqm |
| 15 | Providing and applying Acrylic washable Distemper or lite economy Plastic emulsion paint having VOC content less than 50gms/ lit Minimum two coats up to final finish applicd @ 1.25 Kg/ 10Sqm as per relevant L.S. Code 428:2000 (product such as Tractor Uno, Dulux Duval, Berger Bison, Opus Style/lite economy emulsion product such as Asian Tactor Spark -Dulux Pomise sheen, Neroloc Litil Master, Berger Bison Lite, Nippon Superio.) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour complete for the work. | 326.40 | sqm |
| 16 | Providing and placing in position angle iron post and strut of required size including bottom to be split and bent at right angle in opposite direction for required length and drilling holes upto 10 mm dia as per requirement including priming coat with red oxide zinc chromate primer and placing the post/ strut in cement concrete block.Angle 50x50x5 @ 3.8 kg/m | 2736.93 | kg |
| 17 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 3747.00 | kg |
| 18 | Providing stainless steel railing/ grill made of S.S. flats, hollow S.S. pipe or square/ rectangular sections of approve design fixing in stair case,SS Grade 304 | 1500.00 | kg |
| 19 | Cement art Mural work | 262.35 | sqm |
| 20 | Steel work in tubular (round, square or rectangular hollow tubes etc.) structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer.Electric resistance or induction butt welded tubes Grade-250 kg | 750.00 | kg |
| 21 | Supplying, installation, testing and commissioning of Acrylic LED light (a) Specification of Acrylic 3 mm thick x 3 " width x 4 " depth *(imbose)(b) Specification of LED modules :- Each Moduel should have 6 LED of 1 watt | 75.00 | Sq.Ft |
| 22 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. (1:2:4)1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 9.36 | cum |
| 23 | Providing & laying 60mm thick precast interlocking concrete blocks of approved size (approx 305 sqcm) and shape/ pattern, over 40 mm thick average complete coarse sand bed with joints of 3mm thick filled by fine sand including leveling with surface vibrator, temping and sweeping etc. complete of minimum compressive strength of 250 kg/sq.cm Pigment Coloured (rubber mould) precast interlock concrete blocks | 234.03 | cum |
| 24 | Supplying , installation , testing,and commissioning of following 230/250 volts LED POST TOP Lantern fitting with perplex cover/decorative diffuser, electronic ballast and all other accessories on existing gate column/pole bracket,including connection,earthing etc complete as per specification and p.f. should be greater than 0.9 LED chipefficancy ratio ≥ 100 lumen/watt. | 7.00 | each |
| 25 | Supply of swaged steel tubular pole as per IS 2713 with base plate of size 300x300x6mm welded at bottom, necessary hole for cable entry and earthing stud welded at specified height including painting with one coat of red oxide zinc chromate primer.Designation 410 SP-8 height 7.50 metre | 7.00 | each |
| 26 | Supplying, installation, testing and commissioning of following LED Strip Light fitting complete with Electronic Driver Heat sink Capacitor and all other accessories, including connection, earthing etc complete as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. IP-6515 watt per metre LED Strip | 49.00 | meter |
| 27 | Palm tree | 4.00 | each |
| 28 | Providing and applying Textured paint one primer coat & 2 coats finsihed with approved Texture & shade and colour for external walls (Concrete walls) including scaffolding complete as specified including all other necessary related work, leads & lifts etc.,as specified in the drawings, specifications and as directed by Project Manager. Rate is inclusive of surface preparation to line & level with all necessary tools & tackles, etc. maintaining proper line, level and grooves, as specified Providing two coats of painting with exterior grade weathershield Emulsion paint of approved brand, shade & manufacture over a coat of primer including preparing the surface to receive the paintings for External walls at all levels with primer etc., complete as specified including all other necessary related work, leads & lifts etc.,as specified in the drawings, specifications and as directed by Project Manager. Rate is inclusive of surface preparation to line & level with all necessary tools & tackles, etc. maintaining proper line, level and grooves, as specified | 262.35 | sqm |

Key Dates :-

1. Tender Release –17.06.2026 ,17:30
2. Tender Download, Bid Preparation & Payment -09.07.2026 ,17:30
3. Physical Submission of Required Documents with EMD fee -13.07.2026 ,17:30
4. Commercial/Price Bid Opening and Shortlisting –14.07.2026, 11:00

Executive Engineer

MUNICIPAL CORPORATION RISALI