## Sheet1
NIT Schedule For Construction Of 'E' Type Residential Quater For Judecial Staff At Dongargarh
|  |  | PAC Rs. |  | 49.6803 | Lacs
NIT Schedule
Sl. No. | SOR It No. | Particulars | Quantity | Unit | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 1.2 | Surface dressing of the ground including removing vegetation and making p undulations and in-equalities not exceeding 15 cms in depth/ height including disposal of rubbish upto 1.5 m lift and lead upto 50m (at least 5m away from the dressed area). | 600 | Sqm | 7.2 | 4320
2 | 1.1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. In all types of soil | 526.8388 | cum | 185 | 97465
3 | 1.6.1 | Extra for every additional lift of 1.5 m or part thereof. All types of soil | 109.9 | cum | 26.5 | 2912
4 | 3.1.3 | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work. 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | 75.0724 | cum | 2970 | 222965
5 | 1.18 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | 188.4835 | cum | 371 | 69927
6 | 1.17 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | 475.5765 | cum | 65 | 30912
7 | 3.2.1 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | 157.5419 | Cum. | 4163 | 655847
8 | 3.4 | Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 2.52 | Cum | 4260.5 | 10736
9 | 3.4 | Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 66.1037 | Cum. | 97.5 | 6445
10 | 3.12.1 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete: Thermo-Mechanically treated bars FE 415 | 14423.5728 | kg | 54.5 | 786085
11 | 9.37 | Providing and fixing M.S. fan clamp/hook for ceiling fan made out of 16 mm dia M.S. bar bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop. | 23 | Each | 97 | 2231
12 | 12.1 | Applying cement slurry on R.C.C. slab or cement concrete work using 2.75 kg/ sqm for receiving cement concrete floor including roughening cleaning etc complete. | 258.005 | Sqm. | 34 | 8772
13 | 3.14 | Providing and mixing water proofing material in PCC/ RCC work in the proportion recommended by the manufacturer. | 25.8005 | Kg. | 43.5 | 1122
14 | 3.16 | Making 50mm thick plinth protection of plain cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded crushed stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with sand including finishing the top smooth. | 82.2 | sqm | 273 | 22441
15 | 1.25.1 | Diluting chemical emulsion (chlorpyrifos/ lindane) in water as per manufacturers recommendation and injecting for pre-constructional curative cum preventive anti-termite treatment:(Five year service guarantee bond to be signed by contractor) Surface treatment by spreading emulsion under floor, over the plinth area before laying base concrete @ 5 litres / sqm | 205.9402 | sqm | 27.5 | 5663
16 | 3.13 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | 2.5834 | cum | 4237 | 10946
17 | 2.1.1 | Providing and fixing formwork including centering, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Foundations, footings, base of columns and plinth beam in any shape and size. | 442.7088 | sqm | 139 | 61537
18 | 2.1.5 | Columns, Pillars, Piers and likes- rectangular or square in shape | 222.984 | sqm | 297 | 66226
19 | 2.1.8 | Beams, lintels, cantilevers & walls | 222.943 | sqm | 202 | 45034
20 | 2.1.13 | Weather shade, chhajja, Cornices and mouldings | 10.95 | sqm | 294 | 3219
21 | 2.1.7 | Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | 304.7712 | sqm | 235 | 71621
22 | 7.5.4 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand) | 214.1498 | cum | 3263 | 698771
23 | 7.5.3 | Cememt Mortar 1:5 ( 1 cement : 5 coarse sand) | 11.52 | cum | 3350 | 38592
24 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 110.8757 | cum | 121 | 13416
25 | 9.38 | Providing and fixing broken glass 100 mm high in spacing not more than 40 mm both ways and laid in 50 mm thick (average) cement mortar 1:4 (1 cement : 4 coarse sand ) over compound walls, prapet walls and the like. | 14.198 | sqm | 268 | 3805
26 | 3.13 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | 2.631 | cum | 4237 | 11147
27 | 3.16 | Making 50mm thick plinth protection of plain cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded crushed stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with sand including finishing the top smooth. | 105.39 | sqm | 273 | 28771
28 | 7.11.2 | Half brick thick brick masonry with fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in superstructure above plinth level upto plinth level: Cement Mortar 1:4 (1 cement : 4 coarse sand) | 20.967 | sqm | 382 | 8009
29 | 7.12 | Extra for half brick work in superstructure above plinth level for every story or part thereof in addition to rate for upto plinth level: | 1.44 | sqm | 11 | 16
30 | 11.3.4 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: In cement Mortar 1:6 (1 cement : 6 fine sand) | 660.9915 | sqm | 107 | 70726
31 | 11.3.3 | In cement Mortar 1:5 (1 cement : 5 fine sand) | 38.4 | sqm | 113 | 4339
32 | 11.3.1 | In cement Mortar 1:3 (1 cement : 3 fine sand) | 28 | sqm | 134 | 3752
33 | 11.1.2 | Providing and making 6mm thick cement plaster of mix: In Cement mortar 1:4 (1 cement : 4 fine sand) | 303.5312 | sqm | 87 | 26407
34 | 11.2.4 | Providing and making 12mm thick cement plaster of mix: In Cement Mortar 1:6 (1 cement : 6 fine sand) | 876.423 | sqm | 91.5 | 80193
35 | 11.2.3 | In Cement Mortar 1:5 (1 cement : 5 fine sand) | 41.28 | sqm | 96.5 | 3984
36 | 11.5 | Neat cement punning | 105.39 | sqm | 33 | 3478
37 | 9.13 | Providing and fixing steel door/ window with M.S. sheet 1mm thick, frame of angle iron, diagonal braces of angle/ flat iron of suitable size, 3.00 mm M.S. gusset plates at junctions and corners, all necessary fittings complete including applying a priming coat of red oxide zinc chromate primer. | 94.5 | Kg. | 75 | 7088
38 | 9.11 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rails of T-iron 40x40x6mm with 38mm steel pulleys complete with bolts, nuts, locking arrangement stoppers, handles including applying a priming coat of red oxide zinc chromate primer. | 6.3 | sqm | 3330 | 20979
39 | 9.27.1 | Supplying and fixing rolling shutter of approved makes made of M.S. laths interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and out side locking with push and pull arrangement complete but excluding the cost of top cover and spring. 80x1.25mm M.S. Laths | 6.75 | sqm | 1691 | 11414
40 | 9.28 | Providing and fixing 27.5cm long wire spring for rolling shutters. | 2 | Each | 362 | 724
41 | 9.29 | Providing and fixing M.S. sheet top cover for rolling shutter 1.25mm thick | 3 | sqm | 540 | 1620
42 | 9.16.2 | Providing and fixing M.S. frames of doors, windows, ventilators and cupboards joints mitred and welded with 15x3 mm lugs 10cm long embedded in cement concrete blocks 15x10x10cm of grade M-10 or with wooden plugs and screws or with dash fastener or rawl plugs and screws or with fixing clips or with bolts and nuts as required including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. Angle-iron frames | 931.725 | Kg. | 73.5 | 68482
43 | 8.12.2 | Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges. 35 mm. thick (single leaf) | 30.6 | sqm | 2005 | 61353
44 | 8.15 | Extra for double leaf shutter instead of single leaf. | 7.56 | sqm | 52 | 393
45 | 9.15 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | 864.24 | kg | 67.5 | 58336
46 | 8.148.2 | Providing and fixing factory made UPVC door frame made of UPVC profile section having an overall dimension as below (tolerance ± 1mm) with wall thickness 2.0mm ± 0.2mm, corners of the door frame to be jointed with galvanized brackets and stainless steel screws, joints mitred and plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19mm and 1mm ± 0.1mm wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturers specification and direction of Engineer-in-charge Extruded section Profile size 42x50 mm. | 24.75 | Mtr. | 196 | 4851
47 | 8.15 | Providing and fixing factory made 25mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762mm X 25mm or less as per requirement with an average wall thickness of 1mm ± 0.3mm. PVC foam end cap of size 23x10mm are provided on both vertical edges to ensure the overall thickness of 25mm.An M.S. tube having dimensions 19mm x 19mm is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25mm X 11mm. Door shutter shall bereinforced with special polymeric reinforcements as per manufactures' specification. | 7.5 | sqm | 2583 | 19373
48 | 8.112.1 | Providing and fixing powder coated M.S. sliding door bolts with bolts, nuts and necessary iron screws: | 48 | Each | 135 | 6480
49 | 8.115.2 | Providing and fixing powder coated M.S. tower bolts (Barrel type) with necessary iron screws: 200 x10mm | 48 | Each | 33.5 | 1608
50 | 8.116.1 | Providing and fixing powder coated M.S. handles with necessary iron screws: 125 mm | 48 | Each | 61.5 | 2952
51 | 8.124.2 | Providing and fixing hanging aluminium door stopper with necessary nickel plated iron screws etc complete. Double | 48 | Each | 37 | 1776
52 | 9.47.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately: For fixed portion | 321.6 | kg | 331 | 106450
53 | 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | 292.446 | kg | 338 | 98847
54 | 9.51.2 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness | 53.172 | sqm | 708 | 37646
55 | 9.6.1 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. In stringers, treads, landings etc. of stair cases including use of chequered plate wherever required, all complete. | 484.2 | kg | 70 | 33894
56 | 9.35.3 | Providing and fixing approved pipe hand rail by welding to iron railing including applying a priming coat of red oxide zinc chromate primer. G.I. pipe | 78.4 | kg | 93 | 7291
57 | 12.3.2 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement. 50 mm thick | 29.028 | sqm | 254 | 7373
58 | 12.9.1 | Providing and laying ceramic glazed floor tiles conforming to IS : 15622 of approved size, make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc., complete. Size 300x300mm | 34.235 | sqm | 692 | 23691
59 | 12.7.1 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete. Size Upto 200x300mm | 60.264 | sqm | 587 | 35375
60 | 12.79.1 Amn. | Providing and laying DOUBLE / MULTI CHARGED (Minimum 2 mm thick layer) vitrified floor tiles with water absorption less than 0.5% and conforming to IS : 15622 2017 of 1st quality of approved make in all colours and shades and size mentioned below (+/- 10mm), laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete. Size 600x600mm thickness 9 to 10 mm | 174.1662 | sqm | 1082 | 188448
61 | 12.37.1 | Chequerred precast cement concrete tiles 22mm thick in footpath & courtyard jointed with neat cement slurry mixed with pigment to match the shade of tile including cleaning of joint etc complete on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) : Light shade using white cement | 13.5 | sqm | 640 | 8640
62 | 12.39.5 | 15mm thick Marble stone slab in, tread & risers of steps, skirting, dado, walls and pillars on 12mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) and jointed with grey cement slurry including matching pigment, rubbing and polishing etc. complete. (single stone is to be used for risers and treads of steps and width of stone for skirting and dado shall be equal to the height of skirting & dado and length of 1.0 M). Udaipur green marble | 53.0675 | sqm | 1576 | 83634
63 | 10.61 | Providing and fixing at all height false ceiling consisting of frame work "W"/ "U" / "L" sections made of G.I. sheet with zinc coating of grade 120 consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm running at the rate of 1200mm centre to centre to which the ceiling section 0.5mm thick button wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm diax230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and perimeter channels 0.55mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed including providing and fixing 12.5 mm thick tapered edge gypsum board conforming to IS: 2095- Part-I all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting. | 122.4412 | sqm | 658 | 80566
64 | 14.14.1 | Finishing walls with water proofing cement paint of required shade to give an even shade. On new work (Two or more coats applied @ 3.84 kg/10 sqm) | 784.1925 | sqm | 41 | 32152
65 | 14.9.1 | Distempering with acrylic washable distemper to give an even shade. On new work (Two or more coats) | 1502.7117 | sqm | 38 | 57103
66 | 14.13 | Providing and applying 2mm thick ready mix exterior grade approved make putty (like Birla wall care, Alltek Superfine W/R of (NCL), Asian, ICI, Nerolac, J.K. wall putty) on walls to make the surface smooth and even. | 727.344 | sqm | 94.5 | 68734
67 | 14.22.1 | Painting on new work (two or more coats) to give an even shade with: Satin synthetic enamel paint | 68.572 | sqm | 55 | 3771
68 | 14.25 | Providing and laying French sprit polish on new wood work after preparing the surface by rubbing down smooth with sand papers, covering the knots, if visible, applying a coat of wood filler, cleaning the surface, applying 50 or more coats of French spirit polish till the surface gives high gloss. | 61.2 | sqm | 143 | 8752
69 | 18.76.2 | Providing and fixing on wall face UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion 110 mm dia pipe. | 79 | metre | 267 | 21093
70 | 18.76.1 | 75 mm dia pipe | 70 | metre | 182 | 12740
71 | 18.77.1.2 | Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion Tee/ Tee with door/ Bend 45°/ Bend 90° 110 mm | 42 | each | 154 | 6468
72 | 18.77.1.1 | 75 mm | 30 | Each | 113 | 3390
73 | 18.77.3.2 | Vent covel 110 mm | 11 | each | 44 | 484
74 | 18.77.4.1 | Access door cap 75 mm | 30 | Each | 49.5 | 1485
75 | 18.77.4.2 | 110 mm | 65 | Each | 59 | 3835
76 | 18.78.1 | Providing and fixing UV stabilized Unplasticised -PVC pipe clips of approved design to Rigid PVC pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 75 mm | 10 | Each | 57 | 570
77 | 18.78.2 | 110 mm | 25 | Each | 61 | 1525
78 | 20.28.1 | Providing and constructing brick masonry chamber for underground pipe and and bends with well burnt modular clay bricks crushing strength not less than 35kg/cm2 in cement mortar 1:4 (1 cement : 4 coarse sand) C.I.cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) R.C.C. top slab with 1:2:4 mix (1 cement :2 coarse sand : 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1cement : 3 coarse sand) finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design : Inside dimensions 455x610 mm and 45 cm deep for single pipe line : | 2 | each | 3796 | 7592
79 | 20.31 | Providing and constructing soak pit 1.20x1.20x1.20m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 1 | Each | 1709 | 1709
80 | 18.1.3 | Providing and fixing water closet squatting pan (Indian type W.C. pan ), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Orissa pattern W.C. pan of size 580x440 mm | 2 | Each | 2899 | 5798
81 | 18.4.1 | Providing and fixing vitreous china water closet (European type W.C. pan) with white ISI marked plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (same colour), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White pedestal type | 3 | Each | 2882 | 8646
82 | 18.17.3 | Providing and fixing vitreous china wash basin with C.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of brackets, cutting and making good the walls wherever required : White size 450x325 mm | 10 | Each | 1203 | 12030
83 | 18.22.1 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink without drain board as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : 345x445 mm bowl depth 200 mm. | 1 | Each | 6298 | 6298
84 | 18.29 | Providing and fixing 600x450 mm beveled edge 4mm mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 5 | Each | 599 | 2995
85 | 18.31 | Providing and fixing 600x120x5mm glass shelf with edges rounded off supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 5 | Each | 272 | 1360
86 | 19.4.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. INTERNAL WORK - EXPOSED ON WALL 15 mm nominal outer dia .Pipes. | 20 | Mtr. | 110 | 2200
87 | 19.4.3 | 25 mm nominal outer dia .Pipes. | 20 | Mtr. | 199 | 3980
88 | 19.5.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. CONCEALED WORK including cutting chases and making good the walls etc., 15 mm nominal outer dia .Pipes. | 15 | Mtr. | 133 | 1995
89 | 19.5.3 | 25 mm nominal outer dia .Pipes. | 15 | Mtr. | 213 | 3195
90 | 19.6.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This included jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete EXTERNAL WORK 25 mm nominal outer dia pipes | 50 | Mtr. | 165 | 8250
91 | 19.10.1 | Making connection of G.I. distribution branch in G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete: (dia of main line to be measured) 25 mm nominal bore | 10 | Each | 200 | 2000
92 | 19.14.1 | Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required: Bib cock (400 grams) | 10 | Each | 382 | 3820
93 | 19.14.6 | Stop cock (concealed) (600 grams) | 10 | Each | 494 | 4940
94 | 19.14.15 | Shower rose (revolving type) (150mm) | 5 | Each | 269 | 1345
95 | 19.42 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 2000 | Litre | 7.3 | 14600
96 | 19.47 | Constructing masonry Chamber 30x30x50 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 ( 1 cement : 5 fine sand:10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design : | 11 | Each | 754 | 8294
97 | 19.48 | Constructing masonry Chamber 60x60x75 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm. top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate | 3 | Each | 4644 | 13932
98 | 19.49 | Constructing masonry Chamber 90x90x100 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm. top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design : | 2 | Each | 8013 | 16026
99 | 20.31 | Providing and constructing soak pit 1.20x 1.20x1.20m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 2 | Each | 1709 | 3418
100 | 19.15 | Providing and fixing stainless steel drain jali of approved make/quality. | 5 | Each | 51 | 255
101 | 19.16.1 | Providing and fixing brass/ gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm nominal bore | 3 | Each | 436 | 1308
102 | 21.17 | Carrying out the resistivity survey by VES method using Schlumberger configuration for locating the proper spot for drilling of tube well within the selected habitation, including photography, interpretation of resistivity data and submission of report in the desired format along with resistivity readings, necessary graph and photographs. (only successful point is payable) | 2 | Each | 1502 | 3004
103 | 21.1.1.2 | Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge upto 90 metre depth below ground level. All types of soil 125 mm dia | 30 | Meter | 321 | 9630
104 | 21.1.1.3 | 150 mm dia. | 30 | Meter | 339 | 10170
105 | 21.1.2.3 | Rocky strata including Boulders. 150 mm dia. | 75 | Meter | 396 | 29700
106 | 21.2 | Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge beyond 90 metre & upto 150 metre depth below ground level. | 0 |  |  | 0
107 | 21.2.2.2 | Rocky strata including Boulders. 125 mm dia | 50 | Meter | 371 | 18550
108 | 21.5.3 | Supplying, assembling, lowering and fixing in vertical position in bore well, ISI marked G.I. casing pipe (Plain) medium class in 4 to 7 meters length one end fitted with socket as per IS: 1239 (Part-1&Part-2) 1992 with IVth revision (Up-to-date amendments), of reputed & approved make, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer- in-charge. 150 mm nominal dia | 32 | Meter | 1304 | 41728
109 | 21.11.2 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for bore well of: 125 mm dia | 1 | Each | 200 | 200
110 | 21.11.4 | 200 mm dia | 1 | Each | 240 | 240
111 | 21.1 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tube well, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 32 | Hour | 654 | 20928
112 | 21.18 | Providing and fixing filter of minimum 100 litre capacity for roof top rain water harvesting through tube well consisting of two layered HDPE tank with five layers (each layers of minimum 100 mm) consist of coarse sand, 4mm, 6mm, 8mm & 12 mm gravels with stainless steel wire mesh fixed between each layer with suitable length and sufficient numbers of 110 mm dia PVC pipe pieces in the bottom of tank to support the above layer including fixing of inlet and out let P.V.C. pipe of required diameter upto 2 metre length on each side, Cement Concrete plateform of required size complete as directed by Engineer in charge. (excluding cost of tubewell and inlet and outlet pipe beyond 2 metre) | 3000 | Litre | 18.5 | 55500
113 | R-SOR It - 3.2 P - 11 | Excavation in Soil (by Mechanical Means.) Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead upto 1000 meters as per relevant clauses of section 300. | 62 | Cum. | 95 | 5890
114 | R-SOR It - 4.1 A (b) (i) P - 15 | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing close graded Material, , carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 Plant mix method (with Mechanically crushed stone only) For Sub-base cum drainage layer or upper sub-base with Grading-V Material | 29.76 | Cum. | 1372 | 40831
115 | R-SOR It - 4.10 P - 16 | Wet Mix Macadam (Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density.) | 31.2 | Cum. | 1434 | 44741
116 | R-SOR It - 6.6 P - 27 | Providing and laying cement concrete for plain concrete/ reinforced concrete i/c form work, shuttering complete in as per drawings and specifications.( For Village roads) PCC M-10 | 16.8 | Cum. | 2789 | 46855
117 | R-SOR It - 6.7 Amme. | Providing and laying Un-reinforced Cement Concrete without Dowel bars including formwork and expansion, contraction & longitudinal joints as per design and as per IRC-62-2014, over a prepared base as per approved mix design and finishing to lines and grade as per Drawing for Pavement thickness less than 200 mm in Low Volume Roads. PCC Grade M30 minimum Cement Content @375kg/cum. | 15 | Cum. | 4391 | 65865
118 | R-SOR It - 4.13 P-17 | Construction of Shoulders (Construction of shoulders as per clause 408 with selected soil from borrow pits / borrow areas having CBR not less than 12 and shall have L.L. and P.I. not more than 25% and 6% respectively, inclusive of all leads and lifts, including clearing and scrapping of existing surface, providing required cross fall, compacting. watering rolling and royalty charges etc. complete. With smooth wheeled roller | 24.3 | Cum. | 277 | 6731
119 | R-SOR It - 3.13 P-12 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | 72.14 | Cum. | 250 | 18035
120 | 22.2 | Supplying and stacking of good earth at site including royalty, loading, unloading and carriage upto 5 km (earth measured in stacks will be reduced by 20% for payment). | 28.5 | Cum. | 201 | 5729
121 | 22.4 | Supplying and stacking at site well decayed cow dung manure from approved source, including loading, unloading and carriage upto 5 km (manure measured in stacks will be reduced by 8% for payment). | 14.25 | Cum. | 236 | 3363
122 | 22.8 | Spreading of sludge, dump manure or/and good earth in required thickness (Cost of sludge, dump manure or/ and good earth to be paid separately). | 42.75 | Cum. | 17.5 | 748
123 | 22.19 | Edging with modular well burnt clay bricks of crushing strength not less than 25kg/ sqcm laid dry length wise including excavation, refilling, consolidating with hand packing and spreading neatly surplus earth within a lead of 50 m : | 52.5 | Meter | 28.5 | 1496
124 | 22.25.1 | Providing and planting following herbs in garden including preparation of soil, base plantation, providing and spreading different fertilizers, soil and sand: Hedges like Alife, Dorenta, Tikoma etc | 64 | Each | 14 | 896
125 | 22.25.2 | Furn like Arica, China etc (3 year old) | 32 | Each | 125 | 4000
126 | 22.25.3 | Hibiscus (Flower)/ Rose | 32 | Each | 26.5 | 848
127 | 22.25.4 | Carpet grass (well developed) | 50 | Sqm. | 263 | 13150
|  |  | Total Rs. |  |  | 4968032
Rates are taken from SOR for Building and Road works inforced from 01/01/2015 and ammended upto date.
Sub Engineer,
Sub Divisional Officer,
PWD, (B&R) Sub Division,
Dongargarh
Executive Engineer,
PWD, (B&R) Division,
Rajnandgaon