List of Approved Materials

| Name of work :- Construction of Govt. Polytechnic Branch Building at Raigarh. |  |
| --- | --- |

- Switch and other accessories with plate and board.

Modular 			Non Modular

- Anchor 				1. Anchor

- Havells (Crab Tree)			2. Havells (Crab Tree)

- Legrand				3. Winner

- C&S

- \PVC pipe & Accessories (2mm thickness heavy duty for concealed as well as for surface wiring)

- Dauphin

- BEC Plast

- Finolex

- AKG

- Plaza

- Polycab

- PVC copper wire standard with FRLS wire

- Polycab

- Finolex

- R.R. Kabel

- Havells

- Ultracab

- ORBIT

- MCCB/MCB & MCB DB

- L&T (MCB & MCCB)

- ABB

- Legrand

- Schneider

- C&S

- Power cable

- Polycab – ISI mark

- Finolex

- R.R. Kabel

- Ultra cab

- Havell's

- SUNUltra 5G

- Ceiling fan

- Usha- Appollo

- Bajaj - Grace Gold

- Crompton-Hispeed

- Halonix

- Havells

- KWW

- Renesola

- Exhaust fan /Wall fan

- Bajaj

- Usha

- Polycab

- Halonix

- Polar

- KWW

8. Submersible water pump

- CRI

- Crompton greaves

- Kirlosker

- HDPE Pipe

- Finolex

- Kisan

- Tirupati

- G.I. Pipe

- Jindal

- Tata

- Air Conditioner (Up to 2 Ton Split/Window) - 4 to 5 Star/17.0TR Dx type

- Blue Star

- Daikin

- Hitachi

- Battary

- Exide

- Amaron

- Inverter

- Microtek

- Luminous

- LED/Conventional Luminaires  (lumen efficay - 120 )

- Wipro

- Bajaj

- Philips

- Crompton

- Havells

- Syska LED

- LED Street Light

- Wipro- Sky line

- Goldwyn LED

- Schneider - Ampera

- OSRAM - LED vvo Plus

- Syska LED

- ORBIT

- Lane Wire (Computer networking lane wire)

- D-Link

- Polycab

- Ultra cab

- ORBIT

- Paraflex

- Pole

- Bajaj,

- Valmount

- Utkarsh

- Goldwyn LED

- Skipper

- Trans Rail.

- CCTV Cables /LAN Cable

- R.R.

- Finolex

- Ultracab

- ORBIT

- CCTV Camera

- Honeywill

- Pelec

- Sony

- D.G. Set

- Crompton Greaves

- Jackson (Cummins)

- Kirloskar Koel/Green

- Mahindra

- Transformer

- Schneider

- Siemens

- Kirloskar

- Crompton Greaves

- GE Prolec

- Voltamp

- LT Panel

- Siemens

- ABB

- Schneider

- ACB	
 	1. SIEMEN

- ABB

- SCHNEIDER Electric

- VCB

- SIEMEN

- ABB

- SCHNEIDER Electric

- CGL

- Fire Detector/Alarm/PA System

- Siemens Cerberus

- Siemens Fire Finder

- Honewell

- Fire Rated Metal/ Wooden/ Glassed Door/Signage/Suppression System

1.   ASES

- Fire Pump

- Kirloskar

- Dround fos

- willey

- Lift

- Kone

- Otis

- Thyssen Krupp

- Johnson

- Advance Lightning Protection System

- Indelec

- Tersel

- ABB

uksV %&mijksDr leLr lkexzh dks Hkou esa yxkus ds iwoZ bathfu;j bapktZ@lkbV bathfu;j ds fujh{k.k@vuqeksnu ds i'pkr gh yxk;k tkuk lqfuf'pr gksA

Executive Engineer

P.W.D. E/M  Division

Raigarh (C.G.)

ANNEXURE –E

(To be enclosed with N.I.T. for Electrical Works)

- Electrical installation shall be carried out in accordance with  the General specification for Electrical works (Part-1 Internal) & (Part-II External) 1972 of C.P.P.W.D. adopted by E-in-C, M.P.P.W.D. Bhopal & also confirmed with Indian Electricity Rule 1956, as amended upto date.

- All materials used in electric installation, shall be ISI marked as per availability otherwise confirming to relevant I.S.S. amended upto date and shall be genuine of approved make only.

- Contractor will submit, along with final bill –

- Completion certificate in appendix “E”

- Completion plan, drawn to a suitable scale on tracing cloth with ink, indicating location of main switch, D.B. Circuit, fitting & their controls etc. as stated in clause 1-1-9-2 & 1-1-3-9.

- Test report in prescribed form of C.S.E.B.

- Reusing of used electrical material shall not be permitted.

- ‘D’ type bracket should be used for fixing street light/M.V. Lamp fitting & service entry pipe.

- Vertical drops of switch boards be made concealed in surface PVC conduit, system of wiring.

- Bottom of switch board should be 1.25 M from floor level, light points & fan point shall be at height not less than 2.5 & 2.75 m respectively.

- Where fan regulators are installed, M.S. Box shall only be used.

- Deep junction box confirming to IS (Not less than 65 mm) shall be used for steel conduit system of wiring & shall be covered suitably by G.I. sheet 1.00 mm thick.

- Wiring shall be done in looping back system & balancing of poly phase should be ensured.

- In unavoidable circumstances material of equivalent quality not included in approved list can be used after approval of S.E. (E&M).

- Earthing system should be installed in presence of A.E. (E&M)/Sub-Engineer (E&M)

- Earth continuity conductor of required size & materials should be installed with entire run of wiring, Earth bolt must be provided at all switch boards, All metallic, parts, ceiling fan, tube fitting, socket out let should be essentially connected to earth.

- All open conduits, stiff pendants, D. bracket etc. shall be painted with white/matching colour enamel paint as per practice.

- All connection of ceiling fan, tube fixture, street light fixture shall be made by 3 core PVC/Rubber sheathed cable of required size.

# Excutive Engineer

# PWD (E&M) Division,

# Raigarh (C.G.)

fu;ekoyh ¼fo|qrhdj.k dk;Z½ ifjf'k"V

- flfoy Bsdsnkj ds ikl thfor oS/kkfud fo|qr Bsdsnkjh yk;lsal gksuk pkfg;sA vFkok flfoy Bsdsnkj fo|qrhdj.k dk;Z l{ke fo|qr Bsdsnkj ftl dk iathdj.k yksd fuekZ.k foHkkx es fo|qrhdj.k dk;Z gsrq gks] dk;Zikyu vfHk;ark ls vuqefr ysdj lcysV djuk gksxkA lcysV mlh fo|qr Bsdsnkj dks fd;k tkosxk tks fufonk esa lfEefyr fo|qrhdj.k jkf”k ds vuq:Ik iathd`r gks A

- flfoy dk;Z ds lkFk lfEefyr vkarfjd fo|qrhdj.k dk;Z ys&vkÅV] fujh{k.k ,oa eki fo|qr@;kaf=dh “kk[kk }kjk fd;k tkosxkA fo|qrhdj.k dk;Z dk ns;d dk;Zikyu vfHk;ark ¼fo-@;ka-½ ikfjr djsaxs ,oa Hkqxrku dk;Zikyu vfHk;ark ¼flfoy½ }kjk fd;k tkosxkA

- fo|qrhdj.k dk;Z esa yxus okyh fo|qr lkefxz;ka v/kh{k.k vfHk;ark ¼fo-@;ka-½ eaMy jk;x<+ }kjk vuqeksfnr layXu lwph esa n”kkZ, x;s esd Make ,oa ekWMy Model dk gksuk pkfg;s A

- fo|qrhdj.k dk;Z fu/kkZfjr ekud vuqlkj ,oa Hkkjrh; fo|qr fu;eksa dk iw.kZr% ikyu fd;k tkos ,oa fo|qr@;kaf=d “kk[kk ds vfHk;ark ds ekxZn”kZu ,oa fujh{k.k ds v/khu jgsxk A

- Bsdsnkj fo|qr lkefxz;ka ds mi;ksx ds iwoZ dk;Zikyu vfHk;ark ¼fo-@;ka-½ ls fujh{k.k djkdj vuqeksnu mijkar mi;ksx es ayk;k tk;sxkA

- lqj{kk fuf/k ds vfrfjDr odZ ijQkesZUl xkjaVh gsrq 5 izfr”kr jkf”k ns;d ls dkV dj lqjf{kr j[kh tkosxh ,oa 3 o’kZ mijkar dk;Zikyu vfHk;ark ds vuqefr mijkar Hkqxrku fd;k tkosxkA

- fdlh Hkh izdkj dh fookn dh fLFkfr esa v/kh{k.k vfHk;ark yksd fuekZ.k foHkkx ¼fo-@;ka-½ e.My jk;x<+ dk fu.kZ; vafre ,oa ekU; gksxk A

dk;Zikyu vfHk;ark

yksd fuekZ.k foHkkx ¼fo-@;ka-½ laHkkx

jk;x<+ ¼NÙkhlx<+½