## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
NIT Schedule for Construction of Hardi to Kirna (Canal Road ) Length 1.50 Km.
[9 empty] | PAC RS. |  | 127.08 Lacs
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | PWD | PWD ROAD | 2015 | 2.3 | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material to be used or auctioned up to a lead of 1000 meters including removal and disposal of top organic soil not exceeding 150 mm in thickness if required and as per elevant clauses of section- 200. A In area of light jungle | hectare | 40680 | 0.9 | 36612 | 0 | 0 | N
2 | PWD | PWD ROAD | 2015 | 3.2 | Excavation in Soil (by Mechanical Means.) Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead upto 1000 meters as per relevant clauses of section 300. | Cum | 95 | 17.2 | 1634 | 0 | 0 | N
3 | PWD | PWD ROAD | 2015 | 3.12 | Construction of embankment with Material Obtained from Borrow Pits/Borrow Area (Construction of embankment with approved material/selected soil having C.B.R.>5 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | Cum | 223 | 13034.288 | 2906646 | 0 | 0 | N
4 | PWD | PWD ROAD | 2015 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having .R.>8 (unless specified otherwise in the contract) obtained m borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | Cum | 250 | 4920 | 1230000 | 0 | 0 | N
5 | PWD | PWD ROAD | 2015 | 4.1 | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material, , carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 A Plant mix method (with Mechanically crushed stone only) (A) For Lower Sub-base (i) Grading-V Material | Cum | 1372 | 1836 | 2518992 | 0 | 0 | N
6 | PWD | PWD ROAD | 2015 | 4.1 | Wet Mix Macadam (Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with ter at OMC in mechanical mix plant carriage of mixed erial by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared face and compacting with vibratory roller to achieve the ired density as per clause 406.) | Cum | 1434 | 1394.2125 | 1999301 | 0 | 0 | N
7 | PWD | PWD ROAD | 2015 | 5.1 | Prime coat (Providing and applying primer coat with oil based bitumen emulsion (SS-1, grade confirming to IS:8887) on prepared surface of granular Base including clearing of road surface and spraying primer using mechanical means as per clause 502. (i) on WBM/WMM surface @0.85 Kg/sqm. | sqm | 64 | 5737.5 | 367200 | 0 | 0 | N
8 | PWD | PWD ROAD | 2015 | 5.2 | Tack coat Tack coat Providing and applying tack coat with bitumen emulsion (RS-1, grade confirming to IS:8887) using emulsion pressure distributor on the prepared bituminous/granular surface cleaned with mechanical broom and as per clause 503. (II)granular surfaces treated with primes @ 0.30kg / Sqm | sqm | 17 | 5737.5 | 97538 | 0 | 0 | N
9 | PWD | PWD ROAD | 2015 | 5.3 | Bituminous Macadam (Providing and laying bituminous macadam as per clause 504 with mixed prepared in minimum 40-60 TPH capacity hot mix plant usin g crushed aggregates of specified grading premixed with bituminous binder, transported to site, laid over a previously prepared surface with paver finisher to the required grade, level and alignment and rolled to achieve the desired compaction) (B) With mechanical paver finisherii) (ii)for Grading-II(19 mm nominal maximum size, bitumen content 3.40%) | Cum | 6255 | 286.875 | 1794403 | 0 | 0 | N
10 | PWD | PWD ROAD | 2015 | 5.8. | Close Graded Premix Surfacing/Mixed Seal Surfacing (Mechanical means using minimum 40-60 TPH capacity of HMP. Providing, laying and rolling of close-graded premix surfacing material of 20 mm thickness using bitumen to the required line, grade and level to serve as wearing course on a previously prepared base, including mixing in a suitable plant, laying and rolling with a Smooth wheeled roller 8-10 tonne capacity, and finishing to required level and grade, complete as per clause 508) With mechanical paver finisher Type B ( 13.2 mm to 0.09 mm size aggregates ) | sqm | 146 | 5737.5 | 837675 | 0 | 0 | N
11 | PWD | PWD ROAD | 2015 | 4.13 | Construction of Shoulders (Construction of shoulders as per clause 408 with selected soil from borrow pits / borrow areas having CBR not less than 12 and shall have L.L. and P.I. not more than 25% and 6% respectively, inclusive of all leads and lifts, including clearing and scrapping of existing surface, providing required cross fall, compacting. watering rolling and royalty charges etc. complete. B With Smooth wheeled roller | Cum | 277 | 675 | 186975 | 0 | 0 | N
12 | PWD | PWD ROAD | 2015 | 8.44 | Providing and laying of a reinforced cement concrete pipe duct, 300 mm dia., across the road ( new construction ) , extending from drain to drain in cuts and toe of slopes to toe of slopes in fills, constructing head walls at both ends, providing a minimum fill of granular material over top and sides of RCC pipes as per IRC: 98-2 011, bedded on a 0.3 m thick layer of granular material free of rock pieces , outer to outer distance of pipes at least half dia of pipe subject to minimum 450 mm in case of double and triple row ducts , joints to be made leak proof, invert level of duct to be above higher than ground level to prevent entry of water and dirt, all as per IRC:98-2011 and approved drawings. (i) Single row for one utility service | meter | 553 | 40 | 22120 | 0 | 0 | N
13 | PWD | PWD ROAD | 2015 | 8.4 | Retro- reflectrorized Traffic signs (Providing and fixing of retro-reflectrorized cautionary, mandatory and ormatory sign as per IRC :67-2012 made of retro-reflective type ting vide clause 801.3,fixed over aluminum sheeting of quired thickness supported on a mild steel back frame of ISA 40 x 40 x 5 mm and mild steel angle iron post 75 mm x 75 mm x 6mm firmly fixed to the ground by means of properly ed foundation with M15 grade cement concrete 45 cm x 45cm x 60cm, 60cm below ground level as per approved drawing and painting all components of the signs and supports as of IRC:67-2012) Amd 01.Dt. 12.10.15C Made of Class -A High Intensity Super Engineering Grade Sheeting of Type II (for ODR &Village Road)B) With Aluminum Sheeting of 1.5 mm thickness i) 600 mm equilateral triangle | each | 2506 | 2 | 5012 | 0 | 0 | N
[5 empty] | (ii) 600 mm circular | each | 3184 | 2 | 6368 | 0 | 0 | N
14 | PWD | PWD ROAD | 2015 | 8.6 | Direction and Place Identification signs with size more than 0.9 sqm size board. (Providing and erecting direction and place identification retro- reflectorized sign as per IRC :67-2012 made of retro-reflective type sheeting and vide ause 801.3, fixed over aluminum sheeting, 2 mm thick with area exceeding 0.9 sqm and fixed on a mild steel frame of size 40 x 40 x 5 mm supported on 2 Nos. mild steel angle iron posts of size 75 mm x 75 mm x 6 firmly fixed to the ound with M 15 grade cement concrete 45 x 45 x 60 cm, 60 cm below ground level as per approved drawing) C Made of class - A High intensity Micro prismatic grade Sheeting of Type 1 (for ODR &Village Road) | sqm | 8115 | 4.32 | 35057 | 0 | 0 | N
15 | PWD | PWD ROAD | 2015 | 8.14 | Kilo Meter Stone (Reinforced cement concrete M15grade kilometer stone of standard design as per IRC:8-1980, fixing in position including painting and printing etc) (ii) Ordinary Kilometer stone (Precast) (1+7) | each | 1460 | 2 | 2920 | 0 | 0 | N
|  |  |  | (iii) | Hectometer stone (Precast) | each | 410 | 6 | 2460 | 0 | 0 | N
16 | PWD | PWD ROAD | 2015 | 4.17 | Providing and fixing guard stones 200 x 200 x 900 mm made of precast RCC M-20 grade fixed at 300 mm into the ground in P.C.C. 1:3:6 blocks of size 400 x 400 x 400 mm and given two coats of paint with white and black bands including excavation. | each | 431 | 400 | 172400 | 0 | 0 | N
17 | PWD | PWD ROAD | 2015 | 8.13 | Road Marking with Hot Applied Thermoplastic Compound with Reflectorizing Glass Beads on Bituminous Surface (Providing and laying of hot applied thermoplastic compound 2.5 mm thick including reflectorizing glass beads @ 250 gms per sqm area, thickness of 2.5 mm is exclusive of surface applied glass beads as per IRC:35- 1997. The finished surface to be level, uniform and free from streaks and holes.) zebra crossing | sqm | 707 | 330 | 233310 | 0 | 0 | N
18 | PWD | PWD ROAD | 2015 | 9.1 | Excavation for Structures (Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) Ordinary soil Up to 3 m depth | Cum | 146 | 47.6894 | 6963 | 0 | 0 | N
19 | PWD | PWD Bridge | 2015 | 2.3 | Sand Filling in Foundation Trenches as per Drawing & Technical Specifications. | Cum | 1234 | 5.8611 | 7233 | 0 | 0 | N
20 | PWD | PWD ROAD | 2015 | 9.9 | Plain cement concrete complete as per drawing and Technical Specifications PCC Grade M 15 | Cum | 3768 | 31.4374 | 118456 | 0 | 0 | N
21 | PWD | PWD ROAD | 2015 | 9.5 | Providing and laying Reinforced Cement Concrete pipe NP 3 / prestressed concrete pipe. (Laying Reinforced cement concrete pipe NP3 /prestressed concrete pipe for culverts including fixing collar with cement mortar 1:2 but excluding bedding below pipes, excavation, protection works, backfilling, concrete and masonry works in head walls and parapets . ) (D)1000 mm dia | meter | 5370 | 10 | 53700 | 0 | 0 | N
22 | PWD | PWD ROAD | 2015 |  | (B)600 mm dia | meter | 2459 | 20 | 49180 | 0 | 0 | N
23 | PWD | PWD Bridge | 2015 | 3.9 | Back filling behind abutment, wing wall and return wall complete as per drawing and Technical specification 710.1.4 of I.R.C. 78 and 2200. (i) Granular material | Cum | 905 | 17.4667 | 15807 | 0 | 0 | N
[5 empty] | Total |  |  |  | 12707962 |  |  |  | #REF!
[7 empty] | Say in Lacs |  | 127.0796 |  |  |  | 1159017
| Sub Engineer |  |  |  | Sub Divisinal Officer |  |  |  | Executive Engineer
| Public Works Department |  |  |  | Public Works Department |  |  |  | Public Works Department
| Mungeli Sub Division, Mungeli |  |  |  | Mungeli Sub Division, Mungeli |  |  |  | Mungeli Division, Mungeli

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false6444
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | ELECTRIC | ELECT | Percentage | %
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | PHED | PHED1 | Per mile | %O
Chhattisgarh Department of Agriculture (CGDA) | CGDA | RES_BUILDING | RESBDG | 1000 no. | 1000 no.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | NON SOR | NS | 1000No. | 1000No.
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | BRIDGE | PWD_BRIDGE | Siemens Per meter | A/V
Chhattisgarh Housing Board (CGHB) | CGHB | PWD BUILDLING | PWD BLD | Acre | ACR
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PWD ROAD | PWD ROAD | Activity unit | AU
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Bag | BAG
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Book | BK
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Centiliter | CL
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cm | cm
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | Centimeter | CM
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Square centimeter | CM2
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Directorate of Fisheries (DF) | DF |  |  | cum | cum
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | cum.km | cum.km
Food and Drug Administration (FDA) | FDA |  |  | Days | DAY
Health Department (HD) | HD |  |  | Degree | DEG
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | DFLT | DFLT
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Decimeter | DM
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Drum | DR
Mineral Resources Department (MRD) | MRD |  |  | Dozen | DZ
Naya Raipur Development Authority (NRDA) | NRDA |  |  | EACH | EA
Panchayat and Rural Development (PARD) | PARD |  |  | each | each
Public Health Engineering Department (PHED) | PHED |  |  | each additional floor | each additional floor
Public Works Department (PWD) | PWD |  |  | each cut | each cut
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each test | each test
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | each tree guard | each tree guard
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Enzyme Units / Milliliter | EML
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rural Engineering Services (RES) | RES |  |  | Fluid Ounce US | FOZ
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Feet | FT
State Urban Development Agency (SUDA) | SUDA |  |  | Square foot | FT2
Urban Administration and Development Department (UADD) | UADD |  |  | Cubic foot | FT3
Water Resources Department (WRD) | WRD |  |  | Gigajoule | FY
|  |  |  | Gram | G
|  |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG. | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | Per mtr | Per mtr
|  |  |  | per pouch | per pouch
|  |  |  | per test | per test
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per.mtr | per.mtr
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Parts per trillion | PPT
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM