## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
N.I.T. SCHEDULE FOR Construction of PMGSY Road Via Dengurujam to Amaniya Road Length 3.20 K.M. including Bridges & culverts at Block Pandariya Distt.- Kabridham (C.G.) (CC Road)
P.A.C. AMOUNT Rs. :- | [7 empty] | 571.59 | LACS
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount
1 | PWD | PWD ROAD | 2015 | 2.3 a | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material tobe used or auctioned up to a lead of 1000 meters including removal and disposal of top organic soil not exceeding 150 mm in thickness if required and as per relevant lauses of section- 200. In area of light jungle | Hectare | 40680 | 1.6 | 65088
2 | PWD | PWD ROAD | 2015 | 3.2 | Excavation in Soil (by Mechanical Means.) Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead upto 1000 meters as per relevant clauses of section 300. | Cum | 95 | 24503.7 | 2327852
3 | PWD | PWD ROAD | 2015 | 3.12 | Construction of embankment with Material Obtained from Borrow Pits/Borrow Area (Construction of embankment with approved material/selected soil having C.B.R.>5 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | cum | 223 | 12356.11 | 2755413
4 | PWD | PWD ROAD | 2015 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | cum | 250 | 11160 | 2790000
5 | PWD | PWD ROAD | 2015 | 3.14 | Construction of Embankment with Material Deposited from Roadway Cutting (Construction of embankment with approved materials having C.B.R.>5 (unless specified otherwise in the contract) deposited at site from roadway cutting and excavation from drain and foundation of other structures graded and compacted to meet requirement of table 300-2) | cum | 80 | 4900.74 | 392059
6 | PWD | PWD ROAD | 2015 | 3.2 | Construction of RCC open drain Construction of RCC open drain 1.0m x 1.0m inside dimension lined with 150 mm thick RCC M-20 walls, 150 mm thick CC M-20 foundation, over 100 mm thick (Av) leveling course in PCC M-15 including excavation , dressing of sides and bottom, provision of HYSD reinforcement consisting 10 mm dia horizontal bars @ 150 mm c/c and L-shaped 10 mm dia vertical bars @ 150 mm c/c (L=1400 mm) including cutting, bending and binding wire, placing in position, providing shuttering and concreting by using concrete mixer, compaction by vibration etc complete as per drawings and technical specifications. | meter | 2592 | 1368 | 3545856
7 | PWD | PWD ROAD | 2015 | 4.1 A (b)(i) | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material ,carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 A)Plant mix method (with Mechanically crushed stone only) (b) For Sub-base cum drainage layer or upper sub-base with (i) Grading-V Material | cum | 1372 | 3520 | 4829440
8 | PWD | PWD ROAD | 2015 | 4.1 A (b)(ii) | (ii) Grading-VI Material | cum | 1363 | 225.03 | 306716
9 | PWD | PWD ROAD | 2015 | 4.13 (B) | Construction of Shoulders (Construction of shoulders as per clause 408 with selected soil from borrow pits / borrow areas having CBR not less than 12 and shall have L.L. and P.I. not more than 25% and 6% respectively, inclusive of all leads and lifts, including clearing and scrapping of existing surface, providing required cross fall, compacting. watering rolling and royalty charges etc. complete. (B) With smooth wheeled roller | cum | 277 | 1032.75 | 286072
10 | PWD | PWD ROAD | 2015 | 4.17 | Providing and fixing guard stones 200 x 200 x 900 mm made of precast RCC M-20 grade fixed at 300 mm into the ground in P.C.C. 1:3:6 blocks of size 400 x 400 x 400 mm and given two coats of paint with white and black bands including excavation. | Each | 431 | 200 | 86200
11 | PWD | PWD ROAD | 2015 | 6.6(i) | Providing and laying cement concrete for plain concrete/ reinforced concrete i/c form work, shuttering complete in as per drawings and specifications.( For Village roads) (i)P.C.C. M-10 | cum | 2789 | 1423.6 | 3970420
12 | PWD | PWD ROAD | 2015 | 6.6(ii) | Providing and laying cement concrete for plain concrete/ reinforced concrete i/c form work, shuttering complete in as per drawings and specifications.( For Village roads) (ii)P.C.C. M-15 | cum | 3695 | 2138.1 | 7900280
13 | PWD | PWD ROAD | 2015 | 6.7 | Providing and laying un-reinforced Cement Concrete without Dowel bars including formworks and expansion contraction & longitudinal joints as per design and as per IRC-62-2014, over a prepared base a per approved mix design and finishing to lines and grade as per Drawing for Pavement thickness less than 200mm in Low Volume Roads. PCC Grade M30 with minimum Cement Content @375kg/cum | cum | 4391 | 2448 | 10749168
14 | PWD | PWD ROAD | 2015 | 8.14(ii) | Kilo Meter Stone (Reinforced cement concrete M15grade kilometer stone of standard design as per IRC:8-1980, fixing in position including painting and printing etc) Ordinary Kilometer Stone(Precast) | each | 1460 | 4 | 5840
15 | PWD | PWD ROAD | 2015 | 8.14(iii) | Hectometer stone (Precast) | each | 410 | 8 | 3280
16 | PWD | PWD ROAD | 2015 | 8.2 | Providing & Fixing Hazard Marker Type-2 Partial Retro Reflective Size 0.30 x 0.90M made of 16 gauge (1.6 mm) thick mild steel sheet Confirming to IS:2062 Painted with one cast of Zinc Chromate Stoving Primer and two coats of Black Stove Enamel (Oven Baked) paint with 10 cm bands of yellow Retro- Reflective Sheeting of Engineering Grade pasted a per IRC:79 including one MS angle Iron post of size 50x50x5 mm of 1.65 meter long duly painted with synthetic enameled paint block including bolts and fixing the same in M-15 concrete black of size 30x30x30cm, including transportation etc. Complete. | each | 1491 | 16 | 23856
17 | PWD | PWD ROAD | 2015 | 8.23 | Providing & Fixing tree studs in Square/ Round shape of 4” side/diameter made of 2 mm aluminum substrate (Confirming to IS:736 -Material Designation, 24345 or 1900) end reflective surface of High Intensity grade as specified in section 801.3 of MORT&H duly treated with HLVA and fixing the same with four Nos. high strength nails confirming to 1S:1367 on trees at site each. | each | 67 | 10 | 670
18 | PWD | PWD ROAD | 2015 | 8.32 | Road Markers/Road Stud with Lens Reflector (Providing and fixing of road stud 100x 100 mm, die cast in aluminum, resistant to corrosive effect of salt and grit, fitted with lens reflectors, installed in concrete or asphaltic surface by drilling hole 30 mm upto a depth of 60 mm and bedded in a suitable bituminous grout or epoxy mortar, all as per BIS:873, part-IV:1973) | each | 267 | 100 | 26700
19 | PWD | PWD ROAD | 2015 | 8.44 (i) | Providing and laying of a reinforced cement concrete pipe duct, 300 mm dia., across the road ( new construction ) , extending from drain to drain in cuts and toe of slopes to toe of slopes in fills, constructing head walls at both ends, providing a minimum fill of granular material over top and sides of RCC pipes as per IRC: 98-2011, bedded on a 0.3 m thick layer of granular material free of rock pieces , outer to outer distance of pipes at least half dia of pipe subject to minimum 450 mm in case of double and triple row ducts , joints to be made leak proof, invert level of duct to be above higher than ground level to prevent entry of water and dirt, all as per IRC:98-2011 and approved drawings. (i)Single row for one utility service | meter | 553 | 12.5 | 6913
20 | PWD | PWD ROAD | 2015 | 9.5 (B) | Providing and laying Reinforced Cement Concrete pipe NP 3 / prestressed concrete pipe. (Laying Reinforced cement concrete pipe NP3 /prestressed concrete pipe for culverts including fixing collar with cement mortar 1:2 but excluding bedding below pipes, excavation, protection works, backfilling, concrete and masonry works in head walls and parapets . ) 600 mm dia | meter | 2459 | 12.5 | 30738
21 | PWD | PWD_BRIDGE | 2015 | 2.1 I (i) | Excavation for Structures Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material including dewatering etc. complete. Ordinary soil Upto 3 m depth | cum | 146 | 2193.73 | 320285
22 | PWD | PWD_BRIDGE | 2015 | 2.3 | Sand Filling in Foundation Trenches as per Drawing & Technical Specifications. | cum | 1234 | 178.79 | 220627
23 | PWD | PWD_BRIDGE | 2015 | 2.6 A (i) | Plain/Reinforced cement concrete in open foundation complete as per drawing and technical specifications. Height Upto 5m Using concrete mixer PCC Grade M15 | cum | 4613 | 166.01 | 765804
24 | PWD | PWD_BRIDGE | 2015 | 2.6 A (ii) | PCC Grade M20 | cum | 5247 | 762.1 | 3998739
25 | PWD | PWD_BRIDGE | 2015 | 2.6 A (vi) | RCC Grade M25 | cum | 5979 | 155.22 | 928060
26 | PWD | PWD_BRIDGE | 2015 | 2.24 | Supplying, fitting and placing HSD (High Strength Deformed Steel) bar reinforcement in foundation complete as per drawing and technical specifications as per section 1600. | MT | 68693 | 11.6 | 796839
27 | PWD | PWD_BRIDGE | 2015 | 3.6 A (a)(ii) | Providing and laying Plain/Reinforced cement concrete in sub-structure complete as per drawing and technical specifications section 1500, 1700 and 2200 Height upto 5m Using concrete Mixer P.C.C. Grade M-20 | cum | 5551 | 633.1 | 3514338
28 | PWD | PWD_BRIDGE | 2015 | 3.6 D (a)(i) | Height upto 5m Using concrete Mixer R.C.C. Grade M-20 | cum | 5603 | 25.75 | 144277
29 | PWD | PWD_BRIDGE | 2015 | 3.6 D (a)(ii) | Height upto 5m Using concrete Mixer R.C.C. Grade M-25 | cum | 6339 | 144.3 | 914718
30 | PWD | PWD_BRIDGE | 2015 | 3.7 | Supplying, fitting and placing HSD (High Strength Deformed Steel) bars reinforcement in sub-structure complete as per drawing and technical specifications section 1600 and 2200. | MT | 69002 | 14.28 | 985349
31 | PWD | PWD_BRIDGE | 2015 | 3.8 | Providing weep holes in Brick masonry/ Plain/ Reinforced concrete abutment, wing wall/return wall with 100 mm dia AC pipe, extending through the full width of the structure with slope of 1V :20H towards drawing foce. Complete as per drawing and Technical specifications section 2706 and 2200 | meter | 321 | 732.3 | 235068
32 | PWD | PWD_BRIDGE | 2015 | 3.9 | Back filling behind abutment, wing wall and return wall complete as per drawing and Technical specification 710.1.4 of I.R.C. 78 and 2200. (i) Granular material | cum | 905 | 359.24 | 325112
33 | PWD | PWD_BRIDGE | 2015 | 3.1 | Providing and laying of Filter media with granular materials/stone crushed aggregates satisfying the requirements laid down in clause 2504.2.2. of MORT&H specifications to a thickness of not less than 600 mm with smaller size towards the soil and bigger size towards the wall and provided over the entire surface behind abutment, wing wall and return wall to the full height compacted to a firm condition complete as per drawing and technical specifications 710.1.4 of I.R.C. 78 and 2200. | cum | 1926 | 381.02 | 733845
34 | PWD | PWD_BRIDGE | 2015 | 3.17 | Providing and fixing in position tar paper bearing for slab as per approved drawings and specification. | sqm | 66 | 46 | 3036
35 | PWD | PWD_BRIDGE | 2015 | 4.1 B I (a) (i) | Furnishing and Placing Reinforced/Prestressed cement concrete in super-structure as per drawing and Technical Specification sections 1500, 1600 and 1700 RCC Grade M30 For Solid Slab Super Structure Using Concrete Mixer Height upto 5m | cum | 6973 | 159.3 | 1110799
36 | PWD | PWD_BRIDGE | 2015 | 4.2 | Supplying, fitting and placing HYSD bar reinforcement in super-structure complete as per drawing and technical specifications | MT | 70101 | 14.655 | 1027330
37 | PWD | PWD_BRIDGE | 2015 | 4.4 | Providing and laying Cement concrete wearing coat M-30 grade including reinforcement complete as per drawing and Technical Specifications as per relevant clause of section 2700. | cum | 11847 | 10.2 | 120839
38 | PWD | PWD_BRIDGE | 2015 | 4.6 | Construction of RCC railing of M30 Grade in-situ with 20 mm nominal size aggregate, true to line and grade, tolerance of vertical RCC post not to exceed 1 in 500, centre to centre spacing between vertical post not to exceed 2000 mm, leaving adequate space between vertical post for expansion, complete as per approved drawings and technical specifications. (vide drawing No. SD/201, SD/304) | meter | 1819 | 75.2 | 136789
39 | PWD | PWD_BRIDGE | 2015 | 4.9 | Drainage Spouts complete as per drawing and Technical specifications of section 2705 | Each | 2007 | 4 | 8028
40 | PWD | PWD_BRIDGE | 2015 | 4.1 | PCC M15 Grade leveling course below approach slab complete as per drawing and Technical specification and as per relevant section 2700 | cum | 4437 | 30 | 133110
41 | PWD | PWD_BRIDGE | 2015 | 4.11 | Providing and laying M-30 grade Reinforced cement concrete approach slab including reinforcement and formwork complete as per drawing and Technical specification and as per relevant sections 1500, 1600, 1700 and 2704 | cum | 9467 | 60 | 568020
42 | PWD | PWD_BRIDGE | 2015 | 4.14 B | Filler joint Providing & fixing 20 mm thick compressible fiber board (12 m long x 25 cm deep ) in expansion joint complete as per drawing & Technical Specification. | sqm | 1204 | 54 | 65016
[8 empty] | Total :- | 57158589
[8 empty] | Say Rs. | 571.59 Lacs
Sub Engineer |  |  |  |  | S.D.O PWD Sub Division Pandariya |  |  | Executive Engineer PWD Kawardha Division
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false7361
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | WRD | WRD | Percentage | %
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | ELECTRIC | ELECT | Per mile | %O
Chhattisgarh Department of Agriculture (CGDA) | CGDA | PHED | PHED1 | 1000 no. | 1000 no.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | RES_BUILDING | RESBDG | 1000No. | 1000No.
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | PMGSY SOR | PMGSY | Siemens Per meter | A/V
Chhattisgarh Housing Board (CGHB) | CGHB | NON SOR | NS | Acre | ACR
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | BRIDGE | PWD_BRIDGE | Activity unit | AU
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC | PWD BUILDLING | PWD BLD | Bag | BAG
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC | PWD ROAD | PWD ROAD | Book | BK
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Centiliter | CL
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cm | cm
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | Centimeter | CM
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Square centimeter | CM2
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Directorate of Fisheries (DF) | DF |  |  | cum | cum
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | cum.km | cum.km
Food and Drug Administration (FDA) | FDA |  |  | Days | DAY
Health Department (HD) | HD |  |  | Degree | DEG
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | DFLT | DFLT
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Decimeter | DM
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Drum | DR
Mineral Resources Department (MRD) | MRD |  |  | Dozen | DZ
Naya Raipur Development Authority (NRDA) | NRDA |  |  | EACH | EA
Panchayat and Rural Development (PARD) | PARD |  |  | each | each
Public Health Engineering Department (PHED) | PHED |  |  | each additional floor | each additional floor
Public Works Department (PWD) | PWD |  |  | each cut | each cut
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each test | each test
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | each tree guard | each tree guard
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Enzyme Units / Milliliter | EML
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rural Engineering Services (RES) | RES |  |  | Fluid Ounce US | FOZ
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Feet | FT
State Urban Development Agency (SUDA) | SUDA |  |  | Square foot | FT2
Urban Administration and Development Department (UADD) | UADD |  |  | Cubic foot | FT3
Water Resources Department (WRD) | WRD |  |  | Gigajoule | FY
|  |  |  | Gram | G
|  |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man-Month | Man-Month
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG. | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | Per mtr | Per mtr
|  |  |  | per pouch | per pouch
|  |  |  | per test | per test
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per.mtr | per.mtr
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Parts per trillion | PPT
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM