List of Approved Materials/Accessories List

[Updated on 16.02.2026]

Name of work:- Providing Internal Electrification,Main Cubical Panel,Air Conditioner,Water Cooler,Geyser And Refrigerator,Area Light, Inverter & UPS & Sound System in 3 Nos. Additional Room & Rennovation Of Exsiting Rest House Building At Lormi, District - Mungeli (C.G.)

| Category of Item | S.N. | Brand Name |
| --- | --- | --- |
| Switch and other accessories with plate and board (Modular) |  | Bentec (Benlo) |
|  |  | V-Marc |
|  |  | Ledvance |
|  |  | C&S |
|  |  | Legrand |
|  |  | Havells (Crab Tree) |
|  |  | 9Greens |
|  |  | Roma |
| Switch and other accessories with plate and board (Non Modular) |  | Havells (Crab Tree) |
|  |  | Winner |
|  |  | 9Greens |
|  |  | Bentec (Benlo) |
|  |  | Anchor |
| PVC pipe & Accessories (2mm thickness heavy duty for concealed as well as for surface wiring) |  | Crown |
|  |  | Dauphin |
|  |  | BEC Plast |
|  |  | Finolex |
|  |  | AKG |
| PVC copper wire standard with FRLS wire |  | Havells |
|  |  | 9Greens |
|  |  | Ultracab |
|  |  | Polycab |
|  |  | Finolex |
|  |  | R.R. Kabel |
| MCCB/MCB & MCB DB |  | C&S |
|  |  | Bentec (Benlo) |
|  |  | V-Marc |
|  |  | 9Greens |
|  |  | Sturlite |
|  |  | L&T |
|  |  | ABB |
|  |  | Legrand |
|  |  | Schneider |
| Power cable |  | R.R. Kabel |
|  |  | Ultracab |
|  |  | Havell's |
|  |  | Polycab |
|  |  | Finolex |
| Ceiling fan |  | Halonix |
|  |  | Havells |
|  |  | Usha-Appollo |
|  |  | Bajaj- Grace Gold |
|  |  | Crompton-Hispeed |
| Exhaust fan /Wall fan |  | Polycab |
|  |  | Halonix |
|  |  | Bajaj |
|  |  | Usha |
|  |  | Polycab |
|  |  | Polar |
|  |  | Usha |
|  |  | Polycab |
|  |  | Polar |
| Submersible water pump |  | CRI |
|  |  | Crompton greaves |
|  |  | Kirlosker |
| HDPE Pipe |  | Finolex |
|  |  | Kisan |
|  |  | Tirupati |
| G.I. Pipe |  | Jindal |
|  |  | Tata |
| Air Conditioner (Up to 2 Ton Split/Window) - 4 to 5 Star/17.0TR Dx type |  | Blue Star |
|  |  | Daikin |
|  |  | Hitachi |
| Battary |  | Exide |
|  |  | Amaron |
|  |  | HBL |
|  |  | Amar Raja |
| Battery Charger |  | Aditya |
|  |  | Powertron |
|  |  | Skathi |
| Inverter |  | Microtek |
|  |  | Luminous |
| LED/Conventional Luminaires (lumen efficay - 120 ) |  | Havells |
|  |  | Halonix |
|  |  | Bajaj |
|  |  | Philips |
|  |  | Crompton |
|  |  | Wipro |
| LED Street Light |  | Wipro- Sky line |
|  |  | Schneider - Ampera |
|  |  | OSRAM - LED vvo Plus |
|  |  | Syska LED |
|  |  | Sturlite |
| Lane Wire (Computer networking lane wire) |  | D-Link |
|  |  | Polycab |
|  |  | Ultracab |
|  |  | ORBIT |
|  |  | Paraflex |
| Pole |  | ENERGY GREEN |
|  |  | Bajaj |
|  |  | Valmount |
|  |  | Utkarsh |
|  |  | Goldwyn LED |
|  |  | Skipper |
|  |  | Trans Rail |
| CCTV Cables /LAN Cable |  | R.R. |
|  |  | Finolex |
|  |  | Ultracab |
|  |  | Paraflex |
| CCTV Camera |  | Honeywill |
|  |  | Peleco |
|  |  | Sony |
| D.G. Set |  | Crompton Greaves |
|  |  | Jackson (Cummins) |
|  |  | Kirloskar Koel/Green |
|  |  | Mahindra |
| Transformer |  | Schneider |
|  |  | Siemens |
|  |  | Kirloskar |
|  |  | Crompton Greaves |
|  |  | GE Prolec |
|  |  | Voltamp |
| LT Panel |  | Siemens |
|  |  | ABB |
|  |  | Schneider |
| ACB |  | SIEMEN |
|  |  | ABB |
|  |  | SCHNEIDER Electric |
|  |  | L&T |
| Fire Detector/Alarm/PA System |  | Siemens Cerberus |
|  |  | Siemens Fire Finder |
|  |  | Honewell |
|  |  | ASES |
| Fire Rated Metal/ Wooden/ Glassed Door/ Signage/Suppression System |  | ASES |
| Fire Pump |  | Kirloskar |
|  |  | Dround fos |
|  |  | willey |
| Advance Lightning Protection System |  | Indelec |
|  |  | Tersel |
|  |  | ABB |

uksV %&	mijksDr leLr lkexzh dks Hkou esa yxkus ds iwoZ bathfu;j bapktZ@lkbV bathfu;j ds fujh{k.k@vuqeksnu ds Ik”pkr gh yxk;k tkuk lqfuf”pr gksA

Executive Engineer

P.W.D. E/M  Division

Bilaspur (C.G.)

ANNEXURE –E

(To be enclosed with N.I.T. for Electrical Works)

- Electrical installation shall be carried out in accordance with the General specification for Electrical works (Part-1 Internal) & (Part-II External) 1972 of C.P.P.W.D. adopted by E-in-C, M.P.P.W.D. Bhopal & also confirmed with Indian Electricity Rule 1956, as amended upto date.

- All materials used in electric installation, shall be ISI marked as per availability otherwise confirming to relevant I.S.S. amended upto date and shall be genuine of approved make only.

- Contractor will submit, along with final bill –

- Completion certificate in appendix “E”

- Completion plan, drawn to a suitable scale on tracing cloth with ink, indicating location of main switch, D.B. Circuit, fitting & their controls etc. as stated in clause 1-1-9-2 & 1-1-3-9.

- Test report in prescribed form of C.S.E.B.

- Reusing of used electrical material shall not be permitted.

- ‘D’ type bracket should be used for fixing street light/M.V. Lamp fitting & service entry pipe.

- Vertical drops of switch boards be made concealed in surface PVC conduit, system of wiring.

- Bottom of switch board should be 1.25 M from floor level, light points & fan point shall be at height not less than 2.5 & 2.75 m respectively.

- Where fan regulators are installed, M.S. Box shall only be used.

- Deep junction box confirming to IS ( Not less than 65 mm) shall be used for steel conduit system of wiring & shall be covered suitably by G.I. sheet 1.00 mm thick.

- Wiring shall be done in looping back system & balancing of poly phase should be ensured.

- In unavoidable circumstances material of equivalent quality not included in approved list can be used after approval of S.E. (E&M).

- Earthing system should be installed in presence of A.E. (E&M)/Sub-Engineer (E&M)

- Earth continuity conductor of required size & materials should be installed with entire run of wiring, Earth bolt must be provided at all switch boards, All metallic, parts, ceiling fan, tube fitting, socket out let should be essentially connected to earth.

- All open conduits, stiff pendants, D. bracket etc. shall be painted with white/matching colour enamel paint as per practice.

- All connection of ceiling fan, tube fixture, street light fixture shall be made by 3 core PVC/Rubber sheathed cable of required size.

# Excutive Engineer

PWD (E&M) Division,

BILASPUR (C.G.)

fu;ekoyh ¼fo|qrhdj.k dk;Z½ ifjf”k’V

- flfoy Bsdsnkj ds ikl thfor oS/kkfud fo|qr Bsdsnkjh yk;lsal gksuk pkfg;sA flfoy Bsdsnkj fo|qrhdj.k dk;Z l{ke fo|qr Bsdsnkj ftldk iathdj.k yksd fuekZ.k foHkkx esa fo|qrhdj.k dk;Z gsrq iathd`r gks ,oa dk;Zikyu vfHk;ark ls vuqefr ysdj lcysV djuk gksxkA lcysV mlh fo|qr Bsdsnkj dks fd;k tkosxk tks fufonk esa lfEefyr gks ,oa fo|qrhdj.k jkf”k ds vuq:Ik iathd`r gksA

- flfoy dk;Z ds lkFk lfEefyr vkarfjd fo|qrhdj.k dk;Z ys&vkÅV] fujh{k.k ,oa eki fo|qr@;kaf=dh “kk[kk }kjk fd;k tkosxkA fo|qrhdj.k dk;Z dk ns;d dk;Zikyu vfHk;ark ¼fo-@;ka-½ ikfjr djsaxs ,oa Hkqxrku dk;Zikyu vfHk;ark ¼flfoy½ }kjk fd;k tkosxkA

- fo|qrhdj.k dk;Z esa yxus okyh fo|qr lkefxz;ka v/kh{k.k vfHk;ark ¼fo-@;ka-½ eaMy fcykliqj }kjk vuqeksfnr layXu lwph esa n”kkZ, x;s esd Make ,oa ekWMy Model dk gksuk pkfg;s A

- fo|qrhdj.k dk;Z fu/kkZfjr ekud vuqlkj ,oa Hkkjrh; fo|qr fu;eksa dk iw.kZr% ikyu fd;k tkos ,oa fo|qr@;kaf=d “kk[kk ds vfHk;ark ds ekxZn”kZu ,oa fujh{k.k ds v/khu jgsxk A

- Bsdsnkj fo|qr lkefxz;ka ds mi;ksx ds iwoZ dk;Zikyu vfHk;ark ¼fo-@;ka½ ls fujh{k.k djkdj vuqeksnu mijkar mi;ksx esa yk;k tk;sxkA

- lqj{kk fuf/k ds vfrfjDr odZ ijQkesZUl xkjaVh gsrq 5 izfr”kr jkf”k ns;d ls dkVdj lqjf{kr j[kh tkosxh ,oa 3 o’kZ mijkar dk;Zikyu vfHk;ark ds vuqefr mijkar Hkqxrku fd;k tkosxkA

- fdlh Hkh izdkj dh fookn dh fLFkfr esa v/kh{k.k vfHk;ark yksd fuekZ.k foHkkx ¼fo-@;ka-½ e.My fcykliqj dk fu.kZ; vafre ,oa loZekU; gksxkA

dk;Zikyu vfHk;ark

yksd fuekZ.k foHkkx ¼fo-@;ka-½ laHkkx

fcykliqj ¼NÙkhlx<+½