## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
NIT SCHEDULE FOR CONSTRUCTION OF REST HOUSE BUILDING AT BAGIYA DIST- JASHPUR(C.G)
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset Price
1 | PWD | PWD BLD | 2015 | 1.2 | Surface dressing of the ground including removing vegetation and making up undulations and in-equalities not exceeding 15 cms in depth/ height including disposal of rubbish upto 1.5 m lift and lead upto 50m (at least 5m away from the dressed area). | Sqm | 7.2 | 10000 | 72000 | 0 | 0 | N
2 | PWD | PWD BLD | 2015 | 1.1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. In all types of soil | Cum | 185 | 1117.07 | 206658 | 0 | 0 | N
3 | PWD | PWD BLD | 2015 | 1.3.3 | Felling trees of the girth (measured at a height of 1 m above ground level) including cutting of trunks and branches removing the roots and stacking of serviceable material after cutting in approved sizes and disposal of unserviceable material. Beyond 120 cm girth upto and including 240 cm girth | Each | 2721 | 10 | 27210 | 0 | 0 | N
4 | PWD | PWD BLD | 2015 | 1.3.1 | Beyond 30 cm girth upto and including 60 cm girth | Each | 132 | 10 | 1320 | 0 | 0 | N
5 |  | PWD BLD | 2015 | 3.1.3 | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work. 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | Cum | 2970 | 151.9703 | 451352 | 0 | 0 | N
6 | PWD | PWD BLD | 2015 | 7.5.3 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:5 (1 cement : 5 coarse sand) | Cum | 3350 | 54.75 | 183413 | 0 | 0 | N
7 | PWD | PWD BLD | 2015 | 3.2.1 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | Cum | 4163 | 569.9918 | 2372876 | 0 | 0 | N
8 | PWD | PWD BLD | 2015 | 2.1.1 | Providing and fixing formwork including centering, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Foundations, footings, base of columns and plinth beam in any shape and size. | Sqm | 139 | 1513.7101 | 210406 | 0 | 0 | N
9 | PWD | PWD BLD | 2015 | 2.1.5 | Columns, Pillars, Piers and likes- rectangular or square in shape | Sqm | 297 | 933.9902 | 277395 | 0 | 0 | N
10 | PWD | PWD BLD | 2015 | 2.1.6 | Columns, beams & walls- circular or any other geometrical shape other than square and rectangular in all sizes | Sqm | 356 | 24.8688 | 8853 | 0 | 0 | N
11 | PWD | PWD BLD | 2015 | 2.1.7 | Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | Sqm | 235 | 1339.07 | 314681 | 0 | 0 | N
12 | PWD | PWD BLD | 2015 | 2.1.8 | Beams, lintels, cantilevers & walls | Sqm | 202 | 755.53 | 152617 | 0 | 0 | N
13 |  | PWD BLD | 2015 | 2.1.13 | Weather shade, chhajja, Cornices and mouldings | Sqm | 294 | 89.39 | 26281 | 0 | 0 | N
14 | PWD | PWD BLD | 2015 | 1.12.1 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire all complete: Thermo-Mechanically treated bars | Kg | 54.5 | 68159.0199 | 3714667 | 0 | 0 | N
15 | PWD | PWD BLD | 2015 | 7.5.3 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:5 (1 cement : 5 coarse sand) | Cum | 3350 | 293.812 | 984270 | 0 | 0 | N
16 | PWD | PWD BLD | 2015 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | Cum | 121 | 333.98 | 40412 | 0 | 0 | N
17 | PWD | PWD BLD | 2015 | 7.11.1 | Half brick thick brick masonry with fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in superstructure above plinth level upto plinth level: Cement Mortar 1:3 (1 cement : 3 coarse sand) | Sqm | 394 | 132.12 | 52055 | 0 | 0 | N
18 | PWD | PWD BLD | 2015 | 7.2 | Extra for providing and placing in position hopping 25x1.60 mm or 2 Nos 6mm dia MS bars reinforcement at every third course of half brick masonry. | Sqm | 62.5 | 132.12 | 8258 | 0 | 0 | N
19 | PWD | PWD BLD | 2015 | 8.1.2 | Providing wood work in frames of doors, windows, clerestory windows and other frames wrought framed and fixed in position. Sal, bijasal, benteak, khair, haldu | Cum | 51051 | 5.6531 | 288598 | 0 | 0 | N
20 | PWD | PWD BLD | 2015 | 8.12.2 | Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges. 35 mm. thick (single leaf) Teak wood | Sqm | 2005 | 71.82 | 143999 | 0 | 0 | N
21 | PWD | PWD BLD | 2015 | 8.8.1 | Providing and fixing 30mm thick paneled or glazed or paneled and glazed shutter frames for doors excluding hinges and paneling. (Area of shutter to be measured without deducting paneling area) Teak wood | Sqm | 2256 | 66.96 | 151062 | 0 | 0 | N
22 | PWD | PWD BLD | 2015 | 8.11.2 | Providing and fixing glass panes in glazed or paneled and glazed shutters of doors and window, clearstory windows etc (Only area of glass panes to be measured). 5mm thick | Sqm | 502 | 50.4 | 25301 | 0 | 0 | N
23 | PWD | PWD BLD | 2015 | 8.24.1 | Providing and fixing 30mm thick wire gauge shutter using galvanized M.S. wire dia of 0.45mm for doors, windows, clerestory windows excluding hinges. Teak wood | Sqm | 2477 | 151.62 | 375563 | 0 | 0 | N
24 | PWD | PWD BLD | 2015 | 9.47.2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately: For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | Kg | 338 | 576 | 194688 | 0 | 0 | N
25 | PWD | PWD BLD | 2015 | 9.53 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side having 12 mm air gap including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. complete. | Sqm | 3159 | 6.48 | 20470 | 0 | 0 | N
26 | PWD | PWD BLD | 2015 | 9.6 | Designing, providing and fixing aluminium frame work made of special aluminium section on building face with M.S. angle iron brackets fixed on RCC structure with S.S. hold fasteners, including providing and fixing two sided structural adhesive tape of appropriate grade (NORTON or equilent), on aluminium sections for fixing aluminium/ glass panel, sealing on periphery of frame work, by providing EPDM gasket, silicon weather sealant between aluminium frame and building structure including hire charges of double scaffolding complete. | Kg | 357 | 2362.264 | 843328 | 0 | 0 | N
27 | PWD | PWD BLD | 2015 | 9.61.2 | Providing and fixing aluminium composite panels in approved panel sizes, thickness and shape on aluminium frame work on face of building. (Frame to be paid for separately) 4mm thick | Sqm | 1745 | 105.0264 | 183271 | 0 | 0 | N
28 | PWD | PWD BLD | 2015 | 9.62 | Providing and fixing laminated glass sheet of 8.76mm thickness in approved sizes on aluminium frame work on face of building. (Frame to be paid for separately). | Sqm | 2613 | 131.2 | 342826 | 0 | 0 | N
29 | PWD | PWD BLD | 2015 | 11.8 | Providing and making 18mm thick cement plaster in two coats with under layer of 12mm thick plaster 1:5 (1 cement : 5 fine sand) and top layer of 6mm thick with cement plaster 1:3 (1 cement : 3 fine sand) finished rough with sponge. | Sqm | 167 | 35.7 | 5962 | 0 | 0 | N
30 | PWD | PWD BLD | 2015 | 8.58.1 | Providing and fixing bright finished brass butt hinges with brass polished MS screws complete: 125x85x5.50 mm (Heavy Type) | Each | 245 | 198 | 48510 | 0 | 0 | N
31 | PWD | PWD BLD | 2015 | 8.58.2 | 100x85x5.50 mm (Heavy Type) | Each | 195 | 504 | 98280 | 0 | 0 | N
32 | PWD | PWD BLD | 2015 | 8.58.3 | 75x65x4.00 mm (Heavy Type) | Each | 75.5 | 64 | 4832 | 0 | 0 | N
33 | PWD | PWD BLD | 2015 | 8.60.1 | Providing and fixing bright finished brass sliding door bolt with nuts and brass polished MS screws complete: 300x16mm | Each | 475 | 66 | 31350 | 0 | 0 | N
34 | PWD | PWD BLD | 2015 | 8.62.1 | Providing and fixing bright finished brass tower bolts (barrel type) with brass polished MS screws complete: 250x10mm | Each | 276 | 66 | 18216 | 0 | 0 | N
35 | PWD | PWD BLD | 2015 | 8.62.3 | 150x10mm | Each | 176 | 168 | 29568 | 0 | 0 | N
36 | PWD | PWD BLD | 2015 | 8.65.1 | Providing and fixing bright finished brass door handles with brass polished MS screws complete: 125 mm | Each | 55.5 | 84 | 4662 | 0 | 0 | N
37 | PWD | PWD BLD | 2015 | 8.65.2 | 100 mm | Each | 49 | 84 | 4116 | 0 | 0 | N
38 | PWD | PWD BLD | 2015 | 8.65.3 | 75 mm | Each | 42.5 | 16 | 680 | 0 | 0 | N
39 | PWD | PWD BLD | 2015 | 8.73 | Providing and fixing 150mm bright finished brass floor door stopper with rubber cushion & brass polished MS screws etc complete to suit the shutter thickness. | Each | 73 | 66 | 4818 | 0 | 0 | N
40 | PWD | PWD BLD | 2015 | 8.74.1 | Providing and fixing bright finished brass hard drawn hooks & eyes with brass polished MS screws etc complete. 300 mm | Each | 84 | 84 | 7056 | 0 | 0 | N
41 | PWD | PWD BLD | 2015 | 8.74.2 | 250 mm | Each | 77.5 | 32 | 2480 | 0 | 0 | N
42 | PWD | PWD BLD | 2015 | 1.18 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | Cum | 371 | 1337.844 | 496340 | 0 | 0 | N
43 | PWD | PWD BLD | 2015 | 9.15 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat of red oxide zinc chromate primer.. | Kg | 67.5 | 1706.4 | 115182 | 0 | 0 | N
44 | PWD | PWD BLD | 2015 | 9.11 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rails of T-iron 40x40x6mm with 38mm steel pulleys complete with bolts, nuts, locking arrangement stoppers, handles including applying a priming coat of red oxide zinc chromate primer. | Sqm | 3330 | 37.8 | 125874 | 0 | 0 | N
45 | PWD | PWD BLD | 2015 | 9.54 | Providing and fixing anodized aluminium framed grill (minimum anodic coating of grade AC 15)of approved shape, pattern and design including cutting, bending, hoisting and erecting/ fixing to door, window frame or to wall with fixing clips or hold fasteners or bolts and nuts as required etc. complete. | Kg | 396 | 2460 | 974160 | 0 | 0 | N
46 | PWD | PWD BLD | 2015 | 12.7.2 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete. Size above 200x300mm | Sqm | 646 | 376.17 | 243006 | 0 | 0 | N
47 | PWD | PWD BLD | 2015 | 12.74.1 | Providing and laying rectified ceramic glazed floor tiles 300x300mm conforming to IS : 15622 of approved make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc., complete. 300x300mm | Sqm | 779 | 151.26 | 117832 | 0 | 0 | N
48 | PWD | PWD BLD | 2015 | 12.13.3 | Providing and laying DOUBLE/MULTI CHARGE (MINIMUM 2.0mm thick layer)vitrified floor tiles with water absorption less than 0.05% and conforming to IS : 15622-2017 of 1st quality of approved make in all colours and shades and size mentioned below (+/- 10mm), laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete. Size 1000x1000mm | Sqm | 1786 | 779.8575 | 1392825 | 0 | 0 | N
49 | PWD | PWD BLD | 2015 | 12.36.1 | Chequered terrazzo tiles 22 mm thick with graded marble chips of size upto 6mm in floors on 25mm thick bed of cement mortar 1:6 (1 cement : 6 coarse sand) jointed with neat cement slurry mixed with pigment to match the shade of tiles including grinding rubbing and polishing complete. Light shade using white cement | Sqm | 799 | 89.5 | 71511 | 0 | 0 | N
50 | PWD | PWD BLD | 2015 | 12.46.2 | 15 mm thick Table rubbed polished Granite stone slab in risers and treads of steps skirting dado and pillars laid on 12mm (average) thick base of cement mortar 1:3 (1 cement : 3 coarse sand) and jointed with grey cement slurry including rubbing and polishing etc. complete (single stone is to be used for risers and treads of steps and width of stone for skirting and dado shall be equal to the height of skirting & dado and length of 1.0 m). Granite stone black | Sqm | 2719 | 291.905 | 793690 | 0 | 0 | N
51 | PWD | PWD BLD | 2015 | 12.45.3 | 15 mm thick Table rubbed polished Granite stone slab flooring laid over 20mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including rubbing and polishing etc. complete. (Area of slab should be 0.50 sqm and above) Granite stone lakha red/ shahi red | Sqm | 4200 | 332.54 | 1396668 | 0 | 0 | N
52 | PWD | PWD BLD | 2015 | 12.49 | 25 mm thick KOTA stone slab flooring over 20mm (average) thick base of cement mortar 1:4 laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including grinding rubbing and polishing etc. complete (Area of slab to be over 0.20 sq.m and upto 0.50 sq.m) | Sqm | 897 | 106.32 | 95369 | 0 | 0 | N
53 | PWD | PWD BLD | 2015 | 12.51 | Extra for nosing in steps and treads of Kota stone slab. | Mtr | 69.5 | 223.6 | 15540 | 0 | 0 | N
54 | PWD | PWD BLD | 2015 | 11.1.1 | 6mm thick cement plaster of mix: In Cement mortar 1:3 (1 cement : 3 fine sand) | Sqm | 93 | 1409.03 | 131040 | 0 | 0 | N
55 | PWD | PWD BLD | 2015 | 11.2.3 | Providing and making 12mm thick cement plaster of mix: In Cement Mortar 1:5 (1 cement : 5 fine sand) | Sqm | 96.5 | 3126.54 | 301711 | 0 | 0 | N
56 | PWD | PWD BLD | 2015 | 11.3.3 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: In Cement Mortar 1:5 (1 cement : 5 fine sand) | Sqm | 113 | 1891.14 | 213699 | 0 | 0 | N
57 | PWD | PWD BLD | 2015 | 10.69 | Providing and fixing at all height false ceiling consisting of frame work "W" / "U" / "L" sections made of G.I. sheet with zinc coating of grade 120 consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm running at the rate of 1200mm centre to centre to which the ceiling section 0.5mm thick button wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm diax230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and perimeter channels 0.55mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed including providing and fixing 12.5 mm thick tapered edge gypsum board conforming to IS: 2095- Part-I all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting. | Sqm | 1458 | 403.92 | 588915 | 0 | 0 | N
58 | PWD | PWD BLD | 2015 | 10.54 | Extra for sunk or raised mouldings in the Gypsum board/ plaster of paris false ceiling. | Sqm | 185 | 403.92 | 74725 | 0 | 0 | N
59 | PWD | PWD BLD | 2015 | 14.57 | Providing and applying 2mm thick white cement based Acrylic grade putty with minimum 3 coats applied @ 4.0 kg/ 10Sqm as per relevant IS code 17545:2021 (Product such as Asian trucare, Berger Happy walls Putty Birla Opus One pro smooth) to make the surface smooth and even with all tools tackles and labour etc. complete for the work . (This Item to be use in heigher grade painting works Item No. 14.65) | Sqm | 95 | 5421.6 | 515052 | 0 | 0 | N
60 | PWD | PWD BLD | 2015 | 14.63 | Providing and applying Economy Plastic emulsion paint with roller application minimum three coats appied @ 1.25 lit / 10 Sqm up to final finish as per relevant I.S. Code 15489:2013_Type -1 Class D & C (Glossy and Semi Glossy Finish) of required shade (product such as Tractor emulsion, Dulux Promise, Nerolac Bueaty Silver, Berger bison/breeze , Opus I30/ Style Paint) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour complete for the work . (With 2 Year warranty). | Sqm | 74 | 5421.6 | 401198 | 0 | 0 | N
61 | PWD | PWD BLD | 2015 | 14.68 | Providing and applying on exterior surface with PREMIUM Exterior emulsion paint of required shade to give protective nd water proof finish minimum 3 coats applied @ 1.40 lit / 10Sqm up to final finish as per relevant I.S. Code 15489:2013 Type -2 Class D , C (Glossy /Semi Glossy finish ) (Product such as Asian Apex ,Dulux Weather Shield Prima E900, Berger Weathercoat Antidust, Nerolac Everlas Excel, Nippon Sumo Etra, Opus True flex) inclusive of providing abro tape on edges and articleand cleaning of door, windows, floor and surface as required with all tools tackles and labour | Sqm | 84 | 3126.54 | 262629 | 0 | 0 | N
62 | PWD | PWD BLD | 2015 | 14.71 | Providing and applying satin/ matt finish Enamel paint mimimum 2 Coats in all surface applying @ 0.75 lit/ 10 Sqm up to required finish as per relevent I.S. code 2932: 2013 of (Product such as Asian satin Enamel, Dulux Promise Premium Enamel, Nerolac Synthatic Enamel, Opus Prime enamel) inclusive of providing abro tape on edges and article and cleaning of door, windows, loor and surface as required with all tools tackle and labour etc. complete for the work. | Sqm | 133 | 479.36 | 63755 | 0 | 0 | N
63 | PWD | PWD BLD | 2015 | 7.5.3 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:5 (1 cement : 5 coarse sand) | Sqm | 3350 | 63.12 | 211452 | 0 | 0 | N
64 | PWD | PWD BLD | 2015 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth | Cum | 242 | 63.12 | 15275 | 0 | 0 | N
65 | PWD | PWD BLD | 2015 | 3.13 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including formwork. | Cum | 4237 | 3.792 | 16067 | 0 | 0 | N
66 | PWD | PWD BLD | 2015 | 18.5.1 | Providing and fixing vitreous china dual purpose closet suitable for use as squatting pan or European type water closet (Anglo Indian W.C pan) with ISI marked white plastic seat and lid, 10 litre PVC low level flushing cistern with fitting and brackets, 40mm flush bend, mosquito proof coupling complete, including painting of brackets, cutting and making good the walls and floors wherever required : White | Each | 4589 | 2 | 9178 | 0 | 0 | N
67 | PWD | PWD BLD | 2015 | 18.1.3 | Providing and fixing water closet squatting pan (Indian type W.C. pan), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Orissa pattern W.C. pan of size 580x440 mm | Each | 2899 | 7 | 20293 | 0 | 0 | N
68 | PWD | PWD BLD | 2015 | 18.12.1 | Providing and fixing vitreous china pedestal type water closet (European type) with inbuilt 10 litre low level vitreous china flushing cistern, ISI marked plastic seat and lid (same colour), mosquito proof coupling complete: White | Each | 5108 | 7 | 35756 | 0 | 0 | N
69 | PWD | PWD BLD | 2015 | 18.9.1 | Providing and fixing ISI marked plastic seat with lid for pedestal type W.C. pan complete: White/ black | Each | 620 | 7 | 4340 | 0 | 0 | N
70 | PWD | PWD BLD | 2015 | 18.15 | Providing and fixing one piece construction white vitreous china squatting plate urinal with an integral rim longitudinal flushing pipe, standard size G.I. flush pipe for back and front flush, C.P. brass coupling complete including cutting and making good the walls and floors etc. wherever required : | Each | 2014 | 9 | 18126 | 0 | 0 | N
71 | PWD | PWD BLD | 2015 | 18.17.1 | Providing and fixing vitreous china wash basin with C.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of brackets, cutting and making good the walls wherever required : White Size 550x450 mm | Each | 1430 | 12 | 17160 | 0 | 0 | N
72 | PWD | PWD BLD | 2015 | 18.19.1 | Providing and fixing vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. White | Each | 1130 | 12 | 13560 | 0 | 0 | N
73 | PWD | PWD BLD | 2015 | 18.21.2 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink with drain board as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : 1040x510 mm bowl size 460x410x200 mm | Each | 8539 | 2 | 17078 | 0 | 0 | N
74 | PWD | PWD BLD | 2015 | 18.25.2 | Providing and fixing flexible P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. 40 mm dia | Each | 88.5 | 26 | 2301 | 0 | 0 | N
75 | PWD | PWD BLD | 2015 | 18.28 | Providing and fixing in position 25mm diameter mosquito proof coupling of approved municipal design. | Each | 41 | 26 | 1066 | 0 | 0 | N
76 | PWD | PWD BLD | 2015 | 18.30.1 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing 5mm thick mirror | Each | 2016 | 15 | 30240 | 0 | 0 | N
77 | PWD | PWD BLD | 2015 | 18.76 | Providing and fixing on wall face UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. 18.77.1) Tee/ Tee with door/ Bend 45°/ Bend 90° 18.75.2) Single tee with door 18.75.1) 75x75x75 mm | Each | 113 | 46 | 5198 | 0 | 0 | N
78 | PWD | PWD BLD | 2015 | 18.75.2.2 | 110x110x110 mm | Each | 154 | 73 | 11242 | 0 | 0 | N
79 | PWD | PWD BLD | 2015 | 18.75.3.1 | Single tee without door 75x75x75 mm | Each | 90.55 | 58 | 5252 | 0 | 0 | N
80 | PWD | PWD BLD | 2015 | 18.75.3.2 | 110x110x110 mm | Each | 167.85 | 86 | 14435 | 0 | 0 | N
81 | PWD | PWD BLD | 2015 | 18.75.4.1 | Bend 45° 75 mm bend | Each | 73.4 | 33 | 2422 | 0 | 0 | N
82 | PWD | PWD BLD | 2015 | 18.75.4.2 | 110 mm bend | Each | 110.1 | 74 | 8147 | 0 | 0 | N
83 | PWD | PWD BLD | 2015 | 18.75.5.1 | Plain bend 75 mm bend | Each | 146.75 | 65 | 9539 | 0 | 0 | N
84 | PWD | PWD BLD | 2015 | 18.75.5.2 | 110 mm bend | Each | 183.45 | 122 | 22381 | 0 | 0 | N
85 | PWD | PWD BLD | 2015 | 18.75.6.1 | Vent covel 75 mm | Each | 29.65 | 4 | 119 | 0 | 0 | N
86 | PWD | PWD BLD | 2015 | 18.75.6.2 | 110 mm | Each | 32.8 | 3 | 98 | 0 | 0 | N
87 | PWD | PWD BLD | 2015 | 18.75.8 | "P" trap 110mmx110mm long | Each | 254.55 | 48 | 12218 | 0 | 0 | N
88 | PWD | PWD BLD | 2015 | 18.75.9 | Nahani trap 110x75mm | Each | 100.7 | 66 | 6646 | 0 | 0 | N
89 | PWD | PWD BLD | 2015 | 18.75.10 | Multi floor trap 110 | Each | 146.75 | 23 | 3375 | 0 | 0 | N
90 | PWD | PWD BLD | 2015 | 18.75.11 | Plain reducing Tee 110x75mm | Each | 85.9 | 19 | 1632 | 0 | 0 | N
91 | PWD | PWD BLD | 2015 | 19.5.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. CONCEALED WORK including cutting chases and making good the walls etc., 15 mm dia nominal bore | Mtr | 133 | 89.2 | 11864 | 0 | 0 | N
92 | PWD | PWD BLD | 2015 | 19.5.2 | 25 mm dia nominal bore | Mtr | 213 | 65.7 | 13994 | 0 | 0 | N
93 | PWD | PWD BLD | 2015 | 19.7.2 | Providing and fixing on wall surface G.I. pipes medium class complete with G.I. fittings and clamps, including cutting, making good the walls etc. and testing of joints complete: 25 mm dia. nominal bore | Mtr | 185 | 44.3 | 8196 | 0 | 0 | N
94 | PWD | PWD BLD | 2015 | 19.7.4 | 32 mm dia. nominal bore | Mtr | 318 | 79.8 | 25376 | 0 | 0 | N
95 | PWD | PWD BLD | 2015 | 19.9.4 | Providing and laying in trenches G.I. pipes medium class complete with G.I. fittings including excavation of trenches, refilling the same and testing of joints complete: 32 mm dia. nominal bore | Mtr | 272 | 93.4 | 25405 | 0 | 0 | N
96 | PWD | PWD BLD | 2015 | 19.9.6 | 50 mm dia. nominal bore | Mtr | 398 | 130.6 | 51979 | 0 | 0 | N
97 | PWD | PWD BLD | 2015 | 19.11.1 | Providing and fixing G.I. Union in G.I. pipe (New work) including cutting and threading the pipe and making long screws etc. complete: 15 mm nominal bore | Each | 85 | 8 | 680 | 0 | 0 | N
98 | PWD | PWD BLD | 2015 | 19.11.2 | 20 mm nominal bore | Each | 98 | 4 | 392 | 0 | 0 | N
99 | PWD | PWD BLD | 2015 | 19.11.3 | 25 mm nominal bore | Each | 117 | 10 | 1170 | 0 | 0 | N
100 | PWD | PWD BLD | 2015 | 19.11.4 | 32 mm norminal | Each | 148 | 10 | 1480 | 0 | 0 | N
101 | PWD | PWD BLD | 2015 | 19.14.1 | Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required: Bib cock (450gms) | Each | 382 | 27 | 10314 | 0 | 0 | N
102 | PWD | PWD BLD | 2015 | 19.14.2 | Long nose bib cock (500gms) | Each | 455 | 9 | 4095 | 0 | 0 | N
103 | PWD | PWD BLD | 2015 | 19.14.3 | Long body bib cock (500gms) | Each | 426 | 12 | 5112 | 0 | 0 | N
104 | PWD | PWD BLD | 2015 | 19.14.5 | Two way bib cock (800gms) | Each | 708 | 7 | 4956 | 0 | 0 | N
105 | PWD | PWD BLD | 2015 | 19.14.6 | Stop cock (concealed) (600gms) | Each | 494 | 17 | 8398 | 0 | 0 | N
106 | PWD | PWD BLD | 2015 | 19.14.7 | Angle valve for basin mixer and geyser points (450gms) | Each | 382 | 7 | 2674 | 0 | 0 | N
107 | PWD | PWD BLD | 2015 | 19.14.8 | Basin mixer pillar tap with spout (1000gms) | Each | 1248 | 7 | 8736 | 0 | 0 | N
108 | PWD | PWD BLD | 2015 | 19.14.10 | Wall mixer with elegant knob (1400gms) | Each | 1787 | 6 | 10722 | 0 | 0 | N
109 | PWD | PWD BLD | 2015 | 19.14.11 | Hand shower set with flexible extension pipe | Each | 754 | 6 | 4524 | 0 | 0 | N
110 | PWD | PWD BLD | 2015 | 19.14.12 | Bottle trap set with extension pipes | Each | 473 | 6 | 2838 | 0 | 0 | N
111 | PWD | PWD BLD | 2015 | 19.14.13 | Toilet paper holder | Each | 248 | 6 | 1488 | 0 | 0 | N
112 | PWD | PWD BLD | 2015 | 19.14.14 | Soap dish plate | Each | 163 | 28 | 4564 | 0 | 0 | N
113 | PWD | PWD BLD | 2015 | 19.14.15 | Towel rail (600mm long x 20mm dia) | Each | 338 | 20 | 6760 | 0 | 0 | N
114 | PWD | PWD BLD | 2015 | 19.16.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm nominal bore | Each | 436 | 11 | 4796 | 0 | 0 | N
115 | PWD | PWD BLD | 2015 | 19.16.2 | 32 mm nominal bore. | Each | 510 | 6 | 3060 | 0 | 0 | N
116 | PWD | PWD BLD | 2015 | 19.16.4 | 50 mm nominal bore | Each | 762 | 2 | 1524 | 0 | 0 | N
117 | PWD | PWD BLD | 2015 | 19.42 | Providing and placing on terrace (at all levels) polyethylene water storage tank ISI marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | Ltr. | 7.3 | 8000 | 58400 | 0 | 0 | N
118 | PWD | PWD BLD | 2015 | 20.2.1 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete 150mm thick as per standard design: 100 mm diameter S.W. pipe | Mtr | 357 | 69.4 | 24776 | 0 | 0 | N
119 | PWD | PWD BLD | 2015 | 20.2.2 | 150 mm diameter S.W. pipe | Mtr | 436 | 36.7 | 16001 | 0 | 0 | N
120 | PWD | PWD BLD | 2015 | 20.3.1 | Providing and fixing square-mouth S.W. gully trap grade 'A'’ complete with C.I. grating brick masonry chamber with well burnt modular clay bricks crushing strength not less than 35kg/ cm², water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 100x100 mm size P type | Each | 1339 | 20 | 26780 | 0 | 0 | N
121 | PWD | PWD BLD | 2015 | 20.3.2 | 150 x 100 mm size P type. | Each | 1397 | 9 | 12573 | 0 | 0 | N
122 | PWD | PWD BLD | 2015 | 20.5.2 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | Mtr | 353 | 30 | 10590 | 0 | 0 | N
123 | PWD | PWD BLD | 2015 | 20.7.1 | Constructing brick masonry manhole with well burnt modular clay bricks crushing strength not less than 35kg/cm2 in cement mortar 1:4 ( 1 cement : 4 coarse sand), R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation in cement concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | Each | 6703 | 29 | 194387 | 0 | 0 | N
124 | PWD | PWD BLD | 2015 | 20.19.1 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 230 mm diameter | Each | 207 | 10 | 2070 | 0 | 0 | N
125 | PWD | PWD BLD | 2015 | 20.31 | Providing and constructing soak pit 1.20x1.20x1.20m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. each 1709.00 20.32 Providing and fixing S. | Each | 1709 | 3 | 5127 | 0 | 0 | N
126 | PWD | PWD BLD | 2015 | 8.12.2 | Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges. 35 mm. thick (single leaf) | Sqm | 2005 | 83.26 | 166936 | 0 | 0 | N
127 | PWD | PWD BLD | 2015 | 21.1 | Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge upto 90 metre depth below ground level. 21.1.1) All types of soil 21.1.1.3) 150 mm dia. | Mtr | 339 | 112 | 37968 | 0 | 0 | N
128 | PWD | PWD BLD | 2015 | 21.1.2.3 | Rocky strata including Boulders. 150 mm dia. | Mtr | 396 | 68 | 26928 | 0 | 0 | N
129 | PWD | PWD BLD | 2015 | 21.5.3 | Supplying, assembling, lowering and fixing in vertical position in bore well, ISI marked G.I. casing pipe (Plain) medium class in 4 to 7 meters length one end fitted with socket as per IS: 1239 (Part-1&Part-2) 1992 with IVth revision (Up-to-date amendments), of reputed & approved make, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer- in-charge 150 mm nominal dia. | Mtr | 1304 | 112 | 146048 | 0 | 0 | N
130 | PWD | PWD BLD | 2015 | 21.1 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tube well, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | Hour | 654 | 20 | 13080 | 0 | 0 | N
131 | PWD | PWD BLD | 2015 | 21.16 | Providing ISI Mark 32 mm dia G.I. ( B class) riser pipe and M.S. plunger rod in 3 meter length socketed on one end as per IS: 1239 ( Part I) 1990 with up to date amendments and socket as per IS: 2062/1990 up to date amendments. | Mtr | 390 | 2 | 780 | 0 | 0 | N
132 | PWD | PWD BLD | 2015 | 21.18 | Providing and fixing filter of minimum 100 litre capacity for roof top rain water harvesting through tube well consisting of two layered HDPE tank with five layers (each layers of minimum 100 mm) consist of coarse sand, 4mm, 6mm, 8mm & 12 mm gravels with stainless steel wire mesh fixed between each layer with suitable length and sufficient numbers of 110 mm dia PVC pipe pieces in the bottom of tank to support the above layer including fixing of inlet and out let P.V.C. pipe of required diameter upto 2 metre length on each side, Cement Concrete plateform of required size complete as directed by Engineer in charge. (excluding cost of tubewell and inlet and outlet pipe beyond 2 metre) | Ltr. | 18.5 | 4000 | 74000 | 0 | 0 | N
133 | PWD | PWD BLD | 2015 | 21.11.3 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for bore well of: 150 mm dia | Each | 217 | 2 | 434 | 0 | 0 | N
134 | PWD | PWD BLD | 2015 | 21.12.3 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tube well as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 150 mm clamp. | Each | 1055 | 2 | 2110 | 0 | 0 | N
135 | PWD | PWD BLD | 2015 | 21.19 | Providing and fixing 80-100 mm dia PVC ball valve for inlet/ outlet of rain water harvesting pipe and filter. | Each | 644 | 4 | 2576 | 0 | 0 | N
136 | PWD | PWD BLD | 2015 | 22.1 | Trenching in ordinary soil upto a depth of 60cm including removal and stacking of serviceable materials and then disposing of by spreading and neatly levelling with in a lead of 50m and making up the trenched area to proper levels by filling with earth or earth mixed with sludge or/and manure before and after flooding trench with water (excluding cost of imported earth, sludge or manure). | Cum | 115 | 178 | 20470 | 0 | 0 | N
137 | PWD | PWD BLD | 2015 | 22.2 | Supplying and stacking of good earth at site including royalty, loading, unloading and carriage upto 10 km (earth measured in stacks will be reduced by 20% for payment). | Cum | 201 | 178 | 35778 | 0 | 0 | N
138 | PWD | PWD BLD | 2015 | 22.3 | Supplying and stacking sludge at site including royalty, loading, unloading and carriage upto 10 km (sludge measured in stacks will be reduced by 8% for payment). | Cum | 248 | 53.4 | 13243 | 0 | 0 | N
139 | PWD | PWD BLD | 2015 | 22.6 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation. | Sqm | 1.6 | 229.52 | 367 | 0 | 0 | N
140 | PWD | PWD BLD | 2015 | 22.7 | Fine dressing the ground | Sqm | 1.1 | 229.52 | 252 | 0 | 0 | N
141 | PWD | PWD BLD | 2015 | 22.8 | Spreading of sludge, dump manure or/and good earth in required thickness (Cost of sludge, dump manure or/ and good earth to be paid separately). | Cum | 17.5 | 149.18 | 2611 | 0 | 0 | N
142 | PWD | PWD BLD | 2015 | 22.19 | Edging with modular well burnt clay bricks of crushing strength not less than 25kg/ sqcm laid dry length wise including excavation, refilling, consolidating with hand packing and spreading neatly surplus earth within a lead of 50 m : | Mtr. | 28.5 | 196.2 | 5592 | 0 | 0 | N
143 | PWD | PWD BLD | 2015 | 2.1.15 | Providing and fixing formwork including centering, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Stair cases of all types excluding spiral and folded plate type, including risers and landings | Sqm | 230 | 27 | 6210 | 0 | 0 | N
144 | PWD | PWD BLD | 2015 | 22.25.4 | Providing and planting following herbs in garden including preparation of soil, base plantation, providing and spreading different fertilizers, soil and sand: Carpet grass (well developed) | Sqm | 263 | 229.52 | 60364 | 0 | 0 | N
145 | PWD | PWD BLD | 2015 | 1.17 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | Cum | 65 | 264.4296 | 17188 | 0 | 0 | N
146 | PWD | PWD BLD | 2015 | 3.15 | Applying a coat of hot bitumen 30/40 using @ 1.7kg/ sqm on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | Sqm | 93.5 | 0.636 | 59 | 0 | 0 | N
147 | PWD | PWD BLD | 2015 | 7.4 | Brick work with modular well burnt (open bhatta) clay bricks of crushing strength not less than 20 kg/sqcm and water absorption not more than 25% in foundation and plinth in: 7.4.1) Cement Mortar 1:6 (1 Cement : 6 Coarse Sand) | Cum | 3264 | 68.929 | 224984 | 0 | 0 | N
148 | PWD | PWD BLD | 2015 | 9.13 | Providing and fixing steel door with M.S. sheet 1mm thick, frame of angle iron, diagonal braces of angle/ flat iron of suitable size, 3.00 mm M.S. gusset plates at junctions and corners, all necessary fittings complete including applying a priming coat of red oxide zinc chromate primer.. | kg | 75 | 72 | 5400 | 0 | 0 | N
149 | PWD | PWD BLD | 2015 | 9.3 | Steel work in tubular structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer. 9.3.1) Electric resistance or induction butt welded tubes Grade-250 | kg | 88.5 | 600 | 53100 | 0 | 0 | N
150 | PWD | PWD BLD | 2015 | 8.13 | Providing and fixing flush door shutters, conforming to IS 2202 (Part 1), interior grade, commercial type, core of block board construction with frame of first class hard wood and well matched commercial ply veneering with vertical grains, cross bands and face veneers on both faces of shutters excluding hinges. 8.13.2) 35 mm. thick (single leaf) | Sqm | 1370 | 26.56 | 36387 | 0 | 0 | N
151 | PWD | PWD BLD | 2015 | 11.2 | Providing and making 12mm thick cement plaster of mix: 11.2.4) In Cement Mortar 1:6 (1 cement : 6 fine sand) | Sqm | 91.5 | 306.16 | 28014 | 0 | 0 | N
152 | PWD | PWD BLD | 2015 | 11.3.4 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: 11.3.4) In Cement Mortar 1:6 (1 cement : 6 fine sand) | Sqm | 107 | 1330.32 | 142344 | 0 | 0 | N
153 | PWD | PWD BLD | 2015 | 12.3 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement.. 12.3.1) 40 mm thick | Sqm | 222 | 134.01 | 29750 | 0 | 0 | N
154 | PWD | PWD BLD | 2015 | 12.6 | Cement plaster skirting upto 30 cm. height with cement mortar 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement including rounding of junction with floor. 12.6.1) 18 mm thick in two layers of 12mm and 6mm | Sqm | 200 | 22.12 | 4424 | 0 | 0 | N
155 | PWD | PWD BLD | 2015 | 14.61 | Providing and applying Synthatic oil bound washable Distemper having VoC content less than 50gms/ lit. Minimum two coats up to final finish to give an even shade applied 1.25 kg / 10Sqm as per relevant I,S. Code 428:2000 (product such as Asian Tractor synthatic distemper , Berger Bison Lite , Dulux Magik , Birla Opus Style super smart) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work. | Sqm | 57 | 530.32 | 30228 | 0 | 0 | N
156 | PWD | PWD BLD | 2015 | 14.66 | Providing and applying on exterior surface with LITE ECONOMY Exterior Emulsion paint of required shades to give protective and water proof finish minimum three coats applied @ 1.43 lit / 10Sqm up to final finish as per relevant LS. Code 15489:2013 Type -2 Class D,C ( Glossy /Semi Glossy finish ) (Product such as Asian ACE Spark ,Dulux Pomise exterior smart, Nerolac Littil Master, Berger Bison Lite, Nippon Superio etc) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work (With 2 Year Warranty.) | Sqm | 55 | 306.16 | 16839 | 0 | 0 | N
157 | PWD | PWD BLD | 2015 | 11.1 | Providing and making 6mm thick cement plaster of mix 11.1.2) In Cement mortar 1:4 (1 cement : 4 fine sand) | Sqm | 87 | 60.83 | 5292 | 0 | 0 | N
158 | PWD | PWD ROAD | 2015 | 3.12 | Construction of embankment with Material Obtained from Borrow Pits/Borrow Area (Construction of embankment with approved material/selected soil having C.B.R.>5 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | Cum | 223 | 200.11 | 44625 | 0 | 0 | N
159 | PWD | PWD ROAD | 2015 | 4.1 | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing close graded Material, , carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 A) Plant mix method (with Mechanically crushed stone only) (b) For Sub-base cum drainage layer or upper sub-base with (ii) for grading- V Material | Cum | 1372 | 112.5 | 154350 | 0 | 0 | N
160 | PWD | PWD ROAD | 2015 | 6.6 | Providing and laying cement concrete for plain concrete/ reinforced concrete i/c form work, shuttering complete in as per drawings and specifications.( For Village roads) (i) P.C.C. M-10 | Cum | 2789 | 74.1986 | 206940 | 0 | 0 | N
161 | PWD | PWD ROAD | 2015 | 6.7 Amentment | Providing and laying Un-reinforced Cement Concrete without Dowel Bars including form work and expansion contraction & longitudinal joints as per design and as per IRC-62-2014 over a prepared base as per approved mix design and finishing to lines and grade as per drawing for Pavement thickness less than 200 mm in low Volume Roads. PCC Grade M-30 with minimum Cement Content @375 kg/cum. | Cum | 4391 | 135.2766 | 594000 | 0 | 0 | N
162 | PWD | PWD ROAD | 2015 | 3.2 | Construction of RCC open drain (ii) Construction of RCC open drain 0.60m x 0.60m inside dimension lined with 120 mm thick RCC M-20 walls, 120 mm thick CC M-20 foundation, over 100 mm thick (Av) leveling course in PCC M-15 including excavation , dressing of sides and bottom, provision of HYSD reinforcement consisting 8 mm dia horizontal bars @ 150 mm c/c and L-shaped 8 mm dia vertical bars @ 150 mm c/c (L= 800 mm) including cutting , bending and binding wire, placing in position , providing shuttering and concreting by using concrete mixer, compaction by vibration etc complete as per drawings and technical specifications. | Mtr. | 2592 | 87.905 | 227850 | 0 | 0 | N
163 | PWD | PWD ROAD | 2015 | 8.44 | Providing and laying of a reinforced cement concrete pipe duct, 300 mm dia., across the road ( new construction ) , extending from drain to drain in cuts and toe of slopes to toe of slopes in fills, constructing head walls at both ends, providing a minimum fill of granular material over top and sides of RCC pipes as per IRC: 98- 2011, bedded on a 0.3 m thick layer of granular material free of rock pieces , outer to outer distance of pipes at least half dia of pipe subject to minimum 450 mm in case of double and triple row ducts , joints to be made leak proof, invert level of duct to be above higher than ground level to prevent entry of water and dirt, all as per IRC:98-2011 and approved drawings. (i) Single row for one utility service | Mtr. | 553 | 48 | 26544 | 0 | 0 | N
164 | PWD | PWD BLD | 2015 | 3.4 | Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | cum | 4260.5 | 28.138 | 119882 | 0 | 0 | N
165 | PWD | PWD BLD | 2015 | 3.21 | Providing and fixing in position impregnated fibre board confirming to IS: 1838 in expansion joints, including cost of primer, sealing compound all complete. 3.21.2) 25mm thick | sqm | 768 | 80.5926 | 61895 | 0 | 0 | N
166 | PWD | PWD BLD | 2015 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | cum | 3384 | 120.8889 | 409088 | 0 | 0 | N
167 | PWD | PWD BLD | 2015 | 11.2.4 | Providing and making 12 mm thick cement plaster of mix: In Cement Mortar 1:6 (1 cement : 6 fine sand) | sqm | 91.5 | 800 | 73200 | 0 | 0 | N
168 | PWD | PWD BLD | 2015 | 14.15.1 | Painting exterior surface with ACRYLIC SMOOTH exterior paint of required shade as per manufacturer's specifications to give protective and decorative finish including cleaning washing of surface etc. complete with: On new work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) | sqm | 56 | 1600 | 89600 | 0 | 0 | N
169 | PWD | PWD BLD | 2015 | 9.6.2 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | kg | 68 | 810.6667 | 55125 | 0 | 0 | N
170 | PWD | PWD BLD | 2015 | 9.40 | Providing and fixing in position G.I. barbed wire (93.8gram/m) to concrete/ wooden/ angle iron posts (straight or diagonal) including securing and screwing with G.I. tying wire, G.I. stapples, G.I.U-nails or steel pins etc., complete(Cost of posts, struts to be paid for separately) | mtr. | 9.4 | 2800 | 26320 | 0 | 0 | N
171 | PWD | PWD BLD | 2015 | 9.14 | Providing and fixing steel door made of angle iron of suitable sizes with M.S. grill of approved pattern made of M.S. flats or square or round bars coat of red oxide zinc chromate primer. | kg | 79.5 | 367.5 | 29216 | 0 | 0 | N
172 | PWD | ELECT | 2020 | 1.7 1.7.1 | Wiring for light/ fan/ exhaust fan / call bell point with 3x1.5 sqmm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) with 5/6 amp modular switch, modular base and cover plate, suitable size G.I. box as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) Short Point | Point | 266 | 57 | 15162 | 0 | 0 | N
173 | PWD | ELECT | 2020 | 1.7.2 | Medium Point | Point | 424 | 64 | 27136 | 0 | 0 | N
174 | PWD | ELECT | 2020 | 1.7.3 | Long Point | Point | 588 | 285 | 167580 | 0 | 0 | N
175 | PWD | ELECT | 2020 | 1.8 | Wiring for twin control light point with 3x1.5 sqmm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) with 5/6 amp modular switch, modular base and cover plate, suitable size G.I. box as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) | Point | 420 | 7 | 2940 | 0 | 0 | N
176 | PWD | ELECT | 2020 | 1.9 | Extra for providing and fixing light plug point on board in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) point wiring with modular type 3 pin 5/6 amp socket outlet and 5/6 amp switch including cost of base and cover plate and G. I. box etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) | Point | 216 | 73 | 15768 | 0 | 0 | N
177 | PWD | ELECT | 2020 | 1.10 1.10.3 | Wiring for light plug point with 3x2.5 sq mm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with modular type 6 Amp switch and 3 pin 6 amps socket outlet with modular base and cover plate, suitable size G.I. box, earthing the switch box and socket outlet with same size wire etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) Long Point | Point | 922 | 17 | 15674 | 0 | 0 | N
178 | PWD | ELECT | 2020 | 1.10.4 | Extra Long Point I | Point | 1302 | 17 | 22134 | 0 | 0 | N
179 | PWD | ELECT | 2020 | 1.10.5 | Extra Long Point II | Point | 1657 | 17 | 28169 | 0 | 0 | N
180 | PWD | ELECT | 2020 | 1.10.6 | Extra Long Point III | Point | 1995 | 15 | 29925 | 0 | 0 | N
181 | PWD | ELECT | 2020 | 1.11 1.11.3 | Wiring for power plug point with 3x4 sq mm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with modular type 16 Amp switch and 6 pin 16 amps socket outlet with modular base and cover plate, suitable size G.I. box, earthing the switch box and socket outlet with same size wire etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) Long Point | Point | 1350 | 17 | 22950 | 0 | 0 | N
182 | PWD | ELECT | 2020 | 1.11.4 | Extra Long Point I | Point | 1807 | 17 | 30719 | 0 | 0 | N
183 | PWD | ELECT | 2020 | 1.11.5 | Extra Long Point II | Point | 2315 | 17 | 39355 | 0 | 0 | N
184 | PWD | ELECT | 2020 | 1.11.6 | Extra Long Point III | Point | 2825 | 15 | 42375 | 0 | 0 | N
185 | PWD | ELECT | 2020 | 1.12 1.12.3 | Wiring for power plug point with 3x6 sq mm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with modular type 32 Amp SPMCB "C" curve and 6 pin 20 amps socket outlet with modular base and cover plate, suitable size G.I. box, earthing the switch box and socket outlet with same size wire etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) Long Point | Point | 1705 | 6 | 10230 | 0 | 0 | N
186 | PWD | ELECT | 2020 | 1.12.4 | Extra Long Point I | Point | 2326 | 6 | 13956 | 0 | 0 | N
187 | PWD | ELECT | 2020 | 1.12.5 | Extra Long Point II | Point | 3016 | 6 | 18096 | 0 | 0 | N
188 | PWD | ELECT | 2020 | 1.12.6 | Extra Long Point III | Point | 3708 | 7 | 25956 | 0 | 0 | N
189 | PWD | ELECT | 2020 | 1.13 1.13.1 | Wiring for circuit/ sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, wire in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) 3 X 1.5 sq. mm in 20mm conduit | Metre | 92 | 440 | 40480 | 0 | 0 | N
190 | PWD | ELECT | 2020 | 1.13.2 | 3 X 2.5 sq. mm in 20mm conduit | Metre | 111 | 740 | 82140 | 0 | 0 | N
191 | PWD | ELECT | 2020 | 1.13.3 | 6 X 2.5 sq. mm in 25mm conduit | Metre | 172 | 510 | 87720 | 0 | 0 | N
192 | PWD | ELECT | 2020 | 1.13.4 | 9 X 2.5 sq. mm in 32mm conduit | Metre | 238 | 60 | 14280 | 0 | 0 | N
193 | PWD | ELECT | 2020 | 1.13.6 | 3 X 4 sq. mm in 25mm conduit | Metre | 145 | 400 | 58000 | 0 | 0 | N
194 | PWD | ELECT | 2020 | 1.13.7 | 3 X 6 sq. mm in 25mm conduit | Metre | 182 | 250 | 45500 | 0 | 0 | N
195 | PWD | ELECT | 2020 | 1.13.8 | 3 X 10 sq. mm in 25mm conduit | Metre | 270 | 300 | 81000 | 0 | 0 | N
196 | PWD | ELECT | 2020 | 1.15 1.15.2 | Supplying and fixing of following sizes FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with accessories in concealed complete as per specification and IS: 9537 (2000 Part 5) 25 mm | Metre | 53 | 494 | 26182 | 0 | 0 | N
197 | PWD | ELECT | 2020 | 3.11 3.11.11 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, multi strand wire in the existing surface/ concealed, FRLS PVC conduit / PVC casing caping as per specification and IS: 694 (2010) 1 x 2.5 sq. mm | Metre | 22 | 200 | 4400 | 0 | 0 | N
198 | PWD | ELECT | 2020 | 3.11.21 | 1 x 4 sq. mm | Metre | 30 | 200 | 6000 | 0 | 0 | N
199 | PWD | ELECT | 2020 | 5.4 5.4.9 | Supplying and fixing following modular switch, socket, other accessories on the existing modular plate & switch box including connections but excluding modular plate etc. as per specification. Fan regulator (two module size) electronic stepped type moving all rounds | Each | 223 | 42 | 9366 | 0 | 0 | N
200 | PWD | ELECT | 2020 | 5.4.20 | Ceiling rose 3 pin 5 amp | Each | 40 | 141 | 5640 | 0 | 0 | N
201 | PWD | ELECT | 2020 | 5.4.22 | Batten/ angle holder | Each | 41 | 32 | 1312 | 0 | 0 | N
202 | PWD | ELECT | 2020 | 5.4.23 | Blanking plate | Each | 28 | 98 | 2744 | 0 | 0 | N
203 | PWD | ELECT | 2020 | 5.6 | Providing and fixing composite unit for computer points having modular type 1 No 6 pin 16 amp socket outlet, 1 No 16 amp switch, 3 Nos 3 pin 6 amp socket outlets, 3 Nos 6 amp switches, suitable G.I. box, base and cover plates, earthing the sockets and switch box including etc. as per specification. | Each | 816 | 15 | 12240 | 0 | 0 | N
204 | PWD | ELECT | 2020 | 5.7 5.7.2 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 volts A.C. supply, complete as per specification. Deluxe | Each | 107 | 20 | 2140 | 0 | 0 | N
205 | PWD | ELECT | 2020 | 5.10 | Providing and fixing fan hook made of 12mm dia steel bar in existing ceiling slab including cutting of roof, fixing hook above reinforcement on both side, repairing with cement mortar 1:2 (1 cement : 2 sand) etc. as per specification. | Each | 109 | 42 | 4578 | 0 | 0 | N
206 | PWD | ELECT | 2020 | 6.4 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.85, Air delivery minimum 215 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, including connection, earthing etc. complete as per specification. | Each | 2662 | 42 | 111804 | 0 | 0 | N
207 | PWD | ELECT | 2020 | 6.6 6.6.1 | Supplying, installation, testing and commissioning of following sizes heavy duty (continuous running) 1400 rpm exhaust fan in existing opening in wall including earthing etc. complete as per specification. P.F. should be greater than 0.9 300 mm sweep | Each | 2446 | 14 | 34244 | 0 | 0 | N
208 | PWD | ELECT | 2020 | 6.11 6.11.2 | Supplying and fixing following sizes of down rod of 15/20mm dia M.S. pipe of thickness 2 mm to ceiling fan including painting with matching colour etc. as per specification. 60 cm long | Each | 40 | 42 | 1680 | 0 | 0 | N
209 | PWD | ELECT | 2020 | 6.12 | Providing and fixing phenolic laminated sheet cover of 180 mm dia 3 mm thick on the fan box etc. as per specification. (If provided at the time of installation of ceiling fan) | Each | 56 | 42 | 2352 | 0 | 0 | N
210 | PWD | ELECT | 2020 | 6.15 6.15.6 | Supplying, installation, testing and commissioning of following LED fitting (luminaries) Panel Light in round/ square shape complete with electronic driver heat sink capacitor and all other accessories on surface/ in false ceiling etc. as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. 18/20 Watt | Each | 868 | 180 | 156240 | 0 | 0 | N
211 | PWD | ELECT | 2020 | 6.17 6.17.1 | Supplying, fixing, testing and commissioning of following LED lamps with inbuilt electronic driver heat sink and all other accessories in existing holder/ luminaries as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. 3 watt | Each | 86 | 6 | 516 | 0 | 0 | N
212 | PWD | ELECT | 2020 | 6.17.6 | 15 Watt | Each | 249 | 25 | 6225 | 0 | 0 | N
213 | PWD | ELECT | 2020 | 6.18 6.18.3 | Supplying, installation, testing and commissioning of following COB LED Spot Light fitting complete with Electronic Driver Heat sink Capacitor and all other accessories including connection, earthing etc complete as per specification and IP20, P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. 20 watt | Each | 1262 | 36 | 45432 | 0 | 0 | N
214 | PWD | ELECT | 2020 | 6.19 6.19.3 | Supplying, installation, testing and commissioning of following LED tube light fitting including batten with Electronic Driver Heat sink Capacitor complete with all other accessories on surface/ in false ceiling, including connection, earthing etc complete as per specification and IP20, P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. 18/20 watt {4 feet} | Each | 443 | 24 | 10632 | 0 | 0 | N
215 | PWD | ELECT | 2020 | 6.28 6.28.8 | Supplying, installation, testing and commissioning of following 230/250 volts LED street light fitting with all accessories like driver, heat sink made of die cast aluminium with IP 66 protection and 15 KV surge protection on pole bracket, including connection, earthing, Separate housing for driver etc complete as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 120 lumens /watt. 90 watt | Each | 5531 | 17 | 94027 | 0 | 0 | N
216 | PWD | ELECT | 2020 | 6.28.9 | 120 watt | Each | 6844 | 5 | 34220 | 0 | 0 | N
217 | PWD | ELECT | 2020 | 6.59 | Supply and installation of timer including relay and contactor set complete as required. | Each | 3929 | 1 | 3929 | 0 | 0 | N
218 | PWD | ELECT | 2020 | 7.9 7.9.1 | Providing and fixing metal clad, SP&N switch fuse unit (re-wirable), 230/250 volts, with porcelain re-wireble fuses including drilling holes on the board, connections, earthing the body etc. as per specification. (Thimbeling shall be paid separately). 32 amps | Each | 978 | 2 | 1956 | 0 | 0 | N
219 | PWD | ELECT | 2020 | 7.10 7.10.1 | Providing and fixing metal clad, TP&N switch fuse unit (re-wirable), 415/500 volts, with porcelain re-wireble fuses including drilling holes on the board, connections, earthing the body etc. as per specification. (Thimbeling shall be paid separately). 32 amps | Each | 926 | 2 | 1852 | 0 | 0 | N
220 | PWD | ELECT | 2020 | 7.17 7.17.2 | Providing and making interconnection in cubical panel between BBC and switchgears with following size FRLS PVC insulated copper conductor wire lead of length upto 50cm including providing copper thimbles on both ends as per specification (To be measured separately for each phase/ neutral). 16 sqmm (63 amp) | Each | 104 | 35 | 3640 | 0 | 0 | N
221 | PWD | ELECT | 2020 | 7.18 7.18.3 | Providing and making interconnection in cubical panel between BBC and switchgears with following size copper strip of length upto 50cm as per specification (To be measured separately for each phase/ neutral). 40x5mm (300 amps) | Each | 465 | 16 | 7440 | 0 | 0 | N
222 | PWD | ELECT | 2020 | 7.19 7.19.1 | Fabrication, supply, installation, testing and commissioning of cubicle type compartmentalized wall/ floor mounted power cum control panel board of specified size and following depth made out of not less than 2 mm thick CRCA MS powder coated sheet with suitable size compartments for bus bars, switchgears and necessary cutouts for voltmeters, ammeters etc as per specifications including powder coating painting but without busbars, switchgears and other accessories etc complete as per specification. Upto 300 mm deep | sqm | 6818 | 2.25 | 15341 | 0 | 0 | N
223 | PWD | ELECT | 2020 | 7.21 7.21.3 | Supply, installation, testing and commissioning of 4 pole (3 phase + neutral) copper (electric grade) bus bars in existing cubicle type compartmentalized wall/ floor mounted panel board along with suitable size and shape insulators, necessary bolts and nuts etc complete as per specification. 300 amp (50x5mm) | Metre | 1336 | 6 | 8016 | 0 | 0 | N
224 | PWD | ELECT | 2020 | 9.1 9.1.30 | Providing and fixing following rating and breaking capacity MCCB in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as per specification, IS/ IEC: 60947-2 and Ics = 100 % Icu. 4 pole MCCB, 100A, Adjustable Thermal - Magnetic Release, 50KA | Each | 8385 | 6 | 50310 | 0 | 0 | N
225 | PWD | ELECT | 2020 | 9.1.50 | 4 pole MCCB, 320A, Adjustable Microprocessor Release, 50KA | Each | 24278 | 2 | 48556 | 0 | 0 | N
226 | PWD | ELECT | 2020 | 9.3 9.3.3 | Supplying and fixing on surface/ recess following way, 240 volts SP&N MCB distribution board consumer unit of sheet steel phosphatized and powder painted, complete with tinned copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, including interconnections, earthing etc. as per specification. (But without MCB/RCCB/Isolator) 2 + 12 way | Each | 947 | 2 | 1894 | 0 | 0 | N
227 | PWD | ELECT | 2020 | 9.8 9.8.7 | Supplying and fixing on surface/ recess prewired horizontal type following way, 415 volts TP&N, MCB distribution board of sheet steel phosphatized and powder painted complete complete with loose wire box, terminal blocks, tinned copper busbar, neutral link, earth bar, din bar, detachable gland plate, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks including interconnections, earthing etc. as per specification. (But without MCB/ RCCB/ Isolator) 8 way (4 + 24), Double door | Each | 8430 | 5 | 42150 | 0 | 0 | N
228 | PWD | ELECT | 2020 | 9.10 9.10.1 | Supplying and fixing SP MCB, 240 volts, 'B' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 6 amps to 32 amps | Each | 151 | 144 | 21744 | 0 | 0 | N
229 | PWD | ELECT | 2020 | 9.11 9.11.2 | Supplying and fixing SP MCB, 240 volts, 'C' curve, suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 6 amps to 32 amps | Each | 148 | 5 | 740 | 0 | 0 | N
230 | PWD | ELECT | 2020 | 9.13 9.13.3 | Supplying and fixing DP MCB, 240 volts, 'D' curve, suitable for inductive/ motor load in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 40 amps | Each | 698 | 2 | 1396 | 0 | 0 | N
231 | PWD | ELECT | 2020 | 9.14 9.14.3 | Supplying and fixing TP MCB, 440 volts, 'C' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 40 amps | Each | 994 | 1 | 994 | 0 | 0 | N
232 | PWD | ELECT | 2020 | 9.16 9.16.5 | Supplying and fixing TP&N MCB, 440 volts, 'C' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 63 amps | Each | 1316 | 5 | 6580 | 0 | 0 | N
233 | PWD | ELECT | 2020 | 10.10 10.10.4 | Providing and fixing metal clad, TP&N 415/500 volts, By Pass Switch Unit with sheet steel enclosure including drilling holes on the board, connections, earthing the body, testing and commissioning etc. as per specification. 320 amps | Each | 25050 | 1 | 25050 | 0 | 0 | N
234 | PWD | ELECT | 2020 | 10.15 10.15.4 | Providing and fixing following rating current transformer in existing cubical panel including, connections, testing and commissioning etc. as per specification. 315/5 amps | Each | 356 | 6 | 2136 | 0 | 0 | N
235 | PWD | ELECT | 2020 | 10.17 | Providing and fixing penal mounting 230 volt LED type indicating lamp in existing cubical panel including, connections, testing and commissioning etc. as per specification. | Each | 94 | 6 | 564 | 0 | 0 | N
236 | PWD | ELECT | 2020 | 10.23 | Providing and fixing panel mounting digital type VAF (Volt-amp-frequency combined) Multi Function meter of size 100x100 (NS) in existing cubical panel including connection, testing and commissioning etc. as per specification. | Each | 1201 | 2 | 2402 | 0 | 0 | N
237 | PWD | ELECT | 2020 | 12.1 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal and salt as per specification and IS Code 3043: 1987(R 2016) | Set | 3243 | 2 | 6486 | 0 | 0 | N
238 | PWD | ELECT | 2020 | 12.3 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe, with charcoal and salt as per specification and IS Code 3043: 1987(R 2016) | Set | 6209 | 3 | 18627 | 0 | 0 | N
239 | PWD | ELECT | 2020 | 12.6 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode at 0.5 Metre depth below ground level including excavation and refilling the trench etc. as per specification. | Metre | 752 | 75 | 56400 | 0 | 0 | N
240 | PWD | ELECT | 2020 | 12.7 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode at 0.5 Metre depth below ground level including excavation and refilling the trench etc. as per specification. | Metre | 153 | 30 | 4590 | 0 | 0 | N
241 | PWD | ELECT | 2020 | 12.8 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as per specification. | Metre | 528 | 50 | 26400 | 0 | 0 | N
242 | PWD | ELECT | 2020 | 12.19 12.19.2 | Providing maintenance free earthing with following size GI pipe including making bore pit of minimum 150mm dia, providing and laying approved make Earthing Electrode of Pipe-in-Pipe technology as per IS 3043(R 2016) -1987 made of corrosion free G.I. Pipes having outer pipe of 80mm dia and inner pipe of 50mm dia and filling with specified qty highly conductive compound around pipe and above that with soft soil in bore pit complete and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. as per specification: With 2 metre long GI Pipes and 25 kg back filling compound. | Each | 8222 | 6 | 49332 | 0 | 0 | N
243 | PWD | ELECT | 2020 | 13.1 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, copper tube, having single prong at top, with 85 mm dia 3 mm thick copper base plate having 4 nos holes for fixing etc. complete as per specification. | Each | 767 | 2 | 1534 | 0 | 0 | N
244 | PWD | ELECT | 2020 | 13.2 | Making jointing of copper tape (with another copper tape, base of the finial or any other metallic object) by reverting, sweating and soldering/ nut bolting of as per specification. | Each | 51 | 4 | 204 | 0 | 0 | N
245 | PWD | ELECT | 2020 | 13.3 | Providing and fixing copper tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as per specification.(For horizontal run) | Metre | 217 | 80 | 17360 | 0 | 0 | N
246 | PWD | ELECT | 2020 | 13.4 | Providing and fixing copper tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as per specification.(For vertical run) | Metre | 219 | 80 | 17520 | 0 | 0 | N
247 | PWD | ELECT | 2020 | 13.5 | Providing and fixing testing joint, made of 20 mm X 3 mm thick copper strip, 125 mm long, with 4 nos. of tinned brass bolts, nuts, chuck nuts and spring washers etc. complete as per specification. | Each | 93 | 2 | 186 | 0 | 0 | N
248 | PWD | ELECT | 2020 | 13.6 | Providing and laying copper tape 32 mm X 6 mm from earth electrode directly in ground as per specification. | Metre | 654 | 40 | 26160 | 0 | 0 | N
249 | PWD | ELECT | 2020 | 14.1 14.1.3 | Supplying and laying ISI marked double wall HDPE pipe (IS 14930 Part II) having corrugation on the outer wall and plan surface on inner wall in ground below road, path etc at a depth not less than 40 cm and upto 90 cm including excavation, dismantling of road if required and refilling the trench with excavated material, ramming and making the surface good etc. as per specification. 90 mm outer dia and 75 mm Inner dia | Metre | 203 | 100 | 20300 | 0 | 0 | N
250 | PWD | ELECT | 2020 | 14.2 14.2.1 | Supplying and laying HDPE pipe of 4kg/Sqcm in ground below road, path etc at a depth not less than 40 cm and upto 90 cm including excavation, dismantling of road if required and refilling the trench with excavated material, ramming and making the surface good etc. as per specification. 63 mm outer dia | Metre | 124 | 171 | 21204 | 0 | 0 | N
251 | PWD | ELECT | 2020 | 14.5 14.5.3 | Supplying and fixing G.I. pipe along with wall or pole/ support with 2 Nos MS clamps for protection of under ground cable in approved manner including bolts and nuts or metal dash fasteners complete as per specification. 50 mm dia | Metre | 403 | 6 | 2418 | 0 | 0 | N
252 | PWD | ELECT | 2020 | 15.1 15.1.15 | Supplying and laying following sizes one number FRLS PVC insulated/XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade direct in ground at a depth not less than 40 cm and upto 90 cm including excavtion, sand cushioning, protective covering and refilling the trench etc as per specification, IS: 1554 (1988, Part 1) / IS: 7098 (1988, Part 1). 3.5 x 95 sq. mm. | Metre | 488 | 200 | 97600 | 0 | 0 | N
253 | PWD | ELECT | 2020 | 15.3 15.3.22 | Supplying and laying following sizes one number FRLS PVC insulated /XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade in existing RCC/ HUME/ STONEWARE/ METAL/ HDPE pipe as per specification, IS: 1554 (1988, Part 1) / IS: 7098 (1988, Part 1). 4 x 10 sq. mm. | Metre | 95 | 171 | 16245 | 0 | 0 | N
254 | PWD | ELECT | 2020 | 15.5 15.5.3 | Supplying and laying following sizes one number FRLS PVC insulated /XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade on surface/ existing cable tray with 1 mm thick GI saddle as per specification, IS: 1554 (1988, Part 1) / IS: 7098 (1988, Part 1). 2 x 10 sq. mm | Metre | 106 | 200 | 21200 | 0 | 0 | N
255 | PWD | ELECT | 2020 | 15.23 15.23.23 | Supplying and making end termination with brass compression gland and aluminum lugs for following size armoured aluminum conductor power cable of 1.1 KV grade as per specification. 4 X 10 sq. mm (22 mm) | Each | 98 | 5 | 490 | 0 | 0 | N
256 | PWD | ELECT | 2020 | 15.28 15.28.9 | Supplying, fixing and cramping suitable size and all type aluminium ferule/ lugs to following size 1.1 KV grade power cable core / lead, pressed with high pressure cramping tool including connection to switch gear/ MCCB etc as per specification. . 120 sq. mm | Each | 30 | 16 | 480 | 0 | 0 | N
257 | PWD | ELECT | 2020 | 15.29 15.29.2 | Supplying, fixing and cramping suitable size and all type Copper ferule/ lugs to following size 1.1 KV grade power cable core / lead, pressed with high pressure cramping tool including connection to switch gear/ MCCB etc as per specification. . 10 sq. mm | Each | 21 | 40 | 840 | 0 | 0 | N
258 | PWD | ELECT | 2020 | 15.29.3 | 16 sq. mm | Each | 22 | 10 | 220 | 0 | 0 | N
259 | PWD | ELECT | 2020 | 15.29.4 | 25 sq. mm | Each | 24 | 20 | 480 | 0 | 0 | N
260 | PWD | ELECT | 2020 | 19.8 19.8.1 | Supply of hot dipped galvanized (in single dip to minimum 75 micron) octogonal pole made of 3mm thick steel grade E-350 sheet having window and flush cover with locking arrangement at suitable height from base for cable termination block, pole suitably reinforced with welded steel section at window cut section to make the strength of pole unaffected, with following minimum specifications with 4 way terminal connector including 4mm thick anchor plate, 4 nos 24mm dia foundation bolts of EN8 grade, and as per IS 2062 & BS EN: 10025. (designed for wind speed upto 180km/hr, IS: 875 Part 3) 9 metre high, dia 155mm at bottom and 90mm at top, base plate size 260x260x16mm, foundation bolts 750mm long | Each | 13974 | 5 | 69870 | 0 | 0 | N
261 | PWD | ELECT | 2020 | 19.9 19.9.3 | Supply and fixing following street light pole bracket on existing pole made out of 50 mm dia MS "B" class pipe welded to 300 mm long MS pole canopy of suitable dia at a angle of 102.50 including having MS triangular stiffner of size 150 X 50 X 5 mm thick, making arrangement for tightening the bracket with pole by providing suitable size heavy duty nuts and bolts in canopy, painting with one coat of approved steel primer etc. as per specification. Single Over Hang 1.50 metre Long | Each | 1233 | 5 | 6165 | 0 | 0 | N
262 | PWD | ELECT | 2020 | 19.11 19.11.9 | Erection of GI octogonal/ tubular/conical pole on existing cement concrete foundation having grouted bolts and nuts, aligning in true vertical position as per specification. 11 metre high | Each | 1125 | 5 | 5625 | 0 | 0 | N
263 | PWD | ELECT | 2020 | 19.12 | Designing and providing suitable RCC foundation in Cement Concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) for 3 mere to 12 metre high GI octagonal pole including steel reinforcement form work, embeding 2 nos 50mm dia PVC pipe for cable entry in each foundation, excavation disposal of surplus soil and curing etc. as per specification. | cum | 5219 | 14 | 73066 | 0 | 0 | N
264 | PWD | ELECT | 2020 | 19.15 | Supplying and fixing of 32mm dia x 2 metre long G.I pipe (light) bracket for mounting street light fittings of all types on poles including bending the pipe to the required shape, 2 Nos 40x3mm flat iron clamps with bolts and nuts including wiring with 1.5 sq. mm W.P /PVC wire etc. as per specification. | Each | 902 | 5 | 4510 | 0 | 0 | N
265 | PWD | ELECT | 2020 | 19.17 19.17.2 | Supplying and fixing PVC water tight terminal box of approved make and brand with detachable gland plate in bottom, hinged front openable cover, rubber gasket, having 1 Nos 4way connector and 1 No SPMCB inside the box for cable connection, fixed to pole with 2 Nos clamp made from 25x3mm GI flat with 2 No GI nuts bolts complete as per specification. 300x200x125 mm for 3 phase | Each | 989 | 5 | 4945 | 0 | 0 | N
266 | PWD | ELECT | 2020 | 19.23 | Designing and providing suitable and approved size RCC foundation for 12-30 mere high mast including seel reinforcement form work, embeding 2 nos 50mm dia PVC pipe for cable entry in each foundation, excavation disposal of surplus soil and curing etc. as required including laying and fixing HM foundation bolts with tam plates but excluding the cost of foundation bolts with tam plates etc complete as per specification | cum | 5219 | 5 | 26095 | 0 | 0 | N
267 | PWD | ELECT | 2020 | 21.3 21.3.7 | Supplying, installation, testing and commissioning of following capacity diesel Generating Set (alternator directly coupled to diesel engine) compete in all respect broadly comprising of following and as per CPCB 2 norms (upto date ammended), including following specification. A. Alternator : Self excited, brush less type, of following capacity, 3 phase, 415 volts 50 Hz, 4 pole, AC alternator complete with all accessories.B. Engine : water cooled diesel engine of suitable BHP for rated alternator at 1500 rpm, turbo charged, direct injection type, 4 stroke, 4/6 cylinder including specified size fuel tank of approved design and shape duly calibrated and painted with one coat of primer and two coats of synthetic enameled paint of approved colour, residential type silencer with exhaust MS pipe (upto 2 metre beyond silenser) duly wrapped with asbestos rope of legging of specified quality and specification.C. AMF Panel : Cubical, compartmentalized, AMF panel board with all suitable size power and control contactors, switches, meters and other accessories, internal wiring, connection, inter-connection etc. for trouble free smooth functioning of DG Set complete with battery charger and leads as per specification.D. Base Plate : Common base plate of required size for mounting of engine alternator set fabricated from MS channel and vibration damping arrangement with cushy foot mounting i/c painting etc. as per specification. 70 KVA | Set | 965683 | 1 | 965683 | 0 | 0 | N
268 | PWD | ELECT | 2020 | 23.3 23.3.2 | Supplying, installation, testing and commissioning of submersible pump set for water supply system with submersible motor directly coupled to multi-stage submersible pump of specified discharge capacity, head, delivery size in existing bore well including 2 sets of suitable size holding clamps made out of 50 mm X 6 mm MS flat, connection with suitable submersible cable of standard length etc. as per specification and IS: 694 (2010). Note: submersible Cable should be rust proof, safe from oil / Grease and under water Chemical / abrasion Resistant. 1.5 HP, single phase | Each | 17589 | 1 | 17589 | 0 | 0 | N
269 | PWD | ELECT | 2020 | 23.6 23.6.1 | Supplying and fixing following dia HDPE pipe PE-80 Grade (8kg/sqcm) in single length in the suction/ delivery line of water supply pump etc. as per specification. 32 mm outer dia | Metre | 55 | 180 | 9900 | 0 | 0 | N
270 | PWD | ELECT | 2020 | 23.11 | Supply, installation, testing and commissioning of 1-3 HP 1 phase submersible motor starter cum control wall/ floor mounted type made out of not less than 1.6 mm thick MS sheet and comprising of following panel mounting switchgears there in including connection inter-connection etc. as per specification. a) Phase indicating lamps with fuses and toggle switches 1 set b) 1/2/3 HP 1 phase DOL starter with over load and no volt relay 1 No c) 25 A "C" curve DPMCB 1 No d) Voltmeter 0-250 V 1 set e) Ammeter 0-10 A 1 set | Each | 4030 | 1 | 4030 | 0 | 0 | N
271 | PWD | ELECT | 2020 | 23.12 | Supplying and fixing M.S. clamp 50 cm long made of 50mmx5mm thick M.S. Flat for holding the pipes and submerable pump set as per specification. | Metre | 291 | 1 | 291 | 0 | 0 | N
272 | PWD | ELECT | 2020 | 23.13 | Supplying and fixing 300 mm dia 2 mm thick M.S. sheet cover with 3 cm edge in two past on tube well bore pipe as per specification | Each | 388 | 1 | 388 | 0 | 0 | N
273 | PWD | ELECT | 2020 | 23.14 23.14.3 | Supplying, laying and fixing following size submersible cable along with GI/PVC/HDFC pipe line or laid in ground etc as per specification and IS: 694 (2010). Note: Cable should be rust proof, safe from oil / Grease and under water Chemical / abrasion Resistant. 3x4.0 sqmm | Metre | 90 | 180 | 16200 | 0 | 0 | N
274 | PWD | ELECT | 2020 | 23.15 23.15.3 | Supplying and making water proof joint with heat shrinkable joint kit including copper ferrules for following size of 3 core submersible copper conductor cable of 1.1 KV grade as per specification. 3x4.0 sqmm | Each | 264 | 2 | 528 | 0 | 0 | N
275 | PWD | ELECT | 2020 | 23.16 | Supplying and laying of approved make stainless steel wire rope of 6 mm dia for support of submersible pump set complete with tying to pump set and pump holding clamp. | Metre | 16 | 180 | 2880 | 0 | 0 | N
276 | PWD | ELECT | 2020 | 24.4 | Installation of split type Inverter/Non Inverter Air Conditioner unit, cooling unit on wall inside and condensing unit on out side wall/ ceiling/ floor at desired locations with existing standard length of copper piping with insulation and power cable including providing and fixing necessary good quality powder coated MS frame etc complete as per specification. (Extra length of copper piping and power cable shall be paid extra on linear basis) | Each | 2110 | 16 | 33760 | 0 | 0 | N
277 | PWD | ELECT | 2020 | 24.7 24.7.2 | Supply and fixing of approved make wall mounting type voltage stabilizer with input volts 160-250, output volts 200-240 volts and double step relay on desired location with necessary fixing material including connection etc complete as per specification. 5 KVA | Each | 4367 | 16 | 69872 | 0 | 0 | N
278 | PWD | ELECT | 2020 | 24.10 24.10.1 | Supply, connecting and fixing extra length of copper piping for split type air conditioners of following dia and approved quality with insulation sleave etc complete as per specification 5/8 " | Metre | 375 | 100 | 37500 | 0 | 0 | N
279 | PWD | ELECT | 2020 | 24.10.3 | 1/4 " | Metre | 187 | 100 | 18700 | 0 | 0 | N
280 | PWD | ELECT | 2020 | 24.11 | Supplying and fixing good quality powder coated MS frame for installation of out door unit of split type Air Conditioner at desired location with atleast 6 nos steel fastners etc complete as per specification | Set | 435 | 16 | 6960 | 0 | 0 | N
281 | PWD | ELECT | 2020 | 24.12 | Supplying, connecting and fixing 15mm dia PVC flexible drain pipe (reinforced with nylon threads) in drain outlet of split type air conditioners etc complete as per specification | Metre | 14 | 100 | 1400 | 0 | 0 | N
282 | PWD | ELECT | 2020 | 24.17 24.17.3 | Supply and filling up required quantity of R-22/R-32/R-410 refrigrent in existing window/ split air conditioners as per manufacturers specification including checking for leakage before and after filling, flushing the line with R-22/R-32/R-410 etc complete as per specification. 1.5 ton split type AC | Each | 940 | 10 | 9400 | 0 | 0 | N
283 | PWD | ELECT | 2020 | 24.17.4 | 2.0 ton split type AC | Each | 993 | 6 | 5958 | 0 | 0 | N
284 | PWD | ELECT | 2020 | 24.20 24.20.8 | Supplying of approved make Hiwall split Inverter type Air Conditioner unit with cooling unit (copper coil) and condensing unit (copper coil) including 5 years compressor warranty and standard length of upto 5 metre of copper piping with insulation etc complete as per specification 1.5 Ton split type Inverter AC {5 Star} | Each | 45340 | 10 | 453400 | 0 | 0 | N
285 | PWD | ELECT | 2020 | 24.20.9 | 2.0 Ton split type Inverter AC {5 Star} | Each | 55830 | 6 | 334980 | 0 | 0 | N
286 | PWD | ELECT | 2020 | 24.23 24.23.2 | Supplying, installation, testing and commissiong of following size drinking water cooler storage type ISI marked, eco friendly non CFC refrigarant, water tank and cooler cabinet sheet material- stainless steel {grade AISI 304} with thickness>= 0.8 mm, with PUF insulation including all accessories connection etc complete as per specification 60/120 Ltrs/hr | Each | 34581 | 1 | 34581 | 0 | 0 | N
287 | PWD | ELECT | 2020 | 24.24 24.24.2 | Supplying, installation, testing and commissiong of following capacity of RO purification system with UF/UV/TDS controler and UV lamp {IS 14724 Ultra voilet disinfection} and minimum three stage purification, automatic on/off, output water conferming standard IS 10500 with inbuild storage tank including all accessories connection etc complete as per specification. 50 Ltrs/hr output capacity | Each | 39021 | 1 | 39021 | 0 | 0 | N
288 | PWD | ELECT | 2020 | 24.26 24.26.9 | Supplying and fixing wall mounted storage/instantaneous type electric geyser, complete with inner copper container, heating element, thermostat, indicating lamp including inlet / outlet water pipe connection, electric connection testing and commissioning etc. as per specification. 25 Ltr. Capacity storage type geyser 5 star | Each | 7652 | 6 | 45912 | 0 | 0 | N
289 | PWD | ELECT | 2020 | 27.49 27.49.4 | Supplying, installation, testing and commissioing of following size LED Monitor, table/wall mount with inbuild speaker minimum 5Wx2,with minimum 1 No of HDMI and USB port including remote control, connecting cable, batteries, and all accessories, connection etc complete as per specification. 55 inch | Each | 63719 | 6 | 382314 | 0 | 0 | N
290 | PWD | ELECT | 2020 | 27.73 | Supply, installation and testing for HDMI cable. | Metre | 462 | 10 | 4620 | 0 | 0 | N
291 | PWD | ELECT | 2020 | 30.1 | Earth work in all type soil except soft rock / hard rock with all lead and 1.5 metre lift, dressing, stacking excavated strata including refilling of excavated soil in trench / pit to ground level complete as per specification. | cum | 168 | 41.25 | 6930 | 0 | 0 | N
292 | PWD | ELECT | 2020 | 30.2 | Earth work in soft rock with all lead and 1.5 metre lift, dressing, stacking excavated strata including refilling with excavated soil in trench / pit to ground level complete as per specification | cum | 210 | 24.5 | 5145 | 0 | 0 | N
293 | PWD | ELECT | 2020 | 32.2 32.2.5 | Providing following size ISI marked FRLS PVC insulated , PVC sheathed, flexible copper conductor wire. 2.5 sq. mm three core | Metre | 56 | 150 | 8400 | 0 | 0 | N
[8 empty] | Total | 29612672
[8 empty] | Say Rs. In Lacs | 296.1267
| SubEngineer |  | Sub-Divisinal Officer |  |  | Executive Engineer
|  |  | P.W.D Sub Dn. No. 02 Pathalgaon |  |  | P.W.D.Division Pathalgaon
|  |  | Distt. Jashpur C.G. |  |  | Distt. Jashpur C.G.
Sub Engineer
P.W.D. (E/M) Sub Dn.
Jashpur
Sub Divisionel Officer
P.W.D. (E/M) Sub Dn.
Jashpur
Executive Engineer
P.W.D. (E/M) Dn.
Ambikapur

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false30820
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | WRD | WRD | Percentage | %
Bilaspur Smart City Limited(BSCL) | BSCL | PHE | PHE | Per mile | %O
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | ELECTRIC | ELECT | 1 Job | 1 Job
Chhattisgarh Department of Agriculture (CGDA) | CGDA | PHED | PHED1 | 1000 no. | 1000 no.
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB | RES_BUILDING | RESBDG | 1000No. | 1000No.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | PMGSY SOR | PMGSY | Print | 123
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | NON SOR | NS | Per Diem Rate | 1234
Chhattisgarh Housing Board (CGHB) | CGHB | BRIDGE | PWD_BRIDGE | MAN DAYS | 12345
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PWD BUILDLING | PWD BLD | PRINT | 678
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV | PWD ROAD | PWD ROAD | Siemens Per meter | A/V
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Acre | ACR
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Activity unit | AU
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Bag | BAG
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Batch | Batch
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Book | BK
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Box | BOX
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Centiliter | CL
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | cm | cm
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | Centimeter | CM
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | Square centimeter | CM2
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | coils | coils
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | COILS | Coils
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Copies | Copies
Department of School Education (DSE) | DSE |  |  | Crate | CRT
Department of Technical Education (DTE) | DTE |  |  | Case | CS
Department of Women and Child Development(WCD) | WCD |  |  | Cu.Mtr. | Cu.Mtr.
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | cubic feet | cubic feet
Directorate of Fisheries (DF) | DF |  |  | cubic feet (CFT) | cubic feet (CFT)
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | cum | cum
DISTRICT POLICE KORBA(DPK) | DPK |  |  | cum.km | cum.km
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | Days | DAY
Food and Drug Administration (FDA) | FDA |  |  | Degree | DEG
Health Department (HD) | HD |  |  | DFLT | DFLT
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Decimeter | DM
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Drum | DR
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Dozen | DZ
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | EACH | EA
Mineral Resources Department -Mining (MRD) | MRD |  |  | each | each
Naya Raipur Development Authority (NRDA) | NRDA |  |  | each additional floor | each additional floor
Panchayat and Rural Development (PARD) | PARD |  |  | Each Courty | Each Court
Public Health Engineering Department (PHED) | PHED |  |  | each cut | each cut
Public Works Department (PWD) | PWD |  |  | each test | each test
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each tree guard | each tree guard
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | Each box | EB
Raipur Smart City Limited(RSCL) | RSCL |  |  | Enzyme Units / Milliliter | EML
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Each TAPE | ET
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rashtriya Madhyamik Shiksha Abhiyan(RMSA) | RMSA |  |  | Fluid Ounce US | FOZ
Rural Engineering Services (RES) | RES |  |  | Feet | FT
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Square foot | FT2
State Urban Development Agency (SUDA) | SUDA |  |  | Cubic Foot | FT3
Urban Administration and Development Department (UADD) | UADD |  |  | Gigajoule | FY
Water Resources Department (WRD) | WRD |  |  | Gram | G
Zila Panchayat Raipur(ZPR) | ZPR |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Hours | Hrs
|  |  |  | I/O Point | I/O Point
|  |  |  | Indian Rupees | INR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | KWH | KWH
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | lumpsump | lumpsump
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man days | Man days
|  |  |  | Man-Month | Man-Month
|  |  |  | Manmonth | Manmonth
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | per month | per month
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | Per person | PER PERSON
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | per pouch | per pouch
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Parts per trillion | PPT
|  |  |  | Per Roll | PR
|  |  |  | Print | Print
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM