## TENDER_ITEM_UPLOAD
N.I.T. FOR THE CONSTRUCTION OF 100 SEATER BOYS HOSTEL FOR PVTG STUDENTS, AT - GURIYA, DISTT. NARAYANPUR
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
[7 empty] | P.A.C. TOTAL Rs. |  | 27040835 | SAY Rs. |  | 270.41 Lacs
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | PWD | PWD BLD | 2015 | 1.2 | 1.2- Surface dressing of the ground including removing vegetation and making up undulations and in-equalities not exceeding 15 cms in depth/ height including disposal of rubbish upto 1.5 m lift and lead upto 50m (at least 5m away from the dressed area | Sqm | 7.2 | 3000 | 21600 | 0 | 0 | N
2 | PWD | PWD BLD | 2015 | 1.1.1 | 1.1- Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the xcavated area), including ressing and leveling of pits. 1.1.1 In all types of soils. | cum | 185 | 923.2169 | 170795 | 0 | 0 | N
3 | PWD | PWD BLD | 2015 | 1.6.1 | 1.6 Extra for every additional lift of 1.5 m or part thereof. 1.6.1 All types of soils | cum | 26.5 | 119.862 | 3176 | 0 | 0 | N
4 | PWD | PWD BLD | 2015 | 3.1.3 | 3.1 Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.1.3 - 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | cum | 2970 | 193.0228 | 573278 | 0 | 0 | N
5 | PWD | PWD BLD | 2015 | 2.1.1 | 2.1 Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: 2.1.1 -Foundation,footing,base of column and plinth beam in any shape and size. | sqm | 139 | 1414.1286 | 196564 | 0 | 0 | N
6 | PWD | PWD BLD | 2015 | 2.1.5 | 2.1.5 Columns, Pillars, Piers and likes- rectangular or square in shape | sqm | 297 | 1387.5165 | 412092 | 0 | 0 | N
7 | PWD | PWD BLD | 2015 | 2.1.8 | 2.1.8- Beams, lintels, cantilevers & walls | Sqm | 202 | 2324.62 | 469573 | 0 | 0 | N
8 | PWD | PWD BLD | 2015 | 2.1.13 | 2.1.13- Weather shade, chhajja, Cornices and mouldings | Sqm | 294 | 277.3 | 81526 | 0 | 0 | N
9 | PWD | PWD BLD | 2015 | 2.1.7 | 2.1.7- Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | Sqm | 235 | 2284.735 | 536913 | 0 | 0 | N
10 | PWD | PWD BLD | 2015 | 2.1.15 | 2.1.15 Stair cases of all types excluding spiral and folded plate type, including risers and landings | sqm | 230 | 81.36 | 18713 | 0 | 0 | N
11 | PWD | PWD BLD | 2015 | 3.2.1 | 3.2 Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.2.1- 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | Cum | 4163 | 269.8433 | 1123358 | 0 | 0 | N
12 | PWD | PWD BLD | 2015 | 3.2.1+3.4 | 3.2 Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.2.1- 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). 3.4 - Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 4257.5 | 296.3591 | 1261749 | 0 | 0 | N
13 | PWD | PWD BLD | 2015 | 3.2.1+3.4 | 3.2 Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.2.1- 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). 3.4 - Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 4352 | 291.7244 | 1269584 | 0 | 0 | N
14 | PWD | PWD BLD | 2015 | 3.2.1+3.4 | 3.2 Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.2.1- 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). 3.4 - Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 4446.5 | 20.382 | 90629 | 0 | 0 | N
15 | PWD | PWD BLD | 2015 | 3.12.1 | 3.12 -Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete: 3.12.1- Thermo-Mechanically treated bars FE 415 | Kg | 54.5 | 87624.5988 | 4775541 | 0 | 0 | N
16 | PWD | PWD BLD | 2015 | 7.5.4 | 7.5 Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: 7.5.4 Cement Mortar 1:6 (1 cement : 6 coarse sand) | cum | 3263 | 66.552 | 217159 | 0 | 0 | N
17 | PWD | PWD BLD | 2015 | 3.13 | 3.13 Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | Cum | 4237 | 7.322 | 31023 | 0 | 0 | N
18 | PWD | PWD BLD | 2015 | 3.15 | 3.15 Applying a coat of hot bitumen VG-10 using @ 1.7kg/ sqm on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | Sqm | 93.5 | 146.44 | 13692 | 0 | 0 | N
19 | PWD | PWD BLD | 2015 | 1.17 | 1.17 Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | cum | 65 | 424.2234 | 27575 | 0 | 0 | N
20 | PWD | PWD BLD | 2015 | 1.18 | 1.18 Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | Cum | 371 | 1234.7251 | 458083 | 0 | 0 | N
21 | PWD | PWD BLD | 2015 | 7.5.4+7.6 | 7.5 Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: 7.5.4 Cement Mortar 1:6 (1 cement : 6 coarse sand) 7.6 Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 3384 | 404.8524 | 1370020 | 0 | 0 | N
22 | PWD | PWD BLD | 2015 | 7.5.4+7.6 | 7.5 Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: 7.5.4 Cement Mortar 1:6 (1 cement : 6 coarse sand) 7.6 Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 3505 | 352.4019 | 1235169 | 0 | 0 | N
23 | PWD | PWD BLD | 2015 | 7.5.4+7.6 | 7.5 Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: 7.5.4 Cement Mortar 1:6 (1 cement : 6 coarse sand) 7.6 Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 3626 | 50.94 | 184708 | 0 | 0 | N
24 | PWD | PWD BLD | 2015 | 7.11.2 | 7.11 Half brick thick brick masonry with fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in superstructure above plinth level upto plinth level: 7.11.2 Cement Mortar 1:4 (1 cement : 4 coarse sand) | Sqm | 382 | 302.94 | 115723 | 0 | 0 | N
25 | PWD | PWD BLD | 2015 | 7.12 | 7.12 Extra for half brick work in superstructure above plinth level for every story or part thereof in addition to rate for upto plinth level: Ground Floor | Sqm | 11 | 151.47 | 1666 | 0 | 0 | N
26 | PWD | PWD BLD | 2015 | 7.2 | 7.20 Extra for providing and placing in position hopping 25x1.60 mm or 2 Nos 6mm dia MS bars reinforcement at every third course of half brick masonry. | Sqm | 62.5 | 302.94 | 18934 | 0 | 0 | N
27 | PWD | PWD BLD | 2015 | 7.12 | 7.12 Extra for half brick work in superstructure above plinth level for every story or part thereof in addition to rate for upto plinth level: First Floor | Sqm | 22 | 151.47 | 3332 | 0 | 0 | N
28 | PWD | PWD BLD | 2015 | 11.1.2 | 11.1 Providing and making 6mm thick cement plaster of mix: 11.1.2 In Cement mortar 1:4 (1 cement : 4 fine sand) | Sqm | 87 | 2579.046 | 224377 | 0 | 0 | N
29 | PWD | PWD BLD | 2015 | 11.2.4 | 11.2 Providing and making 12mm thick cement plaster of mix: 11.2.4 In Cement Mortar 1:6 (1 cement : 6 fine sand) | Sqm | 91.5 | 2535.69 | 232016 | 0 | 0 | N
30 | PWD | PWD BLD | 2015 | 11.3.4 | 11.3 Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: 11.3.4 In Cement Mortar 1:6 (1 cement : 6 fine sand) | Sqm | 107 | 5140.7105 | 550056 | 0 | 0 | N
31 | PWD | PWD BLD | 2015 | 11.32.4 | 11.32 Providing and making 18 mm thick plain cement mortar band in cement mortar 1:4 (1 cement : 4 fine sand) per cm width: 11.32.4 Drip course | Rmt | 3.6 | 951.8 | 3426 | 0 | 0 | N
32 | PWD | PWD BLD | 2015 | 14.56 | 14.56 Providing and applying 2mm thick white cement based polymeric Exterior grade Putty with minimum 3 coats applied @ 5.4 kg/ I 0Sqm as per relevant rs code 17545:2021 (Product such as Birla wall care, Asian trucare,JK wall putty, Berger Bison wall putty) to make the surface smooth and even with all tools tackles and labour etc. complete for the work | Sqm | 86 | 6593.346 | 567028 | 0 | 0 | N
33 | PWD | PWD BLD | 2015 | 14.63 | 14.63 Providing and applying Economy Plastic emulsion paint with roller application minimum three coats appied @ 1.25 lit / 10 Sqm up to final finish as per relevant I.S. Code 15489:2013 Type -1 Class D & C (Glossy and Semi Glossy Finish) of required shade (product such as Tractor emulsion , Dulux Promise, Nerolac Bueaty Silver, Berger bison/breeze , Opus 130/ Style Paint) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour complete for the work . (With 2 Year warranty). | Sqm | 74 | 4640.566 | 343402 | 0 | 0 | N
34 | PWD | PWD BLD | 2015 | 14.67 | 14.67 Providing and applying on exterior surface with I Sqm ECONOMY Exterior Emulsion paint of required shades to give protective and water proof finish minimum three coats applied @ 1.43 lit/ 10Sqm up to final firush as per relevant I.S. Code 15489:2013 Type -2 Class D , C (Glossy/Semi Glossy finish ) (Product such as Asian Ace ,Dulux Promise Exterior , Berger Wall Masta ,Nerolac Suraksha Plus ,Nippon Shogun Opus, One Style Power Bright) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work (With 2 Year Warranty) | Sqm | 70 | 1952.78 | 136695 | 0 | 0 | N
35 | PWD | PWD BLD | 2015 | 14.72 | 14.72 Providing and applying Glossy_finish Enamel paint m1m1mum 2 coats in all surface applying @ 0.75 lit/ 10 Sqm up to required finish as per relevent I.S. code 2932: 2013 of (Product such as Asian Apcolite Premium Enamel , Dulux Promise Premium Enamel , Nerolac Synthatic Enamel, Opus Prime enamel ) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackle and labour etc. complete for the work. | Sqm | 120 | 389.82 | 46778 | 0 | 0 | N
36 | PWD | PWD BLD | 2015 | 11.5 | 11.5 Neat Cement punning. | Sqm | 33 | 70.74 | 2334 | 0 | 0 | N
37 | PWD | PWD BLD | 2015 | 9.16.2 | 9.16 Providing and fixing M.S. frames of doors, windows, ventilators and cupboards joints mitred and welded with 15x3 mm lugs 10cm long embedded in cement concrete blocks 15x10x10cm of grade M-10 or with wooden plugs and screws or with dash fastener or rawl plugs and screws or with fixing clips or with bolts and nuts as required including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. 9.16.2 Angle-iron frames | Kg | 73.5 | 2642.4 | 194216 | 0 | 0 | N
38 | PWD | PWD BLD | 2015 | 9.15 | 9.15 Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | Kg | 67.5 | 4008.75 | 270591 | 0 | 0 | N
39 | PWD | PWD BLD | 2015 | 9.11 | 9.11 Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rails of T-iron 40x40x6mm with 38mm steel pulleys complete with bolts, nuts, locking arrangement stoppers, handles including applying a priming coat of red oxide zinc chromate primer. | Sqm | 3330 | 10.08 | 33566 | 0 | 0 | N
40 | PWD | PWD BLD | 2015 | 8.12.2 | 8.12 Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges. 8.12.2 35 mm. thick (single leaf) | Sqm | 2005 | 90.3 | 181052 | 0 | 0 | N
41 | PWD | PWD BLD | 2015 | 8.15 | 8.15 Extra for double leaf shutter instead of single leaf. | Sqm | 52 | 25.2 | 1310 | 0 | 0 | N
42 | PWD | PWD BLD | 2015 | 8.148.2 | 8.148 Providing and fixing factory made UPVC door frame made of UPVC profile section having an overall dimension as below (tolerance ± 1mm) with wall thickness 2.0mm ± 0.2mm, corners of the door frame to be jointed with galvanized brackets and stainless steel screws, joints mitred and plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19mm and 1mm ± 0.1mm wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturers specification and direction of Engineer-in-charge 8.148.2 Extruded section Profile size 42x50 mm. | metre | 196 | 220 | 43120 | 0 | 0 | N
43 | PWD | PWD BLD | 2015 | 8.154 | 8.154 Providing and fixing 30mm thick fibreglass reinforced plastic (F.R.P.) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF) / Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate onforming to table - 3 of IS: 14856 : 2000, complete. | Sqm | 2595 | 73.92 | 191822 | 0 | 0 | N
44 | PWD | PWD BLD | 2015 | 8.94.1 | 8.94 Providing and fixing M.S. bright finished or black enameled Butt hinges IS: 1341 marked with necessary iron screws: 8.94.1 125x65x2.12mm | Nos. | 30 | 291 | 8730 | 0 | 0 | N
45 | PWD | PWD BLD | 2015 | 8.99.1 | 8.99 Providing and fixing M.S. bright finished or black enameled sliding door bolts with bolts, nuts and necessary iron screws: 8.99.1 300x16mm | Nos. | 77.5 | 87 | 6743 | 0 | 0 | N
46 | PWD | PWD BLD | 2015 | 8.100.2 | 8.100 Providing and fixing M.S. bright finished or black enameled door latch with necessary iron screws: 8.100.2 250x20x6mm | Nos. | 50.5 | 87 | 4394 | 0 | 0 | N
47 | PWD | PWD BLD | 2015 | 8.102.1 | 8.102 Providing and fixing M.S. bright finished or black enameled Tower bolts (Barrel type) with necessary iron screws: 8.102.1 250 mm | Nos. | 34.5 | 99 | 3416 | 0 | 0 | N
48 | PWD | PWD BLD | 2015 | 8.103.1 | 8.103 Providing and fixing M.S. bright finished or black enameled handles with necessary iron screws: 8.103.1 125 mm | Nos. | 51 | 194 | 9894 | 0 | 0 | N
49 | PWD | PWD BLD | 2015 | 8.106 | 8.106 Providing and fixing MS bright finished single hanging door stopper with necessary MS steel screws complete. | Nos. | 12.5 | 97 | 1213 | 0 | 0 | N
50 | PWD | PWD BLD | 2015 | 9.47.1 | 9.47 Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately: 9.47.1 For fixed portion | kg | 331 | 2124.96 | 703362 | 0 | 0 | N
51 | PWD | PWD BLD | 2015 | 9.47.2 | 9.47.2 For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | kg | 338 | 2456.16 | 830182 | 0 | 0 | N
52 | PWD | PWD BLD | 2015 | 9.48 | 9.48 Extra for powder coated (minimum 50 micron) aluminium sections instead of anodized. | Kg | 27 | 4581.12 | 123690 | 0 | 0 | N
53 | PWD | PWD BLD | 2015 | 9.51.1 | 9.51 Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item): 9.51.1 With float glass panes of 4 mm thickness | Sqm | 611 | 173.88 | 106241 | 0 | 0 | N
54 | PWD | PWD BLD | 2015 | 9.57.1 | 9.57 Providing stainless steel railing/ grill made of S.S. flats, hollow S.S. pipe or square/ rectangular sections of approved design fixing in stair case, balcony or other places with metal fasteners and stainless steel bolts etc complete. 9.57.1 SS Grade 204 | Kg | 467 | 552 | 257784 | 0 | 0 | N
55 | PWD | PWD BLD | 2015 | 12.79.1 | 12.79 Providing and laying DOUBLE/ MULTI CHARGE (minimum 2.0mm thick layer) VITRIFIED floor tiles with water absorption less than 0.05% and conforming to IS : 15622-2017 of 1st quality of approved make in all colours and shades and size mentioned below (+/-10mm) , laid on 20mm thick cement mortar 1:4 (1 cement: 4 coarse sand ) including grouting the joints with white cement and matching pigments elc. complete. 12.79.1 Size 600x600mm thickness 9 to 10mm | Sqm | 1082 | 1694.9735 | 1833961 | 0 | 0 | N
56 | PWD | PWD BLD | 2015 | 12.74.1 | 12.74 Providing and fixing rectified glazed ceramic floor tiles of 1st quality conforming to IS : 15622-2017 of approved make, in all colours, shades laid over 20 mm thick bed of Cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with matching pigment complete. 12.74.1 Size 300x300mm thickness 7 to 8mm | Sqm | 779 | 206.43 | 160809 | 0 | 0 | N
57 | PWD | PWD BLD | 2015 | 12.75.1 | 12.75 Providing and fixing rectified glazed ceramic wall/dado tiles of 1st quality conforming to IS : 15622-2017 of approved make, in all colours, shades on wall and dados over 12 mm thick bed of Cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with matching pigment complete. 12.75.1 Size 300x450mm thickness 7 to 9mm | Sqm | 710 | 888.78 | 631034 | 0 | 0 | N
58 | PWD | PWD BLD | 2015 | 12.46.1 | 12.46 15 mm thick Table rubbed polished Granite stone slab in risers and treads of steps skirting dado and pillars laid on 12mm (Average) thick base of cement mortar 1:3 (1 cement : 3 coarse sand) and jointed with grey cement slurry including rubbing and polishing etc. complete (single stone is to be used for risers and treads of steps and width of stone for skirting and dado shall be equal to the height of skirting & dado and length of 1.0 m). 12.46.1 Granite stone grey/pink | Sqm | 1869 | 75.9345 | 141922 | 0 | 0 | N
59 | PWD | PWD BLD | 2015 | 12.44 | 12.44 Extra for nosing in Granite stone for treads. | Rmt | 126 | 69 | 8694 | 0 | 0 | N
60 | PWD | PWD BLD | 2015 | 12.45.1 | 12.45 15 mm thick Table rubbed polished Granite stone slab flooring laid over 20mm (Average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including rubbing and polishing etc. complete. (Area of slab should be 0.50 sqm and above) 12.45.1 Granite stone grey/pink | sqm | 1796 | 36.975 | 66407 | 0 | 0 | N
61 | PWD | PWD BLD | 2015 | 13.19.2 | 13.19 Extra for providing edge moulding to 15mm thick stone counters, vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. 13.19.2 Granite work | Rmt | 103 | 33.3 | 3430 | 0 | 0 | N
62 | PWD | PWD BLD | 2015 | 13.25 | 13.24 Providing and fixing one side polished 25 mm thick RAJIM SAND STONE shelves fixed in walls in cement mortar 1:3 (1 cement : 3 coarse sand) including finishing complete. 13.25 Both side polished | Sqm | 331 | 106.8 | 35351 | 0 | 0 | N
63 | PWD | PWD BLD | 2015 | 12.3.2 | 12.3 Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement. 12.3.2 50 mm thick | Sqm | 254 | 372.96 | 94732 | 0 | 0 | N
64 | PWD | PWD BLD | 2015 | 12.65.2 | 12.65 Providing & laying 60mm thick precast interlocking concrete blocks of approved size (approx 305 sqcm) and shape/ pattern, over 40 mm thick average complete coarse sand bed with joints of 3mm thick filled by fine sand including leveling with surface vibrator, temping and sweeping etc. complete of minimum compressive strength of 250 kg/sq.cm 12.65.2 Pigment Coloured (rubber mould) precast interlock concrete blocks | Sqm | 632 | 820 | 518240 | 0 | 0 | N
65 | PWD | PWD BLD | 2015 | 3.16 | 3.16 Making 50mm thick plinth protection of plain cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded crushed stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with sand including finishing the top smooth. | sqm | 273 | 225 | 61425 | 0 | 0 | N
66 | PWD | PWD BLD | 2015 | 12.36.1 | 12.36 Chequered terrazzo tiles 22 mm thick with graded marble chips of size upto 6mm in floors on 25mm thick bed of cement mortar 1:6 (1 cement : 6 coarse sand) jointed with neat cement slurry mixed with pigment to match the shade of tiles including grinding rubbing and polishing complete. 12.36.1 Light shade using white cement | Sqm | 799 | 40 | 31960 | 0 | 0 | N
67 | PWD | PWD BLD | 2015 | 18.1.1 | 18.1 Providing and fixing water closet squatting pan (Indian type W.C. pan ), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required : 18.1.1 White Long pattern W.C. pan of size 580 mm | Each | 2459 | 22 | 54098 | 0 | 0 | N
68 | PWD | PWD BLD | 2015 | 18.14.1 | 18.14 Providing and fixing white vitreous china urinal basin as per IS : 2556 complete: 18.14.1 Flat back half stall urinal of size 460x380x250mm | Each | 1183 | 12 | 14196 | 0 | 0 | N
69 | PWD | PWD BLD | 2015 | 18.4.1 | 18.4 Providing and fixing vitreous china water closet (European type W.C. pan) with white ISI marked plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (same colour), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : 18.4.1 White pedestal type | Each | 2882 | 1 | 2882 | 0 | 0 | N
70 | PWD | PWD BLD | 2015 | 18.9.1 | 18.9 Providing and fixing ISI marked plastic seat with lid for pedestal type W.C. pan complete: 18.9.1 White/ black | Each | 620 | 1 | 620 | 0 | 0 | N
71 | PWD | PWD BLD | 2015 | 18.17.1 | 18.17 Providing and fixing vitreous china wash basin with C.I. brackets, 32 mm C.P. brass waste of standard pattern, includingpainting of brackets, cutting and making good the walls wherever required : 18.17.1 White Size 550x450 mm | Each | 1430 | 13 | 18590 | 0 | 0 | N
72 | PWD | PWD BLD | 2015 | 18.21.2 | 18.21 Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink with drain board as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : 18.21.2 1040x510 mm bowl size 460x410x200 mm | Each | 8539 | 2 | 17078 | 0 | 0 | N
73 | PWD | PWD BLD | 2015 | 18.25.2 | 18.25 Providing and fixing flexible P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. 18.25.2 40 mm dia | Each | 88.5 | 15 | 1328 | 0 | 0 | N
74 | PWD | PWD BLD | 2015 | 18.29 | 18.29 Providing and fixing 600x450 mm beveled edge 4mm mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 599 | 13 | 7787 | 0 | 0 | N
75 | PWD | PWD BLD | 2015 | 18.78.1 | 18.78 Providing and fixing UV stabilized Unplasticised -PVC pipe clips of approved design to Rigid PVC pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 18.78.1 75 mm | Each | 57 | 80 | 4560 | 0 | 0 | N
76 | PWD | PWD BLD | 2015 | 18.78.2 | 18.78 Providing and fixing UV stabilized Unplasticised -PVC pipe clips of approved design to Rigid PVC pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 18.78.2 110 mm | Each | 61 | 150 | 9150 | 0 | 0 | N
77 | PWD | PWD BLD | 2015 | 18.76.1 | 18.76 Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete. 18.76.1 75 mm dia pipe. | metre | 182 | 100 | 18200 | 0 | 0 | N
78 | PWD | PWD BLD | 2015 | 18.76.2 | 18.76 Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete. 18.76.2 110 mm dia pipe. | metre | 267 | 349 | 93183 | 0 | 0 | N
79 | PWD | PWD BLD | 2015 | 18.77.1.1 | 18.77 Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. 18.77.1 Tee/ Tee with door/ Bend 45°/ Bend 90° 18.77.1.1 75 mm | Each | 113 | 100 | 11300 | 0 | 0 | N
80 | PWD | PWD BLD | 2015 | 18.77.1.2 | 18.77.1 Tee/ Tee with door/ Bend 45°/ Bend 90° 18.77.1.2 110 mm | Each | 154 | 156 | 24024 | 0 | 0 | N
81 | PWD | PWD BLD | 2015 | 18.77.2.1 | 18.77.2 Double "Y" with or without door 18.77.2.1 75 mm | Each | 129 | 24 | 3096 | 0 | 0 | N
82 | PWD | PWD BLD | 2015 | 18.77.3.2 | 18.77.3 Vent covel 18.77.3.2 110 mm | Each | 44 | 22 | 968 | 0 | 0 | N
83 | PWD | PWD BLD | 2015 | 18.77.5 | 18.77.5 "P" trap 110mmx110mm long | Each | 227 | 24 | 5448 | 0 | 0 | N
84 | PWD | PWD BLD | 2015 | 18.77.6 | 18.77.6 Nahani trap 110x75mm | Each | 90.5 | 30 | 2715 | 0 | 0 | N
85 | PWD | PWD BLD | 2015 | 19.7.1 | 19.7 Providing and fixing on wall surface G.I. pipes medium class complete with G.I. fittings and clamps, including cutting, making good the walls etc. and testing of joints complete: 19.7.1 15 mm dia. nominal bore | metre | 149 | 100 | 14900 | 0 | 0 | N
86 | PWD | PWD BLD | 2015 | 19.7.2 | 19.7.2 20 mm dia. nominal bore | metre | 185 | 45 | 8325 | 0 | 0 | N
87 | PWD | PWD BLD | 2015 | 19.7.3 | 19.7.3 25 mm dia. nominal bore | metre | 258 | 120 | 30960 | 0 | 0 | N
88 | PWD | PWD BLD | 2015 | 19.7.4 | 19.7.4 32 mm dia. nominal bore | metre | 318 | 40 | 12720 | 0 | 0 | N
89 | PWD | PWD BLD | 2015 | 19.7.6 | 19.7.6 50 mm dia. nominal bore | metre | 471 | 75 | 35325 | 0 | 0 | N
90 | PWD | PWD BLD | 2015 | 19.14.1 | 19.14 Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required: 19.14.1 Bib cock (400 grams) | Each | 382 | 50 | 19100 | 0 | 0 | N
91 | PWD | PWD BLD | 2015 | 19.14.3 | 19.14.3 Long body bib cock (500 grams) | Each | 426 | 8 | 3408 | 0 | 0 | N
92 | PWD | PWD BLD | 2015 | 19.14.5 | 19.14.5 Two way bib cock (800 grams) | Each | 708 | 2 | 1416 | 0 | 0 | N
93 | PWD | PWD BLD | 2015 | 19.14.6 | 19.14.6 Stop cock (concealed) (600 grams) | Each | 494 | 54 | 26676 | 0 | 0 | N
94 | PWD | PWD BLD | 2015 | 19.14.7 | 19.14.7 Angle valve for basin mixer and geyser points (450 grams) | Each | 382 | 1 | 382 | 0 | 0 | N
95 | PWD | PWD BLD | 2015 | 19.14.14 | 19.14.14 Soap dish plate | Each | 163 | 20 | 3260 | 0 | 0 | N
96 | PWD | PWD BLD | 2015 | 19.14.15 | 19.14.15 Shower rose (revolving type) (150mm) | Each | 269 | 23 | 6187 | 0 | 0 | N
97 | PWD | PWD BLD | 2015 | 19.14.16 | 19.14.16 Towel rail (600mm long x 20mm dia) | Each | 338 | 23 | 7774 | 0 | 0 | N
98 | PWD | PWD BLD | 2015 | 19.15 | 19.15 Providing and fixing stainless steel drain jali of approved make/quality. | Each | 51 | 52 | 2652 | 0 | 0 | N
99 | PWD | PWD BLD | 2015 | 19.18.1 | 19.18 Providing and fixing gun metal non- return valve (horizontal type) of approved quality (screwed end) : 19.18.1 25 mm nominal bore | Each | 413 | 12 | 4956 | 0 | 0 | N
100 | PWD | PWD BLD | 2015 | 19.18.4 | 19.18 Providing and fixing gun metal non- return valve (horizontal type) of approved quality (screwed end) : 19.18.4 50 mm nominal bore | Each | 993 | 6 | 5958 | 0 | 0 | N
101 | PWD | PWD BLD | 2015 | 19.42 | 19.42 Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | litres | 7.3 | 22000 | 160600 | 0 | 0 | N
102 | PWD | PWD BLD | 2015 | 19.47 | 19.47 Constructing masonry Chamber 30x30x50 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 ( 1 cement : 5 fine sand:10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design : | Each | 754 | 12 | 9048 | 0 | 0 | N
103 | PWD | PWD BLD | 2015 | 19.48 | 19.48 Constructing masonry Chamber 60x60x75 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm. top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation Concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design : | Each | 4644 | 8 | 37152 | 0 | 0 | N
104 | PWD | PWD BLD | 2015 | 20.1.2 | 20.1 Providing, laying and jointing glazed stoneware pipes grade ‘A’ with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 20.1.2 150 mm diameter | metre | 262 | 50 | 13100 | 0 | 0 | N
105 | PWD | PWD BLD | 2015 | 20.2.2 | 20.2 Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete 150mm thick as per standard design: 20.2.2 150 mm diameter S.W. pipe | metre | 436 | 50 | 21800 | 0 | 0 | N
106 | PWD | PWD BLD | 2015 | 20.3.1 | 20.3.1 Providing and fixing square-mouth S.W. gully trap grade 'A'’ complete with C.I. grating brick masonry chamber with well burnt modular clay bricks crushing strength not less than 35kg/cm2, water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 20.3.1 100x100 mm size P type | Each | 1339 | 12 | 16068 | 0 | 0 | N
107 | PWD | PWD BLD | 2015 | 20.31 | 20.31 Providing and constructing soak pit 1.20x1.20x1.20m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | Each | 1709 | 6 | 10254 | 0 | 0 | N
108 | PWD | PWD BLD | 2015 | 21.17 | 21.17 Carrying out the resistivity survey by VES method using Schlumberger configuration for locating the proper spot for drilling of tube well within the selected habitation, including photography, nterpretation of resistivity data and submission of report in the desired format along with resistivity readings, necessary graph and photographs. (only successful point is payable) | Points | 1502 | 4 | 6008 | 0 | 0 | N
109 | PWD | PWD BLD | 2015 | 21.1.1.4 | 21.1 Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge upto 90 metre depth below ground level 21.1.1 All types of soil 21.1.1.4 200 mm dia | Metre | 371 | 140 | 51940 | 0 | 0 | N
110 | PWD | PWD BLD | 2015 | 21.1.2.4 | 21.1.2 Rocky strata including Boulders. 21.1.2.4 200 mm dia. | Metre | 457 | 40 | 18280 | 0 | 0 | N
111 | PWD | PWD BLD | 2015 | 21.2.2.2 | 21.2 Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge beyond 90 metre & upto 150 metre depth below ground level. 21.2.2 Rocky strata including Boulders. 21.2.2.2 125 mm dia. | Metre | 371 | 80 | 29680 | 0 | 0 | N
112 | PWD | PWD BLD | 2015 | 21.3.3 | 21.3 Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer –in-charge. 21.3.3 150 mm nominal size dia. | Metre | 540 | 160 | 86400 | 0 | 0 | N
113 | PWD | PWD BLD | 2015 | 21.4.3 | 21.4 Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) slotted pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in- charge. 21.4.3 150 mm nominal size dia. | Metre | 546 | 23.5 | 12831 | 0 | 0 | N
114 | PWD | PWD BLD | 2015 | 21.9 | 21.9 Gravel packing in tube well construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineer-in-charge. | Cum | 1048 | 11.2975 | 11840 | 0 | 0 | N
115 | PWD | PWD BLD | 2015 | 21.10 | 21.10 Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tube well, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | Hours | 654 | 12 | 7848 | 0 | 0 | N
116 | PWD | PWD BLD | 2015 | 21.11.3 | 21.11 Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for bore well of: 21.11.3 150 mm dia | No. | 217 | 2 | 434 | 0 | 0 | N
117 | PWD | PWD BLD | 2015 | 21.16 | 21.16 Providing ISI Mark 32 mm dia G.I. ( B class) riser pipe and M.S. plunger rod in 3 meter length socketed on one end as per IS: 1239 ( Part I) 1990 with up to date amendments and socket as per IS:2062/ 1990 up to date amendments. | Metre | 275 | 50 | 13750 | 0 | 0 | N
118 | PWD | PWD BLD | 2015 | 21.18 | 21.18 Providing and fixing filter of minimum 100 litre capacity for roof top rain water harvesting through tube well consisting of two layered HDPE tank with five layers (each layers of minimum 100 mm) consist of coarse sand, 4mm, 6mm, 8mm & 12 mm gravels with stainless steel wire mesh fixed between each layer with suitable length and sufficient numbers of 110 mm dia PVC pipe pieces in the bottom of tank to support the above layer including fixing of inlet and out let P.V.C. pipe of required diameter upto 2 metre length on each side, Cement Concrete plateform of required size complete as directed by Engineer in charge. (excluding cost of tubewell and inlet and outlet pipe beyond 2 metre) | No. | 18.5 | 202 | 3737 | 0 | 0 | N
119 | PWD | PWD BLD | 2015 | 21.19 | 21.19 Providing and fixing 80-100 mm dia PVC ball valve for inlet/ outlet of rain water harvesting pipe and filter. | Nos. | 644 | 6 | 3864 | 0 | 0 | N
120 | PWD | PWD BLD | 2015 | 1.8 | 1.8 Extra rate for quantity of work executed in or under foul condition. | Cum | 44 | 6.25 | 275 | 0 | 0 | N
121 | PWD | PWD BLD | 2015 | 21.2.1.3 | 21.2 Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all quipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge beyond 90 metre & upto 150 metre depth below ground level. 21.2.1.3 150 mm dia. 21.2.1 All types of soil | metre | 371 | 9 | 3339 | 0 | 0 | N
122 | PWD | PWD BLD | 2015 | 18.77.2.2 | 18.77.2 Double "Y" with or without door 18.77.2.2 110 mm | Each | 224 | 16 | 3584 | 0 | 0 | N
123 | PWD | PWD BLD | 2015 | 18.77.4.2 | 18.77.4 Access door cap 18.77.4.2 110 mm | Each | 59 | 16 | 944 | 0 | 0 | N
124 | PWD | PWD BLD | 2015 | 3.2.1+3.4 | 3.2 Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 3.2.1- 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). 3.4 - Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: Ground Floor | Cum | 4260.5 | 9.9892 | 42559 | 0 | 0 | N
125 | PWD | PWD BLD | 2015 | 11.32.2 | 11.32 Providing and making 18 mm thick plain cement mortar band in cement mortar 1:4 (1 cement : 4 fine sand) per cm width: 11.32.2 Sunk Bands | metre | 3 | 1232.4324 | 3697 | 0 | 0 | N
126 | PWD | PWD BLD | 2015 | 14.7.1 | 14.7 Colour washing such as green, blue or buff with lime to give an even shade. 14.7.1 On new work (two or more coats) including a base coat of white washing | sqm | 12 | 820.5405 | 9846 | 0 | 0 | N
127 | PWD | PWD BLD | 2015 | 18.76.3 | 18.76 Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete. 18.76.3 150 mm dia pipe | metre | 440 | 64.8649 | 28541 | 0 | 0 | N
128 | PWD | PWD BLD | 2015 | 3.21.2 | 3.21 Providing and fixing in position impregnated fibre board confirming to IS: 1838 in xpansion joints, including cost of primer, sealing compound all complete. 3.21.2 25mm thick | sqm | 768 | 5.9459 | 4566 | 0 | 0 | N
129 | PWD | PWD BLD | 2015 | 9.6.2 | 9.6 Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. 9.6.2 In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | kg | 68 | 675 | 45900 | 0 | 0 | N
130 | PWD | PWD BLD | 2015 | 14.22.2 | 14.22 Painting on new work (two or more coats) to give an even shade with: 14.22.2 Premium synthetic enamel paint | Sqm | 47 | 13.5 | 635 | 0 | 0 | N
131 | PWD | PWD BLD | 2015 | 9.39 | 9.39 Providing and fixing in position G.I. barbed wire (93.8gram/m) to concrete/ wooden/ angle iron posts (straight or diagonal) including securing and screwing with G.I. tying wire, G.I. stapples, G.I.U-nails or steel pins etc., complete(Cost of posts, struts to be paid for separately) | metre | 9.4 | 2400 | 22560 | 0 | 0 | N
132 | PWD | PWD BLD | 2015 | 9.45 | 9.45 Providing and placing in position angle iron post and strut of required size including bottom to be split and bent at right angle in opposite direction for required length and drilling holes upto 10 mm dia as per requirement including priming coat with red oxide zinc chromate primer and placing the post/ strut in cement concrete block. | kg | 69.5 | 813.4054 | 56532 | 0 | 0 | N
133 | PWD | PWD BLD | 2015 | 3.12 | 3.12 Construction of embankment with Material Obtained from Borrow Pits/Borrow Area (Construction of embankment with approved material/selected soil having C.B.R.>5 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | Cum | 238 | 172.8375 | 41135 | 0 | 0 | N
134 | PWD | PWD ROAD | 2015 | 4.1 A (b) (i) | 4.1 Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material, carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 A Plant mix method (with Mechanically crushed stone only) (b) For Sub-base cum drainage layer or upper sub-base with (i) Grading-V Material | #NAME? | 1573 | 20.625 | 32443 | 0 | 0 | N
135 | PWD | PWD ROAD | 2015 | 6.1 (i) | 6.1 Dry Lean Cement Concrete Sub- base Construction of dry lean cement concrete Sub-base as per IRC:SP-49 over a prepared sub-grade with coarse and fine aggregate conforming to IS: 383, the size of coarse aggregate not exceeding 26.5 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per table 600-1, cement content not to be less than 150 kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, laid with a paver with electronic sensor, compacting with 8-10 tonnes vibratory roller, finishing and curing as per clause 601. (i) P.C.C. M-10 | Cum | 2562 | 20.625 | 52841 | 0 | 0 | N
136 | PWD | PWD ROAD | 2015 | 6.4 | 6.4 Providing and laying Un-reinforced Cement Concrete without Dowel bars including formwork and expansion, contraction & longitudinal joints as per design and as per IRC-62, over a prepared base a per approved mix design and finising to lines and grade as per Drawing for Pavement thickness less than 200mm in Low Volume Roads. With Cement concrete grade M-30 and minimum cement content @ 375 kg/cum | Cum | 4748 | 41.25 | 195855 | 0 | 0 | N
137 | PWD | PWD ROAD | 2015 | 4.13 B | 4.13 Construction of Shoulders (Construction of shoulders as per clause 408 with selected soil from borrow pits / borrow areas having CBR not less than 12 and shall have L.L. and P.I. not more than 25% and 6% respectively, inclusive of all leads and lifts, including clearing and scrapping of existing surface, providing required cross fall, compacting. watering rolling and royalty charges etc. complete. B With smooth wheeled roller | Cum | 313 | 27.225 | 8521 | 0 | 0 | N
138 | PWD | PWD ROAD | 2015 | 9.5 B | 9.5 Providing and laying Reinforced Cement Concrete pipe NP 3 / prestressed concrete pipe. (Laying Reinforced cement concrete pipe NP3 /prestressed concrete pipe for culverts including fixing collar with cement mortar 1:2 but excluding bedding below pipes, excavation, protection works, backfilling, concrete and masonry works in head walls and parapets) B 600 mm dia | metre | 2264 | 10 | 22640 | 0 | 0 | N
139 | PWD | ELECT | 2020 | 1.7.1 | Wiring for light/ fan/ exhaust fan / call bell point with 3x1.5 sqmm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) with 5/6 amp modular switch, modular base and cover plate, suitable size G.I. box as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) (1.7.1) Short Point | Point | 266 | 76 | 20216 | 0 | 0 | N
140 | PWD | ELECT | 2020 | 1.7.2 | Medium Point | Point | 424 | 152 | 64448 | 0 | 0 | N
141 | PWD | ELECT | 2020 | 1.7.3 | Long Point | Point | 588 | 302 | 177576 | 0 | 0 | N
142 | PWD | ELECT | 2020 | 1.8 | Wiring for twin control light point with 3x1.5 sqmm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) with 5/6 amp modular switch, modular base and cover plate, suitable size G.I. box as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) | Point | 420 | 4 | 1680 | 0 | 0 | N
143 | PWD | ELECT | 2020 | 1.9 | Extra for providing and fixing light plug point on board in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) point wiring with modular type 3 pin 5/6 amp socket outlet and 5/6 amp switch including cost of base and cover plate and G. I. box etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) | Point | 216 | 80 | 17280 | 0 | 0 | N
144 | PWD | ELECT | 2020 | 1.10.3 | Wiring for light plug point with 3x2.5 sq mm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with modular type 6 Amp switch and 3 pin 6 amps socket outlet with modular base and cover plate, suitable size G.I. box, earthing the switch box and socket outlet with same size wire etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) (1.10.3) Long Point | Point | 922 | 29 | 26738 | 0 | 0 | N
145 | PWD | ELECT | 2020 | 1.10.4 | Extra Long Point I | Point | 1302 | 20 | 26040 | 0 | 0 | N
146 | PWD | ELECT | 2020 | 1.11.3 | Wiring for power plug point with 3x4 sq mm FRLS PVC insulated stranded copper conductor wire for phase, neutral and earth in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with modular type 16 Amp switch and 6 pin 16 amps socket outlet with modular base and cover plate, suitable size G.I. box, earthing the switch box and socket outlet with same size wire etc. as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) 1.11.3 Long Point | Point | 1350 | 6 | 8100 | 0 | 0 | N
147 | PWD | ELECT | 2020 | 1.11.4 | Extra Long Point I | Point | 1807 | 6 | 10842 | 0 | 0 | N
148 | PWD | ELECT | 2020 | 1.11.5 | Extra Long Point II | Point | 2315 | 3 | 6945 | 0 | 0 | N
149 | PWD | ELECT | 2020 | 1.11.6 | Extra Long Point III | Point | 2825 | 6 | 16950 | 0 | 0 | N
150 | PWD | ELECT | 2020 | 1.13.1 | Wiring for circuit/ sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, wire in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) (1.13.1) 3 X 1.5 sq. mm in 20mm conduit | Metre | 92 | 165 | 15180 | 0 | 0 | N
151 | PWD | ELECT | 2020 | 1.13.2 | 3 X 2.5 sq. mm in 20mm conduit | Metre | 111 | 368 | 40848 | 0 | 0 | N
152 | PWD | ELECT | 2020 | 1.13.3 | 6 X 2.5 sq. mm in 25mm conduit | Metre | 172 | 219 | 37668 | 0 | 0 | N
153 | PWD | ELECT | 2020 | 1.13.4 | 9 X 2.5 sq. mm in 32mm conduit | Metre | 238 | 98 | 23324 | 0 | 0 | N
154 | PWD | ELECT | 2020 | 1.13.5 | 12 X 2.5 sq. mm in 32mm conduit | Metre | 288 | 78 | 22464 | 0 | 0 | N
155 | PWD | ELECT | 2020 | 5.4.3 | Supplying and fixing following modular switch, socket, other accessories on the existing modular plate & switch box including connections but excluding modular plate etc. as per specification.(5.4.3) Bell push | Each | 80 | 2 | 160 | 0 | 0 | N
156 | PWD | ELECT | 2020 | 5.4.9 | Fan regulator (two module size) electronic stepped type moving all rounds | Each | 223 | 115 | 25645 | 0 | 0 | N
157 | PWD | ELECT | 2020 | 5.4.22 | Batten/ angle holder | Each | 41 | 108 | 4428 | 0 | 0 | N
158 | PWD | ELECT | 2020 | 5.7.2 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 volts A.C. supply, complete as per specification.(5.7.2) Deluxe | Each | 107 | 2 | 214 | 0 | 0 | N
159 | PWD | ELECT | 2020 | 5.9 | Providing and fixing round/ hexagonal fan box (125mm dia) depth 75mm (max.) with 12mm dia steel bar hook, 1.6mm thick MS sheet cover, in RCC slab etc. as per specification. | Each | 42 | 53 | 2226 | 0 | 0 | N
160 | PWD | ELECT | 2020 | 5.11 | Providing and fixing fan clamp made of 3mm thick MS flat on existing iron trusses/ girder including necessary bolts and nuts etc. as per specification. | Each | 40 | 62 | 2480 | 0 | 0 | N
161 | PWD | ELECT | 2020 | 6.1.3 | Supplying, installation, testing and commissioning of following sizes ceiling fan including wiring the down rods of standard length up to 30 cm with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, earthing etc. complete as required. P.F. should be greater than 0.9, with BEE Star rating from 3 star and above, IS: 374:2019 including all amendments.(6.1.3) 1200 mm sweep | Each | 1697 | 115 | 195155 | 0 | 0 | N
162 | PWD | ELECT | 2020 | 6.6.1 | Supplying, installation, testing and commissioning of following sizes heavy duty (continuous running) 1400 rpm exhaust fan in existing opening in wall including earthing etc. complete as per specification. P.F. should be greater than 0.9 (6.6.1) 300 mm sweep | Each | 2446 | 31 | 75826 | 0 | 0 | N
163 | PWD | ELECT | 2020 | 6.17.5 | Supplying, fixing, testing and commissioning of following LED lamps with inbuilt electronic driver heat sink and all other accessories in existing holder/ luminaries as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. (6.17.5) 12 Watt | Each | 215 | 108 | 23220 | 0 | 0 | N
164 | PWD | ELECT | 2020 | 6.19.3 | Supplying, installation, testing and commissioning of following LED tube light fitting including batten with Electronic Driver Heat sink Capacitor complete with all other accessories on surface/ in false ceiling, including connection, earthing etc complete as per specification and IP20, P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. (6.19.3) 18/20 watt {4 feet} | Each | 443 | 129 | 57147 | 0 | 0 | N
165 | PWD | ELECT | 2020 | 6.21.1 | Supplying, installation, testing and commissioning of following LED tube light fitting {Inverter Type: with builtin battery backup} including batten with Electronic Driver Heat sink Capacitor complete with all other accessories on surface/ in false ceiling, including connection, earthing etc complete as per specification. IP20, P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 100 lumens /watt. (6.21.1) 20 watt | Each | 997 | 40 | 39880 | 0 | 0 | N
166 | PWD | ELECT | 2020 | 6.28.6 | Supplying, installation, testing and commissioning of following 230/250 volts LED street light fitting with all accessories like driver, heat sink made of die cast aluminium with IP 66 protection and 15 KV surge protection on pole bracket, including connection, earthing, Separate housing for driver etc complete as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 120 lumens /watt.6.28.6 45 watt | Each | 2729 | 4 | 10916 | 0 | 0 | N
167 | PWD | ELECT | 2020 | 6.28.7 | 60 watt | Each | 3622 | 8 | 28976 | 0 | 0 | N
168 | PWD | ELECT | 2020 | 6.28.8 | 90 watt | Each | 5531 | 13 | 71903 | 0 | 0 | N
169 | PWD | ELECT | 2020 | 6.69.3 | Supplying, installation, testing and commissioning of following LED fitting (luminaries) down lighters in round/ square shape shall be made up of Die Cast Powder coated housing complete with electronic driver ,heat sink and all other accessories on surface/ in false ceiling etc. as per specification. P.F. should be greater than 0.9 LED chip efficacy ratio ≥ 100 lumens /watt and Total harmonic distorsion (THD) of less than 10%. 6.69.3 12 watt | Each | 1888 | 50 | 94400 | 0 | 0 | N
170 | PWD | ELECT | 2020 | 6.69.4 | 18/20 Watt | Each | 2221 | 45 | 99945 | 0 | 0 | N
171 | PWD | ELECT | 2020 | 7.11.5 | Providing and fixing porcelain re-wireble fuse carrier and base unit on wooden board including drilling holes on the board, screws, connections etc. as per specification. (Thimbeling shall be paid separately). (7.11.5) 200 amps | Each | 544 | 4 | 2176 | 0 | 0 | N
172 | PWD | ELECT | 2020 | 7.19.1 | Fabrication, supply, installation, testing and commissioning of cubicle type compartmentalized wall/ floor mounted power cum control panel board of specified size and following depth made out of not less than 2 mm thick CRCA MS powder coated sheet with suitable size compartments for bus bars, switchgears and necessary cutouts for voltmeters, ammeters etc as per specifications including powder coating painting but without busbars, switchgears and other accessories etc complete as per specification.(7.19.1) upto 300 mm deep | sqm | 6818 | 2.5 | 17045 | 0 | 0 | N
173 | PWD | ELECT | 2020 | 7.21.1 | Supply, installation, testing and commissioning of 4 pole (3 phase + neutral) copper (electric grade) bus bars in existing cubicle type compartmentalized wall/ floor mounted panel board along with suitable size and shape insulators, necessary bolts and nuts etc complete as per specification. (7.21.1) 100 amp (20x3mm) | Metre | 1319 | 8 | 10552 | 0 | 0 | N
174 |  |  |  | 7.21.2 | 200 amp (25x5mm) | Metre | 2382 | 6 | 14292 | 0 | 0 | N
175 | PWD | ELECT | 2020 | 9.1.1 | Providing and fixing following rating and breaking capacity MCCB in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as per specification, IS/ IEC: 60947-2 and Ics = 100 % Icu.(9.1.1) 3 pole MCCB, 25-63 A, Fixed Thermal Release, 10KA | Each | 1483 | 1 | 1483 | 0 | 0 | N
176 | PWD | ELECT | 2020 | 9.1.3 | 3 pole MCCB, 25-100 A Adjustable Thermal - Magnetic Release, 18 KA | Each | 2385 | 8 | 19080 | 0 | 0 | N
177 | PWD | ELECT | 2020 | 9.1.25 | 4 pole MCCB, 125 A Adjustable Thermal - Magnetic Release, 35 KA | Each | 7428 | 2 | 14856 | 0 | 0 | N
178 | PWD | ELECT | 2020 | 9.4.5 | Supplying and fixing on surface/ recess horizontal type following way, 415 volts, TPN MCB distribution board of sheet steel phosphatized and powder painted, complete with tinned copper busbar, neutral busbar, earth bar, din bar, detachable gland plate, including interconnections, earthing etc. as per specification. (But without MCB/RCCB/Isolator) (9.4.5) 6 way Double door | Each | 2038 | 8 | 16304 | 0 | 0 | N
179 | PWD | ELECT | 2020 | 9.10.1 | Supplying and fixing SP MCB, 240 volts, 'B' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification.9.10.1 6amp to 32 amp | Each | 151 | 158 | 23858 | 0 | 0 | N
180 | PWD | ELECT | 2020 | 9.16.5 | Supplying and fixing TP&N MCB, 440 volts, 'C' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification.(9.16.5) 63 amps | Each | 1316 | 8 | 10528 | 0 | 0 | N
181 | PWD | ELECT | 2020 | 10.8.1 | Providing and fixing metal clad, TP&N motorized change over switch unit, 415/500 volts, including drilling holes on the board, connections, earthing the body, testing and commissioning etc. as per specification. (10.8.1) 125 amp | Each | 26803 | 1 | 26803 | 0 | 0 | N
182 | PWD | ELECT | 2020 | 10.15.2 | Providing and fixing following rating current transformer in existing cubical panel including, connections, testing and commissioning etc. as per specification.10.15.2 100/5 amps | Each | 349 | 3 | 1047 | 0 | 0 | N
183 | PWD | ELECT | 2020 | 10.10.1 | Providing and fixing metal clad, TP&N 415/500 volts, By Pass Switch Unit with sheet steel enclosure including drilling holes on the board, connections, earthing the body, testing and commissioning etc. as per specification.10.10.1 125 amps | Each | 13641 | 3 | 40923 | 0 | 0 | N
184 | PWD | ELECT | 2020 | 10.17 | Providing and fixing penal mounting 230 volt LED type indicating lamp in existing cubical panel including, connections, testing and commissioning etc. as per specification. | Each | 94 | 13 | 1222 | 0 | 0 | N
185 | PWD | ELECT | 2020 | 10.21.1 | Providing and fixing penal mounting selector switch in existing cubical panel including, connections, testing and commissioning etc. as per specification. 10.21.1 For voltmeter | Each | 189 | 1 | 189 | 0 | 0 | N
186 | PWD | ELECT | 2020 | 10.21.2 | For ammeter | Each | 207 | 1 | 207 | 0 | 0 | N
187 | PWD | ELECT | 2020 | 10.23 | Providing and fixing panel mounting digital type VAF (Volt-amp-frequency combined) Multi Function meter of size 100x100 (NS) in existing cubical panel including connection, testing and commissioning etc. as per specification. | Each | 1201 | 1 | 1201 | 0 | 0 | N
188 | PWD | ELECT | 2020 | 12.4 | Supplying and laying 8 SWG copper wire at 0.50 metre below ground level for conductor earth electrode, including soldering etc. as per specification. | Metre | 77 | 90 | 6930 | 0 | 0 | N
189 | PWD | ELECT | 2020 | 12.6 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode at 0.5 Metre depth below ground level including excavation and refilling the trench etc. as per specification. | Metre | 752 | 34 | 25568 | 0 | 0 | N
190 | PWD | ELECT | 2020 | 12.19.1 | Providing maintenance free earthing with following size GI pipe including making bore pit of minimum 150mm dia, providing and laying approved make Earthing Electrode of Pipe-in-Pipe technology as per IS 3043(R 2016) -1987 made of corrosion free G.I. Pipes having outer pipe of 80mm dia and inner pipe of 50mm dia and filling with specified qty highly conductive compound around pipe and above that with soft soil in bore pit complete and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. as per specification: 12.19.1With 3 metre long GI Pipes and 50 kg back filling compound. | Each | 10995 | 5 | 54975 | 0 | 0 | N
191 | PWD | ELECT | 2020 | 12.19.2 | With 2 metre long GI Pipes and 25 kg back filling compound. | Each | 8222 | 12 | 98664 | 0 | 0 | N
192 | PWD | ELECT | 2020 | 12.20 | Excavation for foundation in soft soil/hard soil including dressing of sides and ramming of bottoms, lifting and getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres | cum | 168 | 28.12 | 4724 | 0 | 0 | N
193 | PWD | ELECT | 2020 | 13.1 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, copper tube, having single prong at top, with 85 mm dia 3 mm thick copper base plate having 4 nos holes for fixing etc. complete as per specification. | Each | 767 | 5 | 3835 | 0 | 0 | N
194 | PWD | ELECT | 2020 | 13.2 | Making jointing of copper tape (with another copper tape, base of the finial or any other metallic object) by reverting, sweating and soldering/ nut bolting of as per specification. | Each | 51 | 15 | 765 | 0 | 0 | N
195 | PWD | ELECT | 2020 | 13.3 | Providing and fixing copper tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as per specification.(For horizontal run) | Metre | 217 | 190 | 41230 | 0 | 0 | N
196 | PWD | ELECT | 2020 | 13.4 | Providing and fixing copper tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as per specification.(For vertical run) | Metre | 219 | 45 | 9855 | 0 | 0 | N
197 | PWD | ELECT | 2020 | 13.5 | Providing and fixing testing joint, made of 20 mm X 3 mm thick copper strip, 125 mm long, with 4 nos. of tinned brass bolts, nuts, chuck nuts and spring washers etc. complete as per specification. | Each | 93 | 12 | 1116 | 0 | 0 | N
198 | PWD | ELECT | 2020 | 14.1 | Supplying and laying ISI marked double wall HDPE pipe (IS 14930 Part II) having corrugation on the outer wall and plan surface on inner wall in ground below road, path etc at a depth not less than 40 cm and upto 90 cm including excavation, dismantling of road if required and refilling the trench with excavated material, ramming and making the surface good etc. as per specification. 14.1.1 63 mm outer dia 50 mm inner dia | Metre | 184 | 540 | 99360 | 0 | 0 | N
199 | PWD | ELECT | 2020 | 14.5 | Supplying and fixing G.I. pipe along with wall or pole/ support with 2 Nos MS clamps for protection of under ground cable in approved manner including bolts and nuts or metal dash fasteners complete as per specification. 14.5.3 50 mm dia | Metre | 403 | 10 | 4030 | 0 | 0 | N
200 | PWD | ELECT | 2020 | 15.1.22 | Supplying and laying following sizes one number FRLS PVC insulated/XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade direct in ground at a depth not less than 40 cm and upto 90 cm including excavtion, sand cushioning, protective covering and refilling the trench etc as per specification, IS: 1554 (1988, Part 1) / IS: 7098 (1988, Part 1).)(15.1.22) 4 x 10 sq. mm | Metre | 293 | 310 | 90830 | 0 | 0 | N
201 | PWD | ELECT | 2020 | 15.1.23 | 4 x 16 sq. mm. | Metre | 300 | 185 | 55500 | 0 | 0 | N
202 | PWD | ELECT | 2020 | 15.1.24 | 4 x 25 sq. mm. | Metre | 321 | 65 | 20865 | 0 | 0 | N
203 | PWD | ELECT | 2020 | 15.24.21 | Supplying and making end termination with brass compression gland and copper lugs for following size armoured aluminum conductor power cable of 1.1 KV grade as per specification. .(15.24.23) 4 X 10 sq. mm (22 mm) | Each | 110 | 8 | 880 | 0 | 0 | N
204 | PWD | ELECT | 2020 | 15.24.22 | 4 X 16 sq. mm (22 mm) | Each | 114 | 24 | 2736 | 0 | 0 | N
205 | PWD | ELECT | 2020 | 15.24.23 | 4 X 25 sq. mm (25 mm) | Each | 164 | 4 | 656 | 0 | 0 | N
206 | PWD | ELECT | 2020 | 19.3.11 | Supply of swaged steel tubular pole as per IS 2713 with base plate of size 300x300x6mm welded at bottom, necessary hole for cable entry and earthing stud welded at specified height including painting with one coat of red oxide zinc chromate primer. 19.3.11 Designation 410 SP-32 height 9.00 metre | Each | 11825 | 6 | 70950 | 0 | 0 | N
207 | PWD | ELECT | 2020 | 19.4.1 | Supply of GI PIPE POLE made of "B" class GI pipe making necessary hole for cable entry and providing earthing stud (welded at specified height) including painting with one coat of red oxide zinc chromate primer.19.4.1 50 mm dia | Metre | 398 | 6 | 2388 | 0 | 0 | N
208 | PWD | ELECT | 2020 | 19.4.2 | 65 mm dia | Metre | 498 | 5 | 2490 | 0 | 0 | N
209 | PWD | ELECT | 2020 | 19.9.6 | Supply and fixing following street light pole bracket on existing pole made out of 50 mm dia MS "B" class pipe welded to 300 mm long MS pole canopy of suitable dia at a angle of 102.50 including having MS triangular stiffner of size 150 X 50 X 5 mm thick, making arrangement for tightening the bracket with pole by providing suitable size heavy duty nuts and bolts in canopy, painting with one coat of approved steel primer etc. as per specification. 19.9.6 Double Over Hang 1.00 metre Long | Each | 1509 | 6 | 9054 | 0 | 0 | N
210 | PWD | ELECT | 2020 | 19.10.2 | Erection of STEEL TUBULAR or "H" BEAM/ ISMB pole in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation and cement concrete collar of size 0.4 metre dia and 0.50 metre height from ground level including excavation and refilling etc. as per specification of length:19.10.2 3.5 metre to 5.0 metre | Each | 1681 | 1 | 1681 | 0 | 0 | N
211 | PWD | ELECT | 2020 | 19.10.4 | 7 metre to 10 metre | Each | 2610 | 6 | 15660 | 0 | 0 | N
212 | PWD | ELECT | 2020 | 19.13 | Providing and making suitable CC pole collar (muffing) in Cement Concrete 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) of size 0.4 m dia and 0.4 m height from existing CC foundation. | Each | 251 | 6 | 1506 | 0 | 0 | N
213 | PWD | ELECT | 2020 | 19.17 | Supplying and fixing PVC water tight terminal box of approved make and brand with detachable gland plate in bottom, hinged front openable cover, rubber gasket, having 1 Nos 4way connector and 1 No SPMCB inside the box for cable connection, fixed to pole with 2 Nos clamp made from 25x3mm GI flat with 2 No GI nuts bolts complete as per specification. 19.17.2 300x200x125 mm for 3 phase | Each | 989 | 6 | 5934 | 0 | 0 | N
214 | PWD | ELECT | 2020 | 23.3.2 | Supplying, installation, testing and commissioning of submersible pump set for water supply system with submersible motor directly coupled to multi-stage submersible pump of specified discharge capacity, head, delivery size in existing bore well including 2 sets of suitable size holding clamps made out of 50 mm X 6 mm MS flat, connection with suitable submersible cable of standard length etc. as per specification and IS: 694 (2010). Note: submersible Cable should be rust proof, safe from oil / Grease and under water Chemical / abrasion Resistant.(23.3.2) 1.5 HP, single phase | Each | 17589 | 1 | 17589 | 0 | 0 | N
215 | PWD | ELECT | 2020 | 23.6.2 | Supplying and fixing following dia HDPE pipe PE-80 Grade (8kg/sqcm) in single length in the suction/ delivery line of water supply pump etc. as per specification.23.6.2 50 mm outer dia | Metre | 118 | 76 | 8968 | 0 | 0 | N
216 | PWD | ELECT | 2020 | 23.7.4 | Supplying and fixing of following sizes GM gate valve ISI mark in the suction/ delivery line etc. as per specification.(23.7.4) 50 mm dia. | Each | 1058 | 1 | 1058 | 0 | 0 | N
217 | PWD | ELECT | 2020 | 23.8.4 | Supplying and fixing of following sizes GM non return valve ISI mark in the suction/ delivery line etc. as per specification.(23.8.4) 50 mm dia. | Each | 1246 | 1 | 1246 | 0 | 0 | N
218 | PWD | ELECT | 2020 | 23.11 | Supply, installation, testing and commissioning of 1-3 HP 1 phase submersible motor starter cum control wall/ floor mounted type made out of not less than 1.6 mm thick MS sheet and comprising of following panel mounting switchgears there in including connection inter-connection etc. as per specification. a) Phase indicating lamps with fuses and toggle switches 1 set b) 1/2/3 HP 1 phase DOL starter with over load and no volt relay 1 No c) 25 A "C" curve DPMCB 1 No d) Voltmeter 0-250 V 1 set e) Ammeter 0-10 A 1 set | Each | 4030 | 1 | 4030 | 0 | 0 | N
219 | PWD | ELECT | 2020 | 23.12 | Supplying and fixing M.S. clamp 50 cm long made of 50mmx5mm thick M.S. Flat for holding the pipes and submerable pump set as per specification. | Metre | 291 | 1 | 291 | 0 | 0 | N
220 | PWD | ELECT | 2020 | 23.13 | Supplying and fixing 300 mm dia 2 mm thick M.S. sheet cover with 3 cm edge in two past on tube well bore pipe as per specification | Each | 388 | 1 | 388 | 0 | 0 | N
221 | PWD | ELECT | 2020 | 23.14.2 | Supplying, laying and fixing following size submersible cable along with GI/PVC/HDFC pipe line or laid in ground etc as per specification and IS: 694 (2010). Note: Cable should be rust proof, safe from oil / Grease and under water Chemical / abrasion Resistant.(23.14.2) 3x 2.5 sqmm | Metre | 64 | 76 | 4864 | 0 | 0 | N
222 | PWD | ELECT | 2020 | 23.15.2 | Supplying and making water proof joint with heat shrinkable joint kit including copper ferrules for following size of 3 core submersible copper conductor cable of 1.1 KV grade as per specification.(23.15.2) 3x 2.5 sqmm | Each | 261 | 2 | 522 | 0 | 0 | N
223 | PWD | ELECT | 2020 | 23.16 | Supplying and laying of approved make stainless steel wire rope of 6 mm dia for support of submersible pump set complete with tying to pump set and pump holding clamp. | Metre | 16 | 76 | 1216 | 0 | 0 | N
224 | PWD | ELECT | 2020 | 30.1 | Earth work in all type soil except soft rock / hard rock with all lead and 1.5 metre lift, dressing, stacking excavated strata including refilling of excavated soil in trench / pit to ground level complete as per specification. | cum | 168 | 36 | 6048 | 0 | 0 | N
[8 empty] | TOTAL | 27040835
[7 empty] | CIVIL WORK Rs. |  | 24911847 | SAY Rs. |  | 249.12 Lacs
[7 empty] | ELECTRICAL WORK Rs. |  | 2128988 | SAY Rs. |  | 21.29 Lacs
[7 empty] | P.A.C. TOTAL Rs. |  | 27040835 | P.A.C. Rs. |  | 270.41 Lacs
SUB-ENGINEER
P.W.D. (B/R) Sub-Div. No.-2
Narayanpur
SUB-DIVISIONAL OFFICER
P.W.D. (B/R) Sub-Div. No.-2
Narayanpur
EXECUTIVE ENGINEER
P.W.D., Narayanpur Division,
Narayanpur
SUB-ENGINEER
P.W.D. (E/M) Sub-Div.
Narayanpur
SUB-DIVISIONAL OFFICER
P.W.D. (E/M) Sub-Div.
Narayanpur
EXECUTIVE ENGINEER
P.W.D., E&M Division,
Kanker

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false53163
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
Atal Nagar Vikas Pradhikaran (ANVP) | ANVP | PHED | PHED1 | Per mile | %O
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | RES_BUILDING | RESBDG | 1 Job | 1 Job
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | NON DSR BUILDING 2018 | NON DSR BUILDING | 1000 no. | 1000 no.
Bilaspur Smart City Limited(BSCL) | BSCL | BRIDGE | PWD_BRIDGE | 1000 piece | 1000 piece
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | DSR BUILDING 2016 | DSR BUILDING | 1000No. | 1000No.
Chhattisgarh Department of Agriculture (CGDA) | CGDA | NON SOR | NS | Print | 123
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB | CPWD DSR 2016 | CPWD DSR 2016 | Per Diem Rate | 1234
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | PWD ROAD | PWD ROAD | MAN DAYS | 12345
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | WRD | WRD | PRINT | 678
Chhattisgarh Housing Board (CGHB) | CGHB | ELECTRIC | ELECT | Siemens Per meter | A/V
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PMGSY SOR | PMGSY | Acre | ACR
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV | PWD BUILDLING | PWD BLD | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB | DSR ELECTRICAL 2016 | DSR ELECTRICAL | As per Tender | APT1
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Activity unit | AU
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Bag | BAG
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Batch | Batch
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Book | BK
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Bottle | BT
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Canister | CAN
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Carton | CAR
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Centiliter | CL
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | cm | cm
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Centimeter | CM
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Square centimeter | CM2
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | coils | coils
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | COILS | Coils
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Copies | Copies
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Department of Women and Child Development(WCD) | WCD |  |  | cubic feet | cubic feet
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | cubic feet (CFT) | cubic feet (CFT)
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | cum | cum
Directorate of Fisheries (DF) | DF |  |  | cum.km | cum.km
Directorate of Industries(DOI) | DOI |  |  | Days | DAY
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | Degree | DEG
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | DFLT | DFLT
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Decimeter | DM
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | Drum | DR
Food and Drug Administration (FDA) | FDA |  |  | Dozen | DZ
Forest Department(FD) | FD |  |  | EACH | EA
Health Department (HD) | HD |  |  | each | each
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | each additional floor | each additional floor
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Each Courty | Each Court
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | each cut | each cut
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | each test | each test
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | each tree guard | each tree guard
Livestock Development Department(LDD) | LDD |  |  | each tree guard | each tree guard
Mineral Resources Department -Mining (MRD) | MRD |  |  | Each box | EB
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Enzyme Units / Milliliter | EML
Panchayat and Rural Development (PARD) | PARD |  |  | Each TAPE | ET
Public Health Engineering Department (PHED) | PHED |  |  | Enzyme Units | EU
Public Works Department (PWD) | PWD |  |  | Fluid Ounce US | FOZ
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | Feet | FT
Raipur Collectorate (RC) | RC |  |  | Square foot | FT2
Raipur Development Authority (RDA) | RDA |  |  | Cubic Foot | FT3
Raipur Smart City Limited(RSCL) | RSCL |  |  | Gigajoule | FY
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Gram | G
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | gram act.ingrd /liter | G/L
Rashtriya Madhyamik Shiksha Abhiyan(RMSA) | RMSA |  |  | US gallon | GAL
Rural Engineering Services (RES) | RES |  |  | Gram Gold | GAU
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Gram act.ingrd. | GI
State Tax Chhattisgarh(STCG) | STCG |  |  | Gram /liter | GLI
State Urban Development Agency (SUDA) | SUDA |  |  | Gram/Mol | GM
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Gram/Kilogram | gm/kg
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Gram /square meter | GM2
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Gram/Cubic meter | GM3
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Gigaohm | GOH
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Gallons per mile (US) | GPM
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Gross | GRO
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Hour | H
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | Hectare | HA
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | hectare | hectare
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Hectoliter | HL
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | hour | hour
Urban Administration and Development Department (UADD) | UADD |  |  | Hours | HR
Water Resources Department (WRD) | WRD |  |  | Hours | Hrs
Zila Panchayat Raipur(ZPR) | ZPR |  |  | I/O Point | I/O Point
|  |  |  | Indian Rupees | INR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kgs | Kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | KWH | KWH
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | lumpsump | lumpsump
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man days | Man days
|  |  |  | Man-Month | Man-Month
|  |  |  | Manmonth | Manmonth
|  |  |  | Mbps | Mb
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | per HP | per HP
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | per month | per month
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | Per person | PER PERSON
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | per pouch | per pouch
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Parts per trillion | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM