JAL JIVAN MISSION # SINGLE VILLAGE SCHEME- TEMELWADA, BLOCK- KONTA, DISTRICT –SUKMA, VIDHAN SABHA – KONTA, TENDER DOCUMENT ON FORM – “A” Construction, Testing and Commissioning of R.C.C. Elevated Service Reservoir of 40KL capacities & staging 12. mt. including providing and fixing of CI Double flange pipe, double flange specials & DI double flange soft seated sluice valve including construction of suitable R.C.C. Valve Chamber (01 Nos) Incomplete Balance Work & Providing, laying, jointing, interconnection, testing and commissioning of mm dia to 63 & 75 mm HDPE PE-100 , PN-6 Pipe 90mm dia UPVC class 6/10 kg/sqcm with suitable joints & 80 mm dia GI Pipe, valve specials and all fittings including all allied civil works, Supplying & Installation of Energy efficiant five star BEE rating ISI Marked required capacity Single & Three phase, 50 Hz, 220V, deep well submersible pump Stainless Steel body, suitable for 4"/6" tube well with Contral Panel Starter suitable for Submersible pump with dry run protection, connections, including clamps, bore cap etc. as required as per specifications butexcludingpipe, SS /Nylonwireropeandconnection cable including verification & Electric connection from CSEB, construction of brick masonry switch room of size 1.2*1.2*2.1 mtr, installation of 01 no. electro chlorinator , construction of chlorinator room of size 2.4*2.4*3.0 mtr , and government instiution etc. complete with trial run operation & maintanance for 03 months under Single Village of Piped Water Supply Schemes are all Balance Works as per Schedule under Jal Jeevan Mission For Village- TEMELWADA ,(GP.) CHINTAGUPHA Block- Konta, District – Sukma AT RISK AND COST (SOR 01/06/2020 The amendments issued to the previous contract are applicable.) ESTIMATED COST Rs. 29.47 Lacs MEMBER SECRETARY, DWSM, JAL JIVAN MISSION, DISTRICT - SUKMA, CHHATTISGARH

CONTENTS

| Section | Description | Page No. |
| --- | --- | --- |
|  | Short Notice Inviting Tender (for Publication) | 1 to 5 |
|  | Check list of document to be uploaded | 5 |
| 1 | Instruction For Bidder | 6 to 14 |
|  | Eligibility Criteria | 6 |
|  | Other conditions of NIT/JV Bidding Process | 7 to 9 |
|  | Eligibility assessment | 9 |
|  | Bidding Process, EMD & SD, Submission of Documents, GST&PAN, Validity of Bid & Terms & Conditions | 10-11 |
|  | Communications, Pre-bid Queries & APS | 12 |
|  | Engineering Document, Inspection, Mandatory Employment | 13 |
|  | Tax Obligation, Jurisdiction of Court & Corrupt Fraudulent Practices | 14 |
| 2 | Appendix 2.10 - Notice Inviting Tender | 15 to 21 |
|  | Annexure– I – Affidvait for Pre-qualification Criteria | 22-23 |
|  | Annexure–II –Undertaking of the Bidder | 24 |
|  | Annexure – III – Self Declaration from Bidder | 25 |
|  | Annexure – IV – Declaration of Conflict of Interest | 26-27 |
|  | Annexure – V – Joint Venture Agreement | 28 to 31 |
|  | Annexure – VI – Weekly Water Supply Report |  |
| 3 | General Conditions of Contract - Appendix 2.13 | 33 t o 52 |
| 4 | Technical Specification, Bill of Quantity & Payment Schedule |  |
| 5 | Important Circulars/Orders Relevant to Tender |  |

JAL JEEVAN MISSION

# DWSM DISTRICT - SUKMA CHHATTISGARH

N.I.T. 12 /DWSM/JJM/ 2026-27						SUKMA Dated : 18-06-2026

# SHORT NOTICE INVITING TENDER

Online tenders are invited on behalf of Jal Jeevan Mission for the following works on form “A” for Percentage rate contract from the contractors registered in Class –D in unified registration system of CGPWD Raipur.

| Sl. No. | Name of work | Probable Amount of Work (Rs. Lacs) | Earnest Money (Rs. Lacs) | Bid Submission fees | Time allowed for completion of work | Validity of offer |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | 2. | 3. | 4. | 5. | 6. | 7. |
| 1. | Construction, Testing and Commissioning of R.C.C. Elevated Service Reservoir of 40KL capacities & staging 12. mt. including providing and fixing of CI Double flange pipe, double flange specials & DI double flange soft seated sluice valve including construction of suitable R.C.C. Valve Chamber (01 Nos) Incompelet Balance Work & Providing, laying, jointing, interconnection, testing and commissioning of mm dia to 63 & 75 mm HDPE PE-100 , PN-6 Pipe 90mm dia UPVC class 6/10 kg/sqcm with suitable joints & 80 mm dia GI Pipe, valve specials and all fittings including all allied civil works, Supplying & Installation of Energy efficiant five star BEE rating ISI Marked required capacity Single & Three phase, 50 Hz, 220V, deep well submersible pump Stainless Steel body, suitable for 4"/6" tube well with Contral Panel Starter suitable for Submersible pump with dry run protection, connections, including clamps, bore cap etc. as required as per specifications butexcludingpipe, SS /Nylonwireropeandconnection cable including verification & Electric connection from CSEB, construction of brick masonry switch room of size 1.2*1.2*2.1 mtr, installation of 01 no. electro chlorinator , construction of chlorinator room of size 2.4*2.4*3.0 mtr , and government instiution etc. complete with trial run operation & maintanance for 03 months under Single Village of Piped Water Supply Schemes are all Balance Works as per Schedule under Jal Jeevan Mission For Village- TEMELWADA ,(GP.) CHINTAGUPHA Block- Konta, District – Sukma PVC Pipe class 10kg/cm2 90/80 mm dia 630 mtr/20mtr.. PVC Pipe class 6kg/cm2 90/110 mm dia 1005 mtr./0 mtr.. HDPE PE-100, PN-6 Pipe. 63 mm dia - 518 mtr. 75 mm dia 0.mtr. GI Pipe Medium class 80/100 mm dia GI Pipe - 23 mtr./0 mtr.. | 29.47 | Rs. 22103.00 | Rs.311.00 | 06 months including rainy season | 120 days from bid due date |

- The Tenderers intending to participate in this Tender are required to get enrolled on the portal http://eproc.cgstate.gov.in and get empanelled on the above mentioned Portal is mandatory.

The  tenderer  have to digitally sign their bids before submitting the bids hashes online thus the tenderers are advised to obtain Digital Certificates. The Bidders may contact M-junction, for obtaining Class–II Digital Signature Certificates at M/S m junction sevices Limited Office no. 202, 2nd floor, Anjani Tower, Near Hotel Laal Bagh Inn, Telibandha, Raipur, Pin-492001 Toll free no – 1800-258-2502, website : http://eproc.cgstate.gov.in.

- The bidders are required to submit the affidavit as per Annexure-I.

| Sl. No. | Particulars | From Date & Time | To Date & Time | Place |
| --- | --- | --- | --- | --- |
| 1 | Notice of inviting NIT | 19-06-2026 | 01-07-2026 |  |
| 2 | Period of availability of bidding document at website | 19-06-2026 10:00 am | 01-07-2026 05:30 pm | http://eproc.cgstate.gov.in |
| 3 | Submission of pre-bid queries in writting by e-mail | 22-06-2026 10:00 am | 30-06-2026 day 05:30 pm | phed-tendercell@cg.gov.in (E-mail id) |
| 4 | Pre-bid metting in person | 24-06-2026 11:30 am | 24-06-2026 01:30 pm | O/o. Executive Engineer, PHE Division Sukma |
| 5 | Uploading of ammendments, if any | 24-06-2026 10:00 am | 24-06-2026 05:30 pm | http://eproc.cgstate.gov.in |
| 6 | Submission of on-line bid | 22-06-2026 10:00 am | 01-07-2026 05:30 pm | http://eproc.cgstate.gov.in |
| 7 | Last date of physical submission of original Affidvait by IPO Speed Post | --- | 03-07-2026 05:30 pm or next working day | O/o. Executive Engineer, PHE Division Sukma |
| 8 | Downloading and evaluation of Pre-qualification Document | 06-07-2026 10:30 am | 06-07-2026 05:30 pm | http://eproc.cgstate.gov.in |
| 9 | Uploading of provisional status of PQ on E-procurement portal "latest Notice" section. | 06-07-2026 10:30pm | 06-07-2026 05:30 pm | http://eproc.cgstate.gov.in (latest Notice Section) |
| 10 | Invitation of claim & objections | 06-07-2026 10:00 am | 06-07-2026 05:30 pm | E-mail id - Division sukma. eeskp-phe-cg@gov.in |
| 11 | Opening of Financial bid | 07-07-2026th day 10:00 am onwards |  | http://eproc.cgstate.gov.in |

- Important events and time schedule of this tender are as follows -

Technical bid and Financial bid shall be submitted through On-Line mode only. In no case the hardcopy of document shall be accepted, except original affidvait. Bidders are advised to read carefully and follow the instructions provided for e-submission process accordingly.

Bidders shall have to deposit tender document cost along with EMD through e-portal payment gateway.

Bidders are requested to submit their suggestions/objections/reservation if any with details so as to avoid any confusion and to ensure clarity and transparency regarding the tender by e-mail.

If any addendum/corrigendum/ammendment notice, if needed shall be uploaded on      e-procurement website.

Office of the JJM, Raipur, Chhattisgarh reserves all rights to accept/reject any or all tenders in full/part without assigning any reasons at any stage.

Member Secretary

DWSM (JJM)

SUKMA, Chhattisgarh

- Check list of documents to be uploaded -

To ensure that your Bid uploaded on the Chhattisgarh e-Procurement portal i.e. https://eproc.cgstate.gov.in is complete in all respects, please go through the following checklist & tick mark for the enclosures attached with your bid. Kindly note these are the most essential document which shall be attached with Tender document to make bid responsive (otherwise bid shall be rejected)  -

| Sl. No. | Description of scanned documents to be uploaded in the e-bidding portal | Complied (Yes/No) | Page No. |  |
| --- | --- | --- | --- | --- |
|  |  |  | From | To |
| 1. | Registration in unified CGPWD registration system. |  |  |  |
| 2. | Issued GST & PAN to bidder firm |  |  |  |
| 3. | EMD and Tender document Fee submission receipt. |  |  |  |
| 4. | Affidvait for all qualification documents on Annexure-I. |  |  |  |
| 5. | "Undertaking of the Bidder" as mentioned on Annexure-II of the tender document on the letter head of bidder. |  |  |  |
| 6. | Self certificate from bidder not being debared / blacklisted from Government / PSU / Semi Government contract Annexure-III. |  |  |  |
| 7. | Declaration of conflict of interest - by bidder about any relatives working with CGPHED/JJM and Affidavit Annexure-IV. |  |  |  |
| 8. | Joint Venture Agreement as per Annexure-V, if applicable. |  |  |  |
| 9. | Last 5 financial year turnover i.e. 2017-18, 2018-19, 2019-20, 2020-21 & 2021-22 of works done in all projects. |  |  |  |
| 10. | Dully notarized balance work in hand declaration. |  |  |  |
| 11. | Self assessed bid capacity calculation sheet. |  |  |  |
| 12. | Experience certificate of similar nature of work for technical qualification as per Annexure-VII.. |  |  |  |
| 13. | Pre contract intigrity pact as per Annexure-VI. |  |  |  |

(Sign & Seal of Bidder)

Name : .............................................

Address : .........................................

...........................................................

Contact No. : ...................................

E-mail id : ........................................

Note :

- The DWSM/CGPHED/JJM requires the Bidder to strictly observe the laws against fraud and corruption in force in India & Chhattisgarh, namely, Prevention of Corruption Act, 1988 & Chhattisgarh Prevention of Corruption Act, 1982.

- It is required that each Bidder (including their respective officers, employees and Sub-contractors) adhere to the highest ethical standards, and report to the Government/Department all suspected acts of fraud or corruption or coercion or collusion of which it has knowledge or become aware, during the tendering process and throughout the negotiation or award of a contract.

- In case any uploaded essential documents for eligibility of bidder found un-readable, such tenders shall be treated as rejected.

Section - 1

INSTRUCTIONS FOR BIDDERS

- Eligibility Criteria :

A.	Kindly upload scan copies of below mentioned documents under Pre-qualification online envelope -

  - Valid registration certificate in unified registration system of CGPWD.

  - Copy of GST & PAN.

  - Experience Certificate of execution of similar nature of works should be issued by the officer not below the rank of Executive Engineer. In case of works executed in private/public sector, experience certificate shall be accepted only if it is validated by the officer not below the rank of Suprintendent Engineer of CGPHED/JJM department of the concerned area after site inspection.

  - The details of works in hand must be submitted in Notraized format as below-

# DETAILS OF WORKS IN HAND

| Sl. No. | Name of organization/ office | Name of works | Agreement No. | Work order No. | Work order Date | Time Period | Agreement Value | Amount of work done | Balance Amount (Rs. Lacs) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(Sign & Seal of Bidder)

  - Financial turn over of last 10 years i.e. from 2012-13 to 2021-22.

# CERTIFICATE OF TURNOVER

This is certified that M/s ..................................................................... has  Financial turn over for last five Financial Year is or mentioned below.

| Sl. No. | Year | Amount in Figure | Amount in words |
| --- | --- | --- | --- |
| 1. | 2012-13 |  |  |
| 2. | 2013-14 |  |  |
| 3. | 2014-15 |  |  |
| 4. | 2015-16 |  |  |
| 5. | 2016-17 |  |  |
| 6. | 2017-18 |  |  |
| 7. | 2018-19 |  |  |
| 8. | 2019-20 |  |  |
| 9. | 2020-21 |  |  |
| 10. | 2021-22 |  |  |

(Sign & Seal of CA with UDIN)

B.	Other condition of NIT -

# a. 	All materials supply for the work shall be inspected by DGS&D/SGS/RITES/ CIPET/IR Class Systems & Solutions Pvt. Ltd., as applicable. (Materials includes all types of pipes, valve, specials, electrical & mechanical equipments etc.)

b. 	DWSM/CGPHED/JJM reserve the right to change the time schedule of NIT.

# c. 	There shall be no escalation payment for the work.

d. 	Claim for any type of interest shall not be entertained.

e.	Bidders who are debared from the buisness of any Government/PSU/Semi Government/Any other organization shall not be eligible to participate in this tender. Self declaration should be submitted by the bidder to this effect, failing to which bid shall be rejected.

f.	Even though the bidders meet all other qualifying criteria, they are subjected to disqualification if they have -

- Made misleading or false representations in the forms, statements, affidavits  and attachments submitted in proof of the qualification requirements.

- Record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history, or financial failures etc.

- Participated in the previous bidding for the same work and had quoted unreasonably high or low bid prices and could not furnish rational justification for it to the DWSM/CGPHED/JJM.

C.	Eligibility Assesment -

Eligibility of the Bidder shall be assessed as per pre-qualification criteria issued by Office of ENC CGPHED/JJM vide letter no. 930/TS/ENC/PHED/2021/Nawa Raipur,   Dated : 10.02.2021 copy enclosed in SECTION 4.

In above circular for Water Treatment Plant (WTP) experience of conventional WTP shall be considered for experience of packaged and un-conventional WTP. Experience of Sewerage Treatment Plant (STP) shall also be considered for WTP.

# Note -

- Tender document shall be part of the agreement.

- The detailed information regarding the work can be seen in the concerned Office of the Executive Engineer during office hours.

- CPHEEO Manual 1999, Ministry of Urban Development issued by Government of India, New Delhi and amended thereafter, if any, shall be applicable regarding design of different componenets of water supply scheme.

- Bidding Process –

For ease of accessing the e-bidding website and registration the following is to be done by bidder –

- Visit https://eproc.cgstate.gov.in

- Prospective bidders are requested to download, read and understand the Manuals present on the website so as to clearly understand the bid submission process.

- Technical bid and Price Bid shall be submitted online only at https://eproc.cgstate.gov.in as per time schedule.

- For details on tendering procedure through the e-procurement system, please refer to instructions for using the e-procurement system document available along with the tender documents as SECTION 5.

- EMD &  security deposit -

- Each Bidder should submit Bid Document Fee and Earnest Money Deposit in the amount specified in the bid through Online Payment Gateway (https://eproc.cgstate.gov.in) or by RTGS/NEFT only.

- Tender Document Fee and EMD submitted in any other form e.g. Cash/Bank Guarantee/FDR/TDR etc. shall not be accepted.

- The EMD of unsuccessful bidder will be returned to their registered Account Number.

- EMD of the successful bidder shall be adjusted against Security Deposit and shall be relased as per provision of agreement clause-19 General Condition of Contract (GCC) i.e. Security Deposit deduction consists of Earnest Money plus a deduction of 5% SD amount from the payment made in each running bill, till the two together amounts to 5% of cost of work put to tender or 5% of the cost of the work executed when the same exceeds the cost of the work put to tender.

- Security Deposit of the contractor to the extent of 50% shall be refunded on his getting the Complition Certificate which includes Trail Run Period, provided that all the recoveries outstanding against him are realised. 25% of the amount shall be refunded on maintenance period being over i.e. 6 months may be extended for increase warranty which is extended due to non-performance of the system. Balance 25% shall be refunded after the final bill is passed (including successful completetion of O&M period).

- No interest shall be payble on SD.

- Submission of Documents -

  - All the documents including technical and financial Bid should be submitted online on Chhattisgarh e-Procurement portal https://eproc.cgstate.gov.in as per the items mentioned in the enclosed Checklist in this bid.

  - Bidders are advised to finish all the bidding portal related activities such as registration, USB certificate/token approval, and payments etc., well in advance so as to avoid last minute difficulties during the bid submission.

  - Bidders are also advised to make them fully aware with the bid submission mechanism to avoid last minute hassles and doubts during bid submission. DWSM/CGPHED/JJM will not entertain any request for extension of time for submission of  bid.

- Specification Amendments –

- The specifications of different componenets of works i.e. Intake Well, Pump, Water Treatment Plant, Water Tank, Pipe & Fittings etc. are specified in this tender document. If any amendments are issued by CGPHED/JJM in due course of time, in this context, then those shall be applicable under this bid.

- CGPHED/JJM reserves the right to amend or change minor specifications of the entire or any component of the work as mentioned in the tender document, even after the issuance of sanction order as per the site conditions and demand. The bidder shall be bound to execute the work accordingly.

- GST & PAN -

Bidder shall have to submit online scanned copies of GST registration number along with GST Clearance certificate and PAN numbers issued by the appropriate authority.

- Registration of Bidder -

Bids shall be rejected of all those bidders who are not registered in appropriate class under CGPWD unified registration system.

- Validity of bid -

  - Bid shall remain valid for a period of not less than 120 days after the deadline date of bid submission specified in the time schedule. A bid valid for shorter period shall be rejected and treated as non-responsive.

  - In exceptional circumstances, prior to expiry of the orginal time limit, the bidder may be requested to extend period of validity for a specified additional period. The request and the bidders repsonses shall be made in writing or by e-mail. A bidder may refuse the request without forefiting his EMD. A bidder agrees to the request shall not be permitted to modify his bid.

  - At any stage of tender process, bidder can not withdraw the bid after bid submission (deadline date & time of online bid). If bidder withdraws his bid during tender process, the full amount of earnest money shall be forfeited and bidder shall be Debarred/Black listed upto two years for future business with DWSM/CGPHED/ JJM.

9.	Terms & Conditions -

  - The terms, conditions and specifications mentioned in tender document shall be binding on the bidders and no condition or stipulation contrary to the conditions shall be acceptable.

It may please be noted that the bidders who do not accept terms and conditions stipulated in this tender documents, their offers shall be liable to be rejected out-rightly without assigning any reason whatsoever.

  - Each page of tender document shall be signed by the bidder and seal affixed at the time of agreement and in case of JV both the partners must sign & seal on each page of agreement document.

  - Bidders are also instructed to submit their tenders in properly arranged manner (with index, proper paging and with flags on important documents). Incomplete, conditional or improper arranged tenders shall not be accepted.

  - Post delivery inspection by TPI(JJM) / Competent Deptt. Official  after receipt of material is mandatory for pipe, pumps & motor, control panel & cable, Intigrated  saddle piece, etc. Material approved after such inspection can only be used in the scheme. Above post delivery inspection report shall be compulsory for payment of the bills of the items.

  - UPVC pipe’s/HDPE  pipe’s original CIPET test report shall be submitted along with the copy of original invoice. Submission of invoice shall be prerequisite for the payment of the bill.

  - Material shall be procured for the project by specifying work order number and specification CGPHED/JJM is empowered to exercise its powers to cancel the empanelment of manufacturer, forfeiture of SD and black listing / debarring up to 3 years from business of CGPHED/JJM/recommendation for cancellation of BIS of the manufacturer for following reasons :

i. 	If manufacturer have submitted false particulars/fake documents for 	securing empanelment

ii. 	If quality of the product or services are found unsatisfactory

iii.	Deviations from specifications (if any)

iv.	If Blacklisted/Debarred from other competent agencies/authority.

  - It is mandatory for the contractor to specify the make of the material to be procured to facilitate verification of production facility by factory visit, before execution of work.

10.	DWSM/CGPHED/JJM reserves the right -

- To reject or accept any or all Bids fully or partly without assigning any reason on the grounds considered advantageous to DWSM/CGPHED/JJM, whether it is the lowest Bid or not.

- To increase or decrease the aggregate quantities as per discretion or circumstances.

11.	Communications -

    - All the communication between Bidder and DWSM/CGPHED/JJM shall be in writing. Notice sent in writing or by other Electronic means shall be effective on confirmation of the transmission. Notice sent by registered post or speed post shall be effective of delivery or at expiry of normal delivery period as under taken by Indian Postal Service.

    - All documents pertaining to the Contract including specifications, schedules, notice correspondences, operating and maintenance instructions, drawings or any other writings shall be written in English / Hindi language. The metric system of measurement shall be used in this contract.

12.	Pre-bid QUERIES -

- All suggestions, doubts, confusion, request, queries etc., shall have to be presented to DWSM/CGPHED/JJM in writing or through email to e-mail id : ........................................... as per time schedule. After that any representation in this regard shall not be considered.

- The purpose of pre-bid queries is to clarify issues and questions related to this tender that can be raised at that stage. Any amendments in the bid documents which may become necessary as a result of pre-bid queries received shall be part of original Bid document and communicated through corrigendum can be seen in Chhattisgarh              e-Procurement Portal https://eproc.cgstate.gov.in.

13.	Additional performance security (APS) -

- Additional Performance Security (APS) shall be deposited by the successful bidder at the time of signing of agreement, when the bid amount is unbalanced i.e. less than the Probable Amount of Contract (PAC) by more than 10%.

- In such an event the successful bidder will deposit the Additional Performance Security (APS) to extent of difference of 90% of the PAC and bid amount in the shape of Bank Draft or RTGS/NEFT issued by approved scheduled commercial bank in favour of Mission Sanchanalaya, Jal Jeevan Mission, IDBI Bank, Civil Lines Branch, Raipur, Chhattisgarh, before signing the agreement.

- APS shall be released/returned after completion of the work (construction). If the contractor fails to complete the work or left the work incomplete, this APS shall be forefeited by the department and agreement shall be terminated and bidder shall be Black Listed/Debarred upto one year to participate in any tender and any activity of CGPHED/JJM till further orders.

14.	Forfeiture of Earnest Money Deposit -

It should be clearly understood that in the event of bidder failing to enter into the agreement in the prescribed format on their quoted rates and also fails to execute assigned works under any Scheme of DWSM/CGPHED/JJM, within stipulated time, if such bidder so communicated within the validity period of the offer, the full amount of earnest money will be forfeited and bidder shall be Debarred/Black listed upto one year for future business with DWSM/CGPHED/JJM. The decision of CGPHED/JJM in this regard shall be final and binding on the bidder.

15.	ENGINEERING DOCUMENT -

Bidder shall have to submit Engineering Documents with technical details, drawings, Specifications of components and make etc. to DWSM/CGPHED/JJM for approval, as and when asked by DWSM/CGPHED/JJM. Works may be started only after approval of the Engineering Document and their samples.

16.	INSPECTION -

DWSM/CGPHED/JJM reserves right to inspect the material at Godowns/Temporary Stores before dispatch and at any time of execution of work.

17.	MANDATORY EMPLOYMENT-

        - The contractor shall employ the following Technical Staff during the Execution of work.

        - One Graduate Engineer when the work to be executed is more than Rs.50 lakhs.

        - One Diploma holder Engineer when the cost of work executed is upto Rs.50 Lakhs.

        - The technical staff should be available at site whenever required by the Engineer-in-charge to take instructions.

        - In case the contractor fails to employ the technical staff as aforesaid, the Eingineer-in-charge shall have the right to take suitable remedial measures.

        - The contractor should give the names and other detail of the Graduate Engineer/Diploma holder Engineer whom he intends to employ or who is under employment on the work at the time he commences the work.

        - The contractor should give a certificate to the effect that the Engineer/Diploma Holder Engineer is exclusively in his employment.

Provided that -

- A Graduate Engineer may look after more than one work in the same locality but the total value of such work under him should not exceed Rs.10 Cr. in the case of an Graduate Engineer and Rs.2.5 Cr. in the case of a Diploma Engineer.

      - It is not necessary for the contractor’s partner in case of firm/company, who is himself an Graduate Engineer/Diploma Engineer to employ another Graduate Engineer, Diploma Engineer for the Supervision of work.

    - The Retired Assistant Engineer who is holding a Diploma may be treated at per with a Graduate Engineer for the operation of the above clause.

    - In case the contractor fails to employ the Technical staff as aforesaid he shall be liable to pay sum of Rs.25,000.00 (Rs.Twenty five thousand only) for each month of default in the case of Graduate Engineer and Rs.15,000.00 (Rs.Fifteen Thousand only) for each month of default in the case of Diploma Engineer.

18.	TAX OBLIGATIONS -

DWSM/CGPHED/JJM shall deduct TDS for Income Tax, applicable cess on Civil Work etc. under various acts and deposit it with different the appropriate authorities. Costs and taxes before execution of agreement with DWSM/CGPHED/JJM so as to ensure tax deposition as per Government Rules accordingly.

19.	JURISDICTION OF THE COURT -

Any dispute arising out of the contract shall be subject to the jurisdiction of Hon'ble High Court of Chhattisgarh.

20.	CORRUPTOR FRAUDULENT PRACTICES -

- The DWSM/CGPHED/JJM requires the Bidder to strictly observe the laws against fraud and corruption in force in India & Chhattisgarh, namely, Prevention of Corruption Act, 1988 & Chhattisgarh Prevention of Corruption Act, 1982.

- It is required that each Bidder (including their respective officers, employees and Sub-contractors) adhere to the highest ethical standards, and report to the Government/Department all suspected acts of fraud or corruption or coercion or collusion of which it has knowledge or become aware, during the tendering process and throughout the negotiation or award of a contract.

Member Secretary,

DWSM/JJM, .....................

Section - 2

CHAPTER-II				     APPENDIX 2.10

(See paragraph 2.079)

DETAILED NOTICE INVITING TENDER

1.	INTRODUCTION -

1.1 	The electrical work shall be executed only through the contractors  who prossess proper valid electric licence from the Chief Electrical Adviser to the Government. He should also attach a copy ofthe licence.

1.2	Not more than one tender shall be submitted by a contractor or by a firm of contractors.

1.3   	No two or more concerns in which an individual is interested as a proprietor and/or partner shall tender for the execution of the same work. If they do so, all such tenders shall be liable to be rejected.

1.5 	The DWSM/CGPHED/JJM shall be accepting authority here in after referred to as  such for the purpose of this contract.

1.6     	Tender documents shall be downloaded online from the portal (https://eproc.cgstate.gov.in) as per the dates mentioned in the Time Schedule enclosed.

1.7 	Tender documents will be downloaded online and has to be completely filled online by the vendor	including Terms and Conditions & commercial bid and will opened online by the Department.

1.8 	The copies of other drawings and documents pertaining to the work signed for the purpose of identification by the accepting officer or his accredited representative will be open for inspection of tenderers at the office of the Member Secretary, DWSM, Jal Jeevan Mission, ......................................, Chhattisgarh during working hours between the dates mentioned in clause 1.7 above.

2.	RATES -

2.1 	The schedule of items : The schedule of main items of work to be executed is enclosed as Annexure - F1 to F-..............

2.2 	Percentage rate tender in form “A”.

2.2.1 	In respect of percentage rate tenders, contractor shall quote his single tender percentage rate above or below the following schedules of rate “The schedule of rates issued by the Engineer-in-Chief, PHE Department, CG Raipur for pipeline works inforce from 01.06.2020 with all amendments issued up to the date of issue of NIT” "The USOR applicable for different item of work is mentioned against each item ofwork".

2.2.2	(For Form “A” only) The percentage of tender above/below or as per with the relevant schedule rates inclusive of amendments and correction slips issued up to the date of the notice inviting tenders should be expressed on the tender form itself both in words and figures in such a way that interpolation is not possible and all over writings should be neatly scored out and rewritten and the corrections should be duly attested prior to the submission of tender. Tenders not specifying percentage in words will summarily be rejected. Any amendments to the schedule of rates after the date of issue of this tender notice or the date of issue of any amendments to the NIT, specifically notifying the said amendment to the current schedule of rates, shall not apply to this tender.

2.2.3 	The percentage tendered by the contractor will apply to those rates which find place in the USOR mentioned in clause 2.2.1, or have been derived from the said USOR and not to other items of work.

2.2.4	The percentage quoted by the contractor shall not be altered by the contractor during the terms of contract. The deduction or addition as the case may be of the percentage will be calculated on the amount of the bill for the work done, after deducting the cost of materials supplied departmentally at rates specified in the agreement.

2.3	Lead and Lift of Water - No lead and lift for carting of water will be paid.

2.4 	Lead and Lift of Materials - No lead and lift for carting of materials shall be payable to the contractor except in case of such items for which specific lead and lift are provided in the USOR mentioned in clause 2.2.1 of the NIT or in the schedule of items in respect of item rate tenders.

2.5 	Non Schedule Items of Works - During the execution of the work there is likelihood of such items of work, which do not find place in the USOR, referred to above in respect of percentage rate contracts or such items which are given in the schedule of items in respect of item rate contracts, for which contractor has not quoted his rates. Contractor will have to carry out these items of work. Rates of such items of work which do not find place in the USOR refered to above, in respect of percentage rate contracts or such items in respect of item rates contracts shall be decided by the Superintending Engineer, Chhattisgarh Public Health Engineering Department of concerned circle and the decision of the Superintending Engineer shall be binding on the contractor. The quantum of such work will not exceed 10% of amount of contract unless accepted by the department and the contractor.

3. 	SUBMISSION OF TENDER -

3.1 	Implication of Submission of Tender - Tenderers are advised to visit site sufficiently in advance of the date fixed for admission of the tender. A tenderer shall be deemed to have full knowledge of the relevant documents, samples, site etc., whether he inspects them or not.

3.2 	The submission of a tender by a contractor implies that he has read the notice, conditions of tender and all other contract documents and made himself aware of the standards and procedure, in this respect, laid down in the latest National Building Code of India 2022/Indian Standards the scope and specification of the work to be done and the conditions and rates at which stores, tools and plants etc.,will be issued to him by the Executive Engineer has seen the quarries with their approaches, site of work, etc., and satisfied himself regarding the suitability and availability of site of work etc., and satisfied himself regarding the suitability and availability of the materials at the quarries. The responsibility of opening new quarries and construction and maintenance of approaches there to shall lie wholly with the contractor.

3.3 	GST- Contractor have to submit copy of PAN card issued by income tax department & Valid registration in GST Department.

3.4 	Relationship - The contractor shall not be permitted to tender for works in the Division (responsible for award and Execution of contracts) in which his near relative is posted as Executive Engineer, Assistant Engineer, Sub Engineer or Divisional Accountant. He shall intimate the names of his near relative working in CGPHED Secretriate, CGPHED/JJM Directorate and CGPHED/JJM Divisions.He shall also intimate the name of persons who are working with him in any capacity or subsequently employed by him and who are near relatives to any gazetted officer in the CGPHED Secretriate. Any breach of this condition by the contractor would render himself liable to be removed from the approved list of the contractors of the department.

Note - 	By the terms near relative is meant wife, husband, parents and son, daughter, brothers, sisters, brother-in-laws, father-in-law and mother-in-law etc.

4. 	OPENING AND ACEPTANCE OF TENDER -

4.1 	Place of time of opening - The online envelope containing details of "Earnest Money" shall be opened on the fixed date and time by the Member Secretary, DWSM/CGPHED/JJM, ......................... If the Earnest money is found in proper form, the pre-qualification document shall be opened. Eligibility of bidder shall be assessed and then, the Online price bid of eligible bidders shall be opened.

4.2 	Power of Executive Engineer - The Executive Engineer does not bind himself to accept or recommend for the acceptance to the Superintending Engineer or other higher authority, the lowest or any tender or to give any reasons for his decision.

4.3 	Conditional Tender - Conditional tenders are liable to be rejected.

4.4 	Canvassing - Canvassing for support in any form for the acceptance of any tender is strictly prohibited. Any tenderer doing so will render himself liable to penalties which may include removal of his name from the register of approved contractors or penal action under section 8 of the Chhattisgarh Vinirdishtta Bharast Acharan Nivaran Adhiniyam, 1982.

4.5 	Authority of Executive Engineer - The authority competent to accept a tender, reserve the right of accepting the tender for the whole work or for a distinct part of it, or distributing the work between one or more tenderers.

4.6 	Validity of Offer - Tender shall remain  open up to 120 days  from the bid due date (last date for uploading financial offer by the tenderers) of tender and in the event  of the tenderer with drawing the offer before  the aforesaid date,  for any  reason whatsoever, earnest money deposited with the tender shall be forfeited by the Executive Engineer and bidder shall be Debarred/Black listed upto one years for future business with CGPHED/JJM.

5.	SPECIFICATIONS -

5.1 	Brief Specification - A brief note on construction and specifications of the work is enclosed in Annexure - E-I & E-................

5.2 	Material of Construction - The materials of construction to be used in the work shall be governed by the provision of part V of the National Building code of India, 2022 and the relevant India Standard Specification with amendments & revisions issued up to the date of tender notice.

5.3 	Workmanship - The work shall be carried out according to the specifications referred to here-in-after and according to sound engineering practice. The decision of the Executive Engineer, in respect of workmanship will be final.

5.5	Contradictions or Amendments - In the event of contradictions between the stipulations of the USOR (vide part of this NIT) and aforesaid specification (vide para 5.1 to 5.3 above) the stipulation of the USOR shall gain precedence. In the event of contradictions, if any between different specifications and or codes of practice, refer to above, the decision of the Suprintending Engineer of the Circle shall be final subjects to appeal in case of dispute before or within one month of final decision.

6. 	MISCELLANEOUS CONDITIONS :

6.1 	Subletting - The contractor shall not, without the prior approval of the competent authority in writing, sublet or assign to any other party or parties, the whole or any portion of the work under the contract. Where such approval is granted, the contractor shall not be relieved of any obligation or duty or responsibility which he undertakes under the contract.

6.2 	Taxes - The rate quoted by the Contractor Shall be deemed to be inclusive of the sales and other levies, duties, royalties, cess toll taxes of Central and State Government including GST (Goods and Services Tax),  taxes of Local  Bodies  and Authorities that the Contractor will have to pay for the performance of this Contract. The Government will perform such duties  in regard to the deduction of such taxes  at  source as per applicable law.

However, if any other New Tax (not increase of decrease in existing  all taxes, other revise, duties, royalties, cess, toll) is levied on the  Contractor (under the agreement) either by Central  Govt. of State Govt. then the Executive Engineer shall reimburse the  “New Tax” amount on submission of proof of such  payment by the contractor.

6.3	Rules of Labour Camps – The contractor will be bound to follow the Chhattisgarh Model Rulerelating to layout water supply and sanitation on labour camps (vide Annexure-A) and the provision of the National Building Code of India in regard to construction safety.

6.4	Works in the Vicinity - The Executive Engineer reserves the right to take up departmental work or to award work on contract in the vicinity without prejudice to the terms of contract.

6.5	Best Quality of Construction Materials - Materials of the best quality will be used as approved by the Executive Engineer.

6.6	Removal of Undesired Persons - The contractor shall on receipt of the requisition from the Executive Engineer at once remove any person employed by him on the work who, if in the opinion of the Executive Engineer is unsuitable or undesirable.

6.7	Amount due from Contractor - Any amount due to from the contractor on any account concerning works may be recovered from him as arrear of land revenue.

6.8	Tools and Plants - The contractor shall arrange at his own cost tools and plant required for proper execution of the work. Certain plants may however be issued to the contractor as a special case.

6.9	Right to Increase or Decrease Work - The competent authority reserve the right to increase or decrease the work. The competent authority reserves the right to increase or decrease any item of the work during the currency of the contract and the contractor, will be bound to comply with the order of the competent authority without any claim for compensation.

6.10	Time Schedule - The work shall be done by the contractor according to the time schedule fixed by the competent authority.

6.11	Time of Contract - Time allowed for carrying out the work as entered in the NIT shall be strictly observed by the contractor and shall be reckoned from the date of work order to commence the work. Contract period shall be inclusive of Operation & Maintenance period of work for which the tender has been invited.

6.12	Payment by PFMS - After evalution of work by third party appointed by competant authority and as per CGPHED/JJM Guidline, the payment will be made by PFMS only. No Bank commission charges on realising such payment will be borned by the contractor.

6.13	Transport of Materials - The contractor shall make his own arrangement for transport of all materials. The contractor is not bound to arrange for priority in getting wagon or any other material through all possible assistance by way of recommendation will be given if it is found necessary in the operation by the Engineer-in-charge. If it proves to be in effective, the contractor shall have no claim for any compensation on that account.

- SPECIAL CONDITIONS -

To be in inserted the NIT of a particular work if found necessary in the interest of the work.

7.1 	Agreement -

7.1.1 	Eexecution of Agrement - The tenderer whose tender has been accepted herein after referred to as the contractor and will execute the agreement in the prescribed form, within a fortnight of the date of communication of the acceptance of his tender by competent authority. Failure to do so will result in the eanrest money being forfeited and bidder shall be Debarred/Black listed upto one year for future business from DWSM/CGPHED/JJM and his tender shall be cancelled.

7.2	Force Majeure -

The eligible bidder shall not be liable for any penalty for delay or for failure to perform the contract for reasons of FORCE MAJEURE such as act of God, acts of public, enemy, LWE problems, acts of government, cyclone, fires, floods, epidemics/pandemics, quarantine restrictions / lockdown, strikes, freight embargoes provided that if bidder shall submit delay notice with appropriate cause of delay to the DWSM/JJM in writing within 7 days of force majeure. DWSM/JJM shall verify the facts and may grant such extension as facts justify.

7.3	Makes of Equipements to be used in the work -

- The contactor has to ensure that equipment’s shall be as per technical requirements of guidelines of CGPHED/JJM as complied with. The material/works for which BSI or ISI specification is not available, engineer-in-charge of the works will examine and approve the material/works, preferably of all makes for which CGPHED/JJM has report of satisfactory performance.

- Manufacturer Authorization Form (MAF) on manufacturer’s letter head for All type of Motors, Pumps & Pipes, Saddle Piece, Electro Chlorinator, PLC SCADA System Bulk Water Meter etc., which the bidder is intending to use in the installation shall be submitted prior to execution of the work.

- The contractor shall procure materials only from empanelled manufaturer in CGPHED/JJM. The manufacturer whose product is not empanlled in CGPHED/JJM shall empanel his product before the supply. List of the empanelled manufacturers can be obtained from division or higher offices of CGPHED/JJM.

7.4	Warrantee Period & Post Installation Services -

- The work done/material supplied by the contractor should be warranted for satisfactory operation and against any defect in material and workmanship for all type of Motors, Pumps & Pipes, Saddle Piece, Electro Chlorinator, PLC SCADA System, Bulk Water Meter etc., at least for a period of One year, from the date of commissioning.

- The above warrantee certificates shall be furnished to the Engineer-in-charge for approval. Any defect noticed during this period should be rectified by the contractor free of cost upon written notice from Engineer-in-charge provided such defects may be due to bad workmanship or bad materials used.

- The warrantee period shall be extended by the period during which the scheme remains non-operative due to reasons within control of the contractor.

- This warrantee must be an unconditional onsite warrantee and the contractor will have to replace the defective material within 3 days positively from the date of information given to him.

7.5	Trial Run & Operation - Maintenance (O&M) of executed scheme -

a.	The contractor shall submit certificates duly signed by the Sarpanchs of the villages covered under the scheme, for the sucessful Trial Run & Operation - Maintenance (O&M) weekly in the enclosed format (Annexure - VI) to respective Engineer-in-charge along with the service reports.

b.	If the contractor fails to repair the systems against the complaints of Breakdown/ Corrective maintenance to ensure 100% working status during Trial Run & Operation - Maintenance (O&M)  period in stipulated time period i.e. maximum 24 hrs., repair / replacement work will be done by DWSM/CGPHED/JJM from their SD or any other due payments available with DWSM/CGPHED/JJM and in addition to it 100% of such cost on account of repair shall be recovered as penalty.

c.	A detailed methodology stating the plan to undertake the work of Trial Run & Operation - Maintenance (O&M), proposed network of service centers and deployment of skilled manpower should also be submitted at the time of agreement.

8. 	Conditions Applicable for Contractor -

All the conditions of the tender notice will be binding on the contractors in  additions to the condition of the contract in the prescribed form.

Following documents Annexed with this tender document -

- Annexure - I to VI

- Section - III	-	General Conditions of Contract (Appendix 2.13).

- Section - IV       -	Technical specification, bill of quantity & payment schedule (Annexure A to J).

- Section - V	-	Important circulars / orders relevant to tender.

Member Secretary

DWSM, Jal Jeevan Mission,

SUKMA, Chhattisgarh

ANNEXURE – I (i)

:-100-00 dk ukWu&T;wfMfl;y LVkWEi isij

'kiFk i= dk izk:i

fufonk 11 ds lkFk izLrqr iwoZ vgrkZ izi=ksa dh iqf"V gsrq 'kiFk i=

eSa@ge-------------------------------------------------------------- vkRet Jh ------------------------------------------------------------------------- mez ----------------------------------------- fuoklh  ------------------------------------------------------------------------------------------------- QeZ esllZ ------------------------------------------------------------------ ds --------------------------------------------------------------------- gSa vkSj QeZ@dEiuh dh vksj ls 'kiFk i= izLrqr djus gsrq l{ke gSa] dh vksj ls ---------------------------------------------------------------------- eas iwoZ vgZrk gsrq izksizkbVj@ikVZuj dh gSfl;r ls 'kiFk iwoZd dFku djrk gw¡ fd &

  - yksd LokLF; ;kaf=dh; foHkkx ¼N-x-½ es iathd`r QeZ dh vksj ls VuZ vksoj dk fuEukuqlkj izLrqr fooj.k iw.kZr% lR; gS &

| Year | Total financial Turnover | Total financial TDS Paid | Multiply Factor for indexing | Total indexed financial turn over at the price level from 2012-13 to 2021-2022 (Col.2 x Col.4) |
| --- | --- | --- | --- | --- |
| 1. | 2. | 3. | 4. | 5. |
| 2012-13 |  |  | 2.59 |  |
| 2013-14 |  |  | 2.36 |  |
| 2014-15 |  |  | 2.14 |  |
| 2015-16 |  |  | 1.95 |  |
| 2016-17 |  |  | 1.77 |  |
| 2017-18 |  |  | 1.61 |  |
| 2018-19 |  |  | 1.46 |  |
| 2019-20 |  |  | 1.33 |  |
| 2020-21 |  |  | 1.21 |  |
| 2021-22 |  |  | 1.10 |  |

  - dk;Z fu"iknu {kerk gsrq izLrqr leLr vfHkys[k iw.kZr% lR; ,oa lgh gS] fnukad--------------------------------------- rd py jgs 'ks"k dk;ksZa dh dqy jkf'k :i;s -------------------------------------------------------- yk[k gS tks fd iw.kZr% lR; ,oa lgh gSA ¼ftldk fooj.k Annexure - II es ntZ gS½

  - fufonk vgZrk gsrq esjs@gekjs }kjk fufonk ds lkFk izLrqr leLr izek.k&i=@vfHkys[k lR; ,oa lgh gS ,oa dksbZ Hkh tkudkjh ugha fNikbZ xbZ gS rFkk budh lR;rk ds fy, eSa@ge iw.kZ :i ls mRrjnk;h gSaA dksbZ Hkh tkudkjh vlR; ik;s tkus ij fufonk gsrq izLrqr /kjksgj jkf'k NÙkhlx<+ 'kklu ds i{k es jktlkr djus ,oa vU; vko';d dk;Zokgh djus gsrq N-x- 'kklu] yksd LokLF; ;kaf=dh; foHkkx@ty thou fe'ku@ftyk ty ,oa LoNrk fe'ku vf/kd`r gSA

xokg %	1------------------------------------------------------						gLrk{kj 'kiFkdrkZ

2-----------------------------------------------------					QeZ dk uke --------------------------------------------------------------

irk -------------------------------------------------------------------------------

uksVjh }kjk lR;kfir

ANNEXURE – I (ii)

lR;kiu

eSa@ge -----------------------------------------------------------------------------vkRet Jh---------------------------------------------------------------- mez------------------- fuoklh -----------------------------------------------------------------------------------QeZ---------------------------------------------------------------------- dh vksj ls lnL; lfpo] ftyk ty ,oa LoNrk fe'ku] ftyk & ------------------------------------------------------------ ¼N-x-½ dh fufonk lw-Ø- -------------------------------- fufonk flLVe Ø- ---------------------------- xzqi Ø- ------------------------------- esa iwoZ vgZRkk gsrq fufonk ds lkFk izLrqr izi=ksa dh iqf"V gsrq izksizkbVj@ikVZuj dh gSfl;r ls 'kiFk iwoZd dFku djrk gw¡ fd fcUnq Ø-1 ls 3 es n'kkZ;h xbZ tkudkjh iw.kZr% lR; ,oa lgh gSA ftls eSus vkt fnukad ---------------------------------------dks i<+dj ,oa le>dj viuk gLrk{kj fd;kA

| Xkokg & - ------------------------------------------ - ------------------------------------------ |  | gLrk{kj 'kiFkdrkZ QeZ dk uke ------------------------------------------------ irk --------------------------------------------------------------- |
| --- | --- | --- |

ANNEXURE – II

UNDERTAKING OF THE BIDDER

(To be submitted on letter head)

I/We have read carefully and examined the notice inviting tender, schedule, General Rules and terms and conditions of the contract, special conditions, Schedule of Rates and other documents and Rules referred to in the tender document for the work.

I/We hereby tender my rates for the execution of the work for CGPHED/JJM as specified within the time stipulated in the schedule in accordance with all aspects with the specifications, designs, drawings and instructions with such conditions so far as applicable.

I/We agree to keep the tender valid for One Hundred Eighty (120) days from the due date of submission thereof and not to make any modifications in its terms and conditions.

A sum of Rs........................... for Individual & Rs............................ for JV Bidder is hereby forwarded as Earnest Money through online payment gateway payable to concerned Executive Engineer/Member Secretary, DWSM/CGPHED/JJM. If I/We fail to commence or complete the sanction ordered in specified time or fail to fulfil the any condition of tender document, I/We agree that the DWSM/CGPHED/JJM shall, without prejudice to any other right or remedy, be at liberty to forfeit the said Earnest Money absolutely. The said Earnest Money shall be retained by DWSM/CGPHED/JJM towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be required by DWSM/CGPHED/JJM.

I/We hereby declare that I/We shall treat the tender documents, specifications and other records connected with the work as secret/confidential and shall not communicate information derived there from to any person other than a person to whom I/We have authorized to communicate the same or use the information in any manner prejudicial to the safety of DWSM/CGPHED/JJM/Government.

I/We shall abide to all the laws and shall be responsible for making payments of all the taxes, duties, levies and other Govt. dues etc. to the appropriate Govt. departments.

Our GST Registration No.______________________________________________________. The PAN No. under the Income Tax Act is _____________________________.The GST Clearance certificate is attached herewith.

I/We shall be responsible for the payment of the respective taxes to the appropriate authorities and should I/we fail to do so, I/we hereby authorize DWSM/CGPHED/JJM to recover the taxes due from us and deposit the same with the appropriate authorities on their demand.

I/We declare that none of our relatives is working in CGPHED/JJM either on Regular/Contract/ Placement basis or I/We don't have any partnership/ subcontract obligation with any employee working in CGPHED/JJM at present, directly or indirectly, and we will not enter in such obligation in future also. If any breach of declaration is found, then we shall be responsible for our debarment and any other action taken by CGPHED/JJM.

Dated: ..............................                                                                            	Signature

Place : ..............................                                                                      Name of bidder with seal....................................

Witness :

Signature: ......................................................................

Name: ..............................................................................

Postal Address: ...........................................................

ANNEXURE – III

SELF CERTIFICATE FROM BIDDER

(To be submitted on letter head of the Firm by Power of Attorney holder)

I have read carefully and examined the notice inviting tender, schedule, General Rules and terms and conditions of the contract, and I hereby self certify that I/Firm have not being Debarred/Blacklisted from Government/PSU/Semi Government contract.

Dated: ..............................                                                                            	Signature

Place : ..............................                                                                      Name of bidder with seal....................................

ANNEXURE - IV

FORMAT FOR THE AFFIDAVIT

(Declaration of conflict of Interest)

(Note: This affidavit should be on a non-judicial stamp paper of Rs. 100/- and shall be attested by Magistrate/Sub-Judge/Notary Public)

I,………………………….............………….(Name of the bidder authorized representative of the bidder) son/daughter of ……………………………………………………… resident of …………………………………...........………… (full address), aforesaid solemnly affirm and state as under :

- I hereby certify that all the information furnished with the bid submitted in response to notice inviting bid number ............................... Dated: ............... issued by District Water & Sanitation Mission/Chhattisgarh Public Health Engineering Department/Jal Jeevan Mission, Chhattisgarh (DWSM/CGPHED/JJM) (authority inviting bids) for ................................................. Scheme(name and identification of work) are true and correct.

- I hereby certify that I have been authorized by.................................................. (Company name) to sign on their behalf, the bid mentioned in sr.no.1 above.*

- Information furnished in the bidding documents is correct in all respects to the best of my knowledge and belief.

- The near relations as per clause 3.4 (Appendix-2.10 Section-II), in CGPHED/JJM, are not in employment of the firm/company. (Note:-By the term near relatives is meant Wife, Husband, Parents and Son, Brother, Sister, Brother–in-law, Father-in-law, Mother-in-law etc.) (if working mention the name/names)

………………………………………………………………….

………………………………………...………………………..

- The name of near relative (if any) as per clause 3.4 (Appendix-2.10 Section-II) who retired/ removed within the last two years. (If None, clearly State None)

………………………………………………………………

………………………………………………………………

- No near relative is working as Financial Accountant in the CGPHED/JJM. (if working mention the name)

………………………………………………………………….

………………………………………...………………………..

- No person is working in the company in any capacity, who are near relatives to any Officer in Chhattisgarh Public Health Engineering Department/Jal JeevanMission (CGPHED/JJM) (If working mention the name)

………………………………………………………………….

………………………………………...………………………..

- Our company/firm/ or otherwise is not under the clarification of ineligibility for corrupt and fraudulent practices by the Central Government, the State Government or any public undertaking, autonomous body, authority by whatever name called under the Central or the State Government. as mention in clause  1(F) of tender document.

- I hereby authorize the DWSM/CGPHED/JJM Officials to get all the documents verified from appropriate sources (s).

Deponent

Place : ………………………..

Date : …………………………

* Not applicable if the bidder is an individual and is signing the bid on his own behalf.

Verification

I…………..........……………………………. S/o…………..........…….......……… do here by affirm that contents stated in Para 1 to 09 above and contents submitted in technical & financial bid are true to the best or my knowledge and believe and are based on my/our record.

Verified that this date of ………….....…… at (Place)….........……………….

Deponent

# Annexure -VI

// PRE-CONTRACT INTEGRITY PACT //

1.1 	This pre-bid contract Agreement (herein after called the Integrity Pact) is madon………………day of 	the month ………….20……….., between, the Governmentof Chhattisgarh acting through 	Shri………………………………………….(Designation of the officer, Department)Government of 	Chhattisgarh (hereinafter called the “BUYER”, which expression shall mean and include, unless the 	context otherwise requires, his successors in thoffice and assigns) and the First Party, proposes to 	procure (name of thStores/Equipment/Work/Service) and M/s ................................................. 	representedby Shri……………………………………Chief Executive Officer (hereinafter callethe	“BIDDER’Seller”, which expression shall mean and include unless the contexotherwise requires, his 	successors and permitted assigns) and the Second Party, I willing to offer/has offered.

1.2 	WHEREAS the BIDDER is a Private Company/Public Company/GovernmentUndertaking/Partnership/Registered Export Agency, constituted in accordance withthe relevant law in the matter and the BUYER is a Ministry/Department of theGovernment, performing its function on behalf of the Government of Chhattisgarh.

2. OBJECTIVES

NOW, THEREFORE, the BUYER and the BIDDER agree to enter into this pre-contractagreement, hereinafter referred to as Integrity Pact, to avoid all forms of corruption byfollowing a system that is fair, transparent and free from any influence/prejudiced dealingsprior to, during and subsequent to the Contract to be entered into with a view to :-

2.1 Enabling the BUYER to obtain the desired Stores/Equipment/Work/Service at acompetitive price in conformity with the defined specification by avoiding the highcost and the distortionary impact of corruption on public procurement, and

2.2 Enabling BIDDERs to abstain from bribing or indulging in any corrupt practices inorder to secure the contract by providing assurance to them that their competitors willalso abstain from bribing any corrupt practices and the BUYER will commit toprevent corruption, in any form, by its official by following transparent procedures.

# 3. COMMITMENTS OF THE BUYER

The BUYER commits itself to the following :-

3.1 	The BUYER undertakes that no official of the BUYER, connected directly orindirectly with the contract, will demand, take promise for or accept, directly orthrough intermediaries, any bribe, consideration, gift, reward, favour or any materialor immaterial benefit or any other advantage from the BIDDER, either for themselvesor for any person, organization or third party related to the contract in exchange for anadvantage in the bidding process, bid evaluation, contracting or implementation

process related to the contract.3.2 The BUYER will, during the pre-contract stage, treat BIDDERs alike, and willprovide to all BIDDERs the same information and will not provide any suchinformation to any particular BIDDER which could afford an advantage to thatparticular BIDDER in comparison to the other BIDDERs.3.3 All the officials of the BUYER will report the appropriate Government office anyattempted or completed breaches of the above commitments as well as any substantialsuspicion of such a breach.In cash any such preceding misconduct on the part of such official(s) is reported by theBIDDER to the BUYER with the full and verifiable facts and the same prima facie found tobe correct by the BUYER, necessary disciplinary proceedings, or any other action as deemedfit, including criminal proceedings may be initiated by the BUYER and such a person shallbe debarred from further dealings related to the contract process. In such a cash while anenquiry is being conducted by the BUYER the proceedings under the contract would not bestalled.

4. COMMITMENTS OF BIDDERS

The BIDDER commits itself to take all measures necessary to prevent corrupt practices,unfair means an illegal activities during any stage of its bid or during any pre-contract or post–contract stage in order to secure the contract or in furtherance to secure it and in particularcommit itself to the following :-

4.1. The BIDDER will not offer, directly or through intermediaries, any bribe, gift,consideration, reward, favour, any material or immaterial benefit or other advantage,commission, fees, brokerage or inducement to any official of the BUYER, connecteddirectly or indirectly with the biding process, or to any person, organization or thirdparty related to the contract in exchange forany advantage in the bidding, evaluation, contracting and implementation ofthe contract.

4.2. The BIDDER further undertakes that it has not given, offered or promised to give,directly or indirectly any bribe, gif, consideration, reward, favour, any material orimmaterial benefit or other advantage, commission, fees, brokerage, or inducement toany official of the BUYER or otherwise in procuring the Contract of forbearing to door having done any act in relation to the obtaining or execution of the contract or anyother contract with the Government for showing or forbearing to show favour ordisfavor to any person in relation to the contract or any other contract with theGovernment.

4.3 The BIDDER further confirms and declares to the BUYER that the BIDDER in theoriginal Manufacture/Integrator/Authorized government sponsored export entity ofthe stores and has not engaged any individual or firm or company whether Indian orforeign to intercede, facilitate or in any way to recommend to the BUYER or any ofits functionaries, whether officially or unofficially to the award of the contract to theBIDDER, nor has any amount been paid, promised or intended to be paid to any suchindividual, firm or company in respect of any such intercession, facilitation orrecommendation.

4.4 The BIDDER, either while presenting the bid or during pre-contract negotiations orbefore signing the contract, shall disclose any payment he has made, is committed toor intends to make to officials of the BUYER or their family members, agents, brokersor any other intermediaries in connection with the contract and the details of servicesagreed upon for such payments.

4.5 The BIDDER will not collude with other parties interested in the contract to impairthe transparency, fairness and progress of the bidding process, bid evaluation,contracting and implementation of the contract.

4.6 The BIDDER will not accept any advantage in exchange for any corrupt practice,unfair means and illegal activities.

4.7 The BIDDER shall not use improperly, for purpose of competition or personal gain, or pass on to others, any information provided by the BUYER as part of the businessrelationship, regarding plans, technical proposal and business details, includinginformation contained in any electronic data carrier. The BIDDER also undertakes toexercise due and adequate care lest any such information is divulged.4.8 The BIDDER commits to refrain from giving any complaint directly or through anyother manner without supporting it with full and verifiable facts.

4.9 The BIDDER shall not instigate or cause to instigate any third person to commit anyof the acts mentioned above.

# 5. PREVIOUS TRANSGRESSION

5.1 The BIDDER declares that no previous transgression occurred in the last three yearsimmediately before signing of this Integrity Pact with any other company in anycountry in respect of any corrupt practices envisaged hereunder or with any PublicSector Enterprise in India or any Government Department in India that could justifyBIDDER’s exclusion from the tender process.

5.2 If the BIDDER makes incorrect statement on this subject, BIDDER can bedisqualified from the tender process or the contract, if already awarded can beterminated for such reason.

6. EARNEST MONEY (SECURITY DEPOSIT)

6.1 Every BIDDER while submitting commercial bid, shall deposit an amount asspecified in RFP as Earnest Money/Security Deposit, with the BUYER through any ofthe following instruments :

(i) Bank Draft or a Pay Order in favour of ………………………….

(ii) A confirmed guarantee by an Indian Nationalised Bank, promising payment ofthe guaranteed sum to the ………………(BUYER) ……………..on demandwithin three working days without any demur whatsoever and without seekingany reasons whatsoever. The demand for payment by the BUYER shall betreated as conclusive proof of payment.

(iii) Any other mode or through any other instrument ( to be specified inthe RFP).

6.2 The Earnest Money/Security Deposit shall be valid upto a period of five years or thecomplete conclusion of the contractual of the contractual obligations to the completesatisfaction of both the BIDDER and BUYER, including warranty period, whicheveris later.

6.3 In the case of successful BIDDER a clause would also be incorporated in the Articlepertaining to Performance Bond in the Purchase Contract that the provisions ofSanctions for violation shall be applicable for forfeiture of Performance Bond in caseof a decision by the BUYER to forfeit the same without assigning any reason forimposing sanction for violation of this Pact.

6.4 No interest shall be payable by the BUYER to the BIDDER on EarnestMoney/Security Deposit for the period of its currency.

# 7. SANCTIONS FOR VIOLATIONS

7.1 Any breach of the aforesaid provisions by the BIDDER or any one employed by it oracting on its behalf (whether with or without the knowledge of the BIDDER) shallentitle the BUYER to take all or any one of the following actions, whereverrequired :-

(i) To immediately call off the pre contract negotiations without assigning anyreason or giving any compensation to the BIDDER. However, the proceedingswith the other BIDDER(s) would continue.

(ii) To forfeit fully or partially the Earnest Money Deposit (in pre-contract stage)and/or Security Deposit/Performance Bond (after the contract is signed), asdecided by the BUYER and the BUYER shall not be required to assign anyreason therefore.

(iii) To immediately cancel the contract, if already signed, without giving anycompensation to the BIDDER.

(iv) To recover all sums already paid by the BUYER, and in case of the IndianBIDDER with interest thereon at 2% higher than the prevailing Prime LendingRate while in case of a BIDDER from a country other than India with Interestthereon at 2% higher than the LIBOR. If any outstanding payment is due tothe BIDDER from the BUYER in connection with any other contract suchoutstanding payment could also be utilized to recover the aforesaid sum andinterest.

(v) To encash the advance bank guarantee and performance bond/warranty bond,if furnished by the BIDDER, in order to recover the payments, already madeby the BUYER, along with interest.

(vi) To cancel all or any contracts with the BIDDER and the BIDDER shall beliable to pay compensation for any loss or damage to the BUYER resultingfrom such cancellation/rescission and the BUYER shall be entitled to deductthe amount so payable from the money(s) due to the BIDDER.

(vii) To debar the BIDDER from participating in future bidding processes of theGovernment of Chhattisgarh for a minimum period of five years, which maybe further extended at the discretion of the BUYER.

(viii) To recover all sums paid in violation of this Pact by BIDDER(s) to anymiddlemen or agent or broken with a view to securing the contract.

(ix) In cases where irrevocable Letters of Credit have been received in respect ofany contract signed by the BUYER with the BIDDER, the same shall not beopened.

(x) If the BIDDER or any employee of the BIDDER or any person acting onbehalf of the BIDDER, either directly or indirectly, is closely related to any ofthe officers of the BUYER, or alternatively, if any close relative of an officerof the BUYER has financial interest/stake in the BIDDER’s firm, the sameshall be disclosed by the BIDDER at the time of filling of tender. Any failure to disclose the interest involved shall entitle the BUYER to rescind thecontract without payment of any compensation to the BIDDER.The term ‘close relative’ for this purpose would mean spouse whetherresiding with the Government servant or not, but not include a spouseseparated from the Government servant by a decree or order of a competentcourt; son or daughter or step son or step daughter and wholly dependent uponthe Government servant or of whose custody the Government servant has beendeprived of by or under any law; any other person related, whether by blood ormarriage, to the Government servant or to the Government servant’s wife orhusband and wholly dependant upon Government servant.

(xi) The BIDDER shall not lend to or borrow any money from or enter into anymonetary dealings or transactions, directly or indirectly, with any employee ofthe BUYER, and if he does so, the BUYER shall be entitled forthwith torescind the contract and all other contracts with the BIDDER. The BIDDERshall be liable to pay compensation for any loss or damage to the BUYERresulting from such rescission and the BUYER shall be entitled to deduct theamount so payable from the money(s) due to the BIDDER.

7.2 The decision of the BUYER to the effect that a breach of the provisions of this pacthas been committed by the BIDDER shall be final and conclusive on the BIDDER.However, the BIDDER can approach the Monitor(s) appointed for the purposes ofthis Pact.

# 8. FALL CLAUSE

8.1 The BIDDER undertakes that if has not supplied/is not supplying similarproduct/systems or subsystems at a price lower than that offered in the present bid inrespect of any other Department of the Government of Chhattisgarh or PSU and if it isfound at any stage that similar product/systems or sub systems was supplied by theBIDDER to any other Department of the Government of Chhattisgarh or a PSU at alower price, then that very price, with due allowance for elapsed time, will beapplicable to the present case and the difference in the cost would be refunded by theBIDDER to the BUYER, if the contract has already been concluded.

# 9. INDEPENDENT MONITORS

9.1 The BUYER will appoint Independent Monitors (hereinafter referred to as Monitors)for this Pact.

9.2 The task of the Monitors shall be to review independently and objectively, whetherand to what extent the parties comply with the obligations under this Pact.

9.3 The Monitors shall not be subject to instructions by the representatives of the partiesand perform their functions neutrally and independently.

9.4 Both the parties accept that the Monitors have the right to access all the documentsrelating to the project/procurement, including minutes of meetings. The Monitor shallbe under contractual obligation to treat the information and documents of theBIDDER/Sub contractor/s) with confidentiality

9.5 As soon as the Monitor notices, or has reason to believe, a violation of this Pact hewill so inform the Authority designated by the BUYER.

9.6 The Monitor will submit a written report to the designated Authority of BUYER/Secretary in the Department/within 8 to 10 weeks from the date of reference orintimation to him by the BUYER/BIDDER and, should the occasion arise, submitproposals for correcting problematic situations.

# 10. FACILITATION OF INVESTINGATION

In case of any allegation of violation of any provisions of this Pact or payment ofcommission, the BUYER or its agencies shall be entitled to examine all the documentsincluding the Books of Account of the BIDDER shall provide necessary information of therelevant documents and shall extend all possible help for the purpose of such examination.

# 11. LAY AND PLACE OF JURISDICTION

This Pact is subject to Indian Law, the place of performance and jurisdiction shall be the seaof the BUYER.

# 12. OTHER LEGAL ACTIONS

The actions stipulated in this Integrity Pact are without prejudice to any other legal action thatmay follow in accordance with the provisions of the any other law in force relating to anycivil or criminal proceedings.

# 13. VALIDITY

13.1 The validity of this Integrity Pact shall be from the date of its signing and extend up to5 years or the complete execution of the contract to the satisfaction of both theBUYER and the BIDDER/Seller whichever is later. In cash BIDDER is unsuccessful;this Integrity Pact shall expire after six months from the date of the signing of thecontract.

13.2 If one or several provisions of this Pact turn out to be invalid; the remainder of thisPact shall remain valid. In such case, the parties will strive to come to an agreement totheir original intentions.

14. The parties hereby sign this Integrity Pact at……………………….on……………….

BUYER 									BIDDER.

Name of the Officer 						CHIEF EXECUTIVE OFFICER

# Designation

# Department/PSU

| Witness | Witness |
| --- | --- |
| 1)………………………………………… ………………………………………… | 1)…………………………………… ………………..……………………. |
| 2)……………………………………… ……………………………………… | 2)…………………………………… ……………………………………… |

ANNEXURE – VII

Profarma for Experiene certificate

| Sl. No. | Particulars | Description |
| --- | --- | --- |
|  | Name of organization/ office |  |
|  | Name of works |  |
|  | Agreement No. |  |
|  | Work order No and date |  |
|  | Time Period |  |
|  | Agreement Value |  |
|  | Amount of work done |  |
|  | Actual date of completion |  |
|  | Brief description of completed work - |  |
| 9.1 | Over Head Tank (staging, height in m & capacity in KL) |  |
| 9.2 | Pipe line (specify pipe material dia & length) |  |

(Sign & Seal of issuing officer not below the rank of Executive Engineer)

Section - 3

GENERAL CONDITIONS OF CONTRACT

APPENDIX 2.13

(See Paragraph 2.091)

# FORM A

# GOVERNMENT OF CHHATTISGARH

……………….............…………. DEPARTMENT

Issued to Shri/M/s ………………………………………………………...............…………..

Name of work …………………………………………………………………………………

Amount of Contract Rs………………………………………………………………………..

# Amount of Earnest Money Rs…………....……………………………………………………

Cost of Tender Form Rs……………………………………………………………………….

Vide M.R.No. & Date…………………………………….

# Time allowed for Completion Months including/Excluding rainy season…….....…...... months

Date of opening Tender ……………………………………………………………………….

Division…………………………………………………….........................................……..

# PERCENTAGE RATE TENDER AND CONTRACT FOR WORKS

General Rules and Direction for the Guidance of Contractors

- Tenders must be invited for all works proposed to be given on contract unless the amount of works proposed to be given on contract is Rs.15,000 or less. The NIT shall be posted in public places signed bythe authority inviting the tenders.

NIT will state the work to be carried out as well as the date for submitting and opening tenders and the time allowed for carrying out the work, also the amount of earnest money to be deposited with the tender and the amount of the security deposit to be deposited by the successful tenderer & the percentage, if any, to be deducted from bills. It will also state whether a refund of quarry fees, royalties and ground rents will be granted. Copies of the specifications, designs and drawings and a schedule of items and rates of the various description of work and any other documents required in connection with the work signed for the purpose of identification by the authority competent to approve the tender, shall also be open for inspection by the contractor at the office of the authority selling the tender forms during office hours. Further that the schedule of items along with the rates payable shall be attached to the tender documents and in the event of variation in rates given in such list with the USOR, the rates given in the USOR approved by the competent authority shall prevail.

- In the event of the tender being submitted by a firm, it must be signed separately by each member thereof. In the event of the absence of any partner it must be signed on its behalf by a person holding a power of attorney authorising him to do so. Such power of attorney should be produced, with the tender and it must disclose that the firm is duly registered under the Indian Partnership Act 1932.

3. 	Any person, who submits a tender, shall fill up above or below the USOR specified in rule-I, he is willing to undertake the work. Only one rate of percentage above or below the USOR on all the schedule & items shall be named. Tenders which propose any alteration in the work specified in thesaid NIT. or in the time allowed for carrying out the work, or which contain any other conditions of any sort, will be liable to rejection. No single tender shall include more than one work, but contractors,who wish to tender for two ormore works shall submit a separate tender for each Tenders shall havethe name and number of the work to which they refer, written outside the envelope.

5. 	The officers competent to dispose of the tenders shall have right of rejecting all or any of the tenders.

# TENDER FOR WORKS

I/We hereby tender for the execution, for the Governor of Chhattisgarh of the work specified in the under written memorandum within the time specified in such memorandum at         (in figures)……….........… (in words)……….........……………. percent below/above the rates entered in the schedule mentioned in rule 1 and in accordance in all respects with the specifications, designs, drawings and instructions in writing reffered to in rule 1 thereof and in clause 12 of the annexed conditions and with such materials as are provided for, by, and in all other respects in accordance with such conditions as far as applicable.

# MEMORANDUM

(a) 	Name of work ………………………………………………………………..…………

(b) 	Cost of work put to Tender…………………………………………………...…………

(c) 	Earnest money……………………………………………………………..……………

(d) 	Security deposit (including earnest money)………………..………………...…………

(e) 	Percentage, if any to be deducted from bills…………….…………………...………....

(f) 	Time allowed for the work from date of written order to commence………………….. Should this tender be accepted, I/We hereby agree to abide by and fulfill all terms and provisions of thesaid condition of the contract annexed hereto as far as applicable, or in default, thereof to forfeit & pay to the Governor of Chhattisgarh or his successors in office the sums of money mentioned in the said condition. Aseparate sealed cover duly superscribed containing the sum of Rs ......................................as earnest money the fullvalue of which is to be absolutely forfeited to the said. Governor or his successors in office without prejudiceto any other rights or remedies of the said Governor or his successors in office, should I/We fail to commencethe work specified in the above memorandum or should I/We not deposit the full amount of security deposit specified in the above memorandum, in accordance with clause 1 of the said conditions of the contract, otherwise the said sum of Rs…………………………shall be retained by Government on account of suchsecurity deposit as aforesaid or the full value of which shall be retained by Government on account of the security deposit specified in clause 1 of the said conditions of the contract.

Signature of Witness to Bidders signature Signature of the Bidder before submission of tender

Dated the day of Dated the day of ………………………….22 ……………………22

Address of the witness ……………………………….......…………………………….

# Occupation of the witness………………………………………………………………

# The above tender is hereby accepted by me on behalf of the Governor of Chhattisgarh Dated the……………..22 day of ...................... 22

….…………………………………………

# Signature of the Officer by whom accepted

CONDITIONS OF CONTRACT

DEFINITION

1. 	The “contract” means the documents, forming the notice inviting tenders and tender documents submitted by the tenderer and the acceptance thereof including the formal agreement executed between the Government of Chhattisgarh and the contractor.

2.	In the contract the following expressions shall unless otherwise required by the context, have the meanings hereby respectively assigned to them -

(a) 	The expression “works” or “work” shall unless thereby mean something either in the subject or context repugnant to such construction, be constructed and taken to mean the works by virtue of the contract contracted to be executed whether temporary or permanent, and whether original, altered, substituted or additional.

(b) 	The “site” shall mean the land and/or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which work is to be executed under the contractor any adjacent land, path, or street which may be allotted or used for the purpose of carrying out the contract.

(c)	CGPHED means Chhattisgarh Public Health Engineering Department, Chhattisgarh Government.

(d)	JJM means Jal Jeevan Mission of Chhattisgarh State.

(e)	SWSM means State Water & Sanitation Mission of Chhattisgarh State.

(f)	DWSM means District Water & Sanitation Mission of District.

(g)	MD JJM means Mission Director, Jal Jeevan Mission of Chhattisgarh State.

(h)	CE means Chief Engineer, CGPHED/JJM of the concerned zone/tender cell.

(i)	SE means Superintending Engineer, CGPHED/JJM of the concerned circle.

(j) 	Engineer-in-charge means Engineer or Engineers authorized by Mission Director, Jal Jeevan Mission, Chhattisgarh State to execute the contract.

(k)	Contract period for release of Security Deposit - Contract period shall be inclusive of construction period and three months trial run period.

(l)	Component means components of water supply scheme i.e. all types of Motors, Pumps & Pipes, Intake Well, Water Treatment Plant (WTP), Over Head Tanks (OHT) and Electric Sub Station.

(m)	Tender process means online submission of bid to declaration of successful bidder.

CLAUSE 1 - SECURITY DEPOSIT -

- The person whose tender may be accepted (here-in-after called the contractors, which expression shall unless excluded by or repugnant to the context, include his heirs executors administrators, representatives and assigns) shall permit Government at the time of making any payments tohim for the value of work done under the contract to deduct the security deposit as under.

- The Security Deposit to be taken for the due performance of the contract under the terms andconditions printed on the tender form will be the earnest money plus a deduction of 5 percent from the payment made in the running bills, till the two together amount to 5 percent of the cost of works put to tender or 5 percent of the cost of the works executed when the same exceeds the cost of work put to tender.

- All costs of damages and delays for which the contractor is liable to the DWSM/CGPHED/JJM will be deducted from any money due to the contractor including the security deposit of any project under CGPHED/JJM.

CLAUSE 2 - COMPENSATION FOR DELAY -

- The time allowed for the carrying out the work, as entered in the tender,form shall be strictly observed by the contractor and shall be deemed to be the essence of the contract and shall be reckoned from the fifteenth days after the date on which the order to commence the work is issued to the contractor, for a work where completion is up to 6 months.

- For works, for which the completion period is beyond six months - The period will be reckoned from the thirtyth days after the date on which the order to commence the work is issued to the contractor. The work shall through out the stipulated period of contract be proceeded with all due diligence, keeping in view that time is the essence of the contract. The contractor shall be bound in all cases, in which the time allowed forany work exceeds one month to complete 1/8th of the whole work before 1/4th of the whole time allowed underthe contract has elapsed, 3/8 of the work before 1/2 of such time has elapsed and 3/4th of the work before 3/4 of such time has elapsed. In the event of the contractor falling to comply with the above conditions, the Executive Engineer shall levy on the contractor, as compensation an amount equal to -

      - 1/2 percent of the value of work per week in respect of work costing up to Rs.2,00,000

      - 3/8 percent of the value of work per week in respect of work costing above Rs.2,00,000 and up to Rs.5,00,000

      - 1/4 percent of the value of work per week in respect of work costing above Rs.5,00,000 and up toRs.10,00,000

      - 1/8 percent of the value of work per week in respect of work costing above Rs.10,00,000 and upto Rs.25,00,000

      - 1/16 percent of the value of work per week in respect of work costing above Rs.25,00,000 and above.

  - The total amount of compensation under the provision of the clause shall be limited to 6 percent of the value of work.

  - The decision of the Superintending Engineer shall be final.

  - The delay in departmental assistance ingrained in the contract will be taken duly into account while recovering any compensation for the delay in the scales prescribed above. Where the Engineer-in-charge decides that the contractor is liable to pay compensation for not giving proportionate progress under this clause and the compensation is recommended during the intermediate period, such compensation shall be kept in-deposit and shall be refunded if the contractor subsequently makes up the progress for the lost time, within the period of contract including extension granted, if any.

CLAUSE 3 - Action when the work is Left Incomplete, Abandoned or Delayed Beyond the Permitted, Limit allowed by the Engineer-in-Charge -

- In any case in which under any clause or clauses of this contract the contractor shall have rendered himself liable to pay compensation amounting to the whole of his security deposit (whether paid inone sum or deducted by installments) or committed a breach of any of the rules contained in clause 24 or in the case of abandonment of the work, except due to permanent disability or death of the contractor or any other cause the Engineer-in-charge shall give a notice before 7 days for works costing up to Rs.10.00 lacs and before 10 days for works costing above Rs.10.00 lacs and in the event ofthe contractor failing to comply with the direction contained in the said notice, shall have power to adopt any of the following courses, as he may deem best in the interests of the Government.

- To rescind the contract (of which rescission notice in writing to the contractor under the hand of the Engineer-in-charge shall be conclusive evidence) and in which case the security deposit of the contractor shall stand forfeited and be absolutely at the disposal of Government.

- To measure up the work of the contractor and to take such part thereof as shall be unexecuted out of his hands, and to give it to another contractor to complete in which case any expenses which may be incurred in excess of the sum which would have been paid to the original contractor, if the whole work had been executed by him (of the amount of which excess certificate in writing of the Engineer-in-charge shall be final and conclusive) shall be borne and paid by the original contractor and may be deducted from any money due to him by Government under the contract or otherwise or from his security deposit or the proceeds of sale thereof or a sufficient part thereof.

- In the event of any of the above courses being adopted by the Engineer-in-charge, the contractor shall have no claim to compensation for any loss sustained by him by reason of his having purchased or procured any materials or entered in to any agreements or made any advances on account of, or with a view to, the execution of the work or the performance of the contract and incase the contract shall be rescinded under the provision aforesaid the contractor shall not be entitled to recover or be paid any sum for any work there to for actually performed under the contract unless and untill the Engineer-in-charge will have certified in writing the performance of such work and the value payable in respect thereof, and he shall only be entitled to be paid the value so certified.

- Whenever action is taken under clause 3 (a) the contractor’s bill shall be finalised up within 3 months from the date of rescission.

# CLAUSE 4 - Power to take Possession of or require removal of Materials Tools and Plants or sale of Contractor’s Plants etc. -

- In any case in which any of the powers, conferred upon the Engineer-in-charge by clause 3 here of shall have become exercisable and the same shall not be exercised, the non-exercise thereof shall not constitute a waiver of any of the conditions hereof and such powers shall not with standing be exercisable in the eventof any future case of default by the contractor for which by any clause or clauses hereof he is declared liable to pay compensation amounting to the whole of his security deposit, and the liability of the contractor for the past & future compensation shall remain unaffected. In the event of the Engineer-in-charge putting in force either of the power (a), (b) or (c) vested in him under the preceding clause he may, if he so desires, take possession of all or any tools, plant, materials, and stores, in or upon the works, or the site thereof or belonging to the contractor or procured by him and intended to be used for the execution of the work or any part thereof, paying or allowing for the same in account at the contract rates, orin case of these not being applicable, at current market rates, to be certified by

- Engineer-in-charge, whose certificate thereof shall be final otherwise the Engineer-in-charge may be notice in writing to the contractor or his clerk of the works, foreman or other authorized agent require him to remove such tools, plant, materials or stores from the premises (within a time to be specified in such notice) and in the event of the contractor failing to comply with any such requisition, the Engineer-in-charge may remove them at the contractor’s expense or sell them by auction or private sale on account of the contractor and at his risk in all respects and the certificate of the Engineer-in-charge as to the expense of any such removal and the amount of the proceeds and expense of any such sale shall be final and conclusive against the contractor.

CLAUSE 5 - EXTENSION OF TIME -

- If the contractor shall desire an extension of time or completion of the work on the grounds of his having been unavoidably hindered in its execution or any other ground he shall apply in writing to the Engineer-in-charge within 10 days of the date of hindrance on account of which he desires such extension as aforesaid and the Engineer-in-charge with whom he assigned the agreement shall if in his opinion, (which shall be final) reasonable grounds are shown therefore, may authorised such extension for a period not exceeding three months. Any further extension shall be subject to previous sanction of the Suprintending Engineer (grounds to be shown therefore) provided always where the Engineer-in-charge has recommended the grant of the extension/permitted the contractor to carry out the work reserving the right of the department to impose the liquidated damages (as provided for under the agreement) the running bills shall continue to be paid to him.

- Provided further if any extension applied for is proposed to be refused, the competent authority shall give the contractor an opportunity to be heard before taking final decision.

CLAUSE 6 - FINAL CERTIFICATE -

On completion of the work, the contractor shall be furnished with a certificate by the Engineer-in-charge of such completion in theform appended at the end, but no such certificate shall be given, nor shall the work be considered to be complete until the contractor shall have removed from the premises on which the works shall be executed, all scaffolding, surplus materials and rubbish and cleaned off the dirt from all wood-work, doors, windows, walls, floors orother parts of any building or any road restoration works in upon or about which the work is to be executed or of which he may have had possession for the purpose of the execution thereof, nor until the works shall have been measured by the Engineer-in-charge whose measurements shall be binding and conclusive against the contractor. If the contractor shall fail to comply with the requirements of this clause as to removal of scaffolding surplus materials and rubbish and cleaning of dirt/road restoration works on or before the date fixed for the completion of the work, the Engineer-in-charge may, at the expense of the contractor remove such scaffolding, surplus materials and rubbish and dispose of the same as he thinks fit and clean off such dirt as aforesaid and the contractor shall forth with pay the amount of all expenses so incurred, and shall have no claim in respect of any such scaffolding or surplus materials as aforesaid, except for any sum actually realised by the sale thereof.

CLAUSE 7 - PAYMENT ON CERTIFICATE TO BE REGARDED AS ADVANCES -

No payments shall ordinarily be made for work estimated to cost less than Rs.2,00,000 (Rs. Two Lacs) till after the whole of the works shall have been completed and certificate of completion given, but if intermediate payment during the course of execution of works is considered desirable in the interest ofworks, the contractor may be paid at the discretion of the Engineer-in-charge. But in the case of works estimated to cost more then rupees two lacs, the contractor shall on submitting the bill therefore be entitled to receive a monthly payment proportionate to the part thereof then approved and passed by the Engineer-in-Charge, whose certificate of such approval and passing of the sum so payable shall be final and conclusive against the contractor. But all such intermediate payments shall be regarded as payments by way of advance against the final payment for works actually done and completed and shall not preclude the requiring of bad, unsound and imperfect or unskillful work to be removed and taken away and reconstructed, or erected or be considered as an admission of the due performance of the contract, or any such part, thereof, in any respect,or the accruing of any claim, nor shall it conclude, determine, or affect in any way the powers of the Engineer-in-charge under these conditions or any of them as to the final settlement and adjustment of the accounts or otherwise or in any other way vary or affect the contract. The final bill shall be submitted by the contractor within one month of the date fixed for completionof the work, otherwise the Engineer-in-charge’s certificate of the measurement and of the total amount payable for work accordingly shall be final and binding on all parties.

CLAUSE 8 - BILLS TO BE SUBMITTED MONTHLY -

A bill shall be submitted by the contractor each month on or before the date fixed by the Engineer-in-Charge for all work executed in the previous month, and the Engineer-in-charge shall takes or cause to be taken the requisite measurement for the purpose of having the same verified and the claim, as foras admissible, adjusted, if possible, before expiry of ten days from the presentation of the bill. If the contractor does not submit the bill within the time fixed as aforesaid, the Engineer-in-Charge may depute a subordinate to measure up the said work in the presence of the contractor, whose counter signature to the measurement list will be sufficient warrant and the Engineer-in-Charge may prepare a bill from such list which shall be binding on the contractor in all respects.

CLAUSE 9 - BILLS TO BE PRINTED FORMS -

- The contractor shall submit all bills on printed forms to be had on application at the office of the Engineer-in-charge, and the charges in the bills shall always be entered at the rates specified in the tender or inthe case of any extra work ordered in pursuance of these conditions, and not mentioned or provided far in the tender at the rates here-in-after provided for such work.

- The deduction or addition as the case may be of the percentage will be calculated on the amount of the bill for the work done, after deducting the cost of materials supplied departmentally at rates specified inthe agreement.

CLAUSE 10 - RECEIPTS TO BE SIGNED BY PARTNERS OR PERSONS HAVING AUTHORITY TO DO SO -

Receipts for payments made on account of a work when executed by a firm must also be signed by the several partners, except where the contractors are described in their tender as a firm in which case the receipt must be signed in the name of the firm by one of the partners, or by some other person having authority to give effectual receipt for the firm.

CLAUSE 11 (B) - ADVANCES TO CONTRACTORS -

- Advances to contractors are as a rule prohibited, and every endeavor should be made tomaintain a system, under which no payments are made except for work actually done. Exceptions are, however,permitted in the following cases -

- Cases in which a contractor, whose contract is for finished work, requires an advance on the security of materials brought to sites, Engineer-in-charge may in such cases, sanction advances up to an amount not exceeding 75% of the value but 90% in the case of steel (as assessed by the Engineer-in-charge) provided that the rate allowed in no case in more than the rate payable for the finished item as stipulated in the contract of such materials, provided that they are of imperishable nature and that a formal agreement is drawn up with the contractor under which Government secures a lien on the materials and is safe guarded against losses due to he contractor postponing the execution of the work or to the shortage or misuse of the materials, and against the expense entitled for there proper watch and safe custody.

- Payment of such advances should be made only on the certificate of an officer not below the rank of Engineer-in-charge, that the quantities of materials upon which the advances are made have actually been brought to site, that the contractor has not previously received any advance on that security and that all the materials are required by the contractor for use on items of work for which rates for finished work have been agreed upon. Recoveries of advances so made should not be postponed untill the whole of the work entrusted to the contractor is completed. They should be made from his bills, for work done as the materials are used, the necessary deductions being made when ever the item of work in which they are used are billed for.

- Before granting the above secured advance the contractor shall sign the Indenture Bond in theprescribed form.

CLAUSE 12 - WORK TO BE EXECUTED IN ACCORDANCE WITH SPECIFICATION, DRAWAING, ORDER ETC -

- The contractor shall execute the whole and every part of work in the most substantial and workman like manner, and both as regards materials and otherwise in every respect in strict accordance with the specifications. The contractor shall also conform exactly fully and faithfully to the designs, drawings and instructions in writing relating to the work signed by the Engineer-in-charge and lodged in his office and to which the contractor shall be entitled to have access at such office or on the site of the work for the purpose of inspection during office hours and the contractor shall, if he so requires, be entitled at his own expense to take or cause to be made copies of the specifications, and of all such designs, drawings and instructions as aforesaid.

- CGPWD Specifications shall apply along with the various ISI Codes in the case ofany variance, the following order of precedence shall prevail.

- Specification as per NIT

- Specifications as per USOR of CGPWD & CGPHED

- ISI code/IRC specification

- Mode of measurements for building shall be as provided in the USOR of CGPWD & CGPHED applicable to the contract. Where such mode of measurement is not specified in the USOR it shall be done as per ISI code of relevant component. However, if any mode of measurement is specifically mentioned in the NIT the same will get precedence over all the above.

- In respect of all bearing, hinges or similar part intended for use in the super structure of any bridge, the contractor shall, whenever required, in the course of manufacture, arrange and afford all facilities for the purpose of inspection and test of all or any of the part and the material used there in to any officer of the Directorate of inspection of the Ministry of works, production and supply of the Government of India and such bearing, hinges or similar parts shall not be used in the super structure of any bridge except on production of acertificate of acceptance thereof from the Directorate of Inspection. All inspection charges will be payable by the contractors.

(This clause may be struck off, if the tender is not for bridge work)

CLAUSE 13 - ADDITIONS ALTERATIONS IS SPECIFICATIONS AND DESIGNS -

- The Engineer-in-charge shall have power to make any alterations in, omissions, from additions to, or substitutions for, the original specifications, drawings, designs and instructions, that my appear to him to be necessary or advisable during the progress of the work, and the contractor shall be bound to carry out the work in accordance with any instruction which may be given to him in writing signed by the Engineer-in-charge and such alterations omissions additions or substitution shall not invalidate the contract and any altered, additional or substituted work which the contractor may be directed to do in the manner above specified aspart of the work shall be carried out by the contractor on the same conditions in all respects on which he agreed to do the main work and at the same rates as are specified in the tender for the main work, provided the total value of such increased or altered or substituted work does not exceed 25% of the amount put to tender, inclusive of contractor’s percentage. If such value exceeds 25% it shall be open to the contractor either to determine the contract or apply for extension.

- Extension of time in Consequence of Alterations -

The time for the completion of the work shall be extended in the proportion that the altered, additional or substituted work bear to the original contractor’s work and certificate of the Engineer-in-charge shall be conclusive as to such proportion.

- Rates for works not in schedule of Rates -

- If the altered, additional or substituted work includes any class of work, for which no rate is specified in this contract, then such classes of work shall be carried out at the rates entered in the applicable schedule of rates which was in force on the date of tender provided that when the tender for the original work as a percentage below/above the schedule of rate, the altered, additional or substituted work required as aforesaid shall be chargeable at the said schedule of rates, minus/plus the same percentage deduction, additionand if such class of work is not entered in and arrange to carry if out in such manner as may be considered advisable provided always and if the contractor shall commence work or incur any expenditure in regard thereto before the rates shall have been determined as lastly herein before mentioned then and in such case he shall only be entitled to be paid in respect of the work carried out on expenditure incurred by him prior to thedate of the determination of the rates as aforesaid according to such rate or rates as shall be fixed by the Superintending Engineer. In the event of a dispute the decision of the Chief Engineer of the zone shall be final.

- If during the course of execution, where it is found necessary that certain item/items of work notprovided for in the USOR required to be carried out then the Engineer-in-charge shall identify such item/items including approximate quantity of the contract and ask the contractor to submit his rates in writing supported by the requisite data within a period of 7 days. The Engineer-in-charge shall obtain approval/modification of the proposed rate from the competent authority and communicate the same within a period of 4 weeks to the contractor. In case the contractor agrees to the above rates as fixed by the competent authority then they shall form a part of supplementary schedule of the contract agreement. If the contractor does not agree to the rate of the competent authority then it shall be open for the Engineer-in-charge to get the work executed through any other agency. The contractor will not however be entitled to any compensation due to delay or hindrance or loss of profit accruing on account of this extra work executed by alternative agency.

- If the contractor commences non schedule work or incur expenditure in regard there to before the rates shall have been determined by the competent authority, then he shall be entitled for payment for the work done as may be finally decided by the competent authority.

- For this items for which rates has been finalised by the competent Authority the Percentage Rate of the tender will not be applicable. In the event of dispute, the decision of the Superintending Engineer shall be final.

# CLAUSE 14 - NO CLAIM TO ANY PAYMENT OR COMPENSATION FOR ALTERATION IN OR RESTRICTION OF WORKS -

- If at any time after the execution of the contract documents, the Engineer-in-charge shall for any reason whatsoever require the whole or any part of the work as specified in the tender to be stopped for any period or shall not require the whole or part of the work to be carried out at all or to be carried out by the contractor he shall give notice in writing of the fact to the contractor who shall there upon suspend or stop the work totally or partially, as the case may be.

- In any such case, except as provided here under, the contractor shall have no claim to any payment or compensation what so ever on account of any profit or advantage which he might have derived from the execution of the work in full, but which he did not so derive in consequence of the full amount of the work not having been carried out or on account of any loss that he may be put to on account of materials purchased or agreed to be purchased or for, unemployment of labour recruited by him. He shall not also have any claim for compensation by reason of any alteration having been made in the original specifications, drawing, designs and instructions, which may involve any curtailment of the work as originally contemplated.

- Where, however, materials have already been purchased or agreed to be purchased by the contractor shall be paid for such materials at the rates determined by the Engineer-in-charge provided they are not in excess of requirement and or of approved quality and/or shall be compensated for the loss if any, that he may be put to, in respect of materials agreed to be purchased by him, the amount of such compensation to be determined by the Engineer-in-charge whose decision shall be final. If the contractor suffers any loss on account of his having to pay labour charges during the period during which the stoppage of work has been ordered under this clause,the contractor shall, on application be entitled to such compensation on account of labour charges as the Engineer-in-charge, whose decision shall be final, may consider reasonable provided that the contractor shall not be entitled to any compensation on account of labour charges, if in the opinion of the Engineer-in- charge,the labour could have been employed by the contractor else where for the whole or part of the period. During which the stoppage of the work has been ordered as aforesaid. If the total duration suspension of the work is more than the six months, then this suspension of the work will be considered as permanent stoppage of the work, and the contractor can determine the contract, if he so desires.

CLAUSE 15 - TIME LIMIT FOR UNFORESEEN CLAIMS -

Under no circumstances whatever shall the contractor be entitled to any compensation from Government on any account unless the contractor shall have submitted a claim in writing to the Engineer-incharge within one month of the cause of such claim occurring.

CLAUSE 16 - ACTION AND COMPENSATION PAYABLE IN CASE OF BAD WORK -

If at any time before the security deposit is refunded to the contractor, it shall appear to the Engineer-in-charge or his subordinate in charge of the work, that any work has been executed with unsound, imperfect or unskilfull workmanship or with materials of inferior quality, or that any materials or articles provided by him the execution of the works are unsound, or of a quality inferior to that contracted for, or are otherwise not in accordance with the contract, it shall be lawful for the Engineer-in-charge to intimate this fact in writing to the contractor and then not with standing the fact that the work, materials or articles complained of may have been in advertently passed, certified and paid for the contractor shall be boundforth with to rectify, or remove and reconstruct the work so specified in whole or in part, as the case may require, or if so required, shall remove the materials or articles so specified and provide other proper and suitable materials or articles at his own proper charge and cost, and in the event of his failing to do so within a period to be specified by the Engineer-in-charge in the written intimation aforesaid, the contractor shall be liable to pay compensation at the rate of one percent, on the amount of contract put to tender every day not exceeding ten days, during which the failure so, continues, and in the case of any such failure the Engineer-in-charge may rectify or remove and, re-execute the work or remove and replace the materials or articles complained of as the case may be at the risk and expense in all respects of the contractor. Should the Engineer-in-charge consider that any such inferior work or materials as described above may be accepted or made use of, it shall be within his discretion to accept the same at such reduced rates, as he may fix there for.

CLAUSE 17 - WORK TO BE OPEN FOR INSPECTION - CONTRACTOR OR REPONSIBLE AGENT TO BE PRESENT -

All work under or in course of execution or executed in pursuance of the contract shall at all time be open to the inspection and supervision of the Engineer-in-charge and his subordinates and the contractor shall at all times during the usual working hours, and at all other times at which reasonable notice of the intention of the Engineer-in-charge or his subordinate to visit the work shall have been given to the contractor, either himself be present to receive orders and instructions or have a responsible agent duly accredited in writing present for that purpose. Orders given to the contractor’s agent shall be considered to have the same force as if they had been given to the contractor himself.

CLAUSE 18 - NOTICE TO BE GIVEN BEFORE WORK IS COVERED UP -

The contractor shall give not less than five days notice in writing to the Engineer-in-charge or his subordinate in charge of the work before covering up or otherwise placing beyond the reach of measurement any work in order that the same may be measured, and correct dimensions thereof be taken before the same is so covered up or placed beyond the reach of measurement, any work without the consent in writing of the Engineer-in-charge or his subordinate in charge of the work and if any work shall be covered up or placed beyond the reach of measurement without such notice having been given are consent obtained, the same shall be uncovered at the contractor’s expenses, or in default thereof, no payment or allowance shall be made for such work or the materials with which the same was executed.

CLAUSE 19 - CONTRACTOR LIABLE FOR DAMAGE DONE AND FOR IMPERFECTIONS FOR TWELVE MONTHS AFTER CERTIFICATE -

- If the contractor or his work people or servants shall break, deface, injure or destroy any part of the work in which they may be working or any building, road, road curbs, fences, enclosures, water pipes, cables, drains, electric or telephone posts or wires, trees, grass or grassland or cultivated ground continuous to the premises on which the work or any part of it is being executed, or if any damage shall happen to the work,while in progress, from any cause whatever, or any imperfections become apparent in it within three months (six months in the case of a road work) after a certificate final or otherwise or its completion shall have been given by the Engineer-in-charge as aforesaid, the contractor shall make good the same at his own expense or in default, the Engineer-in-charge may cause the same to be made good by other workmen and deduct the expense (of which certificate of the Engineer-in-charge shall be final) from any sums that may be then or atany time there after, may become due to the contractor or from his security deposits, or the proceeds of sale thereof, or of a sufficient portion thereof.

- The contractor hereby also covenants that it shall be his responsibility to see that the components constructed under this contract do/does not leak during the period of two consecutive years after its (their) completion and if any defects are pointed out to him by the Engineer-in-charge during the said period,the same shall be removed by him at his own expense or in default the Engineer-in-charge may get them removed and deduct the expenses there of from any sum that may be then due to or may become due to the contractor or from the security deposits of the contractor, on amount equal to 20% cost of the roof shall not with standing anything contained in this clause be retained, till the roofs are tested during two consecutive rainyseasons as aforesaid and the defects are fully removed and if any amount still remains due to this account after making deductions as aforesaid the same may be recovered from him as an arrears of land revenue/cash security.

- Security Deposit of the contractor to the extent of 50% shall be refunded on his getting the Complition Certificate which includes Trail Run Period, provided that all the recoveries outstanding against him are realised. 25% of the amount shall be refunded on maintenance period being over i.e. 6 months may be extended for increase warranty which is extended due to non-performance of the system. Balance 25% shall be refunded after the final bill is passed (including successful completetion of O&M period).

- No interest shall be payble on SD.

CLAUSE 20 - CONTRACTOR TO SUPPLY PLANT, LADDERS, SCAFFOLDING ETC -

The contractor shall supply at his own cost materials (except such special materials if any, as may in accordance with the contract be supplied from the Engineer-in-charge’s stores) plants, tools, appliances, implements, ladders, cordage, tackle, scaffolding and temporary works, requisite for the proper execution of the work, whether original, altered or substituted, and whether included in the specification or other documents forming part of the contract referred to in these conditions or not or which may be necessary for the purpose of satisfying or complying with the requirements of the Engineer-in-charge as to any matter as to which under these conditions he is entitled to be satisfied, or which he is entitled to require together with carriage therefore to and from the work. The contractor shall also supply without charge requisite number of persons with the means and materials necessary for the purpose of setting out works, and counting, weighing & assisting in the measurement or examination at any time and from time to time of the work, or materials failing his so doing the same may be provided by the Engineer-in-charge at the expense of the contractor andthe expenses may be deducted from any money due to the contractor under the contract, or from his security deposit or the proceeds of sale thereof, or of a sufficient portion thereof. Contractor is liable for damages arising from non-provision of lights fencing etc. The contractor shall also provide at on his own cost except when the contract specifically provides otherwise and except for payments due under clause all necessary fencing and lights required to protect the public from accident and shall be bound to bear the expenses of defence of every suit, action or proceedings at law thatmay be brought by any person for injury sustained owing to neglect of the above precautions & to pay any damage and costs which may be awarded in any such suit, action or proceedings to any such person or which may with the consent of the contractor be paid to compromise any claim by any such person.

CLAUSE 21 - COMPENSATION UNDER SECTION 12 SUB-SECTION (1) OF THE WORKMAN'S COMPENSATION ACT 1923 -

In every case in which by virtue of the provisions of section 12 sub-section (1) of the workman’s compensation Act 1923 Government is obliged to pay compensation to a workman employed by the contractorin execution of the works Government will recover from the contractor the amount of compensation so paid and without prejudice to the rights of Government under section (1) sub-section (2) of the said Act.Government shall be at liberty to recover the amount or any part there of by deducting it from the security deposit or from any sum due by Government to the contractor whether under this contract or otherwise Government may not be bound to contest any claim made against them under section-12 sub- section (1) ofthe said act. except on the written request of the contractor and upon his giving to Government full security for all cases for which Government might become liable in consequence contesting such claim.

CLAUSE 22 - LABOUR -

The contractor should get himself registered under-contract-labour regulations and abolition Act,1970 including its amendments after getting a certificate from the principal employer, i.e. Engineer-in-Charge.

CLAUSE 23 -

Labour below the age of 12 years - No labour below the age of 12 years shall be employed on the work.

CLAUSE 24 - FAIR WAGE -

  - The contractor shall pay not less than fair wage to labour engaged by him on the work. Explanation (a) ‘Fair wage’ means wage whether for time or piece work notified at time of inviting tenders for the work and where such wages have not been so notified, the wages prescribed by the Works Department for the division in which the work is done.

  - The contractor shall, not withstanding the provisions of any contract to the contrary cause to be paid a fair wage to labourers indirectly engaged on the work including any labour engaged by his sub-contractors inconnection with the said work, as if the labourers had been immediately employed by him.

  - In respect of labour directly or indirectly employed on the works for the performance of the contractor’spart of this agreement the contractor shall comply with or cause to be complied with the labour Act inforce.

  - The Engineer-in-charge shall have the right to deduct, from the moneys due tothe contractor, any sum required or estimated to be required for making good the loss suffered by a worker or workers by reasons of non-fulfilment of the conditions of the contract for the benefit of the workers, non-payment of wages or deductions made from his or their wages, which are not justified by the terms of the contract or non observance of the regulations.

  - The contractor shall be primarily liable for all payments to be made under and for the observance of the regulations aforesaid without prejudice to his right to claim indemnity from his sub-contractors.

  - The regulations aforesaid shall be deemed to be a part of this contract and any breach thereof shall bedeemed to be a breach, of this contract.

CLAUSE 25 - WORK NOT BE TRANSFERRED/ASSIGNED/SUBLET -

The contract may be rescinded and security deposit forfeited, for subletting, bribing or if contractor becomes insolvent - The contract shall not be transferred/ assigned or sublet without the written approval of the Engineer-in-charge and if the contractor shall assign or sublet his contract, or attempt, so to do, or become in solvent commence any insolvency proceedings or make any composition with his creditors, or attempt so to do or if any bribe, gratuity, gift, loan, perquisite, reward of advantage pecuniary or otherwise, shall either directly or indirectly be given, promised or offered by the contractor, or any of his servants or agents to any public officer or person in the employ of Government in any way relating to his office or employment, or if any such officer or person shall become in any way directly or indirectly interested in the contract, the Engineer-in-charge may there up by notice in writing record the contract, and the Engineer-in-charge of the contractor shall there upon stand forfeited and be absolutely at the disposal of Government and the same consequences shall ensure as if the contract had been rescinded under clause 3 thereof, and in addition the contractor shall not be entitled to recover or be paid for any work there to for actually performed under the contract. If the contractor gets item/items of work executed on a task rate basis with or without materials, this shall not amount to-subletting of the contract.

CLAUSE 26 - SUM PAYABLE BY WAY OF COMPENSATION TO BE CONSIDERED AS REASONABLE COMPENSATION WITHOUT REGERENCE TO ACTUAL LOSS

All sums payable by way of compensation under any of these condition shall be considered as reasonable compensation to be applied to the use of Government without reference to the actual loss or damage sustained, and whether or not any damage shall have been sustained.

CLAUSE 27 - CHANGES IN THE CONSTITUTION OF FIRM -

In the case of a tender by partners any change in the constitution of the firm shall be forth with notified by the contractor to the Engineer-in-charge for his information.

CLAUSE 28 - WORK TO BE UNDER DIRECTION OF EXECUTIVE ENGINEER/ SUPERINTENDING ENGINEER

All works to be executed under the contract shall be executed under the direction and subject to the approval in all respect of the Executive Engineer of the Division/Superintending Engineer of the Circle for the time being who shall be entitled to direct at what point or points and in what manner they are to be commence and from time to time carried on.

CLAUSE 29 - ARBITRATION CLAUSE -

- Except as other wise provided in this contract all question and dispute relating to the meaning of the specifications, designs, drawings and instructions herein before mentioned and as to thing whatsoever inany way arising out or relating to the contract designs, drawings, specifications, estimates, concerning the works, or the execution or failure to execute the same, whether arising during the progress of the work or after the completion or abandonment thereof shall be referred to the Superintending Engineer in writing for hisdecision, within a period of 30 days of such occurrence. There upon the Superintending Engineer shall give his written instructions and/or decisions within a period of 60 days of such request. This period can be extended by mutual consent of the parties.

- Upon receipt of written instructions or decisions the parties shall promptly proceed without delay to comply such instructions or decisions, if the Superintending Engineer fails to give his instructions ordecisions in writing within a period of 60 days or mutually agreed time after being requested if the parties areaggrieved against the decision of the Suprintending Engineer, the parties may within 30 days prefer an appeal to the Chief Engineer who shall afford an opportunity to the parties of being heard and to offer evidence in support of his appeal.The Chief Engineer will give his decision within 90 days. If any party is not satisfied with the decision of the Chief Engineer he can refer such disputes for arbitration by an Arbitration Board to be constituted by the Government of Chhattisgarh shall constitute Arbitration Board of three members of whom one shall be chosen from among the officers belonging to the department not below the rank of Suprintending Engineer, one Retired Chief Engineer of any Technical Department, and one serving officer not below the rank of Suprintending Engineer belonging to another Technical Department. The following are also the terms of this contract namely -

- No person other than the aforesaid Arbitration Board constituted by the Government (to handle cases of all Technical Departments) shall act as arbitrator and if for any reason that is not possible, the matter shall not be referred to Arbitration at all.

- The State Government may at any time effect any change in the personal of the Board, and the new membersor members appointed to the Arbitration Board shall be entitled to proceed with the reference from the stage at which it was left by his or their predecessors.

- The party invoking Arbitration shall specify the dispute or disputes to be referred to Arbitration under this clause together with the amount or amounts claimed in respect of each such dispute(s).

- Where the party invoking Arbitration is the contractor, no reference for Arbitration shall be maintainable,unless the contractor furnishes a security deposit of a sum determined according tothe table given below, and the sum so deposited shall on the determination of Arbitration proceedings be adjusted against the cost, if any awarded by the Board against the party and the balance remaining after such adjustment or in the absence of the such cost being awarded, the whole of the sum shall be refunded to him within one month from the date of the award. Amount of claim Rate of Security Deposits

# For claim below Rs.10,000 5% of the amount claimed

For claims of Rs.10,000& above but 3% of the amount claimed subject to minimum of Below Rs.1,00,000 Rs.500

For claims of Rs.1,00,000 & above 2% of the amount claimed subject to a minimum of Rs.3,000

- If contractor does not make any demand for Arbitration in respect of any claim(s) in writing within 90 days on receiving intimation from the Executive Engineers that the final bills is ready for payment, the claim of the contractor shall be deemed to have been waived and absolutely barred & the Government shall be discharged or released of all liabilities under the contract in respect of such claims.

- The Arbitration Board may from time to time, with the consent of the parties extend the time for making the award.

- A reference to the Arbitration Board shall be no ground for not continuing the work on the part of the contract or and payment as per terms and conditions of the agreement shall be continued by the Department.

- Except where otherwise provided in this contract, the provisions of the Arbitration Act, 1996 and the rules made there under for the time being inforce, shall apply to the Arbitration proceeding under this clause.

CLAUSE 30 - LUMPSUM IN ESTIMATE -

When the estimate on which a tender is made includes lump sums in respect of part of the works, the contractor shall be entitled to payment in respect of the items of work involved or the part of the work in the question at the same rates as are payable under this contract for such items, or if the part of the work in question is not, in the opinion of the Engineer-in-charge, capable of measurement, the Engineer-in-charge may at the his desecration pay the lump sum amount entered in the estimates, and the certificate in writing of the Engineer-in-charge shall be final and conclusive against the contractor with regards to any sum or sums payable to him under the provisions of this clause.

CLAUSE 31 - ACTION WHERE NO SPECIFICATION -

In the case of any class of work for which there is no such specification as is mentioned in rule such work shall be carried out in accordance with the specification approved by Superintending Engineer/Chief Engineer for application to work in the district and in the event of there being no such specification then in such case the work shall be carried out in all respects in accordance with the instructions and requirements of the Engineer-in-charge.

CLAUSE 32 - Contractor's Percentage WHETHER APPLIED TO NET OR GROSS AMOUNTS OF BILLS -

The percentage referred to at para 7 of the tender will be deducted form/added to the gross amount of the bills for work done after deduction of the cost of materials supplied by the department.

CLAUSE 33 - CLAIM FOR QUANTITIES ENTERED IN THE TENDER OR ESTIMATE -

Quantities shown in the tender are approximate and no claim shall be entertained for quantities of work executed being either more or less than those entered in the tender of estimate.

CLAUSE 34 - CLAIM FOR COMPENSATION FOR DELAY IN STARTING THE WORK -

No compensation shall be allowed for any delay caused in the Starting of the work on account of acquisition of land or in the case of clearance works on account of any delay in according sanction to estimates.

CLAUSE 35 - EMPLOYMENT OF SCARCITY LABOUR -

If Government declare a state of scarcity or famine to exist in any village situated within sixteen kilometres of the work, the contractor, shall employ upon such parts of the work, as are suitable for unskilled labour, any person certified to him by the Executive Engineer or by any person to whom the Executive Engineer may have delegated this duty in writing, to be in need of relief and shall be bound to pay to such persons wages not below the minimum which Government may have fixed in this behalf. Any dispute whichmay arise in connection with the implementation of this clause shall be decided by the Engineer-in-charge whose decision shall be final and binding on the contractor.

# CLAUSE 36 – Royalties charges will be borne by the contractor.

CLAUSE 37 - TECHNICAL EXAMINATION -

The Government shall have the right to cause Audit and Technical Examination of the works and the final bills of the contractor including all supporting vouchers, abstracts etc. to be made as per paymentsof the final bill and if as a results of such Audit & Technical Examination the sum is found to have been overpaid in respect of any work done by the contractor under the contract or any work claimed by him to have been done under contract and found not to have been executed, the contractor shall be liable to refund the amount of over payment and it shall be lawful for the Government to recover the same from the security deposit of the contractor or from any dues payable to the contractor from the Government account. If it is found that the contractor was paid lesser than what was due to him under the contract in respect of any work executed by him under it, the amount of such under payment shall be duly paid by the Government to the contractor. In the case of any audit examination and recovery consequent on the same the contractor shall be given an opportunity to explain his case and the decision of the Superintending Engineer shall be final. In the case of Technical Audit, consequent on which there is a recovery from the contractor, no recovery, should be made without orders of the Chief Engineer whose, decision shall be final. All action under this clause should be initiated and intimated to the contractor within a period of twelve months from the date of completion.

CLAUSE 38 - DEATH OR PERMANENT INABILITY OF CONTRACTOR -

- If the contractor is an individual or a proprietary concern, partnership concern, dies during the currency of the contract or becomes permanently incapacitated, where the surviving partners are only minors, the contract shall be closed without levying any damages/compensation as provided for in clause 3 of thecontract agreement.

- However, if the competent authority is satisfied about the competence of the survivors, then the competent authority shall enter in to a fresh agreement for the remaining work strictly on the same terms and conditions, under which the contractor was awarded.

CLAUSE 39 - PENALTY FOR BREACH OF CONTRACT -

On the breach of any term or condition of this contract by the contractor the said Engineer-in-charge shall be entitled to forfeit the security deposit or the balance thereof, that may at the time be remaining, and to realise and retain the same as damages and compensation for the said breach, but without prejudice to the right of the Engineer-in-charge to recover further sums as damages from any sums due or which may become due to the contractor by Government or otherwise howsoever.

# COMPLETION CERTIFICATE

In pursuance of clause 6 of the agreement in Form-A, dated the ........................... between the contractor Shri..................................................................... and the Governor of Chhattisgarh, it is hereby certified that the said contractor has duly completed the execution of the work under, taken by him there under, on the………………....... day of ……………………………………………..

(Signature of the Engineer-in-charge)

Section - 4

TECHNICAL SPECIFICATION, BILL OF QUANTITY & PAYMENT SCHEDULE

| Annexure No. | Description | Page no. |  |
| --- | --- | --- | --- |
|  |  | From | To |
| A | Model rules relating to labour |  |  |
| B | Contractors Labour Regulation |  |  |
| D | Form of GST Clearance Certificate |  |  |
| E | Scope of work and specification for - |  |  |
| E-I | Intake Well |  |  |
| E-II | Constrcution of Electric Sub Station at Intake Well / WTP |  |  |
| E-III | Raw Water Pump and Motors |  |  |
| E-IV | Pipes and Specials for Raw and Clear Water Pumping Main |  |  |
| E-V | Water Treatment Plant. |  |  |
| E-VI | Clear Water Pump & motors |  |  |
| E-VII | Construction of RCC Master Balancing Reservoir BPT, MBR, ZBR & Sump |  |  |
| E-VIIA | Special Condition for Construction of RCC Elevated Reservoirs & Important RCC water Retaining Structure. |  |  |
| E-VIII | Pipes and Specials for Clear water Gravity main |  |  |
| E-IX | Bulk Flow Meter & Flow Control valve |  |  |
| E-X | Construction of Boundary wall |  |  |
| E-XI | PLC - SCADA |  |  |
| E-XII | Pushing through (a) National Highway Crossing (b) Railway Crossing |  |  |
| E-XIII | Trail Run for 01 Year |  |  |
| E-XIV | Operation & Maintenance of the Scheme for 5 Years |  |  |
| F | Bill of Quantity for - |  |  |
| F-I | # Construction of Intake Well at ............................................................... |  |  |
| F-II | # Construction of Electric Substation at Intake Well |  |  |
| F-III | Raw Water Pumping Machinery at Intake Well |  |  |
| F-IV | Raw Water Pumping Main |  |  |
| F-V | Water Treatment Plant |  |  |
| F-VI | Construction of Electric Sub Station at WTP |  |  |
| F-VII | Clear Water Pumping Machinery at WTP |  |  |
| F-VIII | RCC Overhead Tank (ZBR/MBR) |  |  |
| F-IX | Clear Water Pumping Main DI K-9 Pipe from WTP to various MBRs |  |  |
| F-X | Clear Water Gravity Main from ZBR to V Various Group MBRs |  |  |

| Annexure No. | Description | Page no. |  |
| --- | --- | --- | --- |
|  |  | From | To |
| F-XI | Pushing through National Highway Crossing / Railway Crossing |  |  |
| F-XII | Bulk Flow Meters (for .......................................) |  |  |
| F-XIII | Allied Civil works |  |  |
| F-XIIIA | Construction of Compound / Boundary wall |  |  |
| F-XIV | PLC - SCADA |  |  |
| F-XV | # Various size Valve Chamber |  |  |
| F-VI | # Operation & Maintenance |  |  |
| G | Breakup Schedule Of Payment for - |  |  |
| G-I | Construction of RCC Intake Well Cum Pump House |  |  |
| G-II | Constrcution of Electric Sub Station at Intake Well & WTP |  |  |
| G-III | Raw Water Pump and Motors |  |  |
| G-IV | Raw Water & Clear Water Pumping Main |  |  |
| G-V | Water Treatment Plant |  |  |
| G-VI | Civil Works of Water Treatment Plant Clear Water Sump Well Cum Pump House : B1 |  |  |
| G-VII | Supply, Erection, Commissioning, Testing of Mechanical and Electrical Works of Water Treatment Plant : B2 |  |  |
| G-VIII | Clear Water Pump and Motors |  |  |
| G-IX | Construction Of BPT, MBRs, ZBR, & Sumps |  |  |
| G-X | Clear Water Gravity Main |  |  |
| G-XI | Bulk Flow Meter |  |  |
| G-XII | Construction of Boundary Wall |  |  |
| G-XIII | PLC - SCADA |  |  |
| G-XIV | Pipe Pushing through Railway/ Highway Crossing |  |  |
| G-XV | Operation & Maintenance |  |  |
| I | Important Point for Tenderer related to works (Summary of tender document) |  |  |
| J | Rate Fixed by SE CGPHED/JJM Cricle ................................................................ |  |  |

Section - 5

IMPORTANT CIRCULARS/ORDERS RELEVANT TO TENDER

| Sl. No. | Refrence | Subject in Brief |
| --- | --- | --- |
| 1. | Øekad@930@r-'kk-@iz-v-@yks-Lok-;ka-fo-@2021 uok jk;iqj] fnukad % 10-02-2021 | Minutes of Meeting of Executive Committee of SWSM, CGPHED, Raipur |
| 2. | i`-Ø- 5415@r-'kk-@iz-v-@yks-Lok-;ka-fo-@2021 u;k jk;iqj] fnukad % 04-09-2021 | Bid capacity relaxation is upto first work order for Rs.100.00 lakh work. |
| 3. | ,Q 10&1@2019@34&2@1838 vVy uxj] fnukad % 14-10-2019 | Relaxation made vide sl.no.1 is effective for this circular, rest other things are seen as per Government Circular for Pre Qualifications. (Component wise Qualification) |
| 4. | ,Q 10&1@2019@34&2@1379 u;k jk;iqj] fnukad % 17-07-2019 | Government Circular for Pre Qualifications. (Bid Capacity Assessment) |
| 5. | ,Q 10&1@2013@34&2@1801 u;k jk;iqj] fnukad % 23-07-2013 | Government Circular regarding experience of work done in Private / Public Sector. |
| 6. | ,Q 10&1@2016@34&2@1307 u;k jk;iqj] fnukad % 08-04-2016 | Government Circular regarding procedure in case of single tender. |
| 7. | ,Q 10&1@07&2016@34&2@1808 u;k jk;iqj] fnukad % 04-06-2016 | Circular for addition of Special Conditions for transparency. (Additional Performance Security) |
| 8. | vkns'k Ø- 16@r-“kk-@fe-la-@tsts,e@2022 jk;iqj] fnukad % 02-09-2022 | Regarding inclusion of third party inspection agency. |
| 9. | Instruction Manual of E-Procurement System | Instruction to contractor for online tender through E- Procurement System. |
| 10. | Ø- 5811@ys-“kk-@eq-v-@yks-Lok-;ka-fo-@2014 jk;iqj] fnukad % 121-12-2014 | Central provisions regarding suspension, demotion, non-renewal and de-registration of contractors / Firms. |
| 11. | Ø- 70@foRr@ctV&2@2018 u;k jk;iqj] fnukad % 17-04-2018 | Regarding payment of wages through digital mode. |

ANNEXURE “F-I”

Distribution Network

| S.No. | Sub Head | Qty. |
| --- | --- | --- |
| 1 | 2 | 3 |
| 1 | Earth work in excavation for pipe trench in ordinary soil areas including dressing, watering, ramming and disposal of excavated earth lead up to 50m and lift up to 1.5m, disposal earth to be levelled, neatly dressed. |  |
|  | (A) In Ordinary soil 1523mx0.60x 0.50m | 456.9 |
|  | CG,PHE, SOR Item no. 18.15 P/225 |  |
| 2 | Earth work in excavation for pipe trench in Hard soil areas including dressing, watering, ramming and disposal of excavated earth lead up to 50m and lift up to 1.5m, disposal earth to be levelled, neatly dressed. |  |
|  | 1523mx0.60x0.30 | 274.14 |
|  | CG,PHE, SOR Item no. 18.16 P/226 |  |
| 3 | Earth work in excavation for pipe trench in Laterite soil areas including dressing, watering, ramming and disposal of excavated earth lead up to 50m and lift up to 1.5m, disposal earth to be levelled, neatly dressed. |  |
|  | 1523mx0.60x0.20 | 182.76 |
|  | CG,PHE, SOR Item no. 18.17 P/226 |  |
| 4 | Providing, laying and jointing following P.V.C. pipes with solvent cement joint for 6, 8 and 10 kg/ sq. cm. pressures including testing of joints, cost of jointing materials etc. complete in all respect. |  |
|  | 110mm dia 6Kg. Cm^2 | 0 |
|  | 90mm dia 6Kg. Cm^2 | 1005 |
|  | (CG PHE SOR Item No. 7.1, Page No. 108) |  |
| 5 | Providing, Laying, Jointing & field testing of HDPE pipes (High Density Polyethylene Pipes) confirming to IS 4984/14151/12786/13488 with necessary jointing material like mechanical connector of jointing pipes by heating to the ends of pipes with the help of Teflon coated electric mirror/heater to the required temperature and then pressing the ends together against each other, to form a monolithic & leak proof joint by thermosetting process. It may be required to be done with Jack/Hydraulic Jacks/Butt fusion machine. (50mm & above fusion jointed & below 50mm mechanical jointed) |  |
|  | 75mm dia 6Kg. Cm^2 | 0 |
|  | 63mm dia 6Kg. Cm^2 | 518 |
|  | (CG PHE SOR Item No. 9.1, Page No. 126) |  |
| 6 | Providing laying and jointing of following galvanized Iron (MS) Pipes with specials (such as bends, elbows, tees etc) class light, medium & heavy including testing of joints, cost of pipes, specials and jointing materials all complete. Pipes and sockets conforming to IS:1239/2011 Part- II. CG PHE SoI Item No. 6.1 Pg.No. 89 |  |
|  | 80mm dia G.I. | 23 |
| 7 | Providing, Solvent Cement Joints to Pipes and fittings of 6, 8 and 10 Kg/Sq cm2. such as bend, tee etc. 15% of S.No. 4 and 5) |  |
|  | 259290 x 15% |  |
|  | 75110 x 15% |  |
|  | (CG PHE SOR Item No. 7.3, Page No. 109) |  |
| 8 | Providing and laying in position including testing following PVC end Cap (plugs) suitable for 6, 8 and 10 Kg/Sq cm. Pressure pipes. |  |
|  | End Cap 90mm dia 6kg/cm^2 | 4 |
| 9 | Filling available excavated earth in trenches, lead up to 50m and lift up to 1.5m in all kind of soil excluding Watering and ramming. |  |
|  | (CG PHE SOR Item No. 18.23, Page No. 227) | 905.79 |
|  | 456.9+274.14+182.76 = 913.8 |  |
|  | {3.142 X [(UPVC 110mm/1000)^2]}/4 X 0 = 0 |  |
|  | {3.142 X [(UPVC 90mm/1000)^2]}/4 X 1005 = 6.39 |  |
|  | {3.142 X [(HDPE 75mm/1000)^2]}/4 X 0 = 0 |  |
|  | {3.142 X [(HDPE 63mm/1000)^2]}/4 X = 1.61 |  |
|  | Total 913.8 - 8.01 = 905.79 |  |
| 10 | Providing & fixing of following Cast iron double flanged sluice valves as per I.S.:14846-2000 fitted with cast iron cap including jointing & testing with cost of jointing material such as bolts, nuts, rubber insertions etc. all complete |  |
|  | 65mm dia | 12 |
|  | 80 mm dia | 6 |
|  | 100 mm dia |  |
|  | (CG PHE SOR Item No. 8.1, Page No. 115) |  |
| 11 | Demolishing cement concrete manually / bymechanical means including disposal of material within 50 m lead as per direction of engineer-in-charge |  |
|  | Nominal concrete 1:3:6 or richer mix ( i/c equivalent design mix ) |  |
|  | 30 X 0.6 X 0.3 | 5.4 |
|  | (CG PHE SOR Item No. 18.29.1, Page No. 227) |  |
| 12 | Providing & laying mechanically mixed cement concrete 20mm nominal size graded crushed stone excluding cost of centering & shuttering. |  |
|  | 1:2:4 (M-15) |  |
|  | 30 X 0.6 X 0.3 | 5.4 |
|  | (CG PHE SOR Item No. 18.41.1.2, Page No. 229) |  |
| 13 | Construction of Brick masonary valve chamber with 20 cm thick wall in 1:6 C.M. with 12mm thick 1:4 Cement Plaster and base course 10 cm. thick in M-15. Inside Dimensions 110x80x100cm M-20 RCC chamber cover size 130x100cmx120cm including cost of materials, labour etc.complete. | 18 |
|  | (CG PHE SOR Item No. 18.79, Page No. 235) |  |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

SUBMERSIBLE MOTOR PUMP SET

| S. No. | SOR reff | Item | QTY |
| --- | --- | --- | --- |
|  | item no./PN |  |  |
| 1 | 2 | 3 | 4 |
| 1 | 34.20.106/354 | Supplying & Installation of Energy efficiant five star BEE rating ISI Marked required capacity of Three Phase, 50 Hz, 415V, deep well submersible pump Steel body, suitable for 6"tube well with Control Panel Starter suitable for Submersible pump with dry run protection, single phase preventer, connections, including clamps, bore cap etc. as required as per specifications but excluding pipe and connection cable. |  |
|  | (iv) | 3 H.P. with 10to12stages, | 1 |
|  |  | Discharge LPM 65-205 |  |
| 2 | 6.1/90 | Provision for delivery pipe of size 50mm dia GI pipe class medium with fitting i.e. Socket bend, elbow tee, etc. | 45 |
| 3 | Pg. No. 353 Item No. 34.20.107(II). | Supply of submersible flat cable ISI marked 3 core sopper wire of suitable size with proper claming of approved make 4.0 sqmm multi stand. | 100 |
| 4 | Pg. No. 353 Item No. 34.20.109. | Supply of approved make stainless stell wire rope 6mm thick complete with binding for support of pump and mrtor | 39 |
| 5 | Pg. No. 344 Item No. 24.18.4. | Labour only for lowering of three phase submersible pumping set in the tube well with pipe line assembly, electrical cable, testing etc. completeincludingconnecting the electrical cable from pump & starter. | 1 |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE “F-II”

Rising main

| S. No. | Sub-Head | Qty. | Unit |
| --- | --- | --- | --- |
| 1 | Earth work in excavation for pipe trench in Ordinary soil areas including dressing, watering and ramming and disposal of excavated earth lead up to 50 meters and lift up to 1.5m, disposal earth to be levelled, neatly dressed. |  |  |
|  | CG,PHE, SOR Item no. 18.15 P/225 |  |  |
|  | (A) In Ordinary soil 630 m x0.60x0.30 | 113.4 | Cum |
| 2 | Earth work in excavation for pipe trench in Hard soil areas including dressing, watering and ramming and disposal of excavated earth lead up to 50 meters and lift up to 1.5m, disposal earth to be levelled, neatly dressed. |  |  |
|  | CG,PHE, SOR Item no. 18.16 P/226 |  |  |
|  | (B) In hard soil 630 m x0.60x0.40 | 151.2 | Cum |
| 3 | (B) Earth work in excavation for pipe trench in all kind of rocks in areas i./c dressing, stacking of useful materials and disposal of unserviceable ore upto 50 m. lead and lift upto 1.5m. |  |  |
|  | Soft rock with or without blasting or bituminous pavement / cement concrete road. |  |  |
|  | CG,PHE, SOR Item no. 18.19.1 P/226 |  |  |
|  | (C) In Soft Rock 630mx0.60x0.30 | 113.4 | Cum |
| 4 | Providing, laying and jointing following P.V.C. pipes with solvent cement joint for 6, 8 and 10 kg/ sq. cm. pressures including testing of joints, cost of jointing materials etc. complete in all respect. |  |  |
|  | 90 mm dia UPVC 10 kg./cm2 | 630 | mtr. |
|  | CG,PHE, SOR It.No. 7.1 P/108 |  |  |
| 5 | Providing laying and jointing of following galvanized Iron (MS) Pipes with specials (such as bends, elbows, tees etc) class light, medium & heavy including testing of joints, cost of pipes, specials and jointing materials all complete. Pipes and sockets conforming to IS:1239/2011 Part- II. |  |  |
|  | 80mm dia G.I. | 20 | Rm |
|  | Page No. 89 Item No. 6.1 |  |  |
| 6 | Providing, Solvent Cement Joints to PVC Pipes and fittings of 6, 8 and 10 Kg/Sq cm. Pressure including testing of joints and cost of jointing materials (i.e. socket, coupler & solvent cement) |  |  |
|  | 90 mm dia UPVC 10 kg./cm2 | 4 | each |
|  | CG,PHE, SOR Item no. 7.3 P/109 |  |  |
| 7 | Providing and laying in position including testing following PVC bends suitable for 6, 8 and 10 Kg/Sq. cm. pressure pipes. |  |  |
|  | 90 mm dia UPVC 10 kg./cm2 | 2 | each |
|  | CG,PHE, SOR Item no. 7.5.P/109 |  |  |
| 8 | Providing and laying in position including testing following PVC Tees, suitable for 6, 8 and 10 Kg/Sqm. Pressure pipes. |  |  |
|  | 90 mm dia UPVC 10 kg./cm2 | 2 | each |
|  | CG,PHE, SOR Item no. 7.6 P/110 |  |  |
| 9 | Providing and laying in position including testing following PVC flanged tail pieces suitable for 6, 8 and 10 Kg./Sq. cm. Pressure pipes. |  |  |
|  | 90 mm dia UPVC 10 kg./cm2 | 4 | each |
|  | CG,PHE, SOR Item no. 7.7P/110 |  |  |
| 10 | Providing & fixing of following Cast iron double flanged sluice valves as per I.S.:14846-2000 fitted with cast iron cap including jointing & testing with cost of jointing material such as bolts, nuts, rubber insertions etc. all complete (PN 1.0) |  |  |
|  | 80 mm dia | 2 | each |
|  | CG,PHE, SOR Item no. 8.1P/115 |  |  |
| 11 | Filling available excavated earth in trenches, lead up to 50m and lift up to 1.5m in all kind of soil excluding Watering and ramming. |  |  |
|  | CG,PHE, SOR Item no. 18.22 P/227 | 374 | Cum |
|  | E.W.E. : 113.4 +151.2 + 113.4=378 |  |  |
|  | 3.142 X [(90mm/1000)^2] X 630= 4.01 |  |  |
|  | 378 - 4.01 =374 |  |  |
| 12 | Demolishing cement concrete manually / bymechanical means including disposal of material within 50 m lead as per direction of engineer-in-charge |  |  |
|  | Nominal concrete 1:3:6 or richer mix ( i/c equivalent design mix ) |  |  |
|  | 20x0.60x0.20 | 2.4 | Cum |
|  | (CG PHE SOR Item No. 18.29.1, Page No. 227) |  |  |
| 13 | Providing and laying mechanically mixed cement concrete with 20 mm nominal size graded stone aggregate. M-15 |  |  |
|  | 20x0.60x0.20 | 2.4 | Cum |
|  | CG,PHE, SOR Item no. 18.41.1.2P/229 |  |  |
| 14 | Construction of Brick masonary valve chamber with 20 cm thick wall in 1:6 C.M. with 12mm thick 1:4 Cement Plaster and base course 10 cm. thick in M-15. Inside Dimensions 110x80x100cm M-20 RCC chamber cover size 130x100cmx120cm including cost of materials, labour etc.complete. | 2 | each |
|  | CG,PHE, SOR Item no. 18.79 P/235 |  |  |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE “F-III”

40 K.L. 12 m. staging R.C.C. Service Reservoir

| 1 | Designing (structurally & aesthetically), and constructing RCC elevated service reservoirs of following capacity with RCC staging consisting of columns, internal and external bracings spaced vertically as per staging of the ESR. including excavation in all types of strata, foundation concrete, cement plaster with water proofing compound to the inside face of the container including refilling & disposing off the surplus stuff within a lead of 50 meters, all labour and material charges including lowering, laying, erecting, hoisting and jointing of pipe assembly of inlet, outlet, scour, overflow and bypass arrangements as per departmental design, providing and fixing accessories such as M.S. Ladder, C.I. manhole frame and covers water level indicators, lightening conductor, G.I. pipe railing around walk way and top slab, providing spiral staircase from ground level to roof level, M.S. grill gate of 2 mtr. height with locking arrangement of approved design B.B. masonry chambers for all valves, ventilating shafts, providing and applying three coats of cement paint to the structure including roof slab epoxy painting to internal surface & anti termite treatment for underground parts of the structure and giving satisfactory water tightness test as per I.S. code, The job to include painting the name of the scheme and other details on the reservoir as per the directions of Engineer-in-Charge |  |
| --- | --- | --- |
|  | Construction of R.C.C. over head tank 40 KL capacity on 12 meter staging including drawing, design, soil SBC testing with all vertical pipe fitting and specials. |  |
|  | Rates for OHT of 25 KL | 1 |
|  | Add for capacity above 25000 to 40000 ltr. | 15000 |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE “F-IV”

Switch Room( CG PWD SOR 2015)

| S.No. | Item of work | Qnty |
| --- | --- | --- |
| 1 | Excavation for all types and sizes of foundation, trenches and drains or for any other purpose i/c disposal of excavated stuff up to 1.5m lift and lead up to 50 m (at least 5m away from the excavated area),i/c dressing and leveling of pits. |  |
|  | In all types of soils |  |
|  | (CGPWD SOR 2015, P.No.9 I.No.1.1.1) | 3.36 |
| 2 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work . 1:3:6 |  |
|  | (CGPWD SOR 2015,P.No.23, I.No.3.1.3) | 0.72 |
| 3 | Brick work with modular well burnt clay bricks of crushing strength not less than 35 kg/sqcm and water absorption not more than 20% in foundation and plinth in: |  |
|  | (a) Cement Mortar 1:6 (1 cement : 6 sand) | 2.9 |
|  | In super structure in |  |
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 2.25 |
|  | (CGPWD SOR 2015 ,P.No.44, I.No.7.2.1)& 7.7 |  |
| 4 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: |  |
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 9.4 |
|  | (CGPWD SOR 2015,P.No.103, I.No.11.3.4) |  |
| 5 | Providing and making 12mm thick cement plaster |  |
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 23.3 |
|  | (CGPWD SOR 2015,P.No.103, I.No.11.2.4) |  |
| 6 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work . |  |
|  | 1:2:4 (1 cement:2 coarse sand : 4 graded stone aggregate 40 mm nominal size) |  |
|  | (CGPWD SOR 2015,P.No.23, I.No.3.1.4) | 0.121 |
| 7 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawing including cost of binding wire in foundation and plinth all complete. |  |
|  | Cold twisted bar/Hot rolled deformed steel |  |
|  | (CGPWD SOR 2015,P.No.24, I.No.3.12.4) | 50 |
| 8 | Providing & fixing form work i/c centering, shuttering, strutting staging, propping bracing etc. complete and i/c its removal at all levels for : |  |
|  | Suspended floors, roofs platform, balconies (plain surface) and shelves (cast in situ) | 4.92 |
|  | (CGPWD SOR 2015, P.No.16, I.No.2.1.7) |  |
| 9 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. |  |
|  | 1:1½:3 (1 cement:1½ coarse sand : 3 graded stone aggregate 20 mm nominal size) |  |
|  | (PWD P.No.23, I.No.3.2.1) | 0.542 |
| 10 | Providing and fixing steel door/ window with M.S. sheet 1mm thick,fframe of angle iron, diagonal braces of angle/flat iron of suitable size ,3.00 mm M.S. gusset plates at juctions and corners,all necessary fittings complete i/c applying a priming coat of redoxide zinc chromae primer. | 60 |
|  | (CGPWD SOR 2015,P.No.81, I.No.9.13) |  |
| 11 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement;2 coarse:sand:4 graded crushed stone aggregate 20mm niminal size) i/c form work. | 0.084 |
| 12 | Providing and filling in plinth with sand/crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidation each deposited layer by ramming and watering i/c dressing etc. complete. | 0.43 |
|  | (CGPWD SOR 2015, P.No.11I.No. 1.18) |  |
| 13 | Structural steel work in single section i/c cutting, hoisting fixing in position and applying a priming coat of red oxide zinc chromate primer |  |
|  | (CGPWD SOR 2015, P.No.80, I.No.9.1) | 25 |
| 14 | Painting on new work (two or more coats ) to give an even shade with. |  |
|  | Satin synthetic enamel paint |  |
|  | (PWD P.No.134, I.No.14.22.1) | 4.23 |
| 15 | Cement concrete flooring with cement concrete 1:2:4 (1 cement: 2 coarse sand:4 graded stone aggregate 20mm ) finished with a floating coat of neat cement. |  |
|  | 40 mm thick |  |
|  | (CGPWD SOR 2015, P.No.111, I,.No.12.3.1) | 1.44 |
| 16 | Distempering with acrylic washable distemper to give an even shade |  |
|  | On new work (Two or more coats) |  |
|  | (CGPWD SOR 2015, P.No.132I.No.14.9.1) | 36 |
| 17 | Provision for electrical fittings |  |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G

ANNEXURE “F-V”

Boundary wall( CG PWD SOR 2015

| S. No. | SOR | Item of work | Qty. |
| --- | --- | --- | --- |
| 1 | PWD 1.1.1 9 | Earth work in Excavation for pipe trench in all kinds of soil and WBM in areas including dressing, watering and ramming and disposal of Excavated earth lead up to 50 m. and lift up to 1.5 m. disposal earth to be leveled, neatly dressed. |  |
|  |  | 19 col x 1.0 x1.0 x 1.20 =22.80 |  |
|  |  | 3 col x 1.00 x 1.30 x 1.20=4.68 |  |
|  |  | 2 col x 1.20 x 1.20 x 1.20= 3.456 |  |
|  |  | 30.936 | 30.936 |
| 2 | PWD 3.1.3 23 | Providing and laying mechanically mixed cement concrete with crushed stone aggregate excluding centering and shuttering (with 40 mm nominal size graded stone aggregate) |  |
|  |  | 19 col x 1.0 x 1.0 x 0.10 =1.9 |  |
|  |  | 3 col x 1.0 x 1.30 x 0.10 = 0.39 |  |
|  |  | 2 col x 1.20 x 1.20 x 0.10 = 0.288 |  |
|  |  | 2.578 | 2.578 |
| 3 | PWD 3.12.2 24 | Providing and placing in position cold twisted steel and hot rolled deformed steel reinforcement for RCC work including cutting, bending, binding etc. complete including cost of binding wire and wastage. |  |
|  |  | Sub structure |  |
|  |  | For column |  |
|  |  | 10 mm dia steel bar for foundation mesh |  |
|  |  | 19 col x 2face x 6Nos x 0.80 x 0.62 = 113.08 |  |
|  |  | 3 col x 1 face x 9 Nos x 0.80 x 0.62 =13.39 |  |
|  |  | 3 col x 1 face x 6 Nos x1.10 x 0.62 =12.276 |  |
|  |  | 2 col x 2 face x 7 Nos x1.00 x 0.62 =17.36 |  |
|  |  | 12mm dia steel, vertical bar |  |
|  |  | 25 col x 4 Nos x 3.60 x 0.89 = 320.40 |  |
|  |  | 2 col x 8 Nos x 3.60 x 0.89 = 51.26 |  |
|  |  | Plinth beam |  |
|  |  | 10 mm dia steel bar 3 Nos Top & 3 Nos Bottom |  |
|  |  | 6 Nos x 60 mtr x 0.62 = 223.20 |  |
|  |  | Stirrups in coloums |  |
|  |  | 10 mm dia @ 150c/c |  |
|  |  | 25 Col x24 str x 1.050 x 0.39 = 245.70 |  |
|  |  | 2 Col x 2 x 24 str x 0.85 x 0.39 = 31.824 |  |
|  |  | Beam |  |
|  |  | 1192.29 | 1192.29 |
| 4 | PWD 3.2.1 23 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). |  |
|  |  | M-20 |  |
|  |  | Fooundation |  |
|  |  | 19 col x 0.80 x0.80 x 0.15 = 1.824 |  |
|  |  | 19 col x{ 0.80x0.80}+ { 0.40x0.40}1/2 x 0.45 =3.24 |  |
|  |  | 3 col x 1.10 x0.80 x 0.15 =0.396 |  |
|  |  | 3 col x{ 1.10 x1.10}+ { 0.8x0.48}1/2 x 0.45 = 1.075 |  |
|  |  | 2 col x 1.00 x1.00 x 0.15 = 0.30 |  |
|  |  | 2 col x{ 1.0 x1.0}+ { 1.0 x 1.0}1/2 x 0.45 = 0.90 |  |
|  |  | Columns |  |
|  |  | 19 col x 0.30 x 0.30 x 2.95 = 5.044 Cum. |  |
|  |  | 3 col x 0.30 x 0.30 x 2.95 = 0.796 Cum. |  |
|  |  | 2 col x 0.50 x 0.50 x 2.95 = 1.475 Cum. |  |
|  |  | Beams |  |
|  |  | 60 x 0.3 x 0.3 =5.40 Cum. |  |
|  |  | 20.45 | 20.45 |
| 5 | PWD 2.1.1 & 5 16 | Providing and fixing formwork including centering, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: |  |
|  |  | Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. |  |
|  |  | Footing of column and column up to GL,P.beam | 47.64 |
|  |  | Columns, Pillars, Piers and likes- rectangular or square in shape | 65.52 |
| 6 | PWD 7.2.1 44 | Brick work with modular well burnt clay bricks of crushing strength not less than 35 kg/sqcm and water absorption not more than 20% in foundation and plinth in: |  |
|  |  | 22col x 2.10 x 0.20 x 2.00 = 18.48 Cum. |  |
|  |  | 50.70 Rmt x 0.30 x 0.10 = 1.521 Cum. |  |
|  |  | 20.001 | 20.001 |
| 7 | PWD 11.2.4 103 | 12 mm thick cement plaster in single coat finished even, smooth and curing including cost of form work complete. |  |
|  |  | 2 x 55.50 x 2.10 =233.10 |  |
|  |  | 233.1 | 233.1 |
| 8 | PWD 14.15.1 133 | Painting exterior surface with ACRYLIC SMOOTH exterior paint of required shade as per manufacturer's specifications to give protective and decorative finish including cleaning washing of surface etc. complete with: |  |
|  |  | 2 x 55.50 x 2.10 =233.10 |  |
|  |  | 233.1 | 233.1 |
| 9 | PWD 3.13 24 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including formwork |  |
|  |  | M-15 for coping |  |
|  |  | 55.50 x 0.30 x 0.10 = 1.665 |  |
|  |  | 1.665 | 1.665 |
| 10 | PWD 1.17 11 | Filling available excavated earth in trenches, plinth sides of foundation in layers not exceeding 20cm. In depth including consolidation of each layer by ramming watering, lead up to 50m and lift up to 1.5m in all kinds of soils |  |
|  |  | 30.936-10.313=20.623 | 20.623 |
| 11 | PWD 1.18 11 | Filling from Sand/hard moorum and in trenches, plinth , sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by |  |
|  |  | 4x15x2x0.3 = 36.00 | 36 |
| 12 | PWD 9.6.2 80 | Steel work in welded built-up section/ framed work, including cutting hoisting, fixing in position and applying a priming coat of approved steel primer usingstructural steel etc. as required. (ii)In gratings, frames, guard bar, ladder ,railings, brackets, gates and similar works |  |
|  |  | 1x4.5x2.10 = 9.45 @35kg/sqmt |  |
|  |  | 330.75 | 330.75 |
| 13 | PWD 9.38 84 | Providing and fixing broken glass 100 mm high in spacing not more than 40 mm both ways and laid in 50 mm thick (average) cement mortar 1:4 (1 cement : 4 coarse sand ) over compound walls, prapet walls and the like. |  |
|  |  | 55.50 x 0.20 =11.10 |  |
|  |  | 11.1 | 11.1 |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE “F-VI”

Electro chlorinator

| S. No. | Particular | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Providing, erecting, commissioning and giving test & trial for a period of one month including one year free maintenance after commissioning of Electro chlorinator capable of generating chlorine from common salt by electrolysis using electrodes in form of sodium hypo chlorite solution containing 6-8 gms/lit of available chlorine in batch or continuous prosses and capable of providing 8 hrs storage of hypochlorite in case of power failure. The electro chlorinator shall comprise of following. Electrolytic cell consisting dimensionally stable electrodes made from Gr I Titanium sheet with multi metal oxide coating. Electrolyzer tank made from PVC-FRP or Acrylic. Power pack consisting of transformer rectifier for generating suitable DC current from AC supply along with the control switch for dosing pumps etc. through MCB's contacts, relays and wiring Control panel for the electro chlorinator consisting of DC voltage and current display income phase status unit on-off switches fuses etc. Dosing tank of suitable capacity made from PVC/FRP. Dosing pumps of specials quality (1W + 1S) suitable to handle hypo chlorite solution. Entire chlorine solution pipeline shall be of PVC Chlorine test kit suitable to measure residual chlorine up to 5 ppm. 25 gm/hr (PHE Sor No.- 26.9.1 , Page - 313 ) | 1 | Each |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE “F-VII”

Chlorinator room( CG PWD SOR 2015)

| S.No. | SOR | Particulars | No | L | B | H/D | Qty. | Unit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | PWD SOR Item- 1.1.1, P- 9 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal ofexcavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. |  |  |  |  |  |  |
|  |  | All types of soil |  |  |  |  |  |  |
|  |  | Col. | 4 | 1.2 | 1.2 | 1.2 | 6.91 |  |
|  |  | Steps - | 1 | 1.2 | 0.9 | 0.2 | 0.22 |  |
|  |  | Total |  |  |  |  | 7.13 | cum |
| 2 | PWD SOR 1.18/P 11 | Providing and filling in plinth with sand/ Crusher dust and hard moorumunder floor in layers not exceeding 20cm in depth consolidating eachdeposited layer by ramming and watering, including dressing etc.complete. | 1 | 2.4 | 2.4 | 0.25 | 1.44 | cum |
| 3 | PWD SOR 3.1.4/P 23 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. |  |  |  |  |  |  |
|  |  |  | 4 | 1.2 | 1.2 | 0.1 | 0.58 |  |
|  |  | Step | 1 | 1.2 | 0.9 | 0.1 | 0.11 |  |
|  |  | Hall | 1 | 2.4 | 2.4 | 0.1 | 0.58 |  |
|  |  | Total |  |  |  |  | 1.26 | cum |
| 4 | PWD SOR 2.1.1/P 16 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. |  |  |  |  |  |  |
|  |  |  | 16 | 0.90 | ― | 0.15 | 2.16 |  |
|  |  | Ground beam Side | 8 | 2.40 | ― | 0.3 | 5.76 |  |
|  |  | Total |  |  |  |  | 7.92 | Sqm |
| 5 | PWD SOR 2.1.5/P 16 | Columns, Pillars, Piers and likes- rectangular or square in shape | 16 | 0.20 | ― | 3.95 | 12.64 | Sqm |
| 6 | PWD SOR 2.1.7/P 16 | Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) |  |  |  |  |  |  |
|  |  | Lintal Beam Side | 8 | 2.40 | ― | 0.2 | 3.84 |  |
|  |  | Chhajja | 3 | 1.20 | 0.45 | ― | 1.62 |  |
|  |  | Main Slab | 1 | 2.70 | 2.70 | ― | 7.29 |  |
|  |  | Total |  |  |  |  | 12.75 | Sqm |
| 7 | PWD SOR 3.2.1/P 23 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). |  |  |  |  |  |  |
|  |  |  | 4 | 0.9 | 0.9 | 0.15 | 0.49 |  |
|  |  |  | ― | ― | ― | ― | 1.57 |  |
|  |  |  | ― | ― | ― | ― | 0.08 |  |
|  |  | Ground Beam | 4 | 2.4 | 0.2 | 0.3 | 0.58 |  |
|  |  | Lintel | 4 | 2.40 | 0.2 | 0.2 | 0.38 |  |
|  |  | Chhajja | 3 | 1.2 | 0.45 | 0.08 | 0.13 |  |
|  |  | Main Slab | 1 | 2.4 | 2.4 | 0.1 | 0.58 |  |
|  |  | Total |  |  |  |  | 3.80 | cum |
| 8 | PWD SOR 3.12.4/P 24 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete: |  |  |  |  |  |  |
| 9 | PWD SOR 7.2.1/P 44 | Brick work with modular well burnt clay bricks of crushing strength not less than 25 kg/sqcm and water absorption not more than 20% in foundation and plinth in: | 4 | 2.40 | 0.2 | 0.1 | 0.19 |  |
|  |  | Cement Mortar 1:5 (1 cement : 5 coarse sand) | 1 | 1.20 | 0.3 | 0.15 | 0.05 |  |
|  |  |  | 1 | 1.20 | 0.45 | 0.15 | 0.08 |  |
|  |  | Total |  |  |  |  | 0.33 | cum |
| 10 | PWD SOR 7.2.1/P 44 & 7.6/P 45 | Brick work with modular well burnt clay bricks of crushing strength not less than 25 kg/sqcm and water absorption not more than 20% in foundation and plinth in: |  |  |  |  |  |  |
|  |  | Extra for brick work in square and rectangular pillars. (size not more than 600mm in any direction) |  |  |  |  |  |  |
|  |  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 4 | 2.40 | 0.2 | 3 | 5.76 |  |
|  |  | Deduction as opening - D | 1 | 0.90 | 0.2 | 2.1 | 0.38 |  |
|  |  | Windows -W- | 2 | 0.90 | 0.2 | 1.2 | 0.43 |  |
|  |  | Total |  |  |  |  | 0.81 |  |
|  |  | Deduction Net Brick Work QTY. | ― | ― | ― | ― | 4.95 | cum |
| 11 | PWD SOR 3.13/P 24 | Providing and laying damp proof course (upto 50mm thick) with plaincement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | 4 | 2.40 | 0.2 | 0.05 | 0.10 |  |
|  |  | Total |  |  |  |  | 0.10 | cum |
| 12 | PWD SOR 12.3.2/P 111 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2coarse sand : 4 graded stone aggregate 20mm) finished with a floatingcoat of neat cement |  |  |  |  |  |  |
|  |  | 50 mm thick | 1 | 2.40 | 2.4 | ― | 5.76 | Sqm |
| 13 | PWD SOR 11.1.1/P 103 | Providing and making 6mm thick cement plaster of mix In Cement mortar 1:3 (1 cement : 3 fine sand) |  |  |  |  |  |  |
|  |  | In Hall | 1 | 2.40 | 2.4 | ― | 5.76 |  |
|  |  | Chhajja Plaster | 6 | 1.20 | 0.45 | ― | 3.24 |  |
|  |  | Total- |  |  |  |  | 9.00 | Sqm |
| 14 | PWD SOR 11.2.3/P 103 | Providing and making 12mm thick cement plaster of mix: |  |  |  |  |  |  |
|  |  | In Cement Mortar 1:5 (1 cement : 5 fine sand) | 4 | 2.40 | ― | 3 | 28.80 |  |
|  |  | Dedution as Openings | 1 | 0.90 | ― | 2.1 | 1.89 |  |
|  |  | w-W- | 2 | 0.90 | ― | 1.2 | 2.16 |  |
|  |  | Total |  |  |  |  | 4.05 |  |
|  |  | Deduction Net Plaster Work QTY. |  |  |  |  | 24.75 | Sqm |
| 15 | PWD SOR 11.3.3/P 103 | Providing and making 15mm thick cement plaster on the rough side ofsingle or half brick wall of mix: |  |  |  |  |  |  |
|  |  | In Cement Mortar 1:5 (1 cement : 5 fine sand) | 4 | 2.80 | ― | 3.4 | 38.08 |  |
|  |  | Dedution as Openings | 1 | 0.90 | ― | 2.1 | 1.89 |  |
|  |  | w-W- | 2 | 0.90 | ― | 1.2 | 2.16 |  |
|  |  | Total |  |  |  |  | 4.05 |  |
|  |  | Deduction Outer Walls Plaster Work QTY. |  |  |  |  | 34.03 | Sqm |
| 16 | PWD SOR 9.13/P 81 | Providing and fixing steel door/ window with M.S. sheet 1mm thick, frameof angle iron, diagonal braces of angle/ flat iron of suitable size, 3.00 mmM.S. gusset plates at junctions and corners, all necessary fittingscomplete including applying a priming coat of red oxide zinc chromateprimer. |  |  |  |  |  |  |
|  |  |  | 1 | 0.90 |  | 2.1 | 1.89 |  |
|  |  |  | 2 | 0.90 |  | 1.2 | 2.16 |  |
|  |  | Total |  |  |  |  | 4.05 | Sqm |
|  |  | Total 120 Kg |  |  |  |  | 120 | Kg |
| 17 | PWD SOR 14.12/P 133 | Applying one coat of cement primer on wall surface (applied @ 0.80litrs/10 sqm) complete. |  |  |  |  | 67.78 | Sqm |
| 18 | PWD SOR 14.10.1/P 133 | Wall painting with acrylic premium emulsion (plastic) paint of requiredshade to give an even shade. |  |  |  |  |  |  |
|  |  | On new work (two or more coats) |  |  |  |  | 67.78 | Sqm |
| 19 | PWD SOR 14.22.1/P 134 | Painting on new work (two or more coats) to give an even shade with: |  |  |  |  |  |  |
|  |  | Satin synthetic enamel paint |  |  |  |  | 4.05 | Sqm |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

FHTC

| S. No. | Particular | NO. | L | B | H/D | Qty. | Unit |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | Providing and constructing one stand post as per type design with excavation 15 cm thick PCC 1:3:6 bedding 20 mm thick PCC 1:2:4 convert for platform of 1.5mx1.5m with side curb and bucket rest of 80 mm dia. 160mm dia PVC pipe central post duly filled therein with C.C. 1:2:4, 2.2m long, 15 mm dia medium G.I. pipe. From point of tapping to stand post additional 1620 (20 mm dia) composite pipe 6.0 m long. Providing and fixing of 15 mm dia, one steel water tap, one flow control valve SS, 5 LPM complete together with all labour and material charges as per drawing and as directed by Engineer-in-charge when good foundation in available. Rate includes draining arrangement by excavating open gutters complete (PHE Sor No.- 19.35 , Page -253 ) | 150 | - | - | - | 150 | Each |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

EXTRA PIPE

| S. No. | Particular | L | B | H/D | Qty. | Unit |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 4 | 5 | 6 | 7 | 8 |
|  | Extra pipe line beyond 6m. Lenth |  |  |  |  |  |
| 1 | Earth work in excavation for pipe trench in ordinary soil areas including dressing, watering, ramming and disposal of excavated earth lead up to 50m and lift up to 1.5m, disposal earth to be levelled, neatly dressed. (PHE Sor No.- 18.15, Page -225 ) |  |  |  |  |  |
|  | 12Nos = 7meter Extra Pipe Total length =84Meter | 84 | 0.25 | 0.15 | 3.15 | Cum |
|  | 20Nos = 8meter Extra Pipe Total length =160Meter | 160 | 0.25 | 0.15 | 6 | Cum |
|  | 22Nos = 9meter Extra Pipe Total length =198Meter | 198 | 0.25 | 0.15 | 7.425 | Cum |
|  | 9Nos = 12meter Extra Pipe Total length =108Meter | 108 | 0.25 | 0.15 | 4.05 | Cum |
| 2 | Providing and fixing Polyethylene- Aluminum-Polyethylene (PE-AL-PE) Composite Pressure pipes Conforming to IS: 5450-2004 U.V. Stablished with carbon black having thermal stability for hot & cold water supply, capable to with stand temperature up to 800 C including all specials and fittiings of composite material (engineering plastic. gland and brass insert wherever required) e.g. elbws, tees. reducers, couplers and connectors wiith clamp at 1m spacing. This includes testing of joints complete as per the directions of engineer- incharge (Concealed work including cutting chases& making good the wall etc ) 1620 ( 16 mm OD ) Pipe 19.38.20 Pg.No. 255 | 550 |  |  |  | rmt |
| 3 | Filling available excavated earth in trenches, lead up to 50m and lift up to 1.5m in all kind of soil excluding Watering and ramming. (PHE Sor No.- 18.23, Page -227) | 21 |  |  |  | Cum |
|  | Deduction for Pipe =(3.14x0.016x0.016) = 20.625/4 = |  |  |  |  |  |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

For Electric Connection

| S.No. | Particular | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Providing and stretching 3 phase transmission line by CESB and making electrical connection for tube wells and pump house for pumping machinery including all necessary charges, CESB demand charges etc. 1 no. for submersible pump |  | Lum Sum |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

TRIAL RUN

| S. No. | Particular | Quantity | Rate |
| --- | --- | --- | --- |
| 1 | Provision of for temporary connection and energy charges for 3 months | 3 months | LS |
| 2 | Chemical for disinfection of water and related other charges | 3 months | LS |
| 3 | Provision for repair and maintenance of pumps, penal board, cable wire etc. | 3 months | LS |
| 4 | Provision for R&M of pipe line | 3 months | LS |
| 5 | Provision of 1 no. pump operator cum chowkidar . | 3 months | LS |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

YIELD TEST OF TUBE WELLS

| S.No. | Particular | Qty | Rate/Per Hour |
| --- | --- | --- | --- |
|  | Conducting the yield test of tubewell by operating the pumping set continuously for a desired time period and measuring the discharge and drawdown of tubewell at a suitable time interval as per the direction of Engineer in Charge including cost of energy, cost of installation of suitable measuring device and hire charges of pumping set etc.complete |  |  |
| 1 | Submersible pumping set above 3 to 7.5 H.P. | 24 | 688 |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)

ANNEXURE-  “G”

BREAK-UP SCHEDULE FOR VALUATION OF WORK

| S.No. | Description | Amount of Tender | Cumulative percentage |
| --- | --- | --- | --- |
| 1 | Providing, laying, jointing, interconnection, testing and commissioning of 63mm dia to 75.Mm HDPE PE-100 , PN-6 Pipe with suitable joints & 80mm GI Pipe, valves specials and all fittings including all allied civil works and trial run, operation & maintenance for 06 months under Piped Water Supply Scheme For Village TEMELWADA,(GP.) CHINTAGUPHA, Block Konta, District–Sukma . 63.Mm dia 518 Mt. 65.Mm dia 12 Mt. 75 mm dia 0 mt. 90 mm dia /110dia mtr. . 1005 mtr./0 mtr. 100 mm dia/80.Mm dia GI Pipe 0 mtr./ 29 mtr. | 730418.30 | 27.78% |
| 2 | Providing, laying , jointing of UPVC pipe class 10 kg/sqcm water Rising main i/c all fittings etc. 90 mm dia UPVC 10 Kg/sqcm 630 mt. 80.Mm dia GI Pipe 20 mt. | 347974 | 11.80% |
| 3 | Constructing RCC elevated service reservoirs of following capacity with RCC staging consisting of columns, internal and external bracings spaced vertically as per staging of the ESR, including excavation in all types of strata, foundation concrete, cement plaster with water proofing compound to the inside face of the container including refilling & disposing off the surplus stuff within a lead of 50 meters, all labour and material charges including lowering, laying, erecting, hoisting and jointing of pipe assembly of inlet, outlet, scour, overflow and bypass arrangements as per departmental design, providing and fixing accessories such as M.S. Ladder, C.I. manhole frame and covers water level indicators, lightening conductor, G.I. pipe railing around walk way and top slab, providing spiral staircase from ground level to roof level, M.S. grill gate of 2 mtr. Height with locking arrangement of approved design B.B. masonary chambers for all valves, ventilating shafts, provding and applying three coats of cement paint to the structure including roof slab epoxy painting to internal surface & antitermite treatment for underground parts of the structure and giving satisfactory water tightness test as per I.S. code, The job to include painting the name of the scheme and other details on the reservoir as per the directions of Engineer-in-charge.Construction of R.C.C. over head tank ……40. KL capacity on …….. meter staging including drawing, design, soil SBC testing with all vertical pipe fitting and specials. Incomplete Balance Work | 446174 | 15.13% |
| 4 | Construction of brick masonry switch room size 1.20mx1.20mx2.10m 2Nos | 87677.52 | 2.97% |
| 5 | Construction of boundary wall around the Over Head tank(size 15mx15m). | 345617.25 | 11.72% |
| 6 | Installation of Electro chlorinator | 280960 | 9.53% |
| 7 | Construction of chlorinator room size 2.4 mx2.4 mx3.0 m | 72984.11 | 2.47% |
| 8 | Providing FHTC in individual households - 150 | 156917.12 | 5.32% |
| 9 | Providing FHTC in govt. institutions |  |  |
| 10 | Provision for supply & installation of submersible pump 1 Phase |  |  |
| 11 | Provision for supply & installation of submersible pump 3 Phase 2 Nos | 158382 | 5.37% |
| 12 | Yield Test | 16512 | 0.56% |
| 13 | Provision for electric connection from CSPDCL nearest feeder. | 150000 | 5.08% |
| 14 | Provision for yield test of tubewell |  |  |
| 15 | EXTRA PIPE - 550 | 100601.67 | 3.41% |
| 16 | TRIAL RUN | 53000 | 1.79% |
| Total Rs. |  | 2947217 |  |

Executive Engineer and member secretary,

DWSM, Sukma  (C.G.)