| SCHEDULE OF QUANTITY Part – (A) - As per Collector rate S.No; Particualrs; Qty.. 1; 2; 3. 1; Engineer (high skilled); 1. 2; Supervisor (Skilled); 4. 3; Mechanic/fitter (Skilled); 4. 4; Electrician (Skilled); 2. 5; Filtermen/ Pump Operator (Skilled); 24. 6; Lab Assistant (Skilled); 7. 7; Helper (Unskilled); 40. 8; Safai Karmchari/Sweeper (Unskilled); 5. Total :-; 87. |
| --- |
| SCHEDULE OF QUANTITY Part – (B) - |  |  |  |  |  |
| Estimate For Annual Maintenance of 80 and 150 MLD Plant |  |  |  |  |  |
| S.No | Particualrs | Qty. | Unit | Rate | Amount(INR) |
| Total Part (B) |  |  |  |  |  |
| 1 | Silt cleaning work in - Auto clariflocculator bridge of 80 & 150 MLD filter plant. (6 x 2 =12 Job | 12 | Job |  |  |
| 2 | Providing, suppling, repairing, fitting of S.S. spindle & gun metal check nut of various size of valves at 80 & 150 MLD filter plant i/c casting, lathe work, required no. of nut bolts & rubber gasket complete | 40 | No. |  |  |
| 3 | Maintenance & Repairing of Flaculator, Bridge, Flush Mixer, Alum Tank, Blower Motor, Wash Water Motor, Bridge Track Greasing, Oiling, including Supply of All Required Parts of Motor & Pumps, Bearing Also Rewinding of Motor i/c maintenance & Repairing of All Chlorinator units i/c Supply of All Required Parts i/c all cleaning work. | 40 | Nos |  |  |
| 4 | Maintenance & Repairing of All Breaker, Panel, Stator and Supply of Required Electrical Parts Such as Fuse, Contractor, Relay, Switch, Cable & other Electrical Parts also New Fitting of All Lights of 80 MLD, 150 MLD WTP & Intakewell Premises Including Lights, Switches, Cable, Plug, Holder, Board etc. (12 Month) | 1 | Year |  |  |
| 5 | Repairing of Pump & Motor i/c Opening, Fitting Leth Work and Supply of All Required Parts At sarita intakewell and Old 80MLD Clear Water Pump House. | 4 | Nos |  |  |
| 6 | Cleaning of Plant Premises, WTP Substation Area, Intake- Well Premises, Intake Well Substation Area, Maintenance of Gardens Premises of 80 & 150 MLD WTP. | 12 | month |  |  |
| 7 | Supply of motor & gear oil | 500 | Ltr. |  |  |
| 8 | Supply of grease | 400 | Kg. |  |  |
| 9 | Providing, supplying and fixing of teflon wheel of 80 & 150 MLD autoclarifier bridge i/c opening, fitting, lathe work, required nut & bolts & bearing etc. complete. | 3 | Job |  |  |
| 10 | Maintenance & Repairing of chlorinator capacity of 10 kg per hour & 25 kg per hour i/c supply of all neccesary parts of chlorintor like. Vaccume regulator assembly, gas filter, yoke clamp assembly, ejector assembly, flexible copper coil with length 2 to 3 mtr, diaphram for vaccume regulator assembly, control valve assembly & pressure gauge assembly. | 8 | No. |  |  |
| 11 | Track repairing of auto clarifire bridge No, 1, 2. & 3 of 80 & 150 MLD WTP i/c required materials, machine & welding etc. complete. | 3 | No, |  |  |
| Total Part (B) :- |  |  |  |  |  |

EXECUTIVE  ENGINEER

FILTER PLANT

MUNICIPAL CORPORATION , RAIPUR