KARNATAKA MILK FEDERATION LIMITED,

DR M.H MARIGOWDA ROAD, BENGALURU

PRICE SHEET

WORK - Bi-Annual rate contract for rewinding works of burnt out motors at NHMPP, Ramanagara

| KMF-NHMPP-RAMANAGARA |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DETAILS OF ELECTRICAL MOTORS FOR RE-WINDING |  |  |  |  |  |
| SINGLE PHASE ELECTRICAL MOTOR & FANS DETAILS |  |  |  |  |  |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 1 | 1 | 0.25 | - | 900-1500 | 5 |
| 2 | 1 | 0.5 | - | 900-1500 | 5 |
| 3 | 1 | 0.75 | - | 900-1500 | 3 |
| 4 | 1 | 1 | - | 900-1500 | 3 |
| 5 | 1 | - | 65 W | 900-1500 | 70 |
| 6 | 1 | - | 150-370 W | 900-1500 | 50 |
| 7 | 1 | - | 2.00 | 900-1500 | 1 |
| THREE PHASE ELECTRICAL INDUCTION MOTORS DETAILS |  |  |  |  |  |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 8 | 3 | 0.25 | - | 1400-1500 | 6 |
| 9 | 3 | 0.5 | 0.40 | 219-800 | 2 |
| 10 | 3 | 0.5 | 0.40 | 960-1000 | 2 |
| 11 | 3 | 0.5 | 0.40 | 1440-1500 | 7 |
| 12 | 3 | 0.5 | 0.40 | 2880-3000 | 2 |
| 13 | 3 | 0.75 | 0.60 | 219-800 | 1 |
| 14 | 3 | 0.75 | 0.60 | 960-1000 | 1 |
| 15 | 3 | 0.75 | 0.60 | 1440-1500 | 1 |
| 16 | 3 | 0.75 | 0.60 | 2880-3000 | 1 |
| 17 | 3 | 1 | 0.74 | 219-800 | 4 |
| 18 | 3 | 1 | 0.74 | 960-1000 | 4 |
| 19 | 3 | 1 | 0.74 | 1440-1500 | 5 |
| 20 | 3 | 1 | 0.74 | 2880-3000 | 21 |
| 21 | 3 | 1.5 | 1.20 | 219-800 | 1 |
| 22 | 3 | 1.5 | 1.20 | 960-1000 | 1 |
| 23 | 3 | 1.5 | 1.20 | 1440-1500 | 15 |
| 24 | 3 | 1.5 | 1.20 | 2880-3000 | 7 |
| 25 | 3 | 2 | 1.50 | 219-800 | 1 |
| 26 | 3 | 2 | 1.50 | 960-1000 | 2 |
| 27 | 3 | 2 | 1.50 | 1440-1500 | 16 |
| 28 | 3 | 2 | 1.50 | 2880-3000 | 6 |
| 29 | 3 | 4 | 3.00 | 1440-1500 | 12 |
| 30 | 3 | 5 | 3.73 | 2880-3000 | 5 |
| 31 | 3 | 4 | 2.98 | 219-800 | 1 |
| 32 | 3 | 4 | 2.98 | 960-1000 | 1 |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 33 | 3 | 4 | 2.98 | 1440-1500 | 2 |
| 34 | 3 | 4 | 2.98 | 2880-3000 | 2 |
| 35 | 3 | 5 | 3.73 | 1440-1500 | 4 |
| 36 | 3 | 5 | 3.73 | 2880-3000 | 18 |
| 37 | 3 | 5.5 | 4.10 | 219-800 | 1 |
| 38 | 3 | 5.5 | 4.10 | 960-1000 | 1 |
| 39 | 3 | 5.5 | 4.10 | 1440-1500 | 1 |
| 40 | 3 | 5.5 | 4.10 | 2880-3000 | 1 |
| 41 | 3 | 6 | 4.48 | 219-800 | 1 |
| 42 | 3 | 6 | 4.48 | 960-1000 | 1 |
| 43 | 3 | 6 | 4.48 | 1440-1500 | 1 |
| 44 | 3 | 6 | 4.48 | 2880-3000 | 3 |
| 45 | 3 | 7 | 5.22 | 960-1000 | 8 |
| 46 | 3 | 7 | 5.22 | 1440-1500 | 8 |
| 47 | 3 | 7 | 5.22 | 2880-3000 | 10 |
| 48 | 3 | 7.5 | 5.60 | 219-800 | 1 |
| 49 | 3 | 7.5 | 5.60 | 960-1000 | 1 |
| 50 | 3 | 7.5 | 5.60 | 1440-1500 | 13 |
| 51 | 3 | 7.5 | 5.60 | 2880-3000 | 11 |
| 52 | 3 | 10 | 7.46 | 219-800 | 2 |
| 53 | 3 | 10 | 7.46 | 960-1000 | 1 |
| 54 | 3 | 10 | 7.46 | 1440-1500 | 8 |
| 55 | 3 | 10 | 7.46 | 2880-3000 | 10 |
| 56 | 3 | 12 | 8.95 | 1440-1500 | 3 |
| 57 | 3 | 12 | 8.95 | 2880-3000 | 3 |
| 58 | 3 | 12.5 | 9.33 | 1440-1500 | 4 |
| 59 | 3 | 12.5 | 9.33 | 2880-3000 | 1 |
| 60 | 3 | 15 | 11.19 | 1440-1500 | 1 |
| 61 | 3 | 15 | 11.19 | 2880-3000 | 7 |
| 62 | 3 | 20 | 14.92 | 960-1000 | 1 |
| 63 | 3 | 20 | 14.92 | 1440-1500 | 2 |
| 64 | 3 | 20 | 14.92 | 2880-3000 | 12 |
| 65 | 3 | 25 | 18.65 | 219-800 | 1 |
| 66 | 3 | 25 | 18.65 | 960-1000 | 1 |
| 67 | 3 | 25 | 18.65 | 1440-1500 | 3 |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 68 | 3 | 25 | 18.65 | 2880-3000 | 6 |
| 69 | 3 | 29.49 | 22.00 | 960-1000 | 2 |
| 70 | 3 | 29.49 | 22.00 | 1440-1500 | 1 |
| 71 | 3 | 30 | 22.38 | 2880-3000 | 8 |
| 72 | 3 | 30 | 22.38 | 1440-1500 | 1 |
| 73 | 3 | 30 | 22.38 | 2880-3000 | 1 |
| 74 | 3 | 40 | 29.84 | 1440-1500 | 2 |
| 75 | 3 | 40 | 29.84 | 2880-3000 | 2 |
| 76 | 3 | 55 | 41.03 | 1440-1500 | 1 |
| 77 | 3 | 60 | 44.76 | 1440-1500 | 6 |
| 78 | 3 | 60 | 44.76 | 2880-3000 | 3 |
| 79 | 3 | 100.54 | 75.00 | 1440-1500 | 1 |
| 80 | 3 | 100.54 | 75.00 | 2880-3000 | 2 |
| 81 | 3 | 120 | 89.52 | 1440-1500 | 2 |
| 82 | 3 | 147.45 | 110.00 | 1440-1500 | 1 |
| 83 | 3 | 176.94 | 132.00 | 1440-1500 | 1 |
| 84 | 3 | 180 | 134.28 | 2880-3000 | 3 |
| 85 | 3 | 214.48 | 160.00 | 1440-1500 | 1 |
| 86 | 3 | 422.25 | 315.00 | 960-1000 | 1 |
| 87 | 3 | 475.87 | 355.00 | 2880-3000 | 3 |
| 88 | 3 | 536.19 | 400.00 | 2880-3000 | 2 |
| THREE PHASE ELECTRICAL SUBMERSIBLE MOTORS DETAILS |  |  |  |  |  |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 89 | 3 | 5.36 | 4.00 | 2880-3000 | 4 |
| 90 | 3 | 10 | 7.46 | 2880-3000 | 12 |
| 91 | 3 | 15 | 11.19 | 2880-3000 | 2 |
| THREE PHASE ELECTRICAL BORE-WELL MOTORS DETAILS |  |  |  |  |  |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 92 | 3 | 10 | 7.46 | 2880-3000 | 4 |
| 93 | 3 | 30 | 22.38 | 2880-3000 | 2 |
| SERVICE CHARGES FOR DAM MOTOR & PUMP LIFTING & INSTALLATION 30HP- 5 STAGE |  |  |  |  |  |
| Sl.No. | PHASE | HP | KW | RPM | QTY |
| 94 | 3 | 30 | 22.38 | 2880-3000 | 1 |

Note:

- The above quoted rates are Exclusive of all Taxes.

- The Transportation charges for collection of motor from NHMPP, Ramanagara  and delivery is included

- The Motor, Fan and Welding Transformer shall be cleaned and painted as per original colour.

- The motor will be delivered with test certificates and bill after rewinding.

I/ We hereby once again confirm that, I/We have thoroughly studied the Tender Document and understood the tender conditions, tender specification, details of goods /services required,

I/We fully understand the nature of work & have quoted for the same. I/We hereby agree that, the decision of Managing Director KMF shall be final for acceptance of offer and award of contract.

Signature of the bidder

Name& address of the firm