SPECIFICATION OF ITEMS

Name of Tender: Procurement of Fluid coupling for APH drive

Enquiry No: EEMSP/ET//EE(MSP)/YTPS/25-26/2095

e-Tender No:KPCL/2026-27/IND2694

| Sl. No | Item Code | Item Name | Item Specification | Qty | Unit | HSN Code | GST % (INCLUSIVE) | Delivery Period | Make & Model |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5270113348 | FLUID COUPLING FOR APH DRIVE | FLUID COUPLING IS USED IN APH MAIN & STANDBY DRIVES MAKE: FALK, MODEL: 370HFN10-S | 2 | Nos |  |  |  |  |

Note:

a) Amount quoted in e-portal shall be firm & inclusive of P&F, F&I and GST on FOR-Destination basis (YTPS Stores). Extra claim will not be considered.

b) The bidder shall visit YTPS site before quoting, if necessary, for taking measurements and other Clarifications. Post bid correspondence for clarifications/Drawings/specifications is not acceptable.

c) SCOPE OF SUPPLY: Supply of Seal kits as per the Specification indicated shall be made to YTPS Stores within the delivery period to be stipulated in the order from RPCL.

d) DEVIATION W.R.T TERMS & CONDITIONS/PRICE VALIDITY/SPECIFICATIONS/PAYMENT TERM IS NOT ACCEPTABLE, SUCH TENDERS ARE LIABLE FOR REJECTION.

e) Payment will be made after receipt & acceptance of materials at site. ADVANCE PAYMENT/Payment against Proforma Invoice will not be made.

f) The bidder shall remit EMD through e-portal or furnish NSIC for EMD exemption. The bidder who has only MSME but not NSIC shall remit EMD amount in e-portal, as MSME is not considered for EMD exemption.

g) L1 agency shall supply the materials as per tender conditions, even if the agency is L1 for one item.

h) Materials shall be delivered within 60 days from the date of clear orders. Beyond that date, penalty will be levied.

i) Please note that complete specification is not entered in e-proc portal due to space constraint, the bidder shall quote as per above specification of items.

SIGNATURE OF THE AGENCY WITH SEAL

JE(M)                      EE(MSP)