| ANNEXURE- I TECHNICAL SPECIFICATIONS - SCOPE: The specifications of MCCB and MPCB are as follows; |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No | Item Code Item Name/Specification | Unit | Required Quantity |  |
| 1 | 823510500B 50A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P50, Range: 50A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S | NUMBERS | 3 |  |
| 2 | 823510600B 63A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P63, Range: 63A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S | NUMBERS | 3 |  |
| 3 | 823510700B 100A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P100, Range: 100A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S | NUMBERS | 5 |  |
| 4 | 823510800B 160A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE2S250MTU3P160, Range: 160A, Braking capacity: 50KA with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S | NUMBERS | 3 |  |
| 5 | 823601300B 6A 3P MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 6, Range: 6A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S | NUMBERS | 5 |  |
| 6 | 823601400B 10A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 10, Range: 10A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S | NUMBERS | 5 |  |
| 7 | 823601500B 17A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, ype: TCMS-32HI 17, Range: 17A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S | NUMBERS | 5 |  |
| 8 | 823601600B 26A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 26, Range: 26A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S | NUMBERS | 5 |  |

QUALITY, MATERIAL AND WORKMANSHIP:

- All the material shall be of best quality and of class suitable for construction of the equipment and shall withstand normal variation of the temperature payload conditions, without disturbance and deterioration or setting up of undue stresses in any part and also without effecting the strength and suitability of the various parts of the equipment for the outdoor work which they have to perform. The material shall be manufactured as per the relevant standards and drawing.

- The bidder shall furnish full description, literature, catalogue etc, of the offered materials.

Test certificates & Material test reports duly signed by authorized authority shall be produced.

Yours Faithfully

For Karnataka Power Corporation Limited

-Sd -

Executive Engineer(P)