Annexure - II

DECLARATION

Sub: Procurement of MCCB and MPCB – reg.,

Ref: T N No : KPCL/2025-26/IND2450/CALL-2                     Date:    .06.2026

***

Preamble: KPCL invites the tender in e-procurement. As per e-procurement portal tender’s evaluation criteria, agency shall quote their rates inclusive of all tax and other loadings / additional on FOR destination basis which considered as landing cost.

All intended bidders / Agencies shall quote accordingly and submit declaration along with technical bid. In case if agency fails to submit the declaration KPCL evaluate the tender as per e-proc and binding on agency if not accepted such agencies EMD liable for forfeiture.

- I / We state that “The Unit rate quoted in e-portal is on FOR destination basis i.e., Inclusive of GST, P&F, Freight and Insurance charges”.

- I / We state that “100% payment only after receipt, verification & test certificate of all the materials at BTPS site”.

- I / We state that the offer is valid for a minimum period of six months (180 days) from the date of opening of Tender document of the bid.

- I / We declared that it has not been subjected to forfeiture of EMD, foreclosure,

or  termination of any contract by KPCL, the Government, or any other utility, and that it has not been blacklisted from participating in any tender by KPCL, the Government, or any other utility in India.

- I / We state that the HSN code for the items offered are as follows;

| SL No | Item Name | Make | HSN Code | % of GST considered in e-portal quoted rates |
| --- | --- | --- | --- | --- |
| 1 | 823510500B 50A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P50, Range: 50A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S |  |  |  |
| 2 | 823510600B 63A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P63, Range: 63A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S |  |  |  |
| 3 | 823510700B 100A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE1S125MTU3P100, Range: 100A, with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S |  |  |  |
| 4 | 823510800B 160A,65KA MCCB C&S Triple Pole MCCB with extendable rotary handle & accessories (Motor duty), Type: CSE2S250MTU3P160, Range: 160A, Braking capacity: 50KA with Short Circuit protection, Aux Contact: 1C/O contact, Make: C & S |  |  |  |
| 5 | 823601300B 6A 3P MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 6, Range: 6A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S |  |  |  |
| 6 | 823601400B 10A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 10, Range: 10A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S |  |  |  |
| 7 | 823601500B 17A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, ype: TCMS-32HI 17, Range: 17A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S |  |  |  |
| 8 | 823601600B 26A, 3P,MPCB Triple Pole MPCB with extendable rotary handle & accessories, Type: TCMS-32HI 26, Range: 26A, 50kA (Icu) with Short Circuit & Overload protection, Aux Contact: 1 C/O, Make: C & S |  |  |  |

- I / We have read the tender documents carefully and diligently and stated that I / We submitted the tender having studied, understood and accepted the full implications of the agreement and supply.

Bidder

(Sign & Seal)