Annexure - II

DECLARATION

Sub: Procurement of AIR PRE HEATER MAIN DRIVE GEAR BOX SPARES

Ref: T N No : KPCL/2026-27/IND                                 Date:    .06.2026

***

Preamble: KPCL invites the tender in e-procurement. As per e-procurement portal tender’s evaluation criteria, agency shall quote their rates inclusive of all tax and other loadings / additional on FOR destination basis which considered as landing cost.

All intended bidders / Agencies shall quote accordingly and submit declaration along with technical bid. In case if agency fails to submit the declaration KPCL evaluate the tender as per e-procurement and binding on agency if not accepted such agencies EMD liable for forfeiture.

- I / We state that “The Unit rate quoted in e-portal is on FOR destination basis i.e., Inclusive of GST, P&F, Freight and Insurance charges”.

- I / We state that “100% payment only after receipt, verification & test certificate of all the materials at BTPS site”.

- I / We state that the offer is valid for a minimum period of six months (180 days) from the date of opening of Tender document of the bid.

- I / We declared that it has not been subjected to forfeiture of EMD, foreclosure, or termination of any contract by KPCL, the Government, or any other utility, and that it has not been blacklisted from participating in any tender by KPCL, the Government, or any other utility in India.

- I / We state that the HSN code for the items offered are as follows;

| SL No | Item Name | Make | HSN Code | % of GST considered in e-portal quoted rates |
| --- | --- | --- | --- | --- |
| 1 | 5230113035 SHAFT,HS 80VBQF213S SHAFT HS WITH BEVEL GEAR (PINION GEAR), 80VBQF213S PART NO:20314500 FOR (33.5- VI-63(75CSG")SMRT, LAP NO-4490 ) , MAKE :LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED :1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP, SERVICE FACTOR : 1.19,CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL APPLICATION : AIR PRE HEATER FOR 700MW BTPS. |  |  |  |
| 2 | 5230113094 BEARING TAPERED ROLLER BEARING TAPERED ROLLER PART NO:E7083965 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL APPLICATION : AIR PRE HEATER FOR 700 MW BTPS MAKE: TIMKEN, SKF, FAG. |  |  |  |
| 3 | 5230113108 CARRIER BEARING-80VBQ213S CARRIER BEARING-80VBQ213S PART NO:20627800 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 4 | 5230113159 PLATE RETAINER-SPIRAL BEVEL PLATE RETAINER-SPIRAL BEVEL PART NO:20345000 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 5 | 5230113167 SCREW CAP SOCKET HEAD U3 APH SCREW CAP SOCKET HEAD PART NO:N9005162 FOR (33.5-VI-63 (75CSG") SMRT, LAP NO-4490 ) |  |  |  |
| 6 | 5230113175 SQUARE COLD DRAWN 1/4"SPL SQUARE COLD DRAWN 1/4"SPL PART NO:E7059537 FOR (33.5-VI-63(75CSG") SMRT,LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 7 | 5230113183 LOCK NUT U3 APH LOCK NUT PART NO:E7058287 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 8 | 5230113205 CARRIER, BEARING-LOWER CARRIER, BEARING-LOWER PART NO:20814300 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700 MW BTPS |  |  |  |
| 9 | 5230113221 CLUTCH FORMSPRAG FSO-600/1.500 CLUTCH FORMSPRAG FSO-600/1.500 PART NO:E7093221 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) MAKE : LUFKIN, MODEL :80VBQ213S, GEARBOX SERIAL NoS : 122440 &122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETHDESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL,APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make: FORMSPRAG/STIEBER GERMAN |  |  |  |
| 10 | 5230113230 SQUARES COLD DRAWN 3/8" SQUARES COLD DRAWN 3/8"" PART NO:E7056959 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 )FOR 700MW BTPS |  |  |  |
| 11 | 5230113264 SHAFT,STUB 80VBQF213S SHAFT,STUB 80VBQF213S PART NO:20331800FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS |  |  |  |
| 12 | 5230113272 PLATE RETAINER-OVER RUNNING "PLATE RETAINER-OVER RUNNING PART NO:20331900 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS |  |  |  |
| 13 | 5230113281 SQUARES COLD DRAWN 1-1/2" "SQUARES COLD DRAWN 1-1/2"" PARTNO:E7056996 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 FOR 700MW BTPS |  |  |  |
| 14 | 5230113302 RING RETAINER-INT,RRT-750 "RING RETAINER-INT,RRT-750 PART NO:E7093882 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 15 | 5230113329 RETAINER, BEARING 80VBQF213S RETAINER, BEARING 80VBQF213S PART NO:20331000 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS |  |  |  |
| 16 | 5230113345 RETAINER BRG 80VBQF213S U3APH RETAINER,BEARING 80VBQF213S PART NO:20331100 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) FOR 700MW BTPS |  |  |  |
| 17 | 5230113426 PUMP OILTUTHILL 4RC2FARH PUMP OILTUTHILL 4RC2 FARH PART NO:E7078367 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 &122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL,APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make : TUTHILL PUMP, TUTHILL CORPORATION, CHENNAI. |  |  |  |
| 18 | 5230113477 FILTER OIL –SCHROEDER "FILTER OIL -SCHROEDER PART NO:E7092363 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) " FOR 700MW BTPS Make: SCHROEDER |  |  |  |
| 19 | 5230113710 BREATHER SPIN ON FLOW EZY INC. "BREATHER SPIN ON FLOW EZY INC. PART NO:E7086273 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) " APH GEARBOX MAKE : HYDROLINE PRODUCT SPECIFICATION : S/E 20 - 10U FOR 700MW BTPS |  |  |  |
| 20 | 5230113736 ELEMENT FILTER U3APH , ELEMENT FILTER PART NO:E7091404 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP, SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL, APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make: SCHROEDER |  |  |  |

- I / We have read the tender documents carefully and diligently and stated that I / We submitted the tender having studied, understood and accepted the full implications of the agreement and supply.

- The bidder shall adhere to the make as per the technical specification and the same is to be declared in Annexure II 'Declaration' for each individual items. The same make will be mentioned in the respective purchase order.

Bidder

(Sign & Seal)