ANNEXURE- I

TECHNICAL SPECIFICATIONS OF AIR PRE HEATER MAIN DRIVE GEAR BOX SPARES

| Sl No | Item Code Item Name/Specification | Unit | Required Quantity |
| --- | --- | --- | --- |
| 1 | 5230113035 SHAFT,HS 80VBQF213S SHAFT HS WITH BEVEL GEAR (PINION GEAR), 80VBQF213S PART NO:20314500 FOR (33.5- VI-63(75CSG")SMRT, LAP NO-4490 ) , MAKE :LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED :1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP, SERVICE FACTOR : 1.19,CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL APPLICATION : AIR PRE HEATER FOR 700MW BTPS. | NUMBERS | 9 |
| 2 | 5230113094 BEARING TAPERED ROLLER BEARING TAPERED ROLLER PART NO:E7083965 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL APPLICATION : AIR PRE HEATER FOR 700 MW BTPS MAKE: TIMKEN, SKF, FAG. | NUMBERS | 2 |
| 3 | 5230113108 CARRIER BEARING-80VBQ213S CARRIER BEARING-80VBQ213S PART NO:20627800 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 3 |
| 4 | 5230113159 PLATE RETAINER-SPIRAL BEVEL PLATE RETAINER-SPIRAL BEVEL PART NO:20345000 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 3 |
| 5 | 5230113167 SCREW CAP SOCKET HEAD U3 APH SCREW CAP SOCKET HEAD PART NO:N9005162 FOR (33.5-VI-63 (75CSG") SMRT, LAP NO-4490 ) | NUMBERS | 10 |
| 6 | 5230113175 SQUARE COLD DRAWN 1/4"SPL SQUARE COLD DRAWN 1/4"SPL PART NO:E7059537 FOR (33.5-VI-63(75CSG") SMRT,LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 9 |
| 7 | 5230113183 LOCK NUT U3 APH LOCK NUT PART NO:E7058287 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 3 |
| 8 | 5230113205 CARRIER, BEARING-LOWER CARRIER, BEARING-LOWER PART NO:20814300 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) FOR 700 MW BTPS | NUMBERS | 3 |
| 9 | 5230113221 CLUTCH FORMSPRAG FSO-600/1.500 CLUTCH FORMSPRAG FSO-600/1.500 PART NO:E7093221 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) MAKE : LUFKIN, MODEL :80VBQ213S, GEARBOX SERIAL NoS : 122440 &122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETHDESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL,APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make: FORMSPRAG/STIEBER GERMAN | NUMBERS | 2 |
| 10 | 5230113230 SQUARES COLD DRAWN 3/8" SQUARES COLD DRAWN 3/8"" PART NO:E7056959 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 )FOR 700MW BTPS | NUMBERS | 9 |
| 11 | 5230113264 SHAFT,STUB 80VBQF213S SHAFT,STUB 80VBQF213S PART NO:20331800FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS | NUMBERS | 4 |
| 12 | 5230113272 PLATE RETAINER-OVER RUNNING "PLATE RETAINER-OVER RUNNING PART NO:20331900 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS | NUMBERS | 4 |
| 13 | 5230113281 SQUARES COLD DRAWN 1-1/2" "SQUARES COLD DRAWN 1-1/2"" PARTNO:E7056996 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 FOR 700MW BTPS | NUMBERS | 2 |
| 14 | 5230113302 RING RETAINER-INT,RRT-750 "RING RETAINER-INT,RRT-750 PART NO:E7093882 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 1 |
| 15 | 5230113329 RETAINER, BEARING 80VBQF213S RETAINER, BEARING 80VBQF213S PART NO:20331000 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) FOR 700MW BTPS | NUMBERS | 1 |
| 16 | 5230113345 RETAINER BRG 80VBQF213S U3APH RETAINER,BEARING 80VBQF213S PART NO:20331100 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) FOR 700MW BTPS | NUMBERS | 1 |
| 17 | 5230113426 PUMP OILTUTHILL 4RC2FARH PUMP OILTUTHILL 4RC2 FARH PART NO:E7078367 FOR (33.5-VI-63(75CSG")SMRT,LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 &122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP,SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL,APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make : TUTHILL PUMP, TUTHILL CORPORATION, CHENNAI. | NUMBERS | 1 |
| 18 | 5230113477 FILTER OIL –SCHROEDER "FILTER OIL -SCHROEDER PART NO:E7092363 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490) " FOR 700MW BTPS Make: SCHROEDER | NUMBERS | 1 |
| 19 | 5230113710 BREATHER SPIN ON FLOW EZY INC. "BREATHER SPIN ON FLOW EZY INC. PART NO:E7086273 FOR (33.5-VI-63(75CSG"")SMRT, LAP NO-4490 ) " APH GEARBOX MAKE : HYDROLINE PRODUCT SPECIFICATION : S/E 20 - 10U FOR 700MW BTPS | NUMBERS | 2 |
| 20 | 5230113736 ELEMENT FILTER U3APH , ELEMENT FILTER PART NO:E7091404 FOR (33.5-VI-63(75CSG")SMRT, LAP NO-4490 ) MAKE : LUFKIN, MODEL : 80VBQ213S, GEARBOX SERIAL NoS : 122440 & 122441, INPUT SPEED : 1500 RPM, SPEED RATIO 100 : 1, SERVICE RATING : 40.2 HP, SERVICE FACTOR : 1.19, CATALOGUE RATING : 48 HP, No. OF STAGES : 4 STAGES, TEETH DESIGN : 1st STAGE SPIRAL BEVEL 2nd,3rd & 4th STAGES ARE SINGAL HELICAL, APPLICATION : AIR PRE HEATER FOR 700MW BTPS Make: SCHROEDER | NUMBERS | 2 |

QUALITY, MATERIAL AND WORKMANSHIP:

- All the material shall be of best quality and of class suitable for construction of the equipment and shall withstand normal variation of the temperature payload conditions, without disturbance and deterioration or setting up of undue stresses in any part and also without effecting the strength and suitability of the various parts of the equipment for the outdoor work which they have to perform. The material shall be manufactured as per the relevant standards and drawing.

- The bidder shall furnish full description, literature, catalogue etc, of the offered materials.

Test certificates & Material test reports duly signed by authorized authority shall be produced.

Yours Faithfully

For Karnataka Power Corporation Limited

-Sd -

Executive Engineer(P)