Annexure - II

DECLARATION

Sub: Procurement of CRITICAL BEARINGS OF AIR PRE HEATER &FAN

Ref: T N No : KPCL/2026-27/IND2670                              Date:    .07.2026

***

Preamble: KPCL invites the tender in e-procurement. As per e-procurement portal tender’s evaluation criteria, agency shall quote their rates inclusive of all tax and other loadings / additional on FOR destination basis which considered as landing cost.

All intended bidders / Agencies shall quote accordingly and submit declaration along with technical bid. In case if agency fails to submit the declaration KPCL evaluate the tender as per e-procurement and binding on agency if not accepted such agencies EMD liable for forfeiture.

- I / We state that “The Unit rate quoted in e-portal is on FOR destination basis i.e., Inclusive of GST, P&F, Freight and Insurance charges”.

- I / We state that “100% payment only after receipt, verification & test certificate of all the materials at BTPS site”.

- I / We state that the offer is valid for a minimum period of six months (180 days) from the date of opening of Tender document of the bid.

- I / We declared that it has not been subjected to forfeiture of EMD, foreclosure, or termination of any contract by KPCL, the Government, or any other utility, and that it has not been blacklisted from participating in any tender by KPCL, the Government, or any other utility in India.

- I / We state that the HSN code for the items offered are as follows;

| SL No | Item Name | Make | HSN Code | % of GST considered in e-portal quoted rates |
| --- | --- | --- | --- | --- |
| 1 | 170001002B BEARING 3203 C3 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 2 | 170002003B BEARING NO. 3307 DOUBLE ROW ANGULAR CONTACT BALL BEARING No.3307 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 3 | 170401001B BEARING NO 4203 DOUBLE ROW DEEP GROOVE BALL BEARING NO 4203 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 4 | 170402003B BEARING NO 4307 DOUBLE ROW DEEP GROOVE BALL BEARING NO: 4307 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 5 | 170602015B BEARING No. 6007MA.C3 S/R DEEP GROVE BALL BEARING No.6007MA.C3 MAKE: FAG-GERMANY |  |  |  |
| 6 | 170602020R BEARING NO. 6202 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 7 | 170602032B BEARING 6203 BEARING 6203 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 8 | 170602032R BEARING 6203 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 9 | 170602095R BEARING 6209 BALL BEARING. .MAKE: SKF/FAG/TIMKEN |  |  |  |
| 10 | 170602160B BEARING NO 6016 SINGLE ROW DEEP GROVE BALL BEARING NO 6016 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 11 | 170602180R BEARING 6018 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 12 | 170603027B BEARING NO. 6206 SINGLE ROW DEEP GROOVE BALL BEARING NO.6206. MAKE: SKF/FAG/TIMKEN /. |  |  |  |
| 13 | 170604051V SKF BEARING 6306 SKF BEARING No. 6306 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 14 | 170604059B BEARING NO: 6301 S/R DEEP GROVE BALL BEARING NO 6301 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 15 | 170604064B BEARING NO 6307 S/R DEEP GROVE BALL BEARING 6307 MAKE: SKF/FAG/TIMKEN |  |  |  |
| 16 | 170604065B BEARING NO 6308 SINGLE ROW DEEP GROOVE BALL BEARING NO.: 6308, MAKE: SKF/FAG/TIMKEN |  |  |  |
| 17 | 170621780V BEARING 6309 SINGLE ROW DEEP GROVE BALL BEARING 6309-2RS1 / C3 HT 51. Type: Concealed; MAKE: SKF/FAG/TIMKEN |  |  |  |
| 18 | 170702002B BEARING 7256 B MP UA ANGULAR CONTACT BALL BRG7256 B.MP.UA FOR ID FAN (SAF 39/21.2-1) MAKE: FAG |  |  |  |
| 19 | 170702003B BEARING 7240 B MP UA ANGULAR CONTACT BALL BRG 7240 B.MP.UA (ITEM NO:11) FOR MAIN BEARING ASSY (H180 N2-D) (DRAWING NO:0-55-334-01240) (PAF 19/11.8-2) FAG-GERMANY MAKE: FAG |  |  |  |
| 20 | 170702004B BEARING 7236 B MP UA ,ANGULAR CONTACT BALL BRG 7236 B.MP.UA (ITEM NO. 08), FOR SHAFT WITH BEARING ASSY H150-L02 (DRAWING NO:0-55-215-01338),(FAF26/12.5- 1) FAG-GERMANY MAKE: FAG |  |  |  |
| 21 | 170804006B BEARING NU 236 E M1 C3 CYLINDERICAL ROLLER BRG NU 236 E.M1.C3 (ITEM NO:09), FOR SHAFT WITH BEARING ASSY H150-L02 (DRAWING NO:0-55-215-01338),(FAF26/12.5- 1) FAG-GERMANY MAKE: FAG |  |  |  |
| 22 | 170804007B BEARING NU 256 E M1 C3 CYLINDERICAL ROLLER BRG NU 256 E.M1.C3 FOR ID FAN (SAF 39/21.2-1) MAKE: FAG |  |  |  |
| 23 | 170804008B BEARING NU 336 M C3 CYLINDERICAL ROLLER BRG NU 336 M.C3 (ITEM NO:12) FOR MAIN BEARING ASSY (H180 N2-D) (DRAWING NO:0-55-334-01240) (PAF 19/11.8-2) MAKE: FAG |  |  |  |
| 24 | 1756010081 BEARING NJ 310 ECP MAKE: SKF/FAG/TIMKEN |  |  |  |

- I / We have read the tender documents carefully and diligently and stated that I / We submitted the tender having studied, understood and accepted the full implications of the agreement and supply.

- QUALITY, MATERIAL AND WORKMANSHIP:

- All the material shall be of best quality and of class suitable for construction of the equipment and shall withstand normal variation of the temperature payload conditions, without disturbance and deterioration or setting up of undue stresses in any part and also without affecting the strength and suitability of the various parts of the equipment for the outdoor work which they have to perform. The material shall be manufactured as per the relevant standards and drawing.

- The bidder shall furnish full description, literature, catalogue etc, of the offered materials. Test certificates &amp; Material test reports duly signed by authorized authority shall be produced.

- The bidder shall furnish only a single make and the same is to be declared in Annexure II 'Declaration' for each individual bearing. The same make will be mentioned in the respective purchase order.

Bidder

(Sign & Seal)