ANNEXURE- I

TECHNICAL SPECIFICATIONS OF CRITICAL BEARINGS OF AIR PRE HEATER &FAN

| Sl No | Item Code Item Name/Specification | Unit | Required Quantity |
| --- | --- | --- | --- |
| 1 | 170001002B BEARING 3203 C3 MAKE: SKF/FAG/TIMKEN | NUMBERS | 10 |
| 2 | 170002003B BEARING NO. 3307 DOUBLE ROW ANGULAR CONTACT BALL BEARING No.3307 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 3 | 170401001B BEARING NO 4203 DOUBLE ROW DEEP GROOVE BALL BEARING NO 4203 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 4 | 170402003B BEARING NO 4307 DOUBLE ROW DEEP GROOVE BALL BEARING NO: 4307 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 5 | 170602015B BEARING No. 6007MA.C3 S/R DEEP GROVE BALL BEARING No.6007MA.C3 MAKE: FAG-GERMANY | NUMBERS | 5 |
| 6 | 170602020R BEARING NO. 6202 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 7 | 170602032B BEARING 6203 BEARING 6203 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 8 | 170602032R BEARING 6203 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 9 | 170602095R BEARING 6209 BALL BEARING. .MAKE: SKF/FAG/TIMKEN | NUMBERS | 10 |
| 10 | 170602160B BEARING NO 6016 SINGLE ROW DEEP GROVE BALL BEARING NO 6016 MAKE: SKF/FAG/TIMKEN | NUMBERS | 8 |
| 11 | 170602180R BEARING 6018 MAKE: SKF/FAG/TIMKEN | NUMBERS | 8 |
| 12 | 170603027B BEARING NO. 6206 SINGLE ROW DEEP GROOVE BALL BEARING NO.6206. MAKE: SKF/FAG/TIMKEN /. | NUMBERS | 10 |
| 13 | 170604051V SKF BEARING 6306 SKF BEARING No. 6306 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 14 | 170604059B BEARING NO: 6301 S/R DEEP GROVE BALL BEARING NO 6301 MAKE: SKF/FAG/TIMKEN | NUMBERS | 10 |
| 15 | 170604064B BEARING NO 6307 S/R DEEP GROVE BALL BEARING 6307 MAKE: SKF/FAG/TIMKEN | NUMBERS | 15 |
| 16 | 170604065B BEARING NO 6308 SINGLE ROW DEEP GROOVE BALL BEARING NO.: 6308, MAKE: SKF/FAG/TIMKEN | NUMBERS | 10 |
| 17 | 170621780V BEARING 6309 SINGLE ROW DEEP GROVE BALL BEARING 6309-2RS1 / C3 HT 51. Type: Concealed; MAKE: SKF/FAG/TIMKEN | NUMBERS | 5 |
| 18 | 170702002B BEARING 7256 B MP UA ANGULAR CONTACT BALL BRG7256 B.MP.UA FOR ID FAN (SAF 39/21.2-1) MAKE: FAG | NUMBERS | 2 |
| 19 | 170702003B BEARING 7240 B MP UA ANGULAR CONTACT BALL BRG 7240 B.MP.UA (ITEM NO:11) FOR MAIN BEARING ASSY (H180 N2-D) (DRAWING NO:0-55-334-01240) (PAF 19/11.8-2)FAG-GERMANY MAKE: FAG | NUMBERS | 2 |
| 20 | 170702004B BEARING 7236 B MP UA,ANGULAR CONTACT BALL BRG 7236 B.MP.UA (ITEM NO. 08), FOR SHAFT WITH BEARING ASSY H150-L02 (DRAWING NO:0-55-215-01338),(FAF26/12.5- 1) FAG-GERMANY MAKE: FAG | NUMBERS | 2 |
| 21 | 170804006B BEARING NU 236 E M1 C3 CYLINDERICAL ROLLER BRG NU 236 E.M1.C3 (ITEM NO:09), FOR SHAFT WITH BEARING ASSY H150-L02 (DRAWING NO:0-55-215-01338),(FAF26/12.5- 1) FAG-GERMANY MAKE: FAG | NUMBERS | 1 |
| 22 | 170804007B BEARING NU 256 E M1 C3 CYLINDERICAL ROLLER BRG NU 256 E.M1.C3 FOR ID FAN (SAF 39/21.2-1) MAKE: FAG | NUMBERS | 1 |
| 23 | 170804008B BEARING NU 336 M C3 CYLINDERICAL ROLLER BRG NU 336 M.C3 (ITEM NO:12) FOR MAIN BEARING ASSY (H180 N2-D) (DRAWING NO:0-55-334-01240) (PAF 19/11.8-2)MAKE: FAG | NUMBERS | 2 |
| 24 | 1756010081 BEARING NJ 310 ECP MAKE: SKF/FAG/TIMKEN | NUMBERS | 5 |

QUALITY, MATERIAL AND WORKMANSHIP:

- All the material shall be of best quality and of class suitable for construction of the equipment and shall withstand normal variation of the temperature payload conditions, without disturbance and deterioration or setting up of undue stresses in any part and also without effecting the strength and suitability of the various parts of the equipment for the outdoor work which they have to perform. The material shall be manufactured as per the relevant standards and drawing.

- The bidder shall furnish full description, literature, catalogue etc, of the offered materials.

Test certificates & Material test reports duly signed by authorized authority shall be produced.

Yours Faithfully

For Karnataka Power Corporation Limited

-Sd -

Executive Engineer(P)