## S.Bhawan
NIT…12 /2026-27
|  | GROUP NO |  | 2 | [8 empty] | 118
BILL OF QUANTITY
NAME OF WORK-Stage renovation work at Gandhi stadium in NAGAR NIGAM BEGUSARAI
| BOQ AMOUNT |  |  | 3482997.4175 | [8 empty] | 0
COST OF BOQ
BID PROCESSING FEE
TIME OF COMPLITION
S.N. | SOR | Description | [6 empty] | Qty. | Unit | Rate | Amount
1 | 2.8.1 | Earth work in excavation in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottom. Lift upto 1.5m including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50m. All kind of soil as per specification and direction of E/I.
[9 empty] | 61.31 | cum | 360.7 | 22114.517
2 | 2.28 | Supplying and Filling in plinth with local sand and under floors including, watering, ramming consolidating and dressing complete.
[9 empty] | 44.32 | cum | 287.3 | 12733.136
3 | 11.72 | Providing designation 100 A one brick flat soling joints filled with local sand including cost of watering, taxes, royalty all complete as per building specification and direction of E/l,
[9 empty] | 66.54 | sqm | 283.3 | 18850.782
4 | 4.1.3 | Providing and laying in position cement concrete of specified grade exluding the cost of centring and shuttering-all work upto plinth level.1:2:4 (1 Cement: 2 coarse sand : 4 graded stone aggregate 40 mm nominal size)
[9 empty] | 72.58 | cum | 3998.1 | 290182.098
5 | 5.2.2 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, inishing and reinforcement-All work upto plinth level in 1:1:5:3(1 cement: 1.5 coarse sand:3 graded stone aggregate 20 mm nominal size)
[9 empty] | 25.48 | cum | 5670 | 144471.6
7 | 5.3 +5.2.2 -5.2.3 | Reinforced cement conrete work in beams, suspended floors, roofs having slope upto 15, landings,balconiec, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centring, shuttering, finishing and reinforement with 1:1.5:3(1 cement:1.5 coarse sand:3 graded stone aggregate 20 mm nominal size).
[9 empty] | 34.4 | cum | 5791.8 | 199237.93
8 | 6.1.14A | Brick work with bricks of class designation 100A in foundations and plinth in :Cement mortar 1 .:6(1 cement: 6 coarse sand )
[9 empty] | 10.11 | cum | 4819.9 | 48729.189
9 | 6.1.14A+6.3A | Brick work with bricks of class designation 100A in foundations and plinth in : Cement mortar 1:6 (1 cement: 6 coarse sand ) Extra for Brick work in superstructure above plinth level upto floor V
|  | PARAPET | 0 | 60 | 0.833 | 1 | 0 | cft
|  | Net Qty |  |  |  |  | 0 | cft | 0 | cum | 5662.1 | 0
11 | 5.9.1 | Centring and shuttering including strutting,propping etc. and removal of form for.Foundations, footings, bases of columns etc. for mass concrete
[9 empty] | 72.73 | sqm | 211.6 | 15389.668
12 | 5.9.5 | Centring and shuttering including strutting,propping etc. and removal of form for.Lintels, beams, plinth bams, griders, bressumers and contilevers.
[9 empty] | 34.491 | sqm | 404.7 | 13958.5077
15 | 5.9.6 | Centring and shuttering including strutting,propping etc. and removal of form for Columns,Pillars, Piers, Abutments, Posts and Struts
[9 empty] | 20.06 | sqm | 494.4 | 9917.664
16 | 13.11.1+13.36.1 | 12 mm cement plaster of mix: 1:3 (1 cement:3 coarse sand) with WP material
|  | Over roof | [6 empty] | 83.27 | sqm | 173.3 | 14430.691
17 | 13.24.2 | 6 mm cement plaster to ceiling of mix :1:4(1 cement: 4 coarse sand)
[9 empty] | 64.93 | sqm | 125.6 | 8155.208
21 | 11.3.1 | Cement concrete flooring 1:2:4(1 cement:2 coarse:sand:4 graded stone agregate) finished with a floating coat of neat cement including cement slurry, etc. but excluding the cost of nosing of steps etc. complete.40 mm thick with 20 mm nominal size stoneaggregate
[9 empty] | 74.35 | sqm | 289.1 | 21494.585
23 | 11.36 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS : 15622 (Thickness to be specified by the manufacture) of approved make in all colours, shades except burgundy , bottle green , black of any size as approved by Engineer-in-charge in skirting , risers of steps and dados over 12 mm thick bed of cement Motar 1:3(1 cement: 3 coarse sand ) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with pigment of matching shade complete.
[9 empty] | 30.11 | sqm | 795 | 23937.45
24 | 8.1.1.2 | Providing and laying marble flooring of 18 mm thick laid on 20 mm thick Cement motar 1:3 (1 cement: 3coarse sand) including pointing the joints with white cement and matching pigment etc., complete.
[9 empty] | 487.08 | sqm | 3028.4 | 1475073.072
25 | 10.32.2 | Steel work welded in built up sections/framed worK including cutting hoisting, rixing in position and applying a priming coat of approved steel primer using structural steel, etc. as required. In gratings, frames, guard bar, ladders, railings, brackts gates & similar works.
[9 empty] | 1637.5 | kg | 114.6 | 187657.5
26 | 10.5.1 | Providing and fixing 1 mm thick M.S. sheet door with frame of40x40x6 mm angle iron and 3mm MS gusset plates at the junction and corners.all necessary fittings complete jncluding applying a priming coat of approved steel primer.Using flats 30x6 mm for diagonal braces and central cross piece.
[9 empty] | 3.76 | sqm | 3653 | 13735.28
32 | 10.18 | Providing and fixing circular/hexagonal cast iron or M.S sheet box for ceiling fan | [6 empty] | 32 | No. | 165.4 | 5292.8
33 | 13.79.1 | Finishing walls with water proofing cement paint of approved brand and manufacture and of required shade to give an even shade New work (three or more coats
|  | Qty vide item no 17, 18 & 19 | [6 empty] | 148.2 | sqm | 81.2 | 12033.84
35 | 5.22.7B | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete.Thermo-Mechanically Treated bars TMTC-500-
[9 empty] | 5964.07 | kg | 92.6 | 552272.882
36 |  | Carraige cost of materials (lead is source to site)
|  |  | (a) Stone Chips |  | 595.36 | 7033.583 | 28.6KM |  | 118.14 | cum | 2243.7 | 265070.718
|  |  | (b) Coarse Sand |  | 175.8 | 1345.2216 | 148.4 |  | 76.52 | cum | 336.16 | 25722.9632
|  |  | (c) Local Sand |  | 141.85 | 642.8642 | 1k+2p |  | 45.32 | cum | 1450.66 | 65743.9112
|  |  | (d) Bricks |  | 45 | 315 | 1k+7p |  | 7 | 1000 nos | 1300.55 | 9.1038
|  |  | (e) Cement |  |  |  | 0K+5P |  | 54.24 | MT | 506.09 | 27450.3216
[5 empty] | total for sf amt | 9336.6688 |  | Total carriage Amt. |  | 383997.0179
[5 empty] | SUB TOTAL | [6 empty] | 3473665.4175
[6 empty] | calculated sf charge 10% | [5 empty] | 9337
[9 empty] | G .Total |  |  | 3482997.4175
.
Technical assistant/ Junior Engineer
Banma Ithari (Saharsa)

## Map
0
Panchayat Block : District:-
COMMUNITY HALL
|  |  |  | W/V | [5 empty] | W/V | [9 empty] | W/V
ROOM 18'6"x13'6'
| W/V | [23 empty] | W/V
Hall
27'0''x15'0''
| W/V | [23 empty] | W/V
|  | D | [20 empty] | D2
| G | [7 empty] | D1
W C
V
3'6''x4'9''
[5 empty] | 11'10''x10'0'' | [5 empty] | 10'0"x10'0"
O.T.
W C
[19 empty] | D2 | [5 empty] | V
3'6''x4'9''
|  | G | [9 empty] | W/V
step 1
step 2
step 3
|  |  | step 4 |  |  |  | 5'10" |  | PLAN
step 5
step 6
step 7
8'0"
D - 3'6"X7'0"
D1 - 3'0"X7'0"
|  | D2 - 2'6"X7'0" | [15 empty] | 3'0"
W - 3'0"X4'0"
2'0"
|  | V - 1'6"X1'0" | [14 empty] | 0'6"
7'0"
[13 empty] | P | [5 empty] | L
0'6"
4'0"
[13 empty] | G | [5 empty] | L
0'6"
3'6"
0'9"RCC(1:1.5:3)
0'3"PCC(1:2:4)
B. F. SOLING
2'8"
C - Section
J.E.

## sanitary
Sanetary & water supply
1 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.
| 18.7.1 | (a) 15mm dia |  |  |  | 18 | M | 172 | 3096
| 18.7.2 | (b) 20mm dia |  |  |  | 18 | M | 233.9 | 4210
| 18.7.3 | (c) 25mm dia |  |  |  | 19 | M | 317.3 | 6029
2 |  | Providing and fixing gun metal valve (gate) with C.I. Wheel of approved Quaility do-do All Com. job.
| 18.17.1 | (a) 25mm dia |  |  |  | 5 | Each | 532.3 | 2662
3 | 18.49 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : |  |  |  | 4 | Each | 434.2 | 1737
4 | 18.52.1 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 15 mm nominal bore |  |  |  | 4 | Each | 594.8 | 2379
5 | 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  |  |  | 500 | Leter | 9.7 | 4850
6 | 24.4 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge.
| 24.4.4 | 50 mm nominal size dia |  |  |  | 15 | M | 354.9 | 5324
8 | 24.15 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). |  |  |  | 1 | Each | 228.3 | 228
10 | 18.45 | Providing and placing in position hand pump of approved quality for 40 mm diameter G.I. pipe complete with all |  |  |  | 1 | Each | 1084.6 | 1085
11 |  | Provision for Electric Moter with all accessories & fitting etc. |  |  |  | 1 | nos | 5000 | 5000
13 |  | Supplying & fixing following size ISI marked PVC conduit with accessories in recess including cuting of wall and making good the same as required.
| 1.21.1 | (a) 20 mm dia |  |  |  | 12 | M | 55 | 660
| 1.21.2 | (b) 25 mm dia |  |  |  | 12 | M | 69 | 828
[6 empty] | total |  |  | 38088
|  |  | less c.p 13.04 % on all item except extra cost | [5 empty] | -4966.6752
[8 empty] | Total | 33121.3248
[8 empty] | Say | 33100
Technical assistant/ Junior Engineer
Banma Ithari (saharsa)

## electric eee
DETAILED ESTIMATE FOR ELECTRIFICATION WORKS
SR | SOR |  | Particular |  | Qty | Rate | Unit | Amount
1 | 1.1 | Wiring for light point/fan/exhuast fan/call bell point with 1.5 sq.mm pvc insulated copper cond.single core cable in surface/ recessed pvc conduit with piano type switch phenolic laminated sheet suitable size pvc/G.I.box as reqd.
|  | 1.1.3 | Group-C |  | 8 | 624.4 | p/pt | 4995.2
2 | 1.5 | Wiring for power plug with 2x4 sq.mm PVC insulated copper cond.single core cable in surface/recessed PVC conduit along with 1 No.4 sq.mm PVC insulated copper cond;single core cable for loop earthing as reqd. |  |  | 8 | 179.5 | P/mtr | 1436
3 | 1.3 | S/F suitable size G.I.PVC box on surface or in recess with phenolic laminated sheet cover in front in including P/F 6 pin 15/16 amps.socket outlet and 15/16 amps piano type switch connection painting etc.as reqd. |  |  | 8 | 257.9 | Each | 2063.2
4 | 1.23.1 | S/F/F 5/6 amps one way switch piano type on the existing switch box/cover including connection as reqd. |  |  | 12 | 36.3 | Each | 435.6
5 | 1.23.4 | S/F/F 6 amps. 5 pin socket outlet on the existingswitch box/cover including connection etc.as reqd. |  |  | 8 | 47.6 | Each | 380.8
6 | 1.7 | Wiring for circuit/submain wiring along with earth wire with PVC insulated copper cond.single core cable in surface / recessed PVC conduit as reqd.
|  | 1.7.1 | 2x 1.5 sq.mm + 1 x 1.5 sq.mm |  | 12 | 118.7 | p/mtr. | 1424.4
|  | 1.7.2 | 2x 2.5 sq.mm + 1x 2.5 sq.mm |  | 12 | 145.6 | p/mtr. | 1747.2
|  | 1.7.4 | 2x6 sq.mm + 1 x 6 sq.mm |  | 5 | 241.1 | p/mtr. | 1205.5
|  | 1.7.5 | 2x10 sq.mm +1 x 10 sq.mm |  | 5 | 337.9 | p/mtr. | 1689.5
|  | 1.7.12 | 4x10 sq.mm + 1x10 sq.mm |  | 0 | 521.5 | P/mtr | 0
7 | 1.33 | S/F 2 pin 5 amps.ceiling rose on the existing iunction box/pvc box including connection as reqd. |  |  | 10 | 38.9 | Each | 389
8 | 1.34 | S/F batten angle holder including connection etc.as reqd. |  |  | 10 | 43.2 | Each | 432
9 | 6.1.33 | Supplying and fixing of following types lamp in the existing electrical fitting/ fixtures etc. as required. 10/12 watt LED lamp |  |  | 10 | 154.5 | Each | 1545
10 | 8.11.4 | Supplying and installation of 300 mm, 230 volt AC Exhaust fan in the existing opening including making good the damage, connection testing, commissioning etc as required. |  |  | 0 | 1287.4 | Each | 0
11 | code No2005+6.1.3 | S/F 4'x 40 watt single box type flourescent tube light fitting including connection with 1.5 sq.mm pvc insulated copper conductor cable etc.as reqd. |  |  | 4 | 359.1 | Each | 1436.4
12 | 1.41 | Installation, testing and commissioning of pre-wired flourescent fitting of all types complete with all accessories and tube etc.directly on ceiling wall,including connection etca s reqd. |  |  | 10 | 81.2 | Each | 812
13 | 8.11.2 | Supply and installation of regular/standared mmodel AC ceiling fan of 1200 mm sweep including wiring the down rods of standard length upto 30 cm with 1.5 sq.mm FR PVC insulated copper conductor etc as required. |  |  | 5 | 1404.6 | Each | 7023
14 | 1.44 | Installation, testing and commissioning of ceiling fan including wiring the down rods of standard length (upto 30cm) with 1.5 sq.mm insulated , copper cond. single core cable etc. as reqd. |  |  | 5 | 82.1 | Each | 410.5
15 | 5.12.3 | Supplying and fixing following Retrofit CFL type street light fitting with sheet aluminium housing, clear acrylic cover and all accessories including Retrofit CFL lamp etc. on pole/building includingconnection with FR PVC insulated copper conductor cable and earthing the body etc. as required. With 85 watt Retofit CFL lamp |  |  | 1 | 1651.2 | Each | 1651.2
18 | 1.37 | S/F Ding Dong call bell suitable for D.C/A.C single phase 230.complete as reqd. |  |  | 1 | 121.5 | Each | 121.5
19 | 2.9 | S/F 3 pole sheet steel MCB distribution board 415V.on surface/ recess complete with copper bus bar, earthbar din bar, detachable gland plate, interconnections phosphatized and powder painted including earthing
|  | 2.9.4 | 4 way (4+ 12) double door, horizontal type |  | 1 | 2093.1 | Each | 2093.1
20 | 2.8 | S/F/F MCB distribution board 240V.on surface recess complete with copper bus bar Din bar, detachable glandplate, inerconnection,phosphatized & powder painted including earthing etc.as reqd.
|  | 2.8.7 | 2+6 way double door |  | 1 | 955.2 | Each | 955.2
21 | 2.12.1 | S/F/F 6-32 amps.MCB 'B' Sereis S.P.miniature circuit breaker suitable for lighting and other loads of following poles in the existing MCB DB.complete with connection testing and commissioning etc.as reqd. |  |  | 5 | 170 | Each | 850
22 | 2.16.2 | S/F/F 63 amps.4 pole 240V.Isolator in the existing MCB DB.complete with connections, testing and commissioning etc.as reqd. |  |  | 3 | 654.2 | Each | 1962.6
23 | 2.15.1 | S/F/F 40 amps.double pole 240V.Isolator in the existing MCB DB.complete with connections, testing and commissioning etc.as reqd. |  |  | 2 | 311.5 | Each | 623
27 | 3.1 | Earthing with G.I.earth pipe 4.5 mtr long, 40mm dia including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc.as reqd. |  |  | 0 | 2842.2 | p/set | 0
28 | 3.7 | S/L 6SWG copper wire at 0.50 meter below ground level for conductor earth electrode including soldering etc. as reqd. |  |  | 0 | 16.4 | p/mtr | 0
Total | [6 empty] | Rs. | 35681.9 | 69100
|  |  |  | less c.p 13.04 % on all item except extra cost |  |  |  | 4652.9198
[6 empty] | say | 31028.9802

## abs
पंचायती राज विभाग , बिहार सरकार
General Abstract of Cost
0
| Name of Scheme:- | #REF!
| 1 | Construction of building |  |  | 0
| 2 | Electrical works |  |  | 31000 | 92.76%
| 3 | PHE works |  |  | 33100
| 4 | Sign board & photography |  |  | 5000
|  | Total |  |  | 69100 |  | 83 | 62.25
|  |  |  | Say | 69100
Technical assistant/ Junior Engineer
Banma Ithari (saharsa)

## Sheet1
Item Desc. | ITEM | Qty. | Steel | Cement | Local Sand | Coarse Sand | Stone Aggregate | Bricks | Fly Ash Bricks
100A brick flat soiling | 11.72 | 66.54 |  |  | 1.0017 |  |  | 2.1465
100A brick edge soiling | 11.73 | 0 |  |  | 0 |  |  | 0
Local sand | 2.28 | 44.32 |  |  | 44.32
PCC 1:2:4 | 4.1.3 | 72.58 |  | 23.2256 |  | 32.2981 | 64.5962
PCC 1:3:6 |  |  |  | 0 |  | 0 | 0
RCC 1:1.5:3 |  | 59.88 |  | 23.952 |  | 25.449 | 50.898
PCC 1:1.5:3 |  |  |  | 0 |  | 0 | 0
WMM | R.C.D 4.14A | [5 empty] | 0
RCC M25 | 5.33A.1 |  |  | 0 |  | 0 | 0
BRICK WORK(1:6) | 6.41A | 10.11 |  | 0.63187 |  | 2.7044 |  | 4.9539
BRICK WORK(1:4) |  |  |  | 0 |  | 0 |  | 0
BRICK WORK(1:6) | 6.41A+6.45A | 0 |  | 0 |  | 0 |  | 0
FLY ASH BRICK WORK(1:4) | 6.1.12C |  |  | 0 |  | 0 |  |  | 0
Half Brick Masonry | 6.45.2 |  |  | 0 |  | 0 |  |  | 0
Half Brick Masonry | 6.18.4B+6.18B |  |  | 0 |  | 0 |  | 0
RCC M25 | 5.33A.2.1+5.33B.1 |  |  | 0 |  | 0 | 0
RCC M25 | 5.33A.2.1+5.33B.1 |  |  | 0 |  | 0 | 0
RCC M25 | 5.33A.2.2+5.33B.1 |  |  | 0 |  | 0 | 0
12 mm Plaster (1:3) |  |  |  | 0 |  | 0
12 mm Plaster (1:6) | 13.11.4 | 83.27 |  | 0.29977 |  | 1.283
12 mm Plaster (1:4) | 13.17.2 |  |  | 0 |  | 0
concrete flooring 1:2:4 | 11.3.1 |  |  | 0 |  | 0 | 0
Pointing 1:3 | 13.56.1 |  |  | 0 |  | 0
18mm Plaster | 13.2 |  |  | 0 |  | 0
6mm Plaster (1:4) | 13.24.2 | 64.93 |  | 0.17765 |  | 0.50022
CC Flooring (1:2:4) | 11.3.1+11.8 | 74.35 |  | 1.264 |  | 1.3234 | 2.6469
Steel |  |  | 0
Tile (1:4) | 11.38 | 487.08 |  | 4.4772 |  | 12.5082
tile (1:3) | 11.36 | 30.11 |  | 0.21625 |  | 0.45105
TILE | 11.21.1.1 |  |  | 0 |  | 0
dry brick pitching | 16.12.1 | [6 empty] | 0
| Total |  | 0 | 54.2443 | 45.3217 | 76.5175 | 118.1411 | 7.1004 | 0