## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | IGKV | NS | 2026 | 1 | Supplying and installation of outdoor type Transformer ONAN type with copper winding having following continuous KVA rating, 33 /0.415 KV 3 Phase 50 Hz Vector group DYn-11, (Online tap changer) tapings in steps of ± 2.5%, ± 5%, --7.5% with oil conservator, silica gel breather having connecting terminals on HV side suitable for bare conductor/HT cable connection, cable end box on medium voltage side suitable for 1.1 KV single core UG cable(upto 300 sq mm)/bus ducting arrangment and confirming to IS:1180 Part-2 Level 3 on existing Brick /CC/RCC platform with all fittings, accessories, filled with filtered transformer oil including testing and commissioning etc. complete as per specification 630 KVA | EACH | 1 | 1 | 1
2 | IGKV | NS | 2026 | 2 | Supplying and laying following sizes one number FRLS PVC insulated /XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade in existing RCC/ HUME/ STONEWARE/ METAL/ HDPE pipe as per specification, IS: 1554 (1988, Part 1) / IS: 7098 (1988, Part 1).3.5C x 300 sq. mm. | meter | 1 | 60 | 60
3 | IGKV | NS | 2026 | 3 | Supplying and making end termination with brass compression gland and aluminum lugs for following size armoured aluminum conductor power cable of 1.1 KV grade as required.3.5C x 300 sq. mm. (63 mm) | EACH | 1 | 16 | 16
4 | IGKV | NS | 2026 | 4 | Providing and erecting floor mounted sand/ water bucket stand for keeping 4 nos. of fire bucket, 1500 mm in length and 900 mm in height made out of 30 X 30 X 4 mm angle iron welded with 4 hooks and duly painted with one coat of zinc cromate primer and 2 coat of synthetic enamel paint of post box red colour etc complete. | EACH | 1 | 1 | 1
5 | IGKV | NS | 2026 | 5 | Supplying G.I. Fire buckets with round bottom having at least 9 lit. capacity duly painted with one coat of zinc cromate primer and 2 coat of synthetic enamel paint of post box red colour and filled with dry sand and kept on provided wall hook or stand etc complete. | EACH | 1 | 4 | 4
6 | IGKV | NS | 2026 | 6 | Supply and laying SMC chequere plate in size 1m x 1m x 2.5mm (thick) to withstand 22 KV Electrical stress near LT or 11 KV HT panel etc complete. | Sq.mtr | 1 | 4 | 4
7 | IGKV | NS | 2026 | 7 | Supplying and spreading hard stone aggregate 25mm size in out door switch yards as per direction of Engineer-in-charge. | cum | 1 | 20 | 20
8 | IGKV | NS | 2026 | 8 | Filling hard moorum in foundation or under floor in layers including ramming and watering. | cum | 1 | 50 | 50
9 | IGKV | NS | 2026 | 9 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal and salt as per specification. | SET | 1 | 4 | 4
10 | IGKV | NS | 2026 | 10 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe, with charcoal and salt as per specification and IS Code 3043: 1987(R 2016) | SET | 1 | 3 | 3
11 | IGKV | NS | 2026 | 11 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe, with charcoal and salt as per specification. | SET | 1 | 3 | 3
12 | IGKV | NS | 2026 | 12 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including soldering, excavation and refilling the trench etc. as per specification. | meter | 1 | 65 | 65
13 | IGKV | NS | 2026 | 13 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as per specification. | meter | 1 | 75 | 75
14 | IGKV | NS | 2026 | 14 | Providing and fixing approved make, Electrically Operated, draw out type, 415/500 volts, 4 pole air circuit breaker complete with all standard accessories as per manufacturers specifications including drilling holes on the board, connections, earthing the body, testing and commissioning etc. as per specification and Ics = Icu = Icw for 1 second, IS/IEC: 60898.1250 amps, 4 pole, 50 KA | EACH | 1 | 2 | 2
15 | IGKV | NS | 2026 | 15 | Supplying and erecting chain link mesh fencing for electric sub-station switch yard of 2.5 m approx. height from ground level using angle iron size 50 X 50 X 6 mm erected in C.C. foundation 15 X 15 X 40 cm deep at every 2 metre fitted with flat iron support of size 25 X 6 mm on top, bottom and mid way and chain link mesh 50 x 50 mm aparture and 4 mm dia G.I. hard wire securing and screwing with 2mm dia G.I. wire, G.I. staples, G.I.U-nails or steel pins to the angle iron at every distance of 30 cms, by iron studs complete duly painted with one coats of red oxide and two coats of approved colour paint. (Area of fencing i.e. height x length is to be measured) | Sq.mtr | 1 | 80 | 80
16 | IGKV | NS | 2026 | 16 | Supplying and erecting MS gate of approx. size 2.0 m (W) x 2.0 m (H) in two laps for electric sub-station switch yard fencing frame made of angle iron size 50 X 50 X 6 mm on top bottom and sides fitted with flat iron support of size 25 X 6 mm on mid way horizontaly and square bar of size 8 mm at every 100mm vertically including 3 sets of heavy duty MS hinges and aldrop complete duly painted with one coats of red oxide and two coats of approved colour paint. | Sq.mtr | 1 | 4 | 4
17 | IGKV | NS | 2026 | 17 | ABC Fire Extinguisher 4KG Nitrogen Store Pressure As per IS: 15683:2018 Body Sheet Not Less Then 2mm Thickness, CE Mark NRV Valve With ABC Powder 90% UL 299 FIRE RATING: 2A, 89B. With all accessories. | EACH | 1 | 2 | 2
18 | IGKV | NS | 2026 | 18 | CO2 type Fire Extinguisher ISI marked confirming to IS:15683:2018 Capacity 4.5Kg. INITIAL CHARGE:- Carbon dioxide used in extinguishers shall comply with IS 15222. FIRE RATING:- 55B. Complete with Hose Assembly and horn , locking arrangement, operation manual, bracket with two screw and sleeve | EACH | 1 | 2 | 2
19 | IGKV | NS | 2026 | 19 | Construction of plinth for ,Transformer in RCC including excavation, laying of PCC, neatly dressed, plastered, supply of all materials as required for completeness, as per attached specification/ drawing, CSPDCL standards and direction of EIC. | cum | 1 | 60 | 60
20 | IGKV | NS | 2026 | 20 | Supply assembly,Erection testing and commissioning of two pole structure for transformer substation complete with 2 nos H beam pole 152x152 mm, 11 mtr long painted with aluminium paint necessary Civil work ,3 Nos heavy duty Lightening arrester for 3 wire, 33 KV overhead lines with rated voltage 30 KV (rms) with a nominal discharge current rating of 10 KA (station class),01 No.33 KV gang operated air break switch complete with Operting Handle pipe/pad ect as required, 1 set 33 KV D.O. fuse unit for two pole structure with insulators and all other accessories complete, 01 set 33 KV glazed porcelain disc type insulator with tension hardware ,pin insulators 1 set with GI pin tec as required .The structure should complete with cross arm(minimum X-section 100 mm x 50 mm)clamp nut bolts & other accessories hardware necessary anticlimbing device etc. as required as per CSPDCL specification. | SET | 1 | 1 | 1
21 | IGKV | NS | 2026 | 21 | Supply & Erection of Raccoon 6/1/4.09mm dia with calculated aluminium area 78.83 sq.mm , ACSR conductor from MEDP to first insulator & upto transformer , HT bushing termination through G.O Switch, DO switch & Lightenting Arester tec Including binding as required | 1 Job | 1 | 1 | 1
22 | IGKV | NS | 2026 | 22 | Sub Station Liasioning work for getting HT connection from CSPDCL including preparation of electrical drawing / necessary approval from Electrical Insepector , submission of test report,Inspection of substation & getting permission to charge the Subsatation.(33 KV Transformer 1 x 800 KVA ) | 1 Job | 1 | 1 | 1
23 | IGKV | NS | 2026 | 23 | Fabrication and Installation of CRCA Metal Sheet Control panels with all necessary fittings and accessories including Ammeter , Voltmeter , Busbars ,1000 Amps MCCB- 1 Nos , 800 Amps MCCB- 4 Nos, 600 Ampere MCCB - 4 Nos , 1000 Ampere change over switch - 1 Nos | 1 Job | 1 | 1 | 1
24 | IGKV | NS | 2026 | 24 | Miscellaneous Civil works including fencing on all sides , building foundations, gates , earthing pits water supply lines ,mooroum filling and brick work of height upto 6 foot shed construction etc complete | 1 Job | 1 | 1 | 1
25 | [8 empty] | 0
26 | [8 empty] | 0
27 | [8 empty] | 0
28 | [8 empty] | 0
29 | [8 empty] | 0
30 | [8 empty] | 0
31 | [6 empty] | ` |  | #VALUE!
32 | [8 empty] | 0
33 | [8 empty] | 0
34 | [8 empty] | 0
35 | [8 empty] | 0
36 | [8 empty] | 0
37 | [8 empty] | 0
38 | [8 empty] | 0
39 | [8 empty] | 0
40 | [8 empty] | 0
41 | [8 empty] | 0
42 | [8 empty] | 0
43 | [8 empty] | 0
44 | [8 empty] | 0
45 | [8 empty] | 0
46 | [8 empty] | 0
47 | [8 empty] | 0
48 | [8 empty] | 0
49 | [8 empty] | 0
50 | [8 empty] | 0
51 | [8 empty] | 0
52 | [8 empty] | 0
53 | [8 empty] | 0
54 | [8 empty] | 0
55 | [8 empty] | 0
56 | [8 empty] | 0
57 | [8 empty] | 0
58 | [8 empty] | 0
59 | [8 empty] | 0
60 | [8 empty] | 0
61 | [8 empty] | 0
62 | [8 empty] | 0
63 | [8 empty] | 0
64 | [8 empty] | 0
65 | [8 empty] | 0
66 | [8 empty] | 0
67 | [8 empty] | 0
68 | [8 empty] | 0
69 | [8 empty] | 0
70 | [8 empty] | 0
71 | [8 empty] | 0
72 | [8 empty] | 0
73 | [8 empty] | 0
74 | [8 empty] | 0
75 | [8 empty] | 0
76 | [8 empty] | 0
77 | [8 empty] | 0
78 | [8 empty] | 0
79 | [8 empty] | 0
80 | [8 empty] | 0
81 | [8 empty] | 0
82 | [8 empty] | 0
83 | [8 empty] | 0
84 | [8 empty] | 0
85 | [8 empty] | 0
86 | [8 empty] | 0
87 | [8 empty] | 0
88 | [8 empty] | 0
89 | [8 empty] | 0
90 | [8 empty] | 0
91 | [8 empty] | 0
92 | [8 empty] | 0
93 | [8 empty] | 0
94 | [8 empty] | 0
95 | [8 empty] | 0
96 | [8 empty] | 0
97 | [8 empty] | 0
98 | [8 empty] | 0
99 | [8 empty] | 0
100 | [8 empty] | 0
101 | [8 empty] | 0
102 | [8 empty] | 0
103 | [8 empty] | 0
104 | [8 empty] | 0
105 | [8 empty] | 0
106 | [8 empty] | 0
107 | [8 empty] | 0
108 | [8 empty] | 0
109 | [8 empty] | 0
110 | [8 empty] | 0
111 | [8 empty] | 0
112 | [8 empty] | 0
113 | [8 empty] | 0
114 | [8 empty] | 0
115 | [8 empty] | 0
116 | [8 empty] | 0
117 | [8 empty] | 0
118 | [8 empty] | 0
119 | [8 empty] | 0
120 | [8 empty] | 0
121 | [8 empty] | 0
122 | [8 empty] | 0
123 | [8 empty] | 0
124 | [8 empty] | 0
125 | [8 empty] | 0
126 | [8 empty] | 0
127 | [8 empty] | 0
128 | [8 empty] | 0
129 | [8 empty] | 0
130 | [8 empty] | 0
131 | [8 empty] | 0
132 | [8 empty] | 0
133 | [8 empty] | 0
134 | [8 empty] | 0
135 | [8 empty] | 0
136 | [8 empty] | 0
137 | [8 empty] | 0
138 | [8 empty] | 0
139 | [8 empty] | 0
140 | [8 empty] | 0
141 | [8 empty] | 0
142 | [8 empty] | 0
143 | [8 empty] | 0
144 | [8 empty] | 0
145 | [8 empty] | 0
146 | [8 empty] | 0
147 | [8 empty] | 0
148 | [8 empty] | 0
149 | [8 empty] | 0
150 | [8 empty] | 0
151 | [8 empty] | 0
152 | [8 empty] | 0
153 | [8 empty] | 0
154 | [8 empty] | 0
155 | [8 empty] | 0
156 | [8 empty] | 0
157 | [8 empty] | 0
158 | [8 empty] | 0
159 | [8 empty] | 0
160 | [8 empty] | 0
161 | [8 empty] | 0
162 | [8 empty] | 0
163 | [8 empty] | 0
164 | [8 empty] | 0
165 | [8 empty] | 0
166 | [8 empty] | 0
167 | [8 empty] | 0
168 | [8 empty] | 0
169 | [8 empty] | 0
170 | [8 empty] | 0
171 | [8 empty] | 0
172 | [8 empty] | 0
173 | [8 empty] | 0
174 | [8 empty] | 0
175 | [8 empty] | 0
176 | [8 empty] | 0
177 | [8 empty] | 0
178 | [8 empty] | 0
179 | [8 empty] | 0
180 | [8 empty] | 0
181 | [8 empty] | 0
182 | [8 empty] | 0
183 | [8 empty] | 0
184 | [8 empty] | 0
185 | [8 empty] | 0
186 | [8 empty] | 0
187 | [8 empty] | 0
188 | [8 empty] | 0
189 | [8 empty] | 0
190 | [8 empty] | 0
191 | [8 empty] | 0
192 | [8 empty] | 0
193 | [8 empty] | 0
194 | [8 empty] | 0
195 | [8 empty] | 0
196 | [8 empty] | 0
197 | [8 empty] | 0
198 | [8 empty] | 0
199 | [8 empty] | 0
200 | [8 empty] | 0
201 | [8 empty] | 0
202 | [8 empty] | 0
203 | [8 empty] | 0
204 | [8 empty] | 0
205 | [8 empty] | 0
206 | [8 empty] | 0
207 | [8 empty] | 0
208 | [8 empty] | 0
209 | [8 empty] | 0
210 | [8 empty] | 0
211 | [8 empty] | 0
212 | [8 empty] | 0
213 | [8 empty] | 0
214 | [8 empty] | 0
215 | [8 empty] | 0
216 | [8 empty] | 0
217 | [8 empty] | 0
218 | [8 empty] | 0
219 | [8 empty] | 0
220 | [8 empty] | 0
221 | [8 empty] | 0
222 | [8 empty] | 0
223 | [8 empty] | 0
224 | [8 empty] | 0
225 | [8 empty] | 0
226 | [8 empty] | 0
227 | [8 empty] | 0
228 | [8 empty] | 0
229 | [8 empty] | 0
230 | [8 empty] | 0
231 | [8 empty] | 0
232 | [8 empty] | 0
233 | [8 empty] | 0
234 | [8 empty] | 0
235 | [8 empty] | 0
236 | [8 empty] | 0
237 | [8 empty] | 0
238 | [8 empty] | 0
239 | [8 empty] | 0
240 | [8 empty] | 0
241 | [8 empty] | 0
242 | [8 empty] | 0
243 | [8 empty] | 0
244 | [8 empty] | 0
245 | [8 empty] | 0
246 | [8 empty] | 0
247 | [8 empty] | 0
248 | [8 empty] | 0
249 | [8 empty] | 0
250 | [8 empty] | 0
251 | [8 empty] | 0
252 | [8 empty] | 0
253 | [8 empty] | 0
254 | [8 empty] | 0
255 | [8 empty] | 0
256 | [8 empty] | 0
257 | [8 empty] | 0
258 | [8 empty] | 0
259 | [8 empty] | 0
260 | [8 empty] | 0
261 | [8 empty] | 0
262 | [8 empty] | 0
263 | [8 empty] | 0
264 | [8 empty] | 0
265 | [8 empty] | 0
266 | [8 empty] | 0
267 | [8 empty] | 0
268 | [8 empty] | 0
269 | [8 empty] | 0
270 | [8 empty] | 0
271 | [8 empty] | 0
272 | [8 empty] | 0
273 | [8 empty] | 0
274 | [8 empty] | 0
275 | [8 empty] | 0
276 | [8 empty] | 0
277 | [8 empty] | 0
278 | [8 empty] | 0
279 | [8 empty] | 0
280 | [8 empty] | 0
281 | [8 empty] | 0
282 | [8 empty] | 0
283 | [8 empty] | 0
284 | [8 empty] | 0
285 | [8 empty] | 0
286 | [8 empty] | 0
287 | [8 empty] | 0
288 | [8 empty] | 0
289 | [8 empty] | 0
290 | [8 empty] | 0
291 | [8 empty] | 0
292 | [8 empty] | 0
293 | [8 empty] | 0
294 | [8 empty] | 0
295 | [8 empty] | 0
296 | [8 empty] | 0
297 | [8 empty] | 0
298 | [8 empty] | 0
299 | [8 empty] | 0
300 | [8 empty] | 0
301 | [8 empty] | 0
302 | [8 empty] | 0
303 | [8 empty] | 0
304 | [8 empty] | 0
305 | [8 empty] | 0
306 | [8 empty] | 0
307 | [8 empty] | 0
308 | [8 empty] | 0
309 | [8 empty] | 0
310 | [8 empty] | 0
311 | [8 empty] | 0
312 | [8 empty] | 0
313 | [8 empty] | 0
314 | [8 empty] | 0
315 | [8 empty] | 0
316 | [8 empty] | 0
317 | [8 empty] | 0
318 | [8 empty] | 0
319 | [8 empty] | 0
320 | [8 empty] | 0
321 | [8 empty] | 0
322 | [8 empty] | 0
323 | [8 empty] | 0
324 | [8 empty] | 0
325 | [8 empty] | 0
326 | [8 empty] | 0
327 | [8 empty] | 0
328 | [8 empty] | 0
329 | [8 empty] | 0
330 | [8 empty] | 0
331 | [8 empty] | 0
332 | [8 empty] | 0
333 | [8 empty] | 0
334 | [8 empty] | 0
335 | [8 empty] | 0
336 | [8 empty] | 0
337 | [8 empty] | 0
338 | [8 empty] | 0
339 | [8 empty] | 0
340 | [8 empty] | 0
341 | [8 empty] | 0
342 | [8 empty] | 0
343 | [8 empty] | 0
344 | [8 empty] | 0
345 | [8 empty] | 0
346 | [8 empty] | 0
347 | [8 empty] | 0
348 | [8 empty] | 0
349 | [8 empty] | 0
350 | [8 empty] | 0
351 | [8 empty] | 0
352 | [8 empty] | 0
353 | [8 empty] | 0
354 | [8 empty] | 0
355 | [8 empty] | 0
356 | [8 empty] | 0
357 | [8 empty] | 0
358 | [8 empty] | 0
359 | [8 empty] | 0
360 | [8 empty] | 0
361 | [8 empty] | 0
362 | [8 empty] | 0
363 | [8 empty] | 0
364 | [8 empty] | 0
365 | [8 empty] | 0
366 | [8 empty] | 0
367 | [8 empty] | 0
368 | [8 empty] | 0
369 | [8 empty] | 0
370 | [8 empty] | 0
371 | [8 empty] | 0
372 | [8 empty] | 0
373 | [8 empty] | 0
374 | [8 empty] | 0
375 | [8 empty] | 0
376 | [8 empty] | 0
377 | [8 empty] | 0
378 | [8 empty] | 0
379 | [8 empty] | 0
380 | [8 empty] | 0
381 | [8 empty] | 0
382 | [8 empty] | 0
383 | [8 empty] | 0
384 | [8 empty] | 0
385 | [8 empty] | 0
386 | [8 empty] | 0
387 | [8 empty] | 0
388 | [8 empty] | 0
389 | [8 empty] | 0
390 | [8 empty] | 0
391 | [8 empty] | 0
392 | [8 empty] | 0
393 | [8 empty] | 0
394 | [8 empty] | 0
395 | [8 empty] | 0
396 | [8 empty] | 0
397 | [8 empty] | 0
398 | [8 empty] | 0
399 | [8 empty] | 0
400 | [8 empty] | 0
401 | [8 empty] | 0
402 | [8 empty] | 0
403 | [8 empty] | 0
404 | [8 empty] | 0
405 | [8 empty] | 0
406 | [8 empty] | 0
407 | [8 empty] | 0
408 | [8 empty] | 0
409 | [8 empty] | 0
410 | [8 empty] | 0
411 | [8 empty] | 0
412 | [8 empty] | 0
413 | [8 empty] | 0
414 | [8 empty] | 0
415 | [8 empty] | 0
416 | [8 empty] | 0
417 | [8 empty] | 0
418 | [8 empty] | 0
419 | [8 empty] | 0
420 | [8 empty] | 0
421 | [8 empty] | 0
422 | [8 empty] | 0
423 | [8 empty] | 0
424 | [8 empty] | 0
425 | [8 empty] | 0
426 | [8 empty] | 0
427 | [8 empty] | 0
428 | [8 empty] | 0
429 | [8 empty] | 0
430 | [8 empty] | 0
431 | [8 empty] | 0
432 | [8 empty] | 0
433 | [8 empty] | 0
434 | [8 empty] | 0
435 | [8 empty] | 0
436 | [8 empty] | 0
437 | [8 empty] | 0
438 | [8 empty] | 0
439 | [8 empty] | 0
440 | [8 empty] | 0
441 | [8 empty] | 0
442 | [8 empty] | 0
443 | [8 empty] | 0
444 | [8 empty] | 0
445 | [8 empty] | 0
446 | [8 empty] | 0
447 | [8 empty] | 0
448 | [8 empty] | 0
449 | [8 empty] | 0
450 | [8 empty] | 0
451 | [8 empty] | 0
452 | [8 empty] | 0
453 | [8 empty] | 0
454 | [8 empty] | 0
455 | [8 empty] | 0
456 | [8 empty] | 0
457 | [8 empty] | 0
458 | [8 empty] | 0
459 | [8 empty] | 0
460 | [8 empty] | 0
461 | [8 empty] | 0
462 | [8 empty] | 0
463 | [8 empty] | 0
464 | [8 empty] | 0
465 | [8 empty] | 0
466 | [8 empty] | 0
467 | [8 empty] | 0
468 | [8 empty] | 0
469 | [8 empty] | 0
470 | [8 empty] | 0
471 | [8 empty] | 0
472 | [8 empty] | 0
473 | [8 empty] | 0
474 | [8 empty] | 0
475 | [8 empty] | 0
476 | [8 empty] | 0
477 | [8 empty] | 0
478 | [8 empty] | 0
479 | [8 empty] | 0
480 | [8 empty] | 0
481 | [8 empty] | 0
482 | [8 empty] | 0
483 | [8 empty] | 0
484 | [8 empty] | 0
485 | [8 empty] | 0
486 | [8 empty] | 0
487 | [8 empty] | 0
488 | [8 empty] | 0
489 | [8 empty] | 0
490 | [8 empty] | 0
491 | [8 empty] | 0
492 | [8 empty] | 0
493 | [8 empty] | 0
494 | [8 empty] | 0
495 | [8 empty] | 0
496 | [8 empty] | 0
497 | [8 empty] | 0
498 | [8 empty] | 0
499 | [8 empty] | 0
500 | [8 empty] | 0
501 | [8 empty] | 0
502 | [8 empty] | 0
503 | [8 empty] | 0
504 | [8 empty] | 0
505 | [8 empty] | 0
506 | [8 empty] | 0
507 | [8 empty] | 0
508 | [8 empty] | 0
509 | [8 empty] | 0
510 | [8 empty] | 0
511 | [8 empty] | 0
512 | [8 empty] | 0
513 | [8 empty] | 0
514 | [8 empty] | 0
515 | [8 empty] | 0
516 | [8 empty] | 0
517 | [8 empty] | 0
518 | [8 empty] | 0
519 | [8 empty] | 0
520 | [8 empty] | 0
521 | [8 empty] | 0
522 | [8 empty] | 0
523 | [8 empty] | 0
524 | [8 empty] | 0
525 | [8 empty] | 0
526 | [8 empty] | 0
527 | [8 empty] | 0
528 | [8 empty] | 0
529 | [8 empty] | 0
530 | [8 empty] | 0
531 | [8 empty] | 0
532 | [8 empty] | 0
533 | [8 empty] | 0
534 | [8 empty] | 0
535 | [8 empty] | 0
536 | [8 empty] | 0
537 | [8 empty] | 0
538 | [8 empty] | 0
539 | [8 empty] | 0
540 | [8 empty] | 0
541 | [8 empty] | 0
542 | [8 empty] | 0
543 | [8 empty] | 0
544 | [8 empty] | 0
545 | [8 empty] | 0
546 | [8 empty] | 0
547 | [8 empty] | 0
548 | [8 empty] | 0
549 | [8 empty] | 0
550 | [8 empty] | 0
551 | [8 empty] | 0
552 | [8 empty] | 0
553 | [8 empty] | 0
554 | [8 empty] | 0
555 | [8 empty] | 0
556 | [8 empty] | 0
557 | [8 empty] | 0
558 | [8 empty] | 0
559 | [8 empty] | 0
560 | [8 empty] | 0
561 | [8 empty] | 0
562 | [8 empty] | 0
563 | [8 empty] | 0
564 | [8 empty] | 0
565 | [8 empty] | 0
566 | [8 empty] | 0
567 | [8 empty] | 0
568 | [8 empty] | 0
569 | [8 empty] | 0
570 | [8 empty] | 0
571 | [8 empty] | 0
572 | [8 empty] | 0
573 | [8 empty] | 0
574 | [8 empty] | 0
575 | [8 empty] | 0
576 | [8 empty] | 0
577 | [8 empty] | 0
578 | [8 empty] | 0
579 | [8 empty] | 0
580 | [8 empty] | 0
581 | [8 empty] | 0
582 | [8 empty] | 0
583 | [8 empty] | 0
584 | [8 empty] | 0
585 | [8 empty] | 0
586 | [8 empty] | 0
587 | [8 empty] | 0
588 | [8 empty] | 0
589 | [8 empty] | 0
590 | [8 empty] | 0
591 | [8 empty] | 0
592 | [8 empty] | 0
593 | [8 empty] | 0
594 | [8 empty] | 0
595 | [8 empty] | 0
596 | [8 empty] | 0
597 | [8 empty] | 0
598 | [8 empty] | 0
599 | [8 empty] | 0
600 | [8 empty] | 0
601 | [8 empty] | 0
602 | [8 empty] | 0
603 | [8 empty] | 0
604 | [8 empty] | 0
605 | [8 empty] | 0
606 | [8 empty] | 0
607 | [8 empty] | 0
608 | [8 empty] | 0
609 | [8 empty] | 0
610 | [8 empty] | 0
611 | [8 empty] | 0
612 | [8 empty] | 0
613 | [8 empty] | 0
614 | [8 empty] | 0
615 | [8 empty] | 0
616 | [8 empty] | 0
617 | [8 empty] | 0
618 | [8 empty] | 0
619 | [8 empty] | 0
620 | [8 empty] | 0
621 | [8 empty] | 0
622 | [8 empty] | 0
623 | [8 empty] | 0
624 | [8 empty] | 0
625 | [8 empty] | 0
626 | [8 empty] | 0
627 | [8 empty] | 0
628 | [8 empty] | 0
629 | [8 empty] | 0
630 | [8 empty] | 0
631 | [8 empty] | 0
632 | [8 empty] | 0
633 | [8 empty] | 0
634 | [8 empty] | 0
635 | [8 empty] | 0
636 | [8 empty] | 0
637 | [8 empty] | 0
638 | [8 empty] | 0
639 | [8 empty] | 0
640 | [8 empty] | 0
641 | [8 empty] | 0
642 | [8 empty] | 0
643 | [8 empty] | 0
644 | [8 empty] | 0
645 | [8 empty] | 0
646 | [8 empty] | 0
647 | [8 empty] | 0
648 | [8 empty] | 0
649 | [8 empty] | 0
650 | [8 empty] | 0
651 | [8 empty] | 0
652 | [8 empty] | 0
653 | [8 empty] | 0
654 | [8 empty] | 0
655 | [8 empty] | 0
656 | [8 empty] | 0
657 | [8 empty] | 0
658 | [8 empty] | 0
659 | [8 empty] | 0
660 | [8 empty] | 0
661 | [8 empty] | 0
662 | [8 empty] | 0
663 | [8 empty] | 0
664 | [8 empty] | 0
665 | [8 empty] | 0
666 | [8 empty] | 0
667 | [8 empty] | 0
668 | [8 empty] | 0
669 | [8 empty] | 0
670 | [8 empty] | 0
671 | [8 empty] | 0
672 | [8 empty] | 0
673 | [8 empty] | 0
674 | [8 empty] | 0
675 | [8 empty] | 0
676 | [8 empty] | 0
677 | [8 empty] | 0
678 | [8 empty] | 0
679 | [8 empty] | 0
680 | [8 empty] | 0
681 | [8 empty] | 0
682 | [8 empty] | 0
683 | [8 empty] | 0
684 | [8 empty] | 0
685 | [8 empty] | 0
686 | [8 empty] | 0
687 | [8 empty] | 0
688 | [8 empty] | 0
689 | [8 empty] | 0
690 | [8 empty] | 0
691 | [8 empty] | 0
692 | [8 empty] | 0
693 | [8 empty] | 0
694 | [8 empty] | 0
695 | [8 empty] | 0
696 | [8 empty] | 0
697 | [8 empty] | 0
698 | [8 empty] | 0
699 | [8 empty] | 0
700 | [8 empty] | 0
701 | [8 empty] | 0
702 | [8 empty] | 0
703 | [8 empty] | 0
704 | [8 empty] | 0
705 | [8 empty] | 0
706 | [8 empty] | 0
707 | [8 empty] | 0
708 | [8 empty] | 0
709 | [8 empty] | 0
710 | [8 empty] | 0
711 | [8 empty] | 0
712 | [8 empty] | 0
713 | [8 empty] | 0
714 | [8 empty] | 0
715 | [8 empty] | 0
716 | [8 empty] | 0
717 | [8 empty] | 0
718 | [8 empty] | 0
719 | [8 empty] | 0
720 | [8 empty] | 0
721 | [8 empty] | 0
722 | [8 empty] | 0
723 | [8 empty] | 0
724 | [8 empty] | 0
725 | [8 empty] | 0
726 | [8 empty] | 0
727 | [8 empty] | 0
728 | [8 empty] | 0
729 | [8 empty] | 0
730 | [8 empty] | 0
731 | [8 empty] | 0
732 | [8 empty] | 0
733 | [8 empty] | 0
734 | [8 empty] | 0
735 | [8 empty] | 0
736 | [8 empty] | 0
737 | [8 empty] | 0
738 | [8 empty] | 0
739 | [8 empty] | 0
740 | [8 empty] | 0
741 | [8 empty] | 0
742 | [8 empty] | 0
743 | [8 empty] | 0
744 | [8 empty] | 0
745 | [8 empty] | 0
746 | [8 empty] | 0
747 | [8 empty] | 0
748 | [8 empty] | 0
749 | [8 empty] | 0
750 | [8 empty] | 0
751 | [8 empty] | 0
752 | [8 empty] | 0
753 | [8 empty] | 0
754 | [8 empty] | 0
755 | [8 empty] | 0
756 | [8 empty] | 0
757 | [8 empty] | 0
758 | [8 empty] | 0
759 | [8 empty] | 0
760 | [8 empty] | 0
761 | [8 empty] | 0
762 | [8 empty] | 0
763 | [8 empty] | 0
764 | [8 empty] | 0
765 | [8 empty] | 0
766 | [8 empty] | 0
767 | [8 empty] | 0
768 | [8 empty] | 0
769 | [8 empty] | 0
770 | [8 empty] | 0
771 | [8 empty] | 0
772 | [8 empty] | 0
773 | [8 empty] | 0
774 | [8 empty] | 0
775 | [8 empty] | 0
776 | [8 empty] | 0
777 | [8 empty] | 0
778 | [8 empty] | 0
779 | [8 empty] | 0
780 | [8 empty] | 0
781 | [8 empty] | 0
782 | [8 empty] | 0
783 | [8 empty] | 0
784 | [8 empty] | 0
785 | [8 empty] | 0
786 | [8 empty] | 0
787 | [8 empty] | 0
788 | [8 empty] | 0
789 | [8 empty] | 0
790 | [8 empty] | 0
791 | [8 empty] | 0
792 | [8 empty] | 0
793 | [8 empty] | 0
794 | [8 empty] | 0
795 | [8 empty] | 0
796 | [8 empty] | 0
797 | [8 empty] | 0
798 | [8 empty] | 0
799 | [8 empty] | 0
800 | [8 empty] | 0
801 | [8 empty] | 0
802 | [8 empty] | 0
803 | [8 empty] | 0
804 | [8 empty] | 0
805 | [8 empty] | 0
806 | [8 empty] | 0
807 | [8 empty] | 0
808 | [8 empty] | 0
809 | [8 empty] | 0
810 | [8 empty] | 0
811 | [8 empty] | 0
812 | [8 empty] | 0
813 | [8 empty] | 0
814 | [8 empty] | 0
815 | [8 empty] | 0
816 | [8 empty] | 0
817 | [8 empty] | 0
818 | [8 empty] | 0
819 | [8 empty] | 0
820 | [8 empty] | 0
821 | [8 empty] | 0
822 | [8 empty] | 0
823 | [8 empty] | 0
824 | [8 empty] | 0
825 | [8 empty] | 0
826 | [8 empty] | 0
827 | [8 empty] | 0
828 | [8 empty] | 0
829 | [8 empty] | 0
830 | [8 empty] | 0
831 | [8 empty] | 0
832 | [8 empty] | 0
833 | [8 empty] | 0
834 | [8 empty] | 0
835 | [8 empty] | 0
836 | [8 empty] | 0
837 | [8 empty] | 0
838 | [8 empty] | 0
839 | [8 empty] | 0
840 | [8 empty] | 0
841 | [8 empty] | 0
842 | [8 empty] | 0
843 | [8 empty] | 0
844 | [8 empty] | 0
845 | [8 empty] | 0
846 | [8 empty] | 0
847 | [8 empty] | 0
848 | [8 empty] | 0
849 | [8 empty] | 0
850 | [8 empty] | 0
851 | [8 empty] | 0
852 | [8 empty] | 0
853 | [8 empty] | 0
854 | [8 empty] | 0
855 | [8 empty] | 0
856 | [8 empty] | 0
857 | [8 empty] | 0
858 | [8 empty] | 0
859 | [8 empty] | 0
860 | [8 empty] | 0
861 | [8 empty] | 0
862 | [8 empty] | 0
863 | [8 empty] | 0
864 | [8 empty] | 0
865 | [8 empty] | 0
866 | [8 empty] | 0
867 | [8 empty] | 0
868 | [8 empty] | 0
869 | [8 empty] | 0
870 | [8 empty] | 0
871 | [8 empty] | 0
872 | [8 empty] | 0
873 | [8 empty] | 0
874 | [8 empty] | 0
875 | [8 empty] | 0
876 | [8 empty] | 0
877 | [8 empty] | 0
878 | [8 empty] | 0
879 | [8 empty] | 0
880 | [8 empty] | 0
881 | [8 empty] | 0
882 | [8 empty] | 0
883 | [8 empty] | 0
884 | [8 empty] | 0
885 | [8 empty] | 0
886 | [8 empty] | 0
887 | [8 empty] | 0
888 | [8 empty] | 0
889 | [8 empty] | 0
890 | [8 empty] | 0
891 | [8 empty] | 0
892 | [8 empty] | 0
893 | [8 empty] | 0
894 | [8 empty] | 0
895 | [8 empty] | 0
896 | [8 empty] | 0
897 | [8 empty] | 0
898 | [8 empty] | 0
899 | [8 empty] | 0
900 | [8 empty] | 0
901 | [8 empty] | 0
902 | [8 empty] | 0
903 | [8 empty] | 0
904 | [8 empty] | 0
905 | [8 empty] | 0
906 | [8 empty] | 0
907 | [8 empty] | 0
908 | [8 empty] | 0
909 | [8 empty] | 0
910 | [8 empty] | 0
911 | [8 empty] | 0
912 | [8 empty] | 0
913 | [8 empty] | 0
914 | [8 empty] | 0
915 | [8 empty] | 0
916 | [8 empty] | 0
917 | [8 empty] | 0
918 | [8 empty] | 0
919 | [8 empty] | 0
920 | [8 empty] | 0
921 | [8 empty] | 0
922 | [8 empty] | 0
923 | [8 empty] | 0
924 | [8 empty] | 0
925 | [8 empty] | 0
926 | [8 empty] | 0
927 | [8 empty] | 0
928 | [8 empty] | 0
929 | [8 empty] | 0
930 | [8 empty] | 0
931 | [8 empty] | 0
932 | [8 empty] | 0
933 | [8 empty] | 0
934 | [8 empty] | 0
935 | [8 empty] | 0
936 | [8 empty] | 0
937 | [8 empty] | 0
938 | [8 empty] | 0
939 | [8 empty] | 0
940 | [8 empty] | 0
941 | [8 empty] | 0
942 | [8 empty] | 0
943 | [8 empty] | 0
944 | [8 empty] | 0
945 | [8 empty] | 0
946 | [8 empty] | 0
947 | [8 empty] | 0
948 | [8 empty] | 0
949 | [8 empty] | 0
950 | [8 empty] | 0
951 | [8 empty] | 0
952 | [8 empty] | 0
953 | [8 empty] | 0
954 | [8 empty] | 0
955 | [8 empty] | 0
956 | [8 empty] | 0
957 | [8 empty] | 0
958 | [8 empty] | 0
959 | [8 empty] | 0
960 | [8 empty] | 0
961 | [8 empty] | 0
962 | [8 empty] | 0
963 | [8 empty] | 0
964 | [8 empty] | 0
965 | [8 empty] | 0
966 | [8 empty] | 0
967 | [8 empty] | 0
968 | [8 empty] | 0
969 | [8 empty] | 0
970 | [8 empty] | 0
971 | [8 empty] | 0
972 | [8 empty] | 0
973 | [8 empty] | 0
974 | [8 empty] | 0
975 | [8 empty] | 0
976 | [8 empty] | 0
977 | [8 empty] | 0
978 | [8 empty] | 0
979 | [8 empty] | 0
980 | [8 empty] | 0
981 | [8 empty] | 0
982 | [8 empty] | 0
983 | [8 empty] | 0
984 | [8 empty] | 0
985 | [8 empty] | 0
986 | [8 empty] | 0
987 | [8 empty] | 0
988 | [8 empty] | 0
989 | [8 empty] | 0
990 | [8 empty] | 0
991 | [8 empty] | 0
992 | [8 empty] | 0
993 | [8 empty] | 0
994 | [8 empty] | 0
995 | [8 empty] | 0
996 | [8 empty] | 0
997 | [8 empty] | 0
998 | [8 empty] | 0
999 | [8 empty] | 0
1000 | [8 empty] | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false189688
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Assistant commissionar tribal development sakti (C.G)(ACTDSKT) | ACTDSKT | RES_BUILDING | RESBDG | Per mile | %O
Assistant commissioner tribal department Dantewada(ACTDD) | ACTDD | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | NON SOR | NS | 1000No. | 1000No.
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | WRD | WRD | MAN DAYS | 12345
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | ELECTRIC | ELECT | 1 Box | 1B
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | PMGSY SOR | PMGSY | 1 Piece | 1P
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Bilaspur Smart City Limited(BSCL) | BSCL | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS |  |  | Siemens Per meter | A/V
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW |  |  | Acre | ACR
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | AMC | AMC
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | AMPOULE | AMP
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | As per Tender | APT1
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Activity unit | AU
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Bag | BAG
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | barrel | barrel
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Batch | Batch
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | BHQ | BHQ
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | Book | BK
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | BOTTLE | BOT
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | Box | BOX
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Brass | Brass
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Billing Rate Per Month | BRM
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Bottle | BT
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Bundle | Bundle
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Cubic sentimeter /second | C3S
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Canister | CAN
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Carton | CAR
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Cubic Centimeter | CCM
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Cubic decimeter | CD3
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Centiliter | CL
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | cm | cm
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Centimeter | CM
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Square centimeter | CM2
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | coils | coils
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | COILS | Coils
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | CONE | CONE
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Copies | Copies
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Crate | CRT
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Case | CS
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | cubic feet | cubic feet
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cubic feet (CFT) | cubic feet (CFT)
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cum | cum
Chhattisgarh Transport Department(CTD) | CTD |  |  | cum.km | cum.km
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | Days | DAY
Collectorate Balod(CB) | CB |  |  | Degree | DEG
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | DFLT | DFLT
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | DHQ | DHQ
Department of Good Governance and Convergence(DGGC) | DGGC |  |  | DHQ-BHQ | DHQ-BHQ
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Decimeter | DM
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Drum | DR
Department of School Education (DSE) | DSE |  |  | DRUM | DRUM
Department of Technical Education (DTE) | DTE |  |  | Dozen | DZ
Department of Tribal and Scheduled Caste Manendragarh-Chirmiri-Bharatpur(DTSCMCB) | DTSCMCB |  |  | EACH | EA
Department of Women and Child Development(WCD) | WCD |  |  | each | each
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | EACH | EACH
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | each additional floor | each additional floor
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | Each Courty | Each Court
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | each cut | each cut
Directorate of Archaeology, Archives and Museum(DAAM) | DAAM |  |  | EACH FRAME | EACH FRAME
Directorate of Aviation(DoA) | DoA |  |  | Each rol | Each rol
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | each test | each test
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | each tree guard | each tree guard
Directorate of Culture and Language(DCL) | DCL |  |  | each tree guard | each tree guard
Directorate of Employment and Training(DOEAT) | DOEAT |  |  | Each box | EB
Directorate of Fisheries (DF) | DF |  |  | Enzyme Units / Milliliter | EML
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | Each TAPE | ET
Directorate of Industries(DOI) | DOI |  |  | Enzyme Units | EU
Directorate of Institutional Finance(DIF) | DIF |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | For each PPE KIT | For each PPE KIT
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | For each Test KIT | For each Test KIT
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | For each VTM Kit | For each VTM Kit
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | Fluid Ounce US | FOZ
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Feet | FT
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | Square foot | FT2
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Cubic Foot | FT3
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Gigajoule | FY
District Project Livelihood College Society (DPLCS) Dantewada(DPLCS) | DPLCS |  |  | Gram | G
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | gram act.ingrd /liter | G/L
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | US gallon | GAL
Food and Drug Administration (FDA) | FDA |  |  | Gram Gold | GAU
Forest Department(FD) | FD |  |  | Gram act.ingrd. | GI
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Gram /liter | GLI
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Gram/Mol | GM
Health Department (HD) | HD |  |  | Gram/Kilogram | gm/kg
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gram /square meter | GM2
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram/Cubic meter | GM3
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gigaohm | GOH
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gallons per mile (US) | GPM
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gross | GRO
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Hour | H
Jila Nirman Samiti Narayanpur(JNSN) | JNSN |  |  | Hectare | HA
Jila Sahakari Kendariya Bank Mydt. Raipur(JSKBM) | JSKBM |  |  | hectare | hectare
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Hectoliter | HL
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | hour | hour
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Horse power | HP
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Hours | HR
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Hours | Hrs
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | hundred Pieces | hundred Pieces
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | HALF YEARLY | HY
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | I/O Point | I/O Point
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | INHALER | INH
Livestock Development Department(LDD) | LDD |  |  | Indian Rupees | INR
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | JAR | JAR
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Joule /kilogram | JKG
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | Joule /Mol | JMO
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Job | Job
Mineral Resources Department -Mining (MRD) | MRD |  |  | joint | joint
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Kilogram act.ingrd | KAI
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Kilogram /cubic decimeter | KD3
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | kg | kg
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | Kgs | Kg
OFFICE DISTRICT PROJECT LIVELIHOOD COLLEGE SOCIETY SUKMA DIST (C.G)(ODPLCSCD) | ODPLCSCD |  |  | Kilogram | KG
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Kilogram/Mol | KGM
Office of collector Raigarh(OCR) | OCR |  |  | Kilogram /Second | KGS
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | Kilogram / cubic meter | KGV
Office of District Collector Tribal welfare Department Bijapur(ODCTWDB) | ODCTWDB |  |  | kg act.ingrd /kg | KIK
Office of District Collector, Sarangarh &ndash; Bilaigarh(ODCSB) | ODCSB |  |  | KILOWATT | KILOWATT
Office of Superintendent of Police, District- Mahasamund(OSPM) | OSPM |  |  | KIT | KIT
Office of Superintendent of Police, District-Balod(OSPDB) | OSPDB |  |  | Kilojoule/kilogram | KJK
Office of the Collector Sukma (C.G)(OOCS) | OOCS |  |  | Kilojoule/Mol | KJM
Office of the collector,Bastar (C.G)(OOTCB) | OOTCB |  |  | Kilo Litre | KL
office of the collectrorate Gariyaband(OCGBND) | OCGBND |  |  | Km | Km
Panchayat and Rural Development (PARD) | PARD |  |  | Kilometer | KM
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | km. | km.
Public Health Engineering Department (PHED) | PHED |  |  | Square kilometer | KM2
Public Works Department (PWD) | PWD |  |  | Kilometer/hour | KMH
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Kelvin/Minute | KMN
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Kelvin /Second | KMS
Raipur Collectorate (RC) | RC |  |  | Kilonewton per square meter | KNM
Raipur Development Authority (RDA) | RDA |  |  | Kilopascal | KPA
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilotonne | KT
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilovoltampere | KVA
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | KWH | KWH
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | KILOWATT POWER | KWP
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | kwp-dc | kwp-dc
Rural Engineering Services (RES) | RES |  |  | US Pound | LB
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | lemgth | lemgth
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | length | length
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Liter per 100 km | LHK
State Tax Chhattisgarh(STCG) | STCG |  |  | litre | litre
State Urban Development Agency (SUDA) | SUDA |  |  | Liter /Minute | LMI
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | Liter /Molsecond | LMS
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | LOT | LOT
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Liter Per hour | LPH
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | Lumpsum | LS
Tribal Welfare Department, District Sukma(TWDDS) | TWDDS |  |  | LITRE | LT
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | lumpsump | lumpsump
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Meter | M
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | 1/square meter | M-2
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Mol per cubic meter | M:M
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Megawatt hours | M..
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | M.T. | M.T.
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Meter /Hour | M/H
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Mol per liter | M/L
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Meter /second | M/S
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Square meter | M2
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Square meter/Coat | M2C
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | Square meter/second | M2S
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Cubic meter | M3
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Cubic meter /Hour | M3H
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | Cubic meter/second | M3S
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | Man days | Man days
Tribal Welfare Development Department Khairagarh -Chhuikhadan -Gandai (Collectorate)(TWDDKCG) | TWDDKCG |  |  | Man-Month | Man-Month
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | ManDay | ManDay
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Manmonth | Manmonth
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Mbps | Mb
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | Megajoule | MEJ
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | meter | meter
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | metre | metre
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Milligram | MG
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Milligram/liter | MGL
Urban Administration and Development Department (UADD) | UADD |  |  | Megohm | MGO
Water Resources Department (WRD) | WRD |  |  | Milligram /cubic meter | MGQ
Zila Nirman Samiti Bijapur(ZNSB) | ZNSB |  |  | Megavolt | MHV
Zila Panchayat Dhamtari(ZPD) | ZPD |  |  | Mile | MI
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Per 100 kw per set | P100KW
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per conversation | per conversation
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | Per Hour | Per Hour
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per inch | Per inch
|  |  |  | PER ITEM | PER ITEM
|  |  |  | Per Kg | Per Kg
|  |  |  | PER KL | PER KL
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per Night | Per Night
|  |  |  | per nos | per nos
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | PER POLICY | PER POLICY
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | Per Advisory | PERADV
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | Per HP Per Set | PHPPS
|  |  |  | per Hactare - per year | PHPY
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Per Page Cost | PPC
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Span | Span
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM