INSTRUCTIONS TO BIDDERS AND

GENERAL CONDITIONS OF CONTRACT

TENDER NO. MEIL/2026-27/IND0500

1.0   GENERAL:

  - The Mysore Electrical Industries Ltd., hereinafter called ‘MEI’ will receive   bids in respect of ANNUNCIATOR PANEL SCADA  COMPATIBLE INDOOR SIMPLEX VERTICAL TYPE as set forth in these bidding documents. All bids shall be prepared and submitted strictly in accordance with these instructions.

  - MEI reserves the right to accept any bid or reject any or all bids, cancel/withdraw invitation for bid without assigning any reason for such decision. Such decision by the MEI shall not be subject to question, by any bidder and MEI shall bear no liability whatsoever consequent to such a decision.

  - IMPORTANT NOTE:

The Bidders are requested to upload all the supporting documents wherever required in electronic mode and no hard copies will be accepted/ entertained. Failure to comply with this may result in rejection of their offers.

2.0    SCOPE OF THE PROPOSAL:

The scope of the proposal shall completely cover the ANNUNCIATOR PANEL SCADA  COMPATIBLE INDOOR SIMPLEX VERTICAL TYPE as detailed in Scope. The Scope also covers F.O.R.D at Store/Site in Indian Rupee basis, including packing, forwarding, handling, insurance, documentation, transportation, unloading charges etc.,. In case of  imported equipment, the custom clearance  and all necessary procedures have to be done by the bidder including any financial implications. The bids not covering the entire scope of proposal shall be treated as incomplete and liable for rejection.

- COST OF BIDDING:

All the costs and expenses incidental to preparation and submission of the proposals, discussion and conferences, if any, including pre-award discussions with the successful bidder, technical and other presentations including any demonstrations etc., shall be to the account of the bidders and the MEI shall not be responsible.

4.0    PROJECT / SCHEME INFORMATION:

Requisite information has been provided in technical specifications enclosed. Additional information (wherever required) regarding the tender, location, approach to site, meteorological conditions as prevailing at the site are enclosed with these bid documents wherever applicable.

- LOCAL CONDITIONS:

It will be imperative for each bidder to fully inform himself of all local conditions and factors which may have any effect on the execution of the supplies and services covered under these document and specifications.

- CONTENT OF BIDDING DOCUMENTS:

  - The details of equipment and materials and services required, bidding procedures and contract terms are prescribed in the bidding documents.

  - Any amendment, errata or addendum issued by MEI prior to bid opening shall constitute integral part of the bid.

  - The bidder is expected to examine all instructions, forms, terms and specifications in the bidding documents. Failure to furnish all information required as per the bidding documents, or submission of a bid not substantially responsive to the bidding documents in every respect will be at the bidder’s risk and may result in the rejection of the bid.

- CLARIFICATION OF BIDDING DOCUMENTS:

7.1 	The bidder is required to carefully examine the specifications and documents and fully inform himself as to all the conditions and matters, which may, in any way, affect supplies and services to be provided, and/or the cost thereof. If the bidder finds discrepancies or omissions in the specifications and documents or is in doubt as to the true meaning of any part, he shall at once make a request for an interpretation/clarification.

  - A prospective bidder requiring any interpretation/clarification of bid documents may notify MEI in writing at MEI mailing address indicated in the invitation for bids or through e-procurement portal. MEI then, shall issue interpretations/clarification on bidding documents, which MEI receives not later than the date notified in the e-procurement portal. The clarifications to queries will be published in the e-Procurement portal against the tender. Requests for clarification(s) received after the above mentioned scheduled date will not be entertained.

7.3 	After receipt of such interpretation(s)/clarification(s), the bidder may submit his bid but within the time and date specified for receipt of bids. All such interpretation(s) and clarifications shall form a part of the bid documents.

  - Verbal clarifications and information given by MEI or its employees or its representatives shall not in any way be binding on MEI.

- AMENDMENTS TO BIDDING DOCUMENTS:

  - MEI reserves the right to issue amendments or clarifications to the specifications and documents to all bidders who have purchased the bidding documents giving reasonable time prior to the bid opening for any reason whether at its own initiative or in response to interpretations/clarifications requested by prospective bidder. Such amendments or clarifications shall be given due consideration by the bidders while they submit their bids and the bidders shall invariably upload such documents there on as a part of their bids. All such amendments, clarifications etc., shall be published in e-Procurement portal against the tender. MEI shall bear no responsibility or liability arising out of non-receipt of the same in time or otherwise.

  - In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, MEI may, at its discretion extend the deadline for the submission of bids.

PREPARATION OF BIDS

- LANGUAGE OF THE BID:

The bid prepared by the bidder and all correspondence and documents relating to the bid exchanged by the bidder shall be in the English language. Failure to comply with this will disqualify the bid.

10.0 DOCUMENTS COMPRISING THE BID

10.1	The Bidder shall submit the Electronic Bid sheets inclusive of Price bid(Prices shall be quoted in e-procurement portal only)  Technical Data Requirements etc., furnished in the bidding documents, indicating, for the materials to be supplied and services to be rendered, quantity and prices.

10.2	The Bidder shall also submit documentary evidence to establish that the Bidder meets the Qualifications Requirements as detailed in clause 4.0 of NIT and clause 7 of IFB.

10.3	The bid security shall be furnished in accordance with Clause 15.0 of Section ITB.

- INFORMATION REQUIRED WITH THE PROPOSAL:

  - The bids must clearly indicate the name of the manufacturer, the type, model of  materials.

  - Any bid not containing sufficient descriptive material to describe accurately the equipment proposed may be treated as incomplete and hence rejected. Such descriptive materials and drawings submitted by the bidder will be retained and used by MEI. Any difference from these drawings and descriptive material submitted will not be permitted during the execution of the contract without the specific written permission of MEI.

  - Oral statements made by the bidder at any time regarding quality, quantity or arrangements of the equipment or any other matter shall not be considered.

  - No. Deviation whatsoever, in the following conditions of the bidding documents is permitted.

- Validity of offer.

- Stipulated Delivery Schedule.

- EMD.

- Payment terms.

- Price Basis.

- Guarantee.

- Change in offered quantity against tendered quantity.

- Type Test

- Contract Performance Security.

- Penalty for delay.

Bidders are advised that while making bid proposals and quoting prices these conditions may appropriately be taken into consideration. Bids with deviations on the above are liable to be disqualified.

- BID PRICES:

  - The bidder shall indicate in the price bid(Prices shall be quoted in              e-procurement portal only), the unit exworks prices of the goods, F&I, applicable taxes and duties such as CGST, SGST, UTGST, IGST, Customs duty, cess if any along with the total bid price.

  - Detailed break-up covering all the components of unit prices of CGST, SGST, UTGST, IGST, Customs duty, cess if any as applicable on the date of bid submission as well as total bid prices(Prices shall be quoted in e-procurement portal only).

The bidder shall indicate:

i)	The price of the goods quoted ex-factory/Ex-works/Ex-warehouse as applicable, inclusive of all taxes and duties such as CGST, SGST, UTGST, IGST, Customs duty, cess if any paid or payable on components and raw materials.

- All applicable taxes and duties such as CGST, SGST, UTGST, IGST, Customs duty, cess if any other taxes and duties to be payable by MEI on the goods.

- Void.

- Inland transportation charges including handling charges, loading and unloading and other costs, incidental to delivery of the goods to their final destination and insurance charges has to be paid by the firm.

v)	Void.

  - The prices should be clearly quoted both in figures and words. Incase of divergence of rates in figures and words, the rates most favorable to the Corporation will be considered.

If the rates quoted for material cost, F&I charges or taxes and duties is not clear & is ambiguous the purchaser reserves the right to overlook the offer.

Any variation in the rates etc., will not be allowed on any ground, such as a mistake, misunderstanding etc., after the bid has been submitted.

Bidders shall quote their offers/prices in the item-wise bid financial offer in e-procurement portal only.

If the firm becomes lowest tenderer by virtue of such rates quoted, and does not agree to supply at the quoted rates, the E.M.D of such firm will be forfeited and the firm will be blacklisted.

13.0	PRICE BASIS:

The bidders shall quote “FIRM PRICES” only. The prices should be quoted F.O.R at destination in Indian Rupees inclusive of packing, forwarding, handling, insurance, documentation, installation & commissioning charges etc. and all taxes. In case of  imported goods, the bidder shall quote the total price considering Net F.O.B/F.A.S. value, insurance & freight and clearing/handling charges at the Indian Port, custom clearance and  charges for dispatch up to destination. Custom clearance and all necessary procedures have to be done by the bidder including any financial implications.

14.0	BID CURRENCIES:

The Bidder shall quote only in Indian Rupees only.

15.0	a) In case a bidder withdraws his offer within the offer validity period

specified by the bidder.

  - If the bidder does not accept the arithmetical correction of its Bid Price.

  - In the case of a successful bidder, if  the bidder fails within the specified time limit as mentioned in Letter of intent/ purchase order/contract to furnish the acceptance of contract.

  - In case of a successful bidder, if the bidder fails to submit Performance BG within the stipulated  period mentioned in the LOI as per clause 19 of ITB.

  - PERIOD OF VALIDITY OF BIDS:

  - Bids shall be kept valid for acceptance for a period of 180 days from the date of opening of bids, excluding the date of bid opening. A bid valid for a shorter period will be rejected by MEI as ‘‘NON-RESPONSIVE’.

  - In exceptional circumstances MEI may solicit the bidder’s consent to an extension of the period of the validity. The request and the response there to shall be made in writing (including Cable or Fax or Telex). A bidder may refuse the request, but while granting the request for extension of validity the bidder will not be permitted to modify his bid.

17.0 FORMAT OF BID:

17.1 The bids are invited through e-Procurement only.

17.2 The Techno-commercial bid consists of the following:

    - Techno – Commercial sheets.

    - Data requirement sheets.

  - The price bid consists of the following:

i).  Price bid (Prices shall be quoted in e-procurement portal only).

17.4  A prospective bidder, who wishes to submit the bid shall adopt the following procedure.

          - The bidder shall key in the Techno-commercial sheets and price bid(Prices shall be quoted in e-procurement portal only) and upload them on to the website on or before the time and date indicated in notification. MEI is not responsible for the failure on the part of the bidder for non uploading of tender document to the website on or before the time and date indicated in e-Procurement Portal.

17.5	The following documents are to be sealed in a cover and sent MEI, YESWANTHPUR, BANGALORE – 560022 to the so as to reach after the last submission date & on or before the date & time of opening Techno commercial Bids.

A] Power of attorney.

B] Bank Guarantee (if applicable)

  - SUBMISSION OF BIDS TO MEI:

  - The bidder shall submit the bid through e-procurement portal only. The bidders shall submit all the documentary evidences/supports in respect of qualifying requirements and other requirements through electronic mode only and no hard copies will be accepted except BG portion  earnest money deposit(if applicable) & power of attorney. Failure to furnish the documentary evidences/supports electronically would result in outright rejection of their offers.  The bidder must ensure that the bids are received in e-procurement portal only by the date and time indicated in the invitation of bids. Bids submitted in any other form will not be accepted in any other form.

  - Void

  - In case, MEI at its discretion, extends the dead line for the submission of bids, all right and obligations of MEI and the bidders previously subject to the deadline shall thereafter be subject to the deadline (for submission of bids) as extended.

  - MEI reserves the right to reject any bid, which is not deposited according to the instruction, stipulated above.

  - LATE BIDS

e-Procurement portal automatically locks the tender after the last date and time of receipt of tenders as mentioned in the e-Procurement portal

  - No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity. Withdrawal of a bid during this interval shall result in the Bidder’s forfeiture of its bid security/EMD.

  - Acceptance of Tenders

- MEI does not bind itself to accept the lowest or any tender, neither will any reason be assigned for the rejection of any tender or part tender. The tenderer on his part binds himself to supply any items selected from his offers in part or whole at the option of the MEI

- Disregard of Tender Conditions The Corporation reserves itself the right to reject any tender, which does not conform to any of the above conditions

          - CONTRACT PERFORMANCE GUARANTEE:

19.1 SECURITY DEPOSIT:

Security deposit for an Amount Equivalent to 5.0% of the Contract value which shall be deducted in every running bill for the supply. However, in case of first and final bill the entire security deposit will be deducted from the final bill OR The contractor shall submit security deposit for an amount equivalent to 5% of the contract value in the name of MEIL in the form of BG/DD/FD of any nationalized bank within 30 days of receipt of the Purchase order.

The Security deposit will be refunded after 9 Months from the every running bill.

19.2 AGREEMENT

Successful Tenderer shall enter into an agreement  on a non  judicial  stamp  paper of Rs. 500.00 incorporating the terms and conditions in being part and parcel of the agreement as per the draft agreement   supplied   by the company and submit the same in duplicate duly signed by the bidder along with the security deposit / bank guaranteee.

            - PACKING:

  - The contractor shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to final destination as well as storage till its layout and testing as indicated in the contract. The packing shall be sufficient to withstand, without limitations, rough handling during transit by road, and/or rail and exposure of rain, humidity, extreme temperatures, salt and precipitation during transit and open storage for long durations till the time of laying. Packing case size and weights shall be determined taking into consideration where appropriate, the remoteness of the goods final destination and the transit and the availability of handling facility at all points, availability of the various trucks/trailers for transportation. The MEI shall not entertain any claim whatsoever, in this regard.

  - In case of damage to the equipment and materials due to improper packing, the contractor shall be held responsible for the same and the Contractor shall replace the material by a new one without any extra cost to MEI.

21.0 FORWARDING AND SHIPMENT:

21.1 The contractor shall notify MEI of the date of each dispatch from its works and the expected date of arrival at the site for the information of MEI.

The contractor shall also give all dispatch information concerning the weight, size and content of each package including any other information the MEI may require.

  - The contractor shall prepare detailed packing list of all packages and containers, bundles and loose materials forming each and every consignment dispatched to sites.

  - Demurrage, Wharfage, etc.

All demurrage and other expenses incurred after the equipment and materials reach the site, due to delayed furnishing of dispatch documents or any other reason attributable to the contractor, and shall be to the account of the contractor/supplier.

22.0	ACCEPTANCE OF SUPPLIES

All or any articles supplied against this contract will be subject to the inspection approval of the officer in charge of stores, or any other officer deputed for the purpose. He shall be at liberty to reject any or the whole lot without assigning any reason and his decision in respect of such rejection will be final.

23.0  	INSPECTION :

The supplier shall afford necessary facilities to the Company representative to inspect the material ordered and conduct all routine tests on the material to be delivered to the Company in the presence of the Company representative. The programme of test shall be intimated fifteen days in advance to arrange for deputing the Company representative to be present at the time of conducting the test. The supplier shall offer tendered quantity of materials for inspection.

The requisition letter of “inspection call” from suppliers should be submitted to The Deputy Manager(Proc), The MEI Ltd.,Bangalore-22

Officers deputed for inspection of materials/materials, the expenses should be beared by the bidder only.

Actual To & Fro charges by Air/Train/Bus (as the case may be)

23.1	Type Test Certificates:

The Test certificates as per the relevant IS/IEC/ASTM/BS/EMC etc standards conducted at NABL accredited test house shall be forwarded well in advance, before the dispatch of materials, duly signed by responsible officer of the supplier’s organization for approval. The materials shall be dispatched only after receipt of approval of Test Report.

24.0	Delivery:

As indicated in the delivery schedule (section III of Schedule of Requirement and Desired Deliveries).

25.0 Payment Terms: Within 45 days from the date of receipt of the materials.

The following documents shall invariably be submitted to MEI, for arranging payment.

i)	Invoice (4 copies)

  - Copy of L.R. (4 copies)

  - Packing list (6 copies)

  - Test certificate, wherever applicable

  - Copy of Insurance Certificate.

  - Literatures/operating manual etc.,

26.0	(a) GUARANTEE:

In the event of tender being accepted, the bidder shall guarantee, for satisfactory performance and against failure due to bad  materials/defective or bad workmanship for a period as mentioned in clause 11 of Notification Inviting Tender(NIT).

The guarantee period shall commence from the date of receipt of the equipment in good condition. The guarantee period shall be extended for the period of delay in satisfactory installation and delay in providing guarantee services.

The bidder shall agree to make good or replace at his own cost of any materials that found defect and in case, the equipment has to be carried to the suppliers site for carrying out repairs then the ‘to and fro’ expenses together with the associated expenses shall be borne by the supplier. In such an event the guarantee period shall be extended to an extent for which the equipment was not available to MEI for its use. The responsibility to collect the defective/ rejected material will lie with the supplier and the cost for such collection will have to be borne by the supplier.

If the supplier fails to replace the defective/ failed materials as per above guarantee clause within the stipulated time therein, the MEI reserves the right to extend the guarantee period by a period equivalent to the downtime of the equipment over and above one month.

If the defective/failed materials are not replaced/ repaired as per guarantee clause, MEI shall recover an equivalent amount plus 15% supervision charges from any of the supplier’s bills.

27.0  INSURANCE:

27.1 	The supplying firm shall arrange for the transit insurance of the goods with their own under writers and include the same in the price quoted by them.

27.2	The policy shall be taken out in the name of the supplier and the supplier shall pursue claims with the insurances themselves, in case of shortage/breakages/damages or other claims. The supplier shall however arrange for immediate replacements of materials received short/damaged/broken etc., without waiting for settlement of their insurance claims.

27.3 The ownership and responsibility for the materials rests with the suppliers till  the goods are delivered safely at destination.

28.0  COMPLETENESS OF EQUIPMENT:

The materials shall be supplied complete with all parts which are necessary  for their efficient operation & such parts shall be deemed to be within the scope of supply whether specifically mentioned in the specification or not.

29.0 EQUIPMENT TO CONFIRM TO SPECIFICATION:

Specifications are basic essence of the product. It must be ensured that the offers must be strictly as per our specifications. At the same time it must be kept in mind that merely copying our specifications in the quotation shall not make the parties eligible for consideration of the quotation. A quotation has to be supported with the printed technical leaflet/literature of the quoted model of the item by the bidder and the specifications mentioned in the quotation must be reflected / supported by the printed technical leaflet/literature which shall be uploaded along with the techno commercial bid. Therefore the model quoted invariably be highlighted in the leaflet/literature uploaded with the techno commercial bid. Non-compliance of the above shall be treated as incomplete/ambiguous and the offer can be ignored without giving an opportunity for clarification /negotiation etc. to the bidder.

Deviations if any from the specifications given in Schedule-I, which provides for improvement in the functioning of the equipment will be accepted. Such deviations and their advantages shall be clearly brought out in the tender.

30.0 CHANGE OF QUANTITY:

At the time of award, MEI reserves the right to place the order  to an extent of 25%  on either way out of the total tendered quantity.

31.0	MEI may at any time during the execution of the contract make changes within the general scope by written instructions, in any one or more of the following.

    - Drawing, design or specifications where the goods to be supplied under     the contract are to be specially manufactured for KPTCL.

    - The method of shipment or packing.

    - The place of delivery.

    - The services to be provided by the contractor/supplier

32.0	DELAYS IN THE CONTRACTOR’S PERFORMANCE:

32.1	Delay by the contractor in the performance of the obligations under the contract shall render the contractor liable for any or all the following sanctions: forfeiture of its performance security, imposition of penalty and/or termination of contract for default as detailed hereunder.

32.2	If, at any time during performance of the contract the contractor or its sub-contractor(s) should encounter conditions impeding timely delivery of the goods and for performance of services, the contractor shall promptly notify MEI in writing of the fact of the delay, its likely duration and its cause(s). Upon receipt of the contractor’s request MEI shall evaluate the situation and may, at its discretion extend the time for the performance in which case the extension shall be ratified by an amendment.

33.0	Delay in the supplies

For all delayed deliveries from the periods stipulated in the order either for non supply of part quantities or full quantities, a penalty at the rate of ½% per week subject to a maximum of 10% reckoned on the contract value and  Goods and Services tax at prevailing rate for such complete portion or section of the plant, equipment or materials including the portion supplied which could not be brought into commission due to any part thereof not having been delivered in time will be levied. However, due consideration will be given in the levy of penalty for reasons absolutely beyond the control of the contractor/ supplier (Force Majeure) for which documentary evidence shall invariably be produced to the satisfaction of the competent authority of the Corporation.

The total amount of penalty for delay under the contract shall be subject to a maximum of ten percent (10%) of the total contract price and CGST & SGST /IGST at prevailing rate and the owner has got every right to terminate the contract without any liability if it crosses 10%.

33.1    Recovery of Penalty:

The following procedure shall be adopted for recovery of the penalty amount and Goods and Services Tax at prescribed rate from the supplier for delay in completion of the deliveries/erection:-

a)	Calculate the penalty recoverable from supplier as per purchase order terms and conditions for those supplies/erection delayed beyond contractual delivery period.

b)	Limit the recovery of penalty to 10% of each bill value admitted in case of supply / erection bills.

c)   If the total penalty to be recovered is not fully recovered under Supply/ Erection bills, the balance penalty has to be recovered from any money due to contractor/supplier on bills, or deposits or any account.

In case the delay in deliveries by the supplier is condoned by MEI, penalty levied shall be returned back without any interest to the supplier by the MEI excluding the Goods and Services tax recovered.

34.0   Failure to Supply

Failing to supply as above, DGM(Mtls) P.B.NO.2221, Tumkur Road,Yeswanthpur,Bangaore-22, is at liberty, after giving due written notice to the contractor/supplier to purchase the same or any portion thereof on to the account of and at the risk of the Contractor/supplier and to prefer a claim for the difference in price and for all expenses whatsoever incurred in purchasing the same, which the Corporation is wholly authorized to recover from any money due to contractor/supplier on bills, or deposits or any account.

  - Request for delay condonation by the bidder:-

The bidder shall submit a request for condonation of delay if any within 3 days from the  date of receipt of PO with valid reasons and documentary proof.

Under no circumstances, the request for condonation of delay will be considered if no such request is made by the bidder within 3 days from the  date of receipt of PO.

35.Termination of Contract

The Company shall have the powers:

- To recover from the supplier as agreed by way of penalty clause above and,

- To purchase elsewhere after giving due notice to the contractor, at the cost and risk of the contractor such items/Goods are not so delivered to stores or others of a similar description without canceling the contract in respect of the consignment not yet due for delivery, but the supplier shall not be entitled to any savings on such purchases made against default.

- To cancel the contract.

- Forfeiture of performance security deposit. To forfeit the security deposit if it has been furnished and in case of permanent security deposit in the particular Purchase Order from out of the permanent security deposit.

- To blacklist or not to consider the suppliers future offers for a specified period.

36.0 FORCE MAJEURE:

- For the purposes of this contract “Force Majeure” means, an event which could not reasonably have been avoided by a diligent party in the circumstances, which is beyond the reasonable control of a party and which makes a party’s performance of its responsibilities hereunder impossible or so impractical as reasonable to be considered impossible in the circumstances and includes, but is not limited to, war, riots/civil disorder, earthquake, storm, flood or other adverse weather conditions, strikes, lockouts or other industrial action, electrical failure, confiscation or any other action by Government Agencies.

- Force majeure shall not include any event which is caused by the negligence or intentional action of a party or such party’s sub-contractors or agents or employees, or by a failure to observe good engineering practices.

- Force Majeure shall not include insufficiency of funds of failure to make any payment required hereunder.

37.0	TERMINATION FOR CONVENIENCE:

37.1	MEI may, by written notice sent to the contractor, terminate the contract, in whole or in part, at any time for its convenience. The notice of termination shall specify the termination is for the owner’s convenience, the extent to which performance of supply under the contract is terminated and the date upon which such termination is effective.

37.2	The contractor upon receipt of such notice shall discontinue the supply on the date and to the extent specified in the notice, make all reasonable efforts to obtain cancellation of all orders and the sub contracts to the extent they are related to the supply terminated and upon terms satisfactory to the MEI stop all further sub-contracting or purchasing activity related to the supply terminated and assist the MEI in storage, maintenance and protection, and disposition of the goods acquired under the contract by MEI.

37.3	In the event of such a termination, the contractor shall be paid equitable and reasonable compensation as decided by the circumstances prevalent at the time of termination.

38.0	EFFECT AND JURISDICTION OF CONTRACT:

38.1	The contract shall be considered as having come into force from the date of “Notification of Award” unless otherwise provided in the “Notification of Award”.

38.2 The laws applicable to the contract shall be the law in force in India. The Courts of Bangalore in Karnataka State shall have exclusive jurisdiction in all matters arising under the contract.

39.0	Void.

40.0	ANY OTHER CONDITIONS OF SUPPLY: Please see enclosure.

41.0	DETAILED TECHNICAL SPECIFICATION: Enclosed.

42.0	ADDITIONAL INSTRUCTIONS FOR THE ATTENTION OF BIDDERS:

- This shall be Two part Tender:

The first part shall contain technical bid with commercial conditions and second part shall contain price bid only. In case prices are indicated in the Technical Bid, the offer will be rejected.

The Bidders shall submit their offer (Electronic form) in two parts before the notified date and time for opening tenders. Only technical bids will be opened in the presence of the Bidders or their authorized representative.

The date and time of opening of price bids will be notified to all the technically eligible Bidders after technical evaluation of the tender is completed.

II. The following Schedules are enclosed:

Schedule-1	-	Guaranteed Technical Particulars

Schedule-2	-	Technical Deviation

Schedule-3	-	Commercial Deviation

Schedule-4	-	Qualifying Requirement Data.

Schedule-5	-	Bid form

Schedule-6-	Assessment of Financial Capability.

Schedule-7-	Commercial Terms and Conditions.

Price Bid	Price bid(Prices shall be quoted in                      e-procurement portal only).

43.0	Bid opening and evaluation:

43.1	Bids will be opened on the date and time fixed by the owner for opening of bids.  Bidder’s representatives (up to 2 persons) can choose to attend at the date and time for opening of bids in the invitation to bid or in case any extension has been given thereto on the extended bid opening date and time notified to all the bidders who have purchased the bidding document.  The bidder’s representatives who are present shall sign in a register evidencing their attendance.

The bidder’s names, technical modifications, bid withdrawal and such other details will be available on the website after opening.

The price bids ( in e-Procurement mode) of all the “Techno-commercial” Responsive Bidders shall be opened in the presence of representatives (up to two per firm) of such bidders who choose to be present.  The date/time of opening the Price bid shall be intimated to all such qualified bidders by fax/letter in advance if found appropriate after evaluation of Technical bids.

The bidder’s name, total bid price, all discounts if any, modifications in the Price Bid will be available on the web site.

No electronic recording/transmitting devices will be permitted during bid opening.

44.0	PURPOSE OF EVALUATION OF BIDS:

The bids received/accepted/opened will be evaluated by the Owner to ascertain the technical responsiveness of the bid for the complete scope of the proposal, as covered under these specifications and documents.  All technically responsive bids shall then be examined to determine the LOWEST EVALUATED COMMERCIALLY AND TECHNICALLY RESPONSIVE BIDS. The ranking generated by the system will not be considered for finalization of the tender.

45.0 Determining the Evaluated Bid Price of Technically Responsive Bids and Award Criteria:

- The Evaluated bid price of each bid shall be arrived by summation of price quoted by the Bidder including applicable taxes and duties and after arithmetical corrections (if any).

- Based on the Evaluated Bid Price of each bid, the ranking of bidders i.e. L1, L2 etc., will be determined. Wherein L1 is the least Evaluated Bid Price amongst evaluated bid prices of all bidders, L2 is the second lowest Evaluated Bid Price, etc.

- The contract shall be awarded to the Successful L1 Bidder whose bid has been determined to be substantially responsive and has been determined as the lowest evaluated bid price provided further that the Bidder is determined to be qualified to perform the contract satisfactorily. The Owner shall be the sole judge in this regard.

Sd/-

MANAGING DIRECTOR