Annexure - II

DECLARATION

Sub: Procurement of Ash handling spares – reg.,

Ref: Tender No : KPCL/2025-26/IND2370/CALL-3                       Date: 29.06.2026

***

Preamble: KPCL invites the tender in e-procurement. As per e-procurement portal tender’s evaluation criteria, agency shall quote their rates inclusive of all tax and other loadings / additional on FOR destination basis which considered as landing cost.

All intended bidders / Agencies shall quote accordingly and submit declaration along with technical bid. In case if agency fails to submit the declaration KPCL evaluate the tender as per e-procurement and binding on agency if not accepted such agencies EMD liable for forfeiture.

- I / We state that “The Unit rate quoted in e-portal is on FOR destination basis i.e., Inclusive of GST, P&F, Freight and Insurance charges”.

- I / We state that “100% payment only after receipt, verification & test certificate of all the materials at BTPS site”.

- I / We state that the offer is valid for a minimum period of six months (180 days) from the date of opening of Tender document of the bid.

- I / We declared that it has not been subjected to forfeiture of EMD, foreclosure, or termination of any contract by KPCL, the Government, or any other utility, and that it has not been blacklisted from participating in any tender by KPCL, the Government, or any other utility in India.

- I / We state that the HSN code for the items offered are as follows;

| SL No | Item Name | Make | HSN Code | % of GST considered in e-portal quoted rates |
| --- | --- | --- | --- | --- |
| 1 | 6130140104 CAGES WITH VENTURI FOR FAE TOW CAGES WITH VENTURI FOR BAG FILTERS FAE TOWER FOR U#3 AHP, MOC-M S GALVANISED, WIRE DIA: 04 mm, NUMBER OF VERTICAL WIRES: 12 Nos, NUMBER OF HORIZONTAL WIRES: 25 Nos. APPROX LENGTH: 2440 mm, APPROX. COLLAR DIA: 179 mm, APPROX. CAGE DIA: 138 mm. CAGES TO BE SUPPLIED ALONG WITH VENTURI FITTED TO CAGES. BIDDER SHALL VISIT SITE FOR EXACT DIMENSIONS OF CAGES |  |  |  |
| 2 | 6130140112 CAGES WITH VENTURI FOR SILO CAGES WITH VENTURI FOR BAG FILTERS - SILO VENT FILTER FOR U#3 AHP, MOC-M S GALVANISED, WIRE DIA: 4mm, NUMBER OF VERTICAL WIRES: 12 Nos, NUMBER OF HORIZONTAL WIRES: 25 Nos, APPROX. LENGTH: 2530mm, APPROX COLLAR DIA: 174mm, APPROX CAGE DIA: 144mm. CAGES TO BE SUPPLIED ALONG WITH VENTURI FITTED TO CAGES. BIDDERS SHALL VISIT THE SITE FOR EXACT DIMENSION OF CAGES. |  |  |  |

- I / We have read the tender documents carefully and diligently and stated that I / We submitted the tender having studied, understood and accepted the full implications of the agreement and supply.

Bidder

(Sign & Seal)