| - SCOPE: The specifications of Ash handling spares are as follows; |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl No | Item Code Item Name/Specification | Unit | Required Quantity |  |
| 1 | 6130140104 CAGES WITH VENTURI FOR FAE TOW CAGES WITH VENTURI FOR BAG FILTERS FAE TOWER FOR U#3 AHP, MOC-M S GALVANISED, WIRE DIA: 04 mm, NUMBER OF VERTICAL WIRES: 12 Nos, NUMBER OF HORIZONTAL WIRES: 25 Nos. APPROX LENGTH: 2440 mm, APPROX. COLLAR DIA: 179 mm, APPROX. CAGE DIA: 138 mm. CAGES TO BE SUPPLIED ALONG WITH VENTURI FITTED TO CAGES. BIDDER SHALL VISIT SITE FOR EXACT DIMENSIONS OF CAGES | NUMBERS | 800 |  |
| 2 | 6130140112 CAGES WITH VENTURI FOR SILO CAGES WITH VENTURI FOR BAG FILTERS - SILO VENT FILTER FOR U#3 AHP, MOC-M S GALVANISED, WIRE DIA: 4mm, NUMBER OF VERTICAL WIRES: 12 Nos, NUMBER OF HORIZONTAL WIRES: 25 Nos, APPROX. LENGTH: 2530mm, APPROX COLLAR DIA: 174mm, APPROX CAGE DIA: 144mm. CAGES TO BE SUPPLIED ALONG WITH VENTURI FITTED TO CAGES. BIDDERS SHALL VISIT THE SITE FOR EXACT DIMENSION OF CAGES. | NUMBERS | 600 |  |

QUALITY, MATERIAL AND WORKMANSHIP:

- All the material shall be of best quality and of class suitable for construction of the equipment and shall withstand normal variation of the temperature payload conditions, without disturbance and deterioration or setting up of undue stresses in any part and also without effecting the strength and suitability of the various parts of the equipment for the outdoor work which they have to perform. The material shall be manufactured as per the relevant standards and drawing.

- The bidder shall furnish full description, literature, catalogue etc, of the offered materials.

Test certificates & Material test reports duly signed by authorized authority shall be produced.

Yours Faithfully

For Karnataka Power Corporation Limited

-Sd -

Executive Engineer(P)