## Title
Karnataka Power Transmission Corporation Limited
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
TECHNO - COMMERCIAL SHEETS
NOTE* For detailed scope of the work please refer Bid Documents.
BIDDERS TO READ CAREFULLY
THE FOLLOWING DOCUMENTS [DULY SIGNED BY AUTHORISED PERSON, WHEREVER NECESSARY] ARE TO BE UPLOADED IN KPPP PORTAL AND BANK GUARANTEE TOWARDS EMD OVER AND ABOVE RS.10.00LAKH AS PER ANNEXURE-II OF THE BID DOCUMENT SHALL BE SENT IN ORIGINAL TO CHIEF ENGINEER ELECTY., Transmission (Operations) Zone, KPTCL, Hassan SO AS TO REACH THIS OFFICE AFTER THE LAST DATE OF SUBMISSION OF BID AND ON OR BEFORE THE DATE & TIME NOTIFIED FOR OPENING OF TECHNO COMMERCIAL BIDS FAILING WHICH THE BID WILL NOT BE OPENED. 1) NO DEVIATION CERTIFICATE (SCHEDULE-16). 2) EMD/BID SECURITY AS DETAILED IN CLAUSE NO. 13 of ITT. 3) BANK GUARANTEE TOWARDS BALANCE EMD/BID SECURITY issued either by a Nationalized/Scheduled Bank or Insurance Surety Bond Issued by Insurance Company authorized by IRDAI towards Balance EMD/Bid security. (For the balance EMD above Rs. 10Lakhs ) (SCHEDULE-17) - as detailed in Clause No. 13 of ITT-The Bidder shall scan the Bank Guarantee/Insurance Surety Bond towards EMD and upload the same in the prescribed format in the slot specified for “EMD and Tender Fee Payments” in the KPP portal to enable the owner for verification of EMD BG / ISB at the time of opening of Techno Commercial Bid, failing which the offer will be rejected 4) LETTER OF UNDERTAKING (SCHEDULE-18). 5) CONSORTIUM AGREEMENT (IF APPLICABLE-SCHEDULE-19). 6) POWER OF ATTORNEY (SCHEDULE-20). 7) ANY OTHER AGREEMENTS / UNDERTAKINGS /SELF DECLARATIONS SPECIFIED IN THE TENDER.

## BPS
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
BID PROPOSAL SHEET
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Bidder's Name & Address alongwith GSTIN no. :
Bid Proposal Reference :
Person to be contacted :
Designation :
Telephone No:
E-Mail Address:
Telex / Cable
Fax
To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
| Sub : | Proposal
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
a) | * We have uploaded bid as individual Bidder. (Indicate Name of the Individual Bidder)
b) | * We have uploaded bid in Consortium with the following Bidders. (Key in Consortium) |  | VOID
| Name of the Consortium Partner |  | VOID
i) | VOID |  | VOID
ii) | VOID |  | VOID
(* Fill-up whichever is applicable)
1 | We, the undersigned Bidder, having read and examined in detail the specifications and all the Bidding documents of the said work and hereby propose to design, manufacture/fabricate, shop test, supply on FOR site basis, and carry out the erection, testing and commissioning including civil, structural and architectural works for
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
2 | PRICES AND VALIDITY :
2.1 | We declare that the Prices stated in our Proposal are in accordance with subject bid documents including Clause No.40 of "Conditions of Contract (CC)" and Clause No.11 of Instruction to Tenderers (ITT) of Bid Documents. We further declare that all Ex-works price/CIF components of Spares, Maintenance and Testing Equipments and other charges viz., Freight and Insurance, Type Test charges and other charges stated in our proposal shall be as per the Tender conditions. All the Price and other terms and conditions of this Proposal are valid during the Performance of the Contract.
2.2 | All Taxes and Duties, such as Custom Duties on imports, Levies, Surcharge/Cess etc., if any, applicable on the transaction are included in the Bid Price and shall be to Our account and the Owner is not having any liability whatsoever on this account, whatever may be the contrary elsewhere in the Bid documents. However the component of Taxes & Duties included in the Bid Price are separately indicated in Schedule - 2 for TDS purpose. We further confirm that our Bid Prices as quoted in Schedule-I, include all import Duties and levies including Licence fees lawfully payable by us on imported items and all other Taxes, Duties and Levies applicable on Bought-out Components, Materials, Equipment and other items and confirm that any such Taxes, Duties and Levies additionally payable shall be to our account. We further confirm that no Sales Tax in any form shall be payable by Owner either for Bought-out items which are despatched by our Sub-Suppliers directly to the Project Site or for items Supplied directly by us.We confirm that, the Prices quoted by us are excluding GST.
2.3 | We declare that we have noted and considered Clause No.39 of Conditions of Contract (CC ), Clause No. 11.11 of Instruction to Tenderers (ITT) of Bid Documents regarding Taxes and Duties and quoted our Prices accordingly. We further agree for TDS as per Statutory stipulations.
2.4 | The Bid Prices, the Price components of the various items in the Scope of Supply, Erection including Testing & Commisisoning, Civil and Mandatory spares is quoted in Itemwise Financial Bid in KPPP Portal for this proposal..
3 | CONSTRUCTION OF THE CONTRACT : We, declare that we are making the Offer on the basis of Single Contract for the entire Scope of the Package in accordance with Clause No.26.2 of Instruction to Tenderers (ITT) of Bid Document.
4 | We having studied Clause No.39 of Conditions of Contract (CC ), Clause No. 11.11 Instruction to Tenderers (ITT) of Bid Documents , relating to Tax and we hereby, declare that if any income-tax, surcharge on income tax or any other corporate tax is attracted under the law, we agree to pay the same.
5 | Bid Security/ EMD : We have enclosed a Bid Security through e-Payment mode for a sum of Rs.10.00Lakhs and remaining amount of Rs.................................................. ( above Rs.10 Lakhs) in the form of Bank Guarantee in original and two copies of the original valid for a period of 225 days from the date of opening of bids, and liable to be forfeited in accordance with Bid Documents. (Mode of Payment towards EMD is as detailed in NIT/CLAUSE NO. 13 of ITT.)
We have also ensured that the above Bid Guarantee furnished by us is in line with the Bid Documents and complete in respect of following :
1. Value of Non judicial Stamp Paper purchased in the name of executing Bank is as per Stamp Act.
2. Power of Attorney Number and Date as well as Signature and Full Name and Designation of Executant along with Bank's Stamp are there.
3. Signature, Full Name, Designation and address of Witness are there.
4. Completed Mailing address of the Head Office of the Bank is indicated.
6 | Deviations :
6.1 | We declare that the Works shall be performed strictly in accordance with the Specifications and Documents except for the variations and Deviations, all of which have been detailed out exhaustively in the following Schedules, irrespective of whatever has been stated to the contrary anywhere else in our Proposal.
a | Commercial Deviations Schedule |  | Schedule - 5
b | Technical Deviations Schedule |  | Schedule - 6
6.2 | We further confirm that Specified Stipulation of following Clauses are acceptable to us and No Deviation / Exceptions are taken on any account whatsoever in the following Clauses.
a. | Terms of payment | Clause No. 37 of Conditions of Contract (CC) & Clause No.8 of Special Conditions of Contract-SCC.
b. | EMD/Bid Security | Clause No.6, Section :1, Invitation for Tenders (IFT) and Clause No.13, Section :2, Instruction to Tenderers (ITT)
c. | Contract Performance Guarantee | Clause No.29 of Section 2, Instruction to Tenderers (ITT)
d. | Penalty for delay | Clause No.41 of Section-5 : Conditions of Contract (CC)
e. | Price Basis/ Price adjustment | Clause No. 40 of Section-5 :Conditions of Contract (CC)
f. | Defects Liability Period/Guarantee | Clause No.10 of Special Conditions of Contract (SCC) and Section 6 : Contract data
g. | Work Schedule | Clause No.17 of Conditions of Contract-CC
h. | Taxes and Duties | Clause No.11.11 of Section 2, Instruction to Tenderer (ITT)
Further, we agree that additional conditions, if any, found in the Proposal Documents other than those stated in Deviation Schedules, save that pertaining to any rebates offered, shall not be given effect to.
7 | PERFORMANCE GUARANTEE ; We declare that the ratings and performance figures of the equipment to be supplied and erected by us are guaranteed. The Guaranteed particulas of different equiment in our Scope are enclosed in Data Requirement Sheets.
8 | BID PRICING : We further, declare that the Prices stated in our Proposal are in accordance with your ITT & SCC and all other relevant clauses of Bid Documents.
9 | PRICE ADJUSTMENT : We declare that the Prices quoted by us are in accordance Clause No. 40 of Section-5 :Conditions of Contract (CC)
10 | SPECIAL TOOLS AND TACKLES : We have given a list of Special Tools and Tackles in Schedule - 7 and Prices thereof are included in our lumpsum Bid Price. We further agree that any items of Special Tools and Tackles, though not included in the aforesaid list, but required for effective Erection, Testing, Commissioning & Operation of the Equipments of Substations shall also be furnished by us, at no extra cost to you.
11 | ADDITIONAL INFORMATION : In addition to the information called for in these Proposal Sheets, we have included with this Proposal, additional information as listed in Schedule - 8. We further confirm that such additional information does not imply any additional deviation beyond those covered in Schedule - 5 & 6 and in case of any contraction between these additional information and other provisions of Bid, the later will prevail.
12 | QUALIFICATION DATA : We confirm having submitted the Qualification Data, as required by you in your Bid Documents in e-Procurement Portal along with this Proposal. Further we have filled in the information for Qualification Requirements in Schedule 9. In case you require any further information in this regard, We agree to furnish the same in time.
13 | WORK SCHEDULE : If this Proposal is accepted by you, we agree to submit Engineering Data, Provide Services and complete the entire Work from time to time, in accordance with Schedules indicated in the Proposal. We fully understand that the Time Schedule stipulated in this Proposal is the essence of the Contract, if awarded. The completion schedule of the various Major Key Phases of the Work is indicated in Schedule - 11.
14 | CONTRACT PERFORMANCE GUARANTEE ; We further agree that if our Proposal is accepted, we shall provide an irrecoverable Contract Performance Guarantee, of value equivalent to Five percent (5%) of the Amount Put to Tender (Excluding GST) plus additional security for unbalanced tenders in accordance with Clause 29 of Instructions To Tenderers (ITT) of the tender valid up to the end of ninety (90) days after the end of the Contract Guarantee Period mandatorily in the form of Insurance Surety Bonds (ISBs) issued by Insurance Company authorized by IRDAI (OR) in the form of Bank Guarantee (BG) from the Nationalized/Public Sector Banks in the form attached as Annexure-III (Section 4: Formats of Annexures) in your favour in accordance with Clause 25.5 of ITT and Clause 43 of the CC (Conditions of Contract), as per the format given in Section 4 and enter into a formal agreement with you within Twenty (20) days from the date of issue of Letter of Intent to Award the Contract.
15 | VOID
16 | BID PRICE : We declare that our lumpsum Price for the entire scope of work specified in the specifications and documents, shall be as indicated in Schedule - 1.
17 | CHECK LIST : We have included a Checklist duly filled in Schedule 22
18 | We, hereby, declare that only the Persons or Firms interested in this Proposal are named herein as Principals and that no other Persons are interested in the Proposal or in the Contract to be entered into, if we are awarded the Contract, and that this proposal is made without any connection with any other Person, Firm or Party likewise submitting a Proposal and that this Proposal is in all respect for and in good faith, without collusion or fraud.
19 | We declare, in case our bid is accepted, that until a formal Contract is prepared & executed, this bid together with your written Letter of Intent to Award the Contract thereof and your notification of award /Letter of Intent to Award the Contract shall constitute a binding contract between us. We further understand that you are not bound to accept the lowest or any bid you may receive.
Dated this …………………...…………………...………….day of………...……………………………20...
Thanking you, we remain,
Yours faithfully,
| Date |  | Signature
| Place |  | Printed Name
Designation
Common Seal
| Business Address |  |  | Country of Incorporation (State or Province to be indicated)
Name and Address Principal Officer

## Sch-1
Karnataka Power Transmission Corporation Limited
SCHEDULE - 1
SHEET FOR TECHNO COMMERCIAL OPENING (Unpriced)
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
FILL ONLY IN LIGHT BLUE COLOURED CELLS.
Name of work
Bidder's Name & Address alongwith GSTIN no. : |  |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
We declare that in terms of Clause no. 11 of ITT & all other relevant clause of Bid documents, the following are our lumpsum price in Rupees for the entire scope of work as specified in the Specifications and Documents.( Inclusive of all Taxes & Duties).
Total Lumpsum Price : ( In Figures) Note: Fill as "YES" against this column in case Prices are indicated in the percentage Wise Bid Financial Offer in figures
| Date | Name
| Place | Designation
Name of the Company

## Sch-2B
Karnataka Power Transmission Corporation Limited
SCHEDULE- 2 B - STATEMENT OF COMMERCIAL TERMS AND CONDITIONS
SHEET FOR TECHNOCOMMERCIAL OPENING
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Details of payments made in the form of Credit card/Debit card/NEFT/RTGS/OTC (over the counter) as per the tender conditions should be keyed in against column no. 3 (a) . BG Amount, BG No. and date, Name and address of the bank issuing the BG, validity of the BG should be keyed in against column no. 3 (b) .
FILL ONLY IN LIGHT BLUE COLOURED CELLS.
Bidder's Name & Address alongwith GSTIN no. : |  |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
STATEMENT OF COMMERCIAL TERMS AND CONDITIONS
| Sl. No. | Particulars | Details
| 1 | 2 | 3
| 1 | Bid proposal form uploaded
| 2 | No deviation certificate uploaded
| 3. a) | EMD / Bid Security Bids shall be accompanied by bid security (EMD); 1) Up to Rs.10Lakh The following modes of payment will be provided as a part of e-Payment services. • Credit Card/Debit Card • Net Banking • NEFT/RTGS • Over-the-Counter (OTC) • IMPS For further detail regarding mode of e-payment of EMD in e-procurement platform, contact e-procurement cell, Government of Karnataka.
| b) | EMD amount above Rs.10Lakh by Bank Guarantee
| 4 | Validity of the Bid.
| 5 | Qualifying Requirements.
| 6 | Financial capability
| 7 | Price Basis.
| 8 | Taxes & Duties.
| 9 | Completion Schedule
| 10 | Defects Liability Period/Guarantee
| 11 | Payment Terms
Date |  | Name
Place |  | Designation
Name of the Company

## 3A(i) WORK A SUPPLY
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3A(i) - Supply portion- WORK A
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047”
SUPPLY PORTION
Sl No. | Name of the Equipment/Materials | Unit | Quantity | Supply of Material
|  |  |  | Unit Rate (in Rs.) | Amount (in Rs.)
1 | 2 | 3 | 4 | 5 | 6
A1 | Power Transformers:
1 | Power Transformers: 8 MVA, 66/11kV, Delta/Star, Dyn11, 3-Ph, 50Hz, Core Type Winding with OLTC, RTCC Panel etc complete, filled with Transil Oil with 10% spare oil,Terminal connectors suitable for Drake ACSR on primary side of transformer and Drake/ 50 x 8 copper flat on secondary side of Transformer and 2 Nos of 50 x 8 copper flats from neutral terminal to earthmat through NCT along with necessary support pin insulators as per technical specifications.(28 MT) a) Inspection of wires and ferrules, Inspection of wiring of protective devices, cooling fans, oil flow pumps, OLTC, RTCC, bushing etc., b) Testing : 1. Ratio Test 2. SC Test 3. Excitation Current Test/ Highpot Test 4. Magnetic Balance Test 5. Vector Group Test 6. Induced High Voltage Test 7. OLTC Operation - Local and Remote 8. Protective Devices Operation Checks 9. Stability Checks : For Differential & REFR Protection 10. Winding Resistance Test 11. Insulation Resistance Test 12. Tan-Delta and Capacitance Test 13. Transformer mounted protective Devices 14. Sweep Frequency Response Analysis | Nos. | 1 | KPTCL SUPPLY
A2 | Circuit Breaker: Circuit Breaker: SF6 type circuit breakers with semi pneumatic/ pneumatic operated/ Spring type operating mechanism, including mounting structure arrangements with rigid, bi-metallic terminal connectors suitable for Drake ACSR and Mounting structure
1 | 66 kV, 1250 A, 31.5 kA class, SF-6 Circuit Breaker for 8 MVA, 66/11 kV Transformer | Nos. | 1 | Already supplied at site
A3 | Isolators: Isolator including marshalling box and suitable terminal connectors as required as per technical specification with solid core cylindrical post insulators
1 | 66 kV, 1250 A, 31.5 kA class double break Electrically cum manually operated isolators
a) | Upright mounting type without Earth Switch (Live Point Height 5500 mm) | Nos. | 2 | Already supplied at site
b) | Terminal Connectors for Isolator to receive 50 mm Al. Tube flexible type | Nos. | 6 | 2986 | 17916
2 | 11 kV isolators: 11 kV isolators, Single break 400 A, 25 kA capacity with Roaster Switch, with rigid bimetalic terminal connector suitable for coyote ACSR | Set | 1 | 14956 | 14956
A4 | Current Transformer: Current Transformer including Marshaling box, Single phase, oil filled outdoor type with rigid bimetallic terminal connectors suitable for Drake ACSR conductor.
1 | 66 kV class, 31.5 KA, CT of ratio 200-100/1-1-1A for Transformer. For metering : Accuracy 0.2, Burden 10 VA For back up protection : Accuracy 5P20, Burden 30 VA For Diff/Dist protection : PS class, Vk 800V, 2 Ohm at 200/1 A | Nos. | 3 | Already supplied & erected at site
2 | 11 kV class, 25 KA, NCT of ratio 1200-800/1-1A for REFR protection (similar rating and ratio as that of incomer of 11 kV Switchgear) with terminal connector suitable for 2 no's of 50 X8 mm Copper flats | Nos. | 1 | Already supplied & erected at site
3 | NCT Pad clamps | Nos. | 2 | 1019 | 2038
A5 | Surge Arrestors Porcelain Housing Metal oxide, Gapless type as per techanical specification
1 | 60 kV Metal Oxide with surge counter Arrestor class : Discharge Class 3 (Station Medium Duty (SM))- for Transformer | Nos. | 3 | Already supplied at site
A6 | C&R Panel compatible to IEC 61850, communication protocol for Sub-station Automation System in 220 kV Sub-station complete as per technical specification:
1 | 66/11 kV Transformer-Type 6T1 (As per Annexure RPP5-SAS) | Nos. | 1 | 1983190 | 1983190
2 | 11 kV Panel for Overhead Line - Type 1L Provision for 2 feeders to be made in one panel (As per Annexure RPP7-SAS) | Nos. | 2 | 980100 | 1960200
A7 | Bus Bar Formation:
1 | Drake ACSR for LV Side of Power Transformer | Mtr | 30 | 461 | 13830
2 | Straight taps made of 50 mm Aluminium Tube (BS-1600) of 1250 mm vertical height for vertical portion and cross bus on 66 kV side with rounded off end. | Nos. | 6 | 2340 | 14040
A8 | Hardwares:
1 | Copper Flat for Transformer Neutral 2 nos of 50 X 8 mm size 5 Mtr length | Nos. | 1 | 11569.99 | 11569.99
2 | Pad clamps suitable for Drake ACSR for connecting Drake conductor to 1 x 1000 Sq mm cable | Nos. | 4 | 1202 | 4808
A9 | PVC insulated Copper Control Cable with Lugs/Ferrules. 1.1 kV class. Size of cables:
1 | 19 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 500 | 709 | 354500
2 | 4 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 300 | 247 | 74100
3 | 4 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 300 | 179 | 53700
4 | 2 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 500 | 154 | 77000
A10 | 11kV Switchgear: 11kV, 350MVA, Metal Clad VCB switchgear(1250A for Incomer and 800A feeders), outdoor type, each comprising of 1IC+4F+1BC+1AP(Remote Announciation cum Control panel suitable for 1IC+5F) with CTs & PTs and terminal connectors suitable for Drake / Coyote ACSR etc., complete as per technical specification. | Set | 1 (7 panels) | Already supplied & erected at site
A11 | Rubber mats 1000 mm x 2000 mm x 12 mm size suitable for 1.1 kV class. | Nos. | 2 | 2314 | 4628
SUPPLY PORTION TOTAL |  |  |  |  | 4586475.99

## 3A(ii) WORK A ERECTION T&C
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3A(ii) - ERECTION, T&C, DECOMMISSIONING PORTION - WORK A
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047”
ERECTION, T&C, DECOMMISSIONING PORTION
Sl No. | Name of the Equipment/Materials | Unit | Quantity | Erection charges |  | Testing and Commissioning charges
|  |  |  | Unit Rate (in Rs.) | Amount (in Rs.) | Unit Rate (in Rs.) | Amount (in Rs.)
1 | 2 | 3 | 4 | 7 | 8 | 9 | 10
E1 | Power Transformers:
Power Transformers: 8 MVA, 66/11kV, Delta/Star, Dyn11, 3-Ph, 50Hz, Core Type Winding with OLTC, RTCC Panel etc complete, filled with Transil Oil with 10% spare oil,Terminal connectors suitable for Drake ACSR on primary side of transformer and Drake/ 50 x 8 copper flat on secondary side of Transformer and 2 Nos of 50 x 8 copper flats from neutral terminal to earthmat through NCT along with necessary support pin insulators as per technical specifications.(28 MT)
1 | Filtration of oil using filter set to bring the insulation value to I.E. Specification | Litres | 6750 | 7 | 47250
2 | Wiring of Transformer marshalling box, bucholtz relay, fixing thermometer, OLTC upto control panel and assisting in testing and commissioning | Nos. | 1 | 6708 | 6708
3 | Testing & Commissioning of Power Transformers a) Inspection of wires and ferrules, Inspection of wiring of protective devices, cooling fans, oil flow pumps, OLTC, RTCC, bushing etc. b) Testing : 1. Ratio Test 2. SC Test 3. Excitation Current Test/ Highpot Test 4. Magnetic Balance Test 5. Vector Group Test 6. Induced High Voltage Test 7. OLTC Operation - Local and Remote 8. Protective Devices Operation Checks 9. Stability Checks : For Differential & REFR Protection 10. Winding Resistance Test 11. Insulation Resistance Test 12. Tan-Delta and Capacitance Test 13. Transformer mounted protective Devices 14. Sweep Frequency Response Analysis | Nos. | 1 |  |  | 48187 | 48187
E2 | Circuit Breaker: Circuit Breaker: SF6 type circuit breakers with semi pneumatic/ pneumatic operated/ Spring type operating mechanism, including mounting structure arrangements with rigid, bi-metallic terminal connectors suitable for Drake ACSR and Mounting structure
1 | 66 kV, 1250 A, 31.5 kA class, SF-6 Circuit Breaker for 8 MVA, 66/11 kV Transformer (a) Assisiting in T&C and (b) Wiring & T&C only | Nos. | 1 | 2897 | 2897 | 42300 | 42300
E3 | Isolators: Isolator including marshalling box and suitable terminal connectors as required as per technical specification with solid core cylindrical post insulators
1 | 66 kV, 1250 A, 31.5 kA class double break Electrically cum manually operated isolators
a) | Upright mounting type without Earth Switch (Live Point Height 5500 mm) | Nos. | 2 | 5119 | 10238 | 0 | 0
2 | 11 kV isolators: 11 kV isolators, Single break 400 A, 25 kA capacity with Roaster Switch, with rigid bimetalic terminal connector suitable for coyote ACSR | Set | 1 | 1104 | 1104 | 0 | 0
E4 | Current Transformer: Current Transformer including Marshaling box, Single phase, oil filled outdoor type with rigid bimetallic terminal connectors suitable for Drake ACSR conductor.
1 | 66 kV class, 31.5 KA, CT of ratio 200-100/1-1-1A for Transformer. For metering : Accuracy 0.2, Burden 10 VA For back up protection : Accuracy 5P20, Burden 30 VA For Diff/Dist protection : PS class, Vk 800V, 2 Ohm at 200/1 A (a) Assisiting in T&C and (b) Wiring & T&C only | Nos. | 3 | 317.6667 | 953 | 4700.3333 | 14101
2 | 11 kV class, 25 KA, NCT of ratio 1200-800/1-1A for REFR protection (similar rating and ratio as that of incomer of 11 kV Switchgear) with terminal connector suitable for 2 no's of 50 X8 mm Copper flats (a) Assisiting in T&C and (b) Wiring & T&C only | Nos. | 1 | 99 | 99 | 4545 | 4545
E5 | Surge Arrestors Porcelain Housing Metal oxide, Gapless type as per techanical specification
1 | 60 kV Metal Oxide with surge counter Arrestor class : Discharge Class 3 (Station Medium Duty (SM))- for Transformer | Nos. | 3 | 244.3333 | 733 | 0 | 0
E6 | C&R Panel compatible to IEC 61850, communication protocol for Sub-station Automation System in 220 kV Sub-station complete as per technical specification:
1 | 66/11 kV Transformer-Type 6T1 (As per Annexure RPP5-SAS) | Nos. | 1 | 14340 | 14340 | 51649 | 51649
2 | 11 kV Panel for Overhead Line - Type 1L Provision for 2 feeders to be made in one panel (As per Annexure RPP7-SAS | Nos. | 2 | 14340 | 28680 | 51649 | 103298
E7 | Bus Bar Formation:
1 | Formation of Main/Cross bus with Single Drake for 66 kV | Per Bay | 1 | 12087 | 12087 | 0 | 0
E8 | PVC insulated Copper Control Cable with Lugs/Ferrules. 1.1 kV class. Size of cables:
1 | 19 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 500 | 15 | 7500 | 0 | 0
2 | 4 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 300 | 15 | 4500 | 0 | 0
3 | 4 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 300 | 15 | 4500 | 0 | 0
4 | 2 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 500 | 15 | 7500 | 0 | 0
E9 | 11kV Switchgear: 11kV, 350MVA, Metal Clad VCB switchgear(1250A for Incomer and 800A feeders), outdoor type, each comprising of 1IC+4F+1BC+1AP(Remote Announciation cum Control panel suitable for 1IC+5F) with CTs & PTs and terminal connectors suitable for Drake / Coyote ACSR etc., complete as per technical specification. (a) Assisiting in T&C and (b) Wiring & T&C only | Set | 1 (7 panels) | 941 | 6587 | 8039.3333 | 56275.3333
E10 | Earthmat Formation
1 | Grounding of equipments with 50 x6 mm G I flat and connecting equipments to the earth mat/ground pit including all connected works with all materials supplied by the contractor. | Rmtr | 100 | 335 | 33500 | 0 | 0
2 | Providing C.I. Pipe of 100mm ID 13mm thick 2.75 mtr. long with 2 part GI Flat 50x6mm clamp welded allround the pipe etc., including cost of excavation (all materials supplied by contractor) | Set | 12 | 16283 | 195396 | 0 | 0
3 | Supplying and fixing 450mm dia x 450mm height 1.5" to 2" Hume pipe collars for earth pits. | Nos. | 12 | 1499 | 17988 | 0 | 0
E11 | Fixing of Name plates | Nos. | 15 | 83 | 1245 | 0 | 0
ERECTION, T&C, DECOMMISSIONING PORTION TOTAL |  |  |  |  | 403805 |  | 320355.3333

## 3A(iii) WORK A CIVIL
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3A(iii) - CIVIL PORTION - WORK A
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047”
CIVIL PORTION
Sl. No. | Particulars | Unit | Quantity | Unit Rate in Rs. | Amount in Rs.
B1 | Providing and laying in position Cement Concrete for all Foundation works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing, form work, centering & scaffolding and all the other appurtenances required to complete the work as per technical specifications. M20 Design Mix Using 20 mm nominal size graded crushed coarse aggregates For foundation add 3% | Cum | 2.77 | 6331.41 | 17538.0057
B2 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two coat applied @ 1.67 ltr/10 m² over and including priming coat of exterior primer applied @ 2.20 kg/10 m²) with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | Sqm | 95.8 | 174 | 16669.2
B3 | Steel Fabrication: Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification for All other type of structures | kg | 56 | 80.02 | 4481.12
B4 | Providing and fixing Structural Steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a 2 coats of paint over one coat of approved steel primer all complete including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | Kg | 575 | 93 | 53475
B5 | Supplying heavy gauge PVC Conduit Pipe .... dia ....... mm thick with suitable size bends, metal junction boxes adhesive paste etc., by groove cutting in the wall and fixing by bracing U or J hooks and cement plastering upto the wall surface and run with 18 SWG GI fish wire run throughout the conduit wherever necessary 25mm dia 2mm thick | Per Mtr | 40 | 79 | 3160
B6 | Point wiring using Copper wire without switch. Supplying and wiring adopting loop system in existing PVC Conduit /casing capping casing capping using 2x1.5Sqmm (Phase & Neutral) & 1x1.0 sqmm (Earth wire) FRLS multi strand PVC insulated copper wire (confirming to IS-694: and latest amendments) without control switch shall be fixed on the existing plastic sheet/ gang box, the other end of the wires shall be terminated with sufficient loose length in a wood/PVC round block. complete for each outlet. b) Medium point above 3Mtr up to 6Mtr from tapping point to out let via switch box | Each Point | 4 | 379 | 1516
B7 | Point wiring using Copper wire without switch. Supplying and wiring adopting loop system in existing PVC Conduit /casing capping using copper PVC insulated multi strand 2x1.5Sqmm copper wire without switch, the other end of the wires shall be terminated with sufficient loose length in a wood/PVC round block. complete for each outlet.( 4/9) - II. Point wiring using class B Materialsc) Long point above 6Mtr up to 10Mtr from tapping point to out let via switch box | Each Point | 1 | 555 | 555
B8 | Supplying of feet -PVC Batten with integrated LED tube LED light fitting 1 x 4' - 36/40 W W with high quality diffuser with Life of 25000 burning hours & 70% lumen maintenance with CRI > 80. Power Input: 220-240V@ 50/60Hz & Power factor >0.9 along with CE approved. 2 years Warranty against any manufacturing defect working under standard electrical condition | Nos | 5 | 1269 | 6345
B9 | Fixing all types and all capacities of fluorescent /false ceiling / spot light / CFL / LED fittings indoor on the wall/ ceiling / rafters / girders using 23/0.0076" twin twisted PVC insulated wires, required Nos of round blocks and clamps.On wall/ ceiling / Rafter / Girders | Each | 5 | 122 | 610
B10 | Wiring for lighting/power circuit using one of FRLS PVC insulated 1100V grade, multistrand copper wire with low conductor resistance single core in open or concealed system of wiring with specified IS 694:201 1.5 sqmm. | m | 60 | 26 | 1560
B11 | Wiring for lighting/power circuit using one of FRLS PVC insulated 1100V grade, multistrand copper wire with low conductor resistance single core in open or concealed system of wiring with specified IS 694:201 2.5 sqmm | Rmtr. | 40 | 42 | 1680
B12 | Supplying and fixing of modular switch & connected accessories on existing modular switch plate as per IS 3854 and IS 1293.6/16A Universal Socket | Each | 1 | 236 | 236
B13 | Supplying and fixing of modular switch & connected accessories on existing modular switch plate as per IS 3854 and IS 1293.6/16A Switch 6A One Way Switch | Each | 6 | 102 | 612
B14 | Supplying and fixing surface/flush mounting unbreakable PVC modular box suitable for mounting modular switch plate swith due groove cutting in Brick/C.Cwall, including necessary rawl plugs, Machine/NF screws etc., complete. 8 Way | Each | 1 | 219 | 219
B15 | Supplying and fixing superior quality modular switch mounting polycarbonate plate with necessary supporting back plate with required nos. of machine screws, bolts nuts etc.,complete on the existing metal/PVC box. 8 Module | Each | 1 | 284 | 284
B16 | Constructing brick masonry chamber of internal dimension 450x450mm and depth of 600mm (inner dimensions) with modular bricks of CD 75 in cement mortar 1:6, bed concrete 150mm thick with 1:3:6, plastering 12 mm thick with cement mortar 1:4, CC 1:2:4 coping 75mm thk for fixing CI cover & frame etc. | Each | 3 | 4236 | 12708
B17 | Providing & fixing 455x610 mm cast iron cover with frame weight to be not less 38kgs (weight of cover 23 kgs and weight of frame 15 kgs)and necessary locking arrangements with M.S flats 32x6 mm etc & painting with two or more coats with black Japan paint etc. complete as directed by the engineer-in-charge. | Each | 3 | 1962 | 5886
B18 | Jelly Spreading (20-25 mm) : Supplying and providing jelly in the station yard of uniform thickness of 100 mm including the cost of materials, labour charges, required tools and plants etc., complete. Work shall be carried out as per the instructions of Engineer in-charge of works as per the standard procedure. | cum | 50 | 1773 | 88650
B19 | Providing, Laying and Fixing GI pipes conforming to IS 1239:1990 with latest amendments complete with GI fittings (excluding the cost of fittings) with cuts and threads wherever necessary, including testing for water tightness, with all lead and commissioning. (contractor will make his own arrangements for procuring water for testing) For Heavy Duty GI pipe of 50mm dia for CRB | m | 30 | 679 | 20370
B20 | GATE VALVE : Supply and delivery at site of brand new best make gate valve as per IS 778/1984 with ISI Mark and as per its latest amendments Size 50 mm | Each | 1 | 1250 | 1250
B21 | Removing and Re-spreading Existing Jelly in Station Yard : Removing the existing Jelly in the Station Yard, stocking and Respreading after completetion of Equipement foundations etc.,.(Area 23.00 X 10.00= 230.00 Smtr) | Sqmtr. | 375 | 53 | 19875
CIVIL PORTION TOTAL |  |  |  |  | 257679.3257

## 3B(i) WORK B SUPPLY
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3B(i) - Supply portion- WORK B
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
SUPPLY PORTION
Sl No. | Name of the Equipment/Materials | Unit | Quantity | Supply of Material
|  |  |  | Unit Rate (in Rs.) | Amount (in Rs.)
1 | 2 | 3 | 4 | 5 | 6
A1 | Power Transformers:
1 | Power Transformers: 8 MVA, 66/11kV, Delta/Star, Dyn11, 3-Ph, 50Hz, Core Type Winding with OLTC, RTCC Panel etc complete, filled with Transil Oil with 10% spare oil,Terminal connectors suitable for Drake ACSR on primary side of transformer and Drake/ 50 x 8 copper flat on secondary side of Transformer and 2 Nos of 50 x 8 copper flats from neutral terminal to earthmat through NCT along with necessary support pin insulators as per technical specifications.(28 MT) a) Inspection of wires and ferrules, Inspection of wiring of protective devices, cooling fans, oil flow pumps, OLTC, RTCC, bushing etc., b) Testing : 1. Ratio Test 2. SC Test 3. Excitation Current Test/ Highpot Test 4. Magnetic Balance Test 5. Vector Group Test 6. Induced High Voltage Test 7. OLTC Operation - Local and Remote 8. Protective Devices Operation Checks 9. Stability Checks : For Differential & REFR Protection 10. Winding Resistance Test 11. Insulation Resistance Test 12. Tan-Delta and Capacitance Test 13. Transformer mounted protective Devices 14. Sweep Frequency Response Analysis | Nos. | 1 | KPTCL supply
A2 | C&R Panel compatible to IEC 61850, communication protocol for Sub-station Automation System in 220 kV Sub-station complete as per technical specification:
1 | 11 kV Panel for bus coupler (SAS) | Nos. | 1 | 980100 | 980100
A3 | PVC insulated Copper Control Cable with Lugs/Ferrules. 1.1 kV class. Size of cables:
1 | 19 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 2570 | 709 | 1822130
2 | 4 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 3920 | 247 | 968240
3 | 10 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 200 | 409 | 81800
A4 | Mounting Structures:
1 | 66 kV Mounting structure For Post insulator of Rigid bus(0.143 t Per Structure)(For 2 numbers for R-Ph of Rigid Bus-A & B) | No/t | 02/0.286 | 17718.7 | 35437.4
A5 | Bus Bar Formation:
1 | Coyote ACSR for 11 kV Jump | Mtr | 20 | 164 | 3280
A6 | INSULATORS :
I | Post Insulator Cylindrical Solid core Type
a | 66 kV Class, 1 Unit/stack | Stacks | 2 | 5462 | 10924
A7 | Hardwares:
1 | Pad clamps suitable for Drake ACSR | Nos. | 3 | 1202 | 3606
2 | Power Connectors 'T' Clamps suitable for Single Drake ACSR to Single Drake ACSR | Nos. | 3 | 857 | 2571
A8 | Clamps:
1 | Post Insulator Clamps suitable for 63 mm Aluminium pipe and Post Insulators Solid Core type-Rigid Type- 66 kV Side | Nos. | 2 | 1753 | 3506
A9 | ACDB for 220 kV Station
1 | AC Distribution Box Double front (Outdoor type) 24 Terminal 2 I/C of 100A MCCB 20kA + 24 O/G MCB 16A + 2 O/G of 100A, HRC fuse, complete as per technical specification | Nos. | 1 | 122210 | 122210
A10 | Ethernet Switch (61850 Compatible) with 16FO + 8Cu | Nos. | 1 | 308550 | 308550
SUPPLY PORTION TOTAL |  |  |  |  | 4342354.4

## 3B(ii) WORK B ERECTION T&C
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3B(ii) - ERECTION, T&C, DECOMMISSIONING PORTION - WORK B
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
ERECTION, T&C, DECOMMISSIONING PORTION
Sl No. | Name of the Equipment/Materials | Unit | Quantity | Erection charges |  | Testing and Commissioning charges
|  |  |  | Unit Rate (in Rs.) | Amount (in Rs.) | Unit Rate (in Rs.) | Amount (in Rs.)
1 | 2 | 3 | 4 | 7 | 8 | 9 | 10
E1 | Power Transformers:
8 MVA, 66/11kV, Delta/Star, Dyn11, 3-Ph, 50Hz, Core Type Winding with OLTC, RTCC Panel etc complete, filled with Transil Oil with 10% spare oil,Terminal connectors suitable for Drake ACSR on primary side of transformer and Drake/ 50 x 8 copper flat on secondary side of Transformer and 2 Nos of 50 x 8 copper flats from neutral terminal to earthmat through NCT along with necessary support pin insulators as per technical specifications.
1 | Moving the Transformer to the plinth. Distance is 50 metre; Weight of the PTR considered is 28 MT | per t/m | 1400 | 80 | 112000
2 | Assembly of Transformer parts like bushings, radiators, filling oil into Tr. etc., for the total weight of the Tr. (28MT) | t | 28 | 1134 | 31752
E2 | C&R Panel compatible to IEC 61850, communication protocol for Sub-station Automation System in 220 kV Sub-station complete as per technical specification:
1 | 11 kV Panel for bus coupler (SAS) | Nos. | 1 | 14340 | 14340 | 51649 | 51649
2 | Installation, integration, testing & commissioning of C&R panels with SAS supplied by other SAS supplier for new bay extension with different Automation System
i | 66/11 kV Power Transformer C&R panels with BCUs | Nos. | 1 | 363000 | 363000 | 0 | 0
ii | 11 kV twin feeder C&R panels with BCUs | Nos. | 5 | 151000 | 755000 | 0 | 0
E3 | PVC insulated Copper Control Cable with Lugs/Ferrules. 1.1 kV class. Size of cables:
1 | 19 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 2570 | 15 | 38550 | 0 | 0
2 | 4 Core 6 Sq.mm. Copper Control Cables | Mtrs. | 3920 | 15 | 58800 | 0 | 0
3 | 10 Core 2.5 Sq.mm. Copper Control Cables | Mtrs. | 200 | 15 | 3000 | 0 | 0
E4 | Mounting Structures:
1 | 11 kV NCT structures for LV side of Transformer(0.157t Per Structure) | No/t | 01/0.157 | 5723 | 898.511 | 0 | 0
2 | 11KV Cable Terminating Structure for LV Side of Transformer(0.072 t Per Structure)(For 3 numbers for Power Transformers and 1 number for Capacitor banks of Tr-2) | No/t | 01/0.072 | 5723 | 412.056 | 0 | 0
3 | 66 kV Mounting structure For Post insulator of Rigid bus(0.143 t Per Structure)(For 2 numbers for R-Ph of Rigid Bus-A & B) | No/t | 02/0.286 | 5723 | 1636.778 | 0 | 0
E5 | Current Transformer
1 | 11 kV class, 25 KA, NCT of ratio 1200-800/1-1A for REFR protection (similar rating and ratio as that of incomer of 11 kV Switchgear) with terminal connector suitable for 2 no's of 50 X8 mm Copper flats | Nos. | 1 | 733 | 733 | 4545 | 4545
E6 | INSULATORS :
I | Post Insulator Cylindrical Solid core Type
a | 66 kV Class, 1 Unit/stack | Stacks | 2 | 244 | 488 | 0 | 0
E7 | ACDB for 220 kV Station
1 | AC Distribution Box Double front (Outdoor type) 24 Terminal 2 I/C of 100A MCCB 20kA + 24 O/G MCB 16A + 2 O/G of 100A, HRC fuse, complete as per technical specification. | Nos. | 1 | 4175 | 4175 | 0 | 0
ERECTION, T&C, DECOMMISSIONING PORTION TOTAL |  |  |  |  | 1384785.345 |  | 56194

## 3B(iii) WORK B CIVIL
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 3B(iii) - CIVIL PORTION - WORK B
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
CIVIL PORTION
Sl. No. | Particulars | Unit | Quantity | Unit Rate in Rs. | Amount in Rs.
B1 | Earth work excavation by manual means for drains, canals, waste weir, draft, approach channels, key trenches, foundation of Buildings & bridges and such simillar works in all kinds of soils, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, excavated surface leveled and sides neatly dressed disposing off the excavated stuff or sorting & stacking the selected stuff for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools & other appurtenaces required to complete the work. in all kinds of soils Depth upto 1.5 m In all kinds of soils Depth upto 3 m | Cum | 3.1 | 242 | 750.2
B2 | Providing and laying in position plain cement concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machineries, curing, and all the other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement & formwork shall be paid separately) Mix 1:3:6( M5) Using 40 mm nominal size graded crushed coarse aggregates | Cum | 0.2 | 6147 | 1229.4
B3 | Providing and laying in position Cement Concrete for all Foundation works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing, form work, centering & scaffolding and all the other appurtenances required to complete the work as per technical specifications. M20 Design Mix Using 20 mm nominal size graded crushed coarse aggregates For foundation add 3% | Cum | 2.365 | 6369.52 | 15063.9148
B4 | Steel Fabrication: Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification for All other type of structures | kg | 40 | 80.02 | 3200.8
B5 | Providing and fixing Structural Steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a 2 coats of paint over one coat of approved steel primer all complete including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | Kg | 232.2 | 93 | 21594.6
B6 | Providing and laying to required line and slope roofing with corrugated asbestos cement sheet 6mm. thick fixed with galvanised iron J or L hooks, bolts and nuts 8mm. dia C.I plain and bitumen washers over the existing purlins, rafters and trusses including cost of materials, labour, complete as per specifications | Sqmtr. | 48.45 | 332 | 16085.4
B7 | Supplying heavy gauge PVC Conduit Pipe .... dia ....... mm thick with suitable size bends, metal junction boxes adhesive paste etc., by groove cutting in the wall and fixing by bracing U or J hooks and cement plastering upto the wall surface and run with 18 SWG GI fish wire run throughout the conduit wherever necessary 25mm dia 2mm thick | Per Mtr | 50 | 79 | 3950
B8 | Point wiring using Copper wire without switch. Supplying and wiring adopting loop system in existing PVC Conduit /casing capping casing capping using 2x1.5Sqmm (Phase & Neutral) & 1x1.0 sqmm (Earth wire) FRLS multi strand PVC insulated copper wire (confirming to IS-694: and latest amendments) without control switch shall be fixed on the existing plastic sheet/ gang box, the other end of the wires shall be terminated with sufficient loose length in a wood/PVC round block. complete for each outlet. b) Medium point above 3Mtr up to 6Mtr from tapping point to out let via switch box | Each Point | 4 | 379 | 1516
B9 | Point wiring using Copper wire without switch. Supplying and wiring adopting loop system in existing PVC Conduit /casing capping using copper PVC insulated multi strand 2x1.5Sqmm copper wire without switch, the other end of the wires shall be terminated with sufficient loose length in a wood/PVC round block. complete for each outlet.( 4/9) - II. Point wiring using class B Materialsc) Long point above 6Mtr up to 10Mtr from tapping point to out let via switch box | Each Point | 2 | 555 | 1110
B10 | Supplying of feet -PVC Batten with integrated LED tube LED light fitting 1 x 4' - 36/40 W W with high quality diffuser with Life of 25000 burning hours & 70% lumen maintenance with CRI > 80. Power Input: 220-240V@ 50/60Hz & Power factor >0.9 along with CE approved. 2 years Warranty against any manufacturing defect working under standard electrical condition | Nos | 10 | 1269 | 12690
B11 | Fixing all types and all capacities of fluorescent /false ceiling / spot light / CFL / LED fittings indoor on the wall/ ceiling / rafters / girders using 23/0.0076" twin twisted PVC insulated wires, required Nos of round blocks and clamps.On wall/ ceiling / Rafter / Girders | Each | 10 | 122 | 1220
B12 | Wiring for lighting/power circuit using one of FRLS PVC insulated 1100V grade, multistrand copper wire with low conductor resistance single core in open or concealed system of wiring with specified IS 694:201 1.5 sqmm. | m | 60 | 26 | 1560
B13 | Wiring for lighting/power circuit using one of FRLS PVC insulated 1100V grade, multistrand copper wire with low conductor resistance single core in open or concealed system of wiring with specified IS 694:201 2.5 sqmm | Rmtr. | 40 | 42 | 1680
B14 | Supplying and fixing of modular switch & connected accessories on existing modular switch plate as per IS 3854 and IS 1293.6/16A Universal Socket | Each | 1 | 236 | 236
B15 | Supplying and fixing of modular switch & connected accessories on existing modular switch plate as per IS 3854 and IS 1293.6/16A Switch 6A One Way Switch | Each | 6 | 102 | 612
B16 | Supplying and fixing surface/flush mounting unbreakable PVC modular box suitable for mounting modular switch plate swith due groove cutting in Brick/C.Cwall, including necessary rawl plugs, Machine/NF screws etc., complete. 8 Way | Each | 1 | 219 | 219
B17 | Supplying and fixing superior quality modular switch mounting polycarbonate plate with necessary supporting back plate with required nos. of machine screws, bolts nuts etc.,complete on the existing metal/PVC box. 8 Module | Each | 1 | 284 | 284
B18 | Painting Steel work with Deluxe Multi Surface Paint to give an even shade. Two coat applied @ 0.90L/10 m² over an under coat of primer applied @ 0.80 L/10 m² of approved brand and manufacture including preparing the surface after thorougly cleaning oil, grease, dirt and foreign matter, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge | Sqm | 20 | 139 | 2780
CIVIL PORTION TOTAL |  |  |  |  | 85781.3148

## Sch-5-COMM
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE-5 COMMERCIAL DEVIATION
SHEET FOR TECHNOCOMMERCIAL OPENING
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Please fill Only in the Light Blue Couloured Cell.
Please key in the SlNo.,Section , Clause , Description as given in bid sheets and finally your Statement of Deviation/Variations.
This Sheet would be opened at the Techno-Commercial Opening. Please refer Vendor Manual attached for further details.
For any further assistance for submitting your bids please call up KPTCL Office.
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
If you are not deviating from any of the clauses mentioned please key in as 'NO DEVIATION' in the space provided.
Bidder's Name & Address alongwith GSTIN no. : |  |  |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
I/we have read each of the Clauses mentioned in INVITATION FOR TENDERS , INSTRUCTION TO TENDERERS , CONDITIONS OF CONTRACT, SPECIAL CONDITIONS OF CONTRACT and COMMERCIAL TERMS AND CONDITIONS and all the sections of Bid documents.
The following are the commercial Deviations and Variations from and exceptions to the Specifications and documents for
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
These deviations and variations are exhaustive. Except these deviations, the entire work shall be performed as per your specifications and documents.
Sl. NO. | SECTION | CLAUSE NO. | DESC. AS PER SPECIFICATION | STATEMENT OF DEVIATIONS/VARIATIONS
Note : Deviations specified elsewhere in the specification will not be considered.
Date |  |  | Name
Place |  |  | Designation
Name of the company

## She-6-TECH
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE-6 : TECHNICAL DEVIATION
SHEET FOR TECHNO-COMMERCIAL OPENING
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Please key in the SlNo., Section , Clause , Description as given in Bid sheets and finally your Statement of Deviation/Variations.
This Sheet would be opened at the Techno-Commercial Opening.
For any further assistance for submitting your bids please call up KPTCL office. Please fill only in the blue coloured cells.
We agree to provide all original Documents in support of the information provided for verification upon request. (Key in as YES in the space provided)
We understand that the electonic bid submitted by us is a valid offer in accordance with IT Act. (Key in as YES in the space provided)
We are fully aware of the electronic bid formalities and abide by the same. (Key in as YES in the space provided)
If you are not deviating from any of the clauses mentioned please key in as 'NO DEVIATION' in the space provided.
Bidder's Name & Address alongwith GSTIN no. : |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
The following are the Technical Deviations and Variations from and exceptions to the Specifications and documents for
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
These deviations and variations are exhaustive.Except these deiviations and variations, the entire work shall be performed as per your specification and documents.
Sl. NO. | SECTION | CLAUSE NO. | DESC. AS PER SPECIFICATION | STATEMENT OF DEVIATIONS/VARIATIONS
Note : Deviations specified elsewhere in the specification will not be considered.
Date |  | Name
Place |  | Designation
Name of the company

## Sch-7
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE 7(List of special tools and tackles )
SHEET FOR TECHNOCOMMERCIAL OPENING
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Bidder's Name & Address alongwith GSTIN no. : |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
List of special tools and tackles the price of which is included in bid price.
Sl. No. | For equipment | Description of item | Unit | Quantity
Date |  |  | Name
Place |  |  | Designation
Name of the Company

## Sch-8
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE 8
SHEET FOR TECHNOCOMMERCIAL OPENING
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
NOTE: 1 ) SHALL BE UPLOADED WITHOUT PRICES
Bidder's Name & Address alongwith GSTIN no. : |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
We have enclosed(uploaded) with our proposal the following additional information.
Sl. No. | Brief Description of information | Ref. and Page No.
Date
Place
Printed Name
Designation
Company seal

## Sch-9 (1 of 5)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 9 (1 of 5) : QUALIFYING REQUIREMENTS
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Please fill Only in the Light Blue Couloured Cell.
| BIDDER'S NAME AND ADDRESS: |  |  |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
a) | * We have uploaded bid as individual Bidder. (Key in Individual Bidder )
b) | * We have uploaded bid in Consortium with the following Bidders. (Key in Consortium ) |  |  |  | VOID
| Name of Consortium Partner |  |  |  | VOID
| VOID |  |  |  | VOID
i) | VOID |  |  |  | VOID
(* Fill-up whichever is applicable)
1 | GENERAL INFORMATION
The Bidder, bidding for this package are requested to complete the information in the following form.
Sl.No. | Particulars | Bidder details
1 | Name of the Firm
2 | Address of Head Office / Registered Office GST no.
3 | Telephone
4 | Fax
5 | Name of Contact person with Designation
6 | Place of Incorporation/Registration
7 | Year of Incorporation/Registration
8 | Constitution or legal status of Tenderer [Upload copy]
9 | Place of Registration [Upload copy]
10 | Principal place of business
2 | We are furnishing the following details/documents in support of Qualifying requirement for above mentioned project
Sl.No. | Bidder details |  |  | For individual Bidder
(Indicate Yes /No)
(a) | Written power of attorney of the signatory on the bid to commit the bidder.
1 | Furnished / Not
2 | Uploaded / Not
(b) | Certificate of Registration of the Company. Please mention the date of incorporation of the company
1 | Uploaded / Not
(c ) | Valid Super Grade Electrical Contractor’s License issued by the Government of Karnataka as on the date of techno commercial Bid opening. Please mention the date of expiry of the License certificate issued by GOK/ Undertaking to this effect
1 | Uploaded / Not
(d) | Self declaration regarding Litigation w.r.t KPTCL contracts over the last five years (refer ITT)
1 | Uploaded / Not
(e) | Self declaration for ‘not being disqualified regarding non-performance in any of the Government utilities in the past five years’. (refer ITT)
1 | Uploaded / Not
(f) | An undertaking to source the supply of equipment/ material from KPTCL approved vendors only as per QR for Vendor registration, available in the KPTCL website ie., kptcl.karnataka.gov.in, Link Tendering & Procurement-Application for Vendor.
1 | Uploaded / Not
(g) | Self declaration regarding no action against the bidder have been taken by KPTCL in respect of Risk & Cost clause
1 | Uploaded / Not
(h) | Self declaration regarding 'Eligibility clauses in respect of restrictions on procurement from a bidder of a country which shares a land border with India as per Annexure-XVI
1 | Uploaded / Not
(i) | Self declaration regarding RESTRICTIONS ON SOURCING OF EQUIPMENTS/MATERIALS BY THE BIDDER FROM A VENDOR OF A COUNTRY WHICH SHARES A LAND BORDER WITH INDIA as per Annexure -XVII
1 | Uploaded / Not
Section 3 : 1.3 Work performed by bidder as per Clause No: 3.2 (b) (i) of ITT
Project Name | Name & Address of the Employer | Description of Work | Voltage class | Number of Sub-Stations/Length of the Line | Contract Number | Value of contract Rs. Lakh | Date of issue of work order | Specified period of completion | Actual date of commissioning | Remarks explaining reasons for delay in commisioning of work
1 | 2 | 3a | 3b | 3c | 4 | 5 | 6 | 7 | 8 | 9
Name of Bidder
Note : 1 . The documentary proof of fulfilling the qualifying requirements shall be uploaded along with the bid. The bidder shall upload the P.O,LOI/LOA, DWA, Work done, Performance Certificates issued by the end users not below the rank of Executive/ Divisional Engineer along with the bid.
2. The qualifying experience of the Bidder who is having qualifying experience shall be furnished in the above performa and Documentary Proof in support of above shall be uploaded in the form of certificates issued by authorized officers of concerned organisations.
3. IF this sheet is insufficient for furnishing the qualifying experience of the Bidder then similar sheets shall be seperately uploaded.
Name
Date | [6 empty] | Designation
Place | [6 empty] | Name of the Company

## Sch-9(2 of 5)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 9 (2 of 5) : QUALIFYING REQUIREMENTS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
| BIDDER'S NAME AND ADDRESS: |  |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Section 3 : 1.5 Information on works for which Tenders have been submitted and works which are yet to be completed as on the date of this Tender of a Bidder
(A) Existing commitments and on-going works:
Description of work | Place & State | Contract No & Date | Name and Address of Employer | Value of contract (Rs. Lakh) | Stipulated period of cof Completion | Value of works remaining to be completed ( Rs.Lakhs) (Attach Certificates from Engineers –in- Charge) |  |  | Anticipated date of commissioning
[6 empty] | Ex-Works | GST | Total (Ex-works + GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Note:Attach Certificates from Engineers –in- Charge
B)Works for which Tenders already submitted
Description of work | Place & State | Name and Address of Employer | Estimated value of works (Rs. Lakh) |  |  | Stipulated period of Completion | Date when decision is expected | Remarks if any
|  |  | Ex-Works | GST | Total (Ex-works + GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Note:
i) The statements showing the value of existing commitments and on-going works as well as the stipulated period of completion remaining for each of the works listed should be countersigned by the Employer in charge, not below the rank of an Executive Engineer or equivalent.
ii) A self-declaration is to be uploaded by the bidder stating that "the information with regard to assessed available tender capacity (Works on Hand) furnished are correct”.
Date |  |  |  | Name
Place |  |  |  | Designation
Name of the Company

## Sch-9(3 of 5)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 9 (3 of 5) : QUALIFYING REQUIREMENTS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
| BIDDER'S NAME AND ADDRESS: |  |  |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Following is the list of major supplied subsation equipments/accessories which are type tested and designed, manufactured by us in accordance with internationally recognised standards.
Sl. No. | Item rating, type and Designation | Qty | Customer | Date of Order | Date of Supply | Date of Commissioning | Ref. of Cusomer's certificate of successful operation enclosed | Ref. of layout & Customer's certificae for successful commission
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Note: Documentary Proof in support of above shall be uploaded in the form of certificates issued by authorized officers of concerned organisations.
Date |  |  | Name
Place |  |  | Designation
Name of the Company

## She-9(4 of 5)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE - 9 (4 of 5) : QUALIFYING REQUIREMENTS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDER'S NAME AND ADDRESS: |  |  |  |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Section 3 : 1.7 Reports on the financial standing of the tenderer, such as Profit and Loss Statements and Auditor’s reports in the preceeding last five years, Audited Financial statements i.e Balance sheets, P&L statements, Turnover certificates duly certified by chartered Accountant as documentary evidence shall be uploaded.
SLNo. | Particulars | Year | Lead Bidder
|  |  | Mention Year | Amount(Rs.)
Names of the constituent Firms
1 | Annual turn over for the last Five years | Year(1) | 2020-2021
|  | Year(2) | 2021-2022
|  | Year(3) | 2022-2023
|  | Year(4) | 2023-2024
|  | Year(5) | 2024-2025
2 | Liquid Assets / Credit availability or access to evidence of assets
3 | Whether Audited Balance sheets and Profit & Loss statement are enclosed for the last Five Years ? (yes/No)
4 | Whether Bankers certificate enclosed for credit facilities? (Yes/No)
Date |  |  | Name
Place |  |  | Designation
Name of the Company
.
. .

## She-9(5 of 5)
Karnataka Power Transmission Corporation Limited
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
SCHEDULE - 9 (5 of 5) : QUALIFYING REQUIREMENTS
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
| BIDDER'S NAME AND ADDRESS: |  |  | TO,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
The information to be filled in by the Tenderer hereunder will be used for purposes of computing Tender capacity as provided for in Clause 3 of the Instructions to Tenderers. This information will not be incorporated in the Contract.
1.1 | Constitution or legal status of Tenderer [Upload copy]
Place of Registration [Upload copy]
Principal place of business
Section 3: 1.2 Total value of works executed (KPTCL & NON KPTCL works) and payments received in the last five years (in Rs. Lakhs)
1.2 | Total value of works executed (KPTCL & NON KPTCL works) and payments received in the last five years (in Rs. Lakhs) of Bidder | Financial Year | Details
|  |  | KPTCL works | Non KPTCL works
|  |  | Total value of works in Rs. Lakh | Total value of works in Rs. Lakh
2020-2021
2021-2022
2022-2023
2023-2024
2024-2025
2025-2026
Note: Attach relevant Certificate/s from Chartered Accountant.
Section 3: 1.9 Name, address, and telephone, telex, and fax numbers of the Tenderers' bankers who may provide references if contacted by the Employer.
| Sl.No | Name, address, and telephone, telex, and fax numbers of the Tenderers' bankers
1
2
3
4
5
6
7
8
1.12 | Information on litigations in which the Tenderer is involved:
| Other Party(ies) | Employer | Details of Dispute | Amount involved | Remarks showing Present Status
| 1 | 2 | 3 | 4 | 5
Date
Place
Name
Designation
Name of the Company

## Sch-10( 1 of 3)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE-10 (1 of 3) Details of Tools and Plants available
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDER'S NAME AND ADDRESS: |  |  |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Following are the details of the Tools and Plants available with us.
Sl. No. | Description | Quantity | Make | Present Location / Project | Remarks (if any)
1 | 2 | 3 | 4 | 5 | 6
Date |  |  | Name
Place |  |  | Designation
Name of the Company

## Sch-10(2 of 3)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE 10 (2 of 3) Details of Technical staff employed
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDER'S NAME AND ADDRESS: |  |  |  |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Section 3: 1.8 Qualification and experience of the key technical and management personnel in permanent employment with the tenderer and those that are proposed to be deployed on this contract, if awarded
Sl. No. | Name of the employee | Designation | Branch (Degree/Diploma) | Year of Passing | Since when employed in erection division | Past Experience
1 | 2 | 3 | 4 | 5 | 6 | 7
Date |  |  | Name
Place |  |  | Designation
Name of the Company

## Sch-10(3 of 3)
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE 10 (3 of 3 )
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDER'S NAME AND ADDRESS: | [9 empty] | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
We propose the following deployment of manpower for the Substation Portion and Line Package.
Sl. No. | Category | MONTHS AFTER PLACEMENT OF AWARD LETTER
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | Project manager
2 | Sr. Project Manager
3 | Supervisor
4 | Technicians
5 | Skilled labour
6 | No skilled labour
Date |  | MONTHS AFTER PLACEMENT OF AWARD LETTER 2: Name
Place |  | MONTHS AFTER PLACEMENT OF AWARD LETTER 2: Designation
Name of the Company

## Sch-11A
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE-11 (A) : COMPLETION SCHEDULE FOR STATION/TERMINAL BAYS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Bidders Name and Address: |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
We hereby declare that following schedules shall be followed by us for the above work. The period of various activities from the date of placement of award letter shall be as follows
SL.NO | Activity
|  | Commencement | Completion
1 | Detailed engineering
2 | Procurement of bought out items / raw materials
3 | Manufacturing & Testing
4 | Shipments
5 | Setting up of site office, Sheds & stores etc.
6 | Excavation
7 | Concreting for
a)Structure Foundations
b)Equipment and mounting structure foundadions
c)Cable trenches
1. Civil Works
2. Installation
8 | Receipt(at site) of
a)Main equipment / spares
b)Structures
c)Insulators & Hardwares
d)Clamps & Connectors
e)Marshalling kiosks
f)Cables & Cabling Materials
9 | Erection of
a)Main structures
b)Equipment support structures
10 | Equipment Erection
11 | Earthmat
12 | Bus bar erection
13 | Stringing
14 | Cabling
15 | Completion of testing and ready for commissioning
16 | Commissioning
Date |  | Name
Place |  | Designation
Name of the Company

## Sch-11B
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE-11B : COMPLETION SCHEDULE FOR TRANSMISSION LINES
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Bidders Name and Address: |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
We hereby declare that following shedules shall be followed by us for the above work. The period of various activities from the date of placement of award letter shall be as follows.
SL.NO | Activity | Period in Months for the Work of Construction of 66kV Transmission Lines
|  | Commencement | Completion
I | SUPPLY
1 | Submission of Drawings
2 | Completion of detailed engineering
3 | Commencement of Manufacturing
4 | Completion of Manufacturing
5 | Readiness for testing
6 | Readiness for Shipment
7 | Receipt at Site
8 | Completion of Shipment
II | ERECTION
1 | Detailed Survey
2 | Setting up of site office, sheds and stores etc.
3 | Exacavation for foundations.
4 | Foundations and other Civil Works
5 | Erection of Tower alongwith accessories
6 | Stringing of conductor/ groundwire alongwith accessories
7 | Testing , Commissioning and Handing over.
Date |  | Name
Place |  | Designation
Name of the Company

## Sch-12
Karnataka Power Transmission Corporation Limited
SCHEDULE - 12 TYPE TESTS & TEST CHARGES OF EQUIPMENT/MATERIALS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDERS SHALL INDICATE VARIOUS TYPE TESTS IN LIGHT BLUE COLOURED CELLS
ALL THE TYPE TESTS APPLICABLE FOR EACH OF THE EQUIPMENTS SHALL BE INCLUDED.
Bidders Name and Address |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
SL.No | Details of Equipments | Type Test(To be filled for applicable items only) | Test Charges ( in Rs )
1 | Power Transformers: | VOID
| b) 100MVA,220/110kV | VOID
| b) 10MVA,110/11kV | VOID
2 | SF6 Circuit Breakers:
a)220KV Class
b) 110KV Class
3 | Isolators:
a)220KV Class
b)110KV Class
c)11KV Class
4 | Current Transformer:
a)220KV Class
b)110KV Class
5 | Voltage Transformers:
a)220KV Class
b)110KV Class
6 | Capacitive Voltage Transformers:
a)220KV Class
b)110KV Class
7 | Surge Arrestors
a)198 KV class
b)96 KV class
c)60 KV class
d) 9KV class
8 | a) Relay & Protection Panels
b) Substation Automation
9 | L.T. A.C Panel
10 | Station Battery
11 | Station Battery Charger
12 | PLCC Battery
13 | PLCC Battery Charger
14 | 1.1KV Copper control cables/LT Power Cable
15 | 11KV U.G Cable
16 | PLCC equipment
17 | Conductors & Earth Wire a) Drake ACSR
b) Coyote conductor
c) Lynx conductor
d) Earth Wire
e)OPGW
18 | Insulators a) 120/90KN Disc Insulator Strings
b) Solid Core Insulators
c) Silicon rubber/ Disc/ Long rod insulators
d) Post Insulators
19 | Station / Mounting Structures
20 | Towers
21 | Hardware Materials
22 | Aluminium pipe and Clamps
23 | AC DISTRIBUTION BOX
24 | DC DISTRIBUTION BOX
25 | Nitrojen Fire Fighting Protection System
NOTE: The Type Test / Special Tests, if repeated at the insistance of owner, the applicable testing charges shall be paid by the successful Bidder upfront to the laboratory and the same shall be reimbursable by KPTCL as per actuals on submission of Bills along with proof of payment and on successful completion of all the Type Tests, specified and on approval of the same by the owner. In case equipment/material fails in the type tests during testing then the testing charges paid by the Bidder to the laboratory will not be reimbursed by KPTCL. The above Clause is applicable for all the equipments/materials, in case, the Type Test / Special Tests, are repeated at the insistance of owner(KPTCL).
Date |  | Signature
Place |  | Printed Name
Designation
Company seal

## Sch-13
Karnataka Power Transmission Corporation Limited
Schedule -13-List of Optional Spares
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDERS SHALL NOTE THAT QUANTITIES INDICATED IN THE ITEM_WISE FINANCIAL BID OFFER SHALL BE INDICATED HERE ALSO.
Bidders Name and Address |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Sl. No. | For Equipments | Details of item | Unit | Quantity
Date |  | Name
Place |  | Designation
Name of the Company

## Sch-14
Karnataka Power Transmission Corporation Limited
SCHEDULE - 14-Guaranteed Losses : VOID
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Bidders Name and Address |  |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir, We Declare that the ratings and performance figures of the transformer furnished by us under the Turnkey Package are Guaranteed. We further declare that in the event of any deficiencies in meeting the guarantees in repect of the characteristics mentioned below as established after conducting the factory test, you may at your discretion,reject or accept the equipment after assessing the liquidated damages as specified in relevant clause of Bid Document.
| Equipment | Guaranteed Losses at rated output(KW)
|  | Max No Load loss at rated voltage and rated frequency | Max Load loss at rated current and frequency and at 75 deg C at principal tap | Max I2 R loss at rated current and frequency and at 75 deg C at principal tap | Max Auxiliary loss at rated voltage and frequency for Power Transformer
| i) 10MVA, 110/11kV Power Transformer | VOID (Supplied by KPTCL)
Note:(i) Refer Technical Specifications Vol II A 1 of 2, Section 3 (A) (ii)The loss quoted shall be consistent in Schedule 14 and GTPs(DRS)of Power Transformer
| Equipment | Total Losses in KW / watts
| i) 100KVA, 11KV/433V Auxiliary Transformer |  |  | Note: Refer Technical Specifications Vol IIA 2 of 2, Section 5.5 clause 10.0 As per technical specifications, for 100 kVA, 11KV/433V Auxiliary Transformer: Maximum Losses should not exceed 1500 watts
Note: Refer Technical Specifications Vol IIA 2 of 2, Section 5.5 clause 10.0 As per technical specifications, for 100 kVA, 11KV/433V Auxiliary Transformer: Maximum Losses should not exceed 1500 watts.
| Date |  | Name
| Place |  | Designation
Name of the Company

## Sch-15
Karnataka Power Transmission Corporation Limited
SCHEDULE-15
LIST OF VENDORS
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDERS NAME AND ADDRESS |  |  |  | The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Sl. No. | EQUIPMENT/ MATERIAL | NAME OF THE VENDOR
|  | VENDOR 1 | VENDOR 2 | VENDOR 3 | VENDOR 4
1 | Power Transformers: | VOID
a) 100MVA,220/110/11kV
b) 10MVA,110/11kV
2 | SF6 Circuit Breakers:
a)220KV Class
b) 110KV Class
3 | Isolators:
a)220KV Class
b)110KV Class
c)11KV Class
4 | Current Transformer:
a)220KV Class
b)110KV Class
C)11KV Class
5 | Voltage Transformers:
a)220KV Class
b)110KV Class
6 | Capacitive Voltage Transformers:
a)220KV Class
b)110KV Class
7 | Surge Arrestors
a)198 KV class
b)96 KV class
c)60 KV class
d) 9KV class
8 | a) Relay & Protection Panels
b) Substation Automation
9 | L.T. A.C Panel
10 | Station Battery
11 | Station Battery Charger
12 | PLCC Battery
13 | PLCC Battery Charger
14 | 1.1KV Copper control cables/LT Power Cable
15 | 11KV U.G Cable
16 | PLCC equipment
17 | Conductors & Earth Wire a) Drake ACSR
b) Coyote conductor
c) Lynx conductor
d) Earth Wire
e)OPGW
18 | Insulators a) 120/90KN Disc Insulator Strings
b) Solid Core Insulators
c) Silicon rubber/ Disc/ Long rod insulators
d) Post Insulators
19 | Station / Mounting Structures
20 | Towers
21 | Hardware Materials
22 | Aluminium pipe and Clamps
23 | AC DISTRIBUTION BOX
24 | DC DISTRIBUTION BOX
25 | Nitrojen Fire Fighting Protection System
Note : Any Other Materials name & its vendors are to be entered.
| Date |  | Name
| Place |  | Designation
Name of the Company

## Sch-16
SCHEDULE-16 : NO DEVIATION CERTIFICATE (ANNEXURE-I)
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
NOTE: SCHEDULE DULY SIGNED BY THE AUTHORIZED PERSON SHALL BE UPLOADED
| With reference to our Bid Proposal No |  |  | dated
for
We hereby confirm that we have read the provisions of the contract, the stipulation of these clause are acceptable to us,
and we have not taken any deviation whatsoever to these clauses:
|  | a) Terms of Payment | Clause No. 37 of Section-5 : Conditions of Contract – CC, Cl. No. 8 of Special Conditions of Contract-SCC
|  | b) Bid guarantee | Clause No. 6, Section :1, Invitation for Tenders (IFT) and Clause No. 13, Section :2, Instruction to Tenderer-ITT
|  | c) Contract Performance guarantee | Clause 29, Section –2, Instruction to Tenderer-ITT.
|  | d) Penalty for delay | Clause No. 41 of Section-5 - Conditions of Contract-CC
|  | e) Price Basis/Price Adjustment | Clause No. 40 of Section-5-Conditions of Contract-CC
|  | f)Defects Liability Period/ Guarantee | Clause No. 10 of Special Conditions of Contract-SCC
|  | g) Work Schedule | Clause No. 17 of Conditions of Contract-CC
|  | h) Taxes and duties | Clause No. 11.11 of Instruction to Tenderer (ITT)
We further confirm that any deviation to the above clauses at SI.No. (a) to (h) found anywhere in our bid proposal, implicit or explicit, shall stand unconditionally withdrawn, without any cost, implication whatsoever to KPTCL.
| Date |  | Name
| Place |  | Designation
Name of the Company

## Sch-17
Karnataka Power Transmission Corporation Limited
SCHEDULE-17 FORM FOR BID SECURITY/EMD (ANNEXURE-II)
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
NOTE: SCHEDULE DULY SIGNED BY THE AUTHORIZED PERSON SHALL BE SENT ALONG WITH ORIGINAL BANK GUARANTEE AND ORIGINAL DD (TOWARDS SFMS CHARGES IF ANY ) TO CHIEF ENGINEER ELECTRICIYT ,TRANSMISSION(OPERATIONS) ZONE,KPTCL,HASSAN SO AS TO REACH AFTER THE LAST SUBMISSION DATE & ON OR BEFORE THE DATE & TIME OF OPENING TECHNO COMMERCIAL BIDS.
Ref No. |  |  |  | Bank Guarantee No.
Date
Dear Sirs,
In accordance with Invitation to Bid under your specification
No. |  | M/s |  |  | having its Registered /
Head Office at |  | (hereinafter called the 'Bidder') wish
to participate in the said Bid or |  |  |  | and you, as a special favour have agreed
to accept an irrevocable and unconditional bank guarantee for an amount of
valid up to |  | on behalf of Bidder in lieu of the Bid deposit required to be made
by the Bidder as a condition predecent for participation in the said Bid,in addition to the Demand draft No.
| dated |  | .
we the |  | Bank at |  |  | having our Head office at
(local address) guarantee and undertake to pay immediately on demand by Karnataka Power Transmission Corporation
the amount of | [5 empty] | (in figures and words)
without any reservation, protest, demur and recourse. Any such demand made by said `Owner' shall be conclusive and binding on us irrespective of any dispute or difference raised by the Bidder.
This Guarantee shall be irrevocable and shall remain valid up to and including
@
If any further extension of this guarantee is required, the same shall be extended to such required period (not exceeding one year) on receiving instructions
from M/s |  |  |  |  | on whose behalf this guarantee is issued.
This Guarantee has been issued using SFMS Platform and the requisite communication in this regard has been forwarded to the Beneficiary Bank.
In witness whereof the Bank, through its authorised officer, has set its hand and stamp on this
| day of |  |  |  | at
Witness
Signature |  | Signature
Name |  | Name
Official Addressess |  | Designation with Bank Stamp.
Attorney as per Power of Attorney No.
Date
Note : 1) Both the Bank Guarantee and Demand Draft shall be scanned and uploaded along with Electronic sheets. 2) This date shall be Forty Five (45) days after the last date for which the bid is valid.

## Sch-18
Karnataka Power Transmission Corporation Limited
SCHEDULE-18 PROFORMA OF LETTER OF UNDERTAKINGS (ANNEXURE-V)
SHEET FOR TECHNOCOMMERCIAL OPENING
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
NOTE: SCHEDULE DULY SIGNED BY THE AUTHORIZED PERSON SHALL BE UPLOADED
Ref |  |  |  | Date
To,
Dear Sirs,
1. I*/We* have read and examined the following bid documents relating to the
(full Scope of Work)
a) Notice Inviitng Tender
b) Conditions of Contract containing section 'Invitation for Tenders’, 'Instructions to Tenderers’, ‘Conditions of Contract’ and Contract Data.
c) Special Conditions of Contract along with Annexure |  |  |  | to
d) Drawings No.
e) Technical Specifications
2 . I*/We* hereby submit our Bid and undertake to keep our Bid Valid for a period of 180 days from the date of techno-commercial bid opening. I*/We* hereby further undertake that during said period I/We shall not vary/alter or revoke my/our Bid.
This undertaking is in consideration of KPTCL agreeing to open my/ our Bid and consider and evaluate the same for the purpose of award of Work in terms of provisions of clause entitled "Award of Contract" 'cl.no. 26 of Section ITT of the Bid Documents.
Should this bid be accepted, I*/We* also agree to abide by and fulfil all the terms, conditions of provision of the above mentioned bid.
Signature along with Seal of Co.
(Duly Authorised to sign the Tender on Behalf of the Contractor.)
NAME
DESIGNATION
NAME OF THE COMPANY (in Block Letters)
WITNESS
SIGNATURE |  | Date and Postal Address
DATE |  | Telegraphic Address
NAME AND ADDRESS |  | Telephone No.
Telex No.

## Sch-19
Karnataka Power Transmission Corporation Limited
SCHEDULE-19 - CONSORTIUM AGREEMENT ON NON JUDICIAL STAMP PAPER OF Rs. 500/- (ANNEXURE -XIII)
VOID

## Sch-20A
Karnataka Power Transmission Corporation Limited
SCHEDULE-20A POWER OF ATTORNEY (ANNEXURE-XI)
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
NOTE: SCHEDULE DULY SIGNED BY THE AUTHORIZED PERSON SHALL BE UPLOADED.
POWER OF ATTORNEY
(On Non-Judicial Stamp Paper of Value Rs. 500 )
KNOW ALL MEN BY THESE PRESENTS that we
a Company incorporated
under the laws of
and having its Registered Office / Head Office at
"Manufacturer / Bidder" which expression shall unless repugnant to the
Context or meanig thereof, include its successors, administrators and assigns)
acting through Mr | [5 empty] | its constitute, nominate and appoint
M/s |  |  |  |  | a Company incorporated under the laws of
and having its Registered / Head Office at
as its duly constituted lawful Attorney (hereinafter called "Attorney"
or "Authorized Representative") to exercise all or any of the powers for and on
behalf of the "Manufacturer / Bidder" in regard to Specification No.
Package
the bids for which have been invited by
(Address "Owner") to undertake the following acts:
i. | To submit proposal and participate in the aforesaid Bid Specification of the Owner on behalf of the "Manufacturer / Bidder".
ii. | To negotiate with the "Owner" the terms and conditions including price for award of the contract pursuant to the aforesaid Bid and to sign the contract with the "Owner" for and on behalf of the Manufacturer / Bidder.
iii. | To receive accept and execute the contract for and on behalf of the "Manufacturer / Bidder".
iv. | To do any other act or submit any document related to the above.
It is expressly understood that the Power of Attorney shall remain valid, binding and irrecoverable till submission of the Contract performance guarantee in terms of the Contract. The "Manufacturer / Bidder" hereby agrees and undertakes to ratify and confirm all the whatsoever the said "Attorney" / "Authorised Representative" quotes in the Bid, negotiates and signs the contract with the "Owner" and / or purports to act on behalf of the "Manufacturer / Bidder" by virtue of this Power of Attorney and the same shall bind the "Manufacturer / Bidder" as if done by itself.
IN WITNESS WHEREOF THE "Manufacturer / Bidder" has executed these presents at
|  |  | on this day of | [5 empty] | under
the Common Seal of the Manufacturer company / Bidder.
Specimen Signature of Attorney Holder
(Name & Designation)
For and on behalf of
Common Seal of the above Manufacturer/Bidder
Has been affixed thereto in the presence of :
WITNESSES :
1 | Signature
Name
Designation
Occupation
2 | Signature
Name
Designation
Occupation

## Sch-21
Karnataka Power Transmission Corporation Limited
SCHEDULE - 21
SHEET FOR TECHNOCOMMERCIAL OPENING (UN - PRICED)
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Bidders Name and Address |  |  | To
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
Dear Sir,
We Declare that the ratings and performance figures of the equipment furnished by us under the Turnkey Package are Guaranteed. We further declare that in the event of any deficiencies in meeting the guarantees in repect of the characteristics as established after conducting the performance test, you may at your discretion, reject the equipment, in which case we shall replace the same with equipment as per specification and meeting the guarantee, free of charge and within a resonable time, to be mutually agreed.
Date |  | Name
Place |  | Designation
Name of the Company

## Sch-22
KARNATAKA POWER TRANSMISSION CORPORATION LIMITED
SCHEDULE -22 - Check List
Combined package of 1. WORK A: Balance portion of “Providing additional 1x8MVA, 66/11 kV Transformer at 220/66/11 kV Muguluvalli sub-station in Chikkamagaluru Taluk, Chikkamagaluru District- Work Code-CE1047” 2. WORK B: Providing SAS Panel for 11kV bus coupler & SAS integration for 11kV switchgear and other left out works of additional 8MVA, 66/11KV Transformer-2 at 220/66/11KV Muguluvalli Receiving station in Chikkamagaluru Taluk, Chikkamagaluru District.
Work Indent No.: KPTCL/2026-27/EL/WORK_INDENT3920
BIDDERS NAME AND ADDRESS |  |  | To,
The Chief Engineer (Elect.), Transmission(Operations) Zone, KPTCL, Prasarana Bhavana, Third Floor, Santhepete, B.M.Road, Hassan-573201
CHECK LIST FOR SUBMISSION OF SCHEDULES
REFERENCE OF FORM & SCHEDULE | DETAILS OF FORM & SCHEDULE | WHETHER INCLUDED IN TECHNO-COMMERCIAL SHEETS (ELECTRONIC) YES/NO | WHETHER INCLUDED IN Item-Wise Bid Financial Offer (ELECTRONIC) YES/NO | WHETHER INCLUDED IN COMMERCIAL
1 | 2 | 3 | 4 | 5
PROPOSAL | BID PROPOSAL
Schedule - 1 | PRICE COMPONENTS
Schedule 2 (1 of 2 & 2 of 2) | Summary of Price Components
Schedule 2A | Schedule of Discounts
Schedule 2B | Statement of Commercial Terms & Conditions
Schedule 3A & 3B | Price break up for supply & erection
Schedule 3C | Price break up for civil works
Schedule 4 | Price break up for mandatory spares and maintenance & Testing Equipments.
Schedule 5 | Commercial deviations
Schedule 6 | Technical deviations
Schedule 7 | List of special Tools & Tackles
Schedule 8 | Additional information.
Schedule 9 | Qualification Information [Technical & Financial]
Schedule 10 | Details of Tools and plants and man power deployment
Schedule 11 A & 11B | Schedule for activities & Commissioning.
Schedule 12 | Type Test Charges
Schedule 13 | List of optional spares and cost.
Schedule 14 | Guaranteed loss of transformer.
Schedule 15 | List of vendors.
Schedule 16 | Annexure 'A' No deviation certificate
Schedule 17 | Proforma for Bid guarantee
Schedule 18 | Proforma for letter of undertaking
Schedule 20A | Power of attorney
Schedule 21 | Guaranteed Declaration
Schedule 22 | Check list
DRS 1-42 | Relevant Technical details for Materials / Equipments
To be Uploaded | Contract Quality Assurance Programme
To be Uploaded | Type Test Certificates
To be Uploaded & furnished | Bid Security/EMD
To be Uploaded | Written Power of Attorney
To be Uploaded | Letter of Undertaking
To be Uploaded | No Deviation Certificate
To be Uploaded | Any Other (Please Specify)
To be Uploaded | Any Other (Please Specify)
To be Uploaded | Any Other (Please Specify)
Date |  | Name
Place |  | Designation
Name of the Company