## All
S C H E D U L E - B
Name of work: Removal of jungle and silt in distributaries 5,6 and 7 (Selected reaches) of RDS main canal and construction of gauge room at Distributary 6 of Tq Dist Raichur KNNL/2025-26/IW/WORK_INDENT4171
Name of Division : Executive Engineer, KNNL, No.5 Canal Division, Yermaru Camp.
Name of Sub Division : Asst.Executive Engineer, KNNL, RDS Sub Division, Gillesguru Camp.
Item No. | Description of category of worker to be Execute | Unit | Quantites of Estimation | AS PER ESTIMATE
|  |  |  | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6
1 | Earth work excavation for Foundation by mechanical means for all works & depth upto 3 m, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools, usage of machinery & other appurtenaces required to complete the work. In all kinds of soils Depth upto 3 m. as per the direction of Engineer-in-charge of work. | Cum | 27.66 | 107.1 | 2962.386
2 | Construction of Embankment by excavating the available approved Gravel/Murrum deposited at a place or borrow pits during or prior excavation with all lifts and lead, transportation to site, spreading, grading to required slope and compacting to meet the requirement complete as per specifications, including cost of labour,rolling,water,all materials,usage& all other appurtenaces required to complete the work. | Cum | 25.71 | 474 | 12186.54
3 | Providing and laying in position Cement Concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. Mix 1:3:6 Using 40 mm nominal size graded crushed coarse aggregates. as per the direction of Engineer-in-charge of work. | Cum | 4.68 | 6213.9 | 29081.052
4 | Providing Size Stone masonry with hard stone in foundation & plinth with Cement mortar 1:6 (1 cement : 6 coarse sand). as per the direction of Engineer-in-charge of work. | Cum | 7.57 | 6682.2 | 50584.254
5 | Providing and laying in position Cement Concrete for all Foundation works. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes, labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications (Excluding Steel & Formwork). M20 Design Mix Using 20 mm nominal size graded crushed coarse aggregates. as per the direction of Engineer-in-charge of work. | Cum | 2.6 | 6493.2 | 16882.32
6 | Providing and laying in Cement Concrete for all Basement & surface level works, return walls, retaining walls, sunken floors etc. The granite/trap/ basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers, laid in layers, well compacted using needle vibrators, providing weep holes wherever necessary, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications. M20 Design Mix Using 20 mm nominal size graded crushed coarse aggregates. as per the direction of Engineer-in-charge of work. | Cum | 1.03 | 6532.05 | 6728.0115
7 | Providing and laying in position Cement Concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications.. M20 Design Mix Using 20 mm nominal size graded crushed coarse aggregates. as per the direction of Engineer-in-charge of work. | Cum | 6.19 | 6853.35 | 42422.2365
8 | Providing and laying in position Cement Concrete for levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machinery, curing, and all the other appurtenances required to complete the work as per technical specifications. Mix 1:3:6 Using 20 mm nominal size graded crushed coarse aggregates. as per the direction of Engineer-in-charge of work. | Cum | 2.01 | 6454.35 | 12973.2435
9 | Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification. A) Buildings. as per the direction of Engineer-in-charge of work. | Tonne | 0.85 | 84204.75 | 71574.0375
10 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Footing Centering. As per the direction of Engineer-IniCharge of work. | Cum | 1.73 | 519.456 | 898.6589
11 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Column Upto Wall Bottom Centering. As per the direction of Engineer-IniCharge of work. | Cum | 0.87 | 519.456 | 451.9267
12 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Plinth beam Centering. As per the direction of Engineer-IniCharge of work. | Cum | 1.03 | 3266.025 | 3364.0058
13 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Column above plith beam Centering. As per the direction of Engineer-IniCharge of work. | Cum | 1.12 | 4797.345 | 5373.0264
14 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Column Lintel Centering. As per the direction of Engineer-IniCharge of work. | Cum | 0.51 | 4112.01 | 2097.1251
15 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Roof beam Centering. As per the direction of Engineer-IniCharge of work. | Cum | 1.03 | 4112.01 | 4235.3703
16 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Roof Slab Centering. As per the direction of Engineer-IniCharge of work. | Cum | 3.22 | 3426.675 | 11033.8935
17 | As per recommendation of technical working group, rates for formwork shall be added on percentage basis to the finished concrete item rate as per (PWD Common SR 2023-24 Vol-I Page No-111 Addendum Item No 02) RCC Roof Slab Centering. As per the direction of Engineer-IniCharge of work. | Cum | 0.3 | 3084.0075 | 925.2023
18 | Providing Brick work with common burnt clay Non Modular bricks of class designation 3.5 in superstructure above plinth level in all shapes and sizes in Cement mortar 1:6 (1 cement : 6 coarse sand) including cost of all materials, labour, scaffolding and usage charges of machinery & other incidental charges complete as per the direction of engineer incharge of work... as per the direction of engineer incharge of work | Cum | 7.12 | 8345.4 | 59419.248
19 | Providing 12 mm cement plaster with cement mortar 1:6 (1 cement: 6 fine sand) including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge of work. | Sqm | 41.02 | 252 | 10337.04
20 | Providing 12 mm cement plaster with cement mortar 1:4 (1 cement: 4 fine sand) to brick masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge. | Sqm | 18.5 | 265.65 | 4914.525
21 | Providing 20 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) to brick/stone masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per direc tions of Engineer-in-charge. and as per directions of Engineer-in-charge. | Sqm | 68.02 | 347.55 | 23640.351
22 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete as per specifications and as per directions of Engineer-in-charge and as per directions of Engineer-in-charge of work. | Sqm | 53.27 | 105 | 5593.35
23 | Distempering with dry distemper of approved brand and manufacture (two coats) of required shade on new work, over and including water thinnable priming coat to give an even shade after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | Sqm | 53.27 | 113.4 | 6040.818
24 | Distempering with dry distemper of approved brand and manufacture (two coats) of required shade on new work, over and including water thinnable priming coat to give an even shade after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. | Sqm | 74.27 | 113.4 | 8422.218
25 | Flooring with 25mm thick polished tandur blue stone slabs using cement mortar 1:6, 25mm thick over existing cement concrete bed or top of roof laid to line and level and jointed with cement slurry mixed with pigment to match the shade of the slab, , including cost of materials, labour, curing, polishing complete as per specifications., complete and as per directions of Engineer-in-charge of Work. | Sqm | 12.25 | 1618.05 | 19821.1125
26 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding. as per directions of Engineer-in-charge of Work. | Kg | 67.32 | 176.4 | 11875.248
27 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using flats 30x6mm for diagonal braces and central cross piece including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge.. and As per the direction of Engineer- in-charge of Work. | Sqm | 5.085 | 4454.1 | 22649.0985
28 | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material to be used or auctioned, including removal and disposal of top organic soil not exceeding 150 mm in thickness.(ii) By Mechanical Means using Dozer(a)a In area of light jungle | 100m2 | 239.58 | 412.65 | 98862.687
29 | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material to be used or auctioned, including removal and disposal of top organic soil not exceeding 150 mm in thickness.(ii) By Mechanical Means using Dozer(b)In area of thorny jungle | 100m2 | 675 | 508.2 | 343035
30 | De-silting of Feeder Channel/Canal in dry condition by excavating the deposited bed material and disposing off the same by stacking/ formation of Embankment or as directed including cost of all machinery, labour & all necessary works as directed and complete as per specification. | cum | 5458.44 | 98.7 | 538748.028
| Sub Total : |  |  |  | 1427132.0139
| Add : 18% GST |  |  |  | 256883.7625
| Total Rs. |  |  |  | 1684016
| GST 18% |  |  |  | 303122.88
| Grand Total |  |  |  | 1987138.88