| SL. NO. | ITEM CODE | ITEM NAME & SPECIFICATION | UNIT | QUANTITY | QUOTED MAKE AS PER SPECIFICATION |
| --- | --- | --- | --- | --- | --- |
| 1 | 130101365R | LED BULB 12 W PIN TYPE 12 Watts,220 Volts LED, Pin Type Bulb. MAKE: PHILIPS/EVEREADY/HAVELLS/ LUMINOUS/BAJAJ/ ORIENT/WIPRO | NUMBERS | 50 |  |
| 2 | 130110009B | DP MCB 10A DP Slim MCB 10A code no:9991 Voltage: - 240V Ac, 50Hz Make: CONA | NUMBERS | 5 |  |
| 3 | 130110010B | DP MCB 16A Double Pole MCB 16A: Mounting: Din Rail type Rated voltage:240V/415V rated Current:16A Breaking Capacity:6KA Make: ABB/L&T/INDOKOPP/SCHNEIDER/ LEGRAND/SIEMEN/CONA | NUMBERS | 10 |  |
| 4 | 130111321J | LED LAMP-RED 240V AC, 22.5mm, Panel Mount LED Lamp-Red Colour, with low voltage glow protection, MAKE: BINAY | NUMBERS | 10 |  |
| 5 | 130111322J | LED LAMP-YELLOW 240V AC, 22.5mm, Panel Mount LED Lamp-Yellow Colour, with Low Voltage Glow Protection, MAKE: BINAY | NUMBERS | 10 |  |
| 6 | 130111323J | LED LAMP-BLUE 240V AC, 22.5mm, Panel Mount LED Lamp-Blue Colour, with Low Voltage Glow Protection, MAKE: BINAY | NUMBERS | 10 |  |
| 7 | 130111325J | LED LAMP-WHITE 240V AC, 22.5mm, Panel Mount LED Lamp-White Colour, with Low Voltage Glow Protection, MAKE: BINAY | NUMBERS | 10 |  |
| 8 | 130111327J | LED LAMP-GREEN 250V DC, 22.5mm, Panel Mount LED Lamp-Green Colour, with Low Voltage Glow Protection, MAKE:BINAY | NUMBERS | 10 |  |
| 9 | 130306011V | 10 W 2' LED BATTEN FITTING LED BATTEN TUBELIGHT FITTING-10Watts, Led tube light power rating corresponding Min Luminious flux: 10 Watt, Warranty for free replacement (Years) :2 years,, Length of tube light (Nominal) (in mm): 2 FEET/536mm ,Ingress Protection in IP: IP 65,Operating Voltage range (Volts): 100 Volt to 300 Volt, Rated Voltage for Performance and life (Volts) : 220 Volt to 240 Volt AC, Compulsory Registration and CRS of BIS for safety to IS 10322 Pt 5 Sec 1 2012 :Yes, Power: 10W(10% variable),ISI STANDARD, FOR INDUSTRIAL USAGE , MAKE: BAJAJ / SYSKA CROMPTON/ WIPRO/HAVELLS/PHILIPS/HALONIX/SURYA/LOKOZO/ORANGEPLUS/C&S/CAPART | NUMBERS | 10 |  |
| 10 | 130902110K | HEAVY DUTY EXHAUST FAN 18'' 200W LED HIGH BAY AL REFLECTOR Heavy duty Exhaust fan 18inch (450mm) sweep, 1400 rpm 410W, 3-phase, 415V Propeller type dynamically balanced impeller, continious rated motor with insulation class A No. of blades - 4 of Die cast Aluminium & metal body Delivery - 6200 m3/hrs MAKE - CGL/ALMONARD/HAVELLS | NUMBERS | 10 |  |
| 11 | 1310105291 | 200W LED HIGH BAY AL REFLECTOR 200Watts LED HIGHBAY FITTING 200W, Operating input voltage range (in Volts): 100 to 280, Luminaire System Wattge (in Watts): 200, Description of store: LED High Bay Lighting for ceiling suspension type, Ingress Protection (IP) Rating of Luminaire (agreed to furnish test certificates to buyer / consignee on demand) :IP 65, Warranty period (in Year):2, Surge Voltage withstand (KV) 2.5 KV, LED Chip Efficacy (Lm/W) 130, Rated Voltage for Performance and life (Volt) 220-240, Compulsory Registration and CRS of BIS for safety to IS 10322 Pt 5 Sec 1 2012: Yes.ISI STANDARD, FOR INDUSTRIAL USAGE MAKE: BAJAJ / SYSKA / CROMPTON/ WIPRO/HAVELLS/PHILIPS/HALONIX/ SURYA/LOKOZO/ ORANGE PLUS/C&S/CAPART | NUMBERS | 15 |  |

EXECUTIVE ENGINEER (MSP) JOG,

KARNATAKA POWER CORPORATION LTD.

JOGFALLS-577435