TENDER NOTIFICATION

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

FOR SUPPLY & INSTALLATION

Bone Cutting Machine

Tender Amount :- 20 Lakhs

KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI - 580 021

(Autonomous Medical Institution)

Mallasamudra, KARWAR - 582103

GOVERNMENT OF KARNATAKA

GOVERNMENT OF KARNATAKA

### KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

Office No.   +91- 836- 2370057, +91- 836 - 2373447, +91 - 836 - 2373641,

Website : www.kimsHubballi.org/

CHECK LIST

Name of the Equipment quoted &

Country of Origin

DOCUMENTS TO BE ENCLOSED ALONG WITH TENDER

(Upload the papers in following order.)

First Bid- Techno commercial bid.

Contact Details………….

PAN Card……………….

| 1 | Tender form duly signed as per Section VIII |  |  |
| --- | --- | --- | --- |
| 2 | Attested copy of Manufacturer licence for the equipment, if tenderer is a Manufacturer |  |  |
| 3 | Authorised Agency certificate from Principal manufacturer in original format–Section XIV if tenderer is an authorized agent. |  |  |
| 4 | GST Registration Certificate of the Tenderer |  |  |
| 5 | List of Supplies or Installations of Same or similar nature goods in Government institutions or private institutions of Karnataka or India. |  |  |
| 6 | Performance or end user Certificate of satisfactory supply & Service from the Head of the Institute or Head of the concerned department refer Section XVI |  |  |
| 7 | Self declaration stating that the firm is not Black listed with any Government or Quasi Govt. Organizations and will not supply Refurbished Equipments . |  |  |
| 8 | Firm or Company or Organization should not be facing any judicial trial or departmental enquiry. The firm should submit a self declaration in support of this. |  |  |
| 9 | CA Certified Annual Turnover statement & Balance Sheet of 2021-22, 2022-23, 2023-24. The Average Annual Turnover should be 20 Lakhs. |  |  |
| 10 | Technical specification, literature or information Brochure or Data sheet of the equipment. |  |  |
| 11 | Compatibility for the tender Specifications & Clarification for the deviations to be mentioned in the document |  |  |
| 12 | Particulars of Service centers in Karnataka &India Technical staff details available. |  |  |
| 13 | The equipment quoted should have the approval of all the Competent authorities and should have F.D.A or C.E or I.S.O as per the concern Department equipment Specification provided by HOD & BME. |  |  |
| 15 | GST Paid Challan from 1st April 2024 to 31st March 2025 |  |  |
| 16 | Affidavit as per Annexure II |  |  |
| 17 | EMD Paid Details. |  |  |

2nd Bid –PRICE BID

| 1 | Price Schedule as in Section IX |  |  |
| --- | --- | --- | --- |

Director, KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE HUBBALLI.

This certificate should be produced and submitted in original to the Director of KARNATAKA MEDICAL COLLEGE AND RESEARCH  INSTITUTE, Hubballi at the time of verification of the  original documents.

Signature of the Tenderer.

Authorised Signatory,

Name………………………………

Designation……………………….

Seal…………………………………

### GOVERNMENT OF KARNATAKA

KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

Office No.   +91- 836- 2370057, +91- 836 - 2373447, +91 - 836 - 2373641, Website:www.kimsHubballi.org/

TENDERS FOR THE SUPPLY OF HOSPITAL EQUIPMENTS

***********

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

| 1 | Tenders may be uploaded from | 18/06/2026 |
| --- | --- | --- |
| 2 | Last Date for Tender Queries (Consider in writing letter pad) | 23/06/2026 |
| 3 | Pre Bid | 24/06/2026 |
| 4 | Last date for uploading the tenders | 30/06/2026 before 5-00 PM |

(If the last date declared is a general holiday, next working day)

DIRECTOR

KARNATAKA MEDICAL COLLEGE AND

RESEARCH  INSTITUTE  HUBBALLI

KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

Office No.   +91- 836- 2370057, +91- 836 - 2373447, +91 - 836 - 2373641,

Website :www.kimsHubballi.org/

TENDERS FOR THE SUPPLY OF HOSPITAL EQUIPMENTS

SECTION- I. INVITATION FOR TENDERS

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

The DIRECTOR, KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI, invites tenders from eligible tenderers for the supply of the goods listed in the Schedule of requirements in two bid system from Manufactures with five years market standing or Authorized agencies. who are dealing in the equipments included in this Tender for the last 3 years.

- Each equipment in the tender will be considered as a separate package. The tenderers may submit tenders for any or all of the goods given in the schedule of requirements. Tenderers are advised to note the qualification criteria specified in Section VII to qualify for award of the contract.

3. Two Bid Systems (Consisting of Techno–Commercial & Financial bid) is followed. Tenders will be received through e-procurement portal along with earnest money deposit mentioned in Section –V-Schedule of Requirements.

a) The Completed e-procurement form along with all supporting documents mentioned above should be submitted to the portal of the e-procurement cell online  on or before 30-06 -2026  within  5.00  P.M.   Technical  bid  will  be  opened on

02-07-2026.  The date of opening of Financial bid will be intimated to bidders, whose tender is responsive for Techno-Commercial aspects.

b) Five years compulsory warranty period,

c) Prices shall be quoted in Indian rupees. Unit price shall include all taxes, including GST and other taxes, Transportation, installation and commissioning charges ,

d) Pre-Bid evaluation : Evaluation of the tender conditions & specification is done on the fixed date, any appeal in the matter will not be entertained thereafter.

e) Demonstration of the equipment or presentation of the sample of the technically qualified tenderer is compulsory before the team of experts.  The Tenderer will finally qualify for opening of the price bid, only on satisfactory certification / opinion by the experts.  Tenderer failing to give demonstration within the specified period will be rejected automatically without any prior notice.

h) If the bidder is sharing a Land border with India then Registration Certificate and Model Certificate issued by the Competent Authority to be obtained as specified vide Office Memorandum No. F.No.6/18/2019 - PPD issued by Ministry of Finance, GOI dt.23rd July 2020 and GO of GoK vide No. FD 455 Exp-12 2020 Bengaluru Dated:25.08.2020.  A declaration has to be submitted in Compliance regarding restrictions on public procurements from bidders of countries which shares a Land Border with India,  in the form of Affidavit as per Annexure II

SECTION II: INSTRUCTIONS TO TENDERERS

TABLE OF CLAUSES

Clause                        Topic                                                                                               Page

No.                           Number                                                                                               No.

###### A. Introduction

1. Eligible Tenderer 										9

2. Cost of Tendering 										9

###### B. Tender Documents

3. Contents of Tender Documents 								9

4. Clarification of Tender Documents 							9

5. Amendment of Tender Documents 							9

###### C. Preparation of Tenders

6. Language of Tender 									10

7. Documents Comprising the Tender							10

8. Tender Form 										10

9. Tender Prices										10

10. Tender Currency										10

11. Documents Establishing Tenderer’s Eligibility and Qualifications 			10

12. Documents Establishing Goods Eligibility and Conformity to Tender Documents	11

13. Earnest Money Deposit 									11

14. Period of Validity of Tenders								12

15. Format and Signing of Tender 								12

#### D. Submission of Tenders

#### 16. Sealing and Marking of Tenders								12

17 Deadline for submission of Tenders							12

18. Late Tenders										12

19 Modification and Withdrawal of Tenders							12

##### E. Tender Opening and Evaluation of Tenders

20 Opening of Tenders by the Purchaser 							13

21 Clarification of Tenders 									13

22 Preliminary Examination 									13

23 Evaluation and Comparison of Tenders 							14

24 Contacting the Purchaser 									15

##### F. Award of Contract

25 Post-qualification 										15

26 Award Criteria 										15

27 Purchaser’s Right to Vary Quantities at Time of Award 					15

28 Purchaser’s Right to Accept any Tender and to Reject any or all Tenders 		15

29 Notification of Award									16

30 Signing of Contract 									16

31 Performance Security 									16

32 Corrupt and Fraudulent Practices 								16

SECTION II: INSTRUCTION TO TENDERERS

- Introduction

1. Eligible Tenderers

  - Tenderers should not be associated, or have been associated in the past, directly or indirectly, with a firm or any of its affiliates which have been engaged by the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the goods to be purchased under this Invitation of Tenders.

  - Bidders shall not be under a declaration of ineligibility for corrupt and fraudulent practices issued by Government of Karnataka or any other state Government or GOI

2. Cost of Tendering:

2.1 The Tenderer shall bear all costs associated with the preparation and submission of its tender, and Director KMCRI Hubballi1 hereinafter referred to as "the Purchaser", will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the tender process.

B. The Tender Documents

3. Contents of Tender Documents

3.1 The goods required, tendering procedures and contract terms are prescribed in the tender documents. In addition

to the Invitation for Tenders, the tender documents include:

(a)Instruction to Tenderers (ITT) ;

(b) General Conditions of Contract (GCC) ;

(c) Special Conditions of Contract (SCC) ;

(d) Schedule of Requirements;

(e) Technical Specifications;

(f) Tender Form and Price Schedules;

(g) Earnest Money Deposit Form;

(h) Contract Form;

(i) Performance Statement Form;

(j) Manufacturer’s License/Manufacturers Authorization Form; and

(k)Equipment and Quality Control Form

3.2 The Tenderer is expected to examine all instructions, forms, terms, and specifications in the tender documents. Failure to furnish all information required by the tender documents or submission of a tender not substantially responsive to the tender documents in every respect will be at the Tenderer’s risk and may result in rejection of its tender.

4. Clarification of Tender Documents

4.1 A prospective Tenderer requiring any clarification of the tender documents may notify the Purchaser in writing or by telex or cable or fax at the Purchaser's mailing address indicated in the Invitation for Tenders. The Purchaser will respond in writing to any request for clarification of the tender documents which it receives no later than 15 days prior to the deadline for submission of tenders prescribed by the Purchaser. Written copies of the Purchaser's response (including an explanation of the query but without identifying the source of inquiry) will be sent to all prospective tenderers which have received the tender documents.

5. Amendment of Tender Documents

5.1 Give the designation of the Purchaser.

5.1 At any time prior to the deadline for submission of tenders, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective tenderer, modify the tender documents by amendment.

5.2 All prospective tenderers who have received the tender documents will be notified of the amendment in writing or by cable or by fax, and will be binding on them.

5.3 In order to allow prospective tenderers reasonable time in which to take the amendment into account in preparing their tenders, the Purchaser, at its discretion, may extend the deadline for the submission of tenders.

C. Preparation of Tenders

6. Language of Tender

6.1 The tender prepared by the Tenderer, as well as all correspondence and documents relating to the tender exchanged by the Tenderer and the Purchaser, shall be written in English language. Supporting documents and printed literature furnished by the Tenderer may be in another language provided they are accompanied by an accurate translation of the relevant passages in the English language in which case, for purposes of interpretation of the Tender, the translation shall govern.

7. Documents Constituting the Tender

7.1 The tender prepared by the Tenderer shall comprise the following components:

- A Tender Form and a Price Schedule completed in accordance with ITT Clauses 8, 9 and 10;

- Documentary evidence established in accordance with ITT Clause 11 that the Tenderer is eligible to tender and is qualified to perform the contract if its tender is accepted;

- Documentary evidence established in accordance with ITT Clause 12 that the goods and ancillary services to be supplied by the Tenderer are eligible goods and services and conform to the tender documents; and

- Earnest money deposit furnished in accordance with ITT Clause 13.

8. Tender Form

8.1 The Tenderer shall complete the Tender Form and the Price Schedule furnished in the tender documents, indicating the goods to be supplied, a brief description of the goods, their country of origin, quantity and prices.

9. Tender Prices

9.1 The Tenderer shall indicate on the Price Schedule the unit prices and total tender prices of the goods it proposes to supply under the Contract in second cover.

9.2 Prices indicated on the Price Schedule shall be entered separately in the following manner: as per section IX

- the price of the goods, quoted (ex-works, ex-factory, ex-showroom, ex-warehouse, or off-the-shelf, as applicable), including all duties and sales and other taxes already paid or payable

  - on components and raw material used in the manufacture or assembly of goods quoted ex-works or ex- factory; or

b on the previously imported goods of foreign origin quoted ex-showroom, ex-warehouse or off-the-shelf.

(ii)Indian duties, sales and other taxes which will be payable on the goods if this Contract is awarded;

(iii)price for inland transportation, insurance and other local costs incidental to delivery of the goods to their final destination; and

(iv)price of other incidental services listed in Clause 4 of the Special Conditions of Contract.

9.3 The Tenderer’s separation of the price components in accordance with ITT Clause 9.2 above will be solely for the purpose of facilitating the comparison of tenders by the Purchaser and will not in any way limit the Purchaser's right to contract on any of the terms offered.

9.4  Prices quoted by the Tenderer shall be fixed during the Tenderer’s performance of the Contract and not subject to variation on any account. A tender submitted with an adjustable price quotation will be treated as non-responsive and rejected, pursuant to ITT Clause 22.

10. Tender Currency

10.1 Prices shall be quoted in Indian Rupees:

11. Documents Establishing Tenderer's Eligibility and Qualifications

11.1 Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its Tender, documents establishing the Tenderer’s eligibility to tender and its qualifications to perform the Contract .

11.2 The documentary evidence of the Tenderer's qualifications to perform the Contract if its tender is accepted, shall establish to the Purchaser's satisfaction:

(a)that, in the case of a Tenderer offering to supply goods under the contract which the Tenderer did not manufacture or otherwise produce, the Tenderer has been duly authorized (as per authorization form in Section XIII) by the goods' Manufacturer or producer to supply the goods in India. (The item or items for which Manufacturer’s Authorization is required should be specified) [Note: Supplies for any particular item in each schedule of the tender should be from one manufacturer only. Tenders from agents offering supplies from different manufacturer's for the same item of the schedule in the tender will be treated as non-responsive.]

(b) that the Tenderer has the financial, technical, and production capability necessary to perform the Contract and meets the criteria outlined in the Qualification requirements specified in Section VII. To this end, all tenders submitted shall include the following information:

- The legal status, place of registration and principal place of business of the company or firm or partnership, etc.;

- Details of experience and past performance of the tenderer on equipment offered and on those of similar nature within the past three yearsand details of current contracts in hand and other commitments (suggested proforma given in Section XII

12. Documents Establishing Goods' Eligibility and Conformity to Tender Documents

12.1 Pursuant to ITB Clause 7, the Tenderer shall furnish, as part of its tender, documents establishing the eligibility and conformity to the tender documents of all goods and services which the tenderer proposes to supply under the contract..

12.2 The documentary evidence of conformity of the goods and services to the tender documents may be in the form of literature, drawings and data, and shall consist of :

- a detailed description of the essential technical and performance characteristics of the goods ;

- a list giving full particulars, including available sources and current prices, of spare parts, special tools, etc., necessary for the proper and continuing functioning of the goods for a period of two years, following commencement of the use of the goods by the Purchaser; and

- an item-by-item commentary on the Purchaser's Technical Specifications demonstrating substantial responsiveness of the goods and services to those specifications or a statement of deviations and exceptions to the provisions of the Technical Specifications.

12.3 For purposes of the commentary to be furnished pursuant to ITT Clause 12.2(c) above, the Tenderer shall note that standards for workmanship, material and equipment, and references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications are intended to be descriptive only and not restrictive. The Tenderer may substitute alternative standards, brand names and/or catalogue numbers in its tender, provided that it demonstrates to the Purchaser's satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specifications.

13. Earnest Money Deposit

13.1 Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its tender, earnest money deposit in the amount as specified in Section-V - Schedule of Requirements.

13.2 The earnest money deposit is required to protect the Purchaser against the risk of Tenderer's conduct which would warrant the security's forfeiture, pursuant to ITB Clause 13.7.

13.3 The earnest money deposit shall be denominated in Indian Rupees and shall:

- at the tenderer’s option, be in the form of either a certified check, pay order, letter of credit, a demand draft, or a bank guarantee from a Nationalized/Scheduled Bank located in India or specified small savings instruments;

- the bank guarantee be substantially in accordance with the form of earnest money deposit included in Section VIII or other form approved by the Purchaser prior to tender submission;

- be payable promptly upon written demand by the Purchaser in case any of the conditions listed in ITT Clause 13.7 are invoked;

- be submitted in its original form; copies will not be accepted; and

- remain valid for a period of 45 days beyond the original validity period of tenders, or beyond any period of extension subsequently requested under ITT Clause 14.2.

13.4 Any tender not secured in accordance with ITT Clauses 13.1 and 13.3 above will be rejected by the Purchaser as non-responsive, pursuant to ITT Clause 22.

13.5 Unsuccessful Tenderer's earnest money deposit will be discharged/returned as promptly as possible but not later than 30 days after the expiration of the period of tender validity prescribed by the Purchaser, pursuant to ITT Clause 14.

13.6 The successful Tenderer's earnest money deposit will be discharged upon the Tenderer signing the Contract, pursuant to ITT Clause 30, and furnishing the performance security, pursuant to ITB Clause 31.

13.7 The tender security may be forfeited:

- if a Tenderer (i) withdraws its tender during the period of tender validity specified by the Tenderer on the Tender Form; or (ii) does not accept the correction of errors pursuant to ITT Clause 22.2; or

- ) in case of a successful Tenderer, if the Tenderer fails:

- to sign the Contract in accordance with ITT Clause 30; or

(ii) to furnish performance security in accordance with ITT Clause 31.

14. Period of Validity of Tenders

14.1 Tenders shall remain valid for 120 days after the deadline for submission of tenders prescribed by the Purchaser, pursuant to ITI Clause 17. A tender valid for a shorter period shall be rejected by the Purchaser as non-responsive.

14.2 In exceptional circumstances, the Purchaser may solicit the Tenderer's consent to an extension of the period of validity. The request and the responses thereto shall be made in writing (or by cable or telex or fax). The earnest money deposit provided under ITT Clause 13 shall also be suitably extended. A Tenderer may refuse the request without forfeiting its earnest money deposit. A Tenderer granting the request will not be required nor permitted to modify its tender.

15. Format and Signing of Tender

15.1 The Tenderer shall prepare two copies of the tender, clearly marking each "Original Tender" and "Copy Tender", as appropriate of 1st cover and second cover. In the event of any discrepancy between them, the original shall govern.

15.2 The original and all copies of the tender shall be typed or written in indelible ink and shall be signed by the Tenderer or a person or persons duly authorized to bind the tenderer to the Contract. The latter authorization shall be indicated by written power-of-attorney accompanying the tender. All pages of the tender, except for unamended printed literature, shall be initialed by the person or persons signing the tender.

15.3 Any interlineations, erasures or overwriting shall be valid only if they are initialed by the persons or persons signing the tender.

15.4 The Tenderer shall furnish information as described in the Form of Tender on commissions or gratuities, if any, paid or to be paid to agents relating to this Tender, and to contract execution if the Tenderer is awarded the contract.

D. Submission of Tenders

16. Sealing and Marking of Tenders

16.1 The Tenderers shall seal the original and each copy of 1st cover and second cover of the tender in separate inner envelopes, duly marking the envelopes as "original" and "copy" techno-commercial and price bid. He shall then place all the inner envelopes in an outer envelope. – “Not applicable”

16.2 The inner and outer envelopes shall:

(a) Be addressed to the Purchaser at the following address:  – “Not applicable”

### KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

Office No.   +91- 836- 2370057, +91- 836 - 2373447, +91 - 836 - 2373641,

Website : www.kimsHubballi.org/

b) Bear the Project Name, the Invitation for Tenders title and number, and a

statement "Do not open before 2.30P.M  on- prescribed last date of tender-“Not applicable”

16.3 The inner envelopes shall also indicate the name and address of the Tenderer to enable the tender to be returned unopened in case it is declared "late. – “Not applicable”

16.4 If the outer envelope is not sealed and marked as required by ITT Clause 16.2, the Purchaser will assume no responsibility for the tender’s misplacement or premature opening. . – “Not applicable”

17. Deadline for Submission of Tenders

17.1 Tenders must be received by the Purchaser at the address specified under ITT Clause 16.2 (a) no later than the time and date specified in the Invitation for Tenders (Section I). In the event of the specified date for the submission of Tenders being declared a holiday for the Purchaser, the Tenders will be received up to the appointed time on the next working day.

17.2 The Purchaser may, at its discretion, extend this deadline for submission of tenders by amending the tender documents in accordance with ITB Clause 5, in which case all rights and obligations of the Purchaser and Tenderers previously subject to the deadline will thereafter be subject to the deadline as extended.

18. Late Tenders

18.1 Any tender received by the Purchaser after the deadline for submission of tenders prescribed by the Purchaser, pursuant to ITT Clause 17, will be rejected and/or returned unopened to the Tenderer.

19. Modification and Withdrawal of Tenders

19.1 The Tenderer may modify or withdraw its tender after the tender's submission, provided that written notice of the modification or withdrawal is received by the Purchaser prior to the deadline prescribed for submission of tenders.

19.2 The Tenderer's modification or withdrawal notice shall be prepared, sealed, marked and dispatched in accordance with the provisions of ITT Clause 16. A withdrawal notice may also be sent by telex or cable or fax but followed by a signed confirmation copy, post marked not later than the deadline for submission of tenders.

19.3 No tender may be modified subsequent to the deadline for submission of tenders.

19.4 No tender may be withdrawn in the interval between the deadline for submission of tenders and the expiration of the period of tender validity specified by the Tenderer on the Tender Form. Withdrawal of a tender during this interval may result in the Tenderer's forfeiture of its earnest money deposit, pursuant to ITT Clause 13.7.

E. Tender Opening and Evaluation of Tenders

20. Opening of Tenders by the Purchaser

20.1 The Purchaser will open all tenders, in the following location:

KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

Office No.   +91- 836- 2370057, +91- 836 - 2373447, +91 - 836 - 2373641,

Website : www.kimsHubballi.org/

20.2 The Tenderers’ names, tender modifications or withdrawals, tender prices, discounts, and the presence or absence of requisite tender security and such other details as the Purchaser, at its discretion, may consider appropriate, will be announced at the opening. No tender shall be rejected at tender opening, except for late tenders, which shall be returned unopened to the Tenderer pursuant to ITT Clause 18. “Not Applicable”

20.3 Tenders (and modifications sent pursuant to ITT Clause 19.2) that are not opened and read out at tender opening shall not be considered further for evaluation, irrespective of the circumstances. “Not Applicable”

20.4 The Purchaser will prepare minutes of the tender opening.

21. Clarification of Tenders

21.1 During evaluation of tenders, the Purchaser may, at its discretion, ask the Tenderer for a clarification of its tender. The request for clarification and the response shall be in writing and no change in prices or substance of the tender shall be sought, offered or permitted.

22. Preliminary Examination

22.1 The Purchaser will examine the tenders to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the tenders are generally in order. Tenders from Agents, without proper authorization from the manufacturer as per Section XIII, shall be treated as non-responsive.

22.1.1 Where the Tenderer has quoted for more than one schedule, if the tender security furnished is inadequate for all the schedules, the Purchaser shall take the price tender into account only to the extent the tender is secured. For this purpose, the extent to which the tender is secured shall be determined by evaluating the requirement of tender security to be furnished for the schedule included in the tender (offer) in the serial order of the Schedule of Requirements of the Tender document.

22.2 Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the lowest of the two will prevail. If the supplier does not accept the correction of errors, its tender will be rejected and its tender security may be forfeited.

22.3 The Purchaser may waive any minor informality or non-conformity or irregularity in a tender which does not constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of any Tenderer.

22.4 Prior to the detailed evaluation, pursuant to ITB Clause 23, the Purchaser will determine the substantial responsiveness of each tender to the tender documents. For purposes of these Clauses, a substantially responsive tender is one which conforms to all the terms and conditions of the tender documents without material deviations. Deviations from or objections or reservations to critical provisions such as those concerning Performance Security (GCC Clause 6). Warranty (GCC Clause 14), Force Majeure (GCC Clause 24), Limitation of liability (GCC Clause 28), Applicable law (GCC Clause 30), and Taxes & Duties (GCC Clause 32) will be deemed to be a material deviation. The Purchaser's determination of a tender's responsiveness is to be based on the contents of the tender itself without recourse to extrinsic evidence.

22.5 If a tender is not substantially responsive, it will be rejected by the Purchaser and may not subsequently be made responsive by the Tenderer by correction of the non-conformity

. 23. Evaluation and Comparison of Tenders

23.1 The Purchaser will evaluate and compare the tenders which have been determined to be substantially responsive, pursuant to ITT Clause 22 for each schedule separately. No tender will be considered if the complete requirements covered in the schedule is not included in the tender. However, as stated in ITT Clause 9, Tenderers are allowed the option to tender for any one or more schedules and to offer discounts for combined schedules. These discounts will be taken into account in the evaluation of the tenders so as to determine the tender or combination of tenders offering the lowest evaluated cost for the Purchaser in deciding award(s) for each schedule.

23.2 The Purchaser's evaluation of a tender will exclude and not take into account: (a) any allowance for price adjustment during the period of execution of the Contract, if provided in the tender.

23.3 The Purchaser's evaluation of a tender will take into account, in addition to the tender price (Ex-factory/ex-warehouse/off-the-shelf price of the goods offered from within India, such price to include all costs as well as duties and taxes paid or payable on components and raw material incorporated or to be incorporated in the goods, and Excise duty on the finished goods, if payable) and price of incidental services, the following factors, in the manner and to the extent indicated in ITT Clause 23.4 and in the Technical Specifications:

- cost of inland transportation, insurance and other costs within India incidental to the delivery of the goods to

their final destination;

- delivery schedule offered in the tender;

- deviations in payment schedule from that specified in the Special Conditions of Contract;

- the cost of components, mandatory spare parts and service;  CMC amount

- the availability in India of spare parts and after-sales services for the goods / equipment offered in the tender;

- the projected operating and maintenance costs during the life of the equipment; and

- the performance and productivity of the equipment offered.

23.4 Pursuant to ITT Clause 23.3, one or more of the following evaluation methods will be applied:

- Inland Transportation, Insurance and Incidentals:

a)Inland transportation, insurance and other incidentals for delivery of goods to the final destination as stated in ITT Clause 9.2 (iii)

(iii).The above costs will be added to the tender price.

- Delivery Schedule:

i)  The Purchaser requires that the goods under the Invitation for Tenders shall be delivered at the time specified in the Schedule of Requirements. The estimated time of arrival of the goods at the project site should be calculated for each tender after allowing for reasonable transportation time. Treating the date as per schedule of requirements as the base, a delivery "adjustment" will be calculated for other tenders at 2% of the ex-factory price including excise duty for each month of delay beyond the base and this will be added to the tender price for evaluation. No credit will be given to earlier deliveries and tenders offering delivery beyond two 3months of stipulated delivery period will be treated as unresponsive.

©)Deviation in Payment Schedule:

The Special Conditions of Contract stipulate the payment schedule offered by the Purchaser. If a tender deviates from the schedule and if such deviation is considered acceptable to the Purchaser, the tender will be evaluated by calculating interest earned for any earlier payments involved in the terms outlined in the tender as compared to those stipulated in this invitation, at a rate of  12 percent per annum.

(d)Cost of Spare Parts:

(i)Appendix (CMC) to the Technical Specifications lists the items and quantities of major assemblies, components and selected items of spare parts, likely to be required during the initial .6 year period of operation of the plant after . The total cost of CMC quoted in each bid will be added to the tender price

OR

(ii)The Purchaser will draw up a list of high usage and high value items of components and spare parts along with estimated quantities of usage in the initial 6 year after warrantee period of operation. The total cost of these items and quantities will be computed from spare parts unit prices submitted by the Tenderer and added to the tender price. OR

(iii)The Purchaser will estimate the cost of spare parts usage in the initial  6  year period of operation after warrantee period , based on information furnished by each tenderer as well as on past experience of the Purchaser or other Purchasers in similar situations. Such costs shall be added to the tender price for evaluation

(e) Spare Parts and After Sales Service Facilities in India:

The cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined elsewhere in the tender documents, if quoted separately, shall be added to the tender price.

(f)Operating and Maintenance Costs:

Since the operating and maintenance costs of the equipment under procurement form a major part of the life cycle cost of the equipment, these costs will be evaluated as follows:

(i) Reagents/ Chemicals/ Disposables  costs shall be based on per operation per year for 6 years after warrantee at Reagents / Chemicals/   Disposables  price of Rs.......;

- spare parts costs shall be based on each case of  operation based on the guaranteed figures provided by the Tenderer in response to(CMC). of the Technical Specifications or based on past actual figures for similar equipment already in use with the Purchaser; and

- all future costs will be discounted to present value at a discount factor of .10 percent.

(g) Performance and Productivity of the Equipment:

(i)       Tenderers shall state the guaranteed performance or efficiency in response to the Technical Specification. For each drop in performance or efficiency below the norm of 100, an adjustment of Rs( proportionate value )will be added to the tender price, representing the capitalized cost of additional operating costs over the life of the plant using the methodology specified in the Technical Specifications; OR

(ii)Goods offered shall have a minimum productivity specified under the relevant provisions in Technical Specifications to be considered responsive. Evaluation shall be based on the cost per unit of the actual productivity of goods offered in the bid and adjustment will be added to the tender price using the methodology specified in the Technical Specifications.

24. Contacting the Purchaser

24.1 Subject to ITT Clause 21, no Tenderer shall contact the Purchaser on any matter relating to its tender, from the time of the tender opening to the time the Contract is awarded. If the tenderer wishes to bring additional information to the notice of the purchaser, it should do so in writing.

24.2 Any effort by a Tenderer to influence the Purchaser in its decisions on tender evaluation, tender comparison or contract award may result in rejection of the Tenderer's tender.

- Award of Contract 25. Post qualification

25.1 In the absence of prequalification, the Purchaser will determine to its satisfaction whether the Tenderer that

is selected as having submitted the lowest evaluated responsive tender meets the criteria specified in ITT

Clause 11.2 (b) and is qualified to perform the contract satisfactorily.

25.2 The determination will take into account the Tenderer's financial, technical and production capabilities. It

will be based upon an examination of the documentary evidence of the Tenderer's qualifications submitted

by the Tenderer, pursuant to ITT Clause 11, as well as such other information as the Purchaser deems

necessary and appropriate.

25.3 An affirmative determination will be a prerequisite for award of the Contract to the Tenderer. A negative

determination will result in rejection of the Tenderer's tender, in which event the Purchaser will proceed to

the next lowest evaluated tender to make a similar determination of that Tenderer's capabilities to perform

the contract satisfactorily.

26. Award Criteria

26.1 Subject to ITT Clause 28, the Purchaser will award the Contract to the successful Tenderer whose tender has

been determined to be substantially responsive and has been determined as the lowest evaluated tender,

provided further that the Tenderer is determined to be qualified to perform the Contract satisfactorily.

27. Purchaser's right to vary Quantities at Time of Award

27.1 The Purchaser reserves the right at the time of Contract award to increase or decrease by up to 25 percent of

the quantity of goods and services originally specified in the Schedule of Requirements without any change

in unit price or other terms and conditions.

28. Purchaser's Right to Accept Any Tender and to Reject Any or All Tenders

28.1 The Purchaser reserves the right to accept or reject any tender, and to annul the tendering process and reject

all tenders at any time prior to contract award, without thereby incurring any liability to the affected

Tenderer or Tenderers.

29. Notification of Award

29.1 Prior to the expiration of the period of tender validity, the Purchaser will notify the successful tenderer in writing by registered letter or by cable/telex or fax, to be confirmed in writing by registered letter, that its tender has been accepted.

29.2 The notification of award will constitute the formation of the Contract.

29.3 Upon the successful Tenderer's furnishing of performance security pursuant to ITT Clause 31, the Purchaser will promptly notify the name of the winning Tenderer to each unsuccessful Tenderer and will discharge its earnest money deposit, pursuant to ITT Clause 13

. 29.4 If, after notification of award, a Tenderer wishes to ascertain the grounds on which its tender was not selected, it should address it’s request to the Purchaser. The Purchaser will promptly respond in writing to the unsuccessful Tenderer.

30. Signing of Contract

30.1 At the same time as the Purchaser notifies the successful tenderer that its tender has been accepted, the Purchaser will send the Tenderer the Contract Form provided in the tender documents, incorporating all agreements between the parties

30.2 Within 21 days of receipt of the Contract Form, the successful Tenderer shall sign and date the Contract and return it to the Purchaser.

31. Performance Security

31.1 Within 21 days of the receipt of notification of award from the Purchaser, the successful Tenderer shall furnish the performance security in accordance with the Conditions of Contract, in the Performance Security Form provided in the tender documents or in another form acceptable to the Purchaser.

31.2 Failure of the successful Tenderer to comply with the requirement of ITT Clause 30.2 or ITT Clause 31.1 shall constitute sufficient grounds for the annulment of the award and forfeiture of the earnest money deposit, in which event the Purchaser may make the award to the next lowest evaluated Tenderer or call for new tenders.

32 Corrupt or Fraudulent Practices

32.1 The Government requires that Tenderers/ Suppliers/ Contractors observe the highest standard of ethics during the procurement and execution of Government financed contracts. In pursuance of this policy, the Government :

- defines, for the purposes of this provision, the terms set forth as follows :

(i)“corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

(ii)“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Government, and includes collusive practice among Tenderers (prior to or after tender submission) designed to establish tender prices at artificial non-competitive levels and to deprive the Government of the benefits of free and open competition;

- will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

- will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a Government financed contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a Government-financed contract.

32.2 Furthermore, Tenderers shall be aware of the provision stated in sub-clause 4.4 and sub-clause 23.1 of the General Conditions of Contract

SECTION III: GENERAL CONDITIONS OF CONTRACT TABLE OF CLAUSES

Clause                                                           Topic    				            Page

Number								                          Number

  - Definitions									18

  - Application 								18

  - Standards									18

  - Use of Contract Documents and Information; Inspection and Audit by 		18

Government

  - Patent Rights 								 18

  - Performance Security							 18

  - Inspection and Tests 								 19

  - Packing 									 20

  - Delivery and Documents 							 20

  - Insurance 									 20

  - Transportation 								 20

  - Incidental Services 								 20

  - Spare Parts									 21

  - Warranty 									 21

  - Payment 									 21

  - Prices 									 22

  - Change Orders   								 22

  - Contract Amendments							 22

  - Assignment 								 22

  - Subcontracts								 22

  - Delays in Supplier's Performance						 22

  - Liquidated Damages 							 23

  - Termination for Default 							 23

  - Force Majeure 								 23

  - Termination for Insolvency							 23

  - Termination for Convenience 							 23

  - Settlement of Disputes 							 24

  - Limitation of Liability							 24

  - Governing Language 							 24

  - Applicable Law								 24

  - Notices									 24

  - Taxes and Duties 								 24

SECTION III – GENERAL CONDITIONS OF CONTRACT

General Conditions of Contract

1. Definitions

  - In this Contract, the following terms shall be interpreted as indicated:

  - "The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the Contract Form signed by the parties, including all the attachments and appendices thereto and all documents incorporated by reference therein;

  - "The Contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations;

  - "The Goods" means all the equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract;

  - "Services" means services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training and other obligations of the Supplier covered under the Contract;

  - “GCC” means the General Conditions of Contract contained in this section.

  - “SCC” means the Special Conditions of Contract.

  - “The Purchaser” means the organization purchasing the Goods, as named in SCC.

  - “The Purchaser’s country” is the country named in SCC.

  - “The Supplier” means the individual or firm supplying the Goods and Services under this Contract.

  - “The Government” means the Government of Karnataka State.

  - “The Project Site”, where applicable, means the place or places named in SCC.

  - “Day” means calendar day.

2. Application

2.1 These General Conditions shall apply to the extent that they are not superseded by provisions in

other parts of the Contract.

3. Standards

3.1 The Goods supplied under this Contract shall conform to the standards mentioned in the Technical

Specifications or equivalent and, when no applicable standard is mentioned, to the authoritative standard

appropriate to the Goods' country of origin and such standards shall be the latest issued by the

concerned institution.

4. Use of Contract Documents and Information; Inspection and Audit by the Government

4.1The Supplier shall not, without the Purchaser's prior written consent, disclose the Contract, or any

provision thereof, or any specification, plan, drawing, pattern, sample or information furnished by

or on behalf of the Purchaser in connection therewith, to any person other than a person employed

by the Supplier in performance of the Contract. Disclosure to any such employed person shall be

made in confidence and shall extend only so far as may be necessary for purposes of such

performance.

4.2 The Supplier shall not, without the Purchaser's prior written consent, make use of any document or

information enumerated in GCC Clause 4.1 except for purposes of performing the Contract.

  - Any document, other than the Contract itself, enumerated in GCC Clause 4.1 shall remain the property

of the Purchaser and shall be returned (in all copies) to the Purchaser on completion of the Supplier's performance under the Contract if so required by the Purchaser.

  - The supplier shall permit the Government to inspect the Supplier’s accounts and records relating to the

performance of the Supplier and to have them audited by auditors appointed by the Government, if so required by the Government.

5. Patent Rights

5.1 The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

6. Performance Security

6.1 Within 21 days of receipt of the notification of contract award, the Supplier shall furnish Performance

Security to the Purchaser for an amount of 5% of the Contract Value, valid up to 60 days after the date

of completion of performance obligations including Warranty obligations. In the event of any correction of defects or replacement of defective material during the Warranty period, the Warranty for  the corrected/replaced material shall be extended to a further period of 12 months and the Performance Security for proportionate value shall be extended 60 days over and above the initial Warranty period.

6..2 The proceeds of the performance security shall be payable to the Purchaser as compensation for any loss

resulting from the Supplier's failure to complete its obligations under the Contract

  - The Performance Security shall be denominated in Indian Rupees and shall be in the form of  crossed demand draft or pay order drawn in favour of the Purchaser.

  - The Performance Security will be discharged by the Purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier's performance obligations, including any Warranty obligations, under the Contract.

  - In the event of any contract amendment, the Supplier shall, within 20 days of receipt of such amendment, furnish the amendment to the Performance Security, rendering the same valid for the duration of the Contract as amended for 60 days after the completion of performance obligations including Warranty obligations.

- Inspections and Tests

7.1      The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Purchaser. SCC and the Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted. The Purchaser shall notify the Supplier in writing in a timely manner of the identity of any representatives retained for these purposes.

7.2   The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery and/or at the Goods final destination. If conducted on the premises of the Supplier or its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data - shall be furnished to the inspectors at no charge to the Purchaser.

7.3    Should any inspected or tested Goods fail to conform to the specifications, the Purchaser may reject the goods and the Supplier shall either replace the rejected Goods or make alterations necessary to meet specification requirements free of cost to the Purchaser.

7.4     The Purchaser's right to inspect, test and, where necessary, reject the Goods after the Goods' arrival at Project Site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the Goods shipment.

7.5    Nothing in GCC Clause 7 shall in any way release the Supplier from any warranty or other obligations under this Contract.

7.6 Manuals and Drawings

7.6(.1) Before the goods and equipment are taken over by the Purchaser, the Supplier shall supply operation and

maintenance manuals together with drawings of the goods and equipment. These shall be in such detail as

will enable the Purchaser to operate, maintain, adjust and repair all parts of the equipment as stated in the

specifications.

7.6(.2) The manuals and drawings shall be in the ruling language (English) and in such form and numbers as

stated in the contract.

7.6(.3) Unless and otherwise agreed, the goods and equipment shall not be considered to be completed for the

purpose of taking over until such manuals and drawings have been supplied to the Purchaser.

8. Packing

  - The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

  - 8.2 The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided for in the Contract including additional requirements, if any, specified in SCC and in any subsequent instructions ordered by the Purchaser.

  - 3 Packing Instructions: The Supplier will be required to make separate packages for each Consignee. Each Package will be marked on three sides with proper paint/indelible ink the following: i) Project, ii) Contract No., iii) Suppliers Name, and iv) Packing List Reference number.

9. Delivery and Documents

Delivery of the Goods shall be made by the Supplier in accordance with the terms specified by the Purchaser in the Notification of Award. The details of shipping and/or other documents to be furnished by the supplier are specified in SCC.

10. Insurance

The Goods supplied under the Contract shall be fully insured in Indian Rupees against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery. For delivery of goods at site, the insurance shall be obtained by the Supplier in an amount equal to 110% of the value of the goods from “warehouse to warehouse” (final destinations) on “All Risks” basis including War risks and Strikes.

11. Transportation

Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within India defined as Project site, transport to such place of destination in India including insurance, as shall be specified in the Contract, shall be arranged by the Supplier, and the related cost shall be included in the Contract Price

12. Incidental Services

  - The supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC:

- performance or supervision of the on-site assembly and/or start-up of the supplied Goods;

- furnishing of tools required for assembly and/or maintenance of the supplied Goods;

- furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

- performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

- training of the Purchaser's personnel, at the Supplier's plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

  - Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall

be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services.

13. Spare Parts

13.1 As specified in the SCC, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier:

- such spare parts as the Purchaser may elect to purchase from the Supplier, providing that this election shall not relieve the Supplier of any warranty obligations under the Contract; and

- In the event of termination of production of the spare parts:

(i)  advance notification to the Purchaser of the pending termination, in sufficient time to permit the

Purchaser to procure needed requirements; and

(ii) following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings and

specifications of the spare parts, if requested.

13.2 The Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares for the Goods, such as gaskets, plugs, washers, belts etc. Other spare parts and components shall be supplied as promptly as possible but in any case within 3 months of placement of order.

- Warranty

14.1 The Supplier warrants that the Goods supplied under this Contract are new, unused, of the most recent or current models and that they incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except when the design and/or material is required by the Purchaser's Specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.

14.2 This warranty shall remain valid for 60 months after the Goods or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the Contract, or for 30 months after the date of shipment from the place of loading whichever period concludes earlier. The Supplier shall, in addition, comply with the performance and/or consumption guarantees specified under the Contract. If 5 Specify appropriate figure depending on the type of equipment. for reasons attributable to the Supplier, these guarantees are not attained in whole or in part, the Supplier shall at its discretion either:

- make such changes, modifications, and/or additions to the Goods or any part thereof as may be necessary in order to attain the contractual guarantees specified in the Contract at its own cost and expense and to carry out further performance tests in accordance with SCC Clause 2; OR

- pay liquidated damages to the Purchaser with respect to the failure to meet the contractual guarantees. The rate of these liquidated damages shall be as specified in the Technical Specifications.6

14.3 The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty.

14.4 Upon receipt of such notice, the Supplier shall, within the period of three days and with all reasonable speed, repair or replace the defective Goods or parts thereof, free of cost at the ultimate destination. The Supplier shall take over the replaced parts/goods at the time of their replacement. No claim whatsoever, shall lie on the Purchaser for the replaced parts/goods thereafter. In the event of any correction of defects or replacement of defective material during the Warranty period, the Warranty for the corrected or replaced material shall be extended to a further period of 12 months.

14.5 If the Supplier, having been notified, fails to remedy the defect(s) within eight days, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

15.   Payment

15.1The method and conditions of payment to be made to the Supplier under this Contract shall be

specified in the SCC.

15.2 The Supplier's request(s) for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and the Services performed, and by documents, submitted pursuant to GCC Clause 9, and upon fulfillment of other obligations stipulated in the contract.

15.3 Payments shall be made promptly by the Purchaser but in no case later than sixty (60) days after submission of the invoice or claim by the Supplier.

15.4 Payment shall be made in Indian Rupees.

16.  Prices

16.1 Prices payable to the supplier as stated in the contract shall be firm during the performance of the contract.

17.Change Orders

17.1 The Purchaser may at any time, by written order given to the Supplier pursuant to GCC Clause 31, make changes within the general scope of the Contract in any one or more of the following:

- drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

- the method of shipping or packing;

- the place of delivery; and/or

- the Services to be provided by the Supplier

17.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier's performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier's receipt of the Purchaser's change order.

18.Contract Amendments

18.1 Subject to GCC Clause 17, no variation in or modification of the terms of the Contract shall be

made except by written amendment signed by the parties.

19.1Assignment

19.1 The Supplier shall not assign, in whole or in part, its obligations to perform under the Contract,

except with the Purchaser's prior written consent.

20. Subcontracts

20.1 The Supplier shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in the tender. Such notification, in his original tender or later, shall not relieve the Supplier from any liability or obligation under the Contract. Sub-contracts shall be only for bought out items and sub-assemblies.

20.2 Subcontracts must comply with the provisions of GCC Clause 2.

21. Delays in the Supplier's Performance

21(.1) Delivery of the Goods, Installation  and performance of the Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in the Schedule of Requirements.

21.2 If at any time during performance of the Contract, the Supplier or its sub-contractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may, at its discretion, extend the Supplier’s time for performance with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of the Contract.

21.3 Except as provided under GCC Clause 24, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of liquidated damages.

22. Liquidated Damages

22.1 Subject to GCC Clause 24, if the Supplier fails to deliver and  Install  any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.5% of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of 10% of the Contract Price.. Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 23.

23. Termination for Default

23.1 The Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the Supplier, terminate the Contract in whole or part: (a) if the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 21; or (b) if the Supplier fails to perform any other obligation(s) under the Contract(c) If the Supplier, in the judgment of the Purchaser has engaged in corrupt or fraudulent practices in competing for or in executing the Contract.

For the purpose of this Clause :

“Corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution. “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Borrower of the benefits of free and open competition.

23.2 In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 23.1, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods or Services. However, the Supplier shall continue the performance of the Contract to the extent not terminated.

24. Force Majeure

24.1 Notwithstanding the provisions of GCC Clauses 21, 22, 23, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages or termination for default, if and to the extent that, its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

24.2 For purposes of this Clause, "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier's fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

24.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

25. Termination for Insolvency

25.1 The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

26. Termination for Convenience

26.1 The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser's convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

26.2 The Goods that are complete and ready for shipment within 30 days after the Supplier's receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect:

- to have any portion completed and delivered at the Contract terms and prices; and/or

- to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for materials and parts previously procured by the Supplier.

27. Settlement of Disputes

27.1 The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

27.2 If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given.

27.2.1 Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract.

27.2.2 Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC.

27.3 Notwithstanding any reference to arbitration herein,

- the parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and

- the Purchaser shall pay the Supplier any monies due the Supplier.

28. Limitation of Liability

28.1 Except in cases of criminal negligence or willful misconduct, and in the case of infringement pursuant to Clause 5,

- the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser; and

- the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

29. Governing Language

29.1 The contract shall be written in English language. Subject to GCC Clause 30, English language version of the Contract shall govern its interpretation. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

30. Applicable Law

30.1 The Contract shall be interpreted in accordance with the laws of the Union of India. Jurisdiction of Bangalore .

31. Notices

31.1 Any notice given by one party to the other pursuant to this Contract shall be sent to other party in writing or by cable, telex or facsimile and confirmed in writing to the other Party’s address specified in SCC.

31.2 A notice shall be effective when delivered or on the notice's effective date, whichever is later.

32. Taxes and Duties

32.1Suppliers shall be entirely responsible for all taxes, duties, license fees,  road permits, etc., incurred

until delivery of the contracted Goods to the Purchaser

SECTION IV: SPECIAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

Item No.         Topic                                                           Page Number

1.           Definitions (GCC Clause 1)                                                      	  26

2. 	   Inspection and Tests (GCC Clause 7)				 	  26

3. 		Delivery and Documents (GCC Clause 9) 				  26

4. 		Incidental Services (GCC Clause 12) 				  26

5. 		Payment (GCC Clause 15) 					 	  26

6. 		Settlement of Disputes (GCC Clause 27)			              27

7. 		Notices (GCC Clause 31) 					              27

8. 		Progress of Supply					                          27

9. 		Right to use defective equipment				              27

10 		Supplier Integrity 					                          27

11		Supplier’s Obligation 						  	  27

12 		Patent Rights							  	  28

13          Additional qualification criteria.	  				  28

14 		Refurbished Equipments						  28

15 		Before Procurement of Equipments					  28

16 		Delivery Period							  28

SECTION IV: SPECIAL CONDITIONS OF CONTRACT

Special Conditions of Contract

The following Special Conditions of Contract shall supplement the General Conditions of Contract. Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract. The corresponding clause number of the General Conditions is indicated in parentheses.

1. Definitions (GCC Clause 1)

a)The Purchaser is Director, KARNATAKA MEDICAL COLLEGE AND RESEARCH

INSTITUTE, HUBBALLI.

b)The Supplier is individual or firm supplying .Goods and Services under this contract..

2. Inspection and Tests (GCC Clause 7)

The following inspection procedures and tests are required by the Purchaser:

1)Demonstration of the equipment at Manufacturing unit or wherever the tenderer intends to show in working condition or as the place decided by Director, kmcri,Hubballi, to 3rd  party consultant ,  an  end user/ a representative from Director KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI.

2) Inspection by a hospital end user and 3rd party consultant appointed by Director KARNATAKA MEDICAL COLLEGE AND RESEARCH  INSTITUTE, HUBBALLI. , on site as per specifications.

.       3.Delivery and Documents (GCC Clause 9) Upon delivery of the Goods, the supplier shall notify the purchaser and the insurance company by cable/telex/fax the full details of the shipment including contract number, railway receipt number and date, description of goods, quantity, name of the consignee etc. The supplier shall mail the following documents to the purchaser with a copy to the insurance company:

(i) .Four Copies of the Supplier invoice showing contract number, goods' description, quantity, unit price, total amount;

(ii)Railway receipt/acknowledgment of receipt of goods from the consignee(s);

(iii) Four Copies of packing list identifying the contents of each package;

(iv) Insurance Certificate;

(v) Manufacturer's/Supplier's warranty certificate;

(vi) Inspection Certificate issued by the nominated inspection agency ,end user  and the Supplier's factory      inspection  report; and

(vii) Copy of Bill of entry  for imported equipments.

The above documents shall be received by the Purchaser before arrival of the Goods (except where the Goods have been delivered directly to the Consignee with all documents) and, if not received, the Supplier will be responsible for any consequent expenses.

4. Incidental Services (GCC Clause 12)

The services under Clause 12 of GCC shall be furnished and the cost shall be included in the contract  price:

5.Payment (GCC Clause 15)

- For Indigenous equipments – 80% payment will be after installation of the equipment and remaining 20% will be paid after 3 months of the installation.

- For Imported equipments-

  - On Delivery:80%percent of the contract price shall be paid on receipt of Goods and upon submission of the documents specified in SCC Clause 3 above; and

  - On Final Acceptance: the remaining 20% of the Contract Price shall be paid to the supplier within 30 days after the date of the acceptance certificate issued by the Purchaser’s

Note: (i) Where payments are to be effected through Letter of Credit (LC) for imported equipments, the same shall be

subject to the latest Uniform Customs and Practice for Documentary Credit, of the International Chamber of

Commerce;

- The LC will be confirmed at Supplier’s cost if requested specifically by the Supplier;

- If LC is required to be extended/reinstated for reasons not attributable to the Purchaser, the charges

thereof  shall be to the Supplier’s account.

6. Settlement of Disputes (Clause 27)

The dispute settlement mechanism to be applied pursuant to GCC Clause 27.2.2 shall be as follows:

- In case of Dispute or difference arising between the Purchaser and a domestic supplier relating to any matter arising out of or connected with this agreement, such disputes or difference shall be settled in accordance with the Arbitration and Conciliation Act, 1996, by a Sole Arbitrator. The Sole Arbitrator shall be appointed by agreement between the parties; failing such agreement, by the appointing authority namely the 12Indian Council of Arbitration/President of the Institution of Engineers (India)/The International Centre for Alternative Dispute Resolution (India). A certified copy of the appointment Order shall be supplied to each of the Parties.

- Arbitration proceedings shall be held at Bangalore Karnataka, and the language of the arbitration proceedings and that of all documents and communications between the parties shall be English.

- The decision of the of arbitrators shall be final and binding upon both parties. The cost and expenses of Arbitration proceedings will be paid as determined by the Arbitrator. However, the expenses incurred by each party in connection with the preparation, presentation etc. of its proceedings shall be borne by each party itself.

7. Notices (Clause 31)

For the purpose of all notices, the following shall be the address of the Purchaser and Supplier.

Purchaser: DIRECTOR KMCRI, Hubballi

Supplier: (To be filled in at the time of Contract signature) ............................................. .............................................

8. Progress of Supply:

Supplier shall regularly intimate progress of supply, in writing, to the Purchaser as under13

- Quantity offered for inspection and date;

- Quantity accepted/rejected by inspecting agency and date;

- Quantity dispatched/delivered to consignees and date;                                                                                            - Quantity where incidental services have been satisfactorily completed with date; - Quantity where

rectification/repair/replacement effected/completed on receipt of any communication from

consignee/Purchaser with date;

- Date of completion of entire Contract including incidental services, if any; and

-Date of receipt of entire payments under the Contract (in case of stage-wise inspection, details

required may also be specified).

9. Right to use defective equipment:

If after delivery, acceptance and installation and within the guarantee and warranty period, the operation or use of the equipment proves to be unsatisfactory, the Purchase shall not  operate or use such equipment until rectifications of defects, errors or omissions by repair or by partial or complete replacement is made without interfering with the Purchaser’s operation.

10. Supplier Integrity:

The supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract using state-of-the-art methods and economic principles and exercising all means available to achieve the performance specified in the Contract.

11. Supplier’s Obligations:

The Supplier is obliged to work closely with the Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The Supplier will abide by the job safety measures prevalent in India and will free the Purchaser from all demands or responsibilities arising from accidents or loss of life the cause of which is the Supplier’s negligence. The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The Supplier is responsible for managing the activities of its personnel or sub-contracted personnel and will hold itself responsible for any misdemeanors. The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Purchaser.

12. Patent Rights: In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of the Goods or any part thereof in the Purchaser’s country, the supplier shall act expeditiously to extinguish such claim. If the supplier fails to comply and the Purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses, court costs and lawyer fees. The Purchaser will give notice to the supplier of such claim, if it is made, without delay

13. Additional qualification criteria.(Clause ITT-25.2)

I .Self Declaration stating the firm is not black listed in any

state/Centre/Quasi Government Organizations.

II. Annual turnover/Balance sheet report for last three years  issued by

Chartered Account.

III. Sales tax/VAT Registration Number with Certificate.

IV. Income tax PAN number.

14.Refurbished equipments:-

If it is found that refurbished equipment are supplied, the entire cost of equipment  along  with E.M.D.& Security deposit will be forfeited.  The company shall be blacklisted.

15.Before procurement of equipment, if Technical committee decides for demonstration, suitable arrangements to be made  at the cost of the tenderer.  Otherwise the  tender is liable to be rejected.

16. Delivery period:-

16(1).  30 days for Indigenous equipments& 60 days for imported equipments

after  opening of L.C.

16(2).  The equipment shall  be Installed within 60 days from the date of

delivery of the equipment to the hospital.

17.Tenderers shall quote only one Model equivalent /nearer to the   tender

specification.  Alternate model should not be quoted.  If    quoted liable to be

rejected

18. If L.C has to be opened, amount of Indian currency quoted in the tender  will be final.  The

currency rates will be calculated on the date of Techo-Commercial bid opening & Fluctuation in the  respected currency rates will not be entertained.

19. Foreign Letter of Credit  will be opened in the name of Principle Manufacture

& Inland letter of credit will be opened in the name of Authorized  agent only

Government of Karnataka

KARNATAKA MEDICAL COLLEGE AND RESEARCH INSTITUTE, HUBBALLI

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

Section-V

SCHEDULE OF REQUIREMENTS

For Supply of Medical Equipments to Surgical Oncolgy Dept

| Sl.No. | Name of the Equipments | Quantity | EMD in Rs. |
| --- | --- | --- | --- |
| 01 | Bone Cutting machine | 01 | 50000/- |

Warranty:

  - Five years Warranty as per Conditions of Contract of the TENDER document for complete equipment and Turnkey Work from the date of satisfactory installation, commissioning, trial run & handing over of equipment to Hospital/ Institution / Medical College.

  - 95% up time Warranty of complete equipment with extension of Warranty period by double the downtime period on 24 (hrs) X 365 (days) basis.

  - All software updates should be provided free of cost during Warranty period.

- after Sales Service:

After sales service center should be available at the city of Hospital ,on 24 (hrs) X 7 (days) X 365 (days) basis. Complaints should be attended properly, maximum within 8 hrs. The service should be provided directly by Tenderer/ Indian Agent. Undertaking by the Principals that the spares for the equipment shall be available for at least 10 years from the date of supply.

- Training:

Onsite training to Doctors/ Technicians/ staff is to be provided by Principal/Manufacturing Indian Agents ( if they have the requisite know-how) for operation and maintenance of the equipment to the satisfaction of the consignee.

- Annual Comprehensive Maintenance Contract (CMC) of subject equipment with Turnkey:-

  - The cost of Comprehensive Maintenance Contract (CMC) which includes                        preventive maintenance including testing & calibration as per technical/ service/ operational manual of the manufacturer, labour and spares, after satisfactory                       completion of Warranty period should be quoted for next 7 years on yearly basis for complete equipment and Turnkey (if any). The supplier shall visit each consignee site as recommended in the manufacturer’s technical/ service/ operational manual, but at least once in three months during the CMC period.

  - The cost of CMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

  - The payment of CMC will be made on six monthly basis after satisfactory

Completion of said period, duly certified by end user on receipt of bank

guarantee   for 5 % of the  cost of the equipment ,valid till 2 months after

expiry of entire CMC  period.

  - There will be 95 % uptime Warranty during CMC period on 24 (hrs) X 7

(days) X 365  (days) basis, with penalty, to extend CMC period by double the

downtime period.

  - During CMC period, the supplier is required to visit at each consignee’s site at

least once in 3 months commencing from the date of the successful

completion of warranty  period for preventive maintenance of the goods.

  - All software updates should be provided free of cost during CMC.

  - Failure of the above [4. a) to 4. e)] by the supplier, may lead to the forfeiture

of the  Bank Guarantee for Annual CMC.

  - The payment of CMC will be made as stipulated in GCC Clause 21.

Turnkey:

Turnkey is indicated in the technical specification of the respective items, wherever required. The Tendered shall examine the existing site where the equipment is to be installed, in consultation with HOD of Hospital/ Institution/ Medical College concerned.

Turnkey details of each Hospital is given at the end of Technical Specification. The Tender of the Machine and Turnkey Job of each Hospital/ Institution/ Medical College. The Turnkey costs may be quoted in Indian Rupee will be added for Ranking Purpose.

The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such duties and taxes and no claim for the same will be entertained later.

SCTION VI - TECHNICAL SPECIFICATIONS

SPECIFICATION -ENCLOSED-

OR

ITS EQUIVALENT MAY BE QUOTED..

The equipment quoted should have the approval

of all the Competent authorities, and should have

F.D.A / C.E & I.S.O -Documents relating to the approvals should also be uploaded

# SECTION VII : QUALIFICATION CRITERIA

(Referred to in Clause 9.2 (b) of ITT)

- Two Covers bid systems (Consisting of Technical bid & Financial bid) is

- followed.  Bids will be received through e-procurement portal along with EMD.  The financial bid of the bidder who qualifies in Technical bid will only be opened.

- (a) The tenderer should be a manufacturer with five years market standing

who must have manufactured, tested and supplied the equipment (s)

similar to the type specified in the ‘Schedule of Requirements’ up to at

least 200% where tender quantity is  1No.& 80% where tendered quantity

are more than 1No. for the equipments,  the quantity required in any one

of the last 3 years. The equipments offered for supply must be of the most

recent series models incorporating the latest improvements in design. The

similar equipment should have been released last two years back and be in

satisfactory operation for 18 months as on date of tender opening. Should

upload in the Manufacturer license to support the claim.

(b) Tenders of tenderers quoting as authorized representative/dealer of a

manufacturer should be dealing with the equipments for at least 3 years,

meeting with the above requirement in full, can also be considered

provided :

(i)     the manufacturer furnishes authorization in the prescribed format assuring full

guarantee and warranty obligations as per GCC and SCC; and

- the tenderer, as authorized representative/dealer , has supplied, installed

and commissioned satisfactorily at least 100%where tender quantity

equipments is 1 No.& 40% where tendered quantity are more than 1

Nos. of the quantity similar to the type specified in the Schedule of

Requirements in any one of the last three years which must be in

satisfactory operation for at least 18 months on the date of tender opening.

(iii)    Should upload VAT/GST Sales tax registration certificate and latest VAT/GST

clearance certificate.

(iv)    The tenderer should furnish User certificate as for format-Section XVI.

- The tenderer should furnish the information on all past supplies and satisfactory performance for both (a) and (b) above, in proforma under Section XIII.

- The bidder firm shall submit their certificate of Income tax returns and Annual turnover for the previous three years,

- Deleted

- In case any bidder is found to have been disqualified /blacklisted/suspended facing enquires/Debarred from Government/Quasi Government agency or Local body, such bidders are not eligible to participate in the tender. The bidder shall give self-declaration in these regard.

- Firm/Company/Organization should not be facing any judicial trial or depart-mental enquiry.  The firm should submit a self-declaration in support of this.

- The quoted rates shall be Inclusive of taxes including Inland transportation,

Insurance and other local costs incidental to delivery, Sales and other taxes,

Excise duty/customs duties etc.

- The supplier should produce proof  for having service Centers in Karnataka

and India.

- The Goods offered for supply  under this Contract shall conform to the standards mentioned in the Technical Specifications or equivalent and, when no applicable standard is mentioned, to the authoritative standard  appropriate to the Goods' country of origin and such standards shall be the latest issued by the concerned institution.

- Documents supporting confirmation to the technical specification (Compatibility) be uploaded, otherwise the tender will be considered as non-responsive technically. ( for all documents to be uploaded include Brochures, Literatures, Data sheet and other relevant documents.)

- For individual package items/equipments at Annexure-1, bidder have to quote

for each item separately, which will be evaluated individually. For package

items

bidder shall quote for all the items in package items. Tender will be considered

13. The Tender Accepting Authority reserves  the right to alter any of the above

conditions and impose new conditions in the interest of the successful

implementation of the scheme and to overcome any practical difficulties that

may arise at  implementation stage.

- The power of accepting or rejecting Tender is vested with the Accepting-

Authority/Director ,KMCRI , Hubballi

15.The Completed e-procurement form along with all supporting documents

mentioned above should be submitted to the portal of the e-procurement cell

online on or before    30/06/2026  Technical bid will be opened on 02/07/2026.

SECTION VIII: TENDER FORM

Date :........................................

IFT No :....................................

TO: (Name and address of purchaser)

Gentlemen and/or Ladies :

Having examined the Tender Documents including Addenda Nos............... [insert numbers], the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and  deliver....................................................... (Description of Goods and Services) in conformity with the said tender documents for the sum of…(Amount not mentioned here)...... (Total tender amount in words and figures) or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this tender.

We undertake, if our tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our tender is accepted, we will obtain the guarantee of a bank in a sum equivalent to ...... percent of the Contract Price for the due performance of the Contract, in the form prescribed by the Purchaser.

We agree to abide by this tender for the Tender validity period specified in Clause 14.1 of the ITT and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal contract is prepared and executed, this tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely “Prevention of Corruption Act 1988”.

We understand that you are not bound to accept the lowest or any tender you may receive.

We clarify/confirm that we comply with the eligibility requirements as per ITT Clause 1 of the tender documents.

Dated this ....... day of ............................ 19 ..... ………………………………………………………….. ___________________________________ (signature) (in the capacity of)

Duly authorized to sign Tender for and on behalf of _____________________________________________________

#### (SECTION –IX)

#### PRICE SCHEDULE

| Schedule No | Item Description& Country of Origin. | Quantity and Unit | Price for each Unit |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Ex-factory/Ex-warehouse/Ex-showroom/off the shelf | Excise duty/ Customs duty if any. | Inland transportation, insurance and other local costs incidental to delivery | Sales and other taxes payable if contract awarded | Unit Price (4+5+6+7) | Total price (3X8) |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Mandatory documents for Financial Bid

- Price of the equipment quoted along with all charges, taxes etc…, including installation/ demonstration

N.B:- 1) For individual package items/equipments at Annexure-1, bidder have

to quote for each item separately, which will be evaluated individually.

2) For package items bidder shall quote for all the items in package items.

Tender will be considered for total items.  If the rates are quoted for

few items tenders are liable for rejection.

3) The successful tendered should supply the equipment within 30 days

for indigenous equipment & 90 days for imported equipments after

opening of  L.C & the equipment should be installed within 60 days.

For delay in supply & Installation due to failure on the part of the

supplier- Clause 22 of G.C.C  shall be invoked.

4) In case of discrepancy between unit price and total price, the

unit price will prevail.

5) Bidders must  quote both  AMC & CMC Rates for quoted items

separately, Otherwise tenderer bid will be rejected,

SECTION X: EARNEST MONEY DEPOSIT BANK GUARANTEE FORM

Whereas ...........................1 (hereinafter called “the Tenderer”) has submitted its tender dated ...................... (date of submission of tender) for the supply of ................................. (name and/or description of the goods) (hereinafter called “the Tender”).

KNOW ALL PEOPLE by these presents that WE ..................... (name of bank) of .................. (name of country), having our registered office at .................. (address of bank) (hereinafter called “the Bank”), are bound unto ............................. (name of Purchaser) (hereinafter called “the Purchaser”) in the sum of _______________________ for which payment well and truly to be made to the said Purchaser, the Bank binds itself, its successors, and assigns by these presents. Sealed with the Common Seal of the said Bank this ____ day of _________ 20___.

THE CONDITIONS of this obligation are:

- If the Tenderer

  - withdraws its Tender during the period of tender validity specified by the Tenderer on the Tender Form; or

  - does not accept the correction of errors in accordance with the ITT; or

- If the Tenderer, having been notified of the acceptance of its tender by the Purchaser during the period of tender validity:

  - fails or refuses to execute the Contract Form if required; or

  - fails or refuses to furnish the performance security, in accordance with the Instruction to Tenderers;

We undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to and including forty five (45) days after the period of the tender validity, and any demand in respect thereof should reach the Bank not later than the above date.

(Signature of the Bank)

Name of Tenderer.

SECTION XI: CONTRACT FORM

THIS AGREEMENT made the .......day of.................................., 20... Between .......................... (Name of purchaser) of .............. (Country of Purchaser) (hereinafter called "the Purchaser") of the one part and ..................... (Name of Supplier) of ......................... (City and Country of Supplier) (hereinafter called "the Supplier") of the other part :

WHEREAS the Purchaser is desirous that certain Goods and ancillary services viz., ..................................... (Brief Description of Goods and Services) and has accepted a tender by the Supplier for the supply of those goods and services in the sum of .............................. (Contract Price in Words and Figures) (hereinafter called "the Contract Price").

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

- In this Agreement words and expressions shall have the same meanings as are

respectively assigned to them in the Conditions of Contract referred to.

- The following documents shall be deemed to form and be read and construed as part of   this Agreement, viz.:

(a) the Tender Form and the Price Schedule submitted by the Tendered;

(b) the Schedule of Requirements;

(c) the Technical Specifications;

(d) the General Conditions of Contract;

(e) the Special Conditions of Contract; and

(f) the Purchaser's Notification of Award.

3. In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4. The Purchaser hereby covenants to pay the Supplier in consideration of the

provision of  the goods and services and the remedying of defects therein, the

Contract Price or such  other sum as may become payable under the provisions of

the Contract at the times and  in the manner prescribed by the Contract.

Brief particulars of the goods and services which shall be supplied/provided by the Supplier are as under:

__________________________________________________________________

SL.    BRIEF                             QUANTITY TO    UNIT         Total    DELIVERY

NO.  DESCRIPTION OF         BE SUPPLIED    PRICE         Price      TERMS

GOODS & SERVICES

____________________________________________________________________

____________________________________________________________________

TOTAL VALUE:

DELIVERY SCHEDULE:

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, Sealed and Delivered by the

said ..................................................... (For the Purchaser

in the presence of:.......................................

Signed, Sealed and Delivered by the

said ..................................................... (For the Supplier)

in the presence of:.......................................

SECTION XIII

(Please see Clause 11.2 (b) of the Instructions to Tenders)

List of Supplies/Installations of Equipment of similar nature for the last three  years for similar equipment

IFT No………Date of Opening…………………. Time ……… Hours

Name of the Firm:……………………………………………………….

| Orders placed by (Full address of Purchaser) | Order No and Date | Description and Quantity of Goods ordered | Value of Order | Date of Completion of Delivery As per contract/Actual | Remarks indicating reasons for late delivery, if any | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

Signature and Seal of the Tenderer:----------------------------------------------

# Note:-1. All the above columns should be filled up including the value of Order column or else the tender will be considered as Non- responsive.

- Details with regard to supplies made private Hospitals/ Institutions must

be furnished with values of the order.

- Equipment previous by supplied should have been of similar specification

or equivalent, and should have been supplied within preceding 3 years.

- For individual package items/equipments at Annexure-1, bidder have

to quote for each item separately, which will be evaluated individually.

- For package items bidder shall quote for all the items in package items.

Tender will be considered for total items.  If the rates are quoted for few

items tenders are liable for rejection.

SECTION XIV:- MANUFACTURERS' AUTHORIZATION FORM*

(Please see Clause 11.2(a) of Instructions to Tenderers)

No………………. dated

To

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

Dear Sir:

We who are established and reputable manufacturers of (name and description of goods offered) having factories at (address of factory) do hereby authorize M/s (Name and address of Agent) to submit a tender, and sign the contract with you for the goods manufactured by us against the above IFT.

No company or firm or individual other than M/s are authorized to tender, and conclude the contract for the above goods manufactured by us, against this specific IFT. (This para should be deleted in simple items where manufacturers sell the product through different stockists.)

We hereby extend our full guarantee and warranty as per Clause 14 of the General Conditions of Contract for the goods and services offered for supply by the above firm against this IFT.

We will not supply refurbished equipments.

Yours faithfully,

(Name)

(Name of manufacturers)

Note: This letter of authority should be on the letterhead of the manufacturer and should be signed by a person competent and having the power of attorney to legally bind the manufacturer. It should be included by the Tenderer in its tender.

SECTION -XV-PROFORMA FOR EQUIPMENT AND QUALITY CONTROL EMPLOYED BY THE MANUFACTURER

No: KMCRI/SUP(5)/Surgical oncology/Tender-01/130/2026-27

Date:- 18/6/2026

NAME OF THE TENDERER :

(Note : All details should relate to the manufacturer for the items offered for supply)

- Name & full address of the Manufacturer

- (a) Telephone & Fax No                                                                        Office/Factory/Works

(b)Telex No.                                                                                           Office/Factory/Works

(c) Telegraphic address :

- Location of the manufacturing factory.

- Details of Industrial License, wherever required as per statutory regulations.

- Details of important Plant & Machinery functioning in each dept. (Monographs & description pamphlets be supplied if available).

- Details of the process of manufacture in the factory.

  - 7.   Details & stocks of raw materials held. Production capacity of item(s) quoted for, with the

  - existing Plant & Machinery Normal Maximum

- Details of arrangement for quality control of products such as laboratory, testing equipment etc.

- Details of staff:

  - 9.   Details of technical supervisory staff in charge of production & quality control, Skilled

  - labour employed ,Unskilled labour employed.  Maximum No. of workers (skilled &

  - unskilled) employed on any day during the 18 months preceding the date of Tender.

- Whether Goods are tested to any standard specification? If so, copies of original test certificates should be submitted in triplicate.

- Is the Manufacturer registered with the Directorate General of Supplies and Disposals, New Delhi 110 001, India? If so, furnish full particulars of registration, period of currency etc. with a copy of the certificate of registration.

...............................................................

Signature and seal of the Manufacturer

# SECTION-XVI

USER CERTIFICATE FORMAT.

| 01 | NAME OF THE EQUIPMENT. |  |
| --- | --- | --- |
| 02. | SUPPLIED BY |  |
| 03. | MODEL. |  |
| 04. | QUANTITY. |  |
| 05. | DATE OF INSTALLATION. |  |
| 06. | COMMENT ABOUT PERFORMANCE OF THE EQUIPMENT. |  |
| 07. | WHETHER MAJOR BREAK DOWN OCCURRED /NOT. |  |
| 08. | ANY REMARKS ABOUT EQUIPMENT / SUPPLIER. |  |

N.B:- Equipments  should have been supplied  by the tenderer within the preceding

3 years and should have been of similar or equivalent specification.  All the

columns should be filled.

Date:-                                                    End users Signature with seal.

SECTION –V: SCHEDULE OF REQUIREMENTS

(ANNEXURE-1-)

Each item/equipment will be considered as an individual package

For Supply of Medical Equipments to Surgical Oncology Dept

| Sl.No. | Name of the Equipments | Quantity |
| --- | --- | --- |
| 01 | Bone cutting machine | 1 |

Annexure – II

(On Rs.100/- stamp paper, Notarized)

Undertaking

    - We hereby submitting our bid for Supply and Installation of following equipment with necessary accessories, as per the tender specification, scope of the work.

| Sl. No | Nomenclature | OEM/Make | Model | Place of Manufacture |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |

    - We hereby undertake that,

  - We agree for minimum Comprehensive Warranty period as per the terms and conditions of the tender from the date of satisfactory installation, training and Go Live. The Warranty will carry replacement/repair of spare free of cost for any manufacturing defects. We agree to provide adequate service support during the period of Warranty and ensure availability of service/spares for at least next 07 years for the products offered after completion of the warranty period.

  - We hereby declare that, we will undertake periodical calibration of equipment (wherever applicable) during Warranty and CAMC/AMC period as per requirement free of cost and provide Calibration certificate towards for the same.

  - We hereby agree that the compliance statement offered model submitted by us has no deviations. If any deviations are foundby the procuring entity, the quoted model can be disqualified.

  - All the statements, documents, testimonials, certificates, etc., uploaded are genuine and the contents thereof are true.

  - We hereby undertake that all the components/materials used in used in the supplied products and accessories are not refurbished/inferior/second hand products.

  - Any of our personnel, representatives, sub-consultants, sub-contractors, service providers, suppliers and/or their employees will not directly or indirectly, engage in any activity that may intervene, interfere and/or influence the KPP process at any stage.

  - Indemnify and compensate the purchaser from any penalties and costs that may be incurred due to lapse/s on our part including incorrect/ misrepresented/forged document or statements.

  - We   have  not been  blacklisted/barred  by  any  of  the  State Government, Central Government, Central & State Govt. Undertakings/enterprises/Organizations,   Govt E-marketing portal or  any  other  Quasi  Government  bodies/ Organizations or International organizations such as World Bank or any major Enterprise/Organization in India for not of standard quality, non-satisfactory performance, corrupt & Fraudulent or any other unethical business practices, not meeting critical conditions/security clearance etc.

  - We hereby declare that we are not under liquidation; court receivership or similar proceedings and bankrupt.

  - We do not have any pending cases in the Court of Law for hearing, final disposal/decision towards debarment/blacklist by any of the Govt. Department/ organization/ Health institution, as on the last date prescribed for bid submission.

  - We have read the clauses regarding restrictions on procurement from a bidder of a country which shares a land border with India (GoI Letter No. F.No. 6/18/2019 - PPD dtd: 23.07.2020 Order (Public Procurement No. 1 and 2) dated 23.07.2020 & Order (Public Procurement No. 3) dated 24.07.2020 and GO of GoK vide No. FD 455 Exp-12 2020 Bengaluru Dated:25.08.2020.

- I/ We certify that, we are not from such a country which shares a land border with India and we are eligible to be considered.

Or

- I/ We declare that, we are from such a country or countries which share a land border with India and we have been registered with the Competent Authority and certify that, we fulfill all requirements in this regard and are eligible to be considered. A copy of the valid registration by the Competent Authority is enclosed along with this declaration for Evidence

- We declare that, we will not sub-contract any work to a contractor from such country or countries which shares a land border with India unless such contractor is registered with the Competent Authority in case the work order is released on us. We fulfill all requirements in this regard and is eligible to be considered.(A copy of the valid registration issued by the Competent Authority to be enclosed if applicable)

- We are aware that, such registration with Competent Authority should be valid at the time of submission of bids and at the time of acceptance of bids.

If our Firm is found contravening this undertaking even after award of contract in our favor, we accept disciplinary action by purchaser including rejection of our TENDER, annulment of contract and blacklisting.

Date:

Authorized Person’s Signature

Name & Designation with Seal

*Should be sworn before a Notary