CAUVERY NEERAVARI NIGAMA LIMITED

(A Government of Karnataka Enterprises)

## DRAFT TENDER SCHEDULE

KW-1

Name of the Work: Kothagere tank bund seepage repair under jurisdiction of NO3 HCI sub division hebbur for the year 2026-27 (CNNL/2025-26 /OW/ WORK_ INDENT4347)

Office of Executive Engineer

Hemavathy Canal Investigation Division, CNNL

Hebburu

OFFICE OF EXECUTIVE ENGINEER, HEMAVTHY CANAL INVESTIGATION  DIVISION , HEBBURU.

Telephones: 0816 2957008

TENDERS FOR THE  WORK OF:-

Kothagere tank bund seepage repair under jurisdiction of NO3 HCI sub division hebbur for the year 2026-27 (CNNL/2025-26 /OW/ WORK_ INDENT4347)

TENDER REFERENCE : T.No.01/2026-27  Dated:15.04.2026

| Sl.No | Calendar of Events |  |
| --- | --- | --- |
| 1 | Date of Access & submission of completed E-Tender documents | Dt:17.04.2026 to 24.04.2026 till 4.30 PM |
| 2 | Last date and time for Queries and Clarification (Through KPP portal only) | Dt:20.04.2026 till 5.00 PM |
| 3 | Date of opening of Bids | Dt:27.04.2026 after 11.00 AM |
| 4 | ADDRESS FOR COMMUNICATION | Office of Executive Engineer Hemavathy Canal Investigation Division, CNNL, Hebburu. |

Contents

Section No.	Description 	Page

1	INVITATION FOR TENDERS (IFT)	             4

2	INSTRUCTIONS TO TENDERERS (ITT)	          5-12

3.	FORM OF TENDER AND QUALIFICATION INFORMATION	13-16

4.	CONDITIONS OF CONTRACT (CC)	          17-26

5	CONTRACT DATA	          27-28

6	SPECIFICATIONS	          -29-

7	DRAWINGS	         -30-

8.	BILL OF QUANTITIES	          -31-

9.                                      ANNEXURES                                                                                           32-34

SECTION-1 INVITATION FOR TENDERS(IFT)

KARNATAKA PUBLIC PROCUREMENT PORTAL SHORT TERM TENDER NOTIFICATION

No:01/2026-27 Dt:15.04.2026 is uploaded separately

- The Executive Engineer Hemavathy Canal Investigation Division, CNNL, Hebburu invites tenders from eligible tenderers, for the work detailed in the Table below.  Tenderers are advised to note the minimum qualification criteria specified in Clause 3 of the Instructions  to Tenderers to qualify for award of the Contract

- Electronic Tender documents may be downloaded from Karnataka Public Procurement Portal, as per time and date specified in the portal.  Tender fee paid online through Karnataka Public Procurement Portal is non- refundable.

3.	Tenders must be accompanied by earnest money deposit specified for the work in the Table below. Earnest money deposit will have to be in any one of the forms as specified in the Tender document and shall have to be valid for 45 days beyond the validity of the tender.

4.          Electronic Tenders must be uploaded through Karnataka Public Procurement Portal on or before 16.30 hours on 24.04.2026 (date) and will be opened on the  day at 27.04.2026 after 11.00 AM.

5.          Other details can be seen in the tender documents.

| Sl No | Name of The work | Approximate value of the Work (in Lakhs) | Earnest Money Deposit (Rs) | Tender Processing Fees (Rs) | Stipulated period for completion (including monsoon) | Reservation |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Kothagere tank bund seepage repair under jurisdiction of NO3 HCI sub division hebbur for the year 2026-27 (CNNL/2025-26 /OW/ WORK_ INDENT4347) | 7.76 | 19,400/- | As per Karnataka Public Procurement Portal | 02 Months | Others |

SECTION 2:- INSTRUCTIONS TO TENDERERS (ITT)

Table of Clauses

A.	General 	Page No.

1.	Scope of Tender	5

2.	Eligible Tenderers	5

3.	Tender capacity	5

B.	Tender  Documents

4.	Content of Tender documents	5

5.	Amendment of Tender documents	6

C. 	Preparation of Tenders

6.	Documents comprising the Tender	6

7.	Tender prices	6

8.	Tender validity	6

9.	Earnest money deposit	6

10.	Format and signing of Tender	7

D.	Submission of Tenders

11	Sealing and marking of Tenders	8

12	Deadline for submission of Tenders	8

13	Late Tenders	8

14	Modification and Withdrawal of Tenders	8

E.	 Tender  opening and evaluation

15.	Tender opening	8

16.	Process to be confidential	8

17.	Clarification of Tenders	9

18.	Examination of Tenders and determination of responsiveness	9

19.	Correction of errors	9

20.	Evaluation and comparison of Tenders	9

F.	 Award of contract

21.	Award criteria	10

22	Employer’s right to accept any Tender and to reject any or all Tenders	10

23.	Notification of award and signing of Agreement	10

24.	Security deposit	10

25.	Corrupt or Fraudulent practices	10

1.	Scope of Tender

1.1	The  Executive Engineer, Hemavathy Canal Investigation Division, CNNL,  Hebburu (Referred to as Employer in these documents) invites tenders from eligible Contractors registered in KPWD for the required class for  construction of works (as defined in these documents and referred to as "the works") detailed in the Table given in the Invitation for Tenders (IFT). The tenderers may submit Electronic tenders for any or all of the works detailed in the table given in IFT.

2.	Eligible Tenderers

2.1	Tenderers shall not be under a declaration of ineligibility for corrupt and fraudulent practices issued by the Government of Karnataka

2.2	Tenders   from Joint ventures  are not acceptable.

3.	Tender  capacity:

3.1	Eligible Tenderers will be qualified only if their available tender capacity is more than the total tender value. The available tender capacity will be calculated as under:

1. Eligible Tenderers  will be qualified only if their available tender capacity is more  than the total

tender  value. The available tender capacity will be calculated  as under:

Assessed available tender   capacity = ( A*N*2.5 - B )

Where

A =  Maximum value of Civil Engineering works executed in any one year during the last five years

(updated to 2026-27 price level) taking into account  the completed as well as works in

progress.

N = Number of years prescribed for completion of the works for which Tenders are invited.

B = Value, at 2026-27 price level, of existing commitments and on-going works to be completed during the next N/12 years (N=period of completion in months of individual works for which tenders are invited= 02  Months.)

Note: The statements showing the value of existing commitments and on-going works as well as the stipulated period of completion remaining for each of the works listed should be countersigned by the Employer in charge, not below the rank of an Executive Engineer or equivalent & Audited balance sheets mentioning UDIN number should be mandatorily uploaded along with tender, failing  with which tender will be liable for rejection.

All tenderers shall provide the requested information accurately and in sufficient detail in Section 3: Form of Tender and Qualification information.

3.2	Even though the tenderers meet the above criteria, they are subject to be disqualified if they have:

-	made misleading or false representations in the forms, statements and attachments submitted in proof of the qualification requirements; and/or

-	record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history, or financial failures etc.; and/or

-	participated in the previous Tender for the same work and had quoted unreasonably high tender prices and could not furnish rational justification.

B,TENDER DOCUMENTS

4.	One tender per tenderer

4.1	NOT APPLICABLE

4.2	NOT APPLICABLE

5.	Amendment  of Tender  documents

5.1	Before the deadline for submission of tenders, the Employer may modify the tender documents by issuing addenda in Karnataka public procurement portal.

5.2	Any addendum thus issued shall be part of the tender documents and shall be published in Karnataka public procurement portal  to all the purchasers of the tender documents.

5.3	To give prospective tenderers reasonable time in which to take an addendum into account in preparing their tenders, the Employer shall extend as necessary the deadline for submission of tenders, in accordance with Sub-Clause 12.2 below.

C.  Preparation of tenders (through Karnataka public procurement portal   only)

6.	Documents comprising  the Tender

6.1	The Electronic tender submitted by the Tenderer shall comprise the following:

(a)	Electronic tender Document.

(b)	Earnest Money Deposit; (c)	Priced Bill of Quantities;

(d)	Qualification Information Form and Documents;

and any other materials required to be completed and submitted by tenderers in accordance with these instructions. The documents listed under  Sections 3, 5 and 8  shall be filled in without exception.

7.	Tender  prices (through Karnataka public procurement portal   only)

7.1	The contract shall be for the whole works as described in Sub-Clause 1.1, based on the priced

Bill of Quantities submitted by the Tenderer.

7.2       The Tenderer shall fill in rates and prices and line item total (both in figures and words) for all items of the Works described in the Bill of Quantities along with total tender price (both in figures and words). Items for which no rate or price is entered by the Tenderer will not be paid for by the Employer when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities.

7.3	All duties, taxes, and other levies payable by the contractor under the contract, or for any other cause, shall be included in the rates, prices and total Tender Price submitted by the Tenderer.

7.4	The rates and prices quoted by the Tenderer shall be fixed for the duration of the Contract  and

shall not be subject to adjustment on any account.

8.	Tender  validity

8.1	Tenders shall remain valid for a period not less than 90  days after the deadline date for tender submission specified in Clause 12.  A tender valid for a shorter period shall be rejected by the Employer as non-responsive.

8.2	In exceptional circumstances, prior to expiry of the original time limit, the Employer may request that the tenderers may extend the period of validity for a specified additional period.  The request and the tenderers' responses shall be made in writing or by cable.  A tenderer may refuse the request without forfeiting his earnest money deposit.  A tenderer agreeing to the request will not be required or permitted to modify his tender, but will be required to extend the validity of his earnest money deposit for a period of the extension, and in compliance with Clause 9 in all respects.

9.	Earnest money deposit

9.1	The Tenderer shall furnish, as part of his tender, earnest money deposit in the amount as shown

in  column 4 of the Table of IFT for this particular work.  This earnest money deposit shall be

paid in  the form of e-payment. Tenders received without valid EMD will be  rejected.                                                      
             EMD amount as 2.5% of the estimated cost of the work put to tender is Rs:-19,400/-

9.2	Instruments having fixed validity issued as earnest money deposit for the tender shall be valid for 45 days beyond the validity of the tender.

9.3	Any tender not accompanied by an acceptable earnest money deposit and not secured as

indicated in Sub-Clauses 9.1  and 9.2 above shall be rejected by the Employer as non-

responsive.

9.4	The earnest money deposit of unsuccessful tenderers will be returned within 30 days of the end of the tender validity period specified in Sub-Clause 8.1.

9.5	The earnest money deposit of the successful Tenderer will be discharged when the Tenderer has signed the Agreement and furnished the required Performance Security.

9.6	The earnest money deposit may be forfeited:

(a)	 if the Tenderer withdraws the Tender after tender opening during the period of tender validity;

(b)	if the Tenderer does not accept the correction of the Tender Price, pursuant to Clause 19; or

(c)	in the case of a successful Tenderer, if the Tenderer fails within the specified time limit to

(i)	Sign the Agreement; or

(ii)	Furnish the required  Security deposit

10.	Format and signing of Tender- (in Karnataka public procurement  portal)

10.1	The Tenderer shall submit the bid electronically before the submission date & time published in  Karnataka public procurement portal

D.  Submission of Tenders- (Through Karnataka public procurement portal Only)

11.	Sealing and marking of tenders-.-Not Applicable

11.1	The Tenderer shall seal the original and a copy of the Tender in separate envelopes, duly marking the envelopes as "ORIGINAL" and "COPY".  These envelopes (called as inner envelopes) shall then be put inside one outer envelope.- . Not Applicable

11.2	The inner and outer envelopes shall- Not Applicable

(a)	be addressed to the Employer at the following address:

(insert address of office for Tender submission), and

(b)	bear the following identification:

-	Tender for ....................................................[name of contract]

-	Tender Reference No....................................[insert number]

-	DO NOT OPEN BEFORE................[time and date for tender opening, per Clause 15]

11.3	In addition to the identification required in Sub-Clause 11.2, the inner envelopes shall indicate the name and address of the Tenderer to enable the tender to be returned unopened in case it is declared late, pursuant to Clause 13. Not Applicable

11.4	If the outer envelope is not sealed and marked as above, the Employer will assume no responsibility for the misplacement or premature opening of the Tender. Not Applicable

12. Deadline for submission of the Tenders (Through Karnataka public procurement portal Only)

12.1	The Employer may extend the deadline for submission of tenders by issuing an amendment in accordance with Clause 5, in which case all rights and obligations of the Employer and the Tenderers previously subject to the original deadline will then be subject to the new deadline.

13.	Late Tenders

13.1	In online e-procurement system, tenderer shall not be able to submit the bid after the bid submission time and date as the icon or the task in the Karnataka public procurement portal will not be available.

14.	Modification  and Withdrawal of Tenders

# 14.1   Tender has all the time to modify and correct or upload any relevant document in the portal till Bid submission date and time, as published in the Karnataka public procurement portal.

14.2	The Tenderer may withdraw his tender before the notified last date and time of tender submission.

15.TENDER OPENING & EVALUATION

15.1	The Employer will open all  the Tenders received (except those received late), including modifications made pursuant to Clause 14, in the presence of the Tenderers or their representatives who choose to attend on the date and the place specified in KPP Portal. In the event of the specified date of Tender opening being declared a holiday for the Employer, the Tenders will be opened at the appointed time and location on the next working day. (Tender opening Through Karnataka Public procurement portal Only)

15.2	Not Applicable

15.3	The Tenderers' names, the Tender prices, the total amount of each Tender, any discounts, Tender modifications and withdrawals, the presence or absence of Tender security, and such other details as the Employer may consider appropriate, will be announced by the Employer at the opening.  No Tender shall be rejected at Tender opening except for the late Tenders pursuant to Clause 13.  Tenders [and modifications] sent pursuant to Clause 14 that are not opened and read out at Tender opening will not be considered for further evaluation regardless of circumstances.  Late and withdrawn Tenders will be returned un-opened to Tenderers.

15.4	The Employer shall prepare minutes of the Tender opening, including the information disclosed to those present in accordance with Sub-Clause 15.3.

16.	Process to be confidential

16.1	Information relating to the examination, clarification, evaluation, and comparison of Tenders and recommendations for the award of a contract shall not be disclosed to Tenderers or any other persons not officially concerned with such process until the award to the successful Tenderer has been announced. Any effort by a Tenderer to influence the Employer's processing of Tenders or award decisions may result in the rejection of his Tender.

17.	Clarification of Tenders

17.1	To assist in the examination, evaluation, and comparison of Tenders, the Employer may, at his discretion, ask any Tenderer for clarification of his Tender, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, but no change in the price or substance of the Tender shall be sought, offered, or permitted except as required to confirm the correction of arithmetic errors discovered by the Employer in the evaluation of the Tenders in accordance with Clause 19.

17.2	Subject to sub-clause 17.1, no Tenderer shall contact the Employer on any matter relating to its Tender from the time of the Tender opening to the time the contract is awarded.  If the Tenderer wishes to bring additional information to the notice of the Employer, it should do so in writing.

17.3	Any effort by the Tenderer to influence the Employer in the Employer’s Tender evaluation, Tender comparison or contract award decisions may result in the rejection of the Tenderers’ Tender.

18.	Examination of Tenders  and determination of responsiveness

18.1	Prior to the detailed evaluation of Tenders, the Employer will determine whether each Tender (a) meets the eligibility criteria defined in Clause 2; (b) has been properly signed; (c) is accompanied by the required earnest money deposit and; (d) is substantially responsive to the requirements of the Tender documents.

18.2	A substantially responsive Tender is one which conforms to all the terms, conditions, and

specifications of the Tender documents, without material deviation or reservation. A material deviation or reservation is one (a) which affects in any substantial way the scope, quality, or performance of the Works; (b) which limits in any substantial way, inconsistent with the Tender documents, the

Employer's rights or the Tenderer's obligations under the Contract; or (c) whose rectification would

affect unfairly the competitive position of other Tenderers presenting substantially responsive Tenders.

18.3	If a Tender is not substantially responsive, it will be rejected by the Employer, and may not subsequently be made responsive by correction or withdrawal of the nonconforming deviation or reservation.

19.	Correction of errors

The Tenderer can do Modifications before submitting their bids in Karnataka public procurement  Portal only.

20.	Evaluation and comparison of Tenders

20.1	The Employer will evaluate and compare only the Tenders determined to be substantially responsive in accordance with Clause 18.

20.2	In evaluating the Tenders, the Employer will determine for each Tender the evaluated Tender Price by adjusting the Tender Price as follows: - NOT APPLICABLE

(a)	making any correction for errors pursuant to Clause 19;  and NOT APPLICABLE

(b)	making appropriate adjustments to reflect discounts or other price modifications offered in accordance with Sub Clause 14.5.- NOT APPLICABLE

20.3	The Employer reserves the right to accept or reject any variation, deviation, or alternative offer.

Variations, deviations, and alternative offers and other factors which are in excess of the requirements of the Tender documents or otherwise result in unsolicited benefits for the Employer shall not be taken into account in Tender evaluation.

F. Award of Contract

21. Award criteria

21.1 Subject to Clause 22, the Employer will award the Contract to the Tenderer whose Tender has been determined to be substantially responsive to the Tender documents and who has offered the lowest evaluated Tender Price, provided that such Tenderer has been determined to be (a) eligible in accordance with the provisions of Clause 2, and (b) qualified in accordance with the provisions of Clause 3.

22. Employer's right to accept any Tender and to reject any or all Tenders

22.1 Notwithstanding Clause 21, the Employer reserves the right to accept or reject any Tender, and to cancel the Tender process and reject all Tenders, at any time prior to the award of Contract, without thereby incurring any   liability to the affected Tenderer or Tenderers or any obligation to inform the affected Tenderer or Tenderers of the grounds for the Employer's action.

23. Notification of award and signing of Agreement

23.1 The Tenderer whose Tender has been accepted will be notified of the award by the Employer prior to expiration of the Tender validity period by cable, telex or facsimile confirmed by registered letter. This letter (hereinafter and in the Conditions of Contract called the "Letter of Acceptance") will state the sum that the Employer will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the "Contract Price").

23.2 The notification of award will constitute the formation of the Contract, subject only to the furnishing of a performance security in accordance with the provisions of Clause 24.

23.3 The Agreement will incorporate all agreements between the Employer and the successful Tenderer. It will be kept ready for signature of the successful Tenderer in the office of Employer within 30 days following the notification of award along with the Letter of Acceptance. Within 20 days of receipt, the successful Tenderer will sign the Agreement and deliver it to the Employer.

23.4 Upon the furnishing by the successful Tenderer of the Security deposit, the Employer will promptly

notify the other Tenderers that their Tenders have been unsuccessful.

24.	Security deposit

24.1	Within 20 days of receipt of the Letter of Acceptance, the successful Tenderer shall deliver Advance FSD at 5.00% & difference in cost for unbalanced tender in any of the forms given below :-

-	FDR/TDR/ in favour of EE HCID Hebburu payable at  Hebburu

-	Bank Guarantee pledged to EE HCD Hebburu payable at  Hebburu

24.2	The Security deposit if furnished in cash or demand draft can, if requested, be converted to interest bearing securities at the cost of the contractor.

24.3	Failure of the successful Tenderer to comply with the requirements of Sub-Clause 24.1 shall constitute sufficient grounds for cancellation of the award and forfeiture of the earnest money deposit.

25.	Corrupt or Fraudulent practices

25.1	The GOK requires that the Tenderers, observe the highest standard of ethics during the procurement and execution of such contracts.  In pursuance of this policy, GOK :

(a)	will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

(b)	will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a GOK contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a GOK contract.

25.2	Furthermore, Tenderers shall be aware of the provision stated in sub-clause 43.2 of the

Conditions of Contract.

SECTION  3: 	FORMS OF TENDER, AND QUALIFICATION INFORMATION

TABLE OF FORMS:

-	FORM OF TENDER

-	QUALIFICATION INFORMATION

-	LETTER OF ACCEPTANCE

-	NOTICE  TO PROCEED WITH THE WORK

-	AGREEMENT FORM

Form of Tender

(Through KPP Portal only)

Description of the Works: Kothagere tank bund seepage repair under jurisdiction of NO3 HCI sub division hebbur for the year 2026-27 (CNNL/2025-26 /OW/ WORK_ INDENT4347)

Tender To : ________________________________________________

Address : _______________________________________________________________ ___________________________________________________________________________ 11 GENTLEMEN, We offer to execute the Works described above in accordance with the Conditions of Contract accompanying this Tender for the Contract Price of _________ [in figures] (________________________________________________) [in letters]. 12 This Tender and your written acceptance of it shall constitute a binding contract between us. We understand that you are not bound to accept the lowest or any Tender you receive. We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely “Prevention of Corruption Act 1988”. We hereby confirm that this Tender complies with the Tender validity and Earnest money deposit required by the Tender documents.

We attach herewith our current income-tax clearance certificate.

Yours faithfully,

Authorized Signature: Name & Title of Signatory: _________________________________________________________________

Name of Tenderer ______________________________________________

Address: ---------------------------------------------------------------------- ----------------------------------------------------------------------

QUALIFICATION INFORMATION

The information to be filled in by the Tenderer hereunder  will be used for purposes of computing Tender capacity as provided for in Clause 3 of the Instructions to Tenderers. This information will not be incorporated in the Contract.

1.1	Constitution or legal status of Tenderer				[Attach copy]

# Place of Registration

(Attach Copy)

Principal place of business:

1.2	Total value of civil engineering construction

works executed and payments received in the last five years

(in Rs. Lakhs)      			                                             		_______________

2021-22

2022-23

2023-24

2024-25

2025-26

1.3  Information on works for which Tenders have been submitted and works which are yet to be

completed as on the date of this Tender.

(A) Existing commitments and on-going works:

| Description of work | Place & State | Contact No & Date | Name & address of Employer | Value of contract (in Lakhs) | Stipulated period of completion | Value of works remaining to be completed ( in Lakhs) | Anticipated date of completion |
| --- | --- | --- | --- | --- | --- | --- | --- |

(B)  Works for which Tenders already submitted:

| Description of work | Place & State | Name & address of Employer | Estimated value of works (in Lakhs) | Stipulated period of completion | Date when decision is expected | Remarks if any |
| --- | --- | --- | --- | --- | --- | --- |

  - Name address, & telephone , telex  & fax numbers of the tenderers bankers who may provide references if contacted by the Employer.

Letter of Acceptance/LOI

(Through KPP Portal Only)

(letterhead paper of the Employer) ________________________[date] To: _________________________________________________________________________[name and address of the Contractor] Dear Sirs, This is to notify you that your Tender dated ____________ for execution of the ______________________________________________________________________________________ [name of the contract and identification number, as given in the Instructions to Tenderers] for the Contract Price of Rupees ——___________________________________________________________ (_____________) [amount in words and figures], as corrected and modified in accordance with the Instructions to Tenderers is hereby accepted by our Agency. You are hereby requested to furnish Security deposit, in the form detailed in Para 24.1 of ITT for an amount of Rs.————— within 20 days of the receipt of this letter of acceptance valid up to 30 days from the date of expiry of Defects Liability Period i.e. up to ............ and sign the contract, failing which action as stated in Para 24.3 of ITT will be taken. Yours faithfully, Authorized Signature Name and Title of Signatory Name of Agency

Issue of Notice to proceed with the work

(letterhead of the Employer) ————— (date) To —————————————— (name and address of the Contractor) —————————————— —————————————— Dear Sirs: Pursuant to your furnishing the requisite Security deposit as stipulated in ITT Clause 24.1 and signing of the contract agreement for the construction of —————— 16 a Tender Price of Rs.——————, you are hereby instructed to proceed with the execution of the said works in accordance with the contract documents. Yours faithfully, (Signature, name and title of signatory authorized to sign on behalf of Employer)

Agreement Form Agreement

This agreement, made the ___________________day of ______________20_______, between___________________________________________________________________________________ ________________________________________[name and address of Employer] (hereinafter called “the Employer”) of the one part and _____________________________________________ __________________________________________________________________________________________ ______________________________________________________[name and address of contractor] (hereinafter called “the Contractor”) of the other part. Whereas the Employer is desirous that the Contractor execute _____________________________ __________________________________________________________________________________________ ______________________________________________________________________________________[ name and identification number of Contract] (hereinafter called “the Works”) and the Employer has accepted the Tender by the Contractor for the execution and completion of such Works and the remedying of any defects therein at a contract price of Rupees...............................

NOW THIS AGREEMENT WITNESSETH as follows:

1. In this Agreement, words and expression shall have the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to, and they shall be deemed to form and be read and construed as part of this Agreement.

2. In consideration of the payments to be made by the Employer to the Contractor as hereinafter mentioned, the Contractor hereby covenants with the Employer to execute and complete the Works and remedy any defects therein in conformity in all aspects with the provisions of the Contract.

3. The Employer hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying the defects wherein the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

4. The following documents shall be deemed to form and be read and construed as part of this Agreement, viz:

i) Letter of Acceptance;

ii) Notice to proceed with the works;

iii) Contractor’s Tender;

iv) Contract Data;

v) Conditions of contract (including Special Conditions of Contract);

vi) Specifications;

vii) Drawings;

viii) Bill of Quantities; and

ix) Any other document listed in the Contract Data as forming part of the contract.

In witness whereof the parties thereto have caused this Agreement to be executed the day and year first before written.

The Common Seal of ___________________________________________________________

was hereunto affixed in the presence of:

Signed, Sealed and Delivered by the said ___________________________________________________ in the presence of:

Binding Signature of Employer

Binding Signature of Contractor

SECTION 4: CONDITION OF CONTRACT

Table of Contents

A.	General 	Page No.

1.	Definitions	18

2.	Interpretation	18

3.	Law governing contract	19

4.	Employers decisions	19

5.	Delegation	19

6.	Communications	19

7.	Subcontracting	19

8.	Other Contractors	19

9.	Personnel	19

10.  Employer’s and Contractor’s risks	19

11.  Employer’s risks	19

12   Contractor’s risks	20

13   Query about Contract Data	20

14   Contractor to construct the Works	20

15.  The Works to be completed by Intended Completion Date	20

16.  Safety	20

17.  Discoveries	20

18.  Possession of the Site	20

19.  Access to the Site	20

20.  Instructions	20

B.	Time Control

21.  Program	20

22.  Extension of the Intended Completion Date	21

23.  Delays ordered by the Employer	21

24.  Management meetings	21

C. 	Quality Control

25.  Identifying defects	21

26.  Tests	21

27.  Correction of defects	21

28   Uncorrected defects	21

D.	Cost Control

29   Bill of Quantities (BOQ)	21

30   Variations	22

31.  Payment for Variations	22

32.  Submission of bills for payment	22

33   Payments	23

34.  Compensation events	23

35.  Tax	23

36.  Liquidated damages	23

37.  Cost of repairs	24

E 	Finishing of Contract

38.  Completion	24

39.  Taking Over	24

40.  Final account	24

41.  As built drawings	24

42.  Termination	24

43   Payment upon termination	25

44.  Property	25

45.  Release from performance	25

F 	Special Conditions  of Contract

CONDITION OF CONTRACT

A.GENERAL

1.	Definitions

1.1	Terms which are defined in the Contract Data are not also defined in the Conditions of Contract but keep their defined meanings. Bold letters are used to identify defined terms.

Bill of Quantities means the priced and completed Bill of Quantities forming part of the Tender.

Compensation events are those defined in Clause 34 hereunder.

The Completion  Date is the date of completion of the Works as certified by the Employer in accordance with Sub Clause 38.1.

The Contract is the contract between the Employer and the Contractor to execute, complete and

maintain the Works. It consists of the documents listed in Clause 2.3 below.

The Contract Data defines the documents and other information which comprise the Contract.

The Contractor is a person or corporate body whose Tender to carry out the Works has been accepted by the Employer.

The Contractor's Tender  is the completed Tender document submitted by the Contractor to the

Employer.

The Contract price is the price stated in the Letter of Acceptance and thereafter as adjusted in accordance with the provisions of the Contract.

Days are calendar days; months are calendar months.

A Defect is any part of the Works not completed in accordance with the Contract.

The Defects liability period is the period named in the Contract Data and calculated from the

Completion Date.

The Employer  is the party who will employ the Contractor to carry out the Works.

Equipment is the Contractor's machinery and vehicles brought temporarily to the Site to construct the

Works.

The Initial Contract price is the Contract Price listed in the Employer's Letter of Acceptance.

The Intended Completion  Date is the date on which it is intended that the Contractor shall complete the Works. The Intended Completion Date is specified in the Contract Data. The Intended Completion Date may be revised only by the Employer by issuing an extension of time.

Materials are all supplies, including consumables, used by the contractor for incorporation in the

Works.

Plant is any integral part of the Works which is to have a mechanical, electrical, electronic or chemical or biological function.

The Site is the area defined as such in the Contract Data.

Specification means the Specification of the Works included in the Contract and any modification or addition made or approved by the Employer.

The Start  Date is given in the Contract Data. It is the date when the Contractor shall commence execution of the works. It does not necessarily coincide with any of the Site Possession Dates.

A Subcontractor is a person or corporate body who has a Contract with the Contractor to carry out a

part of the work in the Contract which includes work on the Site.

A Variation is an instruction given by the Employer which varies the Works.

The Works are what the Contract requires the Contractor to construct, install, and turn over to the

Employer, as defined in the Contract Data.

2. Interpreation

2.1	In interpreting these Conditions of Contract, singular also means plural, male also means female or neuter, and the other way around. Headings have no significance. Words have their normal meaning under the language of the Contract unless specifically defined. The Employer will provide instructions clarifying queries about the Conditions of  Contract.

2.2	The documents forming the Contract shall be interpreted in the following order of priority:

(1)	Agreement

(2)	Letter of Acceptance, notice to proceed with the works

(3) Contractor’s Tender

(4) Contract Data

(5) Conditions of Contract

(6) Specifications

(7) Drawings

(8) Bill of quantities and

(9) any other document listed in the Contract Data as forming part of the Contract.

3.	Law governing contract

3.1	The  law governing the Contract is the Laws of India supplanted by the Karnataka Local Acts.

4.	Employer's decisions

4.1	Except where otherwise specifically stated, the Employer will decide contractual matters between the

Employer and the Contractor .

5.	Delegation

5.1	The Employer may delegate any of his duties and responsibilities to other people after notifying the

Contractor and may cancel any delegation after notifying the Contractor.

6.	Communications

6.1	Communications between parties which are referred to in the conditions are effective only when in writing. A notice shall be effective only when it is delivered (in terms of Indian Contract Act).

7.	Subcontracting

7.1	The Contractor may subcontract with the approval of the Employer but may not assign the Contract without the approval of the Employer in writing. Subcontracting does not alter the Contractor's obligations.

8.	Other  Contractors

8.1	The Contractor shall cooperate and share the Site with other contractors, public authorities, utilities, and the Employer.

9.	Personnel

9.1	The Contractor shall employ the technical personnel (of number and qualifications) as may be stipulated by GOK from time to time during the execution of the work. The technical staff so employed shall be available at site as may be stipulated by the Employer.

9.2	If the Employer asks the Contractor to remove a person who is a member of  the Contractor’s staff or his work force stating the reasons, the Contractor shall ensure that the person leaves the Site within seven days and has no further connection with the work in the Contract.

10.	Employer’s  and Contractor's risks

10.1	The Employer carries the risks which this Contract states are Employer’s risks, and the Contractor carries the risks which this Contract states are Contractor’s risks.

11.	Employer's risks

11.1	The Employer is responsible for the excepted risks which are (a) in so far as  rebellion,  riot commotion or disorder  or (b) a cause due solely to the design of the Works, other than the Contractor’s design.

12.	Contractor’s risks

12.1	All risks of loss of or damage to physical property and of personal injury and death which arise during and in consequence of the performance of the Contract other than the excepted risks are the responsibility of the Contractor.

13.	Queries about the Contract Data

13.1	The Employer will clarify queries on the Contract Data.

14.	Contractor to construct the Works

14.1	The Contractor shall construct the Works in accordance with the Specification and Drawings.

15.	The Works to be completed by the Intended Completion  Date

15.1	The Contractor may  commence execution of the Works on the Start Date  and complete them by the

Intended Completion Date.

16.	Safety

16.1	The Contractor shall be responsible for the safety of all activities on the Site.

17.	Discoveries

17.1	Anything of historical or other interest or of significant value unexpectedly discovered on the Site is the property of the Employer. The Contractor is to notify the Employer of such discoveries and carry out the Employer's instructions for dealing with them.

18.	Possession of the Site

18.1	The Employer shall give possession of all parts of the Site to the Contractor. If possession of a part is not given by the date stated in the Contract Data the Employer is deemed to have delayed the start of the relevant activities and this will be Compensation Event.

19.	Access to the Site

19.1	The Contractor shall allow the Employer and any person authorized by the Employer access to the Site, to any place where work in connection with the Contract is being carried out or is intended to be carried out and to any place where materials or plant are being manufactured / fabricated / assembled for the works.

20.	Instructions

20.1	The Contractor shall carry out all instructions of the Employer which comply with the applicable laws where the Site is located.

B.TIME CONTROL

21.	Program

21.1	Within the time stated in the Contract Data the Contractor shall submit to the Employer for approval a Program showing the general methods, arrangements, order, and timing for all the activities in the Works

21.2	The Employer's approval of the Program shall not alter the Contractor's obligations. The Contractor may revise the Program and submit it to the Employer again at any time. A revised Program is to show the effect of Variations and Compensation Events.

22.	Extension of the Intended Completion  Date

22.1	The Employer shall extend the Intended Completion Date if a Compensation Event occurs or a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date.

22.2	The Employer shall decide whether and by how much to extend the Intended Completion Date within

21 days of the Contractor asking the Employer for a decision upon the effect of a Compensation Event or Variation and submitting full supporting information.

23.	Delays ordered by the Employer

23.1	The Employer may instruct the Contractor to delay the start or progress of any activity within the

Works.

24.	Management meetings

24.1	The Employer may require the Contractor to attend a management meeting. The business of a management meeting shall be to review the progress achieved and the plans for remaining work.

24.2	The responsibility of the parties for actions to be taken is to be decided by the Employer either at the management meeting or after the management meeting and stated in writing to be distributed to all who attended the meeting.

C. QUALITY CONTROL

25.   Identifying defects

25.1	The Employer shall check the Contractor's work and notify the Contractor of any Defects that are found. Such checking shall not affect the Contractor's responsibilities. The Employer may instruct the Contractor to search for a Defect and to uncover and test any work that the Employer considers may have a Defect

26.	Tests

26.1	If the Employer instructs the Contractor to carry out a test not specified in the Specification to check whether any work has a Defect and the test shows that it does, the Contractor shall pay for the test and any samples. If there is no Defect the test shall be a Compensation Event.

27.	Correction of defects

27.1	The Employer shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins at Completion and is defined in the Contract Data. The Defects Liability Period shall be extended for as long as Defects remain to be corrected.

27.2	Every time notice of a Defect is given, the Contractor shall correct the notified Defect within the length of time specified by the Employer’s notice.

28.	Uncorrected defects

28.1	If the Contractor has not corrected a Defect within the time specified in the Employer’s notice, the

Employer will assess the cost of having the Defect corrected, and the Contractor will pay this amount.

D. COST CONTROL

29. Bill of Quantities

29.1 The BOQ shall contain items for the construction, installation, testing, and commissioning work to

be done by the Contractor.

29.2 The BOQ is used to calculate the Contract Price. The Contractor is paid for the quantity of the

work done at the rate in the BOQ for each item

30. Variations

30.1 The Employer shall have power to order the Contractor to do any or all of the following as considered necessary or advisable during the progress of the work by him (a) Increase or decrease of any item of work included in the Bill of Quantities (BOQ); (b) Omit any item of work; (c) Change the character or quality or kind of any item of work; (d) Change the levels, lines, positions and dimensions of any part of the work; (e) Execute additional items of work of any kind necessary for the completion of the works; and (f) Change in any specified sequence, methods or timing of construction of any part of the work.

30.2 The Contractor shall be bound to carry out the work in accordance with any instructions in this connection, which may be given to him in writing by the Employer and such alteration shall not vitiate or invalidate the contract.

30.3 Variations shall not be made by the Contractor without an order in writing by the Employer, provided that no order in writing shall be required for increase or decrease in the quantity of an item appearing in the BOQ so long as the work executed conforms to the approved drawings.

30.4 The Contractor shall promptly request in writing the Employer to confirm verbal orders and if no such confirmation is received within 15 days of request, it shall be deemed to be an order in writing by the Employer.

31. Payments for Variations

31.1	Payment for increase in the quantities of an item in the BOQ up to 25% of that provided in the Bill of

Quantities shall be made at the rates quoted by the Contractor.

31.2		For quantities in excess of 125% of the tendered quantity of an item as given in the BOQ, the Contractor shall be paid at the rate entered in or derived from,  in the Schedule of Rates (applicable for the area of the work and current at the time of award of contract) plus or minus the overall percentage of the original tendered rates over the current Schedule of Rates prevalent at the time of award of contract.

31.3	If there is no rate for the additional, substituted or altered item of the work in the BOQ, efforts would be made to derive the rates from those given in the BOQ or the Schedule of Rates (applicable for the area of the work and current at the time of award of contract) and if found feasible the payment would be made at the derived rate for the item plus or minus the overall percentage of the original tendered rates over the current Schedule of Rates prevalent at the time of award of contract

31.4	If the rates for additional, substituted or altered item of work cannot be determined either as at 31.1,

31.2  or 31.3 above, the Contractor shall be requested to submit his quotation for the items supported by analysis of the rate or rates claimed, within 7 days.

31.5	If the Contractor's quotation is determined unreasonable, the Employer may order the Variation and make a change to the Contract Price which shall be based on Employer’s own forecast of the effects of the Variation on the Contractor's costs.

31.6	If the Employer decides that the urgency of varying the work would prevent a quotation being given

and considered without delaying the work, no quotation shall be given and the Variation shall be treated as a Compensation Event.

31.7	Under no circumstances the Contractor shall suspend the work on the plea of non-settlement of rates for items falling under this Clause.

32.	Submission of bills for payment

32.1	The Contractor shall submit to the Employer monthly bills of the value of the work completed less the cumulative amount paid previously.

32. Submission of bills for payment

32.1	The Contractor shall submit to the Employer monthly bills of the value of the work completed less the cumulative amount paid previously.

32.2       The Employer shall check the Contractor's bill  and determine the value of the work executed which shall comprise of  (i) value of  the quantities of the items in the BOQ completed and (ii) valuation of Variations and Compensation Events.

32.3	The Employer may exclude any item paid in a previous bill or reduce the proportion of any item previously paid in the light of later information.

33.	Payments

33.1	Payments shall be adjusted for deductions for retention, other recoveries in terms of the contract and taxes, at source, as applicable under the law.  The Employer shall As far as possible pay the Contractor the within 60 days of submission of bill.

33.2	Items of the Works for which no rate or price has been entered in will not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract.

34.	Compensation events

34.1	The following are Compensation events unless they are caused by the Contractor:

(a)	The Employer does not give access to a part of the Site by the Site Possession Date stated in the Contract Data.

(b)	The Employer orders a delay or does not issue drawings, specifications or instructions required for execution of works on time.

(c)	The Employer instructs the Contractor to uncover or to carry out additional tests upon work which is then found to have no Defects.

(d)	The Employer gives an instruction for dealing with an unforeseen condition, caused by the

Employer, or additional work required for safety or other reasons. (e)	The effect on the Contractor of any of the Employer’s Risks.

(f)	The Employer unreasonably delays issuing a Certificate of Completion.

(g)	Other Compensation Events listed in the Contract Data or mentioned in the Contract.

34.2	If a Compensation Event would cause additional cost or would prevent the work being completed before the Intended Completion Date, the Contract Price shall be increased and/or the Intended Completion Date is extended. The Employer shall decide whether and by how much the Contract Price

shall be increased and whether and by how much the Intended Completion Date shall be extended.

34.3	As soon as information demonstrating the effect of each Compensation event upon the Contractor's forecast cost has been provided by the Contractor, it is to be assessed by the Employer and the Contract Price shall be  adjusted accordingly. If the Contractor's forecast is deemed unreasonable, the Employer shall adjust the Contract Price based on Employer’s own forecast. The Employer will assume that the Contractor will react competently and promptly to the event.

34.4	The Contractor shall not be entitled to compensation to the extent that the Employer's interests are adversely affected by the Contractor not having given early warning or not having cooperated with the Employer.

35.	Tax

35.1	The rates quoted by the Contractor shall be deemed to be exclusive of GST that the Contractor will have to pay for the performance of this Contract.  The Employer will perform such duties in regard to the deduction of GST & other taxes at source as per applicable law. Applicable GST will be paid separately. GST will be deducted as per the prevailing Govt Orders from time to time. (Refer tender notification)

36.	Liquidated damages

36.1	The Contractor shall pay liquidated damages to the Employer at the rate per day stated in the Contract Data for each day that the Completion Date is later than the Intended Completion Date.  The total amount of liquidated damages shall not exceed the amount defined in the Contract Data. The Employer may deduct liquidated damages from payments due to the Contractor. Payment of liquidated damages does not affect the Contractor's liabilities.

36.2	If the Intended Completion Date is extended after liquidated damages have been paid, the Employer shall correct any overpayment of liquidated damages by the Contractor by adjusting the next payment of bill.

37.	Cost of repair

37.1	Loss or damage to the Works or Materials to be incorporated in the Works between the Start Date and the end of the Defects Correction periods shall be remedied by the Contractor at the Contractor's cost if the loss or damage arises from the Contractor's acts or omissions.

38.          Completion.

38.1	The Contractor shall request the Employer to issue a Certificate of Completion of the Works and the

Employer will do so upon deciding that the Work is completed.

39.	Taking over

39.1	The Employer shall take over the Site and the Works within seven days of  issuing a certificate of

Completion.

40.	Final account

40.1	The Contractor shall supply to the Employer a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Employer shall issue a Defect Liability Certificate and certify any final payment that is due to the Contractor within 90 days of receiving the Contractor's account if it is correct and complete. If it is not, the Employer shall issue within 90 days a schedule that states the scope of the corrections or additions that are necessary. If the Final Account is still unsatisfactory after it has been resubmitted, the Employer shall decide on the amount payable to the Contractor and  make payment within 60 days of receiving the Contractor’s revised account. (Payments will be made as per Grants released from Govt/Nigama on priority)

41.	As built drawings

41.1	If “as built” Drawings17   are required, the Contractor shall supply them by the dates stated in the

Contract Data.

41.2	If the Contractor does not supply the Drawings by the dates stated in the Contract Data, or they do not receive the Employer’s approval, the Employer shall withhold the amount stated in the Contract Data from payments due to the Contractor.

42.	Termination

42.1	The Employer or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract.

42.2	Fundamental breaches of Contract include, but shall not be limited to the following:

(a) The Contractor stops work for 45 days when no stoppage of work is shown on the current

Program and the stoppage has not been authorized by the Employer;

(b)	The Employer instructs the Contractor to delay the progress of the Works and the instruction is not withdrawn within 60 days;

(c)	The Contractor becomes bankrupt or goes into liquidation other than for a reconstruction or amalgamation;

(d)	A payment due to the Contractor is not paid by the Employer  within 90 days of the date of

The submission of the Bill by Contractor;

(e)	the Employer gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Employer;

(f)	The Contractor does not maintain a security which is required;

(g)	The Contractor has delayed the completion of works by the number of days for which the maximum amount of liquidated damages can be paid as defined in the Contract data; and

(h)	If the Contractor, in the judgment of the Employer has engaged in corrupt or fraudulent practices in competing for or in the executing the Contract.

For the purpose of this paragraph : “corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution.  “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Tenderers(prior to or after Tender submission) designed to establish Tender prices at artificial non- competitive levels and to deprive the Borrower of the benefits of free and open competition.”

42.3	When either party to the Contract gives notice of a breach of contract to the Employer for a cause other than those listed under Sub Clause 42.2 above, the Employer shall decide whether the breach is fundamental or not.

42.4	Notwithstanding the above, the Employer may terminate the Contract for convenience.

42.5	If the Contract is terminated the Contractor shall stop work immediately, make the Site safe and secure and leave the Site as soon as reasonably possible.

43.	Payment  upon Termination

43.1	If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Employer shall prepare bill for the value of the work done less advance payments received up to the date of the bill, less other recoveries due in terms of the contract, less taxes due to be deducted at source as per applicable law and less the percentage to apply to the work not completed as indicated in the Contract Data. Additional Liquidated Damages shall not apply.  If the total amount due to the Employer exceeds any payment due to the Contractor the difference shall be a debt payable to the Employer.

43.2	If the Contract is terminated at the Employer's convenience or because of a fundamental breach of Contract by the Employer, the Employer shall prepare bill for the value of the work done, the reasonable cost of removal of Equipment, repatriation of the Contractor's personnel employed solely on the Works, and the Contractor's costs of protecting and securing the Works and less advance payments received up to the date of the certificate, less other recoveries due in terms of the contract, and less taxes due to be deducted at source as per applicable law and make payment accordingly.

44.	Property

44.1	All materials on the Site, Plant, Equipment, Temporary Works and Works are deemed to be the property of the Employer,  if the Contract is terminated because of a Contractor’s default.

45.	Release from performance

45.1	If the Contract is frustrated  by any  event entirely outside the control of either the Employer or the Contractor the Employer shall certify that the Contract has been frustrated. The Contractor shall make the Site safe and stop work as quickly as possible after receiving this certificate and shall be paid for all work carried out before receiving it and for any work carried out afterwards to which commitment was made.

F.   Special Conditions  of Contract

1.	Labour :

The Contractor shall, unless otherwise provided in the Contract, make his own arrangements for the engagement of all staff and labour, local or other, and for their payment, housing, feeding and transport.

The Contractor shall, if required by the Employer, deliver to the Employer a return in detail, in such form and at such intervals as the Employer may prescribe, showing the staff and the numbers of the several classes of labour from time to time employed by the Contractor on the Site and such other information as the Employer may require.

2.	Compliance with labour  regulations :

During continuance of the contract, the Contractor and his sub contractors shall abide at all times by all existing labour enactments and rules made there under, regulations, notifications and bye laws of the State or Central Government or local authority and any other labour law (including rules), regulations, bye laws that may be passed or notification that may be issued under any labour law in future either by the State or the Central Government or the local authority. The Contractor shall keep the Employer indemnified in case any action is taken against the Employer by the competent authority on account of contravention of any of the provisions of any Act or rules made there under, regulations or notifications including amendments. If the Employer is caused to pay or reimburse, such amounts as may be necessary to cause or observe, or for non-observance of the provisions stipulated in the notifications/bye laws/Acts/Rules/regulations including amendments, if any, on the part of the

Contractor, Employer shall have the right to deduct any money due to the Contractor including his

amount of security deposit.  The Employer shall also have right to recover from the Contractor any sum required or estimated to be required for making good the loss or damage suffered by the Employer.

The employees of the Contractor and the Sub-Contractor in no case shall be treated as the employees of the Employer at any point of time.

3.	Protection of Environment:

The contractor shall take all reasonable steps to protect the environment on and off the Site and to avoid damage or nuisance to persons or to property of the public or others resulting from pollution, noise or other causes arising as a consequence of his methods of operation. During continuance of the contract, the contractor and his sub-contractors shall abide at all times by all existing enactments on environmental protection and rules made there under, regulations, notifications and bye-laws of the State or Central Government, or local authorities and any other law, bye-law, regulations that may be passed or notification that may be issued in this respect in future by the State or Central Government or the local authority.

4. For Settlement of disputes  following procedure shall be followed

If any dispute or difference of any kind whatsoever were to arise between the Executive Engineer/Superintending Engineer and the contractor regarding the following matters namely,

(i)  The meaning of the specifications, designs, drawings and instructions hereinbefore mentioned;

(ii) The quality of workmanship or materials used on the work and

- Any other question, claim, right, matter, thing whatsoever, in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, or orders, or those conditions or failure to execute the same whether arising during the progress of the work, or after the completion, termination or abandonment thereof, the dispute shall, in the first place, be referred to the Chief Engineer who has jurisdiction over the work specified in the contract. The Chief Engineer shall, within a period of sixty days from the date of being requested by the Contractor to do so, give written notice of his decision to the Contractor. If the Contractor is aggrieved by the decision of the Chief Engineer, or if the Chief Engineer fails to give written notice of his decision within  the above said period of sixty days, the contractor may appeal to the Managing Director, CNNL, within 60 days from the receipt of written notice of Chief Engineer's decision or from the expiry of first named period of 60 days.

(b) 	Subject to the Managing Director's decision on appeal and subject to other form of settlement hereafter provided, the Chief Engineer's decision in respect of every dispute or difference so referred shall be final and binding upon the contractor.  The said decision shall forthwith be given effect to and contractor shall proceed with the execution of the work with all due diligence.

Remedy when Managing Director's decision on appeal is not acceptable to contractor

(c) 	In case the decision of the Managing Director is not acceptable to the contractor, he may approach the Law Courts at  Tumakuru for settlement of dispute after giving due written notice in this regard to the Managing Director within a period of ninety days from the date of receipt of the written notice of the decision of the Managing Director.

##### Time limit for notice to approach law court by contractor

(d) 	If the Managing Director has given written notice to the contractor of his decision on his appeal and no written notice to approach the law court has been communicated to him by the contractor within a period of ninety days from receipt of such notice, the said decision shall be final and binding upon the contractor.

(e)	 If the Managing Director fails to give notice of his decision within a period of ninety days from the receipt of the contractor's appeal, the Contractor may within ninety days after the expiry of the above named period of ninety days approach the Law Courts at Tumakuru) giving due notice to the Managing Director.

(f) 	Whether the claim is referred to the Chief Engineer or Managing Director or to the Law Courts, as the case may be, the contractor shall proceed to execute and complete the works with all due diligence pending settlement of the said dispute of differences.

Obligations of the Executive Engineer and contractor shall remain unaltered during considerations of dispute.

The reference of any dispute or difference to the Chief Engineer or Managing Director or the Law Court may proceed not withstanding that the works shall then be or be alleged to be complete, provided always that the obligations of the Executive Engineer and the contractor shall not be altered by reason of the said dispute or difference being referred to the Chief Engineer or Managing Director or the Law Court during the progress of the works.

It is clearly understood and agreed upon by both parties that no part of the above clause shall be construed to be an arbitration clause under the arbitration and conciliation act 1996 or any other act. In the event of any dispute or differences arising between the parties to this contract. Upon exhausting the remedies available under clauses (a) to  (g): the only final remedy available shall be to approach the jurisdictional civil court agreed to under clause  (e) of this contract by filing the suit in accordance with law.

SECTION  5: CONTRACT DATA

Items marked "N/A"  do not apply in this Contract.

The following documents are also part of the Contract:	Clause Reference

The Employer is : Executive Engineer Hemavathy Canal Investigation Division, CNNL, Hebburu.

Name:  Executive Engineer

[1.1]

Address:  Hemavathy Canal  Investigation Division ,CNNL,  Hebburu.

Name of authorized Representative:  AEE NO:03, HCI Sub division, CNNL, Hebburu.

The name and identification number of the Contract is :- Kothagere tank bund seepage repair under jurisdiction of NO3 HCI sub division hebbur for the year 2026-27 (CNNL/2025-26 /OW/ WORK_ INDENT4347)

[brief summary, including relationship to other contracts under the Project].

The start date shall be the date of issue of notice to proceed with the work.	[1.1] The Intended Completion Date for the whole

of the Works is 02 months (including monsoon)	[15, 22]

The following documents also form part of the Contract:

1.Tender Notification

2. Draft Tender Schedule

3.Schedule-B

4.Agreeement Copy

5.Work Order

6.Designs & Drawings

The Site Possession Date is:  07 days after issuing of work order.

[18]

The Site is located in :- Kunigal taluk in Tumakuru district.

[1.1]

The Defects Liability Period is :-  01 year from the date of completion of entire work

The liquidated damages for the whole of the works are

Rs. 0.1% of the contract value

The maximum amount of liquidated damages for the whole of the works	[36]

is ten percent of final contract price.

The date by which “as-built” drawings (in scale) in 2 sets are required is within 30 days of issue of certificate of completion  of whole or section of the works as the case may be.

Failing to submit “as-built” drawings (in scale) in 2 sets, an amount of Rs:- 10,000/- will be deducted from contractor bill.	[41]

The following events shall also be fundamental breach of the contract :	[42.2)

1.	The contractor has contravened Sub-clause 7.1 and Clause 9 of CC.

The percentage to apply to the value of the work not completed representing the Employer's   [43.1]additional cost for completing the Works shall be 30  percent.

SECTION  6: SPESPECIFICATION

DETAILED SPECIFICATIONS

Uploaded Separately in Karnataka Public Procurement Portal.

SECTION 7 DRAWINGS

Uploaded Separately in Karnataka Public Procurement Portal.

SECTION  8: BILL OF QUANTITIES

|  |  |  |  | Rate (Rs) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of item (with brief specification and reference to Book of specification) | Quantity | Unit | In figures | In words | Amount (Rs) |
|  | # --------------SEPERATELY UPLOADED--------------------- |  |  |  |  |  |
| Total Tender Price (in figures) |  |  |  |  |  |  |
| (in words) |  |  |  |  |  |  |

Note:

(1)      Item for which no rate or price  has been entered in will not be paid for by the Employer when executed and shall be deemed  covered by the other rates and prices in the Bill of Quantities (refer: ITB Clause 7.2 and CC Clause 33.2).

(2)	Unit rates and prices shall be quoted by the Tenderer in Indian Rupees.

(3)	Where there is a discrepancy between the rate in figures and words, the rates in words will govern. [ITB Clause 19.1(a)]

(4)	Where there is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by quantity, the unit rate quoted shall govern [ITB Clause 19.1 (b)]