## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
NIT Schedule for MOW work of Residential & Non Residential Buildings under Sub Division No.2, Division no 1, Bilaspur (C.G.) (for year 2026-27)
PAC 30.00 LACS
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N)
1 | PWD | PWD BLD | 2015 | 1.1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits.In all types of soil | cum | 185 | 1000 | 185000 | 0 | 0 | N
2 | PWD | PWD BLD | 2015 | 1.6.1 | Extra for every additional lift of 1.5 m or part thereof.All types of soil | cum | 26.5 | 250 | 6625 | 0 | 0 | N
3 | PWD | PWD BLD | 2015 | 1.18 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | cum | 371 | 50 | 18550 | 0 | 0 | N
4 | PWD | PWD BLD | 2015 | 1.26.1 | Carriage by mechanical transport upto 5 km lead: Earth | cum | 111 | 100 | 11100 | 0 | 0 | N
5 | PWD | PWD BLD | 2015 | 1.26.3 | Dismantled Building debris (Mulba) | cum | 91.5 | 100 | 9150 | 0 | 0 | N
6 | PWD | PWD BLD | 2015 | 2.1.1 | Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. | sqm | 139 | 50 | 6950 | 0 | 0 | N
7 | PWD | PWD BLD | 2015 | 2.1.4 | Edge of slab, breaks in floor and walls upto 200mm. | metre | 34 | 50 | 1700 | 0 | 0 | N
8 | PWD | PWD BLD | 2015 | 2.1.5 | Columns, Pillars, Piers and likes- rectangular or square in shape | sqm | 297 | 50 | 14850 | 0 | 0 | N
9 | PWD | PWD BLD | 2015 | 2.1.6 | Columns, beams & walls- circular or any other geometrical shape other than square and rectangular in all sizes | sqm | 356 | 50 | 17800 | 0 | 0 | N
10 | PWD | PWD BLD | 2015 | 2.1.7 | Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | sqm | 235 | 50 | 11750 | 0 | 0 | N
11 | PWD | PWD BLD | 2015 | 2.1.8 | Beams, lintels, cantilevers & walls | sqm | 202 | 50 | 10100 | 0 | 0 | N
12 | PWD | PWD BLD | 2015 | 2.1.13 | Weather shade, chhajja, Cornices and mouldings | sqm | 294 | 50 | 14700 | 0 | 0 | N
13 | PWD | PWD BLD | 2015 | 2.1.15 | Stair cases of all types excluding spiral and folded plate type, including risers and landings | sqm | 230 | 50 | 11500 | 0 | 0 | N
14 | PWD | PWD BLD | 2015 | 3.1.3 | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | cum | 2970 | 20 | 59400 | 0 | 0 | N
15 | PWD | PWD BLD | 2015 | 3.2.1 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | cum | 4163 | 80 | 333040 | 0 | 0 | N
16 | PWD | PWD BLD | 2015 | 3.4 | Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | cum | 97.5 | 60 | 5850 | 0 | 0 | N
17 | PWD | PWD BLD | 2015 | 3.12.1 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire all complete: Thermo-Mechanically treated bars FE 415 | kg | 54.5 | 1000 | 54500 | 0 | 0 | N
18 | PWD | PWD BLD | 2015 | 7.5.4 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand) | cum | 3263 | 60 | 195780 | 0 | 0 | N
19 | PWD | PWD BLD | 2015 | 7.6 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | cum | 121 | 40 | 4840 | 0 | 0 | N
20 | PWD | PWD BLD | 2015 | 8.13.2 | Providing and fixing flush door shutters, conforming to IS 2202 (Part 1), interior grade, commercial type, core of block board construction with frame of first class hard wood and well matched commercial ply veneering with vertical grains, cross bands and face veneers on both faces of shutters excluding hinges. 35 mm. thick (single leaf) | sqm | 1370 | 50 | 68500 | 0 | 0 | N
21 | PWD | PWD BLD | 2015 | 8.13.3 | 30 mm. thick (single leaf) | sqm | 1197 | 50 | 59850 | 0 | 0 | N
22 | PWD | PWD BLD | 2015 | 8.15 | Extra for double leaf shutter instead of single leaf. | sqm | 52 | 30 | 1560 | 0 | 0 | N
23 | PWD | PWD BLD | 2015 | 8.126.1 | Providing and fixing powder coated aluminium sliding door bolts with 16mm rod, necessary M.S. nuts bolts and screws etc complete. 300x16mm | each | 175 | 50 | 8750 | 0 | 0 | N
24 | PWD | PWD BLD | 2015 | 8.126.2 | 250x16mm | each | 150 | 50 | 7500 | 0 | 0 | N
25 | PWD | PWD BLD | 2015 | 8.127.1 | Providing and fixing powder coated aluminium door latch with 12mm rod, necessary M.S. nuts bolts and screws etc complete. 300x12mm | each | 75 | 50 | 3750 | 0 | 0 | N
26 | PWD | PWD BLD | 2015 | 8.127.2 | Providing and fixing powder coated aluminium tower bolts (Barrel type) with necessary M.S. screws etc complete. 250x12mm | each | 54.5 | 50 | 2725 | 0 | 0 | N
27 | PWD | PWD BLD | 2015 | 8.128.1 | Providing and fixing powder coated aluminium tower bolts (Barrel type) with necessary M.S. screws etc complete. 250 x10mm | each | 74.5 | 50 | 3725 | 0 | 0 | N
28 | PWD | PWD BLD | 2015 | 8.128.2 | 200 x10mm | each | 60 | 50 | 3000 | 0 | 0 | N
29 | PWD | PWD BLD | 2015 | 8.128.3 | 150 x10mm | each | 46.5 | 50 | 2325 | 0 | 0 | N
30 | PWD | PWD BLD | 2015 | 8.128.4 | 100 x10mm | each | 32 | 50 | 1600 | 0 | 0 | N
31 | PWD | PWD BLD | 2015 | 8.128.5 | 75 x10mm | each | 25.5 | 50 | 1275 | 0 | 0 | N
32 | PWD | PWD BLD | 2015 | 8.129.1 | Providing and fixing powder coated aluminium door handles 2.5mm thick with necessary M.S. screws etc complete. 150 mm | each | 32 | 50 | 1600 | 0 | 0 | N
33 | PWD | PWD BLD | 2015 | 8.129.2 | 125 mm | each | 27.5 | 50 | 1375 | 0 | 0 | N
34 | PWD | PWD BLD | 2015 | 8.129.3 | 100 mm | each | 22.5 | 50 | 1125 | 0 | 0 | N
35 | PWD | PWD BLD | 2015 | 8.132.1 | Providing and fixing stainless steel butt hinges IS : 12817 marked with necessary stainless steel screws etc complete. 150x2.5mm (heavy) | each | 97.5 | 50 | 4875 | 0 | 0 | N
36 | PWD | PWD BLD | 2015 | 8.132.2 | 125x2.5mm (heavy) | each | 76.5 | 50 | 3825 | 0 | 0 | N
37 | PWD | PWD BLD | 2015 | 8.132.3 | 100x2.5mm (heavy) | each | 52.5 | 50 | 2625 | 0 | 0 | N
38 | PWD | PWD BLD | 2015 | 8.136.1 | Providing and fixing stainless steel piano hinges with necessary stainless steel screws etc complete. Overall width 35mm | each | 138 | 50 | 6900 | 0 | 0 | N
39 | PWD | PWD BLD | 2015 | 8.136.2 | Overall width 25 mm | each | 123 | 50 | 6150 | 0 | 0 | N
40 | PWD | PWD BLD | 2015 | 8.137.1 | Providing and fixing stainless steel sliding door bolts with 16mm rod, 2.5mm thick flap, necessary stainless steel nuts bolts and screws etc complete. 300mm | each | 238 | 50 | 11900 | 0 | 0 | N
41 | PWD | PWD BLD | 2015 | 8.137.2 | 250mm | each | 228 | 50 | 11400 | 0 | 0 | N
42 | PWD | PWD BLD | 2015 | 8.138.1 | Providing and fixing stainless steel door latch with 12mm rod, 2.5mm thick flap, necessary stainless steel screws etc complete. 300mm | each | 92.5 | 50 | 4625 | 0 | 0 | N
43 | PWD | PWD BLD | 2015 | 8.138.2 | 250mm | each | 85 | 50 | 4250 | 0 | 0 | N
44 | PWD | PWD BLD | 2015 | 8.139.1 | Providing and fixing stainless steel tower bolts (Barrel type) with necessary stainless steel screws etc complete. 250 x10mm | each | 97 | 50 | 4850 | 0 | 0 | N
45 | PWD | PWD BLD | 2015 | 8.139.2 | 200 x10mm | each | 70.5 | 50 | 3525 | 0 | 0 | N
46 | PWD | PWD BLD | 2015 | 8.139.3 | 150 x10mm | each | 57.5 | 50 | 2875 | 0 | 0 | N
47 | PWD | PWD BLD | 2015 | 8.139.4 | 100 x10mm | each | 41 | 50 | 2050 | 0 | 0 | N
48 | PWD | PWD BLD | 2015 | 8.139.5 | 75 x10mm | each | 36 | 50 | 1800 | 0 | 0 | N
49 | PWD | PWD BLD | 2015 | 8.140.1 | Providing and fixing stainless steel door handles having flap thickness 2.5mm, necessary stainless steel screws etc complete. 150 mm | each | 24.5 | 50 | 1225 | 0 | 0 | N
50 | PWD | PWD BLD | 2015 | 8.140.2 | 125 mm | each | 22.5 | 50 | 1125 | 0 | 0 | N
51 | PWD | PWD BLD | 2015 | 8.140.3 | 100 mm | each | 22 | 50 | 1100 | 0 | 0 | N
52 | PWD | PWD BLD | 2015 | 8.143.1 | Providing and fixing stainless steel hanging door stopper with necessary stainless steel screws complete. Single | each | 47 | 50 | 2350 | 0 | 0 | N
53 | PWD | PWD BLD | 2015 | 8.143.2 | Double | each | 65 | 50 | 3250 | 0 | 0 | N
54 | PWD | PWD BLD | 2015 | 8.144.1 | Providing and fixing stainless steel fixed stopper with necessary stainless steel screws complete. 100 mm long | each | 96.5 | 50 | 4825 | 0 | 0 | N
55 | PWD | PWD BLD | 2015 | 8.144.2 | 75 mm long | each | 81 | 50 | 4050 | 0 | 0 | N
56 | PWD | PWD BLD | 2015 | 8.150 | Providing and fixing factory made 25mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762mm X 25mm or less as per requirement with an average wall thickness of 1mm ± 0.3mm. PVC foam end cap of size 23x10mm are provided on both vertical edges to ensure the overall thickness of 25mm. An M.S. tube having dimensions 19mm x 19mm is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25mm X 11mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufactures' specification. | sqm | 2583 | 30 | 77490 | 0 | 0 | N
57 | PWD | PWD BLD | 2015 | 8.151 | Providing and fixing factory made P.V.C. door frame of size 50x47mm with a wall thickness of 5mm, made out of extruded 5mm rigid PVC foam sheet mitred at corners and joined with 2 Nos of 150mm long brackets of 15x15mm M.S. square tube, the vertical door profiles to be reinforced with 19x19mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100mm size complete as per manufacturers specification and direction of Engineer-in-Charge. | metre | 346 | 25 | 8650 | 0 | 0 | N
58 | PWD | PWD BLD | 2015 | 9.3.1 | Steel work in tubular (round, square or rectangular hollow tubes etc.) structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer. Electric resistance or induction butt welded tubes Grade-250 | kg | 88.5 | 10 | 885 | 0 | 0 | N
59 | PWD | PWD BLD | 2015 | 9.13 | Providing and fixing steel door/ window with M.S. sheet 1mm thick, frame of angle iron, diagonal braces of angle/ flat iron of suitable size, 3.00 mm M.S. gusset plates at junctions and corners, all necessary fittings complete including applying a priming coat of red oxide zinc chromate primer. | kg | 75 | 50 | 3750 | 0 | 0 | N
60 | PWD | PWD BLD | 2015 | 9.15 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | kg | 67.5 | 50 | 3375 | 0 | 0 | N
61 | PWD | PWD BLD | 2015 | 9.16.1 | Providing and fixing M.S. frames of doors, windows, ventilators and cupboards joints mitred and welded with 15x3 mm lugs 10cm long embedded in cement concrete blocks 15x10x10cm of grade M-10 or with wooden plugs and screws or with dash fastener or rawl plugs and screws or with fixing clips or with bolts and nuts as required including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. “T” –iron frames | kg | 74 | 50 | 3700 | 0 | 0 | N
62 | PWD | PWD BLD | 2015 | 9.16.2 | Angle-iron frames | kg | 73.5 | 20 | 1470 | 0 | 0 | N
63 | PWD | PWD BLD | 2015 | 9.47.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately For fixed portion | kg | 331 | 150 | 49650 | 0 | 0 | N
64 | PWD | PWD BLD | 2015 | 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | Kg | 338 | 150 | 50700 | 0 | 0 | N
65 | PWD | PWD BLD | 2015 | 9.51.1 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4 mm thickness | sqm | 611 | 100 | 61100 | 0 | 0 | N
66 | PWD | PWD BLD | 2015 | 9.52 | Providing and welding 1mm thick MS sheet on existing door/ window/ ventilator shutter frames including applying a coat of red oxide zinc cromate primer on both side.(MS strip if provided on periphery or as intermediate member shall be paid extra) | Sqm | 585 | 10 | 5850 | 0 | 0 | N
67 | PWD | PWD BLD | 2015 | 10.11 | Supply and fixing of precoated galvanized iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm +/- 5% total coated thickness (TCT), Zinc coating 120gsm as per IS: 277 in 240mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches while transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55mm) with EPDM seal or with polymer coated J or L hooks, bolts and nuts 8mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead complete upto any pitch in horizontal/ vertical or curved surfaces excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | sqm | 636 | 10 | 6360 | 0 | 0 | N
68 | PWD | PWD BLD | 2015 | 10.46 | Providing and laying Manglore pattern tiles 20 mm thick (without hip or ridge tiles) on steel/ wooden frame (frame work to be paid separately) | sqm | 592 | 10 | 5920 | 0 | 0 | N
69 | PWD | PWD BLD | 2015 | 10.47 | Providing and laying Manglore pattern hips and ridge tiles fixed in cement mortar 1:6 etc. complete | metre | 130 | 10 | 1300 | 0 | 0 | N
70 | PWD | PWD BLD | 2015 | 11.5 | Neat Cement punning. | sqm | 33 | 100 | 3300 | 0 | 0 | N
71 | PWD | PWD BLD | 2015 | 12.1 | Applying cement slurry on R.C.C. slab or cement concrete work using 2.75 kg/ sqm for receiving cement concrete floor including roughening cleaning etc complete. | sqm | 34 | 200 | 6800 | 0 | 0 | N
72 | PWD | PWD BLD | 2015 | 12.3.1 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement. 40 mm thick | sqm | 222 | 50 | 11100 | 0 | 0 | N
73 | PWD | PWD BLD | 2015 | 12.7.1 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete. Size upto 200x300mm | sqm | 587 | 50 | 29350 | 0 | 0 | N
74 | PWD | PWD BLD | 2015 | 12.9.1 | Providing and laying ceramic glazed floor tiles conforming to IS : 15622 of approved size, make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc., complete. Size 300x300mm | sqm | 692 | 100 | 69200 | 0 | 0 | N
75 | PWD | PWD BLD | 2015 | 12.37.3 | Chequered precast cement concrete tiles 22mm thick in footpath & courtyard jointed with neat cement slurry mixed with pigment to match the shade of tile including cleaning of joint etc complete on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) : Dark shade using ordinary cement | sqm | 518 | 200 | 103600 | 0 | 0 | N
76 | PWD | PWD BLD | 2015 | 12.56 | 25mm thick Local RAJIM/ Red Flag stone slab flooring laid over 20mm (Average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid over & jointed with grey cement slurry mixed with pigments to match the shade of the stone i/c grinding, rubbing and polishing. | sqm | 516 | 200 | 103200 | 0 | 0 | N
77 | PWD | PWD BLD | 2015 | 12.58 | 25mm thick un-polished Local RAJIM/ Red Flag stone slab flooring laid over 20mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid over & jointed with grey cement slurry mixed with pigments to match the shade of the stone. | sqm | 428 | 200 | 85600 | 0 | 0 | N
78 | PWD | PWD BLD | 2015 | 12.65.1 | Providing & laying 60mm thick precast interlocking concrete blocks of approved size (approx 305 sqcm) and shape/ pattern, over 40 mm thick average complete coarse sand bed with joints of 3mm thick filled by fine sand including leveling with surface vibrator, temping and sweeping etc. complete of minimum compressive strength of 250 kg/sq.cm Plain/ normal coloured precast interlock concrete block | sqm | 436 | 200 | 87200 | 0 | 0 | N
79 | PWD | PWD BLD | 2015 | 12.76.1 | Providing and laying glazed vitrified floor tiles(GVT/PGVT) with digital print of random design with water absorption less than 0.05% and conforming to IS : 15622 -2017of 1st quality of approved make in all colours,shades and size mentioned below (+/- 10mm), laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete. size 600 x600mm thickness 9 to 10 mm | sqm | 964 | 50 | 48200 | 0 | 0 | N
80 | PWD | PWD BLD | 2015 | 12.77.1 | Providing and laying glazed vitrified wall/ dado tiles(GVT/PGVT) with digital print of random design with water absorption less than 0.08% and conforming to IS : 15622 -2017of1st quality of approved make in all colours,shades and size mentioned below (+/- 10mm)for wall / dado, laid on 12mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete. size 600 x600mm thickness 9 to 10 mm | sqm | 969 | 10 | 9690 | 0 | 0 | N
81 | PWD | PWD BLD | 2015 | 18.1.1 | Providing and fixing water closet squatting pan (Indian type W.C. pan ), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Long pattern W.C. pan of size 580 mm | each | 2459 | 50 | 122950 | 0 | 0 | N
82 | PWD | PWD BLD | 2015 | 18.4.1 | Providing and fixing vitreous china water closet (European type W.C. pan) with white ISI marked plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (same colour), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White pedestal type | each | 2882 | 50 | 144100 | 0 | 0 | N
83 | PWD | PWD BLD | 2015 | 18.7.1 | Providing and fixing 10 litre capacity P.V.C. low level flushing cistern conforming to IS : 7231, with all fittings and fixtures complete.White | each | 729 | 10 | 7290 | 0 | 0 | N
84 | PWD | PWD BLD | 2015 | 18.9.1 | Providing and fixing ISI marked plastic seat with lid for pedestal type W.C. pan complete:White/ black | each | 620 | 10 | 6200 | 0 | 0 | N
85 | PWD | PWD BLD | 2015 | 18.10.1 | Providing and fixing 15 mm nominal bore uplasticised PVC connection pipe with PTMT nuts and PVC bush of approved quality and colour:30 CM length | each | 56 | 5 | 280 | 0 | 0 | N
86 | PWD | PWD BLD | 2015 | 18.10.2 | 45 CM length | each | 66.5 | 8 | 532 | 0 | 0 | N
87 | PWD | PWD BLD | 2015 | 18.76.1 | Providing and fixing on wall face or under floor UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including required couplers, jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion etc complete. 75 mm dia pipe. | metre | 182 | 200 | 36400 | 0 | 0 | N
88 | PWD | PWD BLD | 2015 | 18.76.2 | 110 mm dia pipe. | metre | 267 | 200 | 53400 | 0 | 0 | N
89 | PWD | PWD BLD | 2015 | 18.76.3 | 150 mm dia pipe. | metre | 440 | 200 | 88000 | 0 | 0 | N
90 | PWD | PWD BLD | 2015 | 18.77.1.1 | Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Tee/ Tee with door/ Bend 45°/ Bend 90° 75 mm | each | 113 | 50 | 5650 | 0 | 0 | N
91 | PWD | PWD BLD | 2015 | 18.77.1.2 | 110 mm | each | 154 | 50 | 7700 | 0 | 0 | N
92 | PWD | PWD BLD | 2015 | 18.77.1.3 | 150 mm | each | 273 | 10 | 2730 | 0 | 0 | N
93 | PWD | PWD BLD | 2015 | 18.77.2.1 | Double "Y" with or without door 75 mm | each | 129 | 15 | 1935 | 0 | 0 | N
94 | PWD | PWD BLD | 2015 | 18.77.2.2 | 110 mm | each | 224 | 10 | 2240 | 0 | 0 | N
95 | PWD | PWD BLD | 2015 | 18.77.3.1 | Vent covel75 mm | each | 34 | 5 | 170 | 0 | 0 | N
96 | PWD | PWD BLD | 2015 | 18.77.3.2 | 110 mm | each | 44 | 5 | 220 | 0 | 0 | N
97 | PWD | PWD BLD | 2015 | 18.77.4.1 | Access door cap 75 mm | each | 49.5 | 5 | 248 | 0 | 0 | N
98 | PWD | PWD BLD | 2015 | 18.77.4.2 | 110mm | each | 59 | 5 | 295 | 0 | 0 | N
99 | PWD | PWD BLD | 2015 | 18.77.5 | "P" trap 110mmx110mm long | each | 227 | 20 | 4540 | 0 | 0 | N
100 | PWD | PWD BLD | 2015 | 18.77.6 | Nahani trap 110x75mm | each | 90.5 | 20 | 1810 | 0 | 0 | N
101 | PWD | PWD BLD | 2015 | 18.77.7 | Multi floor trap 110 | each | 122 | 10 | 1220 | 0 | 0 | N
102 | PWD | PWD BLD | 2015 | 18.77.8 | Plain reducing Tee 110x75mm | each | 129 | 10 | 1290 | 0 | 0 | N
103 | PWD | PWD BLD | 2015 | 18.78.1 | Providing and fixing UV stabilized Unplasticised -PVC pipe clips of approved design to Rigid PVC pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 75 mm | each | 57 | 5 | 285 | 0 | 0 | N
104 | PWD | PWD BLD | 2015 | 18.78.2 | 110 mm | each | 61 | 6 | 366 | 0 | 0 | N
105 | PWD | PWD BLD | 2015 | 19.4.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. INTERNAL WORK - EXPOSED ON WALL 15 mm nominal outer dia .Pipes. | metre | 110 | 300 | 33000 | 0 | 0 | N
106 | PWD | PWD BLD | 2015 | 19.4.2 | 20 mm nominal outer dia .Pipes. | metre | 151 | 300 | 45300 | 0 | 0 | N
107 | PWD | PWD BLD | 2015 | 19.4.3 | 25 mm nominal outer dia .Pipes. | metre | 199 | 300 | 59700 | 0 | 0 | N
108 | PWD | PWD BLD | 2015 | 19.5.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. CONCEALED WORK including cutting chases and making good the walls etc., 15 mm nominal outer dia .Pipes. | metre | 133 | 300 | 39900 | 0 | 0 | N
109 | PWD | PWD BLD | 2015 | 19.5.2 | 20 mm nominal outer dia .Pipes. | metre | 167 | 200 | 33400 | 0 | 0 | N
110 | PWD | PWD BLD | 2015 | 19.5.3 | 25 mm nominal outer dia .Pipes. | metre | 213 | 200 | 42600 | 0 | 0 | N
111 | PWD | PWD BLD | 2015 | 19.6.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This included jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.EXTERNAL WORK 15 mm nominal outer dia pipes | metre | 91.5 | 200 | 18300 | 0 | 0 | N
112 | PWD | PWD BLD | 2015 | 19.6.2 | 20 mm nominal outer dia pipes | metre | 121 | 100 | 12100 | 0 | 0 | N
113 | PWD | PWD BLD | 2015 | 19.6.3 | 25 mm nominal outer dia pipes | metre | 165 | 50 | 8250 | 0 | 0 | N
114 | PWD | PWD BLD | 2015 | 19.6.4 | 32 mm nominal outer dia pipes | metre | 228 | 50 | 11400 | 0 | 0 | N
115 | PWD | PWD BLD | 2015 | 19.13.1 | Providing and fixing 15 mm nominal bore Brass bib/stop cock of approved quality:Bib cock (250 grams) | each | 185 | 40 | 7400 | 0 | 0 | N
116 | PWD | PWD BLD | 2015 | 19.13.2 | Bib cock (350 grams) | each | 237 | 50 | 11850 | 0 | 0 | N
117 | PWD | PWD BLD | 2015 | 19.13.3 | Stop cock (350 grams) | each | 237 | 50 | 11850 | 0 | 0 | N
118 | PWD | PWD BLD | 2015 | 19.14.1 | Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required:Bib cock (400 grams) | each | 382 | 20 | 7640 | 0 | 0 | N
119 | PWD | PWD BLD | 2015 | 19.14.4 | Piller Cock (400 grams) | each | 398 | 20 | 7960 | 0 | 0 | N
120 | PWD | PWD BLD | 2015 | 19.14.6 | Stop cock (concealed) (600 grams) | each | 494 | 20 | 9880 | 0 | 0 | N
121 | PWD | PWD BLD | 2015 | 19.14.7 | Angle valve for basin mixer and geyser points (450 grams) | each | 382 | 10 | 3820 | 0 | 0 | N
122 | PWD | PWD BLD | 2015 | 19.15 | Providing and fixing stainless steel drain jali of approved make/quality. | each | 51 | 20 | 1020 | 0 | 0 | N
123 | PWD | PWD BLD | 2015 | 19.42 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | litre | 7.3 | 5000 | 36500 | 0 | 0 | N
124 | PWD | PWD BLD | 2015 | 19.47 | Constructing masonry Chamber 30x30x50 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 ( 1 cement : 5 fine sand:10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design : | each | 754 | 5 | 3770 | 0 | 0 | N
125 | PWD | PWD BLD | 2015 | 20.2.1 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete 150mm thick as per standard design: 100 mm diameter S.W. pipe | metre | 357 | 100 | 35700 | 0 | 0 | N
[7 empty] | TOTAL |  | 3000051
SUB ENGINEER |  |  |  |  | SUB DIVISIONAL OFFICER |  |  | EXECUTIVE ENGINEER
[5 empty] | P.W.D. SUB DIV. NO. 2 |  |  | P.W.D. DIVISION NO.1
[5 empty] | BILASPUR (C.G.) |  |  | BILASPUR (C.G.)
190 | [8 empty] | 0
191 | [8 empty] | 0
192 | [8 empty] | 0
193 | [8 empty] | 0
194 | [8 empty] | 0
195 | [8 empty] | 0
196 | [8 empty] | 0
197 | [8 empty] | 0
198 | [8 empty] | 0
199 | [8 empty] | 0
200 | [8 empty] | 0
201 | [8 empty] | 0
202 | [8 empty] | 0
203 | [8 empty] | 0
204 | [8 empty] | 0
205 | [8 empty] | 0
206 | [8 empty] | 0
207 | [8 empty] | 0
208 | [8 empty] | 0
209 | [8 empty] | 0
210 | [8 empty] | 0
211 | [8 empty] | 0
212 | [8 empty] | 0
213 | [8 empty] | 0
214 | [8 empty] | 0
215 | [8 empty] | 0
216 | [8 empty] | 0
217 | [8 empty] | 0
218 | [8 empty] | 0
219 | [8 empty] | 0
220 | [8 empty] | 0
221 | [8 empty] | 0
222 | [8 empty] | 0
223 | [8 empty] | 0
224 | [8 empty] | 0
225 | [8 empty] | 0
226 | [8 empty] | 0
227 | [8 empty] | 0
228 | [8 empty] | 0
229 | [8 empty] | 0
230 | [8 empty] | 0
231 | [8 empty] | 0
232 | [8 empty] | 0
233 | [8 empty] | 0
234 | [8 empty] | 0
235 | [8 empty] | 0
236 | [8 empty] | 0
237 | [8 empty] | 0
238 | [8 empty] | 0
239 | [8 empty] | 0
240 | [8 empty] | 0
241 | [8 empty] | 0
242 | [8 empty] | 0
243 | [8 empty] | 0
244 | [8 empty] | 0
245 | [8 empty] | 0
246 | [8 empty] | 0
247 | [8 empty] | 0
248 | [8 empty] | 0
249 | [8 empty] | 0
250 | [8 empty] | 0
251 | [8 empty] | 0
252 | [8 empty] | 0
253 | [8 empty] | 0
254 | [8 empty] | 0
255 | [8 empty] | 0
256 | [8 empty] | 0
257 | [8 empty] | 0
258 | [8 empty] | 0
259 | [8 empty] | 0
260 | [8 empty] | 0
261 | [8 empty] | 0
262 | [8 empty] | 0
263 | [8 empty] | 0
264 | [8 empty] | 0
265 | [8 empty] | 0
266 | [8 empty] | 0
267 | [8 empty] | 0
268 | [8 empty] | 0
269 | [8 empty] | 0
270 | [8 empty] | 0
271 | [8 empty] | 0
272 | [8 empty] | 0
273 | [8 empty] | 0
274 | [8 empty] | 0
275 | [8 empty] | 0
276 | [8 empty] | 0
277 | [8 empty] | 0
278 | [8 empty] | 0
279 | [8 empty] | 0
280 | [8 empty] | 0
281 | [8 empty] | 0
282 | [8 empty] | 0
283 | [8 empty] | 0
284 | [8 empty] | 0
285 | [8 empty] | 0
286 | [8 empty] | 0
287 | [8 empty] | 0
288 | [8 empty] | 0
289 | [8 empty] | 0
290 | [8 empty] | 0
291 | [8 empty] | 0
292 | [8 empty] | 0
293 | [8 empty] | 0
294 | [8 empty] | 0
295 | [8 empty] | 0
296 | [8 empty] | 0
297 | [8 empty] | 0
298 | [8 empty] | 0
299 | [8 empty] | 0
300 | [8 empty] | 0
301 | [8 empty] | 0
302 | [8 empty] | 0
303 | [8 empty] | 0
304 | [8 empty] | 0
305 | [8 empty] | 0
306 | [8 empty] | 0
307 | [8 empty] | 0
308 | [8 empty] | 0
309 | [8 empty] | 0
310 | [8 empty] | 0
311 | [8 empty] | 0
312 | [8 empty] | 0
313 | [8 empty] | 0
314 | [8 empty] | 0
315 | [8 empty] | 0
316 | [8 empty] | 0
317 | [8 empty] | 0
318 | [8 empty] | 0
319 | [8 empty] | 0
320 | [8 empty] | 0
321 | [8 empty] | 0
322 | [8 empty] | 0
323 | [8 empty] | 0
324 | [8 empty] | 0
325 | [8 empty] | 0
326 | [8 empty] | 0
327 | [8 empty] | 0
328 | [8 empty] | 0
329 | [8 empty] | 0
330 | [8 empty] | 0
331 | [8 empty] | 0
332 | [8 empty] | 0
333 | [8 empty] | 0
334 | [8 empty] | 0
335 | [8 empty] | 0
336 | [8 empty] | 0
337 | [8 empty] | 0
338 | [8 empty] | 0
339 | [8 empty] | 0
340 | [8 empty] | 0
341 | [8 empty] | 0
342 | [8 empty] | 0
343 | [8 empty] | 0
344 | [8 empty] | 0
345 | [8 empty] | 0
346 | [8 empty] | 0
347 | [8 empty] | 0
348 | [8 empty] | 0
349 | [8 empty] | 0
350 | [8 empty] | 0
351 | [8 empty] | 0
352 | [8 empty] | 0
353 | [8 empty] | 0
354 | [8 empty] | 0
355 | [8 empty] | 0
356 | [8 empty] | 0
357 | [8 empty] | 0
358 | [8 empty] | 0
359 | [8 empty] | 0
360 | [8 empty] | 0
361 | [8 empty] | 0
362 | [8 empty] | 0
363 | [8 empty] | 0
364 | [8 empty] | 0
365 | [8 empty] | 0
366 | [8 empty] | 0
367 | [8 empty] | 0
368 | [8 empty] | 0
369 | [8 empty] | 0
370 | [8 empty] | 0
371 | [8 empty] | 0
372 | [8 empty] | 0
373 | [8 empty] | 0
374 | [8 empty] | 0
375 | [8 empty] | 0
376 | [8 empty] | 0
377 | [8 empty] | 0
378 | [8 empty] | 0
379 | [8 empty] | 0
380 | [8 empty] | 0
381 | [8 empty] | 0
382 | [8 empty] | 0
383 | [8 empty] | 0
384 | [8 empty] | 0
385 | [8 empty] | 0
386 | [8 empty] | 0
387 | [8 empty] | 0
388 | [8 empty] | 0
389 | [8 empty] | 0
390 | [8 empty] | 0
391 | [8 empty] | 0
392 | [8 empty] | 0
393 | [8 empty] | 0
394 | [8 empty] | 0
395 | [8 empty] | 0
396 | [8 empty] | 0
397 | [8 empty] | 0
398 | [8 empty] | 0
399 | [8 empty] | 0
400 | [8 empty] | 0
401 | [8 empty] | 0
402 | [8 empty] | 0
403 | [8 empty] | 0
404 | [8 empty] | 0
405 | [8 empty] | 0
406 | [8 empty] | 0
407 | [8 empty] | 0
408 | [8 empty] | 0
409 | [8 empty] | 0
410 | [8 empty] | 0
411 | [8 empty] | 0
412 | [8 empty] | 0
413 | [8 empty] | 0
414 | [8 empty] | 0
415 | [8 empty] | 0
416 | [8 empty] | 0
417 | [8 empty] | 0
418 | [8 empty] | 0
419 | [8 empty] | 0
420 | [8 empty] | 0
421 | [8 empty] | 0
422 | [8 empty] | 0
423 | [8 empty] | 0
424 | [8 empty] | 0
425 | [8 empty] | 0
426 | [8 empty] | 0
427 | [8 empty] | 0
428 | [8 empty] | 0
429 | [8 empty] | 0
430 | [8 empty] | 0
431 | [8 empty] | 0
432 | [8 empty] | 0
433 | [8 empty] | 0
434 | [8 empty] | 0
435 | [8 empty] | 0
436 | [8 empty] | 0
437 | [8 empty] | 0
438 | [8 empty] | 0
439 | [8 empty] | 0
440 | [8 empty] | 0
441 | [8 empty] | 0
442 | [8 empty] | 0
443 | [8 empty] | 0
444 | [8 empty] | 0
445 | [8 empty] | 0
446 | [8 empty] | 0
447 | [8 empty] | 0
448 | [8 empty] | 0
449 | [8 empty] | 0
450 | [8 empty] | 0
451 | [8 empty] | 0
452 | [8 empty] | 0
453 | [8 empty] | 0
454 | [8 empty] | 0
455 | [8 empty] | 0
456 | [8 empty] | 0
457 | [8 empty] | 0
458 | [8 empty] | 0
459 | [8 empty] | 0
460 | [8 empty] | 0
461 | [8 empty] | 0
462 | [8 empty] | 0
463 | [8 empty] | 0
464 | [8 empty] | 0
465 | [8 empty] | 0
466 | [8 empty] | 0
467 | [8 empty] | 0
468 | [8 empty] | 0
469 | [8 empty] | 0
470 | [8 empty] | 0
471 | [8 empty] | 0
472 | [8 empty] | 0
473 | [8 empty] | 0
474 | [8 empty] | 0
475 | [8 empty] | 0
476 | [8 empty] | 0
477 | [8 empty] | 0
478 | [8 empty] | 0
479 | [8 empty] | 0
480 | [8 empty] | 0
481 | [8 empty] | 0
482 | [8 empty] | 0
483 | [8 empty] | 0
484 | [8 empty] | 0
485 | [8 empty] | 0
486 | [8 empty] | 0
487 | [8 empty] | 0
488 | [8 empty] | 0
489 | [8 empty] | 0
490 | [8 empty] | 0
491 | [8 empty] | 0
492 | [8 empty] | 0
493 | [8 empty] | 0
494 | [8 empty] | 0
495 | [8 empty] | 0
496 | [8 empty] | 0
497 | [8 empty] | 0
498 | [8 empty] | 0
499 | [8 empty] | 0
500 | [8 empty] | 0
501 | [8 empty] | 0
502 | [8 empty] | 0
503 | [8 empty] | 0
504 | [8 empty] | 0
505 | [8 empty] | 0
506 | [8 empty] | 0
507 | [8 empty] | 0
508 | [8 empty] | 0
509 | [8 empty] | 0
510 | [8 empty] | 0
511 | [8 empty] | 0
512 | [8 empty] | 0
513 | [8 empty] | 0
514 | [8 empty] | 0
515 | [8 empty] | 0
516 | [8 empty] | 0
517 | [8 empty] | 0
518 | [8 empty] | 0
519 | [8 empty] | 0
520 | [8 empty] | 0
521 | [8 empty] | 0
522 | [8 empty] | 0
523 | [8 empty] | 0
524 | [8 empty] | 0
525 | [8 empty] | 0
526 | [8 empty] | 0
527 | [8 empty] | 0
528 | [8 empty] | 0
529 | [8 empty] | 0
530 | [8 empty] | 0
531 | [8 empty] | 0
532 | [8 empty] | 0
533 | [8 empty] | 0
534 | [8 empty] | 0
535 | [8 empty] | 0
536 | [8 empty] | 0
537 | [8 empty] | 0
538 | [8 empty] | 0
539 | [8 empty] | 0
540 | [8 empty] | 0
541 | [8 empty] | 0
542 | [8 empty] | 0
543 | [8 empty] | 0
544 | [8 empty] | 0
545 | [8 empty] | 0
546 | [8 empty] | 0
547 | [8 empty] | 0
548 | [8 empty] | 0
549 | [8 empty] | 0
550 | [8 empty] | 0
551 | [8 empty] | 0
552 | [8 empty] | 0
553 | [8 empty] | 0
554 | [8 empty] | 0
555 | [8 empty] | 0
556 | [8 empty] | 0
557 | [8 empty] | 0
558 | [8 empty] | 0
559 | [8 empty] | 0
560 | [8 empty] | 0
561 | [8 empty] | 0
562 | [8 empty] | 0
563 | [8 empty] | 0
564 | [8 empty] | 0
565 | [8 empty] | 0
566 | [8 empty] | 0
567 | [8 empty] | 0
568 | [8 empty] | 0
569 | [8 empty] | 0
570 | [8 empty] | 0
571 | [8 empty] | 0
572 | [8 empty] | 0
573 | [8 empty] | 0
574 | [8 empty] | 0
575 | [8 empty] | 0
576 | [8 empty] | 0
577 | [8 empty] | 0
578 | [8 empty] | 0
579 | [8 empty] | 0
580 | [8 empty] | 0
581 | [8 empty] | 0
582 | [8 empty] | 0
583 | [8 empty] | 0
584 | [8 empty] | 0
585 | [8 empty] | 0
586 | [8 empty] | 0
587 | [8 empty] | 0
588 | [8 empty] | 0
589 | [8 empty] | 0
590 | [8 empty] | 0
591 | [8 empty] | 0
592 | [8 empty] | 0
593 | [8 empty] | 0
594 | [8 empty] | 0
595 | [8 empty] | 0
596 | [8 empty] | 0
597 | [8 empty] | 0
598 | [8 empty] | 0
599 | [8 empty] | 0
600 | [8 empty] | 0
601 | [8 empty] | 0
602 | [8 empty] | 0
603 | [8 empty] | 0
604 | [8 empty] | 0
605 | [8 empty] | 0
606 | [8 empty] | 0
607 | [8 empty] | 0
608 | [8 empty] | 0
609 | [8 empty] | 0
610 | [8 empty] | 0
611 | [8 empty] | 0
612 | [8 empty] | 0
613 | [8 empty] | 0
614 | [8 empty] | 0
615 | [8 empty] | 0
616 | [8 empty] | 0
617 | [8 empty] | 0
618 | [8 empty] | 0
619 | [8 empty] | 0
620 | [8 empty] | 0
621 | [8 empty] | 0
622 | [8 empty] | 0
623 | [8 empty] | 0
624 | [8 empty] | 0
625 | [8 empty] | 0
626 | [8 empty] | 0
627 | [8 empty] | 0
628 | [8 empty] | 0
629 | [8 empty] | 0
630 | [8 empty] | 0
631 | [8 empty] | 0
632 | [8 empty] | 0
633 | [8 empty] | 0
634 | [8 empty] | 0
635 | [8 empty] | 0
636 | [8 empty] | 0
637 | [8 empty] | 0
638 | [8 empty] | 0
639 | [8 empty] | 0
640 | [8 empty] | 0
641 | [8 empty] | 0
642 | [8 empty] | 0
643 | [8 empty] | 0
644 | [8 empty] | 0
645 | [8 empty] | 0
646 | [8 empty] | 0
647 | [8 empty] | 0
648 | [8 empty] | 0
649 | [8 empty] | 0
650 | [8 empty] | 0
651 | [8 empty] | 0
652 | [8 empty] | 0
653 | [8 empty] | 0
654 | [8 empty] | 0
655 | [8 empty] | 0
656 | [8 empty] | 0
657 | [8 empty] | 0
658 | [8 empty] | 0
659 | [8 empty] | 0
660 | [8 empty] | 0
661 | [8 empty] | 0
662 | [8 empty] | 0
663 | [8 empty] | 0
664 | [8 empty] | 0
665 | [8 empty] | 0
666 | [8 empty] | 0
667 | [8 empty] | 0
668 | [8 empty] | 0
669 | [8 empty] | 0
670 | [8 empty] | 0
671 | [8 empty] | 0
672 | [8 empty] | 0
673 | [8 empty] | 0
674 | [8 empty] | 0
675 | [8 empty] | 0
676 | [8 empty] | 0
677 | [8 empty] | 0
678 | [8 empty] | 0
679 | [8 empty] | 0
680 | [8 empty] | 0
681 | [8 empty] | 0
682 | [8 empty] | 0
683 | [8 empty] | 0
684 | [8 empty] | 0
685 | [8 empty] | 0
686 | [8 empty] | 0
687 | [8 empty] | 0
688 | [8 empty] | 0
689 | [8 empty] | 0
690 | [8 empty] | 0
691 | [8 empty] | 0
692 | [8 empty] | 0
693 | [8 empty] | 0
694 | [8 empty] | 0
695 | [8 empty] | 0
696 | [8 empty] | 0
697 | [8 empty] | 0
698 | [8 empty] | 0
699 | [8 empty] | 0
700 | [8 empty] | 0
701 | [8 empty] | 0
702 | [8 empty] | 0
703 | [8 empty] | 0
704 | [8 empty] | 0
705 | [8 empty] | 0
706 | [8 empty] | 0
707 | [8 empty] | 0
708 | [8 empty] | 0
709 | [8 empty] | 0
710 | [8 empty] | 0
711 | [8 empty] | 0
712 | [8 empty] | 0
713 | [8 empty] | 0
714 | [8 empty] | 0
715 | [8 empty] | 0
716 | [8 empty] | 0
717 | [8 empty] | 0
718 | [8 empty] | 0
719 | [8 empty] | 0
720 | [8 empty] | 0
721 | [8 empty] | 0
722 | [8 empty] | 0
723 | [8 empty] | 0
724 | [8 empty] | 0
725 | [8 empty] | 0
726 | [8 empty] | 0
727 | [8 empty] | 0
728 | [8 empty] | 0
729 | [8 empty] | 0
730 | [8 empty] | 0
731 | [8 empty] | 0
732 | [8 empty] | 0
733 | [8 empty] | 0
734 | [8 empty] | 0
735 | [8 empty] | 0
736 | [8 empty] | 0
737 | [8 empty] | 0
738 | [8 empty] | 0
739 | [8 empty] | 0
740 | [8 empty] | 0
741 | [8 empty] | 0
742 | [8 empty] | 0
743 | [8 empty] | 0
744 | [8 empty] | 0
745 | [8 empty] | 0
746 | [8 empty] | 0
747 | [8 empty] | 0
748 | [8 empty] | 0
749 | [8 empty] | 0
750 | [8 empty] | 0
751 | [8 empty] | 0
752 | [8 empty] | 0
753 | [8 empty] | 0
754 | [8 empty] | 0
755 | [8 empty] | 0
756 | [8 empty] | 0
757 | [8 empty] | 0
758 | [8 empty] | 0
759 | [8 empty] | 0
760 | [8 empty] | 0
761 | [8 empty] | 0
762 | [8 empty] | 0
763 | [8 empty] | 0
764 | [8 empty] | 0
765 | [8 empty] | 0
766 | [8 empty] | 0
767 | [8 empty] | 0
768 | [8 empty] | 0
769 | [8 empty] | 0
770 | [8 empty] | 0
771 | [8 empty] | 0
772 | [8 empty] | 0
773 | [8 empty] | 0
774 | [8 empty] | 0
775 | [8 empty] | 0
776 | [8 empty] | 0
777 | [8 empty] | 0
778 | [8 empty] | 0
779 | [8 empty] | 0
780 | [8 empty] | 0
781 | [8 empty] | 0
782 | [8 empty] | 0
783 | [8 empty] | 0
784 | [8 empty] | 0
785 | [8 empty] | 0
786 | [8 empty] | 0
787 | [8 empty] | 0
788 | [8 empty] | 0
789 | [8 empty] | 0
790 | [8 empty] | 0
791 | [8 empty] | 0
792 | [8 empty] | 0
793 | [8 empty] | 0
794 | [8 empty] | 0
795 | [8 empty] | 0
796 | [8 empty] | 0
797 | [8 empty] | 0
798 | [8 empty] | 0
799 | [8 empty] | 0
800 | [8 empty] | 0
801 | [8 empty] | 0
802 | [8 empty] | 0
803 | [8 empty] | 0
804 | [8 empty] | 0
805 | [8 empty] | 0
806 | [8 empty] | 0
807 | [8 empty] | 0
808 | [8 empty] | 0
809 | [8 empty] | 0
810 | [8 empty] | 0
811 | [8 empty] | 0
812 | [8 empty] | 0
813 | [8 empty] | 0
814 | [8 empty] | 0
815 | [8 empty] | 0
816 | [8 empty] | 0
817 | [8 empty] | 0
818 | [8 empty] | 0
819 | [8 empty] | 0
820 | [8 empty] | 0
821 | [8 empty] | 0
822 | [8 empty] | 0
823 | [8 empty] | 0
824 | [8 empty] | 0
825 | [8 empty] | 0
826 | [8 empty] | 0
827 | [8 empty] | 0
828 | [8 empty] | 0
829 | [8 empty] | 0
830 | [8 empty] | 0
831 | [8 empty] | 0
832 | [8 empty] | 0
833 | [8 empty] | 0
834 | [8 empty] | 0
835 | [8 empty] | 0
836 | [8 empty] | 0
837 | [8 empty] | 0
838 | [8 empty] | 0
839 | [8 empty] | 0
840 | [8 empty] | 0
841 | [8 empty] | 0
842 | [8 empty] | 0
843 | [8 empty] | 0
844 | [8 empty] | 0
845 | [8 empty] | 0
846 | [8 empty] | 0
847 | [8 empty] | 0
848 | [8 empty] | 0
849 | [8 empty] | 0
850 | [8 empty] | 0
851 | [8 empty] | 0
852 | [8 empty] | 0
853 | [8 empty] | 0
854 | [8 empty] | 0
855 | [8 empty] | 0
856 | [8 empty] | 0
857 | [8 empty] | 0
858 | [8 empty] | 0
859 | [8 empty] | 0
860 | [8 empty] | 0
861 | [8 empty] | 0
862 | [8 empty] | 0
863 | [8 empty] | 0
864 | [8 empty] | 0
865 | [8 empty] | 0
866 | [8 empty] | 0
867 | [8 empty] | 0
868 | [8 empty] | 0
869 | [8 empty] | 0
870 | [8 empty] | 0
871 | [8 empty] | 0
872 | [8 empty] | 0
873 | [8 empty] | 0
874 | [8 empty] | 0
875 | [8 empty] | 0
876 | [8 empty] | 0
877 | [8 empty] | 0
878 | [8 empty] | 0
879 | [8 empty] | 0
880 | [8 empty] | 0
881 | [8 empty] | 0
882 | [8 empty] | 0
883 | [8 empty] | 0
884 | [8 empty] | 0
885 | [8 empty] | 0
886 | [8 empty] | 0
887 | [8 empty] | 0
888 | [8 empty] | 0
889 | [8 empty] | 0
890 | [8 empty] | 0
891 | [8 empty] | 0
892 | [8 empty] | 0
893 | [8 empty] | 0
894 | [8 empty] | 0
895 | [8 empty] | 0
896 | [8 empty] | 0
897 | [8 empty] | 0
898 | [8 empty] | 0
899 | [8 empty] | 0
900 | [8 empty] | 0
901 | [8 empty] | 0
902 | [8 empty] | 0
903 | [8 empty] | 0
904 | [8 empty] | 0
905 | [8 empty] | 0
906 | [8 empty] | 0
907 | [8 empty] | 0
908 | [8 empty] | 0
909 | [8 empty] | 0
910 | [8 empty] | 0
911 | [8 empty] | 0
912 | [8 empty] | 0
913 | [8 empty] | 0
914 | [8 empty] | 0
915 | [8 empty] | 0
916 | [8 empty] | 0
917 | [8 empty] | 0
918 | [8 empty] | 0
919 | [8 empty] | 0
920 | [8 empty] | 0
921 | [8 empty] | 0
922 | [8 empty] | 0
923 | [8 empty] | 0
924 | [8 empty] | 0
925 | [8 empty] | 0
926 | [8 empty] | 0
927 | [8 empty] | 0
928 | [8 empty] | 0
929 | [8 empty] | 0
930 | [8 empty] | 0
931 | [8 empty] | 0
932 | [8 empty] | 0
933 | [8 empty] | 0
934 | [8 empty] | 0
935 | [8 empty] | 0
936 | [8 empty] | 0
937 | [8 empty] | 0
938 | [8 empty] | 0
939 | [8 empty] | 0
940 | [8 empty] | 0
941 | [8 empty] | 0
942 | [8 empty] | 0
943 | [8 empty] | 0
944 | [8 empty] | 0
945 | [8 empty] | 0
946 | [8 empty] | 0
947 | [8 empty] | 0
948 | [8 empty] | 0
949 | [8 empty] | 0
950 | [8 empty] | 0
951 | [8 empty] | 0
952 | [8 empty] | 0
953 | [8 empty] | 0
954 | [8 empty] | 0
955 | [8 empty] | 0
956 | [8 empty] | 0
957 | [8 empty] | 0
958 | [8 empty] | 0
959 | [8 empty] | 0
960 | [8 empty] | 0
961 | [8 empty] | 0
962 | [8 empty] | 0
963 | [8 empty] | 0
964 | [8 empty] | 0
965 | [8 empty] | 0
966 | [8 empty] | 0
967 | [8 empty] | 0
968 | [8 empty] | 0
969 | [8 empty] | 0
970 | [8 empty] | 0
971 | [8 empty] | 0
972 | [8 empty] | 0
973 | [8 empty] | 0
974 | [8 empty] | 0
975 | [8 empty] | 0
976 | [8 empty] | 0
977 | [8 empty] | 0
978 | [8 empty] | 0
979 | [8 empty] | 0
980 | [8 empty] | 0
981 | [8 empty] | 0
982 | [8 empty] | 0
983 | [8 empty] | 0
984 | [8 empty] | 0
985 | [8 empty] | 0
986 | [8 empty] | 0
987 | [8 empty] | 0
988 | [8 empty] | 0
989 | [8 empty] | 0
990 | [8 empty] | 0
991 | [8 empty] | 0
992 | [8 empty] | 0
993 | [8 empty] | 0
994 | [8 empty] | 0
995 | [8 empty] | 0
996 | [8 empty] | 0
997 | [8 empty] | 0
998 | [8 empty] | 0
999 | [8 empty] | 0
1000 | [8 empty] | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false6444
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | ELECTRIC | ELECT | Percentage | %
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | PHED | PHED1 | Per mile | %O
Chhattisgarh Department of Agriculture (CGDA) | CGDA | RES_BUILDING | RESBDG | 1000 no. | 1000 no.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | NON SOR | NS | 1000No. | 1000No.
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | BRIDGE | PWD_BRIDGE | Siemens Per meter | A/V
Chhattisgarh Housing Board (CGHB) | CGHB | PWD BUILDLING | PWD BLD | Acre | ACR
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PWD ROAD | PWD ROAD | Activity unit | AU
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Bag | BAG
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Book | BK
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Centiliter | CL
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cm | cm
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | Centimeter | CM
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Square centimeter | CM2
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Directorate of Fisheries (DF) | DF |  |  | cum | cum
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | cum.km | cum.km
Food and Drug Administration (FDA) | FDA |  |  | Days | DAY
Health Department (HD) | HD |  |  | Degree | DEG
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | DFLT | DFLT
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Decimeter | DM
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Drum | DR
Mineral Resources Department (MRD) | MRD |  |  | Dozen | DZ
Naya Raipur Development Authority (NRDA) | NRDA |  |  | EACH | EA
Panchayat and Rural Development (PARD) | PARD |  |  | each | each
Public Health Engineering Department (PHED) | PHED |  |  | each additional floor | each additional floor
Public Works Department (PWD) | PWD |  |  | each cut | each cut
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each test | each test
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | each tree guard | each tree guard
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Enzyme Units / Milliliter | EML
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rural Engineering Services (RES) | RES |  |  | Fluid Ounce US | FOZ
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Feet | FT
State Urban Development Agency (SUDA) | SUDA |  |  | Square foot | FT2
Urban Administration and Development Department (UADD) | UADD |  |  | Cubic foot | FT3
Water Resources Department (WRD) | WRD |  |  | Gigajoule | FY
|  |  |  | Gram | G
|  |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG. | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | Per mtr | Per mtr
|  |  |  | per pouch | per pouch
|  |  |  | per test | per test
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per.mtr | per.mtr
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Parts per trillion | PPT
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM