## boq
NIT NO- E-TENDER……………../2026-27
BILL OF QUANTITY | [6 empty] | BOQ AMOUNT |  | BID PROCESSING FEE |  |  | SALT TAX
|  | Group No-17 | [6 empty] | UPTO 70 LAKH | 1140 | 1000 | 140
NAME OF WORK-Construction of PCC Road and rcc drain From Gorakh choudary house to dani choudary,kanahiya das house to sr.umesh mahato house,Ramchander mahato to bankar mahato,and Teliya pokhar main gate to main road via bala ji mandir under ward 22
BOQ Amount : |  |  | Rs | 5492552.0188 |  |  | UPTO 50,000 | 250 | ABOVE 3.5 CR | 17100 | 15000 | 2100
Cost of BOQ : |  |  | Rs | 10000 |  |  | UPTO 2,50,000 | 500
Earnest Money : |  |  | Rs | 109900 |  |  | UPTO 500000 | 750
Bid processing Fee |  |  | Rs | As per Eproc2 |  |  | UPTO 10 LAKH | 1250
Time of Completion : | [6 empty] | UPTO 15 LAKH | 2500
Sr.No. | Ref. No. Of SOR | Item of Work | Quantity | Unit | Rate (Rs. Per Unit) | Amount (Rs.) | UPTO 50 LAKH | 5000
1 | 15.3 | DISMENTLING of RCC by mechanical means including disposal of material within 50 metre lead:1:3:6 or richer mix | 8.49 | cum | 1411.2 | 11981.088 | ABOVE 50 LAKH | 10000
2 | BCD 2.25A | Excavating, supplying and filling of local earth (including royalty but excluding cairriage cost) by mechanical transport upto a lead of 3km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. If local earth is available at more than 3 km lead the actual lead must be approved by compitent authority. cairraiage of material will be paid seperately and calculated after deducting initial lead. | 387.42 | cum | 411.7 | 159500.814
3 | 15.7.4 | Demolishing brickwork including stacking of servicable materials and disposal of unservicable material within 50 metre lead. | 18.8 | cum | 823.7 | 15485.56
4 | 2.25 | Pumping out water caused by springs, tidal or river seepage, broken water mains or drains and the like. | 8.49 | LK | 128.64 | 1092.1536
5 | B.C.D. 2.28 | Supplying and filling in plinth with local sand and under floors including watering ramming, consolidating and dressing complete. | 156.18 | cum | 287.3 | 44870.514
6 | B.C.D. (11.72) | Providing designation 100A brick flat soling joints filled with local sand including cost of watering, taxes, royalty all complete as per building specification & direction of E/I. | 300.07 | sqm | 283.3 | 85010
7 | B.C.D. 11.73 | Providing designation 100A one brick on edge soiling joints with local sand including cost of watering, taxes, royalty all complete as per building specification and direction of E/I. | 724.62 | sqm | 444.8 | 322311
8 | B.C.D 4.1.2 | Providing and laying in position cement concrete of specified grade excluding the cost of cantering, shuttering all work up to plinth (1:1.5:3) | 110.45 | cum | 4420.8 | 488277
9 | B.C.D. 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of cantering, shuttering, finishing and reinforce all work up to plinth level. (1:1.5:3) | 187.39 | cum | 4688.3 | 878541
10 | B.C.D. 5.9.1 | Centering & shuttering including strutting propping etc and removal of from work for foundations,footings bases columns | 3203.15 | sqm | 211.6 | 677787
11 | B.C.D. 5.22.7B | Reinforcement for RCC work including straightening , cutting, bending, placing in position and biding all complete job. | 14991.2 | KG | 92.6 | 1388185
12 | B.C.D 2.8.1 | Earth work in excavation of foundation trenches or drains (not exceeding 1.5m in width or 10 sqm. or plan) including dressing of sides and ramming of bottoms, lift up to 1.5m including getting out the excavated earth and disposal of surface excavated soil as directed with a lead of 50m. | 424.09 | cum | 360.7 | 152969
13 |  | supplying and installation of sewage pump of 1 HP with siutable discharge with all accesseries….. | 1 | nos |  | 40000
14 | B.C.D 16.21 | Engraving letter in hard stone | 300 | letter | 4.8 | 1440
15 | B.C.D 16.86.1 | Providing and laying gang saw cut 18 mm thick, mirror polished premoulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath,flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment,epoxy touch ups etc. complete as per direction of Engineer-in-Charge.With granite stone of area less than 0.50 sqm | 1 | sqm | 3403.4 | 3403
4270853.1296
16 |  | Difference GST-Factor 0.0536xTotal cost on item 1 to 16 |  |  |  | 270345.0031
17 | Analysis of Carriage
|  | Local Sand | 182.42 | cum | 336.16 | 61322
|  | Kiul Sand | 128.07 | cum | 1450.66 | 185786
|  | Stone Chips | 256.14 | cum | 2243.7 | 574701
|  | Bricks | 48.636 | no /1000 | 1300.57 | 63254.5225
18 | Difference cost of material
|  | Bricks | 48.636 | no /1000 | 388.76 | 18907.7314
|  | Cement | 119.14 | mt | 19.73 | 2350.6322
19 | Seigniorage Cost of Material
|  | Brick | 48636 | cum | 5.128 | 24941
|  | Coarse sand | 128.07 | cum | 17.58 | 2251
|  | Stone chips | 256.14 | cum | 59.54 | 15251
|  | L sand | 182.42 | cum | 14.19 | 2589
[5 empty] | Rs | 5492552.0188