## BOQ
BILL OF QUANTITY FOR CONSTRUCTION OF COMMUNITY HALL AT WARD NO 06 UNDER NAGAR PARISHAD SHEIKHPURA
THE RATES OF ITEMS ARE BASED ON CURRENT S.O.R. OF BUILDING CONSTRUCTION DEPARTEMENT -2022, GOVT. OF BIHAR .
S.NO. | ITEM NO. | DISCRIPTION | [5 empty] | QUANTITY | RATE | UNIT | AMOUNT
|  |  | NOS | LENGTH | WIDTH | HEIGHT | TOTAL
1 |  | Making 25 cm (10") dia bore up to 4 mtr depth below ground with hand auger of approved quality in ordinary soi! (vide classification of soil item A ) true to plumb and without eccentri city in any stage of operation and disposal of the excavated earth up to 50 mtr , Lead in eluding all lifts , all complete as per approved disign and direction of E/l Details of cost for 4 piles of 4 m= 16 mtrs depth ) | [5 empty] | 99.0854 | 178.3 | /METER | 17666.9207
| 20.3A.1 |  | 25 |  |  | 13 | 325
3 |  | 63 CM (25) UNDER -REAM Making 63 cm (25) dia under ream at required with hand auger of approved quality in ordinary soil (vide classification of soil ifem - A) true to plumb and without eccentri city in my stage of opration and disposal of the excavated earth up to 50 mts lead in eluding all lifts , all complete as per approved design and direction of (E/l) | [5 empty] | 25 | 190.2 | EACH | 4755
| 20.3A.2 |  | 25 |  |  |  | 25
| 2.5+2.4 | Banking excavated earth in layers not exceeding 20 cm in depth, breaking clods, watering .rolling each layer with 1/2 tonne roller, or wooden or steel rammers and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing upin embankments for roads, flood banks, marginal banks, and guide banks etc . lead upto 50 m and lift upto 1.5 m.
|  |  | 0 | 9 | 5 | 1.5 | 0 | 0 | 364.4 | CUM | 0
2 | 2.28 | Supplying and Filling in plinth with local sand and under floors including, watering, ramming consolidating and dressing complete. | [5 empty] | 27.6063 | 287.3 | CUM | 7931.3026
|  | BAES |  | 132 | 0.83 | 0.5 | 54.78
|  | PLINTH |  | 20 | 15 | 2 | 600
|  |  |  | 20 | 8 | 2 | 320
|  | TOTAL QUANTITY |  |  |  |  | 974.78
3 | 11.72 | Providing designation 100 A one brick flat soling joints filled with local sqm 283.30 sand including cost of watering, taxes, royalty all complete as per building specification and direction of E/l, | [5 empty] | 52.9331 | 283.3 | SQM | 14995.9431
|  | BAES |  | 132 | 0.83 |  | 109.56
|  | PLINTH |  | 20 | 15 |  | 300
|  |  |  | 20 | 8 |  | 160
|  |  |  | 0 | 6 |  | 0
|  | STEP |  | 0 | 4.15 |  | 0
|  | BELOW G BEAM |  | 0 | 0.83 |  | 0
|  | TOTAL QUANTITY |  |  |  |  | 569.56
4 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work up to plinth level:1:1.5:3(1 Cement:1.5 coarse sand: 3 graded stone aggregate 20mm nominal size) | [5 empty] | 0 | 4420.8 | CUM | 0
5 | 5.2.2 | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15, landings, balconiec, shelves, chajjas, lintels, bands, plain window sills, staircasees and spiral staircases upto floor five level excluding the cost of centring, shuttering, finishing & reinforcement - all work upto plinth level. | [5 empty] | 22.6281 | 5670 | CUM | 128301.3748
|  | PILE WORK | 25 | 0.79 | 0.69 | 13 | 177.1575
|  |  | 25 | 3.145 | 0.057 | 0.19 | 0.85151
|  | GRADE BEAM plinth |  | 132 | 0.83 | 0.83 | 90.9348
|  |  |  | 4 | 0.42 | 0.5 | 0.84
|  |  |  | 132 | 0.83 | 0.83 | 90.9348
|  | COLUMN | 11 | 0.83 | 0.83 | 10 | 75.779
|  | LINTEL |  | 96 | 0.83 | 0.5 | 39.84
|  |  |  | 36 | 0.83 | 0.83 | 24.8004
|  | ROOF BEAM |  | 16.66 | 0.83 | 1.25 | 17.2847
|  | ROOF | 1 | 26.5 | 22.66 | 0.425 | 255.2082
0
|  | CHAJJA |  | 40.98 | 1.5 | 0.25 | 15.3675
|  | WINDOW | 6 | 4 | 1.5 | 0.25 | 9
|  | VENTILATOR | 2 | 2 | 1 | 0.25 | 1
|  | TOTAL QUANTITY |  |  |  |  | 798.9985
6 |  | Reinforcement for RCC work including straightening, cutting, bending, placing in position and bonding all complete.(wt @ 90kg/cum) | [5 empty] | 2195.11 | 92.6 | KG | 203267.186
|  | 22.6281 |  |  | cum | 97 kg/cum
7 | 5.9.1 | Centring and shuttering including strutting, propping etc. and removal of form for lintel, beams, plinth beams, griders, bressumers and contilevers. | [5 empty] | 166.5434 | 211.6 | SQM | 35240.5798
|  | GRADE BEAM | 2 | 132 | 0.83 |  | 219.12
|  |  | 0 | 0 | 0 |  | 0
|  | COLUMN | 11 | 3.33 | 10 |  | 366.3
|  | ROOF |  | 22.66 | 26.5 |  | 600.49
|  | BEAM | 2 | 16.66 | 1.25 |  | 41.65
|  | LINTEL | 4 | 8 | 0.83 |  | 26.56
|  |  | 6 | 21.66 | 0.83 |  | 107.8668
|  |  | 2 | 4 | 0.42 |  | 3.36
|  |  | 4 | 25.5 | 0.83 |  | 84.66
|  | PLINTH | 2 | 208 | 0.5 |  | 208
|  | CHAJJA |  | 40.98 | 1.5
|  | WINDOW | 6 | 4 | 1.5
|  | VENTILATOR | 2 | 2 | 1 |  | 2
|  | ROOF BEAM | 2 | 132 | 0.5 |  | 132
0
|  | TOTAL QUANTITY |  |  |  |  | 1792.0068
8 | 6.1.12A | Brick work with bricks of class designation 100A in foundation and plinth in:Cement mortar 1:4(1 cement:4 coarse sand) | [5 empty] | 8.2283 | 4819.9 | CUM | 39659.4094
|  | UP TO PLINTH | 1 | 132 | 0.83 | 2.5 | 273.9
|  | STEP |  | 4 | 8.32 | 0.5 | 16.64
290.54
|  | ABOVE PLINTH | 1 | 165 | 0.83 | 10 | 1369.5 | 40.1674 | 5662.1 | cum | 227432.0931
|  |  | 1 | 4 | 0.83 | 10 | 33.2
|  |  | 2 | 8 | 0.83 | 10 | 132.8
| 6.1.14A +6.3a | DEDUCTION | 1 | 5.5 | 0.83 | 7 | 31.955
|  | door | 2 | 3.5 | 0.83 | 7 | 20.335
|  | window | 6 | 3 | 0.83 | 4 | 9.96
|  | LINTEL | 2 | 132 | 0.83 | 0.5 | 54.78
|  | ROOF BEAM | 4 | 0.42 | 0.5 | 0.75 | 0.1575
1418.3125
1418.3125
8 | 8640 | CPVC PIPE 32MM |  |  |  |  | 30 | 0 | 251.3 | PER METER | 0
|  | 1 " ELBOW |  |  |  |  | 4 | 0 | 481 | PER | 0
|  | 1/2 " ELBOW |  |  |  |  | 4 | 0 | 381 | PER | 0
|  | BIB COCK |  |  |  |  | 4 | 0 | 434.2 | PER | 0
|  | CPVC PIPE 15MM |  |  |  |  | 20 | 0 | 15.7 | PER METER | 0
9 | 13.17.2 | 12mm cement plaster of mix:1:3(1 cement:3 coarse sand) With cico powder | [5 empty] | 104.6905 | 141.5 | SQM | 14813.7086
|  |  | 1 | 22.66 |  | 26.5 | 600.49
|  | 6mm cement plaster of mix:1:4(1 cement:3 coarse sand | [5 empty] | 48.8829 | 124.6 | sqm | 6090.8093
|  |  | 20 |  | 15 |  | 300
|  |  | 10 |  | 8 |  | 80
|  |  | 5 |  | 8 |  | 40
|  | 2 | 24.66 |  | 1.5 |  | 73.98
|  | 2 | 4 |  | 4 |  | 32
525.98
|  | 12mm cement plaster of mix:1:6(1 cement:4 coarse sand) i | [5 empty] | 256.3443 | 141.5 |  | 36272.7228
INNER AREA
|  | 2 | 35 |  | 9.5 |  | 665
|  | 2 | 18 |  | 9.5 |  | 342
|  | 2 | 13 |  | 9.5 |  | 247
|  | 4 | 8 |  | 9.5 |  | 304
|  | 3 | 5.5 |  | 1.33 |  | 21.945
1579.945
OUTER AREA
|  | 2 | 45.32 |  | 13 |  | 1178.32
2758.265
1 | 2.3.1 | Banking excavated earth in layers not exceeding 20 cm in depth, breaking clods, watering .rolling each layer with 1/2 tonne roller, or wooden or steel rammers and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing upin embankments for roads, flood banks, marginal banks, and guide banks etc . lead upto 50 m and lift upto 1.5 m. | [5 empty] | 16.2843 | 224 |  | 3647.6919
|  |  | 15 | 20 | 1.25 |  | 375
|  |  | 20 | 8 | 1.25 |  | 200
575
4 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work up to plinth level:1;2:4graded stone aggregate 20mm nominal size) | [5 empty] | 3.2002 | 3998.1 | CUM | 12794.8258
|  |  | 1 | 15 | 20 | 0.25 | 75
|  |  | 1 | 10 | 8 | 0.25 | 20
|  |  | 1 | 8 | 5 | 0.25 | 10
|  |  | 1 | 8 | 4 | 0.25 | 8
|  | TOTAL QUANTITY |  |  |  |  | 113
10 | 11.39 | Providing and laying Ceramic glazed floor tiles 300x300 mm to be specified by the manufacturer) of ist quality conforming to 15622 of approved make in colours such as white , Ivory , Grey , Red , Brown , laid on 20 mm thick Cement motar 1:4 (1 cement: 4 coarse sand ) including pointing the joints with white cement and matching pigment etc., complete. | [5 empty] | 42.0074 | 1329.8 | SQM | 55861.487
|  |  | 1 | 15 | 20 |  | 300
|  | step | 1 | 10 | 8 |  | 80
|  |  | 1 | 8 | 5 |  | 40
|  |  | 2 | 4 | 4 |  | 32
0
11 | 11.36 | Providing and fixing 1st quality ceramic glazed wall tiles IS : 15622 (Thickness to be specified by the manufacture) of make in all colours, shades except burgundy,bottle green,black any size as approved by Engineer-in-charge in skirting,risers of and dados over 12 mm thick bed of cement Motar 1:3(1 cement:3 coarse sand )and jointingwith grey cement slurry @ 3.3 kg/m2 including pointing in white cement mixed with pigment of matching shade complete. | [5 empty] | 23.9777 | 795 | SQM | 19062.2677
|  |  | 2 | 35 |  | 0.5 | 35
|  |  | 2 | 18 |  | 0.5 | 18
|  |  | 2 | 13 |  | 0.5 | 13
0
|  | steps side | 4 | 8 |  | 6 | 192
258
12 | 10.5 | P/V and fixing 1mm thick M.Ssheet door with frame of 40x40x6 mm angle iron and 3mm MSgusset plates at thejunction and corners.all necessary fittings completejncluding applying a priming coat of steel primer. | [5 empty] | 0 | 3653 | SQM | 0
|  |  | 1 | 2.5 | 7 |  | 17.5
|  | PAINTING WITH READYMADE PANTE WITH NEW WOODEN SURFACE | [5 empty] | 22.79 | 83.5 | SQM | 1902.965
|  |  |  | 109 |  | 2.25 | 245.25
13 |  | PROVIDING AND FIXING OF TAP | [5 empty] | 0 | 200 | EACH | 0
4
14 | 17.20.1 | Providing and fixing solid seat with lid for INDIAN type W.C. pan complete :White solid plastic seat with lid | [5 empty] | 0 | 4470.9 | each | 0
2
15 | 18.2 | Providing and fixing brass ferrule with C.I. mouth cover including boring and tapping the main :
|  | 18.20.1 :15 mm nominal bore |  |  |  |  | 10 | 0 | 399.9 | M | 0
|  | 18.20.3: 25 mm nominal bore |  |  |  |  | 4 | 0 | 227.7 | M | 0
16 | 9.1.4 | door frame
|  | DOOR | 2 | 17.5 | 0.33 | 0.25 | 2.8875 | 0.24533 | 54628.9 | cum | 13401.9498
|  | window | 5 | 14 | 0.33 | 0.25 | 5.775
8.6625
| 9.21.2 | Alluminium frame door | [5 empty] | 3.2528 | 1641.5 | sqm | 5339.4517
|  |  | 2 | 2.5 | 7 |  | 35
| 9.20.2 | decorative flat door | [5 empty] | 4.5539 | 1798.5 | sqm | 8190.1952
|  | door | 2 | 3.5 | 7 |  | 49
|  | localhood shutter | [8 empty] | 10028.8104
| 9.5.2.1 |  | 5 | 4 | 3 |  | 60 | 5.5762 | 1798.5 | sqm
| 9.65.2 | M.S DOOR LATCHES
|  |  |  | 22 | @ | 63.5 |  | 22 | 63.5 |  | 1397
| 9.48.1 | M.S GRILL
|  | W | 5 | 4 | 3 |  | 60
|  | GATE | 1 | 5 | 10 |  | 50
0
[7 empty] | 110 | 330 | 144.5 | KG | 47685
| 10.3 | COLLAPSIBLE GATE
[7 empty] | 0 | 0 | 6303.4 |  | 0
| 13.78.1 | APPLYING CEMENT PRIMER ON WALL AND CEILING AREA | [5 empty] | 305.1431 | 38.6 | SQM | 11778.5245
| CEILING AREA | [5 empty] | 525.98
| WAL | [5 empty] | 2757.36
3283.34
| 13.79.1 | FINISING WALL WITH WATER PROOFING CEMENT PAINT | [5 empty] | 305.14 | 81.2 | SQM | 24777.368
| 13.81.3 | STEEl PERIMER | [6 empty] | 34.6 | SQM | 8563.5
|  |  | 110 |  | 2.25 |  | 247.5 | 247.5
15 | 18.15.1 | Providing and fixing brass bib cock of approved quality :15 mm nominal bore | [5 empty] | 2 | 0 | each
2 nos
16 | 18.17.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :25 mm nominal bore | [5 empty] | 1 | 0 | each | 0
| 17.10.1.4 | wash basin | [5 empty] | 0 | 2764.4 | each | 0
|  | BALL VALVE | [5 empty] | 0 | 620 | NO | 0
[8 empty] | 0 | 0
|  | PTMT EXTENSIL NIPPLE | [5 empty] | 0 | 60.2 | PER | 0
17 | 18.48.A | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | [5 empty] | 0 | 9.7 | PER LITRE | 0
| COST OF ELECTIFICATION | [6 empty] | 1 | 7500 |  | 7500
TOTAL | [10 empty] | 968827.55
17 | CARRIAGE OF MATERIAL
| L SAND- 2KM(P)+1KM(K) | [6 empty] | 28.5591 | 336.17 | CUM | 9600.7259
| BRICK -7KM(P)+1KM(k) | [6 empty] | 5772.3837 | 995.29 | NOS/1000 | 5745.1958
| K SAND -41KM(P) FROM KIUL | [6 empty] | 24.1244 | 1143.38 | CUM | 27583.4105
| STONE CHIPS -2KM(P)+1KM(K) | [6 empty] | 27.1537 | 493.08 | CUM | 13388.9612
56318.2934
TOTAL
18 | EXTRA COST OF MATERIAL
| CEMENT | [6 empty] | 12.159 | 18.55 | MT | 225.5486
| BRICKS | [6 empty] | 5772.3837 | 365.45 | NOS/1000 | 2109.5176
TOTAL | [9 empty] | 2335.0663
Seigniorage fee(10%)
| A | Local sand | [5 empty] | 28.5591 | 141.85 | M³ | 405.1114
| B | Coarse sand | [5 empty] | 24.1244 | 175.8 | M³ | 424.1078
| C | Stone chips | [5 empty] | 27.1537 | 556.33 | M³ | 1510.6435
| D | Brick | [5 empty] | 5772.3837 | 5285 | no.%0 | 3050.7048
TOTAL | [9 empty] | 5390.5674
TOTAL | [7 empty] | 1032871.4771
| ADD 6% GST | [7 empty] | 61972
| TOTAL | [7 empty] | 1094843
MATERIAL STATEMENT
ITEM |  |  | QUANTITY | CEMENT | K SAND | S CHIPS | BRICK | L SAND | REINFORCMENT
LOCAL SAND FILLING |  |  | 27.6063 |  |  |  |  | 27.6063
BRICK FLAT SOLING |  |  | 52.9331 |  |  |  | 1707.6213 | 0.9528
P.C.C (1:1.5:3) |  |  | 0 | 0 | 0 | 0
BRICK WORK (1:4) |  |  | 8.2283 | 0.78169 | 3.1267 |  | 4064.7624
RCC (1:1.5:3) |  |  | 22.6281 | 9.0512 | 13.5769 | 27.1537 |  |  | 2195.11
12 mm PLASTER (1:4) |  |  | 166.5434 | 1.5822 | 6.3286
WALL TILES |  |  | 23.9777 | 0.23978
FLOOR TILES |  |  | 42.0074 | 0.50409 | 1.0922
TOTAL |  |  |  | 12.159 | 24.1244 | 27.1537 | 5772.3837 | 28.5591 | 2195.11