## Estimate
NAGAR PANCHAYAT DIGHWARA,SARAN Estimate
Name of work-Supplying, Installation and commissioning of LED street light in ward no-01 to 09 in Nagar Panchayat dighwara
Sr.no | SOR no | Description | Unit | Quantity | Rate | Amount
1 | B.C.D EL 5.14 | Supplying and fixing following types LED street light with minimum efficacy 100 lm/w in die cast aluminium housing, toughened glass, IP 66 protection and complete with electronic driver etc on pole/building including connection earthing the body etc as required.
| 5.14.3 | 70 watt LED street light | each | 850 | 4805 | 4084250
| 5.14.4 | 90 watt LED street light | each | 650 | 5516 | 3585400
2 | B.C.D EL 1.15.2 | Supplying and drawing following size of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed pvc conduit as required. 2X1.5 sq.mm | M | 12000 | 66 | 792000
3 | B.C.D EL 1.24.1 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connetions but excluding modular plate etc.as required. 5/6amps switch | each | 1500 | 82 | 123000
TOTAL= | [5 empty] | 8584650
5% Maintenance charge per annum for five years on item no 01 to item no 03= | [5 empty] | 2146162.5
A= | [5 empty] | 10730812.5
4 | B.C.D EL 8.5 | Supplying and fixing of 32mm dia x 1.00 metre long G.I pipe (medium class) bracket for mounting of fluorescent/HPMV/HPSV LED street light fittings on pole including bending the pipe to the required shape, 2 nos 40mm x 3mm flat iron clamps with nuts, bolts, and washer, painting the flat iron with primer and finish paint etc. as required. | each | 1500 | 1038 | 1557000
4 | B.C.D EL 1.27.1 | Supplying and fixing following size/ modules. GI box along with modular base and cover plate for modular awitches in recess etc as required. 1 or 2 Module(75mm X 75mm) | each | 1500 | 234 | 351000
[5 empty] | B= | 1908000
|  |  |  | Total Amount (A+B)= |  | 12638812.5

## ABS
Nagar Panchayat Dighwara,Saran
Abstract of cost
Name of work-Supplying, Installation and commissioning of LED street light in ward no-01 to 09 in Nagar Panchayat dighwara
Sr no | Items of work |  |  | Amount
1 | Name of work-Supplying, Installation and commissioning of LED street light in ward no-01 to 09 in Nagar Panchayat dighwara |  |  | 12638812.5
|  |  | Amount= | 12638812.5
| Add Contingency fee 1% upto 1cr and 0.5% from 1cr to Estimate cost= |  |  | 113194.06
|  |  | total Amount= | 12752006.56
|  |  | SAY= | 12752007

## BOQ01
NAGAR PANCHAYAT DIGHWARA,SARAN BOQ 01
Name of work-Supplying, Installation and commissioning of LED street light in ward no-01 to 09 in Nagar Panchayat dighwara
Sr.no | SOR no | Description | Unit | Quantity | Rate | Amount
1 | B.C.D EL 5.14 | Supplying and fixing following types LED street light with minimum efficacy 100 lm/w in die cast aluminium housing, toughened glass, IP 66 protection and complete with electronic driver etc on pole/building including connection earthing the body etc as required.
| 5.14.3 | 70 watt LED street light | each | 850 | 4805 | 4084250
| 5.14.4 | 90 watt LED street light | each | 650 | 5516 | 3585400
2 | B.C.D EL 1.15.2 | Supplying and drawing following size of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed pvc conduit as required. 2X1.5 sq.mm | M | 12000 | 66 | 792000
3 | B.C.D EL 1.24.1 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connetions but excluding modular plate etc.as required. 5/6amps switch | each | 1500 | 82 | 123000
TOTAL= | [5 empty] | 8584650
5% Maintenance charge per annum for five years on item no 01 to item no 03= | [5 empty] | 2146162.5
A= | [5 empty] | 10730812.5
4 | B.C.D EL 8.5 | Supplying and fixing of 32mm dia x 1.00 metre long G.I pipe (medium class) bracket for mounting of fluorescent/HPMV/HPSV LED street light fittings on pole including bending the pipe to the required shape, 2 nos 40mm x 3mm flat iron clamps with nuts, bolts, and washer, painting the flat iron with primer and finish paint etc. as required. | each | 1500 | 1038 | 1557000
4 | B.C.D EL 1.27.1 | Supplying and fixing following size/ modules. GI box along with modular base and cover plate for modular awitches in recess etc as required. 1 or 2 Module(75mm X 75mm) | each | 1500 | 234 | 351000
[5 empty] | B= | 1908000
|  |  |  | Total Amount (A+B)= |  | 12638812.5
[5 empty] | SAY= | 12638813