TENDER DOCUMENT

FOR

Supply, Installation, Testing and Commissioning

Of

- 3000 MT Onion Cold Store

- 2MT/Hr. Sorting, Grading, Washing and Packing

- Material Handling

At

Primary Processing Centre of BIADA MEGA FOOD PARK.

Location: Donar (Darbhanga)

BIHAR INDUSTRIAL AREA DEVELOPMENT AUTHORITY

Index

1	INVITATION FOR BID	5

2	INSTRUCTIONS TO BIDDERS	8

3	BID DATA SHEET	30

4	GENERAL CONDITIONS OF CONTRACT	34

5	SPECIAL CONDITIONS OF CONTRACT	51

6	BID FORM, PRICE SCHEDULES AND OTHER FORMATS	58

7	GUIDELINES FOR OPERATIONAL & MAINTENANCE WARRANTY	82

8	TECHNICAL SPECIFICATION & BILL OF QUANTITIES	85

8.1	Supply & installation of E - auction system	86

8.2	Documentation & other requirements	96

9	QUALIFICATION REQUIREMENTS & TECHNICAL BID EVALUATION CRITERIA	99

9.1	Supply & installation of E -  auction system	100

9.2	Essential Documents	101

CHECK LIST

TENDER NO.

|  | Have you submitted the EMD? | Yes | No |
| --- | --- | --- | --- |
|  | Have you submitted Tender fee payment receipt? | Yes | No |
|  | Have you quoted Bid prices in terms of ITB Clause 13? | Yes | No |
|  | Have you given the Bid Form, Price Schedule in the in the prescribed format? | Yes | No |
|  | Have you submitted the original bidding document completed in all respects, duly signed, stamped and sealed as per ITB Clause 20? | Yes | No |
|  | Have you quoted the delivery period correctly and precisely? | Yes | No |
|  | Have you kept your offer valid for 120 days? | Yes | No |
|  | Have you submitted self-attested copies of your registration such as PAN, TIN /CST, GST? | Yes | No |
|  | Have you submitted Balance sheet and ITR for last three years ending 31.03.2023 duly certified? | Yes | No |
|  | Have you submitted Positive net worth certificate from statutory auditor? | Yes | No |
|  | Have you submitted List of completed orders/projects year wise; executed during last three years indicating Purchase order reference, type of order, value of order and status whether completed or not completed duly certified by auditor along with self-attested copies of PO | Yes | No |
|  | Have you submitted Copy of performance / completion certificate issued by the clients to substantiate the claim for the value of works executed in the private sector? | Yes | No |
|  | Have you submitted all other formats from Appendix A-01 to Appendix-M? | Yes | No |
|  | Have you submitted Proposed Layout of the plant & equipment offered by the bidder to the scale? | Yes | No |
|  | Have you submitted original Bid documents duly signed and sealed on each page in token of acceptance of tender terms, conditions and technical specification? | Yes | No |
|  | Have you submitted deviation statement clearing and explicitly mentioning the deviations and clarifying why deviations? | Yes | No |
|  | Have you submitted design details of your proposal along with all technical catalogues, proposed layout including required utilities? | Yes | No |
|  | Have you included cost of spares for two years of normal operation in your BID PRICE? | Yes | No |
|  | Have you included cost of all standard Accessories in the BID PRICE? | Yes | No |

Signature of the Bidder

Date & Place

ABBREVIATION

NIT	:	NOTICE INVITING TENDER

ITB	:	Instructions to Bidders

GCC	:	General Conditions of Contract

SCC	:	Special Conditions of Contract

EXW	:	Ex Works

CIF	:	Carriage, Insurance and Freight

CIP	:	Carriage and Insurance Paid to

AMC	:	Annual Maintenance/service contract

TT	:	Telegraphic transfer

FOB	:	Freight on Board

FCA	:	Free Carriers

GAPL	:	Global AgriSystem Pvt. Ltd.

ISO	:	International Standard Organization

EBT	:	The Electronic Bidding Terminal

LXWXH	:	Length Width & Height

AC	:	Alternate Current

CFR	:	Cost and Freight

IFB	:	Invitation for Bid

MNC	:	Multinational company

NCB	:	National Cargo Bureau

CPT	:	Carriage Paid to

MOSFET	:	Metal Oxide Simi conductor Field Effect Transfer

HDPE	:	High Density Polythene

U. V	:	Ultra violet

NTP	:	Normal Temperature Pressure

ABB	:	Asia Brown Boveri

GEC	:	General Electric Corporation

PVC	:	Polyvinyl Chloride

LED	:	Light Emitting Diode

EU	:	European Union

US	:	United State

IST	:	Indian Standard time

NCB	: 	National Competitive Bidding

ICB	:	International Competitive Bidding

AISI	: 	American Institution of Steel Industries

BC	: 	Bank Call rate

# INVITATION FOR BID

Disclaimer

The information contained in this Detailed Notice Inviting Tender (“DNIT”) document or subsequently provided to Bidder(s), whether verbally or in documentary form by or on behalf of the tenderer, BIADA or any of their employees or advisors, is provided to Bidder(s) on the terms and conditions set out in this DNIT document and any other terms and conditions subject to which such information is provided. This DNIT document is not an agreement and is not an offer or invitation. The purpose of this DNIT document is to provide interested parties with information to assist in the formulation of their Application for Qualification. The DNIT document does not purport to contain all the information each Bidder may require. This DNIT document may not be appropriate for all persons, and it is not possible for the Government Representative, its employees or advisors to consider the investment objectives, financial situation and particular needs of each party who reads or uses this DNIT document. Certain Bidders may have a better knowledge of the proposed Project than others. Each Bidder should conduct its own investigations and analysis and should check the accuracy, reliability and completeness of the information in this DNIT document and obtain independent advice from appropriate sources. BIADA, its employees and advisors make no representation or warranty and shall incur no liability under any law, statute, rules or regulations as to the accuracy, reliability or completeness of the DNIT document. BIADA may in its absolute discretion, but without being under any obligation to do so, update, amend or supplement the information, without prior intimation in this DNIT document.

# INSTRUCTIONS TO BIDDERS

Table of Clauses

A.  Introduction

- Introduction

- Bidding Process

- Schedule of Bidding Process

- Eligible Bidders

- Eligible Goods and Services

- Cost of Bid& Bidding Documents

B.  The Bidding Documents

- Content of Bidding Documents

- Clarification of Bidding Documents

- Amendment of Bidding Documents

C.  Preparation of Bids

- Language of Bid

- Documents Comprising the Bid

- Price Bid Form

- Bid Prices

- Bid Currencies

- Documents Establishing Bidder's Eligibility and Qualifications

- Documents Establishing Goods' Eligibility and Conformity to Bidding Documents

- EMD

- Period of Validity of Bids

- Format and Signing of Bid

D.  Submission of Bids

- Sealing and Marking of Bids

- Deadline for Submission of Bids

- Late Bids

- Modification and Withdrawal of Bids

E.  Opening and Evaluation of Bids

- Opening of Bids by the Purchaser

- Clarification of Bids

- Preliminary Examination

- Conversion of Single Currency

- Evaluation of Comparison of Bids

- Domestic Preference

- Contacting the Purchaser

F.  Award of Contract

- Post Qualification

- Award Criteria

- Purchaser's Right to Vary Quantities at Time of Award

- Purchaser's Right to Accept Any Bid and to Reject Any or All Bids

- Notification of Award

- Signing of Contract

- Performance Security

- Corrupt or Fraudulent Practices

Instructions to Bidders

A.  Introduction

| 1. | Introduction | 1.1 | Bihar Industrial Area Development Authority Sector Undertaking of BIHAR State is setting up a Primary Processing Centre (PPC) for Mega Food Park at I/A Donar, Darbhanga. PURCHASER intends to set up following components - Pack House-sorting grading line with washing and packing Capacity 2 MT/Hour - Plant & Machineries for Cold Storage Capacity 3000 MT |
| --- | --- | --- | --- |
| 1.a | Estimated Cost |  | Rs. 8,40,10,255 |
| 2. | Bidding Process | 2.1 | BIADA invites online Bids from eligible Bidders for single-stage bid process, referred to as the "Bidding Process" for selection of the successful bidder for award of the Project. E-Bids must be uploaded along with scanned copies of relevant documents pertaining on https://eproc2.bihar.gov.in/ portal on or before last date and time of online bid submission which is 15/07/2026 upto 5:00 PM . Sealed hard copy (one set) of technical bid along with EMD and tender fees must also reach at the following address on or before-16/07/2026 upto 3.00 pm Bihar Industrial Area Development Authority, 1st Floor, Udyog Bhawan, East Gandhi Maidan, Patna-800004 If the hard copy of the technical bid is not received in time, then the offer shall not be considered and BIADA shall not be responsible for any postal delay in respect of submission of hard copy part of the technical bid If any discrepancy is noticed between the documents as uploaded at the time of submission of bid and hard copies as submitted to BIADA, the documents uploaded online will prevail for evaluation - Bids received after the specified date & time will be rejected |
|  |  | 2.2 | - Based on the NIT, Pre bid queries and further communication, the Tender Committee (T.C.) will follow the following procedure after opening of the BID: - Test of responsiveness: the bids will be checked and completeness of documentation. Incomplete bids will be summarily rejected (refer section 9) - Technical evaluation: T.C. will carry out a detailed technical evaluation of the Bids not previously rejected (responsiveness test) to determine whether the technical aspects are in compliance with the bidding document. The Bid that does not meet minimum acceptable standards of completeness, consistency and detail, and the specified minimum (or maximum, as the case may be) requirements for specified functional guarantees, will be rejected. In order to reach its determination, the T.C. will examine and compare the technical aspects of the Bids on the basis of the information provided by the Bidders - The process involves qualification (the “Qualification”) of interested parties who make an Application in accordance with the provisions of this tender document (the "Bidder", which expression shall, unless repugnant to the context). |
|  |  | 2.3 | Information submitted by bidders in the “Technical Bid” will be evaluated as per the criteria set in section 9. Once the ‘Technical Bids’ are evaluated, short listed bidders will be asked to: - Make a presentation on the solution offered by them (if required by BIADA) - BIADA may (at its own discretion) ask any or all of the shortlisted bidders to demonstrate successful operation of the system offered, where it has been supplied by the bidders and has been working successfully for at least three years. |
|  |  | 2.4 | After evaluating the technical documents, PMC will submit the report of evaluation to the T.C and T.C. will decide the date of opening of Commercial Bid based on the evaluation report. The financial bids of only technically qualified bidders will be opened. |
|  |  | 2.5 | The "Financial Bids" in the required format has to uploaded only on E -portal, if there is a discrepancy between words and figures, the lowest amount out of two will prevail. The Bid shall be valid for a period of not less than 120 days from the date specified in Clause 3.1 for submission of bids (the “Bid Due Date”). |
| 3. | Schedule of Bidding Process | 3.1 | The BIADA shall endeavor to adhere to the following schedule: Particulars; Date &Time. 1.; Start Date of Downloading of tender documents; 26/06/2026. 2.; Pre-Bid Meeting Date & Time; 30/06/2026 3.00 pm. 3.; Last Date & Time of Submission of tenders online; 15/07/2026 till 05.00 pm. 4.; Last Date & Time of Submission of hard copy of technical bids; 16/07/2026 till 03.00 pm. 5.; Date of opening of Technical Bid; 16/07/2026 till 03.30 pm. 6.; Date of opening of Financial Bid; After evaluation of Technical Bid. *If bid due date or date of opening is declared as a holiday by Govt. the bids will be opened at the same time of next working day. |
| 4. | Eligible Bidders | 4.1 | This invitation for Bids is open to all Bidders or their authorized agents from India and from all Bidders from all countries (except those banned by Govt. of India under trade regulation) (against ICB). |
|  |  | 4.2 | Deleted |
|  |  | 4.3 | Bidders shall not be under a declaration of ineligibility for corrupt and fraudulent practices in accordance with sub-clause 38. |
|  |  | 4.4 | No Joint Venture and no Consortium is allowed |
| 5. | Eligible Goods and Services | 5.1 | All goods and related services to be supplied under the contract shall have their origin in eligible source countries, and all expenditures made under the contract will be limited to such goods and services. |
|  |  | 5.2 | For purposes of this clause, "origin" means the place where the goods are mined, grown, or produced, or the place from which the related services are supplied. Goods are produced when, through manufacturing, processing, or substantial and major assembly of components, a commercially-recognized product results that is substantially different in basic characteristics or in purpose or utility from its components. |
|  |  | 5.3 | The origin of goods and services is distinct from the nationality of the Bidder. |
| 6. | Cost of Bidding & Bid Documents | 6.1 | - Tender documents can be downloaded from the portal On 26/06/2026, however interested bidders have to pay tender fees for participating in the tendering and submitting the bid Bids not containing Tender Fee shall be considered non-responsive and shall be summarily rejected |
|  |  | 6.2 | The Tender Fee is Rs. 11,800 (Rupees eleven thousand eight hundred only), which is non-refundable. |
|  |  | 6.3 | - The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser named in the Bid Data Sheet, hereinafter referred to as "the Purchaser," will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process. |
|  |  | 6.4 | The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser named in the Bid Data Sheet, hereinafter referred to as "the Purchaser," will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process. |
| B. The Bidding Documents |  |  |  |  |  |  |
|  |  |  | The goods required, bidding procedures, and contract terms are prescribed in the bidding documents. In addition to the Invitation for Bids, the bidding documents include: - Invitation for Bids - Instructions to Bidders (ITB) - Bid Data Sheet - General Conditions of Contract (GCC) - Special Conditions of Contract (SCC) - Bid Form and Price Schedules & Other Formats - Price Bid Form - Price Schedule for Goods to be supplied within the country - Price Schedule for Goods to be imported - EMD Form - Contract Form - Performance Security Form - Manufacturer's Authorization Form - Guidelines for Operational & Maintenance Warranty - Technical Specifications & Bill of Quantities Qualification Requirements & Technical Bid Evaluation Criteria |
| 7. | Content of Bidding Documents | 7.1 | The Bidder is expected to examine all instructions, forms, terms and specifications in the bidding documents. Failure to furnish all information required by the bidding documents or to submit a bid not substantially responsive to the bidding documents in every respect will be at the Bidder's risk and may result in the rejection of its bid. - The bidders are advised to visit the site before and to acquaint themselves fully about the work involved and the prevailing conditions before submission of tender. |
|  |  | 7.2 | Bidder has to inform in writing all the major queries to the BIADA to get clarifications. In case of difficulty in understanding the tender & its technical matters, the bidder may write email to BIADA. Email: dgmnorth.tech@bihar.gov.in BIADA will respond in writing to any request for clarification of the bidding documents |
| 8. | Clarification of Bidding Documents | 8.1 | At any time prior to the deadline for submission of bids, BIADA may amend the Bidding Document by issuing addenda. The addendum will appear on the e-procurement system under “Latest Corrigendum” Any addendum issued shall be part of the Bidding Document and shall be deemed to have been communicated to all bidders. |
| 9. | Amendment of Bidding Documents | 9.1 | It is the bidder’s responsibility to check on the e-procurement system, for any addendum/ amendment/ corrigendum to the bidding document. |
|  |  | 9.2 | In order to allow prospective bidders reasonable time in which to take the amendment into account in preparing their bids, the Purchaser, as its discretion, may extend the deadline for the submission of bids. |
|  |  | 9.3 | In order to allow prospective bidders reasonable time in which to take the amendment into account in preparing their bids, the Purchaser, as its discretion, may extend the deadline for the submission of bids. |
| C. Preparation of Bids |  |  |  |  |  | The Bid prepared by the Bidder, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser shall be written in English language. Supporting documents and printed literature furnished by the Bidder may be in another language provided they are accompanied by an accurate translation of the relevant passages in English language, in which case, for purposes of interpretation of the Bid, the translation shall govern. |
| 10. | Language of Bid | 10.1 | The Technical bid prepared by the Bidder shall comprise the following components: - - Proof of submission of tender fees - Proof of submission of EMD - Details of bidder - Company Profile & Organization setup - Bio Data of Key Personals - Bidder shall be in business at least for last five financial years at time of bid opening in Manufacturing/Sales, Distribution and installation, Commissioning of pack-house sorting grading and cold storage related machines. - The bidder must have completed minimum one project of value 5 Cr in three different financial year within the last five financial year. - List of completed orders/projects year wise; executed during last three years indicating Purchase order reference, type of order, value of order and status whether completed or not completed duly certified by auditor along with self‐attested copies of PO. - Copy of performance / completion certificate issued by the clients to substantiate the claim for the value of works executed. - Record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion or financial failure etc. Submit performance details for last three years - The Average Annual Financial turnover of the Bidders in the same name during last three financial years ending 31st March, 2026 shall not be less than Rs 10 Crore. - Copies of Balance Sheets for last three years ending for last three years ending 31st March, 2026; duly certified by the auditor - Chartered Accountant Certificate regarding the average annual turn-over for the last three financial years. - Positive Net worth Certificate issued by their auditor. - Self‐attested Copies of Registration PAN, GST, ESI &PF and Income Tax Returns for three previous years ending 31st March, 2026 - Details of litigations, if any. - In case of deviation Bidders are required to submit deviation statement clearing and explicitly mentioning the deviations and clarifying why deviations? - Even though the bidder meets the specified criteria, it may be disqualified if it has: - If the bidder is overbooked beyond his capacity to execute the work as per required schedules - Conditional Tenders will not be accepted. Made untrue or false declaration in the forms, statements and attachments submitted in proof of their qualification - Copy of letter of authorization/power of attorney for signing the bid document - Bid document including supporting documents, annexures along with all the subsequent corrigendum and clarifications to be signed on each & every page by bidder’s authorized signatory with seal as a token of acceptance of tender conditions - documentary evidence established in accordance with ITB Clause 16 that the goods and ancillary services to be supplied by the Bidder are eligible goods and services and conform to the bidding documents; The Financial (Price) Price Bid in the required format has to uploaded only on E -portal, :-(a) a Price Bid Form and a Price Schedule completed in accordance with ITB Clauses 12, 13 and 14; if there is a discrepancy between words and figures, the lowest amount out of two will prevail. |
| 11. | Documents Comprising the Bid along with Eligibility criteria | 11.1 | The Bidder shall complete the Price Bid Form and the appropriate Price Schedule furnished in the bidding documents, indicating the goods to be supplied, quantity, and prices. |
| 12. | Price Bid Form | 12.1 | The currency of price bid will be INR for both domestic and international bidders |
|  |  | 12.2 | - bidders shall quote for the entire Plant and Installation Services on a “single responsibility” basis such that the total bid price covers all the Contractor’s obligations mentioned in or to be reasonably inferred from the bidding document in respect of the design, manufacture, including procurement and subcontracting (if any), delivery, construction, installation and completion of the plant including supply of mandatory spares (if any). This includes all requirements under the Contractor’s responsibilities for testing, pre-commissioning and commissioning of the plant and, where so required by the bidding document, the acquisition of all permits, approvals and licenses, etc.; the operation, maintenance and training services and such other items and services as may be specified in the Bidding Document, all in accordance with the requirements of the General Conditions. - The prices quoted by bidder shall be on the basis of Goods Delivered on Site which shall include all the applicable taxes and duties (customs, excise, CST against C form,GST), packaging, freight, transit insurance, and other cost incidental to delivery (entry tax, octroi/toll tax, loading, unloading at site) already paid or payable. - The Bidder shall indicate on the appropriate Price Schedule the unit prices (where applicable) and total bid price of the goods it proposes to supply under the contract in the financial bid stage. |
| 13. | Bid Prices | 13.1 | Prices indicated on the Price Schedule shall be entered in the following manner: - For goods offered from within the Purchaser's country: - Basic EXW price including packaging - Applicable taxes and duties (excise, CST against C form, any other tax payable to government) - All the costs incidental to delivery (freight, transit insurance, entry tax, octroi/toll tax, loading, unloading at site) - The price of other incidental services including the cost towards shifting of equipment as required, providing all consumables/any other item necessary for installation, testing and commissioning of equipment including power and utilities, any other services as required and applicable taxes. - For goods offered from abroad: - The price of goods should be quoted FOR only. Import duties should be calculated and mentioned separately along with the rates. - The bidder should mention all expenses incidental to delivery (freight, transit insurance, entry tax, octroi/toll tax, loading, unloading at site) separately as per the prices The price of other incidental services including the cost towards shifting of equipment as required, providing all consumables/any other item necessary for installation, testing and commissioning of equipment including power and utilities, any other services as required and applicable taxes. |
|  |  | 13.2 | The terms EXW, CIF, CIP, etc., shall be governed by the rules prescribed in the current edition of Incoterms published by the International Chamber of Commerce, Paris. |
|  |  | 13.3 | The Bidder's separation of price components in accordance with ITB Clause 13.2 above will be solely for the purpose of facilitating the comparison of bids by the Purchaser and will not in any way limit the Purchaser's right to contract on any of the terms offered. |
|  |  | 13.4 | Prices quoted by the Bidder shall be fixed during the Bidder's performance of the contract and not subject to variation on any account, unless otherwise specified in the Bid Data Sheet. A bid submitted with an adjustable price quotation will be treated as nonresponsive and will be rejected, pursuant to ITB Clause 26. If, however, in accordance with the Bid Data Sheet, prices quoted by the Bidder shall be subject to adjustment during the performance of the contract, a bid submitted with a fixed price quotation will not be rejected, but the price adjustment would be treated as zero. |
|  |  | 13.5 | Prices quoted by the Bidder shall be sperate for the following sections: - Pack House-sorting grading line with washing and packing Capacity 2 MT/Hour - Plant & Machineries for Cold Storage Capacity 3000 MT Material Handling |
|  |  | 13.6 | Prices shall be quoted in the following currencies in financial Bid stage: (The prices shall be quoted in INR unless otherwise specified in the Bid Data Sheet). (a) If a foreign bidder has engaged an Indian agent, it will be required to give following details in the offer- (i) the name & address of the local agent. (ii) details of the services the agent would render. (iii) the fixed amount of remuneration for the agent included in the offer. - (b) The agency commission shall be indicated in the space provided for in the price schedule and will be paid to the bidder’s agent in India in Indian Rupees using the TT buying rates of exchange ruling on the date of award of contract/ Bill of Lading/ receipt of original documents at Purchaser’s bank and shall not be subject to any further exchange variation. |
| 14. | Bid Currencies | 14.1 14.2 | Pursuant to ITB Clause 11, the Bidder shall furnish, as part of its bid, documents establishing the Bidder's eligibility to bid and its qualifications to perform the contract if its bid is accepted. |
| 15. | Documents Establishing Bidder's Eligibility and Qualifications | 15.1 | The documentary evidence of the Bidder's eligibility to bid shall establish to the Purchaser's satisfaction that the Bidder, at the time of submission of its bid, is from an eligible country as defined under ITB Clause 4. |
|  |  | 15.2 | The documentary evidence of the Bidder's qualifications to perform the contract if its bid is accepted shall establish to the Purchaser's satisfaction: - that, in the case of a Bidder offering to supply goods under the contract which the Bidder did not manufacture or otherwise produce, the Bidder has been duly authorized as per authorization form in Section-6 by the goods' Manufacturer or producer to supply the goods in the Purchaser's country; - that the Bidder has the financial, technical, and production capability necessary to perform the contract as per qualification requirements given in Section-9 of this tender document. - that, in the case of Bidder not doing business within the Purchaser's country, the Bidder is or will be (if awarded the contract) represented by an Agent in that country equipped, and able to carry out the Supplier's maintenance, repair, and spare parts-stocking obligations prescribed in the Conditions of Contract and/or Technical Specifications; and - that the Bidder meets the qualification criteria listed in the Bid Data Sheet - If an agent submits bids on behalf of more than one Manufacturer, unless each such bid is accompanied by a separate Bid Form for each bid and a EMD, when required, for each bid, and authorization from each of the respective manufacturers, all such bids will be rejected as non-responsive. - That adequate, specialized hardware, related software expertise is already available or will be made available following the execution of the contract, in the Purchaser’s country, to ensure that the support services are responsive, and - That the Bidder has adequate experience in providing technical project management, and - That the Bidder will assume total responsibility for the fault free operations of the hardware, application software and maintenance during the warranty period and provide necessary maintenance services for three (3) years after the end of warranty period. - That the Bidder selected for the award of the Contract shall be responsible both for complying with any applicable export regulations and for obtaining the necessary export license in the country of origin. To this effect Bidder shall provide along with their bids, a document stating that it expects to obtain the required export license for the equipment, specified in the Technical Specification within 15 days of the contract signature date. Consortium bidding is not permitted. |
|  |  | 15.3 | Pursuant to ITB Clause 11, the Bidder shall furnish, as part of its bid, documents establishing the eligibility and conformity to the bidding documents of all goods and services which the Bidder proposes to supply under the contract. |
| 16. | Documents Establishing Goods' Eligibility and Conformity to Bidding Documents | 16.1 | The documentary evidence if the eligibility of the goods and services shall consist of a statement in the Price Schedule of the country of origin of the goods and services offered which shall be confirmed by a certificate of origin issued at the time of shipment. |
|  |  | 16.2 | The documentary evidence of conformity of the goods and services to the bidding documents may be in the form of literature, drawings, and data, and shall consist of: - a detailed description of the essential technical and performance characteristics of the goods; - a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the goods for a period of three years, following commencement of the use of the goods by the Purchaser; and - an item-by-item commentary on the Purchaser's Technical Specifications demonstrating substantial responsiveness of the goods and services to those specifications, or a statement of deviations and exceptions to the provisions of the Technical Specifications. a confirmation that, of the bidder offers system and/or other software manufactured by another Company, such software operates effectively on the system offered by the Bidder, and the Bidder is willing to accept responsibility for its successful operation. |
|  |  | 16.3 | - For purposes of the commentary to be furnished pursuant to ITB Clause 16.3(c) above, the Bidder shall note that standards for workmanship, material, and equipment, as well as references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications, are intended to be descriptive only and not restrictive. The Bidder may substitute alternative standards, brand names, and/or catalogue numbers in its bid, provided that it demonstrates to the Purchaser's satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specification. |
|  |  | 16.4 | Pursuant to ITB Clause 11, the Bidder shall furnish an EMD as per given details: INR 17,00,000/- (Seventeen Lakhs Rupees only) in the form of Demand Draft in favour of “BIADA payable at “---------------” Or Bank Guarantee in favor of “BIADA valid for 90 days. |
| 17. | EMD | 17.1 | The EMD is required to protect the Purchaser against the risk of Bidder's conduct which would warrant the security's forfeiture, pursuant to ITB Clause 17.7. |
|  |  | 17.2 | Deleted |
|  |  | 17.3 | Any bid not secured in accordance with ITB Clauses 17.1 and 17.3 will be rejected by the BIADA as nonresponsive, pursuant to ITB Clause 26. |
|  |  | 17.4 | Unsuccessfully bidder's EMD will be discharged or returned as promptly as possible but not later than thirty (30) days after the expiration of the period of bid validity prescribed by the Purchaser pursuant to ITB Clause 18. |
|  |  | 17.5 | The successful Bidder's EMD will be discharged upon the Bidder signing the contract, pursuant to ITB Clause 36, and furnishing the performance security, pursuant to ITB Clause 37. |
|  |  | 17.6 | The EMD may be forfeited: (a) if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Form; or (b) in the case of a successful Bidder, if the Bidder fails: (i) to sign the contract in accordance with ITB Clause 35; Or (ii) to furnish performance security in accordance with ITB Clause 36. |
|  |  | 17.7 | Bids shall remain valid for the period specified in the Bid Data Sheet after the date of bid opening prescribed by the Purchaser, pursuant to ITB Clause 21. A bid valid for a shorter period shall be rejected by the BIADA as nonresponsive. |
| 18. | Period of Validity of Bids | 18.1 | In exceptional circumstances, BIADA may solicit the Bidder's consent to an extension of the period of validity. The request and the responses thereto shall be made in writing (or by cable). The EMD provided under ITB Clause 17 shall also be suitably extended. A Bidder may refuse the request without forfeiting its EMD. A Bidder granting the request will not be required nor permitted to modify its bid, except as provided in ITB Clause 18.2 |
|  |  | 18.2 | The Bidder shall prepare bids as indicated in the Bid Data Sheet and submit online on the portal https://eproc2.bihar.gov.in/ . The bidder shall upload his technical and financial bids along with scanned copies of relevant documents on portal. Hard copy of the technical bid (one set) has to be submitted by due date at the address mentioned in section 1.3 on or before the due date In the event of any discrepancy between them, the uploaded documents shall govern. |
| 19. | Format and Signing of Bid | 19.1 | Hard copy of the bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person or persons duly authorized to bind the Bidder to the contract. All pages of the bid, shall be signed by the signing authority |
|  |  | 19.2 | Any interlineation ensures, or overwriting shall be valid only if they are initialed by the person or persons signing the bid. |
|  |  | 19.3 | The Bidder shall furnish information as described in the Form of Bid on commission or gratuities, if any, paid or to be paid to agents relating to this Bid, and to contract execution of the Bidder is awarded the contract. |
|  |  | 19.4 | All pages of the bid including printed literature and catalogues shall be numbered and indexed |
|  |  | 19.5 | All pages of the bid including printed literature and catalogues shall be numbered and indexed |
| D. Submission of Bids |  |  |  |  |  |  |
|  |  |  | The bids shall be indexed and numbered in the following sequence “PART I- EMD & TENDER FEES”, “PART II- TECHNICAL BID” and “PART III- FINANCIAL BID”. Bids has to uploaded as per the above sequence |
| 20. | Sequence of documents | 20.1 | Hard copy of the technical bid (one set) shall be marked as follows: The inner and outer envelopes shall: (a) be addressed to the Purchaser at the address given below & in the Bid Sheet; (b) and bear following details: Tender Number… ………………………………. Name of the Tender……………………………………… Project Name: Bid Date ............................................................... Bid Opening Dt. /Time ......................................... c) Super scribed in capital letters as “PART I- EMD & Tender Fees (submit the proof)”, “PART II- TECHNICAL BID” |
|  |  | 20.2 | The inner envelopes shall also indicate the name and address of the Bidder to enable the bid to be returned unopened in case it is declared "late". |
|  |  | 20.3 | If the outer envelope is not sealed and marked as required by ITB Clause 20.1, BIADA will assume no responsibility for the bid's misplacement or premature opening. |
|  |  | 20.4 | Bids must be received by the BIADA at the address specified under ITB Clause 3.1 no later than the time and date specified in the Bid Data Sheet. |
| 21. | Deadline for Submission of Bids | 21.1 | The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents in accordance with ITB Clause 9, in which case all rights and obligations of BIADA and bidders previously subject to the deadline will thereafter be subject to the deadline as extended. |
|  |  | 21.2 | Any bid received by BIADA after the deadline for submission of bids prescribed by the Purchaser pursuant to ITB Clause-21 will be rejected. |
| 22. | Late Bids | 22.1 | The Bidder may modify or withdraw its bid after the bid's submission, provided that written notice of the modification, including substitution or withdrawal of the bids, is received by the Purchaser prior to the deadline prescribed for submission of bids. |
| 23. | Modification and Withdrawal of Bids | 23.1 | Deleted |
|  |  | 23.2 | No bid may be modified after the deadline for submission of bids. |
|  |  | 23.3 | No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Form. Withdrawal of a bid during this interval may result in the Bidder's forfeiture of its EMD, pursuant to the ITB Clause 17.7. |
|  |  | 23.4 | Bidder has to ensure that signed and stamped copies of the tender document (all pages) is enclosed with the Bid. |
|  |  | 23.5 | Project completion limit is 3 months. |
| E. Opening and Evaluation of Bids |  |  |  |  |  | Based on the NIT, Pre bid queries and further communication, the Tender Committee (T.C.) will follow the following procedure for opening of the BID: TC will open all bids as per electronic bid opening procedure in the presence of bidders' representatives who choose to attend, at the time, on the date, and at the place decided by TC. The bidders' representatives who are present shall sign a register evidencing their attendance. The Financial Parts of the bids shall remain unopened in the e-procurement system, until the subsequent opening, following the evaluation of the Technical Parts of the Bids |
| 24. | Opening of Bids by the Purchaser | 24.1 | Deleted |
|  |  | 24.2 | BIADA will prepare minutes of the bid opening. |
|  |  | 24.4 | During evaluation of the bids, BIADA may, at its discretion, ask the Bidder for a clarification of its bid. The request for clarification and the response shall be in writing, and no change in the prices or substance of the bid shall be sought, offered, or permitted. If a Bidder does not provide clarifications of its bid by the date and time set in the Employer’s request for clarification, its bid may be rejected |
| 25. | Clarification of Bids | 25.1 | On the day of opening of bids, tender committee will open the technical bid. In the absence or default of tender fee and EMD the tender may be immediately rejected. |
| 26. | Preliminary Examination | 26.1 | Test of responsiveness Prior to the detailed evaluation, TC will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these Clauses, a substantially responsive bid is one which conforms to all the terms and conditions of the bidding documents without material deviations and contains all the required documentary evidence. A material deviation is one which affects in any substantial way the functionality, scope, quality or performance of the deliveries or which limits in any substantial way inconsistent with tender document, the Client’s rights or the bidder's obligations under the contract and the rectifications of which deviations would affect unfairly the competitive position of other bidders presenting substantially responsive bids. The determination of a bid's responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence. A bid determined as not substantially responsive will be rejected and may not subsequently be made responsive by the Bidder by correction of the non- conformity. Some of the critical things that are considered: - Bid is received before due date and time - Hard copy of technical bid received before due date and time - Completeness of the bid i.e. bid is submitted in desired form and format, all the formats given in tender document are duly filled and submitted along with required documentary proof (as clause no 1.15) - Proof of submission of EMD & tender fees - The bid is signed and stamped on each page by Authorized signatory (or as directed in tender document) - Conformity to eligibility criteria for turnover and experience - examine the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the bids are generally in order. Any bid found deficient in any or all of above can be summarily rejected Note: bidders are hereby advised to ensure that do not submit hard copy of financial bid along with hard copy of technical bid. In such case their bid will become invalid |
|  |  | 26.2 | The Purchaser may waive any minor informality, nonconformity, or irregularity in a bid which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of any Bidder. |
|  |  | 26.3 | Deleted |
|  |  | 26.4 | If a bid is not substantially responsive, it will be rejected by the TC and may not subsequently be made responsive by the Bidder by correction of the nonconformity. |
|  |  | 26.5 | Information relating to the evaluation of bids and recommendation of contract award, shall not be disclosed to Bidders or any other persons not officially concerned with such process until information on Contract award is communicated to all Bidders |
|  |  | 26.7 | Deleted |
| 27. | Conversion to Single Currency | 27.1 | Deleted |
|  |  | 27.2 | The TC will evaluate and compare the bids which have been determined to be substantially responsive, pursuant to ITB Clause 26. |
| 28. | Evaluation and Comparison of Bids | 28.1 | The bid evaluation is comprising of two stage i.e. Technical Bid evaluation and Financial Bid evaluation as follows; - Technical Bid Evaluation - The “Technical Bid Evaluation” of the bids shall be done for the technical aspects in accordance to criteria set out in Section-9 “Qualification Requirement & Technical Bid Evaluation Criteria” and bidders meeting the criteria will be shortlisted. - The shortlisted bidders as mentioned in ITB clause 28.2 will be called to make a presentation to BIADA on the system offered by them, if required. The presentation shall include the technical and operational advantages of their bid in terms of the technical aspects such as level of customisation, ease of operation, data security, operational cost, efficiency, availability of spares, after sales support and implementation schedule - BIADA may (at its own discretion) ask any or all of the shortlisted bidders to demonstrate successful operation of the system offered in North India or in Country, where it has been working successfully for at least three years. - Technical specification and minimum standards: - Bidders can quote for higher specifications, however all the bidders meeting the minimum standard will be considered for price bid opening and price comparison. The shortlisted candidates as mentioned in ITB clause 28.2.i.a will be called to demonstrate similar System in North India or in country. - After evaluating the technical documents, the PMC will submit the report of evaluation to the T.C and T.C. will decide the date of opening of Commercial Bid based on the evaluation report. The financial bids of only technically qualified bidders will be opened. BIADA will not entertain any query or clarification from Applicants who fail to qualify. - Qualification of Bidders for Financial Stage will be entirely at the discretion of BIADA. Applicants will be deemed to have understood and agreed that no explanation or justification on any aspect of the evaluation Process will be given. - Financial Bid Evaluation and Successful Bidder - Price bids of the bidders having qualified technical evaluation stage will be opened - The price bids will be checked for arithmetical & computational errors. Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail, and the total price shall be corrected. If the Supplier does not accept the correction of the errors, its bid will be rejected, and its EMD may be forfeited. if there is a discrepancy between words and figures, the lowest amount out of two will prevail The bidder quoting least price shall be designated as L1 bidder and shall be considered the successful bidder. |
|  |  | 28.2 | The Purchaser's evaluation of a financial bid will take into account, in addition to the bid price quoted in accordance with ITB Clause 13.2, one or more of the following factors as specified in the Bid Data Sheet, and quantified in ITB Clause 28.4. (a) cost of inland transportation, insurance, and other costs within the Purchaser's country incidental to delivery of the goods to their final destination (b) delivery schedule offered in the bid; (c) deviations in payment schedule from that specified in the Special Conditions of Contract; (d) the cost of components, mandatory spare parts, and service; (e) the availability of spare parts and after-sales services for the equipment offered in the bid; (f) the projected operating and maintenance costs during the life of the equipment; (g) the performance and productivity of the equipment offered; and/or - (h) other specific criteria indicated in the Bid Data Sheet and/or in the Technical Specifications. |
|  |  | 28.3 | For factors retained in the Bid Data Sheet pursuant to ITB 28.4, one or more of the following quantification methods will be applied, as detailed in the Bid Data Sheet: (a) Delivery Schedule The goods covered under this invitation are required to be delivered (shipped) within an acceptable range of weeks specified in the Schedule of Requirements. No credit will be given to earlier deliveries, and bids offering delivery beyond this range will be treated as nonresponsive. Within this acceptable range, an adjustment per week, as specified in the Bid Data Sheet, will be added for evaluation to the bid price of bids offering deliveries later than the earliest delivery period specified in the Schedule of Requirements. |
|  |  | 28.4 | (c) Deviation in payment schedule. (i) Bidders shall state their bid price for the payment schedule outlined in the SCC. Bids will be evaluated on the basis price. No deviation in payment schedule shall be entertained. (d) Cost of spare parts. (i) The list of items and quantities of major assemblies, components, and selected spare parts, likely to be required during the initial period of operation specified in the Bid Data Sheet, is to be provided by the bidder (specific for the equipment suggested by the bidder). The total cost of these items, at the unit prices quoted in each bid, will be added to the bid price. (e) Spare parts and after sales service facilities in North India. The cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined in the Bid Data Sheet or elsewhere in the bidding documents, if quoted separately, shall be added to the bid price. (f) Operating and maintenance costs. Since the operating and maintenance costs of the goods under procurement form a major part of the life cycle costs of the equipment, these costs will be evaluated in accordance with the criteria specified in the Bid Data Sheet or in the Technical Specifications. (g) Performance and productivity of the equipment. Goods offered shall have a minimum productivity specified under the relevant provision in the Technical Specifications to be considered responsive. Evaluation shall be based on the cost per unit of the actual productivity of goods offered in the bid, and adjustment will be added to the bid price using the methodology specified in the Bid Data Sheet or in the Technical Specifications. (h) Specific additional criteria indicated in the Bid Data Sheet and/or in the Technical Specifications. The relevant evaluation method shall be detailed in the Bid Data Sheet and/or in the Technical Specifications. |
|  |  |  | Deleted |
|  |  | 28.5 |  |
| 29. | Deleted |  | Subject to ITB Clause 25, no Bidder shall contact the Purchaser on any matter relating to its bid, from the time of the bid opening to the time the contract is awarded. "If the Bidder wishes to bring additional information to the notice of the Purchaser, it should do so in writing." |
| 30. | Contacting the Purchaser | 30.1 | Any effort by a Bidder to influence the Purchaser in its decisions on bid evaluation, bid comparison, or contract award may result in the rejection of the Bidder's bid. |
|  |  | 30.2 | Any effort by a Bidder to influence the Purchaser in its decisions on bid evaluation, bid comparison, or contract award may result in the rejection of the Bidder's bid. |
| F. Award of Contract |  |  |  |  |  |  |
|  |  |  | Subject to ITB Clause 33, the Purchaser will award the contract to the successful Bidder whose bid has been determined to be substantially responsive and has been determined to be the lowest evaluated price bid, provided further that the Bidder is determined to be qualified to perform the contract satisfactorily. |
| 31. | Award Criteria | 31.1 | The Purchaser reserves the right at the time of contract award to increase or decrease, the quantity of goods and services originally specified in the Schedule of Requirements without any change in unit price or other terms and conditions. |
| 32. | Purchaser's Right to Vary Quantities at Time of Award | 32.1 | The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to the affected Bidder or bidders or any obligation to inform the affected Bidder or bidders of the grounds for the Purchaser's action. |
| 33. | Purchaser's Right to Accept any Bid and to Reject any or All Bids | 33.1 | Prior to expiration of the period of bid validity, the Purchaser will notify the successful Bidder in writing by email or by cable, to be confirmed in writing by registered letter, that its bid has been accepted. |
| 34. | Notification of Award | 34.1 | The notification of award will constitute the formation of the Contract. |
|  |  | 34.2 | Upon the successful Bidder's furnishing of the performance security pursuant to ITB Clause 36, the Purchaser will promptly notify each unsuccessful Bidder and will discharge its EMD, pursuant to ITB clause 17. |
|  |  | 34.3 | At the same time as the Purchaser notifies the successful Bidder that its bid has been accepted, the Purchaser will send the Contract Form provided in the bidding documents, incorporating all agreements between the parties. |
| 35. | Signing of Contract | 35.1 | Within twenty-one (21) days of receipt of the Contract Form, the successful Bidder shall sign and date the contract and return it to the Purchaser. |
|  |  | 35.2 | Within twenty-one (21) days of the receipt of notification of award from the Purchaser, the successful Bidder shall furnish the performance security in accordance with the Special Conditions of Contract, in the Performance Security Form provided in the bidding documents, or in another form acceptable to the Purchaser. |
| 36. | Performance Security | 36.1 | Failure of the successful Bidder to comply with the requirement of ITB Clause 36.1 shall constitute sufficient grounds for the annulment of the award and forfeiture of the EMD, in which event the Purchaser may make the award to the next lowest evaluated Bidder or call for new bids. |
|  |  | 36.2 | The Purchaser requires Bidders / Suppliers / Contractors observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Purchaser: (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) "corrupt practice" means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and (ii) "fraudulent practice" means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition. (b) Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question; (c) Will declare a firm ineligible, either indefinitely or for a stated period of time, if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a contract. |
| 37. | Corrupt or Fraudulent Practices | 37.1 | Furthermore, Bidders shall be aware of the provision stated in sub-clause 5.4 and sub-clause 24.1 of the General Conditions of Contract. |
|  |  | 37.2 |  |

# BID DATA SHEET

ITB BID DATA SHEET

The following specific data for the goods to be procured shall complement, supplement or amend the provisions in the Instructions to Bidders (ITB). Wherever there is a conflict/deviation, the provisions herein shall prevail over those in ITB.

| Clause | - General |
| --- | --- |
| ITB 1.1 | Name of the Purchaser/Client: - Managing Director BIADA, BIHAR |
| Section-6 | Requirements: - Supply , installation, Testing and commissioning of different machines |
| ITB 8.1 | Purchaser’s Address: - Managing Director BIADA, BIHAR, |
| ITB 2 | Bidding Process BIADA has adopted Single stage (collectively referred as Bidding Process) for section of the bidder for award of the work. |
| ITB 3.1 | Schedule of Bidding Process The BIADA shall endeavor to adhere to the following schedule: Particulars; Date &Time. 1.; Start Date of Downloading of tender documents; 26/06/2026. 2.; Pre-Bid Meeting Date & Time; 30/06/2026 3.00 pm. 3.; Last Date & Time of Submission of tenders online; 15/07/2026 till 05.00 pm. 4.; Last Date & Time of Submission of hard copy of technical bids; 16/07/2026 till 03.00 pm. 5.; Date of opening of Technical Bid; 16/07/2026 till 03.30 pm. 6.; Date of opening of Financial Bid; After evaluation of Technical Bid. *If bid due date or date of opening is declared as a holiday by Govt. the bids will be opened at the same time of next working day. |
| ITB 2,11 & 12 | Financial Bid is to be uploaded along with technical bid Price bids of only the bidders qualifying technical bid stage will be opened. |
| ITB 13.2(a)(iii) | The final destination of the Goods/services: Central Processing Centre (CPC) at Industrial Area Donar, Darbhanga. |
| ITB 13.2(a)(iv) | Incidental Services to be provided by the bidder: - Clause 8 of ‘Special Conditions of Contract’ gives the details of it. |
| ITB 13.2(a) | Deleted |
| ITB 13.5 | The prices shall be fixed during the currency of the contract. Except for the statutory variations in taxes &/ or duties occurring during the contracted delivery period. |
| ITB14.1(b) | The bidders whether domestic or international shall quote the prices in INR only. |
|  | Preparation and Submission of Bids |
| ITB 10.1 | Language of the bid: English |
| ITB 11 | The Technical Bid shall comprise the following; - Application Form as format specified in Appendix-A - Details of Bidder as format specified in Appendix-B - Detailed Technical Specifications, make model, Country of Origin BoQ etc. and any other relevant data, information of each items offered as per section 8 - Power of Attorney for Signing of Application as format specified in Appendix-C - Manufacturer’s Authorization Form as format given in Appendix-L (if Applicable) - EMD along with EMD Form as Format specified in Appendix-I - Performance Statement Form as specified in Appendix-M - Financial Capability credentials and Supporting documents as specified in Appendix- N - Complete tender document along with all the subsequent corrigendum’s and clarifications duly signed and stamped on every page as a token of acceptance of tender conditions. - All the documents mention in eligibility criteria |
|  | The Financial (Price) Bid shall comprise the following; - Price Bid Form (Appendix-E) - Price Schedule for Goods to be supplied from Within Country Appendix-F) - Price Schedule for Goods to be Imported (Appendix-G) - Price for Annual Maintenance & Repair Cost (Appendix-H) |
| ITB15.3(d) | Qualification Requirement: - As given in Section 9 |
| ITB17.1 | EMD as given in ITB 17.1 |
| ITB18.1 | Bid Validity shall be 120 days from the date of opening of the Bid |
| ITB19.1 | Number of hard copies of technical Bid to be submitted: -one |
|  | C. Opening and Bid Evaluation |
| ITB 24.1 | Time, date and place for the Technical bid opening Date 16/07/2026 Time: 15.30 Hours IST Technical Section, BIADA, 1st Floor, East Gandhi Maidan, Patna-800004 In the event of the specified date of the bid opening, being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day. |
| ITB 28.2. i | Evaluation of Technical Bid The technical Bid shall be evaluated based on the criteria set out in sections-8, Qualification Requirements & Technical Bid Evaluation Criteria” |
| ITB 28.2. ii | Evaluation of Financial Bid The lowest evaluated financial Bid shall be considered as successful Bidder as defined in clause 28.2 (ii) (C) In case of more than one bids at Lowest Price Quote (L1), the criteria set out in ITB clause 28.5. (a) will be used to decide successful Bidder. |
| ITB27.2 | Currency chosen for the purpose of converting to a common currency is Indian Rupees |
|  | D. Award & Post- Award of Contract |
| ITB 35.2 | Signing of Contract Within twenty-one (21) days of receipt of the Contract Form, the successful Bidder shall sign and date the contract and return it to the Purchaser. |
| ITB 36.1 | Performance Security Within twenty-one (21) days of the receipt of notification of award from the Purchaser, the successful Bidder shall furnish the performance security in accordance with the Special Conditions of Contract, in the Performance Security Form provided in the bidding documents, or in another form acceptable to the Purchaser. |

# GENERAL CONDITIONS OF CONTRACT

# Table of Clauses

# Definitions

# Application

# Country of Origin

# Standards

# Use of Contract Documents and Information

# Patent Rights

# Performance Security

# Inspections and Tests

# Packing

# Delivery and Documents

# Insurance

# Transportation

# Incidental Services

# Spare Parts

# Warranty

# Payment

# Prices

# Change Orders

# Contract Amendments

# Assignments

# Subcontracts

# Delays in Supplier's Performance

# Liquidated Damages

# Termination for Default

# Force Majeure

# Termination for Convenience

# Resolution of Disputes

# Governing Language

# Applicable Law

# Notices

# Taxes and Duties

# General Condition of Contract

# Definitions

# In this Contract, the following terms shall be interpreted as indicated:

# "The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the contract form signed by the parties, including all the attachments and appendices thereto and all documents incorporated by reference therein;

# "The contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations;

# "The Goods" means all the equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract;

# "Services" means services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training and other obligations of the Supplier covered under the Contract;

# "GCC" means the General Conditions of Contract contained in this section.

# "SCC" means the Special Conditions of contract.

# "The Purchaser" means the organization purchasing the goods, as named in SCC.

# "The Purchaser's country" is the country named in SCC.

# "The Supplier" means the individual or firm supplying the Goods and Services under this Contract.

# "The Project Site", where applicable, means the place or places/locations named in SCC.

# "Day" means calendar day.

# Application

# These General Conditions shall apply to the extent that they are not supersede clause by provisions in other parts of the Contract.

# Country of Origin

# All Goods and Services supplied under the Contract shall have their origin in the countries and territories eligible under the rules of the Govt. of India as further elaborated in SCC.

# For purposes of this Clause "origin" means the place where the Goods are mined, grown or produced, or from which the Services are supplied. Goods are produced when, through manufacturing, processing or substantial and major assembling of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from its components.

# The origin of Goods and Services is distinct from the nationality of the Supplier.

- Standards

4.1 	The Goods supplied under this Contract shall conform to the standards mentioned in the Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standard appropriate to the Goods' country of origin and such standards shall be the latest issued by the concerned institution.

- Use of Contract Documents and Information; Inspection and Audit by the Bank

  - The Supplier shall not, without the Purchaser's prior written consent, disclose, or any provision thereof, or any specification, plan, drawing, pattern, sample or information furnished by or on behalf of the Purchase connection therewith, to any person other than a person employed by the Supplier in performances of the Contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance.

  - The Supplier shall not, without the Purchaser's prior written consent, make use of any document or information enumerated in GCC Clause 5.1 except for purposes of performing the Contract.

  - Any document, other than the Contract itself, enumerated in GCC Clause 5.1 shall remain the property of the Purchaser and shall be returned (in all copies) to the Purchaser on completion of the Supplier's performance under the Contract if so required by the Purchase.

  - The supplier shall permit the Bank to inspect the Supplier's accounts and records relating to the performance the Supplier and to have them audited by auditors appointed by the Bank, if so required by the Bank.

- Patent Rights

  - The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods any part thereof in India.

- Performance Security

  - Within 21 days of receipt of the notification of contract award, the Supplier shall furnish performance security in the amount specified in SCC.

  - The proceeds of the performance security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier's failure to complete its obligations under the Contract.

  - The Performance Security shall be denominated in Indian Rupees and shall be in one of the following forms:

- A Bank guarantee or irrevocable Letter of Credit, issued by a nationalized/schedule bank, in the form provided in the bidding documents or another form acceptable to the Purchaser; or.

- A banker's cheque or crossed demand draft or pay order drawn in favour of the Purchaser.

  - The Performance Security will be discharged by the Purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier's performance obligations, including the warranty obligation, under the contract.

In the event of any contract amendment, the Supplier shall, within 21 days of receipt of such amendment, furnish the amendment to the Performance Security, rendering the same valid for the duration of the Contract, as amended for further period of 60 days thereafter.

- Inspections and Tests

8.1	The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Purchaser. SCC and the Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted. The Purchaser shall notify the Supplier in writing in a timely manner of the identity of any representatives retained for these purposes.

  - The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery and/or at the Goods final destination. If conducted on the premises of the supplier or its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data-shall be furnished to the inspectors at no charge to the Purchaser.

  - Should any inspected or tested Goods fail to conform to the specifications, the Purchaser may reject the goods and the Supplier shall either replace the rejected Goods or make alternations necessary to meet specification requirements free of cost to the Purchaser.

  - The Purchaser's right to inspect, test and, where necessary, reject the Goods after the Good's arrival at Project Site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the Goods shipment.

  - Nothing in GCC Clause 8 shall in any way release the Supplier from any warranty or other obligations under this Contract.

  - Manuals and Drawings

    - Before the goods and equipment are taken over by the Purchaser, the Supplier shall supply operation and maintenance manuals together with drawings of the goods and equipment.  These shall be in such detail as will enable the Purchaser to operate, maintain, adjust and repair all parts of the equipment as stated in the specifications.

    - The manuals and drawings shall be in the ruling language (English) and in such form and numbers as stated in the contract.

    - Unless and otherwise agree, the goods and equipment shall not be considered to be completed for the purpose of taking over until such manuals and drawings have been supplied to the Purchaser.

8.7	Acceptance Certificates:

8.7.1	On successful completion of acceptability test, receipt of deliverables etc, and after the purchaser is satisfied with the working of the system, the acceptance certificate signed by the supplier and the representative of the purchaser will be issued within a mutually agreed time/period. The date on which such certificate is singed shall be deemed to be the date of successful commissioning of the systems.

- Packing

  - The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

  - The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided for in the Contract including additional requirements, if any, specified in SCC and in any subsequent instructions ordered by the Purchaser.

  - Packing Instructions

      - The supplier will be required to make separate packages for each Consignee.  Each package will be marked on three sides with proper paint/indelible ink with the following:

- Project;

- Contract No.;

- Country of Origin of Goods;

- Supplier's Name; and

- Packing List Reference Number.

- Delivery and Documents

  - Delivery of the Goods shall be made by the Supplier in accordance with the terms specified by the Purchaser in the Notification of Award. The details of shipping and/or other documents to be furnished by the supplier are specified in SCC.

- Insurance

  - The Goods supplied under the Contract shall be fully insured in Indian Rupees / or freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the manner specified in SCC.

- Transportation

  - Where the Supplier is required under the Contract to deliver the Goods FOB, transport of the Goods up to and including the point of putting the Goods on board the vessel at the specified port of loading, shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price.  Where the Supplier is required under the Contract to deliver the Goods FCA, transport of the Goods and delivery into the custody of the carrier at the place named by the Purchaser or other agreed point shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price.

  - Where the Supplier is required under the Contract to deliver the Goods CIF or CIP, transport of the Goods to the port of destination or such other named place of destination in the Purchaser's country, as shall be specified in the Contract, shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price.

  - Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within India defined as Project site, transport to such place of destination in India including insurance, as shall be specified in the Contract, shall be arranged by the Supplier, and the related cost shall be included in the Contract Price.

  - Where the Supplier is required under the Contract to deliver the Goods CIF or CIP, no restriction shall be placed on the choice of the carrier.  Where the Supplier is required under the Contract (a) to deliver the Goods FOB or FCA, and (b) to arrange on behalf and at the expense of the Purchaser for international transportation on specified carriers or on national flag carriers of the Purchaser's country, the Supplier may arrange for such transportation on alternative carriers if the specified carriers or national flag carriers are not available to transport the Goods within the period(s) specified in the Contract.

- Incidental Services

  - The supplier may be required to provide any or all of the following services, including additional services, if any specified in SCC:

- performance or supervision of the on-site assembly and/or start-up of the supplied Goods;

- furnishing of tools required for assembly and/or maintenance of the supplied Goods;

- furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

- performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

- training of the Purchaser's personnel, at the Supplier's plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

  - Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services.

- Spare Parts

  - As specified in the SCC, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier;

- such spare parts as the Purchaser may elect to purchase from the Supplier, providing that this election shall not relieve the Supplier of any warranty obligations under the Contract; and

- In the event of termination of production of the spare parts;

  - advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and

  - following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings and specifications of the spare parts, if requested.

  - Supplier shall carry sufficient inventories to assure ex-stock supply of consumables and spares for the Goods.  Other spare parts and components shall be supplied as promptly as possible but in any case within six months of placement of order.

- Warranty

  - The Supplier warrants that the Goods supplied under this Contract are new, unused, of the most recent or current models and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except when the design and/or material is required by the Purchaser's specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.

  - This warranty shall remain valid for 12 months after the Goods or any portion thereof as the case may be, have been installed and successful commissioned and accepted at the final destination indicated in the Contract, or for 18 months after the date of shipment from the place of loading whichever period concludes earlier, unless specified otherwise in the SCC.

  - The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty.

  - Upon receipt of such notice, the Supplier shall, within the period specified in SCC and with all reasonable speed, repair or replace the defective goods or parts thereof, free of cost at the ultimate destination. The Supplier shall take over the replaced parts/goods at the time of their replacement. No claim whatsoever shall lie on the Purchaser for the replaced parts/goods thereafter.

  - In the event of any correction of defects or replacement of defective material during the warranty period, the warranty for the corrected/replaced material shall be extended to a further period of 12 months.

  - The period for correction of defects in the warranty period is 7 days.

  - If any equipment gives continuous trouble, say six times in one month during the warranty period, the supplier shall replace the system with new system without any additional cost to the purchaser.

  - If the Supplier, having been notified, fails to remedy the defect(s) within the period specified in SCC, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

- Payment

  - The method and conditions of payment to be made to the Supplier under this Contract shall be specified in the SCC.

  - The Supplier's request(s) for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and the Services performed, and by documents, submitted pursuant to GCC Clause 10, and upon fulfilment of other obligations stipulated in the contract.

  - Payments shall be made promptly by the Purchaser but in no case later than sixty (60) days after submission of the invoice claim by the Supplier.

  - The currency or currencies in which payment is made to the Supplier under this Contract shall be specified in SCC subject to the following general principle:

'Payment will be made in the currency or currencies in which the payment has been requested in the Supplier's bid.'

- Prices

  - Prices payable to the supplier as stated in the contract shall be fixed during the performance of the contract.

- Change Orders

  - The Purchaser may at any time, by written order given to the Supplier pursuant to GCC Clause 31, make changes within the general scope of the Contract in any one or more of the following;

- drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

- the method of shipping or packing;

- the place of delivery; and/or

- the Services to be provided by Supplier

  - If any such change causes and increase or decrease in the cost of , or the time required for, the Supplier's performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier's receipt of the Purchaser's change order.

- Contract Amendments

  - Subject to GCC Clause 18, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

- Assignment

  - The Supplier shall not assign, in whole or in part, its obligations to perform under the Contract, except with the Purchaser's prior written consent.

21	Subcontracts

  - The Supplier shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in the bid. Such notification, in his original bid or later, shall not relieve the Supplier from any liability or obligation under the Contract.

  - Subcontracts must comply with the provisions of GCC Clause 3.

- Delays in the Supplier's Performance

  - Delivery of the Goods and performance of the Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in the Schedule of Requirements. Sub- contract shall be only for bought -out items and sub-assemblies.

  - If at any time during performance of the Contract, the Supplier or its sub-contractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Purchaser shall evaluate the situation and may, at its discretion, extend the Supplier's time for performance with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of the Contract.

  - Except as provided under GCC Clause 25, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 23, unless and extension of time is agreed upon pursuant to GCC Clause 22.2 without the application of liquidated damages.

- Liquidated Damages

  - Subject to GCC Clause 25, if the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in SCC of the delivered price of he delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the Percentage specified in SCC. Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 24.

- Termination for Default

  - The Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the Supplier, terminate the Contract in whole or part:

- if the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause22; or

- if the Supplier fails to perform any other obligation(s) under the Contract.

- If the Supplier, in the judgment of the Purchaser has engaged in corrupt or fraudulent practices in competing for or in executing the Contract.

For the purpose of this Clause:

"Corrupt practice" means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

"fraudulent practice" means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Borrower of the benefits of free and open competition.

  - In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 24.1, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and Supplier shall be liable to the purchaser for any excess cost for such similar Goods or Services.  However, the Supplier shall continue the performance of the Contract to the extent not terminated.

- Force Majeure

  - Notwithstanding the provisions of GCC Clause 22, 23, 24, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages or termination for default, if and to the extent that, its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

  - For purposes of this Clause, "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

  - If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof, unless of otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

- Termination for Insolvency

  - The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

- Termination for Convenience

  - The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser's convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

  - The Goods that are complete and ready for shipment within 30 days after the Supplier's receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect:

- to have any portion completed and delivered at the Contract terms and prices; and/or

- to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for materials and parts previously procured by the Supplier.

- Settlement of Disputes

  - The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

  - If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given.

    - Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract.

    - Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC.

  - Notwithstanding any reference to arbitration herein.

- the supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser; and

- the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

  - The dispute resolution mechanism to be applied pursuant to GCC Clause 28 shall be as follows:

- In case of Dispute or difference arising between the Purchaser and a domestic supplier relating to any matter arising out of or connected with this agreement such disputes or difference shall be settled in accordance with the Arbitration and Conciliation Act, 1996. The arbitral tribunal shall consist of 3 arbitrators one each to be appointed by the Purchaser and the Supplier. The third Arbitrator shall be chosen by the two Arbitrators so appointed by Parties and shall act as presiding arbitrator. In case of failure of the two arbitrators appointed by the parties to reach upon a consensus within a period of 30 days from the appointment of the arbitrator appointed subsequently, the Presiding Arbitrator shall be appointed by the President of the Institutions of Engineers (India).

- If one of the parties fails to appoint its arbitrator in pursuance of sub-clause (a) above, within 30 days after receipt of notice of appointment of its arbitrator by the other party, then the President of Institution of Engineers (India) both in cases of the Foreign supplier as well as Indian supplier, shall appoint the arbitrator. A certified copy of the order of the President of Institution of Engineers (India) making such an appointment shall be furnished to each of the parties.

- The Jurisdiction for all Arbitration proceedings shall be at BIHAR, India and the language of arbitration proceedings and that of all documents and communications between the parties shall be English.

- The decision of majority of arbitrators shall be final and binding upon both parties. The cost and expenses of Arbitration proceedings will be paid as determined by the arbitral tribunal. However, the expenses incurred by each party in connection with the preparation, presentation etc. of its proceedings as also the fees and expenses paid to the arbitrator appointed by such party or on its behalf shall be borne by each party itself.

- Where the value of the contract is Rs. 10 million and below, the disputes or differences arising shall be referred to the Sole Arbitrator, The Sole Arbitrator should be appointed by agreement between the parties; failing such agreement, by the appointing authority namely the President of the Institution of Engineers (India).

- Limitation of Liability

  - Except in cases of criminal negligence or wilful misconduct, and in the case of infringement pursuant to Clause 6,

- the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser; and

- the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

  - Governing Language

  - The contract shall be written in English language. Subject to GCC Clause 30, English language version of the Contract shall govern its interpretation. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

- Applicable Law

  - The Contract shall be interpreted in accordance with the laws of the Union of India.

- Notices

  - Any notice given by one party to the other pursuant to this Contract shall be sent to other party in writing or by cable, telex or facsimile and confirmed in writing to the other Party's address specified in SCC.

  - A notice shall be effective when delivered or on the notice's effective date, whichever is later.

- Taxes and Duties

  - The foreign supplier shall be entirely responsible for all Indian taxes, stamp duties, license fees, and other such levies imposed outside the purchaser's country.

  - The local suppliers shall be entirely responsible for all taxes, duties, license fees, octroi, road permit, etc., incurred until delivery of the contracted Goods to the Purchaser.

# SPECIAL CONDITIONS OF CONTRACT

Special Conditions of Contract

The following Special Conditions of Contract shall supplement the General Conditions of Contract.  Whenever there is a conflict, the previsions herein shall prevail over those in the General Conditions of Contract.  The corresponding clause number of the General Conditions is indicated in parentheses.

- Definitions (GCC Clause 1):

  - The Purchaser is the organization purchasing the goods. i.e. BIADA

  - The Supplier is the individual or firm supplying the Goods and Services under this Contract

- Country of Origin (GCC Clause 3):

  - All countries and territories unless restricted by Govt. of India.

- Performance Security (GCC Clause 7):

  - Within 21 days after the Supplier's receipt of Notification of Award, the Supplier shall furnish Performance Security to the Purchaser for an amount of 10% of the Contract value, valid up to Ninety (90) days after the date of completion of performance obligations including warranty obligations.

  - In the event of any correction of defects or replacement of defective material during the warranty period, the warranty for the corrected/replaced material shall be extended to a further period of 12 months and the Performance Security for proportionate value shall be extended Ninety (90) days over and above the extended warranty period.

- Inspection and Tests (GCC Clause 8):

  - The supplier will dispatch the goods to the ultimate consignee after internal inspection testing along with the, supplier's inspection report and manufacturer's warranty certificate.  The purchaser will test the equipment after completion of the installation.

  - The acceptance test will be conducted by the consignee.  The acceptance will involve trouble-free operation for three consecutive days.  There shall not be any additional charges for carrying out acceptance tests.

- Delivery and Documents (GCC Clause 10):

For Goods Supplied from abroad:

Upon delivery of the goods to the consignee, the supplier shall notify the purchaser by cable/telex/fax the full details of the shipment including contract number, description of goods, quantity, name of the consignee etc. The supplier shall mail the following documents to the purchaser.

- 2 Copies of the Supplier invoice showing contract number, goods description, quantity, unit price, total amount;

- Acknowledgment of receipt of goods from the Consignee(s);

- B/L & Insurance Certificate;

- Manufacturer's/Supplier's warranty certificate;

- The Supplier's factory inspection report; and

- Certificate of Origin.

- Insurance (GCC Clause 11):

  - For delivery of goods at site, the insurance shall be obtained by the Supplier in an amount equal to 110% of the value of the goods from "warehouse to warehouse" (final destinations) on "All Risks" basis including War Risks and Strikes. A copy of insurance may be given to BIADA

- Incidental Services (GCC Clause 13):

  - The following services shall be furnished and the cost shall be included in the contract price:

- Performance of the on-site assembly, commissioning and start-up of the equipment.

- Furnishing the detailed operation and maintenance manuals (2 sets each) for each items of supply at each location.

- Training and demonstration of the Purchaser's personnel at the Supplier's office or other facility for a period of 1 month which is extendable to 3 months to establish the synchronization of the entire package.

- Maintenance and repair of the supplied goods for a period of three years after the end of the warranty period.  The bidder should indicate the spares and their costs, if any, which are not, included in the maintenance contracts.

- Furnishing of appropriate hardware, system design and programming services required for development and/or maintenance of the supplied goods.

- Maintenance Service

  - Free maintenance services shall be provided by the Supplier during the period of warranty.

  - The maximum response time for maintenance complaint from any of the destinations specified in the Schedule of Requirement (i.e. time required for supplier's maintenance engineer to report at the installation after a request call/telegram is made or letter is written) shall not exceed 24 hours.

  - Warranty period-1 year

  - Spare parts for ten years

- Payment (GCC Clause 16)

Payment for Goods and Services shall be made in Indian Rupees/currency of the bid as follows:

- Fifty (50%) percent of the contract value pro rata against delivery of material at site.

- Thirty (30%) percent of the contract value after erection, fabrication, installation and commissioning as per approved design/specifications.

- Balance Ten (10%) percent after successful trial run of the equipment / system and certification by the purchaser/user (Consignee).

- Release of payments is subject to submission of the performance bank guarantee of 10% of the total order value as Security by the supplier from any Nationalized or Scheduled bank within 15 days from the award of contract valid till ninety (90) days beyond the end of Warranty period.

- Liquidated Damages (GCC Clause 23):

  - For Delays:

GCC Clause 23.1: The applicable rate is 0.5 percent per week and the Maximum Deductions 10% of contract price. After that contract will be terminated

- Notices (Clause 31):

For the purpose of all notices, the following shall be the address of the Purchaser and Supplier.

Purchaser:	Name 		Managing Director

Address	BIADA

Patna

Supplier:	Name 		......................................................

Address	......................................................

......................................................

Ph. No.	......................................................

Fax No. 	......................................................

E-mail ID	......................................................

- Supplier shall regularly intimate progress of supply, in writing, to the Purchaser as under:

- Quantity offered for inspection and date;

- Quantity accepted/rejected by inspecting agency and date;

- Quantity dispatched /delivered to consignees and date;

- Quantity where incidental services have been satisfactorily completed with date;

- Quantity where rectification/repair/replacement effected/completed on receipt of any communication from consignee/Purchaser with date;

- Date of completion of entire Contract including incidental services, if any; and

- Date of receipt of entire payments under the Contract

(in case of stage-wise inspection, details required may also be specified).

- If after delivery, acceptance and installation and within the guarantee and warranty period, the operation or use of the equipment prove to be unsatisfactory, the Purchase shall have the right to continue to operate or use such equipment until rectifications of defects, error or omissions by repair or by partial or complete replacement is made without interfering with the Purchaser's operation.

- Supplier Integrity:

The supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract using state-of-the-art methods and economic principle and exercising all means available to achieve the performance specified in the Contract.

- Supplier's Obligations:

  - The supplier is obliged to work closely with the Purchaser's staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

  - The supplier will abide by the job safety measures prevalent in India and will free the Purchaser form all demand or responsibilities arising from accidents or loss of life the cause of which is the Supplier's negligence.  The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.  Supplier shall cover all their workman under 'Workman Compensation Act' and shall not pass on any liability whatsoever to Purchaser.

  - The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Purchaser.

  - Patent Rights

    - In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of the Goods or any part thereof in the Purchaser's country, the supplier shall act expeditiously to extinguish such claim.  If the supplier fails to comply and the purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses, court costs and lawyer, fees.  The purchaser will give notice to the supplier of such claim, if it is made, without delay.

  - Site Preparation and Installation

    - The Purchaser is solely responsible for making ready the sites in compliance with the technical and environment specifications defined by the Supplier.  The Purchaser will designate the installation site before the scheduled installation date to allow the Supplier to perform a site inspection to verify the appropriateness of the sites before the installation of the hardware.

  - Training

    - The Supplier is required to train the designated Purchaser's technical and end-user personnel to enable them to effectively operate the total system.  The training schedule will be agreed to by both parties during the performance of the Contract.

  - Technical Document

    - The Technical Documentation involving detailed instruction for operation and maintenance is to be delivered with every unit of the equipment supplied.  The language of the documentation should be English.

# BID FORM, PRICE SCHEDULES AND OTHER FORMATS

INDEX

Appendix	Contents

- Letter of Application

- Details of Bidder

- Format for Power of Attorney for Signing of Application

- Deleted

- Price Bid Form

- Price Schedule for Goods to be supplied from within country

- Price Schedule for Goods to be imported

- Price for Annual Maintenance and Repair Cost Including Warranty Period

- EMD Form

- Contract Form

- Performance Security Form

- Manufacturer's Authorization Form

- Performance Statement

- Financial Capability and Supporting Documents

Appendix-A

LETTER OF APPLICATION

(On the Letter head of the Applicant)

Date:

To,

Ref:  Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga.

Sir,

Being duly authorized to represent and act on behalf of _______________ (hereinafter referred to as “the Applicant”), and having reviewed and fully understood all of the pre-qualification requirements and information provided, the undersigned hereby apply for qualification for the project referred above.

We are enclosing our Application (Technical Bid) with the details as per the requirements of the DNIT, for your evaluation.

(Authorized Signatory)

Full Name:

Address:

Appendix-B

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga.

Details of Bidder

      - (a) Name of Bidder

(b) Address of Office (s)

(c) Date of incorporation and/or commencement of business

      - Brief description of the business entity including details of its main lines of business and proposed roles and responsibilities in this Project.

      - Details of individual (s) who will serve as the point of contact / communication for AWARDER within the Company

(a) Name		:

(b) Designation        	:

(c) Business Entity 	:

(d) Address             	:

(e) Telephone No. 	:

(f) E-mail Address 	:

(g) Fax No.             	:

(h) Mobile number 	:

      - Name, Designation, Address and Phone Nos. of Authorized Signatory of the Applicant:

(a) Name		:

(b) Designation	:

(c) Address		:

(c) Telephone No. 	:

(d) E-mail address	:

(e) Fax No. 		:

Appendix-C

FORMAT FOR POWER OF ATTORNEY FOR SIGNING OF APPLICATION

(On Stamp paper of relevant value)

POWER OF ATTORNEY

Know all men by these presents, we__________________________ (name and address of the registered office) do hereby constitute, appoint and authorize Mr. / Ms. __________________________ (name and address of residence) who is presently employed with us and holding the position of ______________________ as our attorney, to do in our name and on our behalf, all such acts, deeds and things necessary in connection with or incidental to our bid for the project envisaging Supply, installation, commissioning & Trial Run of Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar( Darbhanga), including signing and submission of all documents and providing information / responses to BIADA, representing us in all matters before BIADA, and generally dealing with BIADA in all matters in connection with our bid for the said Project.

We hereby agree to ratify all acts, deeds and things lawfully done by our said attorney pursuant to this Power of Attorney and that all acts, deeds and things done by our aforesaid attorney shall and shall always be deemed to have been done by us.

Dated this the _____ Day of-----------------, ………

For ___________________________

(Signature)

(Name, Title and Address)

Signing on behalf of the Bidder

Accepted

………………………… (Signature)

(Name, Title and Address of the Attorney)

Appendix-D

Deleted

Appendix-E

PRICE BID FORM

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga.

Date: .........................

Loan No.: .................

Contract No.: ............

TO: (Name and address of Purchaser)

Gentlemen and/or Ladies:

Having examined the Bidding Documents including Addenda Nos......................[insert number], the receipt of which is hereby duly acknowledged, we the undersigned, offer to supply and deliver ............................................................... (Description of Goods and Services) in conformity with the said bidding documents for the sum of ............................ (Total bid amount in words and figures) or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this bid.

We undertake, if our bid is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our bid is accepted, we will obtain the guarantee of a bank in a sum equivalent to ........ percent of the Contract Price for the due performance of the Contractor, in the form prescribed by the Purchaser.

We agree to abide by this bid for a period of ............... (number) days after the date fixed for bid opening under Clause 22 of the Instruction to Bidders and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal contract is prepared and executed, this bid, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely "Prevention of Corruption Act 1988".

Commission or gratuities, if any, paid or to be paid by us to agents relating to this Bid, and to contract execution if we are awarded the contract, are listed below:

Amount                                Rupees                                                                                                        k

Name and						    Purpose of Commission

address of agent						    or gratuity

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(if none, state "none").

We understand that you are not bound to accept the lowest or any bid you may receive.

Dated this ........... day of .............................. 20 .............

_______________________________	                ___________________________________

(signature)						 (in the capacity of)

Duly authorized to sign Bid for and on behalf of __________________________________________

Appendix-F

Price Schedule for Goods to be supplied from within country

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga

Name of Bidder ------------------------------------------------------------------------ Page ------------ of ------------------------

| 1 | 2 | 3 | 4 | 5 |  |  | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Price for each unit |  |  |  |  |  |  |  |  |
| Schedule No. | Item Description | Quantity & Unit | Unit Price (delivered at site) (a) | Taxes (b) | Transportation, insurance and other costs incidental to delivery (c) | Incidental services as given in SCC Clause 8 except for annual maintenance charges which should be quoted separately (d) | Unit Price a+b+c+d | Total Price 3*6 |

Total bid price in Rupees	.......................

In Words		.......................

Appendix-G

Price Schedule for Goods to be imported

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga

Name of Bidder ------------------------------------------------------------------------ Page ------------ of ------------------------

| 1 | 2 | 3 | 4 | 5 |  |  |  | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Price for each unit |  |  |  |  |  |  |  |  |  |  |  |  |
| Schedule No. | Item Description | Country of Origin | Quantity & Unit | Unit Price FOB Port of loading (a) | CIF at Port of Entry of CIP ____ (b) | Inland transportation, insurance and other local costs incidental to delivery (c) | Incidental services as given in SCC Clause 8 except for annual maintenance charges which should be quoted separately (d) | Unit Price a+b+c+d | Total Price 4 x 6 | Indian Agent's Name | Indian Agent's commission as a % of FOB price included in the quoted price | Shipment weight & volume |

Total bid price in Rupees	.......................

In Words		.......................

a)      In case of discrepancy between unit price and total price, the unit price shall prevail.

b)	Indian Agent's commission shall be paid in Indian Rupees only.

No change due to exchange variation shall be allowed.  Market exchange rate ruling on the date of award in accordance with Clause 12 of Instruction to Bidders will be applicable for this purpose

c)	Charges for annual maintenance for 3 years should be quoted separately in annexed price schedule.

Signature of Bidder .......................

Name

Business Address

Place:

Date:

Appendix-H

PRICE FOR ANNUAL MAINTENANCE AND REPAIR COST INCLUDING WARRANTY PERIOD

< name and number of the tender >

| A | B | C | D |  | E |  |
| --- | --- | --- | --- | --- | --- | --- |
| Pack No. | Item Description | Qty. | Annual Maintenance & Repair cost for each unit |  | Total Maintenance charges |  |
|  |  |  | Indian Rupees | Currency (Specify) | Indian Rupees | Currency (Specify) |

Note: In case of discrepancy between unit price and total price, the unit price shall prevail.

Signature of Bidder	-------------------------------

Name			-------------------------------

Business address	-------------------------------

Place:

Date:

Appendix-I

EMD FORM

Whereas ...................................... (hereinafter called "the Bidder") has submitted its bid dated ............................ (date of submission of bid) for the supply of .................................................. (name and/or description of the goods) (hereinafter called "the Bid").

KNOW ALL PEOPLE by these presents that WE ............................................ (name of bank) of ...................................... (name of country), having our registered office at ............... ..................................... (address of bank) (hereinafter called "the Bank"), are bound unto .................................................. (name of Purchaser) (hereinafter called "the Purchaser") in the sum of ____________________________ for which payment well and truly to be made to the said Purchaser, the Bank binds itself, its successors, and assigns by these presents. Sealed with the Common Seal of the said Bank this ______ day of ______________ 20 ____.

THE CONDITIONS of this obligation are:

1.	If the Bidder withdraw its Bid during the period of bid validity specified by the Bidder on the Bid Form; or

2.	If the Bidder, having been notified of the acceptance of its bid by the Purchaser during the period of bid validity:

(a) fails or refuses to execute the Contract Form if required; or

(b) fails or refuse to furnish the performance security, in accordance with the Instruction to Bidders.

We undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to and including forty-five (45) days after the period of the bid validity, and any demand in respect thereof should reach the Bank not later than the above date.

................................................

(Signature of the Bank)

Appendix-J

CONTRACT FORM

THIS AGREEMENT made the ............. day of ................................, 20 ........ Between ......................................... (Name of purchaser) of ............................... (Country of Purchaser) (hereinafter "the Purchaser") of the one part and ........................................ (Name of Supplier) of ............................................... (City and Country of Supplier) (hereinafter called "the Supplier") of the other part:

WHEREAS the Purchaser invited bids for certain Goods and ancillary services viz.,

................................................... (Brief Description of Goods and Services) and has accepted a bid by the Supplier for the supply of those goods and services in the sum of ............................ (Contract Price in Words and Figures) (hereinafter called "the Contract Price").

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a)	the Bid Form and the Price Schedule submitted by the Bidder;

(b)	the Schedule of Requirements;

(c)	the Technical Specifications;

(d)	the General Conditions of Contract;

(e)	the Special Conditions of Contract; and

(f)	the Purchaser's Notification of Award.

3.	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4.	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

Brief particulars of the goods and services which shall be supplied / provided by the Supplier are as under:

| SL. NO. | BRIEF DESCRIPTION OF GOODS & SERVICES | QUANTITY TO BE SUPPLIED | UNIT PRICE | Total Price | DELIVERY TERMS (CIF/CFR/FOB/ FCA ETC.) |
| --- | --- | --- | --- | --- | --- |

TOTAL VALUE:

DELIVERY SCHEDULE:

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, Sealed and Delivered by the

said ....................................................... (For the Purchaser)

in the presence of .......................................................

Signed, Sealed and Delivered by the

said ....................................................... (For the Supplier)

in the presence of .......................................................

Appendix-K

PERFORMANCE SECURITY FORM

To: ____________________________ (Name of Purchaser)

WHEREAS ............................................. (Name of Supplier)

(hereinafter called "the Supplier") has undertaken, in pursuance of Contract No. ..................... dated .................. 20....... to supply .................................................................................. (Description of Goods and Services) (hereinafter called "the Contract").

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier's performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE, WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of .............................. .............................. (Amount of the Guarantee in Words and Figures) and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and without cavil or argument, any sum or sums within the limit of ........................................................... (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ............ day of.......................... 20...........

Signature and Seal of Guarantors

...........................................................

Date ............................ 20..............

Address:.......................................

Appendix-L

MANUFACTURER'S AUTHORIZATION FORM

No. ______________ dated _____________

To

Dear Sir:

IFB No.                                                    .

We _________________________________ who are established and reputable manufacturers of _________________________________ (name & descriptions of goods offered) having factories at ________________________ (address of factory) do hereby authorize M/s ________________________ (Name and address of Agent) to submit a bid, and sign the contract with you for the goods manufactured by us against the above IFB.

We hereby extend our full guarantee and warranty as per Clause 15 of the General Conditions of Contract for the goods and services offered for supply by the above firm against this IFB.

Yours faithfully,

(Name)

(Name of manufacturers)

Note:	This letter of authority should be on the letterhead of the manufacturer and should be signed by a person competent and having the power of attorney to bind the manufacturer.  It should be included by the Bidder in its bid.

Appendix-M

PERFORMANCE STATEMENT FORM

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga

[Please see Clause 13.3 (b) (ii) of Instructions to Bidders]

Performa for Performance Statement (for a period of last three   years)

Bid No. ___________________		Date of Opening ____________________				Time ___________ Hours

Name of the Firm    _______________________________________________________

| Order placed by (full address of Purchaser) | Order No. and date | Description and quantity of ordered equipment | Value of Order | Date of completion of delivery |  | Remarks indicating reasons for late delivery, if any | Has the equipment been satisfactorily functioning? (Attach a certificate from the Purchaser / Consignee) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | As per contract | Actual |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |

Signature and seal of the Bidder	_________________________________

Appendix-N

Supply, Installation, Testing and Commissioning of Different Machines for Setting up Primary Processing Centre (PPC) at Donar, Darbhanga

Financial Capability

| Financial information | For year 2023-2024 | For year 2024-2025 | For year 2025-2026 |
| --- | --- | --- | --- |
| 1. Total Assets |  |  |  |
| 2. Current Assets |  |  |  |
| 3. Total Liabilities |  |  |  |
| 4. Current Liabilities |  |  |  |
| 5. Profit before Tax |  |  |  |
| 6. Profit after Tax |  |  |  |
| 7. Annual Turn over |  |  |  |

- Supporting Documents

The following documents would need to be submitted to support the Bidder’s claim of experience stated in the table above.

| Sr.No. | Supporting Qualification Criteria for Experience | Supporting Documents |
| --- | --- | --- |
| 1 | Similar Experience | Satisfactory Completion certificate / Work Order |
| 2 | Financial Capability | Last three Year’s Audited Balance Sheets; Net worth Statement |
| 3 | Registrations | Copies of Registration |

# GUIDELINES FOR OPERATIONAL & MAINTENANCE WARRANTY

GUIDELINES FOR OPERATIONAL & MAINTENANCE   WARRANTY

A. GUIDELINES FOR OPERATIONAL & MAINTENANCE WARRANTY

This has been incorporated under clause 15 of “General Conditions of Contract” (SECTION-IV). This can be suitably amended by the client, as per their requirement, as has been done under clause 8 of the “Special Conditions of Contract” (SECTION-V). This is reproduced below again.

Operational Warranty

1. The Supplier warrants that the Goods supplied under this Contract are new, unused, of the most recent or current models and that they incorporate a1l recent improvements in design and materials unless provided otherwise in the contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except when the design and/or material is required by the Purchaser's specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.

2. This warranty shall remain valid for 12 months after the Goods or any portion thereof as the case may be, have been installed and successful commissioned and accepted at the final destination indicated in the Contract, or for 18 months after the date of shipment from the place of loading whichever period concludes earlier, unless specified otherwise in the ‘Special Conditions of Contract’.

3. The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty.

4. Upon receipt of such notice, the Supplier shall, within the period specified in the ‘Special Conditions of Contract’ and with all reasonable speed, repair or replace the defective Goods or parts thereof, without cost to the Purchaser.

5. If the Supplier, having been notified, fails to remedy the defect(s) within the period specified in the ‘Special Conditions of Contract’, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

Maintenance Warranty

      - Free maintenance services shall be provided by the Supplier during the period of warranty

      - The maximum response time for maintenance complaint from any of the destinations specified in the Schedule of Requirement (i.e. time required for supplier's maintenance engineer to report at the installation after a request call/telegram is made or letter is written) shall not exceed 24 hours.

# TECHNICAL SPECIFICATION & BILL OF QUANTITIES

(3000 MT Potato Cold Store)

# BASIS OF DESIGN

1.  Cold Store 1 ‐ 2

Product	:	Potato Storage Capacity per chamber	:1500MT

Daily Loading	:	75 Ton/Day/Chamber

No. of Rooms	:	02

Room Dimension	:	24 x 18 x 12 m H Product Inlet Temp.	:	25°C

Room Temperature	:	2°C Relative Humidity	:	85 ‐ 90%

Cooling Load	:	26 TR Each

# SECTION A

TECHNICAL SPECIFICATIONS FOR REFRIGERATION SYSTEM

| S. No. | Description | Qty. |
| --- | --- | --- |
| 1. | High Stage Compressor For Cold Store high speed single stage multi cylinder reciprocating ammonia compressor, complete with Driver accessories comprising of coupling and coupling guard,Safety valve, Oil sight glass, Suction and Discharge valves, tools, wrenches & foundation bolts & gauge cum control panel and capacity control arrangement, ammonia head & oil cooling and skid mounting. Intermediate Temp.; : (‐) 5°C. Condensing Temp.; : 38°C. Capacity; : 55 TR. Power Consumed; : 63 BHP. Rpm; : 960. | 01 No |
| 2 | cyclone type oil separator flanged connections with companion flanges and oil drain valve. | 01 No |
| 3 | ABB/ Siemens make 75 HP, 4‐pole, IE2, IP 55, Class F Insulation, Ambient 50°C, IMB3 mount, TEFC Sq. Cage induction motor suitable for electric supply of 3ph x 415V x 50HZ, AC supply with slide rails for compressor. | 01 No |
| 4 | L&T/ Equiv make star delta starter for the above motors. | 01 No |
| 5 | # High Stage Compressor For Cold Store high speed single stage multi cylinder reciprocating ammonia compressor, complete with Fly‐wheel, Safety valve, Oil sight glass, Suction and Discharge valves, Driver accessories comprising of motor pulley, V‐belts and belt guard, tools, wrenches & foundation bolts & gauge cum control panel and capacity control arrangement, ammonia head & oil cooling and skid mounting. Intermediate Temp.; : (‐) 5°C. Condensing Temp.; : 38°C. Capacity; : 28 TR. Power Consumed; : 33 BHP. Rpm; : 960. | 01 No |
| 6 | cyclone type oil separator flanged connections with companion flanges and oil drain valve. | 01 No |
| 7 | ABB/ Siemens make 40 HP, 4‐pole, IE2, IP 55, Class F Insulation, Ambient 50°C, IMB3 mount, TEFC Sq. Cage induction motor suitable for electric supply of 3ph x 415V x 50HZ, AC supply with slide rails for compressor | 01 No |
| 8 | L&T/ Equiv make star delta starter for the above motors. | 01 No |
| 9 | ammonia receiver of size 20” Dia. x 16’ Long constructed with Liquid inlet And outlet valves, safety valve, charging valve, drain valve, Purge valve, pressure gauge and gauge glass with valves. | 01 No |
| 10 | # LP Receiver For Cold Store # ammonia low pressure receiver 42”dia x 12’ Long constructed with liquid inlet & outlet valves, safety valve, gauge glass with valves, pressure gauge with valve saddle supports, and pump out connection with valve. Also incorporating all the nozzles and valves for easy connection with ACU’s and suction ‐discharged lines | 01 No |
| 11 | hermetically sealed liquid ammonia pump for ammonia recirculation with motor and accessories comprising of suction strainer, suction and discharge valves, check valve. | 2.Nos. (1W+1S) |
| 12 | Set of Danfoss /Manik make controls for liquid re‐circulation system comprising of: Electronic Float switch : 03 Nos. Pressure Differential Controller : 02 Nos. Differential Pressure Regulating Valve : 01 No. Liquid line solenoid valve : 01 No. Frost‐free gauge glass : 01 No. | 1 Nos |
| 13 | # wall mounted / ceiling suspended frigid coil air Cooling unit complete with SS Tubes & AL finned cooling coil. Total GI enclosure, drain pan, axial flow fan with motor, water defrost arrangement etc. # Cold Store 1 – 2 Capacity : 7 TR @5°C No. of Coil : 05 Nos. Each | 10 No |
| 14 | # Set of Danfoss /Manik make Controls for Coil: Liquid line solenoid valve Digital Temp. Indicator cum controller | 02 No. |
| 15 | MS ‘C’ class refrigerant pipes, pipe fittings and ammonia valves to interconnect above equipment in the system comprising of suction, discharge, liquid and oil lines as per PID and based on compact plant layout. | Lot. |
| 16 | G.I ‘B’ class pipes, pipefitting and valves for condenser make up water, cylinder head cooling defrost and drain line piping as per PID and based on assumption that condenser shall be placed at a distance have not more than 10 m from the plant room | Lot. |
| 17 | PUF insulation for accumulators/vessel, suction line, liquid lines and wet return lines with fixing material bitumen/ CPRX compound and aluminum cladding of 26G with in battery limit. | Lot. |
| 18 | Structural Material for pipe installation and plat form Piping support to be fabricated and installed at site with steel channel and steel angle distance between the supports to be Approx. 5 meters, with variance depend on the building condition. | Lot. |
| 19 | MCC panel will be cubical type switchboard with bus bar, Incoming ACB, indicating lamps, push buttons, switches, fuses, voltmeters, Voltmeter switch, ammeters, ammeters switch and starter for - compressors motor, - condenser fan motor & pump, - Cooling coil fan motor, | Lot. |
| 20 | Power & Control cabling with cable tray for complete refrigeration plant. | Lot |
| 21 | manual gas purger with safety valve for purging non‐ condensable Gases from the system. | Lot |
| 22 | First charge of ammonia gas and lubricant compressor oil. | Lot |
| 23 | Installation, Testing & Commissioning of the complete refrigeration plant and putting in operation. Our scope is as follows: ‐ Erection of the equipment as per our layout with proper operation and alignment ‐ Connecting various equipment’s with pipelines, fittings, controls and instruments ‐ Painting of Equipment & Piping ‐ Pressure testing, charging of gas and commissioning of the plant. | Job |
| 25 | ALL ELECTRICAL FIXTURES INCLUDE ALL SWITCHES AND lighting AS REQUIRED -Complete Facility for Cold Storage and Packhouse. | Lot |
| 26 | Dock leveller of platform with hinged lip made of profile and anti-slip steel. Pairs of super bumpers with heavy steel support. Hydraulic power pack suitable for p load of 40 tones as defined by EN 1398. | 01No |
| 27 | Stacking Arrangement |  |
| A | Lot of MS Material for MS structure for Floor loading in each room made from MS Square Pipes, MS ‘I’ Beam, MS ‘C’ channel, MS Angle, MS Plate and other MS material | 2,50,000 Approx |
| B | Lot of Labor Job for MS structure for Floor loading in each room made from MS Square Pipes, MS ‘I’ Beam, MS ‘C’ channel, MS Angle, MS Plate and other MS material which is fabricated at site will all consumables like Electric Rod and Gas with labor job for painting. All MS material, Redoxide and Color which is required will be supplied by Vendor | 2,50,000 Approx |
| C | Wooden batten required for Wooden Flooring with accessories like strip and nails including installation. | 1,40,000 Nos (Approx) |
| D | Wooden Planks required for staircase inside the cold room with fixing material | 90 Nos |
| E | COLOR AND PRIMER MATERIAL FOR STEEL STRUCTURE | 01LOT |

Technical Specification

PUF Panel

PUF insulated (PUR) panels to be cladded on both sides with 0.5 mm thick (TCT) light profiled pre painted GI sheet in off white colour (RAL 9002); 120 gsm; RMP. The PUF density to be 40 + 2 Kg /m³. The panels to be provided with Cam lock and tongue & Groove jointing system for leak proof joints The thermal conductivity of PUF to be (0.023 + 5%) w/m°k. For PUF Insulated panel thickness.

# Panel Fixing Accessories

Panel fixing accessories comprise of plain pre – painted GI Sheet corner flashing, Sealant, Pop Rivets and aluminum / PCGI Sheet angles. Aluminum Tee with suspensions system for ceiling panel support

# Floor Insulation with PUF Sheets

The Floor Insulation to be with PUF Sheets conforming to IS: 4671‐1984, in double/single layer. The density of PUF Sheet to be 40 ± 2 Kg /m³. The supply includes sufficient quantity of vapor barrier such as tar‐felt, polythene sheet and blown bitumen of 85/25 Grade. The floor insulation to be laid as per IS: 661‐1974

# Hinged door

Hinged Doors comprising Door Shutter cladded on both sides with 0.5mm thick (tct) plain pre ‐painted GI sheet in Off‐ white colour. Door to be fitted with standard door fittings comprising Hinges, Locking Arrangement with Emergency Push Rod, and Gasket suitable.

# Motorized Horizontal Sliding Doors

Motorized / Manually Operated Horizontal Sliding Doors to be complete with sliding rail, door shutter cladded on all sides with 0.6 mm thick Pre‐painted GI Sheet, PVC reinforced doorframe and be fitted with EPDM gasket suitable sliding arrangement.

# PVC STRIP CURTAINS

PVC strip curtains required to maintain Cold Storage Temp. & Hygienic Environment by Restricting Insect, Dust & Hot Air. Creates Dust Free & Clean Environment Inside cold rooms, process area etc.

# Pressure relief Valve

The walls and ceilings of cold rooms are constantly subjected to strains variations came by pressure variations, either from inside and from outside. The FERMOD valves make it possible to balance internal and external pressure, through venting.

| A | Supply of Items: |  |  |
| --- | --- | --- | --- |
| 1.0 | Supply of PUF insulated Composite wall and ceiling panels |  |  |
| 1.1 | 100 mm Thick PUF Panel for wall and ceiling in Cold Store | Sq.m | 3230 |
| 2.0 | Hinged Door of Size 1200 mm x 2100 mm x 80 mm thick | Nos. | 2 |
| 3.0 | Floor Insulation with PUF Sheets in single layer. PUF Density will be 40 ± 2 kg/cum with vapour barrier i.e., tar‐felt, bitumen and Polythene Sheets |  |  |
| 3.1 | 100 mm thick | Sq.m | 998 |
| 4.0 | Panel Fixing Accessories comprising: |  |  |
| 4.1 | Sealant, pop rivets and flashings, PUF Chemicals, Aluminum tee only. | Sq.m | 3230 |
| 4.2 | PVC Strip Curtains for Doors | Nos. | 2 |
| 5.0 | Installation |  |  |
| 5.1 | Installation of Panels | Sq.m | 3230 |
| 5.2 | Installation of Floor Insulation | Sq.m | 998 |
| 5.3 | Installation of Hinged Door | Nos. | 2 |

PRICE SCHEDULE: Include (Design, Supply, Installation, commissioning, Trail run & AMC)

Rs.2,95,00,000

(Two  crore ninety five lakh only)

INCLUSIONS

- Road crossing bridge and primary support (interconnection of rafter for piping and hanging for air cooling unit) for plant room, cold room and process area.

- All masonry work such as foundations for equipment, cutting and making good of holes in the walls, structural supports, plastering and flooring work etc.

- Make up water connection and drain piping Inside the Frozen/Chiller Store

- Unloading, shifting of equipment at site and transportation.

SORTING, WASHING, DRYING & GRADING LINE CAP. 2 MTPH

# SECTION B

TECHNICAL SPECIFICATIONS FOR SORTING, GRADING, WASHING AND PACKING.

| S. No. | Description | Qty. |
| --- | --- | --- |
| 1 | BULK HOPPER This hopper is design to feed produce in Bulk quantity in processing line. It acts as buffer in grading. Arrangement provided for spreading produce across the conveyor. The hopper is design in such a way that it can be fed by trolley on big bags. We provide suitable inclination to the machine so that flow rate is always even. Length : 7500 mm Width : 3000 mm Power : 10 HP, 3 Ph | 1 |
| 2 | SOIL REMOVER This machine is mounted with bulk hopper. It is most efficient & gentle way of pre-cleaning. SS Rollers are designed in such a way to take out loose dirt and loose skin. This machine enhance the capacity of the line and reduce the soil particle to go into the other machines. Length : 1500 mm Width : 1200-1400 mm Power : 1.5 HP, 3 Ph | 1 |
| 3 | WATER DUMPING TANK Consisting of UHMWPE Belt conveyor. Contact parts made of stainless steel and structure, pipelines also stainless steel. The products will be dumped into wet hopper. Water will soften surface soil of produce. Water jets moves product up to belt conveyer and further conveyed with the help of clit type Belt conveyor. Sprinkler/water jet arrangement will be provided on the top of the moving products by a water pump and pipelines. Water will be sprayed on the products while they move forward slowly. This washing process is automatic only the machine should be connected with a constant water supply point. Length : 4300 mm. Width : 600 mm of Belt Width Motor Power : 2 HP. 3 PH Pump power : 3HP.1PH M.O.C : All Material in SS 304,Structure pipe will be in M.SLength : 4300 mm. Width : 600 mm of Belt Width Motor Power : 2 HP. 3 PH Pump power : 3HP.1PH M.O.C : All Material in SS 304,Structure pipe will be in M.S. | 1 |
| 4 | DRUM WASHER It consist of rotary drum. Produce is fed into the drum washer and is washed as it travels through rotating drum. High pressure spray jet provided inside the drum to remove debris (dirt, mud, cut piece) from ginger. It effectively and gently washes produce while removing soil, mud and stones. Debris (soil, mud, leaves) are collected in the Tank underneath the drum. Discharge valve regularly clean mud & other impurities. Outfeed (inbuilit) elevator transfers produce to the next machine. MOC : SS304 Length : 3000 mm Width : 1500 mm Power : 8HP, 3 Ph | 1 |
| 5 | BY PASS CONVEYOR Length : 3500-4000 mm Width : 900 mm | 1 |
| 6 | POLISHER It is a rotary drum with inbuilt row of nylon brusher. 1 No. Rs. 18,70,000 1,870,000.00 Produce enter through infeed chute directly from previous machine. Two water pipes spray fresh water on the produce as it travels in linear direction towards outlet window. At the outlet produce slides down through spout with zero drop position for smooth transition to down stream equipment. Water tank provided at bottom for collection of water. Length : 1800-2000 mm Width : 1200-1500 mm Power : 10 HP 3 Ph for motors 2 HP 1 Ph for pump | 1 |
| 7 | FEED ELEVATOR MOC: G.I. Sheet & M.S. Pipe Conveyor Length: 2500-3000 mm Conveyor Width: 600 mm Powered by: 1 HP, 3 Ph geared motor The products will be dumped manually on the hopper. The hopper is designed in such a way that all the load of the products gets centralized at the entrance of the belt. The belt elevated the products to the required height. | 1 |
| 8 | DRYING SECTION This machine comprises of Aluminium Rollers on which the products are conveyed after being washed. Structure of mild steel. Contact parts made up of food graded materials. Complete with air circulating fan. Length: 3500-4000 mm Width : 800 mm of roller Power: 2 HP 3 Ph. | 1 |
| 9 | SORTING TABLE Consisting of PVC rollers. On the sorting section, rollers will move on their own axis & at the same time shall move forward. These rollers will carry the products forward. The workers standing on both sides of the machine will sort out the damaged or rotten products and will take those products out of the machine. Frame is made up of M.S. Length :3000-3500 mm. Width :910 mm of roller Power :1H.P, 3 Ph | 1 |
| 10 | SCREEN SIZER WITH COLLECTION BELT The sizer is fitted with vibrating rubber screens with perforations on its surface. The width of the rubber belt is 90 cm. No of grades: 2+1 oversize The graded products will be collected through collection belts. Shaker assembly is fitted to vibrate the screen. Greater grading efficiency than other types of graders due to the orientation of the products on the screens. For each module: Length: 1800 mm (approx). Width: 1400 mm Power: 1.5 H.P The conveyor will be fitted under the grading screen for the collection of the graded products. Length: 2400 mm Width: 600 mm Power: 0.5 H.P | 2 |
| 11 | OVERSIZE COLLECTION BELT Consisting of PVC food grade belt having side guide at the both side at bottom. The conveyor will be fitted under the grading screen for the collection of the graded products. Length: 2400 mm Width: 600 mm of belt Power: 0.5 H.P | 1 |
| 12 | SINGLE HEAD WEIGHER & BAGGER Suitable for weighing bags for free flowing commodity. Capacity: 2-5 TPH Capacity: 2-5 TPH Accuracy: +- 200-250gm Range: upto 20-50kg bags/crate. Manufactured with a double belt feed system. Crop is fed up in big hopper. At initial both belts are running. Main belt stop before the target weight. Now narrower belt feed the bag to achieve target weight. Once the target weight is reached, we need to replace the bag with the help of clamp. Adjustable plateform provided. Whole system will control through PLC prgramming & servo motors. | 1 |
| 13 | ELECTRIC CONTROL PANEL (PLC BASED) The motor control panel will be equipped with an incoming supply ON/OFF switch along with VAF meter. All motor starters will be provided with short circuit and overload protection. The DOL, SD, Soft starter and VFD will be given as per machine requirements. Also 2nos. 6/16A sockets of 230V AC will be provided for ancillary equipments, lights etc. See the following for detailed features: a) Motor Overload Protection b) Motor Short Circuit Protection c) Door Interlocking d) Emergency Stop e) Fuse Protection at starters control f) Motor Status (ON/Trip Indication) g) Supply Indication h) FRLS Wire i) Supply Fault Indication j) Control Supply Healthy Indication k) Isolated Control Supply l) Supply Metering m) Panel Light n) Under & Over Voltage Protection o) Single & Reverse Phase Protection p) Thermostat Controlled Panel Fan | 1 |
| 14 | ERECTION & COMMISSIONING CHARGES SUPPLIER SCOPE (AGROSAW) 1.Assembly & Erection of Equipment. 2. To arrange unskilled labour and masons required for assembly & erection of plant. 3. To arrange crane, fork lift, chain block, floor breaker, hammer drill, welding machine & any other heavy tool. 4. Electrical connection to all equipment from the supplied electrical control panel. Electric control panel shall be installed at maximum distance up to 5m from the machine, distance beyond 5m shall be to the customer account, laying of cables shall be under ground in PVC pipes. 6. To provide electric cables, electric items required for electrification of complete plant. 7. Commissioning & Trial of machines with the product. 8.Training to user’s staff for proper maintenance, adjustment & operation of the machine. CUSTOMER/PURCHASER SCOPE 1. To unload & to transport the equipment from unloading point to installation site. 2. Proper building & space for installation & commissioning of the machines/plants & any other civil work beyond supplier scope. 3. Electric cables from main grid to main control panel of the plant with proper earthing. 4. Facility to work at site after office hours/holidays, if required. 5..To provide warehouse to store equipment which need protection from bad weather conditions & thefts etc. 6. To arrange electric connection at site to run tools & equipment required for installation & commissioning of the project. 7. To arrange water for civil works & safe drinking water for work force to be engaged to install & commission the project. 8.To provide fruits/vegetables for trial purpose. 9. Licenses,permissions & necessary authorization for installation if required. 10. To arrange operator/Responsible Person for Operational/Maintenance works. 11. If customer wants cable to be laid on cable trays and or in trenches then expenditure on this shall be to customer account. 12. To arrange widening of gate height & width for machine to enter in the building & after machines are shifted inside godown, then customer shall arrange the repair at his cost. 13. Noise reducing system, Fire fighing, General electric installation, Work contract tax is in the scope of the customer. | 1 |

PRICE SCHEDULE: Include (Design, Supply, Installation, commissioning, Trail run & AMC)

Rs.115.64 Lakhs

(One Crore Fifteen Lakh Sixty-Four Thousand Only).

INCLUSIONS

- Road crossing bridge and primary support (interconnection of rafter for piping and hanging for air cooling unit) for plant room, cold room and process area.

- All masonry work such as foundations for equipment, cutting and making good of holes in the walls, structural supports, plastering and flooring work etc.

- Make up water connection and drain piping Inside the Frozen/Chiller Store

- Unloading, shifting of equipment at site and transportation.

Material Handling

TECHNICAL SPECIFICATIONS FOR MATERIAL HANDLING EQUIPEMNT

| # Sr. No. | # Description | # Unit | # Quantity |
| --- | --- | --- | --- |
| # Section A | # HDPE/PP crates-stackable type |  |  |
| # 1 | # Supply of Heavy-duty Injection molded stackable plastic crates of virgin food grade material to withstand temperature from (-30) degree centigrade to (+70) degree centigrade. The dimensional tolerance shall be within ±10 mm. The crates shall be with flat bottom. The crates shall preferably with side perforation of external dimensions 595 mm (L) x 395 mm (B) x 155 mm (H) | # Nos | # 500 |
| # Section B | # Weighing scale |  |  |
| # 2. | # Supply and Testing of light duty single cell SS platform type weigh scale, column mounted indicator, weighing capacity 50 Kg, least count 10 gm. Platform size 600 mmx 500 mm. Weigh scale shall be stamped from weight & measurement department (For IQF section bag weighing) | # Nos | # 5 |
| # Section C | # Hand Pallet Truck(HPT) |  |  |
| # 3. | # Supply, Testing and Commissioning Hand Pallet Trucks ( HPT) : Capacity (kg): 2000-2500 Pallet Size:1000mmx1200mm , Fork Height= 200 mm Load roller tandem wheel 80*70Fork size 160*50 Fork Length= 1150 mm, Forks Width= 520mmOverall length 1540 mm ,Steering wheel= 200*50 | Nos | # 5 |

PRICE SCHEDULE: Include (Design, Supply, Installation, commissioning , Trail run & AMC)

Section A-Rs 1,38,000 (One lakh thirty eight thousand only)

Section B-Rs 1,43,000   (One lakh forty three  thousand only)

Section C- Rs 1,17,000   (One lakh seventeen  thousand only)

INCLUSIONS

- Unloading, shifting of equipment at site and transportation.

| S. No | ITEM | MAKE |
| --- | --- | --- |
| 1 | THERMAL INSULATION | Kingspan Jindal/Mectecno/ Rinac/Industrial foams/Equivalent |
| 2 | Panel fixing accessories | Accessories: Kingspan Jindal/Mectecno/ /Rinac/Industrial Foams/equivalent |
| 3 | Doors | Metaflix/salco/MTH/Rinac/equivalent |
| 4 | Anti-collision bollards | Metaflix/salco/MTH/equivalent |
| 5 | Air curtain | Russel/equivalent |
| 6 | Compressor | Frick India/Mycom/Kirloskar |
| 7 | VFD | Danfoss / ABB / equivalent |
| 8 | Compressor Motor | ABB / Siemens / Bharat Bijlee |
| 9 | Cooling Coil | Alfa - LU-VE/ Guntner / Manufacturer/Starcooler/Equivalent |
| 10 | Evaporative Condenser | Baltimore / Evapco / Manufacturer /Starcooler/Equivalent |
| 11 | Primary Pumps | Grundfos / Willo / Xylem/ equivalent |
| 12 | Secondary Pumps | Grundfos / Willo / Xylem/ equivalent |
| 13 | Cooling Tower | Advance / Delta / Mihir/ equivalent |
| 14 | Cooling Tower Pumps | Grundfos / Willo / Xylem/ equivalent |
| 15 | Ammonia Pipeline | Tata / Jindal / MSL / ISMT/ equivalent |
| 16 | Glycol / Water Pipeline | Tata / Jindal / MSL / ISMT/ equivalent |
| 17 | Valve and Control | Superfreeze / Danfoss / Manik |
| 18 | Humidifiers & Humidifier Controller | Idealin fogging/equivalent |
| 19 | Refrigerant Piping & Fitting | Standard Make |
| 20 | Main LT Panel / Motor Control Center (MCC) | Electrical components: Siemens , L&T , Schneider Electric / Equivalent |
| 21 | Oil & refrigerant | As recommended by the Compressor /Condensing unit make |
| 22 | Control Panel | Manufacturer / Enclosure, Siemens/ Schneider/ AB/ Equiv. components |
| 23 | Cables | Lapp / PolyCab / Equiv. |
| 24 | Electrical Power, Chemical earthing, Control Cables, sensor cables, cable tray etc | Siemens , L&T , CCI , Schneider Electric / Equivalent |
| 25 | Electrical Fixtures | Havells, Philips, Bajaj/ equivalent |
| 26 | PLC Controller | Rockwell / Allen Bradley / Siemens / Schneider / equivalent |
| 27 | Internal Electrification | Standard make |
| 28 | Cold Store / Frozen Cold Store : LED fittings with IP-67 grade | Similar to OSRAM Germany/ XXXhilips / equivalent |
| 29 | Ante Room & Pack-house areas 1200 mm long, 36 W LED fitting | Philips/ GEC/ Orient/ Equivalent |
| 30 | Smoke detector | Honeywell / Equivalent |
| 31 | Indoor / Outdoor piping support and Structural Platforms and Service Pipe Bridge | SAIL / TISCO /RINL / ESSAR / Equivalent |
| 32 | Hand Pallet Truck( HPT) | Nilkamal/Voltas/Toyota/Godrej or equivalent makes |
| 33 | HDPE/PP crates-stackable type | Nilkamal/equivalent |
| 34 | Weighing scale | Essase/Avery/Bizerba/equivalent |
| 36 | Dock leveller | Gandhi/Motorolls/Nilkamal/Hormann |
| 38 | Pressure relief valve | Emerson / dchel Valves |
| 40 | Plastic Pallets | Nilkamal/equivalent |