## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
NIT SCHEDULE FOR ORDINARY REPAIR WORKS OF RESIDENTIAL BUILDING UNDER LORMI SUB DIVISION LORMI
( Building S.O.R.w.e.f. 01/01/2015 and ammendmend upto 14/05/2025 )
[9 empty] | PAC | 10 |  | Lacs
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N)
1 | PWD | PWD BLD | 2015 | 16.28 | Taking out door shutters (steel or wood) including stacking within 50 metres lead. | each | 46.5 | 5 | 512 | 0 | 0 | N
2 | PWD | PWD BLD | 2015 | 16.29 | Taking out window shutters (steel or wood) including stacking within 50 metres lead. | each | 33.5 | 3 | 235 | 0 | 0 | N
3 | PWD | PWD BLD | 2015 | 16.36 | Dismantling terrazzo or mosaic or glazed vitreous or patent cement or tiled flooring or dado skirting of any thickness without sub base. | sqm | 22.5 | 130.672 | 5876 | 0 | 0 | N
4 | PWD | PWD BLD | 2015 | 16.43 | Demolishing cement concrete including disposal of material within 50 metre lead. 1:4:8 or leaner mix | cum | 329 | 13.072 | 8611 | 0 | 0 | N
5 | PWD | PWD BLD | 2015 | 16.3.3 | Demolishing brick masonry including arches, stacking of serviceable material disposal of unserviceable material within 50 metres lead. In cement mortar. | cum | 263 | 0.5 | 395 | 0 | 0 | N
6 | PWD | PWD BLD | 2015 | 1.1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. In all types of soil | cum | 185 | 2 | 925 | 0 | 0 | N
7 | PWD | PWD BLD | 2015 | 3.1.3 | Providing and laying nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.3.1.3 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | cum | 2970 | 10.5 | 62370 | 0 | 0 | N
8 | PWD | PWD BLD | 2015 | 7.5.4+7.6 | Brick work with modular fly-ash lime bricks (FALG Bricks) confirming to IS:12894-2002 of class designation 40 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand) Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth | cum | 3384 | 2.5 | 18849 | 0 | 0 | N
9 | PWD | PWD BLD | 2015 | 2.1.7 | Providing and fixing formwork including centering, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: Suspended floors, roofs, access platform, balconies (plain surfaces) and shelves (cast in situ) | sqm | 235 | 2.85 | 1340 | 0 | 0 | N
10 | PWD | PWD BLD | 2015 | 3.12.1 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete Thermo-Mechanically treated bars FE 415 | Kg | 54.5 | 459.2062 | 50054 | 0 | 0 | N
11 | PWD | PWD BLD | 2015 | 3.2.1+3.4 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | cum | 4260 | 5 | 42600 | 0 | 0 | N
12 | PWD | PWD BLD | 2015 | 17.1.1 | Repairs to plaster in patches of area 2.5 sq. metres and under including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls with cement mortar 1:4 (1 cement : 4 fine sand) complete including disposal of rubbish to the dumping ground within 50metres lead Thickness upto 15mm | sqm | 132 | 18.63 | 4918 | 0 | 0 | N
13 | PWD | PWD BLD | 2015 | 4.13.1 | Grading roof for water proofing treatment with: Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | cum | 3817 | 3.424 | 26138 | 0 | 0 | N
14 | PWD | PWD BLD | 2015 | 4.22 | Providing Water proofing treatment over Roof, Wall, Chhajjas, Balcony with Diamond Shield and Sealer coat or equivalent at leakage/ seepage area consisting of the operation: (i) Surface preparation roughening of surface, opening of cracks in ‘V’ groove in size of 5mm x 10m (WxD), filling of cracks with putty of Diamond shield with laying fiber glass mesh, Cleaning of surface by scrubbing with steel wire/ Nylon brush. Removing all dust particles and washing with adequate water to clean completely. (ii) Providing and applying 1st coat of diamond shield or equivalent compound (having two component dry powder 80% Chemical 20% (chemical having 30% solid contents) making flexible waterproof and protective modified mortar with minimum thickness 70-80 micron after proper mixing of both the parts of compound along with laying of fiber glass mesh (of weaving size of 10x10 yarn/inch duly coated with alkaline resistant polymer). Allow the coating to set in natural air for minimum 2 Hrs. After 1st coat apply 2nd coat with minimum thickness 100 micron of the same compound. Allow the 2nd coat to set in natural air for minimum 4 Hrs. Total consumption of the diamond shield or equivalent in both coat should be @ 17.90 kg for 10sqm area. | sqm | 421 | 316 | 266072 | 0 | 0 | N
15 | PWD | PWD BLD | 2015 | 8.158.1 | Providing and fixing 30mm thick factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19mm x 19mm for styles and 15x15mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture . M.S. frame covered with 5mm thick heat moulded PVC 'C' channel of size 30mm thickness, 70mm width out of which 50mm shall be flat and 20mm shall be tapered in 45degree angle on either side forming styles; and 5mm thick, 95mm wide PVC sheet out of which 75mm shall be flat and 20mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115mm wide PVC sheet out of which 75mm shall be flat and 20mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided either side of the panel. 10mm (5mm x 2 ) thick, 20mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail. paneling of 5mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7mm (5mm+2mm) thick x 15mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5mm thick PVC strip of 20mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per Manufacturer’s specification including 3 nos ISI marked stainless steel hinges of size 100x58x1.9 mm complete. (for W.C. and bathroom door shutter). PVC door shutter | sqm | 2096.9 | 7.5149 | 31516 | 0 | 0 | N
16 | PWD | PWD BLD | 2015 | 12.1 | Applying cement slurry on R.C.C. slab or cement concrete work using 2.75 kg/ sqm for receiving cement concrete floor including roughening cleaning etc complete. | sqm | 34 | 68.48 | 4656 | 0 | 0 | N
17 | PWD | PWD BLD | 2015 | 3.14 | Providing and mixing water proofing material in PCC/ RCC work in the proportion ecommended by the manufacturer. | kg | 43.5 | 3.424 | 298 | 0 | 0 | N
18 | PWD | PWD BLD | 2015 | 9.6.2 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | kg | 68 | 959.48 | 130490 | 0 | 0 | N
19 | PWD | PWD BLD | 2015 | 9.3.1 | 9.3 Steel work in tubular (round, square or rectangular hollow tubes etc.) structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer. Electric resistance or induction butt welded tubes Grade-250 | kg | 88.5 | 135.588 | 24000 | 0 | 0 | N
20 | PWD | PWD BLD | 2015 | 10.13 | Supply and fixing of precoated TILE PATTERN profile sheets of approved make, colour, over all size, orrugation shape and pitch, having total coated thickness (TCT) 0.45 mm (approx weight 4.9 kg/sqm) with Zn-Al coating and superior paint and aving yeild strength of 550 MPa. Sheet hould have protective guard film of 25 microns minimum to avoid scratches while transportation. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55mm) with EPDM seal or with polymer coated J or L hooks, bolts and nuts 8mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead complete upto any pitch excluding the cost of purlins, rafters and trusses and including cutting to size and shape herever required. 2mm thick corrugated (2.5" or 4.2" or 6") or step-down (2"or 3"or 6") as specified. | sqm. | 942 | 3.24 | 6104 | 0 | 0 | N
21 | PWD | PWD BLD | 2015 | 10.1 | Extra for providing and fixing wind ties of 40x6mm flat iron section. | Rm. | 118 | 1.2 | 284 | 0 | 0 | N
22 | PWD | PWD BLD | 2015 | 9.16 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | kg | 67.5 | 34.0533 | 4598 | 0 | 0 | N
23 | PWD | PWD BLD | 2015 | 9.11 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rails of T-iron 40x40x6mm with 38mm steel pulleys complete with bolts, nuts, locking arrangement stoppers, handles including applying a priming coat of red oxide zinc chromate primer | sqm | 3330 | 1.012 | 6740 | 0 | 0 | N
24 | PWD | PWD BLD | 2015 | 8.12.2 | Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges 35 mm. thick (single leaf) | sqm | 2005 | 3.562 | 14284 | 0 | 0 | N
25 | PWD | PWD BLD | 2015 | 8.112.1 | Providing and fixing powder coated M.S. sliding door bolts with bolts, nuts and necessary iron screws:300x16mm | each | 135 | 2 | 540 | 0 | 0 | N
26 | PWD | PWD BLD | 2015 | 8.115.2 | Providing and fixing powder coated M.S. tower bolts (Barrel type) with necessary iron screws: 200 x 10 mm | each | 33.5 | 2 | 134 | 0 | 0 | N
27 | PWD | PWD BLD | 2015 | 8.116.1 | Providing and fixing powder coated M.S. handles with necessary iron screws: 125 mm | each | 61.5 | 3 | 370 | 0 | 0 | N
28 | PWD | PWD BLD | 2015 | 8.124.2 | Providing and fixing hanging aluminium door stopper with necessary nickle plated iron screws etc complete. Double | each | 37 | 2 | 148 | 0 | 0 | N
29 | PWD | PWD BLD | 2015 | 9.47.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing and panelling to be paid for separately For fixed portion | kg | 331 | 76.1385 | 50404 | 0 | 0 | N
30 | PWD | PWD BLD | 2015 | 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | kg | 338 | 66.2109 | 44758 | 0 | 0 | N
31 | PWD | PWD BLD | 2015 | 9.61.1 | Providing and fixing aluminium composite panels in approved panel sizes, thickness and shape on aluminium frame work on face of building. (Frame to be paid separately) 3mm thick | sqm | 1283 | 14.378 | 36894 | 0 | 0 | N
32 | PWD | PWD BLD | 2015 | 12.3.1 | Cement concrete flooring with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm) finished with a floating coat of neat cement. 40 mm thick | sqm | 222 | 6.12 | 2718 | 0 | 0 | N
33 | PWD | PWD BLD | 2015 | 12.37.2 | Chequerred precast cement concrete tiles 22mm thick in footpath & courtyard jointed with neat cement slurry mixed with pigment to match the shade of tile including cleaning of joint etc complete on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) : Medium shade using approximately. 50% white cement and 50% ordinary cement. | sqm | 591 | 37.836 | 44722 | 0 | 0 | N
34 | PWD | PWD BLD | 2015 | 12.10.1 | Providing and laying rectified ceramic glazed floor tiles of size 300x300mm and above conforming to IS : 15622 of approved make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement mixed with matching pigment etc., complete. Size 300x300mm | sqm | 858 | 3.84 | 6590 | 0 | 0 | N
35 | PWD | PWD BLD | 2015 | 12.7.1 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete Size upto 200x300mm | sqm | 587 | 16.23 | 19054 | 0 | 0 | N
36 | PWD | PWD BLD | 2015 | 12.67 | Providing and laying vitrified floor tiles with double charge/ multi charge printing with water absorption less than 0.5% and conforming to IS : 15622 of approved make in all colours and shades and size mentioned below (+/- 10mm), laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc. complete: Size 600x600mm | sqm | 1082 | 186.759 | 404146 | 0 | 0 | N
37 | PWD | PWD BLD | 2015 | 18.1 | Providing and fixing water closet squatting pan (Indian type W.C. pan), 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern (same colour) conforming to IS : 7231, with flush bend and other fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Orissa pattern W.C. pan of size 580x440 mm | each | 2918.4 | 3 | 17510 | 0 | 0 | N
38 | PWD | PWD BLD | 2015 | 18.16.2 | Providing and fixing vitreous china wash basin with C.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of brackets, cutting and making good the walls wherever required : White Size 550x400 mm | each | 1215.2 | 2 | 4860 | 0 | 0 | N
39 | PWD | PWD BLD | 2015 | 19.7.1 | Providing and fixing on wall surface G.I. pipes medium class complete with G.I. fittings and clamps, including cutting, making good the walls etc. and testing of joints complete: 15 mm dia. nominal bore | metre | 118.75 | 50 | 11876 | 0 | 0 | N
40 | PWD | PWD BLD | 2015 | 19.7.2 | 20 mm dia. nominal bore | metre | 147.9 | 60 | 17748 | 0 | 0 | N
41 | PWD | PWD BLD | 2015 | 19.9.2 | Providing and laying in trenches G.I. pipes medium class complete with G.I. fittings including excavation of trenches, refilling the same and testing of joints complete: 20 mm dia. nominal bore | metre | 125.35 | 12.5 | 3134 | 0 | 0 | N
42 | PWD | PWD BLD | 2015 | 19.13.1 | Providing and fixing 15 mm nominal bore Brass bib/stop cock of approved quality and weighting not less than 400 grams): Bib cock | each | 230.15 | 5 | 2302 | 0 | 0 | N
43 | PWD | PWD BLD | 2015 | 19.13.2 | Stop cock | each | 230.15 | 4 | 1842 | 0 | 0 | N
44 | PWD | PWD BLD | 2015 | 19.42 | Providing and placing on terrace (at all levels) polyethylene water storage tank ISI marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | litre | 5.35 | 1200 | 12840 | 0 | 0 | N
45 | PWD | PWD BLD | 2015 | 20.2.1 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete 150mm thick as per standard design: 100 mm diameter S.W. pipe | metre | 272.8 | 18.4 | 10040 | 0 | 0 | N
46 | PWD | PWD BLD | 2015 | 20.3.2 | Providing and fixing square-mouth S.W. gully trap grade 'A'’ complete with C.I. grating brick masonry chamber with well burnt modular clay bricks crushing strength not less than 35kg/ cm², water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 150 x 100 mm size P type. | each | 1224.8 | 1 | 2450 | 0 | 0 | N
47 | PWD | PWD BLD | 2015 | 20.6.1 | Constructing brick masonry manhole with well burnt modular clay bricks crushing strength not less than 35kg/ cm² in cement mortar 1:4 ( 1 cement : 4 coarse sand), R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation in cement concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | each | 5771.7 | 5 | 57718 | 0 | 0 | N
48 | PWD | PWD BLD | 2015 | 18.74.1 | Providing and fixing on wall face UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. 75 mm dia pipe. | metre | 121.15 | 55 | 13326 | 0 | 0 | N
49 | PWD | PWD BLD | 2015 | 18.74.2 | 110 mm dia pipe. | metre | 234.4 | 125 | 58600 | 0 | 0 | N
50 | PWD | PWD BLD | 2015 | 18.75.1.1 | Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Coupler 75 mm | each | 65.55 | 12.25 | 1606 | 0 | 0 | N
51 | PWD | PWD BLD | 2015 | 18.75.1.2 | 110 mm | each | 90.55 | 15 | 2716 | 0 | 0 | N
52 | PWD | PWD BLD | 2015 | 18.75.2.1 | Single tee with door 75x75x75 mm | each | 104.6 | 35 | 7322 | 0 | 0 | N
53 | PWD | PWD BLD | 2015 | 18.75.2.2 | 110x110x110 mm | each | 196.75 | 35 | 13772 | 0 | 0 | N
54 | PWD | PWD BLD | 2015 | 18.75.5.1 | Plain bend 75 mm bend | each | 146.75 | 40 | 11740 | 0 | 0 | N
55 | PWD | PWD BLD | 2015 | 18.75.5.2 | 110 mm bend | each | 183.45 | 40 | 14676 | 0 | 0 | N
56 | PWD | PWD BLD | 2015 | 18.75.6.2 | Vent covel 110 mm | each | 32.8 | 2 | 132 | 0 | 0 | N
57 | PWD | PWD BLD | 2015 | 18.75.8 | "P" trap 110mmx110mm long | each | 254.55 | 13 | 6618 | 0 | 0 | N
58 | PWD | PWD BLD | 2015 | 18.75.9 | Nahani trap 110x75mm | each | 100.7 | 20 | 4028 | 0 | 0 | N
59 | PWD | PWD BLD | 2015 | 20.29 | Providing and constructing soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with well burnt modular clay bricks crushing strength not less than 35kg/cm² and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. | each | 11007.85 | 2 | 44032 | 0 | 0 | N
60 | PWD | PWD BLD | 2015 | 19.8.1 | Providing and fixing concealed in wall G.I. pipes medium class complete with G.I. fittings and clamps, including painting with anti corrosive bitumastic paint, cutting chases, making good the walls etc. and testing of joints complete: 15 mm dia nominal bore | metre | 147.35 | 50 | 14736 | 0 | 0 | N
61 | PWD | PWD BLD | 2015 | 19.8.2 | 20 mm dia nominal bore | metre | 175.45 | 60 | 21054 | 0 | 0 | N
62 | PWD | PWD BLD | 2015 | 18.4.1 | Providing and fixing vitreous china water closet (European type W.C. pan) with white ISI marked plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (same colour), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White pedestal type | each | 2654.35 | 3 | 15926 | 0 | 0 | N
63 | PWD | PWD BLD | 2015 | 16.42 | Demolishing R.C.C. work including stacking of steel bars and disposal of unserviceable material within 50 metre lead. | cum | 768 | 0.4752 | 730 | 0 | 0 | N
64 | PWD | PWD BLD | 2015 | 1.1.1 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. In all types of soils. | cum | 185 | 28.8 | 10656 | 0 | 0 | N
65 | PWD | PWD BLD | 2015 | 3.2.1 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work. 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | cum | 4163 | 7.4628 | 62136 | 0 | 0 | N
66 | PWD | PWD BLD | 2015 | 2.1.2 | Providing and fixing form work including centring, shuttering, strutting staging, propping bracing etc. complete and including its removal at all levels, for: Wall of any thickness including attached pilasters, buttresses etc. in super structure. | sqm | 228 | 28.8 | 13132 | 0 | 0 | N
68 | PWD | PWD BLD | 2015 | 19.9.8 | Providing and laying in trenches G.I. pipes medium class complete with G.I. fittings including excavation of trenches, refilling the same and testing of joints complete: 20 mm dia. nominal bore | Rm | 639 | 26.4 | 33740 | 0 | 0 | N
69 | PWD | PWD BLD | 2015 | 9.2 | Structural steel work riveted or bolted or welded in built-up sections, trusses and frames work upto a height of 5m above plinth level, including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. | kg | 66 | 59.04 | 7794 | 0 | 0 | N
70 | PWD | PWD BLD | 2015 | 7.5.4 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand) | cum | 3263 | 0.36 | 2350 | 0 | 0 | N
71 | PWD | PWD BLD | 2015 | 11.2.4 | Providing and making 12mm thick cement plaster of mix: In Cement Mortar 1:6 (1 cement : 6 fine sand) | sqm | 91.5 | 1.8 | 330 | 0 | 0 | N
72 | PWD | PWD BLD | 2015 | 11.3.4 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix: In Cement Mortar 1:6 (1 cement : 6 fine sand) | sqm | 107 | 1.8 | 386 | 0 | 0 | N
73 | PWD | PWD BLD | 2015 | 19.6.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This included jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia pipes metre | sqm | 165 | 51.96 | 17146 | 0 | 0 | N
74 | PWD | PWD BLD | 2015 | 19.13.2 | Providing and fixing 15 mm nominal bore Brass bib/stop cock of approved quality: Bib cock (350 grams) | each | 238 | 4 | 1904 | 0 | 0 | N
75 | PWD | PWD BLD | 2015 | 19.14.1 | Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required: Bib cock (400 grams) | each | 382 | 2 | 1528 | 0 | 0 | N
76 | PWD | PWD BLD | 2015 | 19.14.3 | Long body bib cock (500 grams) | each | 426 | 2 | 1704 | 0 | 0 | N
77 | PWD | PWD BLD | 2015 | 19.14.4 | Piller Cock (400 grams | each | 398 | 1 | 796 | 0 | 0 | N
78 | PWD | PWD BLD | 2015 | 19.14.6 | Stop cock (concealed) (600 grams) | each | 494 | 2 | 1976 | 0 | 0 | N
79 | PWD | PWD BLD | 2015 | 19.16.1 | Providing and fixing brass/ gun metal gate valve with C.I. wheel of approved quality (screwed end): 25mm | Nos. | 436 | 2 | 1744 | 0 | 0 | N
80 | PWD | PWD BLD | 2015 | 19.42 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | lit | 7.3 | 3000 | 43800 | 0 | 0 | N
81 | PWD | PWD BLD | 2015 | 19.48 | Constructing masonry Chamber 60x60x75 cm, inside with modular well burnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm. top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design : | Nos. | 4644 | 1 | 9288 | 0 | 0 | N
82 | PWD | PWD BLD | 2015 | 18.76.2 | Providing and fixing on wall face UV stabilized Unplasticised Rigid PVC pipes (single socketed) having 3.2mm wall thickness conforming to IS : 13592 (4kg/sqcm) including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. 110mm | Rmt | 267 | 41.2 | 22000 | 0 | 0 | N
83 | PWD | PWD BLD | 2015 | 18.78.2 | Providing and fixing UV stabilized Unplasticised -PVC pipe clips of approved design to Rigid PVC pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | each | 61 | 8 | 976 | 0 | 0 | N
84 | PWD | PWD BLD | 2015 | 17.2.1 | Providing and replacing broken floor tile with ceramic glazed floor tiles conforming to IS : 15622 of approved size, make, colour, shade laid on 20 mm thick Cement Mortar 1:4 (1 cement : 4 coarse sand) including removing the broken tile and mortar, pointing the joints with white cement mixed with matching pigment etc., complete. Size 300x300mm | sqm | 1151 | 5.5 | 12662 | 0 | 0 | N
85 | PWD | PWD BLD | 2015 | 17.2.2 | Size above 300x300mm | sqm | 1187 | 5.155 | 17989 | 0 | 0 | N
86 | PWD | PWD BLD | 2015 | 2017-06-01 | Providing and replacing broken floor tile with vitrified floor tiles with double charge/ multi charge printing with water absorption less than 0.5% and conforming to IS : 15622 of approved make in all colours and shades and size mentioned below (+/- 10mm), laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including removing the broken tile and mortar, grouting the joints with white cement and matching pigments etc. complete: Size 600x600mm | sqm | 1611 | 15.01 | 40291 | 0 | 0 | N
[8 empty] | TOTAL RS. | 2000005
|  |  | Sub Engineer |  |  | Sub Divisinal Officer |  |  | Executive Engineer
|  |  | Public Works Department |  |  | Public Works Department |  |  | Public Works Department
|  |  | Lormi Sub Division, Lormi |  |  | Lormi Sub Division, Lormi |  |  | Mungeli Division, Mungeli

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false6444
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | ELECTRIC | ELECT | Percentage | %
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | PHED | PHED1 | Per mile | %O
Chhattisgarh Department of Agriculture (CGDA) | CGDA | RES_BUILDING | RESBDG | 1000 no. | 1000 no.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | NON SOR | NS | 1000No. | 1000No.
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | BRIDGE | PWD_BRIDGE | Siemens Per meter | A/V
Chhattisgarh Housing Board (CGHB) | CGHB | PWD BUILDLING | PWD BLD | Acre | ACR
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PWD ROAD | PWD ROAD | Activity unit | AU
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Bag | BAG
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Book | BK
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Centiliter | CL
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cm | cm
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | Centimeter | CM
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Square centimeter | CM2
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Directorate of Fisheries (DF) | DF |  |  | cum | cum
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | cum.km | cum.km
Food and Drug Administration (FDA) | FDA |  |  | Days | DAY
Health Department (HD) | HD |  |  | Degree | DEG
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | DFLT | DFLT
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Decimeter | DM
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Drum | DR
Mineral Resources Department (MRD) | MRD |  |  | Dozen | DZ
Naya Raipur Development Authority (NRDA) | NRDA |  |  | EACH | EA
Panchayat and Rural Development (PARD) | PARD |  |  | each | each
Public Health Engineering Department (PHED) | PHED |  |  | each additional floor | each additional floor
Public Works Department (PWD) | PWD |  |  | each cut | each cut
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each test | each test
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | each tree guard | each tree guard
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Enzyme Units / Milliliter | EML
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rural Engineering Services (RES) | RES |  |  | Fluid Ounce US | FOZ
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Feet | FT
State Urban Development Agency (SUDA) | SUDA |  |  | Square foot | FT2
Urban Administration and Development Department (UADD) | UADD |  |  | Cubic foot | FT3
Water Resources Department (WRD) | WRD |  |  | Gigajoule | FY
|  |  |  | Gram | G
|  |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG. | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | Per mtr | Per mtr
|  |  |  | per pouch | per pouch
|  |  |  | per test | per test
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per.mtr | per.mtr
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Parts per trillion | PPT
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM