## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Quantity | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | PWD | ELECT | 2020 | 6.71 | Supply , installation , testing and commissioning of following recess mounted DALI/0-10volt Analogue dimmable LED/COB Downlighter with Die cast housing made of aluminum and white. Powder coated finish. Diming should be Based LED shall having LM80 complied as per L70 standard LEDs minimum tested for 10,000 burning hours with 3000-6000K CCT with minimum life cycle 50000 hrs burning hours at 50˚C. Driver shall be 3 stage Constant Current Constant Voltage with voltage range of 150-270V AC. Driver Power factor shall be 0.95 and above and THD shall be less than 10%. 6.71.6 40 Watt | each | 83 | 0 | 0 | N
2 | PWD | ELECT | 2020 | 24.4 | Installation of split type Inverter/Non Inverter Air Conditioner unit, cooling unit on wall inside and condensing unit on out side wall/ ceiling/ floor at desired locations with existing standard length of copper piping with insulation and power cable including providing and fixing necessary good quality powder coated MS frame etc complete as per specification. (Extra length of copper piping and power cable shall be paid extra on linear basis) | each | 9 | 0 | 0 | N
3 | PWD | ELECT | 2020 | 24.7 | Supply and fixing of approved make wall mounting type voltage stabilizer with input volts 160-250, output volts 200-240 volts and double step relay on desired location with necessary fixing material including connection etc complete as per specification. 24.7.2 5 KVA | each | 9 | 0 | 0 | N
4 | PWD | ELECT | 2020 | 24.10 | Supply, connecting and fixing extra length of copper piping for split type air conditioners of following dia and approved quality with insulation sleave etc complete as per specification 24.10.1 5/8 " | each | 40 | 0 | 0 | N
5 | PWD | ELECT | 2020 | 24.10.2 | 1/2 " | each | 15 | 0 | 0 | N
6 | PWD | ELECT | 2020 | 24.11 | Supplying and fixing good quality powder coated MS frame for installation of out door unit of split type Air Conditioner at desired location with atleast 6 nos steel fastners etc complete as per specification | each | 9 | 0 | 0 | N
7 | PWD | ELECT | 2020 | 24.20 | Supplying of approved make Hiwall split Inverter type Air Conditioner unit with cooling unit (copper coil) and condensing unit (copper coil) including 5 years compressor warranty and standard length of upto 5 metre of copper piping with insulation etc complete as per specification:24.20.9 2.0 Ton split type Inverter AC {5 Star} | each | 9 | 0 | 0 | N
8 | PWD | ELECT | 2020 | 24.25 | Supplying and fixing of approved make Tower Air Conditioner unit with cooling unit and condensing unit with copper coil including standard length of upto 3 metre of copper piping with insulation etc complete as per specification. 24.25.3 4.0 TR | each | 10 | 0 | 0 | N
9 | PWD | ELECT | 2020 | 27.49 | Supplying, installation, testing and commissioing of following size LED Monitor, table/wall mount with inbuild speaker minimum 5Wx2,with minimum 1 No of HDMI and USB port including remote control, connecting cable, batteries, and all accessories, connection etc complete as per specification. 27.49.4 55 inch | each | 1 | 0 | 0 | N
10 | PWD | ELECT | 2020 | 11.2 | Supplying, installation, testing and commissioning following rating single phase in single phase out ON-LINE UPS including connection etc but without batteries as per specification.11.2.3 5 KVA with DC bus voltage 180 V | each | 1 | 0 | 0 | N
11 | PWD | ELECT | 2020 | 11.4 | Supplying, installation, testing and commissioning following rating (Sealed Maintenance Free) lead acid battery including connection as per specification.11.4.4 120 AH | each | 15 | 0 | 0 | N
12 | PWD | ELECT | 2020 | 1.15 | Supplying and fixing of following sizes FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) along with accessories in concealed complete as per specification and IS: 9537 (2000 Part 5) 1.15.1 20 mm | each | 53 | 0 | 0 | N
13 | PWD | ELECT | 2020 | 1.15.2 | 25 mm | each | 100 | 0 | 0 | N
14 | PWD | ELECT | 2020 | 3.14 | Supplying and drawing UTP 4 pair Cat 6 LAN wire in existing surface/ concealed Steel/FRLS PVC conduit as per specification | each | 300 | 0 | 0 | N
15 | PWD | ELECT | 2020 | 27.10 | Supplying , installation , testing and commissioning of 2 MP Bullet Camera weather & dust proof IP based Fixed Lens day/night Camera (IP67 , IK 10) , 2 MP CMOS Image Sensor ,H.265 and H.264 triple-stream WDR(120dB), Day/Night, UL ,CE FCC Certified as per the specifications. | each | 20 | 0 | 0 | N
16 | PWD | ELECT | 2020 | 27.22 | Supplying , installation , testing and commissioning of 32 Channel NVR 8 Sata Port Up to 32 channel IP camera input , Max 320Mbps incoming bandwidth , Smart H.265+/H.265/Smart H.264+/H.264/MJPEG , Up to 12MP resolution preview and playback , Support 8 SATA HDDs up to 10TB each,1 eSata , 4 USB(2 USB3.0, 2USB2.0) , 2 HDMI / 2 VGA simultaneous video output ,ONVIF Version 2.4 conformance , Alarm In / out 16/6 , Two way talk 1 Channel Input, 2 Channel Output RCA , 1 RS485, 1 RS232 , 2 RJ-45 port (10/100/1000Mbps), Support ANPR Camera as per the specifications. | each | 1 | 0 | 0 | N
17 | PWD | ELECT | 2020 | 27.44 | Supplying , installation , testing and commissioning of 4U Indoor Rack Wallmount 4U 400D With Front Glass Door Lock & Key 550 4U - (fan; cable manager; PDU) complete as required. | each | 4 | 0 | 0 | N
18 | PWD | ELECT | 2020 | 27.49 | Supplying, installation, testing and commissioing of following size LED Monitor, table/wall mount with inbuild speaker minimum 5Wx2,with minimum 1 No of HDMI and USB port including remote control, connecting cable, batteries, and all accessories, connection etc complete as per specification. 27.49.1 32 inch | each | 1 | 0 | 0 | N
Sub Engineer
P.W.D. E/M Sub Dn.
Rajnandgaon
Sub Divisional Officer
P.W.D. E/M Sub Division
Rajnandgaon
Sub Engineer
P.W.D. E/M Sub Dn.
Rajnandgaon
Sub Divisional Officer
P.W.D. E/M Sub Division
Rajnandgaon
Sub Engineer
P.W.D. E/M Sub Dn.
Rajnandgaon
Sub Divisional Officer
P.W.D. E/M Sub Division
Rajnandgaon

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false142204
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | RES_BUILDING | RESBDG | Per mile | %O
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | NON SOR | NS | 1000No. | 1000No.
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | WRD | WRD | MAN DAYS | 12345
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | ELECTRIC | ELECT | 1 Box | 1B
Bilaspur Smart City Limited(BSCL) | BSCL | PMGSY SOR | PMGSY | 1 Piece | 1P
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS | Creda SOR | CREDA_SOR | 1 Strip | 1S
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | Siemens Per meter | A/V
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | Acre | ACR
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | AMC | AMC
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | AMPOULE | AMP
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | As per Tender | APT1
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Activity unit | AU
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | Bag | BAG
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | barrel | barrel
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | Batch | Batch
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | BHQ | BHQ
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Book | BK
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | BOTTLE | BOT
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Box | BOX
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Gallons per hour (US) | BPH
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Brass | Brass
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Billing Rate Per Month | BRM
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Bottle | BT
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Bundle | Bundle
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Canister | CAN
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Carton | CAR
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | Cubic Centimeter | CCM
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Cubic decimeter | CD3
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Centiliter | CL
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | cm | cm
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Centimeter | CM
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Square centimeter | CM2
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | coils | coils
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | COILS | Coils
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | CONE | CONE
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Copies | Copies
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Crate | CRT
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | Case | CS
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh Transport Department(CTD) | CTD |  |  | cubic feet | cubic feet
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | cubic feet (CFT) | cubic feet (CFT)
Collectorate Balod(CB) | CB |  |  | cum | cum
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | cum.km | cum.km
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | Days | DAY
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Degree | DEG
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | DFLT | DFLT
Department of School Education (DSE) | DSE |  |  | DHQ | DHQ
Department of Technical Education (DTE) | DTE |  |  | DHQ-BHQ | DHQ-BHQ
Department of Women and Child Development(WCD) | WCD |  |  | Decimeter | DM
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | Drum | DR
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | DRUM | DRUM
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | Dozen | DZ
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | EACH | EA
Directorate of Aviation(DoA) | DoA |  |  | each | each
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | EACH | EACH
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | each additional floor | each additional floor
Directorate of Fisheries (DF) | DF |  |  | Each Courty | Each Court
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | each cut | each cut
Directorate of Industries(DOI) | DOI |  |  | EACH FRAME | EACH FRAME
Directorate of Institutional Finance(DIF) | DIF |  |  | Each rol | Each rol
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | each test | each test
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | each tree guard | each tree guard
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | each tree guard | each tree guard
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | Each box | EB
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Enzyme Units / Milliliter | EML
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | Each TAPE | ET
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Enzyme Units | EU
DISTRICT POLICE KORBA(DPK) | DPK |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | For each PPE KIT | For each PPE KIT
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | For each Test KIT | For each Test KIT
Food and Drug Administration (FDA) | FDA |  |  | For each VTM Kit | For each VTM Kit
Forest Department(FD) | FD |  |  | Fluid Ounce US | FOZ
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Feet | FT
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Square foot | FT2
Health Department (HD) | HD |  |  | Cubic Foot | FT3
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gigajoule | FY
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram | G
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | gram act.ingrd /liter | G/L
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | US gallon | GAL
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gram Gold | GAU
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Gram act.ingrd. | GI
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | Gram /liter | GLI
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Gram/Mol | GM
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Gram/Kilogram | gm/kg
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Gram /square meter | GM2
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | Gram/Cubic meter | GM3
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | Gigaohm | GOH
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Gallons per mile (US) | GPM
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | Gross | GRO
Livestock Development Department(LDD) | LDD |  |  | Hour | H
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Hectare | HA
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | hectare | hectare
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Hectoliter | HL
Mineral Resources Department -Mining (MRD) | MRD |  |  | hour | hour
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Horse power | HP
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Hours | HR
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | Hours | Hrs
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | hundred Pieces | hundred Pieces
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | HALF YEARLY | HY
Panchayat and Rural Development (PARD) | PARD |  |  | I/O Point | I/O Point
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | INHALER | INH
Public Health Engineering Department (PHED) | PHED |  |  | Indian Rupees | INR
Public Works Department (PWD) | PWD |  |  | JAR | JAR
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Joule /kilogram | JKG
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Joule /Mol | JMO
Raipur Collectorate (RC) | RC |  |  | Job | Job
Raipur Development Authority (RDA) | RDA |  |  | joint | joint
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilogram act.ingrd | KAI
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilogram /cubic decimeter | KD3
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | kg | kg
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | Kgs | Kg
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | Kilogram | KG
Rural Engineering Services (RES) | RES |  |  | Kilogram/Mol | KGM
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | Kilogram /Second | KGS
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | Kilogram / cubic meter | KGV
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | kg act.ingrd /kg | KIK
State Tax Chhattisgarh(STCG) | STCG |  |  | KILOWATT | KILOWATT
State Urban Development Agency (SUDA) | SUDA |  |  | KIT | KIT
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | Kilojoule/kilogram | KJK
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | Kilojoule/Mol | KJM
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Kilo Litre | KL
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | Km | Km
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Kilometer | KM
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | km. | km.
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Square kilometer | KM2
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Kilometer/hour | KMH
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | Kelvin/Minute | KMN
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Kelvin /Second | KMS
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Kilonewton per square meter | KNM
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Kilopascal | KPA
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Kilotonne | KT
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Kilovoltampere | KVA
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | KWH | KWH
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | KILOWATT POWER | KWP
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | kwp-dc | kwp-dc
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | US Pound | LB
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | lemgth | lemgth
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | length | length
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Liter per 100 km | LHK
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | litre | litre
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | Liter /Minute | LMI
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | Liter /Molsecond | LMS
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | LOT | LOT
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Liter Per hour | LPH
Urban Administration and Development Department (UADD) | UADD |  |  | Lumpsum | LS
Water Resources Department (WRD) | WRD |  |  | LITRE | LT
Zila Panchayat Raipur(ZPR) | ZPR |  |  | lumpsump | lumpsump
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man days | Man days
|  |  |  | Man-Month | Man-Month
|  |  |  | Manmonth | Manmonth
|  |  |  | Mbps | Mb
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per Kg | Per Kg
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM