## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
NIT SCHEDULE FOR PROVIDING STREET LIGHT TO FOUR LANE ROAD AT GANDHI CHOWK TO RAILWAY STATION AMBIKAPUR DISTT. SURGUJA (C.G.) (Length 5.54KM)
PAC Rs. 1.55 Cr.
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset Price
1 | PWD | ELECT | 2020 | 1.13 | Wiring for circuit/ sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, wire in concealed FRLS PVC conduit (heavy duty, thickness of pipe should be 2 mm) as per specification and IS: 694 (2010), IS: 9537 (2000 Part 5) 1.13.2) 3 X 2.5 sq. mm in 20mm conduit | Metre | 111 | 5700 | 632700 | 0 | 0 | N
2 | PWD | ELECT | 2020 | 6.28 | Supplying, installation, testing and commissioning of following 230/250 volts LED street light fitting with all accessories like driver, heat sink made of die cast aluminium with IP 66 protection and 15 KV surge protection on pole bracket, including connection, earthing, Separate housing for driver etc complete as per specification and P.F. should be greater than 0.9. LED chip efficacy ratio ≥ 120 lumens /watt. 6.28.13) 210 watt | Each | 14057 | 400 | 5622800 | 0 | 0 | N
3 | PWD | ELECT | 2020 | 6.28.14 | 250 watt | Each | 15846 | 12 | 190152 | 0 | 0 | N
4 | PWD | ELECT | 2020 | 7.11 | Providing and fixing porcelain re-wireble fuse carrier and base unit on wooden board including drilling holes on the board, screws, connections etc. as per specification. (Thimbeling shall be paid separately). 7.11.4) 100 amps | Each | 290 | 3 | 870 | 0 | 0 | N
5 | PWD | ELECT | 2020 | 7.11.6 | 300 amps | Each | 797 | 6 | 4782 | 0 | 0 | N
6 | PWD | ELECT | 2020 | 7.17 | Providing and making interconnection in cubical panel between BBC and switchgears with following size FRLS PVC insulated copper conductor wire lead of length upto 50cm including providing copper thimbles on both ends as per specification (To be measured separately for each phase/ neutral). 7.17.3) 35 sqmm (125 amps) | Each | 181 | 16 | 2896 | 0 | 0 | N
7 | PWD | ELECT | 2020 | 7.19 | Fabrication, supply, installation, testing and commissioning of cubicle type compartmentalized wall/ floor mounted power cum control panel board of specified size and following depth made out of not less than 2 mm thick CRCA MS powder coated sheet with suitable size compartments for bus bars, switchgears and necessary cutouts for voltmeters, ammeters etc as per specifications including powder coating painting but without busbars, switchgears and other accessories etc complete as per specification. 7.19.1) Upto 300 mm deep | sqm | 6818 | 2.5 | 17045 | 0 | 0 | N
8 | PWD | ELECT | 2020 | 7.21 | Supply, installation, testing and commissioning of 4 pole (3 phase + neutral) copper (electric grade) bus bars in existing cubicle type compartmentalized wall/ floor mounted panel board along with suitable size and shape insulators, necessary bolts and nuts etc complete as per specification. 7.21.1) 100 amp (20x3mm) | Metre | 1319 | 1 | 1319 | 0 | 0 | N
9 | PWD | ELECT | 2020 | 7.21.3 | 300 amp (40x5mm) | Metre | 2659 | 2 | 5318 | 0 | 0 | N
10 | PWD | ELECT | 2020 | 9.1 | Providing and fixing following rating and breaking capacity MCCB in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as per specification, IS/ IEC: 60947-2 and Ics = 100 % Icu. 9.1.4) 3 pole MCCB, 100A, Adjustable Thermal - Magnetic Release, 25KA | Each | 3734 | 1 | 3734 | 0 | 0 | N
11 | PWD | ELECT | 2020 | 9.1.11 | 3 pole MCCB, 320A, Adjustable Thermal - Magnetic Release, 35KA | Each | 13933 | 2 | 27866 | 0 | 0 | N
12 | PWD | ELECT | 2020 | 9.10 | Supplying and fixing SP MCB, 240 volts, 'B' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 9.10.1) 6 amps to 32 amps | Each | 151 | 200 | 30200 | 0 | 0 | N
13 | PWD | ELECT | 2020 | 9.16 | Supplying and fixing TP&N MCB, 440 volts, 'C' curve, suitable for lighting and other loads in the existing MCB DB complete with connections, testing and commissioning etc. as per specification. 9.16.5) 63 amps | Each | 1316 | 2 | 2632 | 0 | 0 | N
14 | PWD | ELECT | 2020 | 10.13 | Providing and fixing 3 pole, 415/500 volts following rating (AC-1 Duty) power contactor in existing starter/ cubical panel including, connections, testing and commissioning etc. as per specification. 10.13.4) 100 amps | Each | 6774 | 1 | 6774 | 0 | 0 | N
15 | PWD | ELECT | 2020 | 10.13.6 | 315 amps | Each | 18427 | 2 | 36854 | 0 | 0 | N
16 | PWD | ELECT | 2020 | 10.15 | Providing and fixing following rating current transformer in existing cubical panel including, connections, testing and commissioning etc. as per specification. 10.15.2) 100/5 amps | Each | 349 | 1 | 349 | 0 | 0 | N
17 | PWD | ELECT | 2020 | 10.15.4 | 315/5 amps | Each | 356 | 2 | 712 | 0 | 0 | N
18 | PWD | ELECT | 2020 | 10.17 | Providing and fixing penal mounting 230 volt LED type indicating lamp in existing cubical panel including, connections, testing and commissioning etc. as per specification. | Each | 94 | 6 | 564 | 0 | 0 | N
19 | PWD | ELECT | 2020 | 10.22 | Providing and fixing following Time switch (timer) in existing panel including connection, testing and commissioning as per specification. 10.22.2) Analoge type | Each | 2525 | 3 | 7575 | 0 | 0 | N
20 | PWD | ELECT | 2020 | 10.23 | Providing and fixing panel mounting digital type VAF (Volt-amp-frequency combined) meter of size 100x100 (NS) in existing cubical panel including connection, testing and commissioning etc. as per specification. | Each | 1201 | 2 | 2402 | 0 | 0 | N
21 | PWD | ELECT | 2020 | 12.1 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal and salt as per specification and IS Code 3043: 1987(R 2016) | Set | 3243 | 100 | 324300 | 0 | 0 | N
22 | PWD | ELECT | 2020 | 12.3 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe, with charcoal and salt as per specification and IS Code 3043: 1987(R 2016) | Set | 6209 | 5 | 31045 | 0 | 0 | N
23 | PWD | ELECT | 2020 | 12.6 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode at 0.5 Metre depth below ground level including excavation and refilling the trench etc. as per specification. | Set | 752 | 60 | 45120 | 0 | 0 | N
24 | PWD | ELECT | 2020 | 12.17 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as per specification. | Metre | 38 | 1800 | 68400 | 0 | 0 | N
25 | PWD | ELECT | 2020 | 12.20 | Excavation for foundation in soft soil/hard soil including dressing of sides and ramming of bottoms, lifting and getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres | Cum | 168 | 28 | 4704 | 0 | 0 | N
26 | PWD | ELECT | 2020 | 14.1 | Supplying and laying ISI marked double wall HDPE pipe (IS 14930 Part II) having corrugation on the outer wall and plan surface on inner wall in ground below road, path etc at a depth not less than 40 cm and upto 90 cm including excavation, dismantling of road if required and refilling the trench with excavated material, ramming and making the surface good etc. as per specification. 14.1.1) 63 mm outer dia and 50 mm Inner dia | Metre | 184 | 2055 | 378120 | 0 | 0 | N
27 | PWD | ELECT | 2020 | 14.1.2 | 75 mm outer dia and 60 mm Inner dia | Metre | 203 | 250 | 50750 | 0 | 0 | N
28 | PWD | ELECT | 2020 | 15.1 | Supplying and laying following sizes one number FRLS PVC insulated/XLPE, PVC sheathed, steel armoured, aluminium conductor power cable of 1.1 KV grade direct in ground at a depth not less than 40 cm and upto 90 cm including excavtion, sand cushioning, protective covering and refilling the trench etc as per specification, IS: 1554 (1988, Part 1) & IS: 7098 (1988, Part 1). 15.1.12) 3.5 x 35 sq. mm. | Metre | 316 | 400 | 126400 | 0 | 0 | N
29 | PWD | ELECT | 2020 | 15.1.14 | 3.5 x 70 sq. mm. | Metre | 451 | 200 | 90200 | 0 | 0 | N
30 | PWD | ELECT | 2020 | 15.1.23 | 4 x 16 sq. mm. | Metre | 300 | 5890 | 1767000 | 0 | 0 | N
31 | PWD | ELECT | 2020 | 15.28 | Supplying, fixing and cramping suitable size and all type aluminium ferule/ lugs to following size 1.1 KV grade power cable core / lead, pressed with high pressure cramping tool including connection to switch gear/ MCCB etc as per specification. 15.28.3) 16 sq. mm | Each | 19 | 1776 | 33744 | 0 | 0 | N
32 | PWD | ELECT | 2020 | 15.28.5 | 35 sq. mm | Each | 20 | 150 | 3000 | 0 | 0 | N
33 | PWD | ELECT | 2020 | 15.28.7 | 70 sq. mm | Each | 25 | 30 | 750 | 0 | 0 | N
34 | PWD | ELECT | 2020 | 19.8 | Supply of hot dipped galvanized (in single dip to minimum 75 micron) octogonal pole made of 3mm thick steel grade E-350 sheet having window and flush cover with locking arrangement at suitable height from base for cable termination block, pole suitably reinforced with welded steel section at window cut section to make the strength of pole unaffected, with following minimum specifications with 4 way terminal connector including 4mm thick anchor plate, 4 nos 24mm dia foundation bolts of EN8 grade, and as per IS 2062 & BS EN: 10025. (designed for wind speed upto 180km/hr, IS: 875 Part 3) 19.8.3) 11 metre high, dia 210mm at bottom and 90mm at top, base plate size 300x300x20mm, foundation bolts 750mm long | Each | 20261 | 200 | 4052200 | 0 | 0 | N
35 | PWD | ELECT | 2020 | 19.9 | Supply and fixing following street light pole bracket on existing pole made out of 50 mm dia MS "B" class pipe welded to 300 mm long MS pole canopy of suitable dia at a angle of 102.50 including having MS triangular stiffner of size 150 X 50 X 5 mm thick, making arrangement for tightening the bracket with pole by providing suitable size heavy duty nuts and bolts in canopy, painting with one coat of approved steel primer etc. as per specification. 19.9.7) Double Over Hang 1.50 metre Long | Each | 1869 | 200 | 373800 | 0 | 0 | N
36 | PWD | ELECT | 2020 | 19.12 | Designing and providing suitable RCC foundation in Cement Concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) for 3 mere to 12 metre high GI octagonal pole including steel reinforcement form work, embeding 2 nos 50mm dia PVC pipe for cable entry in each foundation, excavation disposal of surplus soil and curing etc. as per specification. | cum | 5219 | 200 | 1043800 | 0 | 0 | N
37 | PWD | ELECT | 2020 | 19.21 | Supplying erection testing and commissioning of hot dipped galvanised (single dip, minimum 86 micron) 25 metre High mast pole on existing RCC foundation with all accessories and equipments, main detailed as below to withstand max wind pressure as per IS 875 Part-3: a) HM shaft made of approved no of sections (not more than 3) having suitable sectional lengths with slip joints between sections without any circumpherencial welding sheet thickness 3 mm top & 4 mm middle and bottom section, nominal dia 460mm on bottom and 150 mm on top, base plate 25mm thick 670mm dia, PCD of foundation bolts 590mm. b) Double drum winch with Integral single phase power tool (electrical) for lowering & raising of lantern carriage on high mast with separate handle for manual operation of winch with a torque limiting device for safe locking of carriage. c) Raising/lowering type lantern carriage designed to carry specified nos of luminaries, control gear box, junction box. d) Top pulley assemble with weather proof cover. e) 2 Nos suitable length and size stainless steel wire ropes (minimum 6mm dia and 7/19 construction) for lowering & rising of lantern carriage. f) Suitable size and length multicore flexible copper power trailing cable (minimum 3 core 4 sqmm) g) Hinged service door in base section h) Base plate earthing terminal. i) Suitable arrangement for supply distribution with termination of suitable size underground cable in high mast. j) Lightning conductor finial made of 25mm dia 300 mm long G.I.tube having single prong. k) Anchor plate, tem-plates, GI foundation bolts min 12 Nos of 30 mm dia 850 mm long (EN 8 Grade) along with nuts washers etc. (RCC fooundation and luminaries will be paid separately) | Each | 370675 | 1 | 370675 | 0 | 0 | N
38 | PWD | ELECT | 2020 | 19.23 | Designing and providing suitable and approved size RCC foundation for 12-30 mere high mast including seel reinforcement form work, embeding 2 nos 50mm dia PVC pipe for cable entry in each foundation, excavation disposal of surplus soil and curing etc. as required including laying and fixing HM foundation bolts with tam plates but excluding the cost of foundation bolts with tam plates etc complete as per specification | cum | 5219 | 4 | 20876 | 0 | 0 | N
39 | PWD | ELECT | 2020 | 30.1 | Earth work in all type soil except soft rock / hard rock with all lead and 1.5 metre lift, dressing, stacking excavated strata including refilling of excavated soil in trench / pit to ground level complete as per specification. | cum | 168 | 700 | 117600 | 0 | 0 | N
[8 empty] | Total | 15500028 | 0 | 0 | N
[8 empty] | Say Rs. | 15500000 | 0 | 0 | N
Sub Divisional Officer
P.W.D. (E/M) Sub Dn.
Ambikapur
Executive Engineer
P.W.D. (E/M) Dn.
Ambikapur
Sub Engineer
P.W.D. (E/M) Sub Dn.
Ambikapur

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false30820
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | WRD | WRD | Percentage | %
Bilaspur Smart City Limited(BSCL) | BSCL | PHE | PHE | Per mile | %O
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | ELECTRIC | ELECT | 1 Job | 1 Job
Chhattisgarh Department of Agriculture (CGDA) | CGDA | PHED | PHED1 | 1000 no. | 1000 no.
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB | RES_BUILDING | RESBDG | 1000No. | 1000No.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | PMGSY SOR | PMGSY | Print | 123
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | NON SOR | NS | Per Diem Rate | 1234
Chhattisgarh Housing Board (CGHB) | CGHB | BRIDGE | PWD_BRIDGE | MAN DAYS | 12345
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | PWD BUILDLING | PWD BLD | PRINT | 678
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV | PWD ROAD | PWD ROAD | Siemens Per meter | A/V
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Acre | ACR
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Activity unit | AU
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Bag | BAG
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Batch | Batch
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Book | BK
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Box | BOX
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Centiliter | CL
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | cm | cm
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | Centimeter | CM
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | Square centimeter | CM2
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | coils | coils
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | COILS | Coils
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Copies | Copies
Department of School Education (DSE) | DSE |  |  | Crate | CRT
Department of Technical Education (DTE) | DTE |  |  | Case | CS
Department of Women and Child Development(WCD) | WCD |  |  | Cu.Mtr. | Cu.Mtr.
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | cubic feet | cubic feet
Directorate of Fisheries (DF) | DF |  |  | cubic feet (CFT) | cubic feet (CFT)
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | cum | cum
DISTRICT POLICE KORBA(DPK) | DPK |  |  | cum.km | cum.km
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | Days | DAY
Food and Drug Administration (FDA) | FDA |  |  | Degree | DEG
Health Department (HD) | HD |  |  | DFLT | DFLT
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Decimeter | DM
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Drum | DR
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Dozen | DZ
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | EACH | EA
Mineral Resources Department -Mining (MRD) | MRD |  |  | each | each
Naya Raipur Development Authority (NRDA) | NRDA |  |  | each additional floor | each additional floor
Panchayat and Rural Development (PARD) | PARD |  |  | Each Courty | Each Court
Public Health Engineering Department (PHED) | PHED |  |  | each cut | each cut
Public Works Department (PWD) | PWD |  |  | each test | each test
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each tree guard | each tree guard
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | Each box | EB
Raipur Smart City Limited(RSCL) | RSCL |  |  | Enzyme Units / Milliliter | EML
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Each TAPE | ET
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rashtriya Madhyamik Shiksha Abhiyan(RMSA) | RMSA |  |  | Fluid Ounce US | FOZ
Rural Engineering Services (RES) | RES |  |  | Feet | FT
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Square foot | FT2
State Urban Development Agency (SUDA) | SUDA |  |  | Cubic Foot | FT3
Urban Administration and Development Department (UADD) | UADD |  |  | Gigajoule | FY
Water Resources Department (WRD) | WRD |  |  | Gram | G
Zila Panchayat Raipur(ZPR) | ZPR |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Hours | Hrs
|  |  |  | I/O Point | I/O Point
|  |  |  | Indian Rupees | INR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | KWH | KWH
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | lumpsump | lumpsump
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man days | Man days
|  |  |  | Man-Month | Man-Month
|  |  |  | Manmonth | Manmonth
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | per month | per month
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | Per person | PER PERSON
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | per pouch | per pouch
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Parts per trillion | PPT
|  |  |  | Per Roll | PR
|  |  |  | Print | Print
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM