KARNATAKA POWER TRANSMISSION CORPORATION LIMITED

TRANSMISSION OPERATIONS CIRCLE-SOUTH, Bengaluru

BIDDING DOCUMENTS

Bid Enquiry No: KPTCL/SEE/TR(Op)/Cir-South/EE(O)/AEE-1/JE-1/26-27/EPR-05 Dated: 01.06.2026

Tender for Design, Manufacture, Supply, Testing, Erection and Commissioning of 48V, 300AH, Plante/Grid type PLCC Battery Sets under Buy Back Scheme for 400kV R.S Hoody and 220/66/11kV HAL Stations, Under Jurisdiction of Tr (Op) Circle-South, KPTCL Bengaluru conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading

Superintending Engineer Ele.,

Tr (Op), Circle-South, KPTCL

Bengaluru -560009

TABLE OF CONTENTS

| Section | Subject |
| --- | --- |
| I | INVITATION FOR BIDS AND INSTRUCTIONS TO BIDDERS AND GENERAL CONDITIONS OF CONTRACT |
| II | SPECIAL CONDITIONS OF CONTRACT |
| III | SCHEDULE OF REQUIREMENTS AND DESIRED DELIVERIES |
| IV | TECHNICAL SPECIFICATIONS AND GUARANTEED TECHNICAL PARTICULARS |
| V | SCHEDULES Schedule-1 - Guaranteed Technical Particulars Schedule-2 - Technical Deviation Schedule-3 - Commercial Deviation Schedule-4 - Qualifying Requirement Data. Schedule-5 - Bid form Schedule-6 Assessment of Financial Capability of the bidder. Schedule-7- Commercial Terms and Conditions Schedule-8- Price sheet (Prices shall be quoted in e-procurement portal only). |

SECTION – I

INVITATION FOR BIDS

AND

INSTRUCTIONS TO BIDDERS

AND

GENERAL CONDITIONS OF

CONTRACT

KARNATAKA POWER TRANSMISSION CORPORATION LIMITED

INVITATION FOR BIDS

Bid Enquiry No.: KPTCL/SEE/TR(Op)/Cir-South/EE(O)/AEE-1/JE-1/26-27/EPR-05 Dated: 01.06.2026

Karnataka Power Transmission Corporation Limited invites offers from eligible firms for Design, Manufacture, Supply, Testing, Erection and Commissioning of 48V, 300AH, Plante/Grid type PLCC Battery Sets under Buy Back Scheme for 400kV R.S Hoody and 220/66/11kV HAL Stations, Under Jurisdiction of Tr (Op) Circle-South, KPTCL Bengaluru conforming to Technical Specifications. F.O.R.D at Store/Site basis, including insurance, transportation and unloading

- Interested eligible firms may obtain further information from the office of the Superintending Engineer Ele., Transmission (Op) Circle-South, KPTCL, Bengaluru-560009. Telephone No. 080-22386685-86, Fax: 080-22386685-86, Mobile: 9449875991. Bidding documents may be seen and downloaded from the e-Procurement portal (https://kppp.karnataka.gov.in).

- Tender Processing Fee

Bidders shall pay Tender Processing Fee as mentioned in the e-Procurement portal through any of the following e-Payment modes

- Credit Card/ Debit card

- Net Banking

- NEFT / RTGS

- Over the Counter (OTC)

- IMPS

For further clarification, contact KPPP-procurement portal.

- Bids shall be accompanied by Bid Security (EMD) for an amount of        Rs. /- mentioned in clause no. 4 of NIT which shall be paid through any of the procurement modes as mentioned in section 2.0. No interest or any other cost will be payable by KPTCL on the EMD.

Any other form of payment will not be accepted.

4. The Techno-Commercial Bids will be opened on the date and time as mentioned in the KPPP-Procurement platform at the office of the Superintending Engineer Ele., Transmission (Op) Circle-South, KPTCL, Bengaluru. Bidder’s representative (two person per firms) may witness electronic bid opening.

5. KPTCL reserves the right to cancel/withdraw the invitation for bids without assigning any reasons for such decision.

6. Qualifying Requirements:

- The bidder should be original manufacturer or authorized Agent/dealer of the original manufacturer of the material/equipment specified in the present enquiry. The bidder shall upload proof such as license issued by any government statutory authority in this regard. The authorized Agent/Dealer should furnish a letter from their manufacturer certifying that they are the authorized dealer of the manufacturer.

- The bidder shall have a minimum experience of 05 (Five) years in the field of manufacturing of material/equipment specified in the present enquiry. Bidders shall have to upload the supporting Documents such as Purchase order copies /order completion certificates/ performance certificates.

- The bidder should have manufactured/supplied at least 50% (25% in respect of Micro & Small Enterprise) of tendered quantity of equipment mentioned in present tender of each rating or higher rating is also allowed as specified in the present enquiry to state/central owned Transmission Utilities/Generation Utilities/PSUs/State /Central government offices.

- The Bidder shall also furnish performance certificate of at least 50% (25% in respect of Micro & Small Enterprise) or higher rating of equipment specified in the present enquiry issued by state owned Electricity utilities /Generating utilities only and issuing officer shall not be below the rank of Executive Engineer or equivalent Division Head. The performance certificate shall be indicating the capacity of cable, make, name of the sub-Division where it is installed, date of commissioning etc., in order to show that tendered materials/equipment’s of this bid were in successful operation for at least TWO years as on the date of bid opening. (Bidders shall have to upload the supporting Documents such as purchase order copies/order completion certificates/performance certificates).

- The Bidder shall furnish Valid Type Test Certificate not older than five (05) years as on the date of bid opening for having conducted successful type test at a CPRI/ERDA Laboratory on tendered material/equipment specified in the present enquiry (on each size mentioned in the tender) as per IS 1652:2013.

In case valid type test reports issued by CPRI/ERDA laboratory not older than 5 years, are not available or if there is change in design that has been type tested at CPRI/ERDA laboratory, the bidder shall give a self-declaration for undertaking that, agreeing to conduct the type tests at CPRI/ERDA Laboratory as specified in the Technical specifications at your cost and no extra cost to KPTCL, without affecting the delivery schedules. If order is placed on the firm same may be furnished at the time of inspection of equipment/material.

Bidders shall have to upload the type test certificates for all the type tests conducted as per the relevant IS/IEC standards.

Note:

- In case, few of the type test reports and additional type test reports specified in KPTCL technical specification are not available, the same are acceptable for tender evaluation purpose, subject to the condition that, the tenderer shall upload and undertaking agreeing to submit all the type test reports specified in KPTCL technical specification for having conducted type tests at designated laboratories mentioned above for the equipment specified in the present enquiry, at the time of inspection of the material by KPTCL officers, if the order is placed on the Tenderer without affecting the delivery schedule and at no extra cost to KPTCL.

- In the event of an award, the delay in supplies of material/equipment due to delay in submission of all type test report & additional type test reports as per sl. No (1) will be to the account of successful tenderer and KPTCL shall have no liability whatsoever in this regard.

- KPTCL may conduct Type Tests as per relevant IS/IEC/KPTCL specifications at its cost on a random sample of the tendered material/equipment specified in the present enquiry at any point of time during the contract at CPRI Laboratory. In case KPTCL opts for conducting type tests and/or additional type test at CPRI on randomly selected equipment, the same will be conducted at KPTCL’s cost. Applicable testing charges of CPRI shall be paid by the equipment supplier upfront and the same is reimbursable by the KPTCL as per actual, on submission of bills along with proof of payment, on successful passing of tests. However, the transportation and insurance charges shall be borne by the supplier himself. In case of failure of equipment during testing, the equipment will not be accepted by KPTCL and KPTCL will not reimburse the testing charges of CPRI to the laboratory. Further, the order placed on the firm will be cancelled and the Performance Bank Guarantee will be forfeited and Tenderer will be de-barred from participating in KPTCL tenders for a period of 1 year. For all the equipments already supplied, the tenderer shall furnish an additional two-year guarantee and shall extend the validity of Performance Bank Guarantee accordingly. The tenderer shall upload an Undertaking agreeing to above criteria and to bear transportation and insurance charges.

- For Equipment manufactured in India:

- Type tests on indigenous equipment for which testing facility is available in India, should have been conducted in any independent laboratories approved by Government or accredited by National accreditation body of the country like Central Power Research Institute (CPRI), Electrical Research and Development Association (ERDA), etc.

- Type tests on indigenous equipment, for which testing facility is not available in India, should have been conducted in a laboratory of foreign country accredited by National accreditation body of that country.

- The type tests conducted in-house by manufacturers shall also be acceptable where the specific test facilities are not available in independent NABL accredited laboratories provided the lab(manufacturers) is accredited by National accreditation body of the country and the tests have been witnessed by a representative of NABL accredited independent laboratory/Power utility.

- For Equipment manufactured Abroad:

- Type tests on imported equipment should have been conducted in an Indian Laboratory or foreign laboratory accredited by National accreditation body of respective country.

- Type tests conducted in-house by manufacturers shall also be acceptable provided the laboratory is accredited by National accreditation body of the country and the tests have been witnessed by a representative of accreditation body/ Power utility.

- Financial capability corresponding to the bidders highest Annual Turnover of the best three year out of previous five Financial Years shall not be less than 50% of amount put to tender. The bidder shall upload audited annual financial statements such as profit & Loss statement. Balance sheet for previous 5 years duly certified by a chartered Accountant. (The copies of the profit and loss A/c balance sheets which could not be read are liable for rejection)

- The Bidder must be registered under Indian Company Act/1956 Indian Factories Act/1948 any relevant Indian Laws, whichever is applicable. In support, certificate of Incorporation, GST registration certificates with GSTIN number and ISO certificate shall be furnished by the bidder.

- The performance of the equipment/material’s supplied by the bidder in the past would also be reckoned for considering the offers.

- The bidder should not have been disqualified for non-performance in any of the Government utilities in the past five years and bidder shall furnish a self-declaration to this effect failing which the offer is liable to be rejected.

- The bidder should not have been blacklisted by any State/Central Generating/ Transmission Utility/ PSUs as on the date of bid submission. The bidder shall upload a self-declaration in this regard and non-furnishing of the declaration will result in rejection of the Bid.

- If the information furnished by the Bidder / Bidders found to be false at any stage of tendering / execution, then the KPTCL, at its discretion may take action against such Bidder / Bidders. If false information  is found at the Tendering stage KPTCL may forfeit  the EMD paid, disqualify the offer of such Bidder, Black list the Firm etc.., and if false information is found at execution  stage then KPTCL may cancel the works awarded , forfeit the Bank Guarantee furnished against the performance  of the contract, Black list the Firm, besides initiating action for recovery of excess money paid by KPTCL  if any after getting the works executed from other contractors, levy liquidated damages  etc.,

- The offer of the bidders taking deviations in following clauses will be summarily rejected.

- Validity of offer.

- Earnest Money Deposit.

- Contract performance security.

- Payment terms.

- Guarantee.

- Penalty for delay

- Stipulated Delivery Schedule.

- Price Basis.

- Test certificates and Demo of Equipment.

- Change in offered quantity against tendered quantity.

- The Bidder shall upload the power of attorney in the prescribed format on Rs.500/- Bond paper. Further the same shall be sent in original to Superintending Engineer Electy., Tr (Operations) Circle-South, KPTCL, A.R Circle, Bengaluru so as to reach after the last submission date & on or before the date & time of opening Techno commercial Bids.

Note:

i). The Bid Enquiry No. shall be clearly and legibly indicated in the     Bank Guarantee.

ii). The offer of the bidder shall be rejected in the following cases:

- If the Power of Attorney is furnished on the stamp paper of value below Rs.500.

- In case the date of execution of Power of Attorney is not mentioned.

- In case the date of execution of Power of Attorney is prior to the date of purchase of Stamp paper.

- In case the Power of Attorney is submitted without the signature of the Power of Attorney holder and signature of the person who has authorized the Power of Attorney holder.

- In case tender documents including techno-commercial sheets are signed by the different person other than the attorney holder or the person who has authorized the attorney holder

- Documentary evidence wherever required shall be uploaded. No hard copies will be/ accepted except power of Attorney, No-deviation Certificate & Letter of undertaking.

- If part or full price sheets or prices are exposed in the Techno-Commercial Sheets or Techno-Commercial Bid of the Bidder then, the offer of the Bidder will be rejected

- Notwithstanding anything stated above, the KPTCL reserves the right to assess the bidder’s capability to perform the work, should the circumstances warrant such assessment in the overall interest of the KPTCL.

- The bidder should provide detailed information on any litigation or arbitration arising out of contracts completed or under execution by it over the last five years with KPTCL. A history of awards involving litigations against the bidder or any party or JV may result in rejection of bid.

Bidders are requested to furnish the self-declaration stating the above and upload the same along with the other documents in the relevant field in the e-procurement portal, failing which the offer is liable to be rejected.

- The Equipment/Material shall conform to the Technical specifications which are enclosed with this document. The technical data sheet/schedules must be uploaded.

- A certificate is required to be submitted/uploaded by both Bidder and Agency separately regarding restriction on procurement from Bidder/Agency of a country which shares a land border with India in the format as specified in the clause No.1.5 of Annexure - XVII of the Tender document.

Notwithstanding the above, if it is found that the performance of works awarded to the Bidder by KPTCL is either behind schedule or not satisfactory, KPTCL will be at liberty to disqualify the Bidder and reject its Bid at the time of techno-commercial evaluation.

7. KPTCL will not be responsible for not getting Internet connection while   down loading the Electronic bid sheets or during submitting their offers.

Sd/-

Superintending Engineer Ele.,

Transmission (Op) Circle-South,

KPTCL, Bengaluru-09