TENDERS FOR MANUFACTURE AND SUPPLY OF  EHV GRADE TRANSFORMER OIL AS PER GESCOM SPECIFICATIONS

# SECTION IV: SPECIAL CONDITIONS OF CONTRACT (SCC)

TABLE OF CLAUSES

Item No.	Topic	Page Number

    - Definitions (GCC Clause 1)	2

    - Inspection and Tests (GCC Clause 7)	2

    - Delivery and Documents (GCC Clause 9)	4

    - Incidental Services (GCC Clause 12)	5

    - Payment (GCC Clause 15)	5

    - Settlement of Disputes (GCC Clause 27)	6

    - Notices (GCC Clause 31)	6

    - Progress of Supply	6

    - Right to use defective equipment	7

    - Supplier Integrity	7

    - Supplier’s Obligation	7

    - Patent Rights	7

    - Technical Documentation:	8

    - Taxes & Duties	8

SECTION IV: SPECIAL CONDITIONS OF CONTRACT

The following Special Conditions of Contract shall supplement the General Conditions of Contract. Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract. The corresponding clause number of the General Conditions is indicated in parentheses.

# Definitions (GCC Clause 1)

  - In this Contract, the following terms shall be interpreted as indicated:

    - “The Purchaser” means the organization purchasing the Goods. The Gulbarga Electricity Supply Company Limited is the Purchaser and shall include their Legal Representatives, Successors and Assigns.

    - “The Supplier/Successful Bidder/ Contractor” means the individual or firm supplying the Goods and Services under this Contract.

# Inspection and Tests (GCC Clause 7)

The following inspection procedures and tests are required by the Purchaser:

  - The manufacturer shall arrange routine acceptance tests at his works in the presence of the inspection staff of the company, if GESCOM desires.

    - The representatives of the company / authorized external agency shall be entitled at all reasonable times during manufacture to inspect examine and test on the contractor’s premises the materials and workmanship of all equipments to be supplied under this contract.  Such inspection, examination and testing shall not release the contractor from his obligation under this contract.

    - The requisition letter of “inspection call” from suppliers should be submitted to the office of the Superintending Engineer El., Procurement, Corporate Office, GESCOM, Railway station Super Market Main Road, Kalaburagi-585102.

    - The supplier shall give the inspection call to the GESCOM 15 days advance notice in writing, the date and place at which the equipment will be ready for testing/inspection.

    - Where the contract provides for tests on the premises of the Supplier, the supplier shall provide such assistance, labour materials, electricity, fuel and instruments as may be required or as may be reasonably demanded by the representative of the GESCOM to carry out such test efficiently.

    - When the equipment passes the specified tests, the representative of the GESCOM, shall furnish a certificate to this effect in writing to the supplier.  The supplier shall provide reasonable copies of the test certificates to the GESCOM.

  - Inspection and Testing before Dispatch:

The material will be inspected by Engineers of the GESCOM or its authorized representative before dispatch. All tests shall be conducted in the presence of the designated person. The approval for the tests or test certificate shall be obtained and also the dispatch instructions shall be obtained before dispatch of the goods. Any materials found not to be in conformity with the specification as detailed in the schedule will be rejected. In such cases, the supplier has to take back the rejected materials/equipment at his own cost. The supplier has to replace them by good ones immediately and the second time inspection at the Factory premises shall be at firms cost as per GESCOM norms. GESCOM may accept replacements conforming to the specification.

  - Inspection after Receipt of Materials:

    - The material will be inspected on receipt at the store. Any material found not to be in conformity with the specification as detailed in the schedule will be rejected. In such cases, the supplier has to take back the rejected material at his own cost and again offer for inspection duly paying the re-inspection charges as per the norms.

    - The material samples shall be selected in each lot supplied to the store/site at random by authorized GESCOM officer/official in presence of the authorized representative of the supplier. This randomly selected samples shall be properly sealed with the signature of both the parties affixed on the sample and shall be sent to M/s. CPRI/Government approved laboratories for conducting type tests as prescribed by IS/IEC/ GESCOM specification.

    - If the randomly selected sample fails in any of the tests prescribed, the entire lot will be rejected and the firm has to replace the entire lot at his own cost.

    - Even the replaced lot will be subjected to testing as above, once the tests of samples are passed then only the lot will be accepted.

    - For the trial for which samples passes the tests, the cost of type test will be borne by GESCOM. In case of failure of trials the cost shall be to the suppliers account.

  - Test Certificate:

All routine tests as specified in the relevant IS/IEC shall be conducted and test reports in the form of test certificates duly signed by a responsible officer of Supplier organization & shall be submitted to the inspecting officer at the time of inspection.

  - Delivery of Materials and Dispatch Instructions:

No materials shall be dispatched until test certificate wherever applicable, are approved and dispatch instructions have been given.

Materials/Equipments to conform to specifications:

The material/equipment supplied shall conform to the tender technical specification/approved sample.

  - Delivery:

The actual delivery schedule will be intimated in the purchase order and the successful bidder shall adhere to the delivery schedule of the Purchase Order.

The delivery schedule shall be strictly adhered to by the successful Bidder failing which GESCOM reserves the right to initiate action as per the terms and conditions of the tender.

Whatever may be the conditions of sale specified or indicated in the offer, it is only the conditions indicated in the Purchase order and tender specification that will be final and binding and if any tenderer likes to add any other terms/conditions, the same shall be clearly brought out in the Tender itself as “DEVIATIONS” which may be considered if acceptable to GESCOM.

In the event of the tender being accepted of the material in the tender, the successful tenderer hereinafter referred to “Supplier” shall execute all orders as per the delivery schedule stipulated in the Purchase Order.

# Delivery and Documents (GCC Clause 9)

Upon delivery of the Goods, the supplier shall notify the Purchaser/ consignee and the insurance company by letter or email. The full details of the shipment including contract number, railway receipt number and date, description of goods, quantity, name of the consignee etc. The supplier shall mail the following documents to the Purchaser/consignee with a copy to the insurance company:

  - Four Copies of the Supplier invoice showing contract number, goods' description, quantity, unit price, total amount;

  - Railway receipt/acknowledgment of receipt of goods from the consignee(s);

  - Four Copies of packing list identifying the contents of each package;

  - Insurance Certificate;

  - Manufacturer's/Supplier's warranty certificate;

  - Inspection Certificate issued by the nominated inspection agency, and the Supplier's factory inspection report; and

The above documents shall be received by the Purchaser/consignee before arrival of the Goods (except where the Goods have been delivered directly to the Consignee with all documents) and, if not received, the Supplier will be responsible for any consequent expenses.

# Transportation and Incidental Services (refer GCC Clause 11 & 12)

# Transportation:

Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within India defined as Project site/ Consignee, transport to such place of destination in India including insurance, as shall be specified  in the Contract, shall be arranged by the Supplier, and the related cost shall be included in the Contract Price.

# Incidental Services:

The following services covered under GCC Clause 12 shall be furnished:

    - Supervision of erection and commissioning, wherever applicable is in the scope of the Supplier/Bidder and shall be carried out free of cost.

    - furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

    - Training of the Purchaser's personnel, at the Supplier’s plant and/or    on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

# Payment (refer GCC Clause 15)

  - GST: GESCOM is registered under GST acts.

  - The GESCOM will arrange payment of 80% of the value of materials together with 100% taxes and duties and 100% F&I by cheque/ online payment against the bill, after receipt of “MAS” by the consignee division. Balance 20% will be paid after successful commissioning of the equipment or on 90 days from the date of supply whichever is earlier. Payment will be made in Indian Rupees only.

  - For arranging payment, the following documents will have to be furnished by the Supplier.

- Invoice in duplicate, stamped and pre-receipted containing details such as purchase order number, Goods description, quantity, unit price and total amount.

- Delivery Challan duly acknowledged by consignee.  The payment will be arranged against clear acknowledgment duly signed by the Storekeeper and Store Officer of the respective GESCOM, Stores.

- Material Acknowledgment Statement (to be furnished by consignee).

- Approved Test Certificate or reference letter of Superintending Engineer El., Procurement, GESCOM, approving the test certificate.

- Copy of the e-way bill.

- The triplicate and quadruplicate copies of the invoices may be sent to the respective consignees for submission of Materials Acknowledgement Statement.

- Supplier’s warranty/guarantee certificate.

- Material Inspection report.

# Settlement of Disputes (refer GCC Clause 27)

The dispute settlement mechanism to be applied pursuant to GCC Clause 27 shall be as follows:

The procedure for arbitration shall be as follows:

- Any dispute or difference or claim arising out of or in connection with or relating to the present contract or the breach, termination or invalidity thereof, shall be referred and settled  under the Arbitration and Conciliation Act, 1996 and the Arbitration Centre – Karnataka (Domestic & International) rules 2012, by one or more arbitrators appointed in accordance with its rules.

- Performance during Dispute Resolution

Pending the submission of and/or decision on a Dispute and until the arbitral award is published; the Parties shall continue to perform their respective obligations under this Contract without prejudice to a final adjustment in accordance with such award.

# Notices (refer GCC Clause 31)

For the purpose of all notices, the following shall be the address of the Purchaser and Supplier.

Purchaser:	The Superintending Engineer El.,

Procurement, Corporate Office,

GESCOM, Kalaburagi-585102

Supplier: (To be filled in at the time of Contract signature)

.............................................

.............................................

.............................................

.............................................

# Progress of Supply:

Supplier shall regularly intimate progress of supply, in writing, to the Purchaser as under:

- Quantity offered for inspection and date;

- Quantity accepted/rejected by inspecting agency and date;

- Quantity dispatched/delivered to consignees and date;

- Quantity where incidental services if any have been satisfactorily completed with date;

- Quantity where rectification/repair/replacement effected/completed on receipt of  any  communication from consignee/Purchaser with date;

- Date of completion of entire Contract including incidental services, if any; and

- Date of receipt of entire payments under the Contract

(In case of stage-wise inspection, details required may also be specified).

# Right to use defective equipment:

If after delivery, acceptance and within the guarantee/warranty period, the operation or use of the equipment proves to be unsatisfactory, the Purchase shall have the right to continue to operate or use such equipment until rectifications of defects, errors or omissions by repair or by partial or complete replacement is made without interfering with the Purchaser’s operation.

# Supplier Integrity:

The Supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract using state-of-the-art methods and economic principles and exercising all means available to achieve the performance specified in the Contract.

# Supplier’s Obligations:

The Supplier is obliged to work closely with the Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The Supplier will abide by the job safety measures prevalent in India and will free the Purchaser from all demands or responsibilities arising from accidents or loss of life the cause of which is the Supplier’s negligence. The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The Supplier is responsible for managing the activities of its personnel or sub-contracted personnel and will hold itself responsible for any misdemeanors.

The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Purchaser.

# Patent Rights:

In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of the Goods or any part thereof in the Purchaser’s country, the supplier shall act expeditiously to extinguish such claim. If the supplier fails to comply and the Purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses, court costs and lawyer fees. The Purchaser will give notice to the supplier of such claim, if it is made, without delay.

# Technical Documentation:

The Technical Documentation involving detailed instruction for operation and maintenance is to be delivered with every unit of the equipment supplied. The language of the documentation should be English.

# Taxes & Duties:

# Bidders shall quote all applicable statutory taxes and duties such as CGST, SGST, UTGST, IGST, Customs duty, Cess if any and taxes and duties as applicable on the date of bid submission and shall be shown separately in the Price bid (Prices shall be quoted in the Karnataka Public Procurement portal only). This shall be to the account of the GESCOM against documentary evidence, unless otherwise mentioned in the Purchase Order. Any statutory variation (increase or decrease) in taxes/duties/levies or if any tax/duty/levy is newly introduced by the government with effect from the next day of the date of submission of the bid and up to the scheduled delivery period, these variations/additional taxes/duties/levies will be to the account of the owner. However, any decrease in taxes and duties up to or beyond contractual delivery period, the benefit shall be passed on to GESCOM. Any upward variation in statutory taxes and duties beyond the contractual delivery period will not be paid by GESCOM if the reasons of the delay are attributable to the vendor/supplier and the same shall be absorbed by the vendor/supplier.

# In case the Bidders indicate lesser rates of taxes & duties with reference to the prevailing rates of taxes & duties at the time of bidding, any variations in the taxes and duties would be paid/recovered keeping the rates of taxes & duties applicable as on last date of Techno-commercial Bid submission as notified (either original or extended) as the base and not the quoted rates of taxes & duties for payment/recovery of difference in the taxes and duties.

# If the rates quoted for material cost, F&I charges, GST, Taxes is not clear & is ambiguous, the purchaser reserves the right to overlook the offer.

# -Sd-

# Superintending Engineer El.,

Address: Procurement, Corporate Office

GESCOM, Kalaburagi -585102

e-mail Id: gescom_mm@yahoo.co.in

Phone Number (SEE Procurement) : 9448499997